pp.26

10.2.1
Guaranteed Unit Delivery Dates.  Seller shall deliver the Units to the Delivery Point by no later than the dates listed below (the “Guaranteed Unit Delivery Dates”):  

Item:





Guaranteed Unit Delivery Date:
Unit 19 turbine SN 310889


October 25, 2001

Unit 20 turbine SN 310890


November1, 2001

Unit 23 turbine SN 309994


November8, 2001

Unit 24 turbine SN 310891


November 15, 2001

pp.82
1.1.17 A remote HMI (one per GTG, located in the central control room) shall be provided for operator use.

1.1.18 Mass flow gas exhaust signal (one per GTG)shall be provided for Purchaser’s use.

1.1.19 A provision to interface with the DCS (via serial communication or using ethernet protocol).
1.1.20
 Beckwith Integrated Generator Protection System 

1.1.21
Bently Nevada 3500 Vibration Monitoring System

1.1.22
Fire and Gas Detection System

1.1.23
CO2 Fire Extinguishing System 

1.1.24
Factory Testing of Turbine, Generator, and Generator Sets

1.1.25
Training 

1.1.26
Operating and Maintenance Manuals

1.1.27
Installation Manuals

1.1.28
Special Tools for Installation and Removal of Gas Turbine 

1.1.29
Packing and Crating for Domestic Shipment

1.1.30
Drawings

1.1.31
Special Lifting Devices for Unit Installation (to be returned to Seller)

