PAGE  

ISO New England Inc.

Project 39

“An Adequacy and Reliability Assessment of

New England’s Natural Gas Pipeline Infrastructure to

Serve the Growing Demand from the Electric Power Generation Sector”

a.k.a

“The New England Gas Study”

SCOPE OF WORK

1. Analysis of Existing Infrastructure.  Develop a computerized engineering model (a mathematical model) of the pipeline systems serving the NEPOOL region (the “Database”).

a. Identify pipelines to be included in model, individually and by NEPOOL sub-region.

b. Summarize existing firm delivery obligations: contractual and physical.

c. Specify existing systems' physical characteristics, including:

1. Pipeline length, diameter, maximum allowable operating pressure, minimum contract pressure.

2. Mainline and lateral pipeline capacity. 

3. Compressor station detail, including performance rating and horsepower.

4. Existing receipt and delivery points.

d. Validate model performance against system design data and contractual delivery obligations.

2. Expected Pipeline Infrastructure Additions through 2005, by pipeline and NEPOOL sub-region: Update Database for planned capacity expansions, including detail covered in 1(a) through 1(c)(4) above.

3. Verify unit cost of expansion for the largest and/or most controversial planned capacity expansions for pipelines identified in 2 above.  Use as a check against amount of proposed pipeline additions.  Include in Database.

4. Using a forecast horizon through 2005, evaluate growth in end-use demand, excluding electric power projects, for natural gas in region by 2003 and 2005. ISO-NE will provide input assumptions.  Forecast is to be based on recent prior studies provided by ISO-NE and updated as necessary by Consultant.  Include in Database.

a. Residential

b. Commercial

c. Industrial

d. Feasibility of capacity sharing arrangements

5. Create inventory of incremental electric power projects, analyze and assess fuel requirements and generation output capability by pipeline.  ISO-NE will provide inputs to electric generation capacity requirements.  Include in Database.

a. Existing power projects

b. New power projects expected to be in operation by 2003, 2005.

(simple cycle, combined cycle, and others)

1. Under construction 
2. Not yet under construction

a. Completely Permitted and Financed

b. Completely Permitted, but not yet Financed

c. Partially Permitted

d. Proposed

c. Potential for long term generation capacity attrition due to:

ISO-NE to provide input assumptions; consultant will conduct analysis, 

identify implications and draw conclusions.

1. Nuclear power plant retirements:

a. as scheduled

b. candidates for early retirement

2. Inadequate or borderline unit performance due to:

a. environmental regulation requirements

b. improvements in cost-competitive efficiency standards

6. Develop High Natural Gas Demand Scenario for total natural gas capacity requirements (in MCF/BCF per day) by LDC’s (in accordance with 4(a) through (d)), and for total electric generation capacity demand (in MW and MMBTU).  Include in Database.

a. High Case is Peak Day - Winter and Summer.  Consistent with NEPOOL load forecast methodology to be supplied by ISO-NE.

b. Coincident Peak Day (Winter or Summer).

c. Identify each pipeline’s coincident peak, which may differ from other pipelines in the region.

d. Determine the coincident peak for all pipelines in the region.

7. Prepare High Natural Gas Demand Scenario and additional sensitivities to be performed, and include in Database.  Scenario to include but not necessarily be limited to:

a. Evaluate the impact of the loss of one or more major gas-fueled generating units on the pipeline infrastructure serving the unit(s).  Explain why the unit(s) was (were) chosen.

b. Evaluate the loss of one or more major non-gas fueled electric generating units (electric system contingency to be determined by ISO-NE) on gas-fueled units* synchronized to the electric system, with respect to changes in post electric system contingency gas requirements on the pipeline infrastructure serving those gas-fueled units*.

c. Pipeline capacity constraints:

1. Planned outages

2. Unplanned outages (Compressors out of service - largest unit at each station and selected tests for pipeline breaks)

8. Recommend transient analyses:

a. Identify pipeline segment(s) where transient analysis is warranted.

b. Identify electric generation unit(s) impacting or impacted by these pipeline segments.


9. Summarize results of High Natural Gas Demand Scenario and sensitivity analyses:

a. Scenarios that are driven by electric generation and transmission constraints.

b. Scenarios in which electric system reliability is degraded by gas pipeline infrastructure constraints.

10. Other observations, implications and recommendations:

a. Use of secondary firm and/or interruptible transportation.

b. Firm transportation but connected to a single pipeline.

c. Existing natural gas nomination cycle(s) vs. electric generation commitment cycle(s) and related issues.

d. LAI will conduct on a best efforts basis environmental due diligence on air permit restrictions governing the use of alternate fuel in Sections 5(b)(1) and (2), and will incorporate permit restrictions and applicability into Sections 6(a) and (b).  Include in Database.

ii

- 3 -

