REQUEST FOR PROPOSALS

FOR GAS SUPPLY TO TWO

NEW GAS-FIRED POWER

GENERATION PLANTS

FOR

GRAYS HARBOR PUD

[image: image1.jpg]



Prepared by:

Ann T. Donnelly, Ph.D.

Principal Consultant

Power Resource Managers, LLP

[image: image2.jpg]/

WORK SKETCH
PUBLIC UTILITY DISTRICT NO.1 OF GRAYS HARBOR COUNTY

180508D 180500D £ 180510C g .
S 180510D SEEsEn 6,y
/ z = = o g BEFEEE §3 g;f
I+] ° T & 7
7 o ~s—— 00 b
1805164 | “M% EEID lﬂ/ McCL}i’ARY
(S = AR
& & L
& e ,L:!VA g%;\g,m
1805174 &V O iy
L 1805155 1805154 /5/72 QQ\"‘”
S 1805148 ]180%1 {
P »‘*& o S\l 1805138
%
180517D
WEYERHAEUSER
TRUSS JOIST 180516D o
"
HESLEP/|LANE &
80515C A
..,p“”; | ket . 1005140 H | Jsosisc el
(29
8 o ® = S
A <]
gk & &
—\.
¥®
L4

TRUSS JO!ST COGENERATION PROJECT
8.2 MW NATURAL GAS GENERATORS

8" NATURAL GAS PIPE







May 16, 2001

CONTENTS

1I.
INTRODUCTION


1II.
PROJECT LOCATION


2III.
GAS REQUIREMENTS


3IV.
SERVICES REQUIRED


3VI.
DELIVERY POINT


4VII.
GAS PRICE


4VIII.
CRITERIA OF SELECTION


5IX.
HOW TO RESPOND


6X.
EVALUATION AND CONTRACT PROCESS




I.
INTRODUCTION

Grays Harbor PUD (Grays Harbor) is developing two new power generation projects for which it is seeking gas supply services.

· Two 11 MW GE 10 gas turbines to be located in Pasco, Washington.  Completion of construction of the 22 MW project is expected to occur between August 1 and November 1, 2001.  The project will run initially as a simple-cycle configuration.  Note that Franklin PUD is also locating an identical facility at this site.  You will also be receiving an RFP for supplying the Franklin plant.
· Two 4.1 MW Wartsilla gas reciprocating generators for a total of 8.2 MW at the Weyerhaeuser Truss Joist plant in Grays Harbor County.  This project will include cogeneration and will require gas service in October, 2001. (Note: Grays Harbor may elect somewhat smaller equipment than the 8.2 MW configuration included here.  If so, Grays Harbor will send out an addendum to the RFP to keep respondents informed.)
Grays Harbor has retained Power Resource Managers, LLP (PRM) to provide professional services in evaluating and procuring gas supply and transportation (Ann Donnelly), and in power management (Dennis Parrish and Ray Nelson). 

This RFP is being issued to a highly selective list of qualified and highly experienced gas suppliers.  The objective is to identify a short list for further negotiation based upon the initial responses; meet with shortlisted suppliers for detailed discussions; and then identify a top-ranked supplier for immediate negotiation of a Letter of Intent, and then full Gas Purchase Agreement.  The process is expected to take several months in all, though Grays Harbor retains the right to reject all proposals if necessary.

Proposals will be accepted for gas supply for one or both of these projects.

II.
PROJECT LOCATION

Pasco Site

The site is located in Pasco, Franklin County, Washington in NW1/4 of Section 30, Township 10N, Range 31 E.  It is located immediately adjacent to Williams’ Spokane Lateral.  A Request for New Tap and short lateral is now being filed with Williams.  It is expected that the process of interconnecting with Williams will take approximately three to six months.  At this site, Grays Harbor and Franklin PUDs are each installing identical projects, for a total for both utilities of 44 MW (four turbines).  

Weyerhaeuser Truss Joist Site

Map 1 shows this site.  Cascade Natural Gas is the gas distributor to the plant.  Grays Harbor has requested a feasibility and cost estimate analysis with Jan Wendle of Cascade.

III.
GAS REQUIREMENTS

Pasco Simple Cycle 22 MW Plant

The maximum hourly rate required for both Grays Harbor turbines together is 300 Dth/hr, for a maximum daily quantity of 7,200 Dth/d.  It is expected that after coming on line in the fall of 2001, the plant will be dispatched at high load factors (75% to 90%) for at least one to two years, and that subsequently, hours of dispatch will decline to those more typical of peaking operations (20%-50%) depending upon power market conditions and gas prices.  Respondents should confirm that they can deliver the required hourly rates on a firm basis.

Note that Franklin PUD is installing an identical facility at this location, and therefore the total incremental gas requirement at this site is 7,200 Dth/d X 2 = 14,400 Dth/d.

Weyerhaeuser Truss Joist 8.2 MW Cogeneration Plant

The net incremental gas requirement at this proposed cogeneration plant is 80 Dth/hr, for a maximum daily quantity of 1,920 Dth/d.  This plant is expected to run permanently at high load factors to supply the thermal requirements of the Truss Joist plant.

The breakdown of gas requirements among the cogeneration project, the veneer dryer, and the boiler is summarized below, in therms/hour.  The total future gas requirement has been rounded up from 750 therms/hour to the 800 therms/hour cited above (80 Dth/hr).

Therms per hour






Cogen-
Veneer
      







eration
Dryer

Boiler

Total

Present Truss Joist plant

gas usage





170




0

70

100

Future






750




680

70

0

IV.
SERVICES REQUIRED

For both projects, Gray’s Harbor’s ultimate objective is long-term firm gas supply delivered to the project lateral and meeting the hourly requirements of the turbines when dispatched.  At Pasco, there is currently no firm pipeline capacity on the Spokane Lateral, and therefore Grays Harbor is seeking the highest level of reliability and firmness available in the marketplace; firm supply into Williams, firm capacity on the mainline, and a creative approach to obtaining firm capacity on the Spokane lateral as soon as available, for the long-term requirements of the project.  Respondents should explain their approach to providing reliable delivery to the project lateral.  

Gray’s Harbor also requires basic nomination, scheduling, and balancing services, as well as gas-price risk management services.

V.
TERM OF AGREEMENT

Grays Harbor is seeking a long-term relationship with a highly experienced and creative gas supplier or suppliers with maximum access to firm pipeline capacity and multiple supply sources.  Therefore, Grays Harbor will consider a term of initial agreement as short as one year, or as long as five years.  Respondents should state which length of term for which they can commit pipeline capacity and under what conditions.

Respondents can choose whether to offer to supply only one or both of the proposed new plants.

Service to the Pasco plant will start as early as August, 2001, and service to the Truss Joist plant will start as early as October, 2001.

VI.
DELIVERY POINT
Pasco

The supplier is responsible for delivering the gas to the pipeline lateral.  If firm delivery to that point is not feasible, the respondent should identify a firm delivery point into Williams, and its approach to providing long-term reliable delivery to the project lateral.

Truss Joist

Into Cascade Natural Gas.

VII.
GAS PRICE

For both plants, Grays Harbor is seeking a supplier(s) capable of assisting in structuring a portfolio of gas price risk management structures that will maximize the net profits of the plant under a variety of market conditions.  The supplier will work closely with PRM as Grays Harbor’s power manager to optimize the spark spread.  Respondents should briefly explain their approach to gas price management for power generation, especially regarding the winter of 2001-2002.  Respondents should also identify:

a. Gas price index  (PRM prefers Gas Daily indices)

b. Physical premium over index (indicative price as of the date of response)

c. An indicative fixed price, starting in November, 2001, for

i. six months

ii. one year

iii. two years

d. Any other pricing approach respondent wishes to propose

e. Fees for services


f. Cost and terms of pipeline capacity

It is important that Grays Harbor not be subject to the financial risk of Williams’ Operational Flow Orders.  Respondents should state whether they are willing to assume OFO risk and for how many years.

VIII.
CRITERIA OF SELECTION

Grays Harbor will consider the following criteria in evaluating and selecting a gas supplier in approximately the following order of priority:

a. Availability of firm mainline capacity on Williams and/or PGT 

b. For the Pasco plant, creative approach to securing long-term firm delivery on the Spokane Lateral.

c. Track record of service to customers on the Spokane Lateral and/or Williams Pipeline

d. OFO risk insulation

e. Diversity of supply sources

f. Cost-effectiveness (fees, premiums, etc.)

g. Creative approach to price management

h. Financial strength and creditworthiness

IX.
HOW TO RESPOND

Responses are due by 5 pm PST on May 31.Emailed or faxed responses are acceptable.  If so, please overnight hard copies for delivery the next day, June 1, 2001.

Send responses to two addresses:

Ann T. Donnelly, Ph.D.

Principal Consultant

Power Resource Managers, LLP

1610 C Street, Suite 102

Vancouver WA  98663

360-693-8484 office phone

360-693-3487 office fax

adonnelly@prmllp.com email

and

Don McMaster

Power Supply and Marketing Manager

and 

Mike Rooney

Senior Transmission Engineer

Grays Harbor PUD

P.O. Box 480

2720 Sumner Avenue

Aberdeen, WA  98520

360-532-4220

360-538-6370 fax

mrooney@ghpud.org

Please call Ann Donnelly with questions.

Your proposal should consist of the following:

1. Identify the entity responsible for supplying gas services, along with the contact person responsible for the proposed contract.  Include addresses, phones, faxes and emails.

2. Enclose three years of financials statements or other evidence of financial status.  State whether a parental guarantee is available from the respondent’s parent organization.

3. Address in a brief statement each of the criteria for selection/evaluation listed above.

4. Identify the pricing elements requested under “Gas Prices” above.

5. Attach a form gas services contract.

X.
EVALUATION AND CONTRACT PROCESS

Gray’s Harbor’s/PRM’s proposal evaluation and contract negotiation process will be as follows:

1. May 31: receive responses

2. June 8: notify short listed respondents

3. June 14 or 15: meet with short listed entities either in Vancouver or Aberdeen, to be determined.

4. June 20: notify selected supplier for contract negotiation

5. June 20-July 15: negotiate and execute Letter of Intent for presentation to Board of Commissioners

6. July 15-August 15: finalize full Gas Purchase Contract for approval by Board of Commissioners

7. August 1-15: service begins

GRAYS HARBOR AND PRM SINCERELY APPRECIATE YOUR TIME AND ATTENTION TO THIS RFP.  WE LOOK FORWARD TO HEARING FROM YOU!


POWER               RESOURCE


MANAGERS, LLP





1610 C Street, Suite #102


Vancouver, WA  98663


Phone:	(360) 693-8484


Fax:		(360) 693-3487


adonnelly@prmllp.com











