[image: image1.png]Enron Wind
«@




                  Work Request for Data Analysis


[image: image1.png]
Originator:

Date / Time:

Department:

Return Email:

Return Fax #:

Return Phone #:
Hollis Kimbrough


3-12-02 10:15 am


269


Hollis.Kimbrough@enron.com


823-6752


823-6774

Section B: To be completed by the Originator.

Description of Problem that Data, Information, or Analysis is requested, and Medium/Format of Deliverable (An example of a previous deliverable is helpful.): 

Trent Mesa WTG 30 Gearbox Data 

The failure date for the gearbox in WTG 30 at Trent Mesa is 3/6/02.  Please provide the following information for this turbine:  

· For a month prior to 3/6/02 please provide a table and graph of Gearbox temperature, power levels, gearbox speed (rpm), wind speeds.  To aid resolution the graph can be broken down to one week intervals.

· For a month prior to 3/6/02 please identify any faults associated with the gearbox.

· From the life of the gearbox (commission date – 7/26/2001) please provide monthly production (kWh) and capacity factors.

List of Attachments, Examples, and Sample Formats:

Deliverable Goes to:
Jim Wallace/Hollis Kimbrough
Date / Time Needed:
3-15-02 COB

Originator’s Signature:

Date / Time:
3-12-02 10:25 am

Section C: To be completed by the System Performance Group.

Data Analysis Reference Number:


Date:

TIME:


RESPONSE:

Data Available Date:
Estimated Completion Date / Time:

Assigned to:  ( Mark Walker
( Mark Fisher
( Jeff Duff

( John Ruiz

( Matthew Meyers
( Other  _______________
Deliverable
Definitions

DATA
Unsorted, ungrouped values checked only for “impossible” values.

*Requestor must specify range of values for analyst to select.

INFORMATION
Sorted, grouped data that is checked for “reasonable” values.

*Requestor must specify range of values for data grouping criteria and/or sorting criteria.

ANALYSIS
Computed quantities or conclusions that meet a business need based on given assumptions and a set of information.  An analysis also includes a description of model/approach used to generate output quantities or conclusion from given assumptions and information.

*  Requestor must specify range of values, grouping criteria, critical assumptions, “what conclusions you want the analyst to prove/disprove” and/or “what output quantities are needed.”  



Email to Information.Services@enron.com 


OR FAX to:  (661)  823 - 6752











Section A:





(  URGENT   	








Proprietary Information


11/02/01

Do not copy without


Revision 6

Written consent from

Enron Wind


