[image: image1.png]Enron Wind
«@




                  Work Request for Data Analysis


[image: image1.png]
Originator:

Date / Time:

Department:

Return Email:

Return Fax #:

Return Phone #:
Hollis Kimbrough


5-1-02  9:15 am


269


Hollis.Kimbrough@enron.com


823-6752


823-6774

Section B: To be completed by the Originator.

Description of Problem that Data, Information, or Analysis is requested, and Medium/Format of Deliverable (An example of a previous deliverable is helpful.): 

Blade Pitch Symptoms 

On April 8th or 9th at approximately 12:00 noon local time, Trent Mesa WTG #48 experienced abnormal operation when one blade was pitched 180 degrees out from where it should have been.  A local operator applied the brake during the abnormal operation so it should be possible to pinpoint the date/time using the brake event as a reference.  

Once the exact date/time of the event has been identified, please examine the performance data to discern whether there are unique performance characteristics which can be used to find other, similar, events.  Pay particular attention to WTG power (produced and power curve) during the event as well as vibration alarms.

List of Attachments, Examples, and Sample Formats:

Deliverable Goes to:
Tom Nemila
Date / Time Needed:
5-3-02 COB

Originator’s Signature:

Date / Time:
5-1-02 9:20 am

Section C: To be completed by the System Performance Group.

Data Analysis Reference Number:


Date:

TIME:


RESPONSE:

Data Available Date:
Estimated Completion Date / Time:

Assigned to: ( Mark Walker
( Mark Fisher
( Jeff Duff

( John Ruiz

( Matthew Meyers
( Other  _______________
Deliverable
Definitions

DATA
Unsorted, ungrouped values checked only for “impossible” values.

*Requestor must specify range of values for analyst to select.

INFORMATION
Sorted, grouped data that is checked for “reasonable” values.

*Requestor must specify range of values for data grouping criteria and/or sorting criteria.

ANALYSIS
Computed quantities or conclusions that meet a business need based on given assumptions and a set of information.  An analysis also includes a description of model/approach used to generate output quantities or conclusion from given assumptions and information.

*  Requestor must specify range of values, grouping criteria, critical assumptions, “what conclusions you want the analyst to prove/disprove” and/or “what output quantities are needed.”  



Email to Information.Services@enron.com 


OR FAX to:  (661)  823 - 6752











Section A:





(  URGENT   	








Proprietary Information


11/02/01

Do not copy without


Revision 6

Written consent from

Enron Wind


