[image: image1.png]GE Wind Energy





                  Work Request for Data Analysis


[image: image1.png]
Originator:

Date / Time:

Department:

Return Email:

Return Fax #:

Return Phone #:
Hollis Kimbrough


5-20-02  8:00 am


269


Hugh.Kimbrough@ps.ge.com


823-6752


823-6774

Section B: To be completed by the Originator.

Description of Problem that Data, Information, or Analysis is requested, and Medium/Format of Deliverable (An example of a previous deliverable is helpful.): 

Trent Mesa gen temp data 

For 5 turbines, geographically distributed throughout the park, please prepare a data table which displays a generator RTD, current on all 3 phases, voltage on all three phases, ambient temperature, gen rpm and WTG power.  This table should be constructed for a period where the turbine is producing 1.5 MW and coincides with the highest ambient temperature available.  The table should span 12 hours prior and 12 hours after the target conditions (i.e. rated power and max ambient temperature).



List of Attachments, Examples, and Sample Formats:

Deliverable Goes to:
Nagwa Elkachouty
Date / Time Needed:
5-20-02 COB

Originator’s Signature:

Date / Time:
5-20-02 8:20 am

Section C: To be completed by the GEWE System Performance Group.

Data Analysis Reference Number:


Date:

TIME:


RESPONSE:

Data Available Date:
Estimated Completion Date / Time:

Assigned to:  ( Mark Walker
( Mark Fisher
( Jeff Duff

( John Ruiz

( Matthew Meyers
( Other  _______________
Deliverable
Definitions

DATA
Unsorted, ungrouped values checked only for “impossible” values.

*Requestor must specify range of values for analyst to select.

INFORMATION
Sorted, grouped data that is checked for “reasonable” values.

*Requestor must specify range of values for data grouping criteria and/or sorting criteria.

ANALYSIS
Computed quantities or conclusions that meet a business need based on given assumptions and a set of information.  An analysis also includes a description of model/approach used to generate output quantities or conclusion from given assumptions and information.

*  Requestor must specify range of values, grouping criteria, critical assumptions, “what conclusions you want the analyst to prove/disprove” and/or “what output quantities are needed.”  



Email to Information.Services@enron.com 


OR FAX to:  (661)  823 - 6752











Section A:





(  URGENT   	








Proprietary Information


11/02/01

Do not copy without


Revision 6

Written consent from

General Electric Wind Energy


