1.1. Influent Raw Water To Be Treated

IONIC SPECIES
CONCENTRATION
UNITS

Calcium
4.0
mg/L as CaCO3

Magnesium
1.8
mg/L as CaCO3

Sodium
2.8
mg/L as Na

Potassium
< 0.5
mg/L as K

Bicarbonate
10.0
mg/L as CaCO3

Carbonate
0
mg/L as CaCO3

Hydroxide
0
mg/L as CaCO3

Chloride
<10
mg/L as Cl

Sulfate
<5
mg/L as SO4

Nitrate
not reported
mg/L as NO3

pH
5.9
Unitless

Silica, total
14.1
mg/L as SiO2

Conductivity
23
µS/cm

Total Dissolved Solids
not reported
mg/L 

