Notes/Highlights – NERC Meetings – Orlando – Nov 14-16 


BEFORE the Meeting

Standards development forum.- Dave Nevius told me that they had good discussions with GISB and he was optimistic about “significant” changes.

JOINT COMMITTEE PRESENTATIONS

Electronic Scheduling Collaborative. - Presentation

FERC filing last October. Clarify eight policy questions. Formalize a continuing organization for the ECS work. 

Critical Infrastructure- Protection

PARANIOA!!! NERC as the “official” liaison with Government agencies about industry security (ISAC). Game plan of what needs to be reviewed on the long term. Call to arms to utility operators to be “pro-active”

Standing Committees Representation Task Force.

Status report- Work continues for the February Board meeting – Features presented:

· Creation of a “standards” committee with differentiated industry representation

· Standing committees roles to be defined – However, no direct input in standard definitions

NERC’s Non-Standards Activities and Functions

Reliability Assessment

Compliance

Data (GADS, ES&D)

Issues Development

Operational Security

Critical Infrastructure Protection

Transaction Management

Market Interface

Timetable

Nov 16 
Revised drafts to task force

Nov 21 
Task Force comments back to NERC

Nov 26 
Preliminary proposal to BOT, SHC, TSC

Nov 30
Response from BOT, SHC, TSC (any show stoppers?)

Dec 4
NOI to develop WESM process; request for comments

Dec 7
DOE Workshop

Jan 8

Public comments due

Jan 15
Task Force finalize recommendations

Feb 1

Final recommendations to BOT, SHC 

Feb 19-20
SHC/BOT Meetings

Mar 1

Begin implementation

PLANNING COMMITEE
Discussion about the Standards Development Organization

Strong opposition by some of the members – 

If they do not do standards, what is their role?

How will small utilities (municipal) participate? If they were not involved in standard development they will vote NO! when they are asked to ratify a standard.

A sense that they were not represented at the Stakeholders Committee, and that the non-utility vote carried the day.

Note - I gave them the color commentary of how the meeting went. At the end they seemed to be resigned that the change is inevitable – one way or another, with or without NERC, a single commercial-reliability forum is to be created.

Spare Transformers data base

Sep11 Concerns about security and concerns about the timeliness of the information. Data can only be accessed by calling NERC

Data – Security Issues

On-going discussions with DoE about industry data and infrastructure security. Liaison with EEI. 

Need to assign individual passwords to users  (Not just the Corporate ID)

Multiregional Modeling- 

Simulate the simultaneous effects of multi-regional flows on the key interconnections. Test  the Eastern Interconnection, using the EPRI software, TRACE

Heavy opposition. Planners have done these transfer capability studies. They saw no need of further studies that may yield a “different” answer; thus create a dilemma about which results to use.

The need was raised by the “Security Coordinators”. Good old-fashioned “turf” discussions about who has the responsibility to determine the transfer capability.

Group had to go along when the EPRI representative stated that they were paying for the effort.

Standards Transition Task Force - Presentation

Move from current Standing Committees to new “Organizational” format, with representation from the three Committees.

Board has approved the new process (Manual). NERC has hired consultants for the effort. The Task Force work is complete (being disbanded). The Standards Authorization Committee is to be formed.

Principles proposed to guide the effort. An organizational “taxonomy” suggested. 

Rebellion!!! –Is the work of the PSS Committee to stop? Existing standards will co-exist until ratified or modified.

Definition of Bulk Electric System

Hotly debated !!!– Action Postponed – Fundamental definition for much of NERC scope of action

Definitions alternatives included combinations of 1) hardware, 2) software; 3) support facilities; 4) system operating support descriptions

Options very broad – not precise.

Behind these seemingly benign definitions are very important jurisdictional issues 

WSCO vs NERC standards for bus-tie breakers

LONG Hot debate !!!– Motion for separate standard, or waiver, was barely defeated.

Involves old installations- WSCO was asking for an exemption- However, the request  was not site specific, nor backed with detailed studies for each site. The argument was “we always done it this way. It is expensive to change”. The concern is that breaker failure may lead to cascading under some situations
Note. This request was for tie breakers, not for in-line breaker- 

The review subcommittee had held a conference call and was not convinced that the West should have the broad exemption.

Reliability Assessments for 2002

HOT DEBATE. !!!! Critique of last years’ effort in the issues section. Rather than describe the issues, the  draft report went further into “advocacy” for certain positions; thus,  it was not supported as it was sent for Board review.

Some issues were not identified by the RAS members; rather they were surfaced by the NERC staff.

On what issues should NERC take a position? Focus should be reliability, not outside the scope. Example – “Are there sufficient gas supplies??” Is outside the expertise of the RAS group

Another example – A concern of  a Nox /Flame out – due to under frequency relay action is an specific equipment issue. (not within the scope)

The RAS spokesman was rebellious; wanted the Planning Committee to decide the limitation of this section – number of issues to be covered, what issues etc. The PC did not take the bait.

Observation – The appears that the members do not use well –tested  “issues identification and prioritization processes”

Another hot debate about the Report’s comments about the MISO winter readiness.  The report stated that with the implementation of RTOs , flow patterns change, and this would apply to the MISO. A motion to make it generic and remove specific mention of MISO, failed.

Resource adequacy – presentation

Issues of Transition from “Regulated Adequacy” to “Market will provide Adequacy”. Report being developed (Geoff Gaebe – IOU)

Reliability Data, Methods, and Modeling Subcommittee – Charter

Data collection and system modeling for reliability assessments. Tools and procedures for evaluating the reliability of interconnected bulk electric systems. – Discussion – Focus is tools development and NOT the reliability assessments.

Compliance Assessment –Filed Tests

Harlow Peterson – Covered results of standard compliance - High level of non-compliance during the field test.  Assessment is that these are relatively minor – not technical issues. These Standards have not yet been approved, undergoing tests.

No new standards being tested. Tests involve 18 “planning standard measures”. 

Comment- IPPs complaints that the Standards did not considered their reality. A “generation” task force is to be organized to gather that input.

Observation – the was a feeling of a “void”- what is the group goals for 2002?”

Releasing Dynamic Data

Motion passed.- Third parties need to agree to confidentiality agreement.

NERC Project Management – presentation

How to keep better tract of status of projects, standard development, etc.

OPERATIONS COMMITTEE

Standards development

What happens to the present standards? What happens to standards being developed?

EVALUATIONS

Regions are responsible by default – until a ruling is made to shift it to the RTOs

Regions held accountable for Security Coordination Plan. Example Region A endorsed the MISO plan to make sure that their members were covered somewhere. They did not “approve” the plan

ECAR required some RTOs to modify their plan to include regional concerns.

Inadvertent Compensation Standard

Project status - investigations to clarify the measurement formula ACE and payback methods.

Waiver- “RTO Scheduling Agent”

A proposal to allow RTOs act as scheduling agent was passed. Within a year, rules are expected to have been developed and the waiver will not be needed.

Dick Ingersol argued that other organizations should also be given the same latitude. His request to expand the definition was not accepted. He was asked to introduce a waiver, if he wanted to pursue it.

Waiver “Financial Inadvertent Settlement

This involves an internal settlement of the positions of several control areas within a larger control area. No reliability issues involved. This was passed. No dissent.

Needs further follow up for Enron impact.

Policy 3-Version 5 and E tag Version 1.7

The required policy modifications were approved.

Control Area Certification Procedures

An Appendix of information to be provided to NERC for handling.

System Operators Certification

Four different certification exams (different scope) are being developed.

Software development

Status of FIST. Possible improvements in reservation process

Jose Bestard
Page 4
Date

