[image: image1.png]g
i
3

aii

gg88888°

a0sm
ass
E™Y
ErY
adin
N
e

£
100
iz
B

[2Cod mGas m01 OPC

Source: Powerdat



[image: image2.png]


[image: image3.png]Solid oxide fuel cells

PEM fuel cells

Industrial gas

turbines Py

Pulverised coal

Photovoltaics

Microturbines

10 100 1,000 10,000 100,000 500,000
Size of plant: kW

‘Soura: Elctic PowerResarch st

$lkw
500,000
100,000
10,000
1,000
100

10



[image: image4.png]Distributed ulity of tomorrow

o camer

&=

commmtoass /| (R
ey E
ol ol '15‘“
Ll P commeny
Aoy et )

‘Soura: ABB g Ssomon S Baey.



July 2001 Short Circuits - Electricity




              by Rita Hartfield

During 2000 total U.S. retail sales of electricity reached nearly 3,400 billion kWhs and generated $226.5 billion in retail revenue.   According to EIA's Electric Power Monthly, competitive power suppliers generated 930 billion kWhs or 28% of total generation.  

Every consuming segment except commercial experienced an increase in the average rate per kWh in 2000.



  ¢ per kWh

Segment

2000
1999

Residential
8.21¢
8.16¢

Commercial
7.20¢
7.26¢

Industrial

4.19¢
4.45¢

Other

6.37¢
6.35¢

Electricity growth in the United States is non-cyclical and has, historically, been relatively constant at about 2% annually.   A key metric used to measure adequate industry supply is capacity margin, defined as the difference between peak summer electricity demand (MW) and peak summer supply capacity (MW) divided by capacity.  Generally, a 15% – 18% capacity margin is desirable to ensure electric grid reliability in case of unplanned plant outages and during needed plant maintenance outages.    Based on NERC calculations, the U.S. reached a dangerously low 7.1% capacity margin in 1999, the lowest level experienced since the 1970s.

[image: image5.png]Bullish US Future Power Supply/Demand Balance
Based on Proprietary Morgan Stanley Supply Forecast




Analyst from Morgan Stanley Dean Witter (MSDW) believe that US capacity margin will remain in shortage mode below the 15% to 18% range through 2002, and then within the 15% to 18% range through 2004. 
New Generation Plants

In the U.S.,  24.2 GWs of nameplate capacity were added during 2000.  14.2 GWs are peaker plants and 10 GWs are baseload plants.

[image: image6.png]Forecast — the

n Dollar Question

Total
e 20004 2001 2006 2003E 2004E ‘0104
California 00 12 53 48 34 147
ECAR (Mdwes)) 36 37 53 57 79 225
ERCOT (Toxas) 42 67 es 17 29 179
FRCC (Florida) 08 21 58 31 33 13

MAAC (Mic-Allanicy 04 21 36 46 48 151
MAN (Upper Midwest) 28 50 37 49 37 173
MAPP (Midcontient) 02 10 09 04 00 23
NEPOOL (Northeast) 15 15 60 16 11 102

NYPP(NewYo) 00 07 00 14 16 37
SERC (Southeas)) 75 93 125 152 58 429
PP (Central) 22 22 47 13 08 95

WSCC(Wesli(a) 11 23 48 94 40 208
MSOW US Total (b) 742 3335 4560 _40-45 _30:35 T60-16!

@) WSCC excluding Calforna. ) Total US Forecast discounts sum of
reional v bl 0 accoun for wforeseen delays and canceled projecs.

e M S




Sophisticated developers site 2–3 times as many plants as they actually intend to build to account for inevitable permitting difficulties and to retain their flexibility as power market dynamics change. 

CERA estimates that the U.S. will require about 150 GW of new power generation capacity over the next 10 years.  

MSDW estimates that between 150 GWs to 165 GWs of new generating capacity will be added in the U.S. between 2001 and 2004.   MSDW's forecast [see following chart] excludes over-committed sites and incorporates data from their research which indicates that only about 60% of the expected new capacity for a given year is actually brought on line that year.

[image: image7.png]Total produxtion cost byfuel, 1995-2000

$ per MWh
e

cou
s
[—
Salsr
Unknoun
Ursrium
water
vind

21995 =193 1997 01393 =1939 2000

Source: Powerdat




The majority of these new builds are likely to be natural-gas fired, however coal is expected to fuel about 10% to 20%.  In 2000, coal-fired plants accounted for 52% of the electricity generated in the U.S.  Nuclear plants accounted for 20%; natural gas fired plants, 16%; hydro, 7%; petroleum, 3%; and renewables, 2%.  

[image: image8.wmf]NERC Region

Peaker

Baseload

Total

2001 E

2002 E

WSCC

565

509

1,074

3,542

10,136

ECAR

3,346

216

3,562

3,650

5,291

MAIN

2,539

217

2,756

5,014

3,652

FRCC

533

250

783

2,101

5,820

MAAC

404

0

404

2,071

3,589

ERCOT

300

3,910

4,210

6,723

6,638

NEPOOL

0

1,471

1,471

2,184

6,001

SERC

5,770

1,719

7,489

9,331

12,510

MAPP

156

0

156

974

861

SPP

543

1,701

2,244

2,234

4,708

TOTAL US

14,156

9,993

24,149

37,824

59,206

% of Total

58.6%

41.4%

Note:  (1) Assumes no slippage in timeframes

            MSDW's primary source of prosposed generation is RDI's 

            NewGen database

Source:  Morgan Stanley Dean Witter, Power Meters, June 6, 2001

2000 New Build Actuals

Forecast (1)

New Power Generation Plants

[image: image9.png]


Regionally, fuel distribution is much more variable. The NPPC region, New England including New York, relied on natural gas for about 40% of its power generation in 2000 followed by SPP (primarily Oklahoma) with about 33%.  The distribution of fuels consumed in 2000 and the total production costs by fuel for 1995 to 2000 are below.

Stealth Megawatts

De-bottlenecking existing power plants is another power source.  Analyst at DRI-WEFA believe that the derating of U.S. power plants to defer maintenance expenses took 10% to 20% of capacity out of the system between 1987-1997.  Using a 350 GW coal fleet, this could translate into 35 to 70 GW.   Nuclear plants can experience at least a 5% uprate without a big capital layout.  Exelon Nuclear looks to add a full 1,000 MW of power  utilizing a systemwide uprating by the summer of 2004.

DRI-WEFA estimates that nearly all capacity lost to derating can be recovered at a cost of under $125/kW.

Alternative Generation Sources

Fuel cells, wind power, and photovoltaic (solar)   material cost reductions and technological breakthroughs have increased their near-term likelihood of commercial feasibility.  Advances in industrial gas turbines and pulverized coal plants will reduced their production costs between now and 2015. 


2000–2015 Generating Capacity Cost Estimates

� EMBED MSPhotoEd.3  ���





� EMBED MSPhotoEd.3  ���





�





�





Short Circuits 





�





�





�





� EMBED Excel.Sheet.8  ���





Source: MSDW, Electric Utilities/Unregulated Power, June 1, 2001; Merrill Lynch, Capital Goods, May 17, 2001; MSDW, Power Meters Still a Seller's Market, June 6, 2001; CERA , Coal's Role in New Power Generation - Rebirth by Default, June 2001. RDI Energy Insight 











Market Intelligence

1

_1056883897.xls
Sheet1

		New Power Generation Plants

				2000 New Build Actuals						Forecast (1)

		NERC Region		Peaker		Baseload		Total		2001 E		2002 E

		WSCC		565		509		1,074		3,542		10,136

		ECAR		3,346		216		3,562		3,650		5,291

		MAIN		2,539		217		2,756		5,014		3,652

		FRCC		533		250		783		2,101		5,820

		MAAC		404		0		404		2,071		3,589

		ERCOT		300		3,910		4,210		6,723		6,638

		NEPOOL		0		1,471		1,471		2,184		6,001

		SERC		5,770		1,719		7,489		9,331		12,510

		MAPP		156		0		156		974		861

		SPP		543		1,701		2,244		2,234		4,708

		TOTAL US		14,156		9,993		24,149		37,824		59,206

		% of Total		58.6%		41.4%

		Note:  (1) Assumes no slippage in timeframes

		MSDW's primary source of prosposed generation is RDI's

		NewGen database

		Source:  Morgan Stanley Dean Witter, Power Meters, June 6, 2001





Sheet2

		





Sheet3

		






_1057478024.bin

_1043583678.bin

