
[image: image1.png]mE N

EXHIBIT A BASIS CONDITIONS

Performance Guarantee basis conditions for the Units shall be as set forth below:

Fuel

Natural Gas

Units of
Measure

Fuel Composition

See Exhibit A-1

Load Base Load W/ ENHANCED S|
Ambient Temperature Ler 1O/ SF
Inlet Air Chiller Status ON °F

Chilled to 50
Elevation Lo 435 Ft.
Barometric pressure | A4 ‘4 47 psia
Ambient Relative Humidity 45 35 %
Fuel LHV 19,000 BTU/Ib
Fuel Temperature . SE
Exhaust Loss (Static) If not in s _<_ lz In. H,0
Scope of Work
Inlet Loss (Static) <5 in. H,0
Generator Power Factor (Lagging) 0.90
Generator Frequency 60 Hertz
Water Injection (to 25 ppmNOX) 22,379 Ibs/hr +/-20%

US 398 ECT Contract 24-LM6K-2-99

Execution Copy Purchaser __{( Seller /g

NT

123




_1036931005.doc
[image: image1.png]mE N

EXHIBIT A BASIS CONDITIONS

Performance Guarantee basis conditions for the Units shall be as set forth below:

Fuel

Natural Gas

Units of
Measure

Fuel Composition

See Exhibit A-1

Load Base Load W/ ENHANCED S|
Ambient Temperature Ler 1O/ SF
Inlet Air Chiller Status ON °F

Chilled to 50
Elevation Lo 435 Ft.
Barometric pressure | A4 ‘4 47 psia
Ambient Relative Humidity 45 35 %
Fuel LHV 19,000 BTU/Ib
Fuel Temperature . SE
Exhaust Loss (Static) If not in s _<_ lz In. H,0
Scope of Work
Inlet Loss (Static) <5 in. H,0
Generator Power Factor (Lagging) 0.90
Generator Frequency 60 Hertz
Water Injection (to 25 ppmNOX) 22,379 Ibs/hr +/-20%

US 398 ECT Contract 24-LM6K-2-99

Execution Copy Purchaser __{( Seller /g

NT

123







