Table of Contents

1I.
Executive Summary

II.
Market Analysis
7
A.
Industry Overview
7
B.
Western Systems Coordination Council
7
C.
Nevada and California Markets
10
III.
Las Vegas Cogeneration, Limited Partnership
15
A.
Project Description
15
1.
Location and Project Site
15
2.
Technical Description
15
2.1
Equipment
15
2.2
Capacity
16
3.
Contractual Structure
17
4.
Power Purchase Agreement
18
4.1
45MW PPA Principal terms
18
4.2
Merchant Sharing Agreement
19
4.3
EPMI Commodities Services Agreement
19
5.
Gas Supply and Transportation Agreements
19
5.1
Primary Gas Supply and Transportation Agreement
19
5.2
Primary Gas Hedging
20
5.3
Transportation – Kern River Gas Transmission Company
20
5.4
Transportation – Southwest Gas Corporation
21
5.5
Secondary Gas Supply and Transportation Arrangements
21
5.6
Summary of Fuel Arrangements
21
6.
Greenhouse Lease Agreement
22
7.
Operation & Maintenance Arrangements
22
8.
Project Insurance
23
B.
Project Ownership and Key Contractual Counterparts
24
1.
Las Vegas Cogeneration Limited Partnership
24
C.
Financing Structure
26
1.
Total Acquisition Cost and Financial Structure
26
2.
Key Terms and Conditions of Senior Debt
27
2.1
Term Loan
27
2.2
Standby Letter Of Credit – Southwest Gas
28
2.3
Standby Letter Of Credit – Duke Fuels
29
3.
Financial Hedging
29
IV.
Las Vegas Cogeneration II, L.L.C.
32
A.
Project Description
32
1.
Location and Project Site
32
2.
Technical Description
32
2.1
Equipment
32
2.2
Capacity
32
3.
Permits and environment
32
4.
Interconnection and transmission
33
5.
Contractual Structure
33
6.
Energy Sale Agreements
34
7.
Gas Supply and Transportation Arrangements
34
8.
Operations & Maintenance Agreements
35
9.
Site opton agreement
35
10.
Estimated Timetable
35
11.
Development Budget Cost Estimates
35
12.
Expected Finance Structure
36
V.
Economic Analysis
38
A.
Definitions and Assumptions
38
B.
BASE CASE RESULTS:
39
VI.
Exit Strategies
41
VII.
Risks & Mitigating Factors
42
VIII.
Appendices
52
A.
Project Priscilla Performance Summary
52
B.
Project Priscilla Milestones
53
C.
Project Priscilla Control Matrix
55



I. Executive Summary

Las Vegas Cogeneration Limited Partnership, (“LVCLP”) was originally owned by The United Company (UC), with United Cogen Corp. as 85% general partner and United Energy Corp. as 15% limited partner.  Turnkey construction was undertaken by United Engineers (a subsidiary of Raytheon), and commercial operation was achieved in May 1994.  The plant was initially operated by Southern Energy, until 1997, when UC determined that, for a plant of this size and configuration, self-operation was more appropriate.  Power plant ownership and operation was no longer a core strategic business for UC, and it decided to sell the plant and associated contracts.  ENA emerged from an informal competitive process as the preferred buyer, and a purchase and sale agreement was executed on July 2, 1999, with the acquisition being consummated on August 31, 1999.

As the operator of the 50 MW natural gas fired cogeneration peaking plant located near North Las Vegas, Nevada, LVCLP is currently licensed as a QF facility (“QF”) under the Public Utilities Regulatory Policy Act of 1978 (“PURPA”).  As a result of PURPA regulations limiting the ownership of any QF facility that can be controlled by a Utility or Utility Holding Company, ENA had to make the acquisition of LVCLP through an intermediary structure.  ENA funded  the acquisition in the form of debt and equity to a special purpose vehicle named Southwest Power L.L.C. (“SWP”).  A Friendly Investor (RADR) provided the residual of the acquisition price in the form of an equity contribution to the same entity.  SWP subsequently made the acquisition of LVCLP.  Attached to the debt facility is a call option on RADR’s equity that would allow ENA to step into a direct ownership of LVCLP in the event that ENA’s ownership no longer jeopardizes the facility’s QF status.  This structure allows ENA to satisfy accounting rules regarding ownership and follow PURPA regulations regarding QF facilities.  Once the call option is exercised, ENA’s ownership of 37.5% would increase to 75%.

The total acquisition cost, including the equipment upgrades, is $80.5 million and was funded through a term facility in the amount of $56.5 million provided by National Westminster Bank Plc as senior debt-holder and $24.0 provided by the members of SWP.
Currently, ENA plans to hold its equity investment in SWP from one to five years.  The power facility, which, as noted above, is indirectly owned through ENA’s investment in SWP, is a merchant and fair value asset.   Increases in future value are expected to be derived as a result of the following factors and underlie the rationale for the investment in the SWP: 

· the attractive pricing and solid credit quality of the current Power Purchase Agreement (“PPA”);

· the flexibility, reliability and excellent operating performance of the power plant;

· the strategic location of the plant near the highly liquid and deregulating California and Nevada electricity markets;

· the opportunity to expand the facility if market conditions warrant; 

· the potential to restructure the existing PPA;

· the potential to sell the facility at a premium to the initial purchase price:

· the potential to sell non-core assets held by the facility at a premium to the initial purchase price.

· The potential to create value by optimizing existing contractual arrangements.

Power Purchase Agreement

The PPA with Nevada Power Company (“NPC”) is a 45MW must-take contract and provides for capacity and energy payments for peak power for the next 23 years at attractive prices that are indexed to the CPI. Gas supply and transportation agreements are with well-respected, highly credit-worthy entities.

Potential to Unwind Existing PPA

There is substantial value in negotiating with NPC a buyout of the existing PPA, retiring existing debt, and then selling into the Nevada and California electricity markets. The QF contract is currently considered a stranded asset by NPC, and NPC has come under pressure to mitigate its stranded costs as Nevada moves towards a deregulated power sector. Given this economic and political backdrop, NPC is motivated to participate in a buyout of the PPA.

ENA is in the process of negotiating a contract buy-out with NPC for the PPA with the QF facility. ENA estimates the above-market value of this contract with fixed capacity and energy prices to be in the range of $65 million to $75 million. Subject to proposed stranded cost legislation and regulatory approvals, ENA expects to conclude negotiation with NPC by 10/1/00. Once the buy-out approvals are obtained, which are estimated to on or before 2nd Quarter 2001. ENA would re-certify the facility as an exempt wholesale generator (“EWG”) and sell 54MW subject to securitization and regulatory approvals of merchant capacity into the market. ENA estimates this EWG merchant plant to have a value of $12 million to $15 million depending upon the forward power and gas curve assumptions being used.

Should ENA be successful in negotiating a buy-out and termination of the PPA, the facility would no longer require a steam host to maintain its QF status. SWP would proceed to consummate the sale of Sunco, L.L.C. (Greenhouse Thermal Host) to an independent entity. Based upon current estimates and independent assessments, ENA estimates a sale price of $3-$5 million for the greenhouse. The sale of Sunco, L.L.C. would consist of SWP releasing 100% of its membership interest in Sunco L.L.C. and a transfer of all physical assets owned by LVCLP to Sunco, L.L.C. Sunco L.L.C. would then operate as an entity independent of the plant for its steam requirements.

Operating Performance

The Project has a current generating capacity of 50 MW and was upgraded in November 1999 with a replacement of the current LM6000 PA to GE’s new LM 6000 PC package.  This upgrade has provided a significant heat rate advantage as well as an incremental 4 MW. Prior to the acquisition closing, extensive due diligence by ENA and its consultants revealed that with the exception of several minor technical problems which have been satisfactorily resolved, the plant is in very good condition and operating according to its design specifications.  The steam turbine, gas turbine, support equipment, boiler equipment, and balance of plant equipment are all in good to very good condition. The SWP management and plant operating staffs are experienced with a very good knowledge of plant operations and systems. 

Strategic Location

The plant is located in Las Vegas, Nevada, the fastest growing city in the United States. The state of Nevada was originally scheduled to deregulate its electricity sector in spring of 2000, however, this date was delayed by the Governor. It is anticipated that the market will open on or before 2nd quarter 2001, opening up a range of opportunities to sell excess power and ancillary services into southwestern electricity markets. ENA believes the location of the plant, in combination with the deregulation of the local marketplace, will provide additional opportunities to capture value in its equity ownership in SWP. Recent development ventures have already been announced by Southern Company and Reliant.

Facility Expansion

Given the substantial load growth in the Las Vegas region and the restructuring of the Nevada Power market, there is an opportunity to expand the existing facility, enter into new offtake agreements for the additional capacity, sell into day-ahead power markets, or offer a range of ancillary services to regional grid operators. 

Development of an expanded facility has been initiated by a newly-formed entity called Las Vegas Cogeneration II, L.L.C. (“LVC II”), which is 100% owned by SWP. The project is configured as a 220MW natural gas-fired power plant consisting of two two-on-one combined cycle units. The project would use four GE LM6000 PC gas turbines, four HRSG’s, and two steam turbines in a site optimized configuration. This 220 MW merchant facility in combination with the 54MW facility would sell 274MW into the California PX and Nevada merchant market. The anticipated start-up date for this plant is March 2002. The total development cost for the project is estimated to be $5.5 million. The estimated total construction cost, including IDL, is $136 million. The O&M services would be under a contractual agreement between the existing LVCLP and LVC II. The saving in costs because of the sharing of O&M services and sharing of other resources with the existing facility would make this projects competitive in the merchant market. Based upon our current valuations, this merchant plant is worth between $5.0 million to $20 million depending upon ENA’s curve assumptions.
The current contract with NPC obligates LVCLP to sell 45MW during on peak hours.  LVCLP completed negotiations with NPC to sell additional capacity including off-peak sales during light-load hours and excess on-peak sales above the 45MW obligation. The merchant sale, which began in April 2000, will be administered under a Commodities Services Agreement between LVCLP and EPMI.

Third Party Asset Sale

Sell all or a portion of interest to an industry player or investment bank.  By selling its interest in SWP within the next one to five years, ENA can extract a premium from the investment primarily due to the bullish outlook that industry players have placed on these types of assets.  Additionally, SWP has the ability to sell the current thermal host of the facility.  Under the scenario where SWP is successful in negotiating a buyout of the existing PPA agreement, the direct benefit to the facility of owning its own thermal host would be diminished.  SWP could then sell the thermal host in the market for a premium to the allocated acquisition cost.

Exit Strategies

ENA’s Strategy with regard to the deposition of SWP’s assets and ownership interest in LVCLP and LVC II revolves around two basic value propositions:

1. The decision to “hold” the investments as “strategic” assets with the option to restructure or not to restructure the PPA and operate as merchant facilities.

2. The decision to “sell” the assets by December 31, 2000 either with a negotiated buy-out agreement of the PPA or without.

1.
ENA Decision to “Hold” the Assets

Strategy 1A

LVCLP does not reach a buy-out agreement with Nevada Power for the PPA, SWP would develop the 220MW LVC II merchant to commercial operation. SWP would realize the value by operating the newly developed capacity of 274MWscheduling such capacity into the California PX and Nevada power markets. LVCLP would continue to operate as a QF and receive projected PPA revenues, including revenue projected under the NPC release agreement.. The expected return to ENA under this scenario is expected to be $5 million.

Strategy 1B

LVCLP negotiates with Nevada Power a buy-out of the PPA for the existing 54MW plant. The development of a 220MW merchant plant proceeds to commercial operation. SWP would realize the value by operating the plant and scheduling power into the California PX and the Nevada power markets. The expected benefit to ENA under this scenario is expected to be $17 million.

2.
ENA Decision to “Sell” the Assets by December 31, 2000

Strategy 2A

Asset prices have moved up substantially since LVCLP was acquired in August of 1999. SWP would explore the option to identify a third party who would be willing to pay for the existing asset based upon an appropriate value for the contract restructuring and for the optionality associated with the additional LVC II expansion opportunity. A sale based on this strategy substantially mitigates negotiation risks associated with restructuring and development risks associated with the merchant plant and would be completed by December 31, 2000. The expected benefit to ENA under this scenario is $29.7 million.

Strategy 2B

LVCLP negotiates with Nevada Power a buyout of the PPA for the existing 54MW plant subject to securitization and commission approval. The development of the 220MW LVC II merchant plant also proceeds simultaneously to a point in which it is financiable development project. On or before December 31, 2000, SWP sells down its interest in the residual 274MW merchant plant as well as cash flow from the negotiated PPA Buyout. The expected benefit to ENA from this strategy will be $35.0 million. 

Economic Summary


SP-15 

OFFER - $1.00
SP-15

MID + $3.00
SP-15

MID + $5.00
SP-15

MID + $5.00


Strategy 1A
Strategy 1 B
Strategy 2 A
Strategy 2 B

TIMING

QF Buy Out 

Merchant Operation

Sale of Asset


Dec-31-00

Dec-31-00

Aug-31-23


Dec-31-00

Dec-31-00

Dec-31-10


Dec-31-00

Dec-31-00

Dec-31-00


Dec-31-00

Dec-31-00

Dec-31-00



LVC LP

Southwest Power Benefit

TLS (ENA) Share of Equity

JEDI II Share of Equity
$352

$264

$88
$16,900

$12,675

$4,225
$12,900

$9,675

$3,225
$19,900

$14,925

$4,975

LVC II

Pre-Tax NPV (1)


$4,663

$4,446
$20,085
$20,085



COMBINED ASSETS:

Pre-Tax NPV (ENA)
$4,927
$17,121
$29,760
$35,010

Contractual Structure

The operating contractual structure for LVCLP is summarized below:

Principal Contract Summaries

[image: image6.wmf]Historical Peak Palo Verde and 

Forward Peak SP-15 Prices

10

30

50

70

90

Apr-96

Apr-97

Apr-98

Apr-99

Apr-00

Apr-01

Apr-02

$/MWh


II. Market Analysis 

A. Industry Overview

Since the passage of federal legislation in 1992, the Federal Energy Regulatory Commission (“FERC”) has implemented measures to facilitate competition in the wholesale power marketing arena.  Deregulation of the power markets in Nevada and California, and the shift from regulated pricing toward pricing based on market principles, has fundamentally changed the structure of the energy industry in these states.  New gas-fired resources will be well placed to benefit from their lower cost and increased operations flexibility over older, less efficient power plants.  The continued load growth projected to occur in the western U.S. willcreate robust demand for electricity and provide enormous opportunities for cost-efficient, flexible, gas-fired generators.

B. Western Systems Coordination Council

The WSCC region covers an area of nearly 1.8 million square miles.  It represents the electric power systems serving all or part of the 14 western U.S. states, as well as the provinces of Alberta and British Colombia in Canada and the northern portion of Baja California in Mexico.  The WSCC’s 86 members and 22 affiliate members provide electric service to approximately 65 million people throughout the region.

Nevada and California are located in the Western Systems Coordination Council (“WSCC”), which promotes electric service reliability in the western portion of North America. The WSCC develops and monitors planning and operating criteria for the interconnected transmission system.  Membership in WSCC is voluntary and open to major transmission utilities, transmission dependent utilities, and independent power producers/marketers. 

The plant will be an interconnected facility within the WSCC enabling wholesale power sales to other parts of the region, particularly southern California.  Because of the WSCC’s size and geographical diversity, the region is divided into four reporting areas.

The Northwest Power Pool (“NWPP”) Area is comprised of the states of Washington, Oregon, Idaho, and Utah; the Canadian provinces of British Columbia and Alberta; and portions of Montana, Wyoming, Nevada, and California.  Over the period from 1998 through 2008, peak demand and annual energy requirements are projected to grow at respective annual compound rates of 1.1% and 1.6%.  Resource capacity margins for this winter peaking area range between 11.3% and 15.7% of firm peak demand for the next ten years. 

The Rocky Mountain Power Area (“RMPA”) consists of Colorado, eastern Wyoming, and portions of western Nebraska and South Dakota. The RMPA may experience its annual peak demand in either the summer or winter season due to variations in weather. Over the period from 1998 through 2008, peak demand and annual energy requirements are projected to grow at respective annual compound rates of 2.2% and 2.4%. Summer resource capacity margins range between 17.1% and 22.5% of firm peak demand for the next ten years.

The Arizona-New Mexico-Southern Nevada Power Area consists of Arizona, most of New Mexico, the westernmost part of Texas, southern Nevada, and a portion of southeastern California. Over the period from 1998 through 2008, peak demand and annual energy requirements are projected to grow at a 2.5% annual compound rate. Resource capacity margins for this summer peaking area range between 9.4% and 10.6% of firm peak demand for the next ten years.

The California-Mexico Power Area encompasses most of California and the northern portion of Baja California, Mexico. Restructuring of the electric industry in California in 1998 and beyond adds much uncertainty to future adequacy projections of generating capacity, energy production by independent power producers, and effects of customer energy efficiency/demand-side management programs. Recognizing that future forecast uncertainty exists, peak demands and annual energy requirements are currently projected to grow at respective annual compound rates of 1.3% and 1.8% from 1998 through 2008. Projected resource capacity margins range between 10.7% and 12.1% of firm peak demand for the next ten years.

The aggregate load supply and demand and reserve margin situation within the WSCC is described in the graph below.

[image: image7.wmf]WSCC Resource Availability, Load Growth, 

and Reserve Margins

100

110

120

130

140

150

1996

1997

1998

1999

2000

2001

2002

1000's MW

0%

5%

10%

15%

20%

25%

Available Resources

Peak Load

Reserve Margin


Clearly, it is expected that the region as a whole will experience a tighter electricity market over the next several years.  Given this supply and demand dynamic, most industry participants have concluded that the WSCC is facing a fundamental long-term shortage of generation.  Moreover, first-mover advantages and dearly on-line dates create exponential opportunities to capture margin and market share during this time of capacity shortage. The table below contains a list of the projects currently underway that are most likely to be completed.

High Probability WSCC Projects

Project
State
On-Line Date
Capacity
Cumulative Capacity

Colorado Springs Nixon
CO
10/1/1999
70
70

Deming
NM
11/1/1999
250
320

Priscilla
NV
3/1/2000
216
536

El Dorado
NV
5/1/2000
492
1,028

Person
NM
5/1/2000
140
1,168

Manchief (Brush)
CO
6/1/2000
265
1,433

Valmont Repowering
CO
12/1/2000
11
1,444

Vestas (100MW Wind)
OR
1/1/2001
25
1,469

South Point Power Plant [Mojave]
AZ
5/1/2001
545
2,014

Griffith Energy Project
AZ
5/1/2001
520
2,534

Desert Basin Gnrtng
AZ
6/1/2001
600
3,134

Sutter
CA
7/1/2001
500
3,634

Klamath Cogen
OR
7/1/2001
500
4,134

43rd Avenue Plant Repower
AZ
8/1/2001
70
4,204

Los Medanos (Pittsburg)
CA
8/1/2001
500
4,704

La Paloma
CA
9/1/2001
1,048
5,752

Rathdrum
ID
9/1/2001
270
6,022

43rd Avenue Phase 2 Repower
AZ
12/1/2001
70
6,092

Everett Delta
WA
12/1/2001
248
6,340

Coyote Springs Phase 2
OR
3/1/2002
280
6,620

Delta Energy
CA
4/1/2002
880
7,500

Powhatan 48
CO
5/1/2002
150
7,650

Hermiston
OR
5/1/2002
536
8,186

The current generation stack for the WSCC is depicted in the graph below.  Given LV Cogen’s 7760 heat rate, it will be highly competitive relative to existing generation.


[image: image1.wmf]WSCC Gas Fired Resource Heat Rate Stack

0

2000

4000

6000

8000

10000

12000

14000

Under 7000

7000-7500

7501-8000

8001-8500

8501-9000

9001-9500

9501-10000

10001-10500

10501-11000

11001-11500

11501-12000

12001-12500

12501-13000

13001-13500

13501-14000

Above 14000

Heat Rate (HHV)

Megawatts of Capacity   

0

5,000

10,000

15,000

20,000

25,000

30,000

35,000

40,000

45,000

Cumulative MW of Capacity

LV Cogen


C. Nevada and California Markets

Deregulation

Nevada enacted a restructuring statute in 1997 that was subsequently amended in 1999.  The date of restructuring was most recently set for March 2000, but has been delayed.  The effect of restructuring when it occurs will be, among other things, to:

· Open the retail market to competition

· Introduce competition to generation services, metering, billing, and customer service

· Allows other competitors to bid on being the provider of last resort (“PLR”) in Nevada.  Sierra Pacific, the incumbent utility, has already begun the divestiture of all its generating assets and will not be the default provider of electric service in the future.

ENA believes that it is possible that restructuring will ultimately be delayed into 2001. 

Fundamentally, ENA’s view is that the Nevada market, when deregulated, will be substantially influenced by the much larger, more mature, California market.  ENA believes that Nevada power prices will be directly influenced by California Power Exchange prices for southern California (see below).  The graph below demonstrates, using appropriate proxies, historical and forward prices for the Nevada power market.

[image: image8.wmf]Las Vegas 

Cogeneration, LP

LVC II L.L.C.

LVC II L.L.C.

* ENA Bridge

Facility Loan

Contribution to LVC II:

Permits

Land          Pursuant to arms-length transaction.

O&M

.

 

Desert Arc I, LLC

 

Desert Arc II, LLC

15% LP Interest

85% GP Interest

Southwest Power, LLC

100% Interest

100% Interest

NA loans funds to LVC II in order to fund development expenses prior to

truction finance takeout.  In addition, ENA will assist Southwest Power,

 in the development of LVC II through the Corporate Services Agreement.

llation of four LM6000 in combined cycle would require total capital costs

proximately $140MM (including transaction costs).  The final installed

ture and most beneficial financial structure have not yet been established.

100% Interest


Average Nevada Peak Prices


April to March
$/MWh

1996 - 1997
17.85

1997 - 1998
26.66

1998 - 1999
29.07

1999 - 2000
33.37

2000 - 2001
49.43

2001 - 2002
47.05

2002 - 2003
45.56

California opened to competition on April 1, 1998 when electricity consumers in the territories of Pacific Gas & Electric Company (“PG&E”), Southern California Edison Company (“SCE”) and San Diego Gas and Electric Company (“SDG&E”) were allowed to choose their electricity supplier directly.   The load of these three utilities accounts for approximately 70% to 75% of the total California electricity market.  It is anticipated that the in-state municipal entities, which account for 20%–25% of California’s electrical load, will eventually open their systems to direct access.

PG&E, SCE and SDG&E customers were allowed to choose their electricity supplier.  In addition to energy sales, generators were able to obtain revenues for, among other services, the following:

· Capacity, option or fuel tolling agreements with power marketers; and/or

· Sales of ancillary services to the ISO including sale of reserves, voltage support and black start capability; and/or

· Must-run and other local reliability services with the ISO

Resources

Nevada relies on a mix of all major types of energy resources except nuclear power. It depends most heavily on petroleum, coal, and natural gas, but also draws on hydroelectricity and other renewable forms of energy. Coal supplies 70 percent of Nevada’s electric utility output, natural gas 20 percent, and hydroelectric power 9 percent. Nevada’s average use of energy per person is close to the national average: 359 million Btu per person in Nevada versus 352 million Btu per person for the entire country.

The California region contains a variety of generation resources including fossil, nuclear, hydroelectric, geothermal, cogeneration and renewable resources.  Total production for the region of 211,655 GWhs was substantially below consumption due to a heavy reliance upon net imports to serve the California market.  According to the CEC, California imported 51,185 GWhs of electric energy in 1997.   

The large level of reliance placed by California on energy imports supports the California Energy Commission (“CEC”) determination, made in it’s ER-96 Report, that there is currently a “shortfall of energy supply to meet the reliability requirements of the California market.”

California Power Exchange (“PX”)

The PX is a FERC-jurisdictional wholesale electric market.  The PX is a multi-faceted pool designed to serve both as a physical delivery mechanism and as a spot market.  The PX provides a competitive auction for day-ahead and hour-ahead market prices for electricity with the objective of ensuring that adequate generating resources are available for physical delivery to meet PX loads.  Generators submit supply bids by hour, which are matched with demand bids from energy purchasers.  The PX determines a Market Clearing Price (“MCP”) for each hour and determines demand and supply schedules, which are submitted to the ISO for integration with non-PX generation and load schedules.

Through 2001, PG&E, SCE and SDG&E must bid their non-nuclear generation into the PX and obtain electricity from the PX to serve their load.  These restrictions do not apply to non-utility owners of divested assets or to owners of new merchant generation.  However, the load of these three utilities accounts for approximately 70% to 75% of the total California electricity market on a energy consumption basis so the current trading volumes in the PX are substantial. More than 80% by volume of all California electricity transactions are conducted through the PX

Independent System Operator (“ISO”)

While nationwide ownership of transmission systems may remain with the electric utilities, many utilities are preparing to transfer control of their transmission systems to newly formed ISOs.  Federal regulations require ISOs to ensure that all participants have equal and fair access to the transmission system and that high levels of system reliability are maintained.  Once power is scheduled for delivery, it is the ISO’s responsibility to get the power to the distribution company and the distribution company’s responsibility to deliver power to the end user.

The California ISO assumed operational control of the transmission grid of the three California investor-owned utilities on March 31, 1998.  The CISO is responsible for several functions including: providing nondiscriminatory, open access to the transmission grid; controlling dispatch and maintaining reliability of the transmission grid; procuring and providing ancillary services; coordinating day-ahead and hour-ahead power scheduling and real-time power balancing; performing settlement function for unscheduled transactions and ancillary services; administering congestion management protocols; and billing. 

The overall electric utility industry restructuring has also seen the utilities in the Southwest investigating the feasibility of an ISO to be called Desert STAR (Desert Southwest Transmission and Reliability Operator). The main goals of Desert STAR are to provide electrical system security and reliability in accordance with WSCC and NERC policies and to provide nondiscriminatory open access to the transmission system. The Desert STAR initial feasibility evaluation was completed in September 1997. A development agreement has been entered into by more than 30 entities to further define the role and responsibilities of the proposed ISO.  ENA expects that, as Nevada restructuring accelerates and becomes more closely joined to the markets in southern California, all or part of Desert STAR will be merged with the California ISO.

Fixed Transmission into California

As illustrated below, the transmission capacity supporting the importing of power into California from other WSCC load/transmission zones, including Nevada, is currently rated at 20,116 MW.  However, operating practices and simultaneous constraints currently limit the simultaneous import capability to California to substantially less than the rated 20,116 MW.

transmission capacity into california (MW)





 QUOTE Source: Western Systems Coordinating Council

Currently, the majority of imports into California originate from the West of River (WOR/EPR) system, which includes southern Nevada.

These transmission constraints severely limit the ability of imports to satisfy current and projected supply shortfalls.

III. Las Vegas Cogeneration, Limited Partnership 

A. Project Description

1. Location and Project Site

The power plant site occupies approximately 15 acres, and is located in an industrial park setting in the city of North Las Vegas, which is approximately 5 miles north of the center of Las Vegas, Nevada.  Interconnections with the local gas transportation company (Southwest Gas Corporation), the power purchaser (Nevada Power Company) and the water supplier (the City of Las Vegas) are all located at the boundaries of the Project site.  Adjacent to the cogeneration plant is a 12-acre tomato greenhouse operated by Sunco, L.L.C., which leases land and purchases process steam and hot water from the Project.  The greenhouse business is an integral part of the Project, and is owned 100% by Southwest Power, L.L.C. 

2. Technical Description

2.1 Equipment

The Las Vegas Cogeneration facility is comprised of the following major equipment:

· General Electric (“GE”) LM 6000 PC aeroderivative combustion gas turbine (“GT”) and generator, rated at 44 MW;

· Foster Wheeler triple pressure Heat Recovery Steam Generator (“HRSG”); and

· Dresser-Rand high/intermediate pressure steam turbine (“ST”), driving a net 10 MW generator.

Gas turbine: The LM 6000 is a relatively small machine, based on GE’s jet-engine design, and is therefore well suited to the particular operational demands of a plant that cycles on a frequent basis – in this case, at least daily.

In November 1999, LVCLP upgraded its turbine from a LM 6000 PA to a state-of the-art LM 6000 PC.  The plant net heat rate has been running at approximately 8500 Btu/kWh with the LM 6000 PA machine.  Installation of a new LM 6000 PC will lower the net heat rate by almost 10% to 7,700 Btu/kWh, mainly by increasing nameplate capacity by 4 MW to 54 MW.

HRSG and Steam Turbine: The HRSG and ST are standard, proven equipment, with relatively low technological risk.

Balance of Plant: The balance of plant equipment includes a Selective Catalytic Reduction (“SCR”) NOx treatment, a pump station, a (leased) de-mineralized water unit, a cooling tower, a step-up transformer to increase the voltage to 138kV to match that of the adjacent switchyard owned by the Sierra Pacific Power Company (“SPP”), an administrative building, a maintenance shop, and a spare parts warehouse and inventory

2.2 Capacity

The plant as a whole is capable of generating an average of 54 MW, and up to 56 MW under the most favorable ambient conditions.  Since the maximum capacity and energy that NPC is contracted to take is only 45 MW, the plant has historically operated well within design parameters.  Usually the ST generates at or near full load (9.5 MW) and the gas turbine generates about 36 MW (90% of nameplate) for a total gross output of 45.5 MW. The plant consumes a parasitic load of about 0.5 MW, giving a net 45 MW to NPC.  Extraction steam from the ST is also used in a heat exchanger to supply hot water to the greenhouse, which acts as the thermal energy host required by the Project to obtain, and maintain, qualifying facility (“QF”) status under PURPA. 

The plant is only required to deliver power for 90% of the on-peak periods in order to receive 100% of the capacity payments under the PPA.  During the period 1996 through 1998, availability during on-peak periods has averaged 99.2%.

Historically, the Project has been operated as a peaking plant, largely because of the nature of the PPA contract which requires operation only during peak hours - 12 continuous hours a day in summer and 13 (5 + 8) hours a day in winter. Merchant operations began in May 2000 with the plant operating during periods outside the house required to serve NPC under the PPA. Additionally merchant sales were also made during the hours contracted to NPC by using the plant’s capability above the 45MW NPC obligation. These merchant sales are made on a day-ahead basis into the California PX when the market price is above the project’s variable cost of operation (fuel and variable O&M and Transmission); Merchant sale profits are shared with MPC. 

3. Contractual Structure

The operating contractual structure is summarized below:

(a) [image: image9.wmf]Las Vegas 

Cogeneration, LP

LVC II L.L.C.

LVC II L.L.C.

* ENA Bridge

Facility Loan

Contribution to LVC II:

Permits

Land          Pursuant to arms-length transaction.

O&M

.

 

Desert Arc I, LLC

 

Desert Arc II, LLC

15% LP Interest

85% GP Interest

Southwest Power, LLC

100% Interest

100% Interest

NA loans funds to LVC II in order to fund development expenses prior to

truction finance takeout.  In addition, ENA will assist Southwest Power,

 in the development of LVC II through the Corporate Services Agreement.

llation of four LM6000 in combined cycle would require total capital costs

proximately $140MM (including transaction costs).  The final installed

ture and most beneficial financial structure have not yet been established.

100% Interest

Principal Contract Summaries

[image: image10.wmf]WSCC Resource Availability, Load Growth, 

and Reserve Margins

100

110

120

130

140

150

1996

1997

1998

1999

2000

2001

2002

1000's MW

0%

5%

10%

15%

20%

25%

Available Resources

Peak Load

Reserve Margin


4. Power Purchase Agreement

4.1 45MW PPA Principal terms

The PPA between LVCLP and NPC was executed in May 1992, and runs for 30 years of operation (to May 2024).  It is a fixed-price contract, with payments for demonstrated capacity (payable regardless of whether the plant runs) and energy (paid for power actually delivered).  Both components of the power price are escalated annually at 80% of the annual change in CPI; the escalation date is May 1st each year. 

NPC must take, all power produced up to 45 MW during on-peak hours. On peak hours represent 52% of the total hours in a year and include the following periods:

Summer season: 10.00 am to 10.00 pm (12 hours) from May through September (5 months).

Winter season: 5.00 am to 10.00 am (5 hours) and 4.00 pm to 12.00 pm (8 hours) from October through April (7 months).

If LVCLP fails to demonstrate at least 90% availability during either the summer or winter on-peak period, it is placed on “probation” for a period of 12 months (but only for that season).  It should be noted that the 90% availability must be demonstrated during all 5 of the summer season months, but only during December through February in the winter season (3 out of 7 winter months).  This arrangement provides LVCLP with a window twice a year to perform maintenance.  If LVCLP meets the 90% threshold during a probationary 12-month period, it will be taken off probation.  If it fails to achieve 90%, NPC may elect either to extend the probation period for a further 12 months, or to reduce the contract capacity to a capacity not less than the average level actually demonstrated during the probationary period.

Energy rates are payable on the energy actually delivered, all year round, at rates that escalate year-to-year at CPI.

The PPA allows NPC to curtail its takes under the agreement during “off-peak or light-load hours when due to operational circumstances other than economic dispatch, purchases…” will result in costs greater than those that NPC may otherwise incur if NPC generates or purchases an equivalent amount of energy. The provision expressly precludes NPC from “economic dispatch” of the Project, i.e. from curtailing power deliveries, simply because it can generate power from its own system more cheaply. This issue was the subject of a dispute between LVCLP and NPC, which was finalized in 1997 after an arbitrator ruled in favor of LVCLP. Although the contract has not been amended, to recognize this interpretation, the arbitration award has finally resolved this matter.

4.2 Merchant Sharing Agreement

In April 2000, LVCLP and NPC executed a Limited Release Agreement of Applicable Energy (the “Limited Release Agreement”) to share in value created from the sale to off-peak and excess on-peak energy above the 45MW PPA obligation. The agreement has a one-year renewal term and includes a profit-sharing mechanism whereby NPC is paid a portion of the profits based on the day-ahead CalPX settlement price, less variable, transmission, and market service costs.

4.3 EPMI Commodities Services Agreement

To facilitate the merchant sales under the Limited Release Agreement, LVCLP will enter into a Commodities Services Agreement with EPMI as its market services provider. Services will include facilitating to merchant energy sales transactions into the California PX and Nevada markets, fuel management services, and consulting services. The agreement is anticipated to be executed by June 2000.

5. Gas Supply and Transportation Agreements

ENA’s acquisition of LVCLP from UC was accompanied by certain changes to the gas supply and transportation agreements. These changes were implemented to remove UC and its affiliates from the contract fuel structure.  The changes to the gas supply arrangements are described in greater detail below.

5.1 Primary Gas Supply and Transportation Agreement

During UC’s ownership of LVCLP, United Energy Corporation (“UEC”), a subsidiary company of UC, undertook the primary gas supply and transportation obligations to the Project under a 17-year agreement, which expires in April 2011 (the “UEC Gas Supply Agreement”).  Its obligations were performed by Duke Energy Fuels L.P. (“Duke Fuels”) under a co-terminous agreement with UEC (the “Duke Fuels Gas Supply Agreement”).

The key provisions of the two agreements were identical, in all material respects, thus providing an effective back-to-back arrangement.  These arrangements were rationalized with the purchase by ENA of LVCLP.  As conditions to closing the purchase, the UEC Gas Supply Agreement was terminated, and the Duke Fuels Gas Supply Agreement assigned by UEC to LVCLP. 

The Maximum Daily Quantity (“MDQ”) in the Duke Fuels Gas Supply Agreement is 5,000 MMBtu/day, which exceeds the plant’s fuel requirements to meet the PPA’s on-peak dispatch load.

The price for gas in the Duke Fuels Gas Supply Agreement is fixed from May 1, 1994 through April 30, 2000; the price floats thereafter, but it has been hedged by ENA for 10 years as set out in Section 5.5.2.  Also pursuant to the Duke Fuels Gas Supply Agreement, LVCLP is required to provide Duke Fuels with a letter of credit, guaranteeing its future performance under the contract.  In order to satisfy this requirement, the Facility includes a US$3 million letter of credit issued by the Agent. 

Gas is transported through the Kern River pipeline under the terms of a separate agreement between Duke Fuels and Kern River Gas Transmission Company.  

5.2 Primary Gas Hedging

From May 1, 2000, the contract price under the Duke Fuels Gas Supply Agreement is set by reference to a defined market price index (please see chart below).  In order to cover this market price exposure, ENA has entered into a series of forward commodity swaps with LVCLP.  The Project will therefore receive fixed-priced (non-escalating) gas for a period of 10 years from May 1, 2000 to April 30, 2010.  The Financial Model incorporates the strike price of 2.40/MMBtu.


[image: image4.wmf]Natural

Gas

Week

Opal

Price

Natural

Gas

Week

Opal

Price

Las Vegas

Cogeneration

 LLC

ENA

ENA

ENA

Duke Fuels

5,000

 MMBtu

/day of physical gas

2,500

 MMBtu

/day paid at Natural Gas Week

Opal Price

2,500

 MMBtu

/day paid at Inside FERC

RockiesPrice

NYME

X Henry

Hub less

$0.28/

M

MBtu

NYMEX

Henry

Hub less

$0.27/

M

MBtu

NYMEX

Henry

Hub

$2.68/

MMBtu

SWAP 1

Notional

Quantity

5,000

MMBtu

/day

SWAP 2

Notional

Quantity

2,500

MMBtu

/day

SWAP 3

Notional

Quantity

2,500

MMBtu

/day

Fixed Cost to Las Vegas

 Cogeneration

5,000

 MMBtu

/day at

$2.68

less:$0.28

Net Cost $2.40/

MMBtu

GAS PURCHASE

AND SALE

AGREEMENT

5,000

 MMBtu

/day


5.3 Transportation – Kern River Gas Transmission Company

Duke Fuels’ transportation obligations under the Duke Fuels Gas Supply Agreement are performed by Kern River Gas Transmission Company under an agreement with Duke Fuels (the “KRGTC Agreement”).  This agreement expires in February 2009, but is extendable for successive 1-year periods thereafter, at Duke Fuels’ option.

Rates are renegotiated prior to any extension of the agreement, but are capped at FERC’s maximum authorized rate for firm transportation service at the time.

The primary receipt points for gas is at Opal, Wyoming, the northern most point of the Kern River Pipeline, and delivery is at the interconnection with Southwest Gas Corporation (“Southwest Gas”) 4.5 miles from the Project site. 

5.4 Transportation – Southwest Gas Corporation

After transmission of the Project’s gas through Kern River, it is transferred to Southwest Gas’ system, for the final 4.5 miles to the Project site.  LVCLP’s agreement with Southwest is for 17 years (expiring in August 2011), subject to year-to-year extensions thereafter at renegotiated rates.

The MDQ in the Southwest Gas Agreement is 5,200 MMBtu/day (4% above the Duke Fuels MDQ).  The rates for firm transportation escalate at 80% of the change in CPI, representing a perfect hedge with the PPA rates.

Pursuant to the agreement, Southwest Gas constructed a 4.5-mile spur connecting Kern River to the Project site specifically to service the Project.  Although the cost of construction was fully covered by Southwest Gas, the company also sought assurances that it would not lose the value of its capital investment due to LVCLP’s non-performance of its obligations under the Gas Agreement.  To satisfy SouthWest Gas’s requirement, the Facilities incorporate a $0.89 million letter of credit.  The amount of the letter of credit amortizes during the term of the senior debt according to the depreciation schedule of the spur and can be drawn in the event of LVCLP’s non-performance under the contract.  

5.5 Secondary Gas Supply and Transportation Arrangements

As a condition to the approval of the PPA by the Nevada Public Utilities Commission (“NPUC”), LVCLP has to demonstrate pursuant to the NPUC order, inter alia, that it has entered into primary and secondary gas supply arrangements for at least 15 years duration.  To satisfy this requirement, LVCLP had a secondary gas supply and transportation agreement with United Oil & Minerals (“UOM”).  This agreement was terminated at closing of the Project’s purchase by ENA, and ENA has taken over UOM’s former role.

ENA’s secondary gas supply agreement is for 5,000 MMBtu/day and runs from September 1, 1999 through May 31, 2024.  Daily pricing is equal to the SoCal Border price plus $0.10/MMBtuand the primary delivery point is the interconnect between the El Paso pipeline and Southwest Gas Company.

5.6 Summary of Fuel Arrangements

For ease of reference, the following is a tabular summary of the key gas supply and transportation agreements, as at Financial Close.  The final column shows how long each agreement extends beyond the final maturity of the senior debt:

Agreement
Parties
Expiry date
Debt tail

Primary Gas Supply & Transportation 
LVCLP and Duke Fuels
April 2010
7 mths

Primary Gas Hedging
LVCLP and ENA
April 2010
7 mths

Kern River Gas Transportation  (1)
Duke Fuels and KRGTC
February2009
7 mths

Southwest Gas Transportation  (2)
LVCLP and SWGC
December 2011
1 yr. 11 mths

Secondary Gas Supply and Transportation
LVCLP and ENA
May 2024
14 yrs. 8 mths

(1) The Kern River agreement may be extended for successive 1-year periods, at Duke Fuels’ option.

(2) The Southwest Gas agreement is deemed extended annually after August 2011 unless terminated by either party

6. Greenhouse Lease Agreement

Pursuant to a Greenhouse Lease Agreement, as amended following ENA’s acquisition of both LVCLP and Sunco, LVCLP:

· leases land to Sunco and 

· supplies Sunco’s requirements for thermal energy for the production of agricultural crops in the greenhouse.

In consideration for the above, Sunco pays rent to LVCLP in an amount equal to 100% of its net revenue to LVCLP, net revenue being defined as all revenues received by Sunco less all the direct and indirect expenses incurred in operating the greenhouse.

Sunco is required to remit 100% of the revenues to LVCLP within two days of receiving them. Sunco is also required to prepare, no later than 90 days before the end of each year, an annual operating budget for the succeeding year for all expenses.  Within two days of funds being available to LVCLP for that purpose, LVCLP is in turn required to advance, on a month-by-month basis, the funds amount budgeted for each month to Sunco. Any surplus funds remaining after application to budgeted items will at LVCLP’s option either be returned to LVCLP or set off against the subsequent month’s advances.

Also pursuant to the Greenhouse Lease Agreement, LVCLP is required to obtain and maintain insurance for the greenhouse operations to the extent required by the Lenders.

The lease agreement expires in 2009.  Before that date, both parties to the contract have the right to terminate it at will as long as they give the other party at least 24 months notice.  The risk of the lease terminating against the interests of the Project is substantially mitigated by the fact that ENA has acquired both parties to the contract, thus ultimately retaining control of the lease at both ends.

7. Operation & Maintenance Arrangements

Under UC’s ownership, the power plant was operated by UC with a staff of 10.  The management team comprised a plant manager, a plant engineer and senior administrator, all of whom have been with the Project since the outset.  Under ENA’s member management responsibilities on behalf of Southwest Power, LLC, O&M will continue to be principally undertaken by the Project.  The services of all existing UC employees have been retained and transferred to LVCLP.  However monitoring / supervision of all aspects of O&M will be undertaken by ENA as the managing member of Southwest Power, LLC and certain of its affiliates under a Corporate Services Agreement.  ENA will also provide services such as compliance monitoring, records management, budgeting and performance against budget, as well as more centralized services, such as tax and accounting, human resources, legal and cash management.  

LVCLP is required to prepare an Annual Budget prior to each operating year.  Each quarter, LVCLP submits a report showing variances to the Annual Budget on a year-to-date basis, and certifying that it expects to be within 10% +/- of the Annual Budget by year-end.  If LVCLP is unable to certify compliance, it is required to submit a revised Annual Budget for the Agent’s approval.
8. Project Insurance

The Project has been insured under Enron/ENA’s umbrella insurance arrangements and provides coverage for customary risks including physical damage, boiler and machinery and business interruption.  Marsh & McLennan has acted as lenders’ Insurance Consultant (“IC”).  The IC has reviewed the insurance arrangements on behalf of the lenders, and considers the scope of cover, as well as coverage levels and deductibles appropriate.

B. Project Ownership and Key Contractual Counterparts

1. Las Vegas Cogeneration Limited Partnership

The ownership structure that has been created following ENA’s acquisition is depicted below.


[image: image5.wmf]100%

Interest

Las Vegas 

Cogeneration

, LP

National Westminster

 Bank Plc

P & I

$56.5 MM Debt

Desert Arc I, LLC

Desert Arc II, LLC

SUNCO 

Ltd

., LLC

15% LP Interest

85% GP Interest

Southwest Power, LLC

100% Interest

100% Interest

100% Interest

RADR EMP, LLC

JEDI II

TLS Investors, LLC

25%

Interest

$6.0 MM

Equity

25%

Managing

Interest

$6.0MM

Equity

50%

Interest

$12.0 MM

Equity

CalPERS

Enron

50%

Interest

50%

Interest

ENA

$6.0 MM

Equity


The ownership arrangements can be summarized as follows:

· United Cogen’s 85% GP interest and United Energy’s 15% LP interest in LVCLP have been acquired by Desert Arc I and Desert Arc II respectively;

· Desert Arc I LLC, Desert Arc II LLC and Sunco Ltd., LLC (the company which owns the greenhouse) are all 100% owned by a new project holding company, Southwest Power, LLC;

· Southwest Power, LLC is a limited liability company and is owned:

· 25% by TLS Investors, LLC, the managing member and a wholly owned subsidiary of ENA

· 25% by JEDI II (50% Enron, 50% CalPERS)

· 50% by RADR EMP LLC 

· RADR EMP LLC is a “Friendly Investor Vehicle which has invested in Enron transactions in the past).

C. Financing Structure

1. Total Acquisition Cost and Financial Structure

The Sources and Uses of Funds for the acquisition by Enron and its affiliates and investors of the Las Vegas Cogeneration Project is as follows:

Uses
$000s
Sources
$000s
%

Asset Purchase Price:

   Repayment of existing debt

   Acquisition of equity

Subtotal

Plant Upgrades:

   LM 6000 PC purchase price

   GT generator vibration fix

   HRSG upgrades

Subtotal

Transaction Expenses and Fees

Opening Working Capital 


51,000

21,189

4,530

300

134


72,189

4,964

2,336

1,011


Senior Debt 

Equity Contributions

    RADR EMP LLC

    ENA

    JEDI II

 Subtotal


12,000

6,000

6,000


56,500

24,000
71.6%

28.4%

Total Uses

80,500
Total Sources

80,500
100.0%

The equity contributions are allocated as follows:

· ENA




$ 6.00m 
(25%)

· JEDI II




$ 6.00m 
(25%)

· RADR EMP LLC

$12.00m 
(50%)

RADR EMP, LLC is an investment vehicle comprised of a combination of four high net worth individuals and trusts that have worked with Enron in the past to provide outside equity for Enron projects.

Also pursuant to the Facility Agreement, ENA is not permitted to directly or indirectly transfer, sell, assign or otherwise dispose of any of its direct or indirect ownership interest which results in either ENA (or Enron) directly or indirectly owning less than 25% of the partnership interests in the Borrower, or ENA (or Enron) ceasing, directly or indirectly, to be the sole managing member of the sole general partner of the Borrower, without majority lender approval.

ENA has decided to secure the debt service reserve account balance through a corporate guarantee by its parent, Enron Corp.  The Enron surety amounts to a maximum of US$3.5 million (approximately 50% of the highest annual debt service figure during the term in the Base Case of the Financial Model).

2. Key Terms and Conditions of Senior Debt

Borrower:

Las Vegas Cogeneration Limited Partnership, a Nevada limited partnership, the owner and operator of a 50 MW cogeneration facility located in North Las Vegas, NV (together with all related agreements and facilities, the “Project”).  The General and Limited Partners of the Borrower will be wholly owned subsidiaries of Southwest Power L.L.C., a Delaware limited liability company in which Enron North America Corp. (“ENA”) and its affiliates hold a substantial interest.  Ownership is structured to maintain qualifying facility (“QF”) status.  

Underwriter:

National Westminster Bank Plc (“NWB”), acting through Greenwich NatWest Structured Finance, Inc. (“GNW”) as Arranger.

Lenders:

A group of banks to be identified in general syndication.

Agent and LoC Issuing Bank:

NWB.

Closing Date:

August 31, 1999.   

2.1 Term Loan

Amount:

$56,500,000

Use of Proceeds:

Refinance existing indebtedness of the Borrower, finance certain capital improvements agreed prior to the Closing Date (including the purchase of a replacement GE LM 6000 PC gas turbine, as well as certain repairs and modifications to the HRSG), provide initial working capital, and pay transaction costs.

Final Maturity Date:

September 30, 2009 (10 years and 1 month).

Interest:

(a)  LIBOR plus:


 
From Closing Date to 30-Sep-02:   

From 01-Oct-02 to 30-Sep-05:

From 01-Oct-05 to 30-Sep-09:   
1.125%

1.375%

1.625%



(b)  or Base Rate plus:



From Closing Date to 30-Sep-02:   

From 01-Oct-02 to 30-Sep-05:

From 01-Oct-05 to 30-Sep-09:   
0.375%

0.625%

0.875%



The Borrower shall purchase interest rate protection in a manner mutually acceptable to Arranger, Agent and Borrower. 

Principal Amortization and Interest Payments:

Scheduled quarterly amortization of principal as per Exhibit A, with a bullet payment of remaining principal due and payable on the Final Maturity Date.  Interest payable at the end of each interest period, but in any case, no less frequently than quarterly.

2.2 Standby Letter Of Credit – Southwest Gas

Beneficiary:

Southwest Gas Corporation (“Southwest Gas”)

Initial Face Amount:

$888,896

Purpose:

To assure Southwest Gas of the Borrower’s performance under the Southwest Gas Transportation Agreement, specifically the recovery by Southwest Gas of capital costs incurred by it in constructing a spur pipeline from the interconnection with the Kern River Gas Transmission system to the Project site.

Term:

3 years.

Reduction Schedule:

See Exhibit B.

Letter of Credit Commission:

Same as LIBOR margin on Term Loan.

Permitted Draws:

· Upon receipt by the Issuing Bank of a certificate from Southwest Gas stating that it is entitled to draw on the letter of credit because of non-performance by the Borrower under the Southwest Gas Transportation Agreement; or

· No more than 30 days prior to its expiry, upon the failure of the Issuing Bank to extend the letter of credit, or of the Borrower to procure a replacement the letter of credit.

Post-Draw Interest Rate:

Base Rate + 2.0%.

Reimbursement Obligation:

Upon a draw on the letter of credit, the Borrower shall have the obligation to reimburse the Issuing Bank from 100% of cash flow available immediately prior to the payment of scheduled interest on the Term Loan in the Cash Flow Waterfall.

2.3 Standby Letter Of Credit – Duke Fuels

Beneficiary:

Duke Energy Fuels, L.P. (“Duke Fuels”).

Face Amount:

$3,000,000

Purpose:

To assure Duke Fuels of the Borrower’s performance under the Duke Fuels Gas Supply Agreement.

Term:

3 years, with no interim reductions.

Letter of Credit Commission:

Same as LIBOR margin on Term Loan.

Permitted Draws:

· Upon receipt by the Issuing Bank of a certificate from Duke Fuels stating that it is entitled to draw on the letter of credit because of non-performance by the Borrower under the Duke Fuels Gas Supply Agreement; or

· No more than 30 days prior to its expiry, upon the failure of the Issuing Bank to extend the letter of credit, or of the Borrower to procure a replacement the letter of credit.

Post-Draw Interest Rate:

Base Rate + 2.0%.

Reimbursement Obligation:

Upon a draw on the letter of credit, the Borrower shall have the obligation to reimburse the Issuing Bank from 100% of cash flow available immediately prior to the payment of scheduled interest on the Term Loan in the Cash Flow Waterfall.

3. Financial Hedging

ENA has entered into a 10-year interest rate swap (“IRS”) with LVCLP for 100% of the Senior Credit Facility with a strike price of 6.5%.  All swap obligations are secured pari passu with the Senior Credit Facility.

EXHIBIT A

TERM LOAN

AMORTIZATION SCHEDULE

 (Amounts in US$000s)

Date
Repayment
Balance Outstanding
%age Outstanding


($000s)
($000s)


Opening

56,500
100.0%

31-Dec-99
(391)
56,109
99.3%

31-Mar-00
(106)
56,003
99.1%

30-Jun-00
(521)
55,482
98.2%

30-Sep-00
(602)
54,880
97.1%

31-Dec-00
(373)
54,507
96.5%

31-Mar-01
(361)
54,146
95.8%

30-Jun-01
(603)
53,543
94.8%

30-Sep-01
(666)
52,877
93.6%

31-Dec-01
(518)
52,359
92.7%

31-Mar-02
(534)
51,825
91.7%

30-Jun-02
(760)
51,065
90.4%

30-Sep-02
(873)
50,192
88.8%

31-Dec-02
(334)
49,858
88.2%

31-Mar-03
(298)
49,560
87.7%

30-Jun-03
(507)
49,053
86.8%

30-Sep-03
(614)
48,439
85.7%

31-Dec-03
(683)
47,756
84.5%

31-Mar-04
(632)
47,124
83.4%

30-Jun-04
(809)
46,315
82.0%

30-Sep-04
(951)
45,364
80.3%

31-Dec-04
(781)
44,583
78.9%

31-Mar-05
(740)
43,843
77.6%

30-Jun-05
(966)
42,877
75.9%

30-Sep-05
(1,114)
41,763
73.9%

31-Dec-05
(439)
41,324
73.1%

31-Mar-06
(375)
40,949
72.5%

30-Jun-06
(572)
40,377
71.5%

30-Sep-06
(694)
39,683
70.2%

31-Dec-06
(502)
39,181
69.3%

31-Mar-07
(455)
38,726
68.5%

30-Jun-07
(661)
38,065
67.4%

30-Sep-07
(783)
37,282
66.0%

31-Dec-07
(936)
36,346
64.3%

31-Mar-08
(891)
35,455
62.8%

30-Jun-08
(1,099)
34,356
60.8%

30-Sep-08
(1,216)
33,140
58.7%

31-Dec-08
(1,037)
32,103
56.8%

31-Mar-09
(977)
31,126
55.1%

30-Jun-09
(1,205)
29,921
53.0%

30-Sep-09
(29,921)
0
0.0%

EXHIBIT B

Reduction Schedule Southwest Gas Letter of Credit:
Date
Reduction
Balance


Initial

888,896


10-May-00
33,184
855,712


10-May-01
33,184
822,528


10-May-02
33,184
789,344


10-May-03
33,184
756,160


10-May-04
33,184
722,976


10-May-05
33,184
689,792


10-May-06
33,184
656,608


10-May-07
33,184
623,424


10-May-08
33,184
590,240


10-May-09
33,184
557,056

IV. Las Vegas Cogeneration II, L.L.C.

A. Project Description

1. Location and Project Site

A 220 MW natural gas fired plant consisting of two, two-on-one combined cycle units.  The Las Vegas Cogen II Project (LVC II) will use four GE LM6000 PC gas turbines with Enhanced Sprint (spray cooling), each rated at approximately 43 MW, four HRSG’s and two steam turbines in a site-optimized configuration. LVC II is an expansion of the existing 54 MW Las Vegas Cogeneration Project acquired in August 1999. LVC II will be located adjacent to the Las Vegas Cogeneration Project on an approximate four-acre tract of land located at 1701 East Alexander Road, North Las Vegas, NV, in Clark County.  The Southwest Gas Corporation pipeline, the Nevada Power electric transmission and the City of Las Vegas water supply are all located at the boundaries of the Project site.

2. Technical Description

2.1 Equipment

The plant will be outfitted with four GE LM 6000 PC gas turbines.  Inlet cooling will be used on the gas turbines to maximize plant output during warm ambient conditions. The gas turbines and transformers for the project are owned by a special purpose entity (West LB). Transfer of the equipment to the Project will occur during plant construction.

2.2 Capacity

Given the varying ambient temperature in the Las Vegas area, the net output is expected to vary from 210-222 MW, for a yearly average output of 216 MW.  With the use of inlet cooling on the gas turbines, the average net output can be improved to 220 MW.

The heat rate can also vary from 7,720-7,820 Btu/kWh throughout the year and will average 7,760 on a yearly basis. The use of inlet cooling on the gas turbines will increase the heat rate approximately 40 Btu/kWh.

3. Permits and environment

Waste Water

Wastewater will be discharged by the city of North Las Vegas.  LVC II is seeking a variance to total dissolved solids limitation to allow a reduction in its water use and therefore its variable operating cost.

Air

Clark County has completed its initial review of the air permit application.  All of the changes requested by the agency are achievable.  The project’s design has been adjusted to increase the degree of Nox and CO removal so the annual emissions of these pollutants will be below considered “major” by the county which should expedite the approval process.

Noise

The land use site has been served as industrial, which allows for the construction of the new power generating facility.  The project design is currently being evaluated to comply with the cities noise standard to assure compliance.

4. Interconnection and transmission

LVC II will interconnect with the Nevada Power Commision’s system at the existing 138kv substation on site.  A meeting was held with NPC’s staff on May 10th, 2000 to discuss interconnection requirements.  NPC will perform a study to define the interconnection requirements, which will begin during the first week of June with the visit of the NPC engineering staff to the plant site.

5. Contractual Structure

The ownership structure for LVC II has been designed to take advantage of the existing Southwest Power ownership.  As a merchant and fair value, off-balance sheet entitiy, SWP will own 100% of LVC II.  Development funding will be provided by a market based bridge loan facility from ENA.

[image: image11.wmf]Historical Peak Palo Verde and 

Forward Peak SP-15 Prices

10

30

50

70

90

Apr-96

Apr-97

Apr-98

Apr-99

Apr-00

Apr-01

Apr-02

$/MWh


*ENA loans funds to LVC II in order to fund development expenses prior to construction finance takeout. In addition, ENA will assist Southwest Power, L.L.C. in the development of LVC II through the Corporate Services Agreement.

Installation of four LM 6000 in combined cycle would require total capital costs of approximately $1240 MM (including transaction costs). The final installed structure and most beneficial financial structure have not yet been established.

6. Energy Sale Agreements
The Project is being evaluated as a stand-alone merchant facility.  Power would be sold to either NPC or in the California energy markets.  Once deregulation is implemented in Nevada, LVC II can also sell ancillary services. A tolling agreement with ENA is also being considered for a period from 1-20 years as part of the GENCO transaction.

7. Gas Supply and Transportation Arrangements

An engineering review of the existing 8 inch line that currently supplies LVC, LP revealed that a new 4.3 mile pipeline from the Kern River main line, or compression, will be needed to transport gas from Kern to LVC II.

Work is in progress to determine the most cost-effective means of transporting gas to LVC II from Kern River.  The cost of installing a new 4.3-inch pipeline (12 to 16 inches in diameter) will be compared with purchasing delivery from Southwest Gas Company.

Several alternatives are being investigated to secure firm transportation on Kern.  These include participating in the current open season and the purchase of existing released space.

8. Operations & Maintenance Agreements

LVC II will contract for O&M services from LVC, LP under a separate O&M agreement.  The O&M services will include all normal operation, repair and maintenance activities required to operate the facility in a safe and reliable manner.  LVC II will pay LVC, LP a market base O&M fee of $150,000 per year which escalates at CPI.

9. Site opton agreement

LVC II and LVC, LP will enter into a 30 year site option agreement on a five acre parcel of land for the purpose of building the expansion.  The cost of the option is $50,000.  Until the option is exercised, LVC II will make lease pmts to LVC, LP of $150,000 escalating at CPI.   

10. Estimated Timetable

Estimated Timetable



Activity


Timetable



Receipt of Permits
November 2000



Construction Financing
December 2000



Start of Construction
December 2000



Testing
November 2001



Commercial Operation
March 2002

*For more details on the timetable, see Appendix B for the Milestones Schedule and Appendix C for the Project Control Matrix.
11. Development Budget Cost Estimates

Development Cost

Pre-closing

Engineering
$161,600

Interconnects
$101,500

Permitting / CEC Support
$200,500

Land
$145,000

Consulting
$125,000

Legal
$500,000

Payments to LVCLP
$140,000

Air Pollution Offsets
$250,000

Contingency
$250,000

Total Pre-closing
$1,873,600

Closing

Lender Origination Fee
$1,098,146

Soft Cost
$2,151,538

Total Closing
$3,249,684

Total Development Cost
$5,123,284

12. Expected Finance Structure

The financing structure can vary depending on whether LVC II will operate entirely as merchant facility or whether power offtake will be contracted to local municipalities or within a GENCO structure.  If PPAs or tolling agreements are put in place, LVC II  will be able to take on more leverage.

Amount:
$72,000,000 (approximate)



Term:
15 years



Interest Rate:
8% - 10 year fixed Libor rate plus a spread:

137.5 bps during construction and the first three years of operations.

150 bps for years 4-15.



Financial Close Date:
11/31/00



Capital Structure 

(debt to equity):
During Construction – 89% / 11%

During Operations – 50% / 50% (as a merchant facility)

                             60% / 40% (with off-take agreements)



Debt Service Reserve:              
Value would be on 12 months of debt service



or Letter of Credit:
Fee is 1.5% on 6 months of debt service

Loan Origination Fee:
1.5% of loan amount



V. Economic Analysis

A. Definitions and Assumptions

QF Buy-Out:


Assumed date for final negotiated agreement on QF PPA settlement and buy-out.



Merchant Operation:
Date at which LV Cogen plant commences operation as a stand alone merchant plant.



Sale of Asset:
Date at which plant assets are sold to third party.



Wheeling Charge:
Transmission charge required to move energy from the plant bus bar to the Mead delivery point.  It is assumed that as Nevada moves towards the California ISO model, that transmission wheeling charges will be zero in the absence of path congestion.



Wheeling Losses:
Losses associated with delivery into the California ISO.



PPA Buy-Out:
Estimated PV of the difference between the QF PPA capacity and energy payments and the market value for this energy.  The value of the PPA payments are discounted at the existing project discount rate of 11 percent.  The forecasted market valuations for energy and capacity after the PPA buy-out are based on merchant discount rate of 12.25 %. 



Gas Swap:
Estimated MTM value of the existing 10 year NYMEX gas swap as of May 10, 2000.



Interest Rate Swap:
Fair Value estimate of the existing LIBOR interest rate swap as of December 31, 1999.



PV of QF Cash Flows:
Estimated PV of the existing contract structure for the plant operated as a QF facility.



PV of Merchant Cash Flows:
Estimated PV(12.25)  of the project as a stand alone merchant plant absent the green house.   Merchant values are based on the SP-15 market curve (MID) plus $3.00 and $5.00 for operation as an ENA merchant and as a third party merchant plant, respectively. 



Stand Alone Greenhouse:
Estimated market valuation of the Green House  assets if sold to a third party on a stand alone basis.



BASE CASE RESULTS:


SP-15 

OFFER - $1.00
SP-15

MID + $3.00
SP-15

MID + $5.00
SP-15

MID + $5.00


Strategy 1A
Strategy 1 B
Strategy 2 A
Strategy 2 B

LV Cogen:





TIMING:

QF Buy Out 

Merchant Operation

Sale of Asset

REVENUES-MERCHANT SALES:

Wheeling Charge

Wheeling Losses

CASH FLOW:

PPA Buy Out (PV11)

Gas Swap

Interest Rate Swap

Change in Working Capital

PV of Base Case QF Cash Flow

PV Merchant Cash Flow (PV12)

Stand Alone Green House

Terminal Scrap Value

(PV12)- 10 YRS

LIABILITIES/EQUITY:

LT Debt

Equity

Southwest Power Benefit

TLS (ENA) Share of Equity

JEDI II Share of Equity


Dec-31-00

Dec-31-00

Aug-31-23

$3.75

3.5 %

-

-

-

-

$24,468

-

-

-

($56,000)

($24,000)

$352

$264

$88
Dec-31-00

Dec-31-00

Dec-31-10

-

3.5 %

$75,000

-

-

$1,000

-

$12,000

$3,000

$5,900

($56,000)

($24,000)

$16,900

$12,675

$4,225
Dec-31-00

Dec-31-00

Dec-31-00

-

3.5 %

$68,000

$4,200

$1,700

$1,000

-

$15,000

$3,000

-

($56,000)

($24,000)

$12,900

$9,675

$3,225
Dec-31-00

Dec-31-00

Dec-31-00

-

3.5 %

$75,000

$4,200

$1,700

$1,000

-

$15,000

$3,000

-

($56,000)

($24,000)

$19,900

$14,925

$4,975

PRISCILLA:







Pre-Tax NPV1
$4,6632
$4,446
$20,085
$20,085



COMBINED ASSETS:





Pre-Tax NPV (ENA)
$4,927
$17,121
$29,760
$35,010

VI. Exit Strategies

ENA’s Strategy with regard to the deposition of SWP’s assets and ownership interest in LVCLP and LVC II revolves around two basic value propositions:

3. The decision to “hold” the investments as “strategic” assets with the option to restructure or not to restructure the PPA and operate as merchant facilities.

4. The decision to “sell” the assets by December 31, 2000 either with a negotiated buy-out agreement of the PPA or without.

1.
ENA Decision to “Hold” the Assets

Strategy 1A

LVCLP does not reach a buy-out agreement with Nevada Power for the PPA, SWP would develop the 220MW LVC II merchant to commercial operation. SWP would realize the value by operating the newly developed capacity of 274MWscheduling such capacity into the California PX and Nevada power markets. LVCLP would continue to operate as a QF and receive projected PPA revenues, including revenue projected under the NPC release agreement.. The expected return to ENA under this scenario is expected to be $5 million.

Strategy 1B

LVCLP negotiates with Nevada Power a buy-out of the PPA for the existing 54MW plant. The development of a 220MW merchant plant proceeds to commercial operation. SWP would realize the value by operating the plant and scheduling power into the California PX and the Nevada power markets. The expected benefit to ENA under this scenario is expected to be $17 million.

2.
ENA Decision to “Sell” the Assets by December 31, 2000

Strategy 2A

Asset prices have moved up substantially since LVCLP was acquired in August of 1999. SWP would explore the option to identify a third party who would be willing to pay for the existing asset based upon an appropriate value for the contract restructuring and for the optionality associated with the additional LVC II expansion opportunity. A sale based on this strategy substantially mitigates negotiation risks associated with restructuring and development risks associated with the merchant plant and would be completed by December 31, 2000. The expected benefit to ENA under this scenario is $29.7 million.

Strategy 2B

LVCLP negotiates with Nevada Power a buyout of the PPA for the existing 54MW plant subject to securitization and commission approval. The development of the 220MW LVC II merchant plant also proceeds simultaneously to a point in which it is financiable development project. On or before December 31, 2000, SWP sells down its interest in the residual 274MW merchant plant as well as cash flow from the negotiated PPA Buyout. The expected benefit to ENA from this strategy will be $35.0 million. 

VII. Risks & Mitigating Factors

Project Risks 
-
Las Vegas Cogeneration LP (Project Elvis)

RISK
DESCRIPTION
MITIGATION/COMMENTS

Regulatory Risk—QF Status
Loss of continued QF status would seriously impact the project, as the PPA with NPC would be terminated.

The enabling legislation for electric utility restructuring in Nevada contains language and incentives that could lead NPC to attempt to engineer a non-negotiated termination of the PPA or to challenge the QF status of the facility.
Tri-Mont Engineering was retained to review plant operating reports in order to render an opinion on the plant’s ability to continue to hold Qualified Facility designation.  Tri-Mont’s report  states that the plant has consistently met and continues to meet the operating and efficiency standards necessary for maintenance of QF status.



Regulatory Risk—PPA Unwind
Negotiations to unwind the PPA with Nevada Power may prove unsuccessful.  

As a third alternative, NPC may attempt to simply negotiate lower PPA pricing.


Recent Nevada utility restructuring legislation instructs public utilities to seek to renegotiate any above-market contracts.  The pricing structure specified by the PPA exceeds RAC’s projections of future market prices. Although the PPA includes no specific provisions for restructuring or unwinding, any such unwinding would likely require NPC to make a substantial cash payment to LVCLP.  Enron and NPC may not be able to reach agreement on the discount rate to be utilized for calculating this cash payment.  The model assumes that a discount rate above 13.6% would make the unwind option less economically attractive than continuing to operate the plant as a QF under the existing PPA.  There is no timetable for such negotiations. Any negotiated agreement would have to be approved by the state’s Public Service Commission.

The restructuring legislation includes language instructing the PSC and the utilities to respect existing contracts.  Language linking the utilities’ ability to recover their stranded costs to their efforts to mitigate the costs and obligations represented by above-market contracts gives NPC an incentive to seek buydown or other restructuring of the PPA.  

Regulatory—Market Deregulation
The project faces the risk of delays in the introduction of open access in Nevada.  
AB366, enacted in 1997 and subsequently amended by SB438 in 1999, is a broad, sweeping restructuring statute. SB438 sets March 1, 2000 as the open access date for all customer classes—subject to modification by the Governor.  

Enron Government Affairs places a high likelihood on the March 1 start date for competition, subject to certain key FERC findings, and places a low likelihood on substantial delay in the open access date.

Merchant Risk
If a negotiated unwind of the PPA is successful; the plant will operate as a 100% merchant facility.
The facility can wheel on NPC’s system to reach the Mead delivery point.  Mead is increasingly liquid and volatile.  

Greenhouse Profitability Risk
The project valuation is noticeably sensitive to the income attributable to greenhouse operations.
Greenhouse output is sold under an annual contract to a California produce distributor.  The greenhouse has successfully established a recognized brand (“Las Vegas Delight”) for its produce.  

Operating Performance/Availability
The plant may experience technical difficulties or require unscheduled maintenance, reducing overall availability.
LV Cogen Operations Staff have been operating and maintaining the unit since 1993 and will continue to manage the facility after acquisition. Plant walk-down and technical due diligence revealed a knowledgeable and qualified workforce. Physical plant is in excellent condition. Availability over last three years has exceeded 96% and in 1998 exceeded 98%. 

Fixed and Variable Operating Costs
Unhedged increases in fuel costs, gas transportation expenses, labor expenses, and other variable operating costs may reduce project returns. 
Fuel and gas transportation costs are fixed for the first ten years of operation, with hedges to be extended at a future date. Staffing levels are commensurate with the plant’s current output. North America’s internal asset management service will monitor and control costs. The base case valuation assumes all fixed and variable operating costs will escalate by the US inflation curve, provided by the Currency Desk.

Heat Rate Risk
The project may experience excessive heat rate degradation, reducing the anticipated efficiency of the plant and limiting its ability to sell competitive non-NPC energy.
ENA has upgraded the LM 6000 PA turbine with an LM 6000 PC unit. The upgrade has resulted in a 10% improvement in the overall plant heat rate. Scheduled and budgeted overhauls will restore efficiency to optimal levels at four-year intervals.

Fuel Supply
North America may face constraints in securing natural gas for the facility at rates that are commensurate with target returns.
With the acquisition of the UP Fuels contract, North America will secure both long-term supply and transport for the required volumes of fuel. A dedicated lateral (owned by Southwest Gas) connects the Kern River pipeline system to the plant.   Coincident with the assumption of the UP Fuels Contract, North America will attempt to renegotiate the transport and reservation terms, which are currently above market.

Environmental Regulation
The project may fail to comply with existing or new environmental regulations.
RTP Environmental Associates was retained to conduct independent environmental due diligence. RTP’s scope included a detailed Phase I Site Assessment of the property and a complete environmental compliance audit.  No items of significance were noted in RTP’s review.  

Prior to 1993, the property was undeveloped land and there were no pre-existing environmental conditions. RTP’s review of relevant environmental documents and permits found the facility to be in compliance with existing environmental regulations.    

Transmission Congestion
The project may face transmission congestion which will limit its ability to sell non-NPC energy into the southwestern market and/or increase transmission expenses.
Based on a steady-state analysis of transmission performed by Portland General Operations, all lines in the area of the LV Cogen facility are within their thermal ratings with all lines in service.  Unavailability of one or more transmission lines will likely lead to thermal rating violations and subsequent capacity allocations.

Project Risks 
-
Las Vegas Cogeneration II LLC (Project Priscilla)

RISK
DESCRIPTION
MITIGATION/COMMENTS

Merchant Risks
The proposed 220MW would be a 100% merchant plant and would be subject to merchant risk in the Cal PX and the Nevada markets.
The project is located in one of the fastest growing areas in the US.  The area needs new generation; therefore, the project can sell to NPC to meet local loads.  Additionally, the output from the plant can be wheeled to the Cal PX and to Mead. There is sufficient liquidity at these points and price forecasts in the South West/California region support a merchant plant at the proposed site.



Permitting Risk


The project faces the risk that Clark County Air Quality Division may not issue a permit or may not allow for a summer 2002 commercial operation date.
Clark County has completed its initial review of the air permit application.  All of the changes requested by the agency are achievable.  The project’s design has been adjusted to increase the degree of NOx and CO removal so the annual emissions of these pollutants will be below levels considered “major” by the County which should expedite the approval process.

Regulatory—Market Deregulation
The project faces the risk of delays in the introduction of open access in Nevada.  
Power from the project can be sold into the wholesale markets even if the implementation of open access in NV is delayed. The implementation of open access will improve market opportunity for the project, including the possible sale of ancillary services given the project's location in NPC’s load center.  AB366, enacted in 1997 and subsequently amended by SB438 in 1999, is a broad, sweeping restructuring statute. SB438 sets March 1, 2000 as the open access date for all customer classes—subject to modification by the Governor.  Enron Government Affairs places a high likelihood on the March 1 start date for competition, subject to certain key FERC findings.

Equity Syndication Risk
ENA may have difficulty finding equity investors for the project, or may not be able to extract an attractive purchase price. 
Important: New generation like Priscilla will not be subject to the transition price cap that is part of Nevada’s deregulation plan.  The existing NPC and Sierra assets that are being divested will be subject to the cap.  Therefore, the potential early year returns from Priscilla are much higher than the assets being divested.  Recent market transactions in the WSCC indicate a continuing seller’s market for assets--buyers with a higher market power price expectation than those implied by the ENA mid curve.  Potential buyers recognize that a fully developed project offers a significant early-mover advantage. Return requirements for equity fall in the 12-18% range.

Development Risks

 The use of an existing power plant site and the advanced state of the permitting reduce the potential for significant development surprises that escalate costs and/or degrade a project’s viability.

Water Supply
LVC II may not be able to secure a water supply.  
Water can be purchased from the City of North Las Vegas.  The City has adequate supply capacity to meet the project’s needs.

Interconnection 
Interconnection may be technically infeasible or mitigation costs may be uneconomical  
The existing 138 kV power line near the site has been built to carry an additional 138 kV circuit.  NPC has a new high voltage substation under construction approximately 4 miles north of the project.  These facilities should help achieve a reasonable cost interconnection of the project.  NPC staff will visit the site the first week of June as part of the interconnection study.

Fuel Supply
LVC II may face constraints in securing natural gas for the facility.
The existing pipeline to the site can carry adequate gas to fuel the expansion by adding compression.  Because the site is only 4.3 miles from Kern River, a direct connection is being evaluated to avoid the need for compression and to bypass the LDC.

Development Cost Risk 
The project’s unrecoverable development costs may be higher than expected. 
Project costs could be higher than currently forecast.  However, the degree of uncertainty and potential for unforeseen costs are lower at this expansion site than a green field site because of the existing substation, gas line, water supply, waste water arrangements with the city and consistency with local land use requirements.

Construction Costs
There is a risk that delays, cost overruns and inaccurate cost projections will cause the project to exceed the anticipated construction cost, reducing project returns.
Like other projects, the project is subject to inflated costs due to the power plant construction boom.  However, the cost of the most expensive equipment — the gas turbines — is fixed.  Building on an existing developed site also reduces the potential of encountering unexpected problems such as adverse geotechnical conditions.

VIII. Appendices

A. Project Priscilla Performance Summary

PROJECT PRISCILLA

April 2000

TABLE 1 - PERFORMANCE SUMMARY

Section IX





Item
Las Vegas Cogeneration II @ 60% Annual Capacity Factor

Net Power Out (kW) @ 70o F
216,900

Annual Power Generated (MWH/Yr)
1,140,026




Annual Avg. Net Station Heat Rate (Btu/kWH), HHV
7,736

Annual Fuel Consump. (10^6 Btu/Yr), HHV
8,819,644

Annual Average Fuel Delivery (MCF/Day)
40,272

Peak Fuel Delivery (MCF/Day) @ 20o F
41,862

Fuel Supply Pressure Required at CT Skid (psig)
630




Water Supply
   City of Las Vegas

Power Plant Peak Water Consumption (GPM) @ 115o F
1,812 

Power Plant Annual Water Consumption (million gallons)
393




Air Emissions:  NOx (ppm)
2

Air Emissions:  CO (ppm)
2

Air Emissions:  Ammonia Slip (ppm)
10.00




Waste Water Disposal
     City of Las Vegas

Waste Water Flow (GPD)
474,121




Interconnection
Nevada Power

Interconnection voltage (kV)
138

Project Priscilla Milestones

Project Priscilla Control Matrix

Nevada Power Company


Limited Release of applicable energy.


Release of energy during off-peak and excess on-peak outside of 45MW obligation


Sharing of value between NPC and LVCLP





� EMBED Excel.Sheet.8  ���





� EMBED Excel.Sheet.8  ���





Power Purchase Agreement





Nevada Power Company


PPA for 45 MW of on-peak off-take through 2024.


Long-term debt rating of BBB/Baa2





Enron North America Corp.


Operations & Maintenance


Secondary Gas and Transportation Agreement


Gas and interest rate hedge





Greenhouse Lease





Sunco, L.L.C.


Tomato Greenhouse





Kern River Gas Transportation Agreement





Las Vegas Cogen, L.P.





Enron Power Marketing, Inc.


Commodity Services Agreement


Power Marketing


Fuel Management


Other Services





Southwest Gas Transmission


17-year gas firm transportation from Kern River Pipeline to the facility with adequate volume


Long-term debt rating of BBB-/Baa3





Kern River Gas Transmission Co.


Gives Duke the right to transport 50,000 Mcf of natural gas per day along the Kern River Pipeline


Expires in Feb. 2009; renewable in 1-year increments at Duke’s option


Long-term debt rating of A-/A2





Duke Energy Fuels, L.P.


17-year Primary Gas Supply and Transportation Agreement


5,000mmBtu of gas per day = exceeds plant on-peak requirement


Long-term debt rating A+/A1





Gas Supply and Transportation Agreement





Local Gas Transportation Agreement





Duke Energy Fuels, L.P.


17-year Primary Gas Supply and Transportation Agreement


5,000mmBtu of gas per day = exceeds plant on-peak requirement


Long-term debt rating A+/A1





Nevada Power Company


Limited Release of applicable energy.


Release of energy during off-peak and excess on-peak outside of 45MW obligation


Sharing of value between NPC and LVCLP





Power Purchase Agreement





Nevada Power Company


PPA for 45 MW of on-peak off-take through 2024.


Long-term debt rating of BBB/Baa2





Enron North America Corp.


Operations & Maintenance


Secondary Gas and Transportation Agreement


Gas and interest rate hedge





Greenhouse Lease





Sunco, L.L.C.


Tomato Greenhouse





Kern River Gas Transportation Agreement





Las Vegas Cogen, L.P.





Enron Power Marketing, Inc.


Commodity Services Agreement


Power Marketing


Fuel Management


Other Services





Southwest Gas Transmission


17-year gas firm transportation from Kern River Pipeline to the facility with adequate volume


Long-term debt rating of BBB-/Baa3





Kern River Gas Transmission Co.


Gives Duke the right to transport 50,000 Mcf of natural gas per day along the Kern River Pipeline


Expires in Feb. 2009; renewable in 1-year increments at Duke’s option


Long-term debt rating of A-/A2





Gas Supply and Transportation Agreement





Local Gas Transportation Agreement





















































� EMBED Word.Picture.8  ���








� NPV based on SP-15 MID Curve plus $3.00.


1 Priscilla asset valuations based on operating cash flows.


2 NPV based on Mid Curve plus $3.00.





2
ii


Table of Contents


_1019719580.xls
Chart5

		Under 7000		Under 7000

		7000-7500		7000-7500

		7501-8000		7501-8000

		8001-8500		8001-8500

		8501-9000		8501-9000

		9001-9500		9001-9500

		9501-10000		9501-10000

		10001-10500		10001-10500

		10501-11000		10501-11000

		11001-11500		11001-11500

		11501-12000		11501-12000

		12001-12500		12001-12500

		12501-13000		12501-13000

		13001-13500		13001-13500

		13501-14000		13501-14000

		Above 14000		Above 14000



LV Cogen

Megawatts

Cumulative Megawatts

Heat Rate (HHV)

Megawatts of Capacity

Cumulative MW of Capacity

WSCC Gas Fired Resource Heat Rate Stack

0

0

718.6749606264

718.6749606264

2497.3723766193

3216.0473372456

607.57313017

3823.6204674156

740.5779322565

4564.1983996721

1869.7096032239

6433.908002896

12606.7178560272

19040.6258589233

9119.993688215

28160.6195471383

5185.6779898769

33346.2975370152

501.1345730016

33847.4321100168

1175.3255571653

35022.7576671822

4701.9432840918

39724.700951274

1340.9665205699

41065.6674718439

183.5004493297

41249.1679211736

220.2986039508

41469.4665251244

561.865146584

42031.3316717084



Chart_Resource and Load

		

		US WSCC (000MW)		1996		1997		1998		1999		2000		2001		2002

		Available Resources		128.6		129.8		130.1		130.8		131.8		135.3		138.7

		Peak Load		106.8		109.7		114.1		115.6		119.6		122.6		125.7

		Resource Balance				-1.7		-4.1		-0.8		-3		0.5		0.3

		Cumm. Balance				-1.7		-5.8		-6.6		-9.6		-9.1		-8.8

		Reserve Margin		20.4%		18.3%		14.0%		13.1%		10.2%		10.4%		10.3%

		US WSCC (000MW)		Available Resources		Peak Load		Resource Balance		Cumm. Balance		Reserve Margin

		1996		128.6		106.8						20.4%

		1997		129.8		109.7		-1.7		-1.7		18.3%

		1998		130.1		114.1		-4.1		-5.8		14.0%

		1999		130.8		115.6		-0.8		-6.6		13.1%

		2000		131.8		119.6		-3		-9.6		10.2%

		2001		135.3		122.6		0.5		-9.1		10.4%

		2002		138.7		125.7		0.3		-8.8		10.3%





Chart_Resource and Load

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Available Resources

Peak Load

Reserve Margin

1000's MW

WSCC Resource Availability, Load Growth, and Reserve Margins

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Table_New Gen

		High Probability WSCC Projects

		Project		State		On-Line Date		Capacity		Region		Cumulative Capacity

		Colorado Springs Nixon		CO		10/1/99		70				70

		Deming		NM		11/1/99		250		DSW		320

		Priscilla		NV		3/1/00		216				536

		El Dorado		NV		5/1/00		492		DSW		1,028

		Person		NM		5/1/00		140		DSW		1,168

		Manchief (Brush)		CO		6/1/00		265		Rockies		1,433

		Valmont Repowering		CO		12/1/00		11		Rockies		1,444

		Vestas (100MW Wind)		OR		1/1/01		25		PNW		1,469

		South Point Power Plant [Mojave]		AZ		5/1/01		545		DSW		2,014

		Griffith Energy Project		AZ		5/1/01		520		DSW		2,534

		Desert Basin Gnrtng		AZ		6/1/01		600		DSW		3,134

		Sutter		CA		7/1/01		500		NP15		3,634

		Klamath Cogen		OR		7/1/01		500		PNW		4,134

		43rd Avenue Plant Repower		AZ		8/1/01		70		DSW		4,204

		Los Medanos (Pittsburg)		CA		8/1/01		500		NP15		4,704

		La Paloma		CA		9/1/01		1,048		ZP26		5,752

		Rathdrum		ID		9/1/01		270		PNW		6,022

		43rd Avenue Phase 2 Repower		AZ		12/1/01		70		DSW		6,092

		Everett Delta		WA		12/1/01		248		PNW		6,340

		Coyote Springs Phase 2		OR		3/1/02		280		PNW		6,620

		Delta Energy		CA		4/1/02		880		NP15		7,500

		Powhatan 48		CO		5/1/02		150		Rockies		7,650

		Hermiston		OR		5/1/02		536		PNW		8,186





Chart_Stack

		

		Name		Fuel Type		GWH		Plant Factor		Max Capability (MW)		Ave HR Btu/kWh		Fuel Cost $/MMBtu		Fuel Cost m/kWh		VOM Cost m/kWh		OP Cost m/kWh		CO2 Emissions Tons

		Magnolia 1 40		Gas		0.7		0.8%		10		25,742		2.00		51.48		7.38		58.86		1.0

		Olive GT 1 44		Gas		0.8		0.8%		11		25,635		2.00		51.27		7.38		58.65		1.2

		Grayson 1 21		Gas		1.4		2.0%		8		24,588		2.00		49.18		2.46		51.64		2.0

		McClellan 1 12		Gas		1.7		0.6%		32		22,128		2.00		44.26		7.38		51.64		2.2

		Harbor GT426		Gas		18.3		2.7%		77		19,138		2.00		38.28		7.38		45.66		20.4

		Magnolia 2 39		Gas		10.6		3.0%		40		15,520		2.00		31.04		2.46		33.50		9.5

		Highgrove230		Gas		19.3		4.2%		52		15,430		2.00		30.86		2.46		33.32		17.4

		Broadway 2 6		Gas		20.1		3.1%		74		15,102		2.00		30.20		2.46		32.66		17.5

		Broadway 1 7		Gas		16.6		3.0%		63		14,976		2.00		29.95		2.46		32.41		14.4

		Grayson 2 22		Gas		20.7		3.0%		79		14,733		2.00		29.47		2.46		31.93		17.5

		Grayson G 2 24		Gas		6.9		2.0%		39		14,525		2.00		29.05		7.38		36.43		5.8

		AnaheirnG 1 5		Gas		4.2		2.0%		24		14,335		2.00		28.67		7.38		36.05		3.4

		Highgrove 2 29		Gas		14.2		3.2%		51		14,048		2.00		28.10		2.46		30.56		11.6

		Oiive 2 43		Gas		30.5		3.6%		97		13,992		2.00		27.98		2.46		30.44		24.8

		Humboldt 2 9		Gas		114.6		12.4%		106		13,810		2.00		27.62		2.46		30.08		91.5

		Medicine 1 19		Gas		39.6		25.0%		18		13,552		2.00		27.10		2.46		29.56		31.0

		Glenarm G 2 20		Gas		11.4		2.5%		52		13,417		2.00		26.83		7.38		34.21		8.9

		Medicine 2 16		Gas		18.5		6.7%		32		13,394		2.00		26.79		7.38		34.17		14.3

		Medicine 3 15		Gas		26.8		6.7%		46		13,363		2.00		26.73		7.38		34.11		20.8

		Medidne 1 17		Gas		73.9		32.7%		26		13,332		2.00		26.66		2.46		29.12		57.1

		Medicine 1 18		Gas		76.8		30.8%		28		13,323		2.00		26.65		2.46		29.11		59.4

		Walnut GT 2 63		Gas		8.4		2.1%		46		12,996		2.00		25.99		7.38		33.37		6.3

		NNevoda Gas 2		Gas		1,864.3		18.8%		1132		12,930		2.00		25.86		6.39		32.25		1,397.9

		Bethel GT 2 2		Gas		2.7		1.0%		31		12,684		2.00		25.37		7.38		32.75		2.0

		Etiwanda 2 18		Gas		61.5		5.3%		132		12,592		2.00		25.18		2.46		27.64		44.9

		Pittsburg 2 43		Gas		69.1		9.1%		87		12,493		2.00		24.99		2.46		27.45		50.2

		Arizona Gas A 4		Gas		4,096.2		13.5%		3464		12,451		2.00		24.90		5.28		30.18		2,966.5

		El Sogund 2 14		Gas		383.6		12.5%		350		12,442		2.00		24.88		2.46		27.34		274.6

		Redding P 1 52		Gas		10.4		4.4%		27		12,416		2.00		24.83		2.46		27.29		7.3

		Coolwater2 9		Gas		356.0		8.8%		462		12,308		2.00		24.62		4.92		29.54		252.8

		Long Beac 1 37		Gas		104.0		3.8%		312		12,023		2.00		24.05		4.92		28.97		72.4

		Redding G 1 50		Gas		2.0		1.6%		14		11,999		2.00		24.00		7.38		31.38		1.4

		Alamitos 2 3		Gas		91.1		5.9%		176		11,947		2.00		23.89		2.46		26.35		63.3

		SMUD/Cars 1 56		Gas		6.0		1.7%		40		11,850		2.00		23.70		7.38		31.08		4.0

		SMUD/P&G 1 61		Gas		6.6		2.2%		34		11,769		2.00		23.54		7.38		30.92		4.3

		NCPA GT P 1 26		Gas		6.6		2.0%		38		11,717		2.00		23.43		7.38		30.81		4.4

		Utah gas RM F 3		Gas		105.9		4.3%		281		11,645		2.00		23.29		3.71		27.00		71.4

		San Berna249		Gas		33.9		4.1%		94		11,622		2.00		23.24		2.46		25.70		22.9

		Redondo B 2 47		Gas		577.3		18.8%		351		11,601		2.00		23.20		2.46		25.66		387.6

		Coolwater28		Gas		147.6		11.5%		147		11,578		2.00		23.16		2.46		25.62		98.9

		San Diego Gas 3		Gas		164.1		7.0%		268		11,423		2.00		22.85		4.32		27.17		109.1

		Alamitos 1 4		Gas		12.4		2.5%		57		11,130		2.00		22.26		7.38		29.64		8.0

		Fredonia 2 12		Gas		170.4		14.0%		139		11,043		2.00		22.09		7.38		29.47		109.4

		Northeast 1 27		Gas		80.8		24.3%		38		11,039		2.00		22.08		6.15		28.23		51.9

		Whitehorn 2 S1		Gas		165.6		18.8%		101		10,905		2.00		21.81		7.38		29.19		104.7

		Fredricks 2 13		Gas		125.6		14.3%		100		10,877		2.00		21.75		7.38		29.13		79.6

		Long Beac 1 38		Gas		153.1		7.4%		236		10,821		2.00		21.64		4.92		26.56		95.8

		San Diego Gas 4		Gas		13,802.1		39.8%		3959		10,759		2.00		21.52		3.07		24.59		8,641.3

		Grayson 1 23		Gas		35.0		4.2%		95		10,734		2.00		21.47		4.92		26.39		21.8

		ReddingG2 51		Gas		14.7		3.1%		54		10,686		2.00		21.37		7.38		28.75		9.1

		Pittsburg 2 44		Gas		833.0		29.1%		327		10,661		2.00		21.32		2.46		23.78		516.3

		NCPA GT 4 24		Gas		37.1		4.2%		101		10,605		2.00		21.21		7.38		28.59		22.8

		Morro Bay 1 16		Gas		438.2		30.6%		163		10,590		2.00		21.18		2.46		23.64		269.9

		Gianera G 2 8		Gas		13.9		3.2%		50		10,575		2.00		21.15		7.38		28.53		8.5

		SMUD/CT 3 58		Gas		40.6		4.7%		99		10,497		2.00		20.99		7.38		28.37		24.7

		Morro Bay 1 17		Gas		455.1		31.8%		163		10,490		2.00		20.98		2.46		23.44		277.5

		APL Rainb 2 3		Gas		32.3		10.9%		34		10,489		2.00		20.98		7.38		28.36		19.6

		Alamitos 2 1		Gas		1,472.3		26.2%		641		10,441		2.00		20.88		2.46		23.34		890.8

		NCPA GT 1 25		Gas		4.9		2.7%		21		10,324		2.00		20.65		7.38		28.03		3.0

		Rathdrum 235		Gas		209.6		21.6%		111		10,279		2.00		20.56		7.38		27.94		125.3

		S Nevada Gas 1		Gas		1,991.9		10.2%		2229		10,246		2.00		20.49		6.20		26.69		1,186.9

		APL Rainb 1 4		Gas		15.0		18.5%		9		10,216		2.00		20.43		7.38		27.81		8.9

		Tenaska 2 1 47		Gas		364.8		25.1%		166		10,174		2.00		20.35		7.38		27.73		215.8

		SCL GT 1 3e		Gas		136.3		25.3%		61		10,165		2.00		20.33		7.38		27.71		80.5

		West Coas 1 30		Gas		261.0		34.0%		88		10,156		2.00		20.31		7.38		27.69		154.1

		Rupert 2 23		Gas		98.5		32.5%		35		10,142		2.00		20.28		7.38		27.66		58.0

		Mandalay 2 41		Gas		1,011.4		26.8%		431		10,140		2.00		20.28		2.46		22.74		596.6

		NWC-GT 1 22		Gas		392.9		34.2%		131		10,138		2.00		20.28		7.38		27.66		231.7

		Alta GT 3 1		Gas		793.3		32.3%		280		10,138		2.00		20.28		7.38		27.66		467.9

		Etiwanda 2 17		Gas		1,908.2		33.9%		643		10,135		2.00		20.27		2.46		22.73		1,123.3

		Scattergo 2 50		Gas		622.0		19.8%		359		10,106		2.00		20.21		2.46		22.67		364.8

		El Segund 2 15		Gas		1,991.4		33.8%		673		10,073		2.00		20.15		2.46		22.61		1,166.7

		Hunters P 1 10		Gas		686.7		48.0%		163		10,030		2.00		20.06		2.46		22.52		400.3

		PG&EQFT1 36		Gas		6,503.7		88.0%		844		10,000		2.00		20.00		2.46		22.46		5,476.1

		PG&EQFT138		Gas		1,318.6		87.7%		172		10,000		2.00		20.00		2.46		22.46		1,110.3

		PG&E QF A 1 32		Gas		1,248.4		87.9%		162		10,000		2.00		20.00		2.46		22.46		1,051.2

		PG&E QF T 1 39		Gas		5,303.4		86.5%		700		10,000		2.00		20.00		2.46		22.46		4,465.4

		PG&E QF W 1 40		Gas		562.4		88.8%		72		10,000		2.00		20.00		2.46		22.46		473.6

		NW Energy 1 21		Gas		324.8		67.2%		55		10,000		2.00		20.00		2.46		22.46		273.5

		Canyon Po 1 8		Gas		40.4		65.7%		7		10,000		2.00		20.00		2.46		22.46		34.0

		TAUC Dapp 1 27		Gas		57.5		65.4%		10		10,000		2.00		20.00		2.46		22.46		48.4

		PGEMisc 2 31		Gas		1,404.5		56.9%		282		10,000		2.00		20.00		2.46		22.46		817.4

		James Riv 1 18		Gas		227.9		54.3%		48		10,000		2.00		20.00		2.46		22.46		132.6

		PGE Misc 1 32		Gas		343.0		54.5%		72		10,000		2.00		20.00		2.46		22.46		199.7

		SCLGenar1 37		Gas		27.4		87.7%		4		10,000		2.00		20.00		2.46		22.46		15.9

		PG&E QF G 1 34		Gas		824.8		42.5%		222		10,000		2.00		20.00		2.46		22.46		480.0

		PG&E QF C 1 33		Gas		153.2		40.6%		43		10,000		2.00		20.00		2.46		22.46		89.2

		PG&E Rene 1 42		Gas		83.8		38.1%		25		10,000		2.00		20.00		2.46		22.46		48.7

		Union Pac 1 57		Gas		20.1		12.7%		18		10,000		2.00		20.00		2.46		22.46		11.7

		Union Pac 1 56		Gas		24.7		14.1%		20		10,000		2.00		20.00		2.46		22.46		14.4

		San Diego Gas 2		Gas		8.1		3.2%		29		10,000		2.00		20.00		2.46		22.46		4.7

		New Mexico Ga 2		Gas		2,907.3		27.8%		1194		9,995		2.00		19.99		3.67		23.66		1,689.6

		Hunt Beach 2 32		Gas		1,406.7		37.2%		432		9,963		2.00		19.93		2.46		22.39		814.1

		WY-CO Area Ga10		Gas		1,837.4		10.5%		1998		9,916		2.00		19.83		3.78		23.61		1,077.3

		Potrero 1 48		Gas		881.3		48.5%		207		9,888		2.00		19.78		2.46		22.24		506.9

		Keephills 2 13		Gas		4,696.9		68.1%		787		9,887		2.00		19.77		2.46		22.23		2,702.0

		EP Rossda 3 12		Gas		1,057.0		74.4%		162		9,874		2.00		19.75		2.46		22.21		607.3

		Pittsburg 1 47		Gas		2,418.9		39.9%		692		9,874		2.00		19.75		2.46		22.21		1,387.9

		Clover Ba 4 9		Gas		4,690.1		76.7%		698		9,861		2.00		19.72		2.46		22.18		2,691.1

		Burrard 6 7		Gas		6,155.3		77.9%		902		9,857		2.00		19.71		2.46		22.17		3,530.7

		APLMilne 1 2		Gas		1,001.5		75.0%		152		9,857		2.00		19.71		2.46		22.17		1,036.5

		Pittsburg 1 45		Gas		1,144.2		43.8%		298		9,844		2.00		19.69		2.46		22.15		654.9

		Morro Bay 1 18		Gas		1,565.6		52.7%		339		9,817		2.00		19.63		2.46		22.09		894.1

		AlamHos 2 2		Gas		3,189.3		37.8%		963		9,775		2.00		19.55		2.46		22.01		1,812.8

		Pittsburg 1 46		Gas		1,460.9		51.2%		326		9,755		2.00		19.51		2.46		21.97		828.9

		RedondoB248		Gas		3,320.3		39.4%		962		9,728		2.00		19.46		2.46		21.92		1,879.8

		MorroBay1 19		Gas		1,861.0		62.7%		339		9,678		2.00		19.36		2.46		21.82		1,046.5

		Contra Co 1 5		Gas		1,660.3		55.6%		341		9,621		2.00		19.24		2.46		21.70		929.3

		Contra Co 1 4		Gas		1,315.6		48.1%		312		9,613		2.00		19.23		2.46		21.69		735.7

		Orrnond Be 2 46		Gas		4,512.9		34.3%		1502		9,520		2.00		19.04		2.46		21.50		2,499.6

		Haynes 2 28		Gas		2,375.3		39.7%		683		9,232		2.00		18.46		2.46		20.92		1,275.5

		Moss Land 1 20		Gas		3,748.9		57.8%		740		9,149		2.00		18.30		2.46		20.76		1,995.7

		Scattergo 1 51		Gas		1,638.1		41.9%		446		9,109		2.00		18.22		2.46		20.68		867.5

		Moss Land 1 21		Gas		4,346.6		67.0%		741		8,966		2.00		17.93		2.46		20.39		2,267.9

		SMUD/Cars 1 55		Gas		109.9		13.2%		95		8,453		2.00		16.91		5.65		22.56		54.0

		Olivo/Mag 1 45		Gas		48.9		13.6%		41		8,430		2.00		16.86		4.92		21.78		23.8

		WY-CO Area Ga 9		Gas		105.1		17.0%		71		8,421		2.00		16.84		4.63		21.47		51.5

		Almond Po 1 1		Gas		86.8		20.2%		49		8,304		2.00		16.61		4.92		21.53		41.8

		Woodland 1 64		Gas		61.8		14.9%		47		8,252		2.00		16.50		4.92		21.42		29.6

		SMUD/Camp 1 64		Gas		252.7		18.6%		155		8,250		2.00		16.50		4.92		21.42		121.0

		SMUD/SEPC 1 62		Gas		250.0		19.1%		149		8,245		2.00		16.49		4.92		21.41		119.5

		SMUD/P&G 1 60		Gas		467.7		45.5%		117		7,959		2.00		15.92		3.07		18.99		216.5

		Hunt Beac 1 31		Gas		4,457.6		81.4%		625		7,861		2.00		15.72		4.92		20.64		2,038.5

		Beaver1 1		Gas		5,736.4		79.6%		823		7,850		2.00		15.70		2.79		18.49		2,619.1

		LDWP CC 1 36		Gas		1,551.3		78.5%		226		7,845		2.00		15.69		4.92		20.61		707.9

		LDWPCC 1 35		Gas		1,550.8		78.5%		226		7,843		2.00		15.69		4.92		20.61		707.7

		PG&E Croc 1 29		Gas		1,611.9		76.5%		241		7,841		2.00		15.68		4.92		20.60		735.3

		PG&E CC 1 28		Gas		1,610.2		76.4%		241		7,837		2.00		15.67		4.92		20.59		734.1

		Harbor CC 1 25		Gas		1,699.3		80.6%		241		7,471		2.00		14.94		4.92		19.86		738.6

		Hermiston New		Gas		0.0		0.0%		478		7,310		2.00		14.62		2.46		17.08		0.0

		Haynes 4 27		Gas		5,982.4		76.7%		890		4,641		2.00		9.28		2.46		11.74		1,616.0

		Heat Rate		Megawatts		Cumulative Megawatts

		Under 7000		0		0.0

		7000-7500		719		719

		7501-8000		2497		3,216

		8001-8500		608		3,824

		8501-9000		741		4,564

		9001-9500		1870		6,434

		9501-10000		12607		19,041

		10001-10500		9120		28,161

		10501-11000		5186		33,346

		11001-11500		501		33,847

		11501-12000		1175		35,023

		12001-12500		4702		39,725

		12501-13000		1341		41,066

		13001-13500		184		41,249

		13501-14000		220		41,469

		Above 14000		562		42,031.3

				42031

		Heat Rate		Cumulative Megawatts

		Under 7000		0

		7000-7500		719

		7501-8000		3216

		8001-8500		3824

		8501-9000		4564

		9001-9500		6434

		9501-10000		19041

		10001-10500		28161

		10501-11000		33346

		11001-11500		33847

		11501-12000		35023

		12001-12500		39725

		12501-13000		41066

		13001-13500		41249

		13501-14000		41469

		Above 14000		42031





Chart_Stack

		Under 7000

		7000-7500

		7501-8000

		8001-8500

		8501-9000

		9001-9500

		9501-10000

		10001-10500

		10501-11000

		11001-11500

		11501-12000

		12001-12500

		12501-13000

		13001-13500

		13501-14000

		Above 14000



&LHermiston Power Partnership&CConfidential&R&F  &D

Megawatts

Heat Rate (Btu/kWh, HHV)

Megawatts of Capacity

WSCC Gas Fired Resource Stack by Heat Rate

0

718.6749606264

2497.3723766193

607.57313017

740.5779322565

1869.7096032239

12606.7178560272

9119.993688215

5185.6779898769

501.1345730016

1175.3255571653

4701.9432840918

1340.9665205699

183.5004493297

220.2986039508

561.865146584



Chart_Peak_Prices

		Dates						W.PALOVERDE - PKWeightedAvg

				Month		Year		Palo Verde, West, Megawatt Daily Price Survey				Average of Palo Verde, West, Megawatt Daily Price Survey

		4/1/96		4		1996		12.5				Year		Month		Total				Peak Price		Month		Year				Sum of Peak Price		Year

		4/2/96		4		1996		13.75				1996		4		12.86		Apr-96		12.86		4		1996				Month		1996		1997		1998		1999		2000		2001		2002		2003

		4/3/96		4		1996		15						5		13.98		May-96		13.98		5		1996				1				15.155		22.0951724138		24.0443478261		29.5123076923		36.6		34.428060391		32.5582776753

		4/4/96		4		1996		14						6		14.42		Jun-96		14.42		6		1996				2				13.4207142857		19.94		21.1817391304		31.2784		36.6		34.428060391		32.5582776753

		4/8/96		4		1996		13.75						7		18.58		Jul-96		18.58		7		1996				3				16.5532258065		21.2682758621		21.2014814815		30.9203703704		35.1		32.928060391		31.0582776753

		4/9/96		4		1996		14.75						8		17.41		Aug-96		17.41		8		1996				4		12.8571428571		17.5356666667		25.1876923077		26.7944		36.3284341941		37.25		35.8851521956

		4/10/96		4		1996		13.38						9		21.19		Sep-96		21.19		9		1996				5		13.98		27.8189655172		20.0960714286		28.3748		57.4259846319		37.25		35.8851521956

		4/11/96		4		1996		13.25						10		21.31		Oct-96		21.31		10		1996				6		14.422		24.767		20.67		32.66		45		43.75		41.6351521956

		4/12/96		4		1996		11.13						11		24.31		Nov-96		24.31		11		1996				7		18.5759090909		33.2948387097		42.484		41.7184615385		67		68.375		67.9103811398

		4/15/96		4		1996		12.75						12		24.97		Dec-96		24.97		12		1996				8		17.4104545455		37.6306666667		49.4282758621		42.6857692308		86.25		87.625		87.1603811398

		4/16/96		4		1996		12.75				1997		1		15.16		Jan-97		15.16		1		1997				9		21.193		42.549		41.4330769231		33.3264		71		72.375		71.9103811398

		4/17/96		4		1996		12.75						2		13.42		Feb-97		13.42		2		1997				10		21.3065217391		27.0896551724		27.1789285714		40.9284615385		45.575		43.75		41.731204421

		4/18/96		4		1996		14.5						3		16.55		Mar-97		16.55		3		1997				11		24.3058823529		23.6662068966		27.9239130435		31.77875		38.125		36.25		34.231204421

		4/19/96		4		1996		14.5						4		17.54		Apr-97		17.54		4		1997				12		24.969		22.2242857143		27.978		30.5076		38.125		36.25		34.231204421

		4/22/96		4		1996		11.13						5		27.82		May-97		27.82		5		1997

		4/23/96		4		1996		11.75						6		24.77		Jun-97		24.77		6		1997

		4/24/96		4		1996		12						7		33.29		Jul-97		33.29		7		1997

		4/25/96		4		1996		11.5						8		37.63		Aug-97		37.63		8		1997

		4/26/96		4		1996		11.25						9		42.55		Sep-97		42.55		9		1997

		4/29/96		4		1996		11.63						10		27.09		Oct-97		27.09		10		1997

		4/30/96		4		1996		11.98						11		23.67		Nov-97		23.67		11		1997

		5/1/96		5		1996		14.5						12		22.22		Dec-97		22.22		12		1997

		5/2/96		5		1996		12.75				1998		1		22.10		Jan-98		22.10		1		1998

		5/3/96		5		1996		12						2		19.94		Feb-98		19.94		2		1998

		5/6/96		5		1996		13						3		21.27		Mar-98		21.27		3		1998

		5/7/96		5		1996		13.75						4		25.19		Apr-98		25.19		4		1998

		5/8/96		5		1996		15.25						5		20.10		May-98		20.10		5		1998

		5/9/96		5		1996		15.75						6		20.67		Jun-98		20.67		6		1998

		5/10/96		5		1996		15						7		42.48		Jul-98		42.48		7		1998

		5/13/96		5		1996		17						8		49.43		Aug-98		49.43		8		1998

		5/14/96		5		1996		17.25						9		41.43		Sep-98		41.43		9		1998

		5/15/96		5		1996		17.75						10		27.18		Oct-98		27.18		10		1998

		5/16/96		5		1996		17.63						11		27.92		Nov-98		27.92		11		1998

		5/17/96		5		1996		14.75						12		27.98		Dec-98		27.98		12		1998

		5/20/96		5		1996		14				1999		1		24.04		Jan-99		24.04		1		1999

		5/21/96		5		1996		14.18						2		21.18		Feb-99		21.18		2		1999

		5/22/96		5		1996		12.25						3		21.20		Mar-99		21.20		3		1999

		5/23/96		5		1996		12.3						4		26.79		Apr-99		26.79		4		1999

		5/24/96		5		1996		9						5		28.37		May-99		28.37		5		1999

		5/28/96		5		1996		11.7						6		32.66		Jun-99		32.66		6		1999

		5/29/96		5		1996		12.5						7		41.72		Jul-99		41.72		7		1999

		5/30/96		5		1996		12.5						8		42.69		Aug-99		42.69		8		1999

		5/31/96		5		1996		12.75						9		33.33		Sep-99		33.33		9		1999

		6/3/96		6		1996		15.5						10		40.93		Oct-99		40.93		10		1999

		6/4/96		6		1996		18.25						11		31.78		Nov-99		31.78		11		1999

		6/5/96		6		1996		22.25						12		30.51		Dec-99		30.51		12		1999

		6/6/96		6		1996		22.25				2000		1		29.51		Jan-00		29.51		1		2000

		6/7/96		6		1996		19.1						2		31.28		Feb-00		31.28		2		2000

		6/10/96		6		1996		20						3		30.92		Mar-00		30.92		3		2000

		6/11/96		6		1996		20.5						4		38.12		Apr-00		36.33		4		2000

		6/12/96		6		1996		11.75						5		62.53		May-00		57.43		5		2000

		6/13/96		6		1996		11.63										Jun-00		45		6		2000

		6/14/96		6		1996		11.63										Jul-00		67		7		2000

		6/17/96		6		1996		11.75										Aug-00		86.25		8		2000

		6/18/96		6		1996		11.75										Sep-00		71		9		2000

		6/19/96		6		1996		11.5										Oct-00		45.575		10		2000

		6/20/96		6		1996		11.5										Nov-00		38.125		11		2000

		6/21/96		6		1996		11.5										Dec-00		38.125		12		2000

		6/24/96		6		1996		11.75										Jan-01		36.6		1		2001

		6/25/96		6		1996		11.8										Feb-01		36.6		2		2001

		6/26/96		6		1996		11.53										Mar-01		35.1		3		2001

		6/27/96		6		1996		11.5										Apr-01		37.25		4		2001

		6/28/96		6		1996		11										May-01		37.25		5		2001

		7/1/96		7		1996		16.38										Jun-01		43.75		6		2001

		7/2/96		7		1996		15.25										Jul-01		68.375		7		2001

		7/3/96		7		1996		15.25										Aug-01		87.625		8		2001

		7/5/96		7		1996		14.1										Sep-01		72.375		9		2001

		7/8/96		7		1996		16										Oct-01		43.75		10		2001

		7/9/96		7		1996		15.5										Nov-01		36.25		11		2001

		7/10/96		7		1996		16.13										Dec-01		36.25		12		2001

		7/11/96		7		1996		17										Jan-02		34.428060391		1		2002

		7/12/96		7		1996		14.9										Feb-02		34.428060391		2		2002

		7/15/96		7		1996		16.45										Mar-02		32.928060391		3		2002

		7/16/96		7		1996		16.33										Apr-02		35.8851521956		4		2002

		7/17/96		7		1996		15										May-02		35.8851521956		5		2002

		7/18/96		7		1996		13.25										Jun-02		41.6351521956		6		2002

		7/19/96		7		1996		13.25										Jul-02		67.9103811398		7		2002

		7/22/96		7		1996		16.75										Aug-02		87.1603811398		8		2002

		7/23/96		7		1996		25.5										Sep-02		71.9103811398		9		2002

		7/24/96		7		1996		32.5										Oct-02		41.731204421		10		2002

		7/25/96		7		1996		26.13										Nov-02		34.231204421		11		2002

		7/26/96		7		1996		21										Dec-02		34.231204421		12		2002

		7/29/96		7		1996		27										Jan-03		32.5582776753		1		2003

		7/30/96		7		1996		24.5										Feb-03		32.5582776753		2		2003

		7/31/96		7		1996		20.5										Mar-03		31.0582776753		3		2003

		8/1/96		8		1996		18.5

		8/2/96		8		1996		16.5

		8/5/96		8		1996		12.5

		8/6/96		8		1996		12.25

		8/7/96		8		1996		13.5

		8/8/96		8		1996		17.5

		8/9/96		8		1996		16

		8/12/96		8		1996		17.75

		8/13/96		8		1996		17.5

		8/14/96		8		1996		18.4

		8/15/96		8		1996		17.75

		8/16/96		8		1996		15.5

		8/19/96		8		1996		14.5

		8/20/96		8		1996		14.5

		8/21/96		8		1996		15.8

		8/22/96		8		1996		22.38

		8/23/96		8		1996		20.5

		8/26/96		8		1996		17.45

		8/27/96		8		1996		17.25

		8/28/96		8		1996		17.25

		8/29/96		8		1996		23.25

		8/30/96		8		1996		26.5

		9/3/96		9		1996		27

		9/4/96		9		1996		26.5

		9/5/96		9		1996		24.1

		9/6/96		9		1996		23

		9/9/96		9		1996		24.5

		9/10/96		9		1996		24.5

		9/11/96		9		1996		22.75

		9/12/96		9		1996		21.5

		9/13/96		9		1996		19.5

		9/16/96		9		1996		18.2

		9/17/96		9		1996		17

		9/18/96		9		1996		16.38

		9/19/96		9		1996		16.55

		9/20/96		9		1996		17.63

		9/23/96		9		1996		21

		9/24/96		9		1996		21.25

		9/25/96		9		1996		21

		9/26/96		9		1996		21

		9/27/96		9		1996		20.5

		9/30/96		9		1996		20

		10/1/96		10		1996		21.3

		10/2/96		10		1996		20.25

		10/3/96		10		1996		21.5

		10/4/96		10		1996		20.83

		10/7/96		10		1996		22.9

		10/8/96		10		1996		24.35

		10/9/96		10		1996		24.25

		10/10/96		10		1996		21.13

		10/11/96		10		1996		20.1

		10/14/96		10		1996		20.75

		10/15/96		10		1996		20.5

		10/16/96		10		1996		20.75

		10/17/96		10		1996		20.25

		10/18/96		10		1996		19.55

		10/21/96		10		1996		19.35

		10/22/96		10		1996		19.75

		10/23/96		10		1996		19.9

		10/24/96		10		1996		20.63

		10/25/96		10		1996		19.75

		10/28/96		10		1996		20.13

		10/29/96		10		1996		22.25

		10/30/96		10		1996		25

		10/31/96		10		1996		24.88

		11/1/96		11		1996		24.88

		11/4/96		11		1996		22.75

		11/5/96		11		1996		22.13

		11/6/96		11		1996		24.13

		11/7/96		11		1996		22.8

		11/8/96		11		1996		21.88

		11/12/96		11		1996		21.5

		11/13/96		11		1996		20.5

		11/14/96		11		1996		20.5

		11/18/96		11		1996		21.88

		11/19/96		11		1996		24.25

		11/20/96		11		1996		30.5

		11/21/96		11		1996		23.5

		11/22/96		11		1996		27

		11/25/96		11		1996		29

		11/26/96		11		1996		28

		11/27/96		11		1996		28

		12/2/96		12		1996		25.75

		12/3/96		12		1996		26.63

		12/4/96		12		1996		29

		12/5/96		12		1996		30.75

		12/6/96		12		1996		28

		12/9/96		12		1996		24.9

		12/10/96		12		1996		22.6

		12/11/96		12		1996		22.25

		12/12/96		12		1996		21.25

		12/13/96		12		1996		22.75

		12/16/96		12		1996		25.5

		12/17/96		12		1996		33

		12/18/96		12		1996		51

		12/19/96		12		1996		38.75

		12/20/96		12		1996		26

		12/23/96		12		1996		19.5

		12/26/96		12		1996		12.5

		12/27/96		12		1996		12.75

		12/30/96		12		1996		13.5

		12/31/96		12		1996		13

		1/28/97		1		1997		15.82

		1/29/97		1		1997		15.67

		1/30/97		1		1997		15.35

		1/31/97		1		1997		13.78

		2/1/97		2		1997		11.59

		2/2/97		2		1997		9

		2/3/97		2		1997		11.78

		2/4/97		2		1997		13.17

		2/5/97		2		1997		14.13

		2/6/97		2		1997		13.8

		2/7/97		2		1997		14.53

		2/8/97		2		1997		13.18

		2/9/97		2		1997		10

		2/10/97		2		1997		13.13

		2/11/97		2		1997		13.55

		2/12/97		2		1997		13.42

		2/13/97		2		1997		14.32

		2/14/97		2		1997		15.29

		2/15/97		2		1997		15.35

		2/16/97		2		1997		11

		2/17/97		2		1997		14

		2/18/97		2		1997		14

		2/19/97		2		1997		12.84

		2/20/97		2		1997		13.08

		2/21/97		2		1997		13.45

		2/22/97		2		1997		14.06

		2/23/97		2		1997		10.75

		2/24/97		2		1997		14.27

		2/25/97		2		1997		15.42

		2/26/97		2		1997		16.11

		2/27/97		2		1997		15.46

		2/28/97		2		1997		15.1

		3/1/97		3		1997		14.61

		3/2/97		3		1997		11.43

		3/3/97		3		1997		14.69

		3/4/97		3		1997		15.47

		3/5/97		3		1997		18.67

		3/6/97		3		1997		19.16

		3/7/97		3		1997		17.49

		3/8/97		3		1997		16.05

		3/9/97		3		1997		13.5

		3/10/97		3		1997		16.34

		3/11/97		3		1997		17.11

		3/12/97		3		1997		23.54

		3/13/97		3		1997		21.28

		3/14/97		3		1997		19.68

		3/15/97		3		1997		20.1

		3/16/97		3		1997		15.9

		3/17/97		3		1997		20.35

		3/18/97		3		1997		21.12

		3/19/97		3		1997		20.52

		3/20/97		3		1997		18.18

		3/21/97		3		1997		16.48

		3/22/97		3		1997		12.7

		3/23/97		3		1997		11.63

		3/24/97		3		1997		14.57

		3/25/97		3		1997		14.69

		3/26/97		3		1997		15.12

		3/27/97		3		1997		14.89

		3/28/97		3		1997		14.54

		3/29/97		3		1997		14.42

		3/30/97		3		1997		14.42

		3/31/97		3		1997		14.5

		4/1/97		4		1997		15.35

		4/2/97		4		1997		15.76

		4/3/97		4		1997		16.03

		4/4/97		4		1997		15.96

		4/5/97		4		1997		15

		4/6/97		4		1997		10

		4/7/97		4		1997		15

		4/8/97		4		1997		14.75

		4/9/97		4		1997		15.12

		4/10/97		4		1997		16.4

		4/11/97		4		1997		17.64

		4/12/97		4		1997		18.53

		4/13/97		4		1997		14.5

		4/14/97		4		1997		18.51

		4/15/97		4		1997		19.83

		4/16/97		4		1997		19.83

		4/17/97		4		1997		19.62

		4/18/97		4		1997		20.88

		4/19/97		4		1997		20.1

		4/20/97		4		1997		15.35

		4/21/97		4		1997		20.1

		4/22/97		4		1997		22.94

		4/23/97		4		1997		26.17

		4/24/97		4		1997		23.08

		4/25/97		4		1997		18.66

		4/26/97		4		1997		16.36

		4/27/97		4		1997		12.73

		4/28/97		4		1997		16.36

		4/29/97		4		1997		16.74

		4/30/97		4		1997		18.77

		5/1/97		5		1997		19.68

		5/2/97		5		1997		19.75

		5/3/97		5		1997		20.56

		5/5/97		5		1997		20.56

		5/6/97		5		1997		22.7

		5/7/97		5		1997		23.84

		5/8/97		5		1997		25.5

		5/9/97		5		1997		30.71

		5/10/97		5		1997		26.64

		5/11/97		5		1997		16

		5/12/97		5		1997		26.64

		5/13/97		5		1997		23.75

		5/14/97		5		1997		28

		5/15/97		5		1997		33.09

		5/16/97		5		1997		39.49

		5/17/97		5		1997		44.83

		5/18/97		5		1997		26.5

		5/19/97		5		1997		44.83

		5/20/97		5		1997		39.45

		5/21/97		5		1997		37.18

		5/22/97		5		1997		28.22

		5/23/97		5		1997		20.02

		5/24/97		5		1997		24

		5/25/97		5		1997		15.42

		5/26/97		5		1997		15.42

		5/27/97		5		1997		20.65

		5/28/97		5		1997		37.61

		5/29/97		5		1997		34.65

		5/30/97		5		1997		41.06

		6/1/97		6		1997		23.5

		6/2/97		6		1997		46.29

		6/3/97		6		1997		42.21

		6/4/97		6		1997		29.85

		6/5/97		6		1997		25.24

		6/6/97		6		1997		24.15

		6/7/97		6		1997		21.55

		6/8/97		6		1997		16.63

		6/9/97		6		1997		21.55

		6/10/97		6		1997		23.58

		6/11/97		6		1997		23.51

		6/12/97		6		1997		22.95

		6/13/97		6		1997		21.47

		6/14/97		6		1997		19.08

		6/15/97		6		1997		13.14

		6/16/97		6		1997		19.08

		6/17/97		6		1997		22.18

		6/18/97		6		1997		25.23

		6/19/97		6		1997		29.52

		6/20/97		6		1997		34.88

		6/21/97		6		1997		26.4

		6/22/97		6		1997		19

		6/23/97		6		1997		26.4

		6/24/97		6		1997		27.26

		6/25/97		6		1997		27.28

		6/26/97		6		1997		27.28

		6/27/97		6		1997		25

		6/28/97		6		1997		22.1

		6/29/97		6		1997		14.6

		6/30/97		6		1997		22.1

		7/1/97		7		1997		31.77

		7/2/97		7		1997		32.3

		7/3/97		7		1997		29.58

		7/4/97		7		1997		27.73

		7/5/97		7		1997		27.73

		7/6/97		7		1997		20.44

		7/7/97		7		1997		27.73

		7/8/97		7		1997		34.15

		7/9/97		7		1997		39.42

		7/10/97		7		1997		40.7

		7/11/97		7		1997		41.76

		7/12/97		7		1997		27.73

		7/13/97		7		1997		21.67

		7/14/97		7		1997		30.7

		7/15/97		7		1997		38.45

		7/16/97		7		1997		41.4

		7/17/97		7		1997		48.24

		7/18/97		7		1997		50.29

		7/19/97		7		1997		41.43

		7/20/97		7		1997		20.29

		7/21/97		7		1997		41.58

		7/22/97		7		1997		39.35

		7/23/97		7		1997		30.41

		7/24/97		7		1997		28.15

		7/25/97		7		1997		30.76

		7/26/97		7		1997		29.91

		7/27/97		7		1997		21.71

		7/28/97		7		1997		29.91

		7/29/97		7		1997		38.48

		7/30/97		7		1997		35.45

		7/31/97		7		1997		32.92

		8/1/97		8		1997		32.11

		8/2/97		8		1997		28.83

		8/4/97		8		1997		28.83

		8/5/97		8		1997		41.24

		8/6/97		8		1997		63.97

		8/7/97		8		1997		113.71

		8/8/97		8		1997		52.67

		8/9/97		8		1997		40.04

		8/10/97		8		1997		25.5

		8/11/97		8		1997		40.04

		8/12/97		8		1997		43.38

		8/13/97		8		1997		41.03

		8/14/97		8		1997		31.75

		8/15/97		8		1997		29.42

		8/16/97		8		1997		26.35

		8/17/97		8		1997		25.5

		8/18/97		8		1997		26.35

		8/19/97		8		1997		29.41

		8/20/97		8		1997		27.98

		8/21/97		8		1997		35.78

		8/22/97		8		1997		37

		8/23/97		8		1997		31.78

		8/24/97		8		1997		18.67

		8/25/97		8		1997		32.58

		8/26/97		8		1997		48.85

		8/27/97		8		1997		47.32

		8/28/97		8		1997		44.21

		8/29/97		8		1997		31.61

		8/30/97		8		1997		31.31

		8/31/97		8		1997		21.7

		9/1/97		9		1997		21.7

		9/2/97		9		1997		36.45

		9/3/97		9		1997		36.42

		9/4/97		9		1997		39.93

		9/5/97		9		1997		40.27

		9/6/97		9		1997		55.74

		9/7/97		9		1997		27

		9/8/97		9		1997		53.89

		9/9/97		9		1997		94.49

		9/10/97		9		1997		83.87

		9/11/97		9		1997		55.35

		9/12/97		9		1997		79.57

		9/13/97		9		1997		43.53

		9/14/97		9		1997		27.3

		9/15/97		9		1997		43.53

		9/16/97		9		1997		37.45

		9/17/97		9		1997		36.17

		9/18/97		9		1997		37.38

		9/19/97		9		1997		36.08

		9/20/97		9		1997		36.77

		9/21/97		9		1997		30.33

		9/22/97		9		1997		36.77

		9/23/97		9		1997		39.85

		9/24/97		9		1997		35.15

		9/25/97		9		1997		34.01

		9/26/97		9		1997		34.8

		9/27/97		9		1997		35.18

		9/28/97		9		1997		28

		9/29/97		9		1997		35.18

		9/30/97		9		1997		44.31

		10/1/97		10		1997		39.65

		10/2/97		10		1997		33.12

		10/3/97		10		1997		34.94

		10/4/97		10		1997		36.99

		10/6/97		10		1997		36.99

		10/7/97		10		1997		28.53

		10/8/97		10		1997		28.15

		10/9/97		10		1997		23.26

		10/10/97		10		1997		18.78

		10/11/97		10		1997		36.99

		10/12/97		10		1997		17.33

		10/13/97		10		1997		18.95

		10/14/97		10		1997		18.95

		10/15/97		10		1997		19.75

		10/16/97		10		1997		21.37

		10/17/97		10		1997		22.85

		10/18/97		10		1997		18.05

		10/19/97		10		1997		15.5

		10/20/97		10		1997		18.58

		10/21/97		10		1997		20.94

		10/22/97		10		1997		21.22

		10/23/97		10		1997		21.22

		10/24/97		10		1997		37.67

		10/25/97		10		1997		37.67

		10/27/97		10		1997		29.39

		10/28/97		10		1997		34.36

		10/29/97		10		1997		34.36

		10/30/97		10		1997		33.88

		10/31/97		10		1997		26.16

		11/1/97		11		1997		24.59

		11/3/97		11		1997		24.59

		11/4/97		11		1997		26.97

		11/5/97		11		1997		25.11

		11/6/97		11		1997		23.37

		11/7/97		11		1997		24.77

		11/8/97		11		1997		24.77

		11/9/97		11		1997		20

		11/10/97		11		1997		24.55

		11/11/97		11		1997		23.67

		11/12/97		11		1997		23.67

		11/13/97		11		1997		24.26

		11/14/97		11		1997		25.65

		11/15/97		11		1997		25.65

		11/16/97		11		1997		20

		11/17/97		11		1997		25.7

		11/18/97		11		1997		26.13

		11/19/97		11		1997		26.69

		11/20/97		11		1997		26.73

		11/21/97		11		1997		24.07

		11/22/97		11		1997		24.14

		11/23/97		11		1997		18.92

		11/24/97		11		1997		24.84

		11/25/97		11		1997		24.78

		11/26/97		11		1997		20.54

		11/27/97		11		1997		20.54

		11/28/97		11		1997		20.54

		11/29/97		11		1997		20.54

		11/30/97		11		1997		20.54

		12/1/97		12		1997		22.91

		12/2/97		12		1997		21.64

		12/3/97		12		1997		22.45

		12/4/97		12		1997		22.4

		12/5/97		12		1997		21.79

		12/6/97		12		1997		21.83

		12/7/97		12		1997		18.69

		12/8/97		12		1997		21.83

		12/9/97		12		1997		21.8

		12/10/97		12		1997		22.04

		12/11/97		12		1997		23.27

		12/12/97		12		1997		23.6

		12/13/97		12		1997		23.58

		12/15/97		12		1997		23.91

		12/16/97		12		1997		22.68

		12/17/97		12		1997		22.51

		12/18/97		12		1997		21.98

		12/19/97		12		1997		22.35

		12/20/97		12		1997		22.34

		12/21/97		12		1997		20.88

		12/22/97		12		1997		23.81

		12/23/97		12		1997		23.04

		12/24/97		12		1997		21.43

		12/26/97		12		1997		21.7

		12/28/97		12		1997		21.45

		12/29/97		12		1997		21.7

		12/30/97		12		1997		22.41

		12/31/97		12		1997		22.26

		1/2/98		1		1998		22.71

		1/3/98		1		1998		22.33

		1/5/98		1		1998		22.71

		1/6/98		1		1998		23.89

		1/7/98		1		1998		27.16

		1/8/98		1		1998		28.46

		1/9/98		1		1998		27.52

		1/10/98		1		1998		27.52

		1/11/98		1		1998		25.2

		1/12/98		1		1998		28.7

		1/13/98		1		1998		28.95

		1/14/98		1		1998		25.16

		1/15/98		1		1998		22.97

		1/16/98		1		1998		21.11

		1/17/98		1		1998		21.14

		1/18/98		1		1998		19.5

		1/19/98		1		1998		22.32

		1/20/98		1		1998		22.2

		1/21/98		1		1998		21.43

		1/22/98		1		1998		19.27

		1/23/98		1		1998		18.55

		1/24/98		1		1998		18.59

		1/25/98		1		1998		19

		1/26/98		1		1998		19.72

		1/27/98		1		1998		18.35

		1/28/98		1		1998		18.19

		1/29/98		1		1998		17.05

		1/30/98		1		1998		15.06

		1/31/98		1		1998		16

		2/2/98		2		1998		19.66

		2/3/98		2		1998		22.41

		2/4/98		2		1998		20.68

		2/5/98		2		1998		21.1

		2/6/98		2		1998		18.16

		2/7/98		2		1998		18.17

		2/8/98		2		1998		15

		2/9/98		2		1998		21.37

		2/10/98		2		1998		21.52

		2/11/98		2		1998		22.5

		2/12/98		2		1998		24.29

		2/13/98		2		1998		18.1

		2/14/98		2		1998		18.08

		2/15/98		2		1998		18.08

		2/16/98		2		1998		20.81

		2/18/98		2		1998		21.88

		2/19/98		2		1998		20.34

		2/20/98		2		1998		16.82

		2/21/98		2		1998		16.83

		2/23/98		2		1998		18.35

		2/24/98		2		1998		23.47

		2/25/98		2		1998		22.38

		2/26/98		2		1998		20.84

		2/27/98		2		1998		18.84

		2/28/98		2		1998		18.82

		3/1/98		3		1998		14.5

		3/2/98		3		1998		22.16

		3/3/98		3		1998		22.42

		3/4/98		3		1998		20.82

		3/5/98		3		1998		23.5

		3/6/98		3		1998		19.07

		3/7/98		3		1998		19.13

		3/8/98		3		1998		15.44

		3/9/98		3		1998		19

		3/10/98		3		1998		19.4

		3/11/98		3		1998		20.96

		3/12/98		3		1998		20.13

		3/13/98		3		1998		18.99

		3/14/98		3		1998		18.99

		3/16/98		3		1998		21.24

		3/17/98		3		1998		22.24

		3/18/98		3		1998		23.51

		3/19/98		3		1998		24.05

		3/20/98		3		1998		23.5

		3/21/98		3		1998		23.51

		3/22/98		3		1998		18

		3/23/98		3		1998		24.68

		3/24/98		3		1998		23.82

		3/25/98		3		1998		22.32

		3/26/98		3		1998		25.4

		3/27/98		3		1998		22.79

		3/28/98		3		1998		22.79

		3/30/98		3		1998		21.62

		3/31/98		3		1998		22.8

		4/1/98		4		1998		23.97

		4/2/98		4		1998		23.83

		4/3/98		4		1998		22.95

		4/4/98		4		1998		22.92

		4/5/98		4		1998		18

		4/6/98		4		1998		24.13

		4/7/98		4		1998		24.37

		4/8/98		4		1998		24

		4/9/98		4		1998		24.05

		4/11/98		4		1998		23.39

		4/14/98		4		1998		24.93

		4/15/98		4		1998		23.59

		4/16/98		4		1998		24.85

		4/17/98		4		1998		28.88

		4/18/98		4		1998		24.85

		4/20/98		4		1998		29.33

		4/21/98		4		1998		30.6

		4/22/98		4		1998		29.51

		4/23/98		4		1998		26.69

		4/24/98		4		1998		25.77

		4/25/98		4		1998		25.77

		4/26/98		4		1998		20

		4/27/98		4		1998		26.78

		4/28/98		4		1998		27.08

		4/29/98		4		1998		27.99

		4/30/98		4		1998		26.65

		5/1/98		5		1998		24.7

		5/2/98		5		1998		24.7

		5/3/98		5		1998		19.25

		5/4/98		5		1998		23.89

		5/5/98		5		1998		21.62

		5/6/98		5		1998		22.41

		5/7/98		5		1998		22.33

		5/8/98		5		1998		18.22

		5/9/98		5		1998		18.28

		5/10/98		5		1998		17.5

		5/11/98		5		1998		23.81

		5/12/98		5		1998		20.3

		5/13/98		5		1998		19.84

		5/14/98		5		1998		17.47

		5/15/98		5		1998		16.39

		5/16/98		5		1998		17.82

		5/17/98		5		1998		8

		5/18/98		5		1998		22.07

		5/19/98		5		1998		20.48

		5/20/98		5		1998		25.22

		5/21/98		5		1998		26.8

		5/22/98		5		1998		16.67

		5/23/98		5		1998		16.67

		5/26/98		5		1998		21.54

		5/27/98		5		1998		21.22

		5/28/98		5		1998		20.93

		5/29/98		5		1998		20.93

		5/30/98		5		1998		13.63

		6/1/98		6		1998		24.64

		6/2/98		6		1998		26.63

		6/3/98		6		1998		25.43

		6/4/98		6		1998		22.59

		6/5/98		6		1998		15.55

		6/6/98		6		1998		15.55

		6/8/98		6		1998		19.89

		6/9/98		6		1998		17.66

		6/10/98		6		1998		14.72

		6/11/98		6		1998		12.43

		6/12/98		6		1998		9.99

		6/13/98		6		1998		9.99

		6/15/98		6		1998		18.61

		6/16/98		6		1998		20.28

		6/17/98		6		1998		23.98

		6/18/98		6		1998		23.84

		6/19/98		6		1998		20.16

		6/20/98		6		1998		20.16

		6/21/98		6		1998		18.31

		6/22/98		6		1998		27.97

		6/23/98		6		1998		26.53

		6/24/98		6		1998		25.24

		6/25/98		6		1998		25.2

		6/26/98		6		1998		19.67

		6/27/98		6		1998		19.67

		6/29/98		6		1998		25.76

		6/30/98		6		1998		27.64

		7/1/98		7		1998		41.31

		7/2/98		7		1998		34.78

		7/4/98		7		1998		34.78

		7/6/98		7		1998		35.54

		7/7/98		7		1998		35.55

		7/8/98		7		1998		34.4

		7/9/98		7		1998		39.16

		7/10/98		7		1998		32.64

		7/13/98		7		1998		38.76

		7/14/98		7		1998		50.14

		7/15/98		7		1998		56.79

		7/16/98		7		1998		49.03

		7/17/98		7		1998		48.12

		7/18/98		7		1998		48.12

		7/20/98		7		1998		63.61

		7/21/98		7		1998		61.8

		7/22/98		7		1998		44.47

		7/23/98		7		1998		33.66

		7/24/98		7		1998		26.31

		7/25/98		7		1998		26.31

		7/27/98		7		1998		36.3

		7/28/98		7		1998		50.93

		7/29/98		7		1998		57.71

		7/30/98		7		1998		40.94

		7/31/98		7		1998		40.94

		8/1/98		8		1998		35.74

		8/2/98		8		1998		35

		8/3/98		8		1998		56.46

		8/4/98		8		1998		69.1

		8/5/98		8		1998		53.31

		8/6/98		8		1998		73.66

		8/7/98		8		1998		60.75

		8/8/98		8		1998		60.75

		8/10/98		8		1998		52.22

		8/11/98		8		1998		48.7

		8/12/98		8		1998		55.12

		8/13/98		8		1998		57.13

		8/14/98		8		1998		59.57

		8/15/98		8		1998		59.57

		8/16/98		8		1998		34

		8/17/98		8		1998		53.57

		8/18/98		8		1998		38.42

		8/19/98		8		1998		36.37

		8/20/98		8		1998		37.37

		8/21/98		8		1998		34.09

		8/22/98		8		1998		34.09

		8/24/98		8		1998		43.41

		8/25/98		8		1998		47.35

		8/26/98		8		1998		64.57

		8/27/98		8		1998		57.72

		8/28/98		8		1998		42.86

		8/29/98		8		1998		40.91

		8/30/98		8		1998		34

		8/31/98		8		1998		57.61

		9/1/98		9		1998		92.31

		9/2/98		9		1998		92.76

		9/3/98		9		1998		92.85

		9/4/98		9		1998		92.85

		9/5/98		9		1998		55.85

		9/8/98		9		1998		54.94

		9/9/98		9		1998		41.24

		9/10/98		9		1998		39.71

		9/11/98		9		1998		32.41

		9/12/98		9		1998		32.23

		9/13/98		9		1998		28

		9/14/98		9		1998		34.06

		9/15/98		9		1998		32.75

		9/16/98		9		1998		29.63

		9/17/98		9		1998		28.93

		9/18/98		9		1998		26.54

		9/19/98		9		1998		26.12

		9/21/98		9		1998		30.49

		9/22/98		9		1998		31.09

		9/23/98		9		1998		28.47

		9/24/98		9		1998		27.59

		9/25/98		9		1998		25.09

		9/26/98		9		1998		24.59

		9/28/98		9		1998		26.18

		9/29/98		9		1998		25.08

		9/30/98		9		1998		25.5

		10/1/98		10		1998		25.3

		10/2/98		10		1998		25.39

		10/3/98		10		1998		25.39

		10/5/98		10		1998		25.84

		10/6/98		10		1998		25.83

		10/7/98		10		1998		26.75

		10/8/98		10		1998		27.15

		10/9/98		10		1998		25.65

		10/10/98		10		1998		24.96

		10/11/98		10		1998		23.5

		10/12/98		10		1998		26.64

		10/13/98		10		1998		26.11

		10/14/98		10		1998		25.77

		10/15/98		10		1998		27.7

		10/16/98		10		1998		27.7

		10/17/98		10		1998		26.18

		10/19/98		10		1998		27.78

		10/20/98		10		1998		27.78

		10/21/98		10		1998		28.06

		10/22/98		10		1998		28.06

		10/23/98		10		1998		28.77

		10/24/98		10		1998		32.23

		10/26/98		10		1998		28.47

		10/27/98		10		1998		29.15

		10/28/98		10		1998		29.95

		10/29/98		10		1998		29.77

		10/30/98		10		1998		27.67

		10/31/98		10		1998		27.46

		11/2/98		11		1998		24.83

		11/3/98		11		1998		27.66

		11/4/98		11		1998		28.82

		11/5/98		11		1998		28.94

		11/6/98		11		1998		26.56

		11/7/98		11		1998		26.51

		11/9/98		11		1998		29.89

		11/10/98		11		1998		28.25

		11/11/98		11		1998		29.06

		11/12/98		11		1998		29.06

		11/13/98		11		1998		27.42

		11/14/98		11		1998		27.38

		11/16/98		11		1998		29.88

		11/17/98		11		1998		30.55

		11/18/98		11		1998		29.01

		11/19/98		11		1998		27.4

		11/20/98		11		1998		26.03

		11/21/98		11		1998		25.94

		11/23/98		11		1998		28.05

		11/24/98		11		1998		29.07

		11/25/98		11		1998		29.07

		11/28/98		11		1998		25.72

		11/30/98		11		1998		27.15

		12/1/98		12		1998		27.42

		12/2/98		12		1998		27.74

		12/3/98		12		1998		26.68

		12/4/98		12		1998		23.23

		12/5/98		12		1998		23.23

		12/7/98		12		1998		26.6

		12/8/98		12		1998		28.84

		12/9/98		12		1998		28.38

		12/10/98		12		1998		27.97

		12/11/98		12		1998		26.16

		12/12/98		12		1998		25.45

		12/14/98		12		1998		26.92

		12/15/98		12		1998		25.18

		12/16/98		12		1998		23.75

		12/17/98		12		1998		24.26

		12/18/98		12		1998		27.39

		12/19/98		12		1998		27.39

		12/21/98		12		1998		33.34

		12/22/98		12		1998		44.66

		12/23/98		12		1998		44.66

		12/26/98		12		1998		29.62

		12/28/98		12		1998		27.5

		12/29/98		12		1998		24.36

		12/30/98		12		1998		24.36

		12/31/98		12		1998		24.36

		1/2/99		1		1999		18.61

		1/4/99		1		1999		21.53

		1/5/99		1		1999		26.27

		1/6/99		1		1999		27.39

		1/7/99		1		1999		27.36

		1/8/99		1		1999		24.62

		1/9/99		1		1999		24.62

		1/11/99		1		1999		27.24

		1/12/99		1		1999		28.09

		1/13/99		1		1999		27.21

		1/14/99		1		1999		27.6

		1/15/99		1		1999		24.59

		1/19/99		1		1999		25.56

		1/20/99		1		1999		24.56

		1/21/99		1		1999		23.44

		1/22/99		1		1999		21.48

		1/23/99		1		1999		21.48

		1/25/99		1		1999		23.83

		1/26/99		1		1999		23.05

		1/27/99		1		1999		22.25

		1/28/99		1		1999		22.11

		1/29/99		1		1999		22.11

		1/30/99		1		1999		18.02

		2/1/99		2		1999		22.33

		2/2/99		2		1999		21.12

		2/3/99		2		1999		21.31

		2/4/99		2		1999		21.81

		2/5/99		2		1999		20.67

		2/6/99		2		1999		20.7

		2/8/99		2		1999		22.68

		2/9/99		2		1999		22.27

		2/10/99		2		1999		22.69

		2/11/99		2		1999		22.74

		2/12/99		2		1999		20.97

		2/13/99		2		1999		20.97

		2/16/99		2		1999		22.38

		2/17/99		2		1999		21.53

		2/18/99		2		1999		20.72

		2/19/99		2		1999		19.22

		2/20/99		2		1999		19.22

		2/22/99		2		1999		20.88

		2/23/99		2		1999		20.83

		2/24/99		2		1999		21.68

		2/25/99		2		1999		21.34

		2/26/99		2		1999		21.34

		2/27/99		2		1999		17.78

		3/1/99		3		1999		20.66

		3/2/99		3		1999		19.49

		3/3/99		3		1999		19.64

		3/4/99		3		1999		20.24

		3/5/99		3		1999		18.5

		3/6/99		3		1999		18.45

		3/8/99		3		1999		19.89

		3/9/99		3		1999		20.71

		3/10/99		3		1999		21.03

		3/11/99		3		1999		21.75

		3/12/99		3		1999		22.03

		3/13/99		3		1999		21.92

		3/15/99		3		1999		22.91

		3/16/99		3		1999		20.76

		3/17/99		3		1999		21.56

		3/18/99		3		1999		21.99

		3/19/99		3		1999		20.88

		3/20/99		3		1999		20.83

		3/22/99		3		1999		21.83

		3/23/99		3		1999		22.88

		3/24/99		3		1999		21.75

		3/25/99		3		1999		21.11

		3/26/99		3		1999		20.03

		3/27/99		3		1999		20.02

		3/29/99		3		1999		22.96

		3/30/99		3		1999		24.33

		3/31/99		3		1999		24.29

		4/1/99		4		1999		25.34

		4/3/99		4		1999		23.2

		4/5/99		4		1999		23.25

		4/6/99		4		1999		26.28

		4/7/99		4		1999		26.18

		4/8/99		4		1999		26.45

		4/9/99		4		1999		25.52

		4/10/99		4		1999		25.52

		4/12/99		4		1999		28.67

		4/13/99		4		1999		25.01

		4/14/99		4		1999		25.01

		4/15/99		4		1999		25.01

		4/16/99		4		1999		27.46

		4/17/99		4		1999		27.43

		4/19/99		4		1999		29.09

		4/20/99		4		1999		37.28

		4/21/99		4		1999		33.03

		4/22/99		4		1999		31.25

		4/23/99		4		1999		22.99

		4/24/99		4		1999		22.99

		4/26/99		4		1999		26.28

		4/27/99		4		1999		26.47

		4/28/99		4		1999		26.79

		4/29/99		4		1999		27.04

		4/30/99		4		1999		26.32

		5/1/99		5		1999		23.2

		5/3/99		5		1999		26.5

		5/4/99		5		1999		25.95

		5/5/99		5		1999		26.62

		5/6/99		5		1999		28.37

		5/7/99		5		1999		27.4

		5/8/99		5		1999		27.4

		5/10/99		5		1999		28.35

		5/11/99		5		1999		25.11

		5/12/99		5		1999		26.59

		5/13/99		5		1999		28.35

		5/14/99		5		1999		27.39

		5/15/99		5		1999		27.39

		5/17/99		5		1999		28.65

		5/18/99		5		1999		30.14

		5/19/99		5		1999		31.21

		5/20/99		5		1999		30.58

		5/21/99		5		1999		27.38

		5/22/99		5		1999		27.38

		5/24/99		5		1999		28.36

		5/25/99		5		1999		33.43

		5/26/99		5		1999		33.71

		5/27/99		5		1999		29.97

		5/28/99		5		1999		29.97

		5/29/99		5		1999		29.97

		6/1/99		6		1999		29.38

		6/2/99		6		1999		25.05

		6/3/99		6		1999		23.3

		6/4/99		6		1999		21.25

		6/5/99		6		1999		21.25

		6/7/99		6		1999		26.53

		6/8/99		6		1999		25.35

		6/9/99		6		1999		30.28

		6/10/99		6		1999		30.19

		6/11/99		6		1999		26.56

		6/12/99		6		1999		26.42

		6/14/99		6		1999		35.97

		6/15/99		6		1999		42.06

		6/16/99		6		1999		35.31

		6/17/99		6		1999		32.26

		6/18/99		6		1999		29.75

		6/19/99		6		1999		29.06

		6/21/99		6		1999		49.41

		6/22/99		6		1999		37.74

		6/23/99		6		1999		36.67

		6/24/99		6		1999		32.59

		6/25/99		6		1999		30.79

		6/26/99		6		1999		30.41

		6/28/99		6		1999		37.79

		6/29/99		6		1999		47.9

		6/30/99		6		1999		55.89

		7/1/99		7		1999		69.85

		7/2/99		7		1999		69.85

		7/3/99		7		1999		34.5

		7/6/99		7		1999		56.2

		7/7/99		7		1999		45.04

		7/8/99		7		1999		44.79

		7/9/99		7		1999		34.35

		7/10/99		7		1999		34.24

		7/12/99		7		1999		51.07

		7/13/99		7		1999		59.29

		7/14/99		7		1999		62.34

		7/15/99		7		1999		54.04

		7/16/99		7		1999		32.33

		7/17/99		7		1999		32.3

		7/19/99		7		1999		42.95

		7/20/99		7		1999		34.5

		7/21/99		7		1999		32.97

		7/22/99		7		1999		32.74

		7/23/99		7		1999		27.01

		7/24/99		7		1999		26.97

		7/26/99		7		1999		42.17

		7/27/99		7		1999		33.18

		7/28/99		7		1999		35.71

		7/29/99		7		1999		36.49

		7/30/99		7		1999		29.9

		7/31/99		7		1999		29.9

		8/2/99		8		1999		39.72

		8/3/99		8		1999		38.52

		8/4/99		8		1999		37.15

		8/5/99		8		1999		39.93

		8/6/99		8		1999		33.33

		8/7/99		8		1999		33.33

		8/9/99		8		1999		38.45

		8/10/99		8		1999		33.86

		8/11/99		8		1999		33.74

		8/12/99		8		1999		33.36

		8/13/99		8		1999		30.04

		8/14/99		8		1999		30.04

		8/16/99		8		1999		37.6

		8/17/99		8		1999		38.18

		8/18/99		8		1999		37.61

		8/19/99		8		1999		38.25

		8/20/99		8		1999		33.83

		8/21/99		8		1999		33.83

		8/23/99		8		1999		40.94

		8/24/99		8		1999		50.04

		8/25/99		8		1999		68.91

		8/26/99		8		1999		76.13

		8/27/99		8		1999		67.38

		8/28/99		8		1999		66.11

		8/30/99		8		1999		59.66

		8/31/99		8		1999		39.89

		9/1/99		9		1999		32.53

		9/2/99		9		1999		32.44

		9/3/99		9		1999		32.44

		9/4/99		9		1999		28.09

		9/7/99		9		1999		33.47

		9/8/99		9		1999		36.04

		9/9/99		9		1999		33.74

		9/10/99		9		1999		33.13

		9/11/99		9		1999		33.13

		9/13/99		9		1999		35.5

		9/14/99		9		1999		32.89

		9/15/99		9		1999		34.1

		9/16/99		9		1999		34

		9/17/99		9		1999		30.9

		9/18/99		9		1999		30.9

		9/20/99		9		1999		32.44

		9/21/99		9		1999		32.51

		9/22/99		9		1999		29.56

		9/23/99		9		1999		31.06

		9/24/99		9		1999		32.09

		9/25/99		9		1999		32.09

		9/27/99		9		1999		35.53

		9/28/99		9		1999		35.3

		9/29/99		9		1999		46.43

		9/30/99		9		1999		32.85

		10/1/99		10		1999		32.21

		10/2/99		10		1999		32.66

		10/4/99		10		1999		34.31

		10/5/99		10		1999		36.34

		10/6/99		10		1999		35.82

		10/7/99		10		1999		36.68

		10/8/99		10		1999		35.96

		10/9/99		10		1999		35.96

		10/11/99		10		1999		36.14

		10/12/99		10		1999		37.14

		10/13/99		10		1999		56.65

		10/14/99		10		1999		63.9

		10/15/99		10		1999		48.31

		10/16/99		10		1999		48.31

		10/18/99		10		1999		45.33

		10/19/99		10		1999		36.46

		10/20/99		10		1999		36.46

		10/21/99		10		1999		36.46

		10/22/99		10		1999		38.14

		10/23/99		10		1999		38.14

		10/25/99		10		1999		41.5

		10/26/99		10		1999		44.57

		10/27/99		10		1999		47.73

		10/28/99		10		1999		47.73

		10/29/99		10		1999		47.73

		10/30/99		10		1999		33.5

		11/1/99		11		1999		34.14

		11/2/99		11		1999		41.99

		11/3/99		11		1999		31.8

		11/4/99		11		1999		32.43

		11/5/99		11		1999		37.5

		11/6/99		11		1999		37.5

		11/8/99		11		1999		33.98

		11/9/99		11		1999		35.22

		11/10/99		11		1999		34.58

		11/11/99		11		1999		34.58

		11/12/99		11		1999		30.18

		11/13/99		11		1999		30.18

		11/15/99		11		1999		30.75

		11/16/99		11		1999		30.64

		11/17/99		11		1999		29.05

		11/18/99		11		1999		28.29

		11/19/99		11		1999		24.28

		11/20/99		11		1999		24.28

		11/22/99		11		1999		29.88

		11/23/99		11		1999		34.61

		11/24/99		11		1999		34.61

		11/27/99		11		1999		24.34

		11/29/99		11		1999		28.52

		11/30/99		11		1999		29.36

		12/1/99		12		1999		33

		12/2/99		12		1999		32.3

		12/3/99		12		1999		27.78

		12/4/99		12		1999		27.78

		12/6/99		12		1999		31.02

		12/7/99		12		1999		31.22

		12/8/99		12		1999		32.38

		12/9/99		12		1999		33.54

		12/10/99		12		1999		29.2

		12/11/99		12		1999		29.2

		12/13/99		12		1999		35.48

		12/14/99		12		1999		32.1

		12/15/99		12		1999		31.23

		12/16/99		12		1999		31.01

		12/17/99		12		1999		30.02

		12/18/99		12		1999		30.02

		12/20/99		12		1999		30.25

		12/21/99		12		1999		30.78

		12/22/99		12		1999		28.96

		12/23/99		12		1999		28.96

		12/25/99		12		1999		26.54

		12/27/99		12		1999		29.34

		12/28/99		12		1999		32.54

		12/29/99		12		1999		29.02

		12/30/99		12		1999		29.02

		1/1/00		1		2000		26

		1/3/00		1		2000		33.53

		1/4/00		1		2000		32.69

		1/5/00		1		2000		31.41

		1/6/00		1		2000		29.17

		1/7/00		1		2000		28.02

		1/8/00		1		2000		27.93

		1/10/00		1		2000		34.09

		1/11/00		1		2000		34.25

		1/12/00		1		2000		31.25

		1/13/00		1		2000		32.42

		1/14/00		1		2000		32.42

		1/15/00		1		2000		27.33

		1/17/00		1		2000		26.72

		1/18/00		1		2000		26.72

		1/19/00		1		2000		28.42

		1/20/00		1		2000		28

		1/21/00		1		2000		26.5

		1/22/00		1		2000		26.5

		1/24/00		1		2000		28.82

		1/25/00		1		2000		28.66

		1/26/00		1		2000		29.03

		1/27/00		1		2000		28.64

		1/28/00		1		2000		29.03

		1/29/00		1		2000		29.03

		1/31/00		1		2000		30.74

		2/1/00		2		2000		31.7

		2/2/00		2		2000		31.76

		2/3/00		2		2000		31.96

		2/4/00		2		2000		30.4

		2/5/00		2		2000		30.4

		2/7/00		2		2000		32.33

		2/8/00		2		2000		31.58

		2/9/00		2		2000		29.94

		2/10/00		2		2000		30.65

		2/11/00		2		2000		30.27

		2/12/00		2		2000		30.27

		2/14/00		2		2000		32.41

		2/15/00		2		2000		33.04

		2/16/00		2		2000		33.84

		2/17/00		2		2000		33.16

		2/18/00		2		2000		33.16

		2/19/00		2		2000		30.71

		2/21/00		2		2000		32.47

		2/22/00		2		2000		32.47

		2/23/00		2		2000		30.94

		2/24/00		2		2000		29.64

		2/25/00		2		2000		29.35

		2/26/00		2		2000		29.35

		2/28/00		2		2000		30

		2/29/00		2		2000		30.16

		3/1/00		3		2000		30.3

		3/2/00		3		2000		29.46

		3/3/00		3		2000		29.33

		3/4/00		3		2000		29.33

		3/6/00		3		2000		30.18

		3/7/00		3		2000		30.47

		3/8/00		3		2000		31.64

		3/9/00		3		2000		32.68

		3/10/00		3		2000		29.57

		3/11/00		3		2000		29.57

		3/13/00		3		2000		30.38

		3/14/00		3		2000		24.81

		3/15/00		3		2000		30.6

		3/16/00		3		2000		32.16

		3/17/00		3		2000		29.97

		3/18/00		3		2000		29.97

		3/20/00		3		2000		32.23

		3/21/00		3		2000		29.94

		3/22/00		3		2000		31.81

		3/23/00		3		2000		33.61

		3/24/00		3		2000		31.05

		3/25/00		3		2000		31.05

		3/27/00		3		2000		32.06

		3/28/00		3		2000		33.11

		3/29/00		3		2000		32.65

		3/30/00		3		2000		33.46

		3/31/00		3		2000		33.46

		4/1/00		4		2000		33.4

		4/3/00		4		2000		34.99

		4/4/00		4		2000		34.25

		4/5/00		4		2000		32.22

		4/6/00		4		2000		34.74

		4/7/00		4		2000		34.55

		4/8/00		4		2000		34.55

		4/10/00		4		2000		40.3

		4/11/00		4		2000		33.85

		4/12/00		4		2000		33.85

		4/13/00		4		2000		33.85

		4/14/00		4		2000		32.97

		4/15/00		4		2000		32.97

		4/17/00		4		2000		35.86

		4/18/00		4		2000		33.69

		4/19/00		4		2000		34.38

		4/20/00		4		2000		34.16

		4/21/00		4		2000		33.88

		4/22/00		4		2000		33.88

		4/24/00		4		2000		35.22

		4/25/00		4		2000		34.83

		4/26/00		4		2000		47.37

		4/27/00		4		2000		67.79

		4/28/00		4		2000		67.79

		4/29/00		4		2000		47.64

		5/1/00		5		2000		40.25

		5/2/00		5		2000		114.41

		5/3/00		5		2000		76.74

		5/4/00		5		2000		80.2

		5/5/00		5		2000		52.49

		5/6/00		5		2000		52.49

		5/8/00		5		2000		76.93

		5/9/00		5		2000		52.91

		5/10/00		5		2000		51

		5/11/00		5		2000		49.65

		5/12/00		5		2000		40.71

		Sum						34,731.60

		Average						27.7631

		Average (+)						27.7631

		Average (-)						NaN

		Percent (+)						100

		Percent (-)						0

		Maximum						114.41

		Minimum						8

		Std Deviation						12.1365

		Zstat						2.2876

		Variance						147.2956

		Last						40.71



Given from Henwood Energy Services report

Given from Henwood Energy Services report

Given from Henwood Energy Services report

Given from Henwood Energy Services report

Product of heat rate and fuel cost, converted to mills/kwh.

Given from Henwood Energy Services report

sum of fuel and variable O&M cost

Given from Henwood Energy Services report

&R[File]

LV Cogen

Megawatts

Cumulative Megawatts

Heat Rate (HHV)

Megawatts of Capacity

Cumulative MW of Capacity

WSCC Gas Fired Resource Heat Rate Stack

Under 7000

Under 7000

7000-7500

7000-7500

7501-8000

7501-8000

8001-8500

8001-8500

8501-9000

8501-9000

9001-9500

9001-9500

9501-10000

9501-10000

10001-10500

10001-10500

10501-11000

10501-11000

11001-11500

11001-11500

11501-12000

11501-12000

12001-12500

12001-12500

12501-13000

12501-13000

13001-13500

13001-13500

13501-14000

13501-14000

Above 14000

Above 14000

0

0

718.6749606264

718.6749606264

2497.3723766193

3216.0473372456

607.57313017

3823.6204674156

740.5779322565

4564.1983996721

1869.7096032239

6433.908002896

12606.7178560272

19040.6258589233

9119.993688215

28160.6195471383

5185.6779898769

33346.2975370152

501.1345730016

33847.4321100168

1175.3255571653

35022.7576671822

4701.9432840918

39724.700951274

1340.9665205699

41065.6674718439

183.5004493297

41249.1679211736

220.2986039508

41469.4665251244

561.865146584

42031.3316717084



Chart_Peak_Prices

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



$/MWh

Historical Peak Palo Verde and 
Forward Peak SP-15 Prices

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Table_Peak_Prices

		Average Nevada Peak Prices

		April to March		$/MWh

		1996 - 1997		17.85

		1997 - 1998		26.66

		1998 - 1999		29.07

		1999 - 2000		33.37

		2000 - 2001		49.43

		2001 - 2002		47.05

		2002 - 2003		45.56






_1019747773.xls
Chart4

		35156

		35186

		35217

		35247

		35278

		35309

		35339

		35370

		35400

		35431

		35462

		35490

		35521

		35551

		35582

		35612

		35643

		35674

		35704

		35735

		35765

		35796

		35827

		35855

		35886

		35916

		35947

		35977

		36008

		36039

		36069

		36100

		36130

		36161

		36192

		36220

		36251

		36281

		36312

		36342

		36373

		36404

		36434

		36465

		36495

		36526

		36557

		36586

		36617

		36647

		36678

		36708

		36739

		36770

		36800

		36831

		36861

		36892

		36923

		36951

		36982

		37012

		37043

		37073

		37104

		37135

		37165

		37196

		37226

		37257

		37288

		37316

		37347

		37377

		37408

		37438

		37469

		37500

		37530

		37561

		37591

		37622

		37653

		37681



$/MWh

Historical Peak Palo Verde and 
Forward Peak SP-15 Prices

12.8571428571

13.98

14.422

18.5759090909

17.4104545455

21.193

21.3065217391

24.3058823529

24.969

15.155

13.4207142857

16.5532258065

17.5356666667

27.8189655172

24.767

33.2948387097

37.6306666667

42.549

27.0896551724

23.6662068966

22.2242857143

22.0951724138

19.94

21.2682758621

25.1876923077

20.0960714286

20.67

42.484

49.4282758621

41.4330769231

27.1789285714

27.9239130435

27.978

24.0443478261

21.1817391304

21.2014814815

26.7944

28.3748

32.66

41.7184615385

42.6857692308

33.3264

40.9284615385

31.77875

30.5076

29.5123076923

31.2784

30.9203703704

36.3284341941

57.4259846319

45

67

86.25

71

45.575

38.125

38.125

36.6

36.6

35.1

37.25

37.25

43.75

68.375

87.625

72.375

43.75

36.25

36.25

34.428060391

34.428060391

32.928060391

35.8851521956

35.8851521956

41.6351521956

67.9103811398

87.1603811398

71.9103811398

41.731204421

34.231204421

34.231204421

32.5582776753

32.5582776753

31.0582776753



Chart_Resource and Load

		

		US WSCC (000MW)		1996		1997		1998		1999		2000		2001		2002

		Available Resources		128.6		129.8		130.1		130.8		131.8		135.3		138.7

		Peak Load		106.8		109.7		114.1		115.6		119.6		122.6		125.7

		Resource Balance				-1.7		-4.1		-0.8		-3		0.5		0.3

		Cumm. Balance				-1.7		-5.8		-6.6		-9.6		-9.1		-8.8

		Reserve Margin		20.4%		18.3%		14.0%		13.1%		10.2%		10.4%		10.3%

		US WSCC (000MW)		Available Resources		Peak Load		Resource Balance		Cumm. Balance		Reserve Margin

		1996		128.6		106.8						20.4%

		1997		129.8		109.7		-1.7		-1.7		18.3%

		1998		130.1		114.1		-4.1		-5.8		14.0%

		1999		130.8		115.6		-0.8		-6.6		13.1%

		2000		131.8		119.6		-3		-9.6		10.2%

		2001		135.3		122.6		0.5		-9.1		10.4%

		2002		138.7		125.7		0.3		-8.8		10.3%





Chart_Resource and Load

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Available Resources

Peak Load

Reserve Margin

1000's MW

WSCC Resource Availability, Load Growth, and Reserve Margins

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Table_New Gen

		High Probability WSCC Projects

		Project		State		On-Line Date		Capacity		Region		Cumulative Capacity

		Colorado Springs Nixon		CO		10/1/99		70				70

		Deming		NM		11/1/99		250		DSW		320

		Priscilla		NV		3/1/00		216				536

		El Dorado		NV		5/1/00		492		DSW		1,028

		Person		NM		5/1/00		140		DSW		1,168

		Manchief (Brush)		CO		6/1/00		265		Rockies		1,433

		Valmont Repowering		CO		12/1/00		11		Rockies		1,444

		Vestas (100MW Wind)		OR		1/1/01		25		PNW		1,469

		South Point Power Plant [Mojave]		AZ		5/1/01		545		DSW		2,014

		Griffith Energy Project		AZ		5/1/01		520		DSW		2,534

		Desert Basin Gnrtng		AZ		6/1/01		600		DSW		3,134

		Sutter		CA		7/1/01		500		NP15		3,634

		Klamath Cogen		OR		7/1/01		500		PNW		4,134

		43rd Avenue Plant Repower		AZ		8/1/01		70		DSW		4,204

		Los Medanos (Pittsburg)		CA		8/1/01		500		NP15		4,704

		La Paloma		CA		9/1/01		1,048		ZP26		5,752

		Rathdrum		ID		9/1/01		270		PNW		6,022

		43rd Avenue Phase 2 Repower		AZ		12/1/01		70		DSW		6,092

		Everett Delta		WA		12/1/01		248		PNW		6,340

		Coyote Springs Phase 2		OR		3/1/02		280		PNW		6,620

		Delta Energy		CA		4/1/02		880		NP15		7,500

		Powhatan 48		CO		5/1/02		150		Rockies		7,650

		Hermiston		OR		5/1/02		536		PNW		8,186





Chart_Stack

		

		Name		Fuel Type		GWH		Plant Factor		Max Capability (MW)		Ave HR Btu/kWh		Fuel Cost $/MMBtu		Fuel Cost m/kWh		VOM Cost m/kWh		OP Cost m/kWh		CO2 Emissions Tons

		Magnolia 1 40		Gas		0.7		0.8%		10		25,742		2.00		51.48		7.38		58.86		1.0

		Olive GT 1 44		Gas		0.8		0.8%		11		25,635		2.00		51.27		7.38		58.65		1.2

		Grayson 1 21		Gas		1.4		2.0%		8		24,588		2.00		49.18		2.46		51.64		2.0

		McClellan 1 12		Gas		1.7		0.6%		32		22,128		2.00		44.26		7.38		51.64		2.2

		Harbor GT426		Gas		18.3		2.7%		77		19,138		2.00		38.28		7.38		45.66		20.4

		Magnolia 2 39		Gas		10.6		3.0%		40		15,520		2.00		31.04		2.46		33.50		9.5

		Highgrove230		Gas		19.3		4.2%		52		15,430		2.00		30.86		2.46		33.32		17.4

		Broadway 2 6		Gas		20.1		3.1%		74		15,102		2.00		30.20		2.46		32.66		17.5

		Broadway 1 7		Gas		16.6		3.0%		63		14,976		2.00		29.95		2.46		32.41		14.4

		Grayson 2 22		Gas		20.7		3.0%		79		14,733		2.00		29.47		2.46		31.93		17.5

		Grayson G 2 24		Gas		6.9		2.0%		39		14,525		2.00		29.05		7.38		36.43		5.8

		AnaheirnG 1 5		Gas		4.2		2.0%		24		14,335		2.00		28.67		7.38		36.05		3.4

		Highgrove 2 29		Gas		14.2		3.2%		51		14,048		2.00		28.10		2.46		30.56		11.6

		Oiive 2 43		Gas		30.5		3.6%		97		13,992		2.00		27.98		2.46		30.44		24.8

		Humboldt 2 9		Gas		114.6		12.4%		106		13,810		2.00		27.62		2.46		30.08		91.5

		Medicine 1 19		Gas		39.6		25.0%		18		13,552		2.00		27.10		2.46		29.56		31.0

		Glenarm G 2 20		Gas		11.4		2.5%		52		13,417		2.00		26.83		7.38		34.21		8.9

		Medicine 2 16		Gas		18.5		6.7%		32		13,394		2.00		26.79		7.38		34.17		14.3

		Medicine 3 15		Gas		26.8		6.7%		46		13,363		2.00		26.73		7.38		34.11		20.8

		Medidne 1 17		Gas		73.9		32.7%		26		13,332		2.00		26.66		2.46		29.12		57.1

		Medicine 1 18		Gas		76.8		30.8%		28		13,323		2.00		26.65		2.46		29.11		59.4

		Walnut GT 2 63		Gas		8.4		2.1%		46		12,996		2.00		25.99		7.38		33.37		6.3

		NNevoda Gas 2		Gas		1,864.3		18.8%		1132		12,930		2.00		25.86		6.39		32.25		1,397.9

		Bethel GT 2 2		Gas		2.7		1.0%		31		12,684		2.00		25.37		7.38		32.75		2.0

		Etiwanda 2 18		Gas		61.5		5.3%		132		12,592		2.00		25.18		2.46		27.64		44.9

		Pittsburg 2 43		Gas		69.1		9.1%		87		12,493		2.00		24.99		2.46		27.45		50.2

		Arizona Gas A 4		Gas		4,096.2		13.5%		3464		12,451		2.00		24.90		5.28		30.18		2,966.5

		El Sogund 2 14		Gas		383.6		12.5%		350		12,442		2.00		24.88		2.46		27.34		274.6

		Redding P 1 52		Gas		10.4		4.4%		27		12,416		2.00		24.83		2.46		27.29		7.3

		Coolwater2 9		Gas		356.0		8.8%		462		12,308		2.00		24.62		4.92		29.54		252.8

		Long Beac 1 37		Gas		104.0		3.8%		312		12,023		2.00		24.05		4.92		28.97		72.4

		Redding G 1 50		Gas		2.0		1.6%		14		11,999		2.00		24.00		7.38		31.38		1.4

		Alamitos 2 3		Gas		91.1		5.9%		176		11,947		2.00		23.89		2.46		26.35		63.3

		SMUD/Cars 1 56		Gas		6.0		1.7%		40		11,850		2.00		23.70		7.38		31.08		4.0

		SMUD/P&G 1 61		Gas		6.6		2.2%		34		11,769		2.00		23.54		7.38		30.92		4.3

		NCPA GT P 1 26		Gas		6.6		2.0%		38		11,717		2.00		23.43		7.38		30.81		4.4

		Utah gas RM F 3		Gas		105.9		4.3%		281		11,645		2.00		23.29		3.71		27.00		71.4

		San Berna249		Gas		33.9		4.1%		94		11,622		2.00		23.24		2.46		25.70		22.9

		Redondo B 2 47		Gas		577.3		18.8%		351		11,601		2.00		23.20		2.46		25.66		387.6

		Coolwater28		Gas		147.6		11.5%		147		11,578		2.00		23.16		2.46		25.62		98.9

		San Diego Gas 3		Gas		164.1		7.0%		268		11,423		2.00		22.85		4.32		27.17		109.1

		Alamitos 1 4		Gas		12.4		2.5%		57		11,130		2.00		22.26		7.38		29.64		8.0

		Fredonia 2 12		Gas		170.4		14.0%		139		11,043		2.00		22.09		7.38		29.47		109.4

		Northeast 1 27		Gas		80.8		24.3%		38		11,039		2.00		22.08		6.15		28.23		51.9

		Whitehorn 2 S1		Gas		165.6		18.8%		101		10,905		2.00		21.81		7.38		29.19		104.7

		Fredricks 2 13		Gas		125.6		14.3%		100		10,877		2.00		21.75		7.38		29.13		79.6

		Long Beac 1 38		Gas		153.1		7.4%		236		10,821		2.00		21.64		4.92		26.56		95.8

		San Diego Gas 4		Gas		13,802.1		39.8%		3959		10,759		2.00		21.52		3.07		24.59		8,641.3

		Grayson 1 23		Gas		35.0		4.2%		95		10,734		2.00		21.47		4.92		26.39		21.8

		ReddingG2 51		Gas		14.7		3.1%		54		10,686		2.00		21.37		7.38		28.75		9.1

		Pittsburg 2 44		Gas		833.0		29.1%		327		10,661		2.00		21.32		2.46		23.78		516.3

		NCPA GT 4 24		Gas		37.1		4.2%		101		10,605		2.00		21.21		7.38		28.59		22.8

		Morro Bay 1 16		Gas		438.2		30.6%		163		10,590		2.00		21.18		2.46		23.64		269.9

		Gianera G 2 8		Gas		13.9		3.2%		50		10,575		2.00		21.15		7.38		28.53		8.5

		SMUD/CT 3 58		Gas		40.6		4.7%		99		10,497		2.00		20.99		7.38		28.37		24.7

		Morro Bay 1 17		Gas		455.1		31.8%		163		10,490		2.00		20.98		2.46		23.44		277.5

		APL Rainb 2 3		Gas		32.3		10.9%		34		10,489		2.00		20.98		7.38		28.36		19.6

		Alamitos 2 1		Gas		1,472.3		26.2%		641		10,441		2.00		20.88		2.46		23.34		890.8

		NCPA GT 1 25		Gas		4.9		2.7%		21		10,324		2.00		20.65		7.38		28.03		3.0

		Rathdrum 235		Gas		209.6		21.6%		111		10,279		2.00		20.56		7.38		27.94		125.3

		S Nevada Gas 1		Gas		1,991.9		10.2%		2229		10,246		2.00		20.49		6.20		26.69		1,186.9

		APL Rainb 1 4		Gas		15.0		18.5%		9		10,216		2.00		20.43		7.38		27.81		8.9

		Tenaska 2 1 47		Gas		364.8		25.1%		166		10,174		2.00		20.35		7.38		27.73		215.8

		SCL GT 1 3e		Gas		136.3		25.3%		61		10,165		2.00		20.33		7.38		27.71		80.5

		West Coas 1 30		Gas		261.0		34.0%		88		10,156		2.00		20.31		7.38		27.69		154.1

		Rupert 2 23		Gas		98.5		32.5%		35		10,142		2.00		20.28		7.38		27.66		58.0

		Mandalay 2 41		Gas		1,011.4		26.8%		431		10,140		2.00		20.28		2.46		22.74		596.6

		NWC-GT 1 22		Gas		392.9		34.2%		131		10,138		2.00		20.28		7.38		27.66		231.7

		Alta GT 3 1		Gas		793.3		32.3%		280		10,138		2.00		20.28		7.38		27.66		467.9

		Etiwanda 2 17		Gas		1,908.2		33.9%		643		10,135		2.00		20.27		2.46		22.73		1,123.3

		Scattergo 2 50		Gas		622.0		19.8%		359		10,106		2.00		20.21		2.46		22.67		364.8

		El Segund 2 15		Gas		1,991.4		33.8%		673		10,073		2.00		20.15		2.46		22.61		1,166.7

		Hunters P 1 10		Gas		686.7		48.0%		163		10,030		2.00		20.06		2.46		22.52		400.3

		PG&EQFT1 36		Gas		6,503.7		88.0%		844		10,000		2.00		20.00		2.46		22.46		5,476.1

		PG&EQFT138		Gas		1,318.6		87.7%		172		10,000		2.00		20.00		2.46		22.46		1,110.3

		PG&E QF A 1 32		Gas		1,248.4		87.9%		162		10,000		2.00		20.00		2.46		22.46		1,051.2

		PG&E QF T 1 39		Gas		5,303.4		86.5%		700		10,000		2.00		20.00		2.46		22.46		4,465.4

		PG&E QF W 1 40		Gas		562.4		88.8%		72		10,000		2.00		20.00		2.46		22.46		473.6

		NW Energy 1 21		Gas		324.8		67.2%		55		10,000		2.00		20.00		2.46		22.46		273.5

		Canyon Po 1 8		Gas		40.4		65.7%		7		10,000		2.00		20.00		2.46		22.46		34.0

		TAUC Dapp 1 27		Gas		57.5		65.4%		10		10,000		2.00		20.00		2.46		22.46		48.4

		PGEMisc 2 31		Gas		1,404.5		56.9%		282		10,000		2.00		20.00		2.46		22.46		817.4

		James Riv 1 18		Gas		227.9		54.3%		48		10,000		2.00		20.00		2.46		22.46		132.6

		PGE Misc 1 32		Gas		343.0		54.5%		72		10,000		2.00		20.00		2.46		22.46		199.7

		SCLGenar1 37		Gas		27.4		87.7%		4		10,000		2.00		20.00		2.46		22.46		15.9

		PG&E QF G 1 34		Gas		824.8		42.5%		222		10,000		2.00		20.00		2.46		22.46		480.0

		PG&E QF C 1 33		Gas		153.2		40.6%		43		10,000		2.00		20.00		2.46		22.46		89.2

		PG&E Rene 1 42		Gas		83.8		38.1%		25		10,000		2.00		20.00		2.46		22.46		48.7

		Union Pac 1 57		Gas		20.1		12.7%		18		10,000		2.00		20.00		2.46		22.46		11.7

		Union Pac 1 56		Gas		24.7		14.1%		20		10,000		2.00		20.00		2.46		22.46		14.4

		San Diego Gas 2		Gas		8.1		3.2%		29		10,000		2.00		20.00		2.46		22.46		4.7

		New Mexico Ga 2		Gas		2,907.3		27.8%		1194		9,995		2.00		19.99		3.67		23.66		1,689.6

		Hunt Beach 2 32		Gas		1,406.7		37.2%		432		9,963		2.00		19.93		2.46		22.39		814.1

		WY-CO Area Ga10		Gas		1,837.4		10.5%		1998		9,916		2.00		19.83		3.78		23.61		1,077.3

		Potrero 1 48		Gas		881.3		48.5%		207		9,888		2.00		19.78		2.46		22.24		506.9

		Keephills 2 13		Gas		4,696.9		68.1%		787		9,887		2.00		19.77		2.46		22.23		2,702.0

		EP Rossda 3 12		Gas		1,057.0		74.4%		162		9,874		2.00		19.75		2.46		22.21		607.3

		Pittsburg 1 47		Gas		2,418.9		39.9%		692		9,874		2.00		19.75		2.46		22.21		1,387.9

		Clover Ba 4 9		Gas		4,690.1		76.7%		698		9,861		2.00		19.72		2.46		22.18		2,691.1

		Burrard 6 7		Gas		6,155.3		77.9%		902		9,857		2.00		19.71		2.46		22.17		3,530.7

		APLMilne 1 2		Gas		1,001.5		75.0%		152		9,857		2.00		19.71		2.46		22.17		1,036.5

		Pittsburg 1 45		Gas		1,144.2		43.8%		298		9,844		2.00		19.69		2.46		22.15		654.9

		Morro Bay 1 18		Gas		1,565.6		52.7%		339		9,817		2.00		19.63		2.46		22.09		894.1

		AlamHos 2 2		Gas		3,189.3		37.8%		963		9,775		2.00		19.55		2.46		22.01		1,812.8

		Pittsburg 1 46		Gas		1,460.9		51.2%		326		9,755		2.00		19.51		2.46		21.97		828.9

		RedondoB248		Gas		3,320.3		39.4%		962		9,728		2.00		19.46		2.46		21.92		1,879.8

		MorroBay1 19		Gas		1,861.0		62.7%		339		9,678		2.00		19.36		2.46		21.82		1,046.5

		Contra Co 1 5		Gas		1,660.3		55.6%		341		9,621		2.00		19.24		2.46		21.70		929.3

		Contra Co 1 4		Gas		1,315.6		48.1%		312		9,613		2.00		19.23		2.46		21.69		735.7

		Orrnond Be 2 46		Gas		4,512.9		34.3%		1502		9,520		2.00		19.04		2.46		21.50		2,499.6

		Haynes 2 28		Gas		2,375.3		39.7%		683		9,232		2.00		18.46		2.46		20.92		1,275.5

		Moss Land 1 20		Gas		3,748.9		57.8%		740		9,149		2.00		18.30		2.46		20.76		1,995.7

		Scattergo 1 51		Gas		1,638.1		41.9%		446		9,109		2.00		18.22		2.46		20.68		867.5

		Moss Land 1 21		Gas		4,346.6		67.0%		741		8,966		2.00		17.93		2.46		20.39		2,267.9

		SMUD/Cars 1 55		Gas		109.9		13.2%		95		8,453		2.00		16.91		5.65		22.56		54.0

		Olivo/Mag 1 45		Gas		48.9		13.6%		41		8,430		2.00		16.86		4.92		21.78		23.8

		WY-CO Area Ga 9		Gas		105.1		17.0%		71		8,421		2.00		16.84		4.63		21.47		51.5

		Almond Po 1 1		Gas		86.8		20.2%		49		8,304		2.00		16.61		4.92		21.53		41.8

		Woodland 1 64		Gas		61.8		14.9%		47		8,252		2.00		16.50		4.92		21.42		29.6

		SMUD/Camp 1 64		Gas		252.7		18.6%		155		8,250		2.00		16.50		4.92		21.42		121.0

		SMUD/SEPC 1 62		Gas		250.0		19.1%		149		8,245		2.00		16.49		4.92		21.41		119.5

		SMUD/P&G 1 60		Gas		467.7		45.5%		117		7,959		2.00		15.92		3.07		18.99		216.5

		Hunt Beac 1 31		Gas		4,457.6		81.4%		625		7,861		2.00		15.72		4.92		20.64		2,038.5

		Beaver1 1		Gas		5,736.4		79.6%		823		7,850		2.00		15.70		2.79		18.49		2,619.1

		LDWP CC 1 36		Gas		1,551.3		78.5%		226		7,845		2.00		15.69		4.92		20.61		707.9

		LDWPCC 1 35		Gas		1,550.8		78.5%		226		7,843		2.00		15.69		4.92		20.61		707.7

		PG&E Croc 1 29		Gas		1,611.9		76.5%		241		7,841		2.00		15.68		4.92		20.60		735.3

		PG&E CC 1 28		Gas		1,610.2		76.4%		241		7,837		2.00		15.67		4.92		20.59		734.1

		Harbor CC 1 25		Gas		1,699.3		80.6%		241		7,471		2.00		14.94		4.92		19.86		738.6

		Hermiston New		Gas		0.0		0.0%		478		7,310		2.00		14.62		2.46		17.08		0.0

		Haynes 4 27		Gas		5,982.4		76.7%		890		4,641		2.00		9.28		2.46		11.74		1,616.0

		Heat Rate		Megawatts		Cumulative Megawatts

		Under 7000		0		0.0

		7000-7500		719		719

		7501-8000		2497		3,216

		8001-8500		608		3,824

		8501-9000		741		4,564

		9001-9500		1870		6,434

		9501-10000		12607		19,041

		10001-10500		9120		28,161

		10501-11000		5186		33,346

		11001-11500		501		33,847

		11501-12000		1175		35,023

		12001-12500		4702		39,725

		12501-13000		1341		41,066

		13001-13500		184		41,249

		13501-14000		220		41,469

		Above 14000		562		42,031.3

				42031

		Heat Rate		Cumulative Megawatts

		Under 7000		0

		7000-7500		719

		7501-8000		3216

		8001-8500		3824

		8501-9000		4564

		9001-9500		6434

		9501-10000		19041

		10001-10500		28161

		10501-11000		33346

		11001-11500		33847

		11501-12000		35023

		12001-12500		39725

		12501-13000		41066

		13001-13500		41249

		13501-14000		41469

		Above 14000		42031





Chart_Stack

		Under 7000

		7000-7500

		7501-8000

		8001-8500

		8501-9000

		9001-9500

		9501-10000

		10001-10500

		10501-11000

		11001-11500

		11501-12000

		12001-12500

		12501-13000

		13001-13500

		13501-14000

		Above 14000



&LHermiston Power Partnership&CConfidential&R&F  &D

Megawatts

Heat Rate (Btu/kWh, HHV)

Megawatts of Capacity

WSCC Gas Fired Resource Stack by Heat Rate

0

718.6749606264

2497.3723766193

607.57313017

740.5779322565

1869.7096032239

12606.7178560272

9119.993688215

5185.6779898769

501.1345730016

1175.3255571653

4701.9432840918

1340.9665205699

183.5004493297

220.2986039508

561.865146584



Chart_Peak_Prices

		Dates						W.PALOVERDE - PKWeightedAvg

				Month		Year		Palo Verde, West, Megawatt Daily Price Survey				Average of Palo Verde, West, Megawatt Daily Price Survey

		4/1/96		4		1996		12.5				Year		Month		Total				Peak Price		Month		Year				Sum of Peak Price		Year

		4/2/96		4		1996		13.75				1996		4		12.86		Apr-96		12.86		4		1996				Month		1996		1997		1998		1999		2000		2001		2002		2003

		4/3/96		4		1996		15						5		13.98		May-96		13.98		5		1996				1				15.155		22.0951724138		24.0443478261		29.5123076923		36.6		34.428060391		32.5582776753

		4/4/96		4		1996		14						6		14.42		Jun-96		14.42		6		1996				2				13.4207142857		19.94		21.1817391304		31.2784		36.6		34.428060391		32.5582776753

		4/8/96		4		1996		13.75						7		18.58		Jul-96		18.58		7		1996				3				16.5532258065		21.2682758621		21.2014814815		30.9203703704		35.1		32.928060391		31.0582776753

		4/9/96		4		1996		14.75						8		17.41		Aug-96		17.41		8		1996				4		12.8571428571		17.5356666667		25.1876923077		26.7944		36.3284341941		37.25		35.8851521956

		4/10/96		4		1996		13.38						9		21.19		Sep-96		21.19		9		1996				5		13.98		27.8189655172		20.0960714286		28.3748		57.4259846319		37.25		35.8851521956

		4/11/96		4		1996		13.25						10		21.31		Oct-96		21.31		10		1996				6		14.422		24.767		20.67		32.66		45		43.75		41.6351521956

		4/12/96		4		1996		11.13						11		24.31		Nov-96		24.31		11		1996				7		18.5759090909		33.2948387097		42.484		41.7184615385		67		68.375		67.9103811398

		4/15/96		4		1996		12.75						12		24.97		Dec-96		24.97		12		1996				8		17.4104545455		37.6306666667		49.4282758621		42.6857692308		86.25		87.625		87.1603811398

		4/16/96		4		1996		12.75				1997		1		15.16		Jan-97		15.16		1		1997				9		21.193		42.549		41.4330769231		33.3264		71		72.375		71.9103811398

		4/17/96		4		1996		12.75						2		13.42		Feb-97		13.42		2		1997				10		21.3065217391		27.0896551724		27.1789285714		40.9284615385		45.575		43.75		41.731204421

		4/18/96		4		1996		14.5						3		16.55		Mar-97		16.55		3		1997				11		24.3058823529		23.6662068966		27.9239130435		31.77875		38.125		36.25		34.231204421

		4/19/96		4		1996		14.5						4		17.54		Apr-97		17.54		4		1997				12		24.969		22.2242857143		27.978		30.5076		38.125		36.25		34.231204421

		4/22/96		4		1996		11.13						5		27.82		May-97		27.82		5		1997

		4/23/96		4		1996		11.75						6		24.77		Jun-97		24.77		6		1997

		4/24/96		4		1996		12						7		33.29		Jul-97		33.29		7		1997

		4/25/96		4		1996		11.5						8		37.63		Aug-97		37.63		8		1997

		4/26/96		4		1996		11.25						9		42.55		Sep-97		42.55		9		1997

		4/29/96		4		1996		11.63						10		27.09		Oct-97		27.09		10		1997

		4/30/96		4		1996		11.98						11		23.67		Nov-97		23.67		11		1997

		5/1/96		5		1996		14.5						12		22.22		Dec-97		22.22		12		1997

		5/2/96		5		1996		12.75				1998		1		22.10		Jan-98		22.10		1		1998

		5/3/96		5		1996		12						2		19.94		Feb-98		19.94		2		1998

		5/6/96		5		1996		13						3		21.27		Mar-98		21.27		3		1998

		5/7/96		5		1996		13.75						4		25.19		Apr-98		25.19		4		1998

		5/8/96		5		1996		15.25						5		20.10		May-98		20.10		5		1998

		5/9/96		5		1996		15.75						6		20.67		Jun-98		20.67		6		1998

		5/10/96		5		1996		15						7		42.48		Jul-98		42.48		7		1998

		5/13/96		5		1996		17						8		49.43		Aug-98		49.43		8		1998

		5/14/96		5		1996		17.25						9		41.43		Sep-98		41.43		9		1998

		5/15/96		5		1996		17.75						10		27.18		Oct-98		27.18		10		1998

		5/16/96		5		1996		17.63						11		27.92		Nov-98		27.92		11		1998

		5/17/96		5		1996		14.75						12		27.98		Dec-98		27.98		12		1998

		5/20/96		5		1996		14				1999		1		24.04		Jan-99		24.04		1		1999

		5/21/96		5		1996		14.18						2		21.18		Feb-99		21.18		2		1999

		5/22/96		5		1996		12.25						3		21.20		Mar-99		21.20		3		1999

		5/23/96		5		1996		12.3						4		26.79		Apr-99		26.79		4		1999

		5/24/96		5		1996		9						5		28.37		May-99		28.37		5		1999

		5/28/96		5		1996		11.7						6		32.66		Jun-99		32.66		6		1999

		5/29/96		5		1996		12.5						7		41.72		Jul-99		41.72		7		1999

		5/30/96		5		1996		12.5						8		42.69		Aug-99		42.69		8		1999

		5/31/96		5		1996		12.75						9		33.33		Sep-99		33.33		9		1999

		6/3/96		6		1996		15.5						10		40.93		Oct-99		40.93		10		1999

		6/4/96		6		1996		18.25						11		31.78		Nov-99		31.78		11		1999

		6/5/96		6		1996		22.25						12		30.51		Dec-99		30.51		12		1999

		6/6/96		6		1996		22.25				2000		1		29.51		Jan-00		29.51		1		2000

		6/7/96		6		1996		19.1						2		31.28		Feb-00		31.28		2		2000

		6/10/96		6		1996		20						3		30.92		Mar-00		30.92		3		2000

		6/11/96		6		1996		20.5						4		38.12		Apr-00		36.33		4		2000

		6/12/96		6		1996		11.75						5		62.53		May-00		57.43		5		2000

		6/13/96		6		1996		11.63										Jun-00		45		6		2000

		6/14/96		6		1996		11.63										Jul-00		67		7		2000

		6/17/96		6		1996		11.75										Aug-00		86.25		8		2000

		6/18/96		6		1996		11.75										Sep-00		71		9		2000

		6/19/96		6		1996		11.5										Oct-00		45.575		10		2000

		6/20/96		6		1996		11.5										Nov-00		38.125		11		2000

		6/21/96		6		1996		11.5										Dec-00		38.125		12		2000

		6/24/96		6		1996		11.75										Jan-01		36.6		1		2001

		6/25/96		6		1996		11.8										Feb-01		36.6		2		2001

		6/26/96		6		1996		11.53										Mar-01		35.1		3		2001

		6/27/96		6		1996		11.5										Apr-01		37.25		4		2001

		6/28/96		6		1996		11										May-01		37.25		5		2001

		7/1/96		7		1996		16.38										Jun-01		43.75		6		2001

		7/2/96		7		1996		15.25										Jul-01		68.375		7		2001

		7/3/96		7		1996		15.25										Aug-01		87.625		8		2001

		7/5/96		7		1996		14.1										Sep-01		72.375		9		2001

		7/8/96		7		1996		16										Oct-01		43.75		10		2001

		7/9/96		7		1996		15.5										Nov-01		36.25		11		2001

		7/10/96		7		1996		16.13										Dec-01		36.25		12		2001

		7/11/96		7		1996		17										Jan-02		34.428060391		1		2002

		7/12/96		7		1996		14.9										Feb-02		34.428060391		2		2002

		7/15/96		7		1996		16.45										Mar-02		32.928060391		3		2002

		7/16/96		7		1996		16.33										Apr-02		35.8851521956		4		2002

		7/17/96		7		1996		15										May-02		35.8851521956		5		2002

		7/18/96		7		1996		13.25										Jun-02		41.6351521956		6		2002

		7/19/96		7		1996		13.25										Jul-02		67.9103811398		7		2002

		7/22/96		7		1996		16.75										Aug-02		87.1603811398		8		2002

		7/23/96		7		1996		25.5										Sep-02		71.9103811398		9		2002

		7/24/96		7		1996		32.5										Oct-02		41.731204421		10		2002

		7/25/96		7		1996		26.13										Nov-02		34.231204421		11		2002

		7/26/96		7		1996		21										Dec-02		34.231204421		12		2002

		7/29/96		7		1996		27										Jan-03		32.5582776753		1		2003

		7/30/96		7		1996		24.5										Feb-03		32.5582776753		2		2003

		7/31/96		7		1996		20.5										Mar-03		31.0582776753		3		2003

		8/1/96		8		1996		18.5

		8/2/96		8		1996		16.5

		8/5/96		8		1996		12.5

		8/6/96		8		1996		12.25

		8/7/96		8		1996		13.5

		8/8/96		8		1996		17.5

		8/9/96		8		1996		16

		8/12/96		8		1996		17.75

		8/13/96		8		1996		17.5

		8/14/96		8		1996		18.4

		8/15/96		8		1996		17.75

		8/16/96		8		1996		15.5

		8/19/96		8		1996		14.5

		8/20/96		8		1996		14.5

		8/21/96		8		1996		15.8

		8/22/96		8		1996		22.38

		8/23/96		8		1996		20.5

		8/26/96		8		1996		17.45

		8/27/96		8		1996		17.25

		8/28/96		8		1996		17.25

		8/29/96		8		1996		23.25

		8/30/96		8		1996		26.5

		9/3/96		9		1996		27

		9/4/96		9		1996		26.5

		9/5/96		9		1996		24.1

		9/6/96		9		1996		23

		9/9/96		9		1996		24.5

		9/10/96		9		1996		24.5

		9/11/96		9		1996		22.75

		9/12/96		9		1996		21.5

		9/13/96		9		1996		19.5

		9/16/96		9		1996		18.2

		9/17/96		9		1996		17

		9/18/96		9		1996		16.38

		9/19/96		9		1996		16.55

		9/20/96		9		1996		17.63

		9/23/96		9		1996		21

		9/24/96		9		1996		21.25

		9/25/96		9		1996		21

		9/26/96		9		1996		21

		9/27/96		9		1996		20.5

		9/30/96		9		1996		20

		10/1/96		10		1996		21.3

		10/2/96		10		1996		20.25

		10/3/96		10		1996		21.5

		10/4/96		10		1996		20.83

		10/7/96		10		1996		22.9

		10/8/96		10		1996		24.35

		10/9/96		10		1996		24.25

		10/10/96		10		1996		21.13

		10/11/96		10		1996		20.1

		10/14/96		10		1996		20.75

		10/15/96		10		1996		20.5

		10/16/96		10		1996		20.75

		10/17/96		10		1996		20.25

		10/18/96		10		1996		19.55

		10/21/96		10		1996		19.35

		10/22/96		10		1996		19.75

		10/23/96		10		1996		19.9

		10/24/96		10		1996		20.63

		10/25/96		10		1996		19.75

		10/28/96		10		1996		20.13

		10/29/96		10		1996		22.25

		10/30/96		10		1996		25

		10/31/96		10		1996		24.88

		11/1/96		11		1996		24.88

		11/4/96		11		1996		22.75

		11/5/96		11		1996		22.13

		11/6/96		11		1996		24.13

		11/7/96		11		1996		22.8

		11/8/96		11		1996		21.88

		11/12/96		11		1996		21.5

		11/13/96		11		1996		20.5

		11/14/96		11		1996		20.5

		11/18/96		11		1996		21.88

		11/19/96		11		1996		24.25

		11/20/96		11		1996		30.5

		11/21/96		11		1996		23.5

		11/22/96		11		1996		27

		11/25/96		11		1996		29

		11/26/96		11		1996		28

		11/27/96		11		1996		28

		12/2/96		12		1996		25.75

		12/3/96		12		1996		26.63

		12/4/96		12		1996		29

		12/5/96		12		1996		30.75

		12/6/96		12		1996		28

		12/9/96		12		1996		24.9

		12/10/96		12		1996		22.6

		12/11/96		12		1996		22.25

		12/12/96		12		1996		21.25

		12/13/96		12		1996		22.75

		12/16/96		12		1996		25.5

		12/17/96		12		1996		33

		12/18/96		12		1996		51

		12/19/96		12		1996		38.75

		12/20/96		12		1996		26

		12/23/96		12		1996		19.5

		12/26/96		12		1996		12.5

		12/27/96		12		1996		12.75

		12/30/96		12		1996		13.5

		12/31/96		12		1996		13

		1/28/97		1		1997		15.82

		1/29/97		1		1997		15.67

		1/30/97		1		1997		15.35

		1/31/97		1		1997		13.78

		2/1/97		2		1997		11.59

		2/2/97		2		1997		9

		2/3/97		2		1997		11.78

		2/4/97		2		1997		13.17

		2/5/97		2		1997		14.13

		2/6/97		2		1997		13.8

		2/7/97		2		1997		14.53

		2/8/97		2		1997		13.18

		2/9/97		2		1997		10

		2/10/97		2		1997		13.13

		2/11/97		2		1997		13.55

		2/12/97		2		1997		13.42

		2/13/97		2		1997		14.32

		2/14/97		2		1997		15.29

		2/15/97		2		1997		15.35

		2/16/97		2		1997		11

		2/17/97		2		1997		14

		2/18/97		2		1997		14

		2/19/97		2		1997		12.84

		2/20/97		2		1997		13.08

		2/21/97		2		1997		13.45

		2/22/97		2		1997		14.06

		2/23/97		2		1997		10.75

		2/24/97		2		1997		14.27

		2/25/97		2		1997		15.42

		2/26/97		2		1997		16.11

		2/27/97		2		1997		15.46

		2/28/97		2		1997		15.1

		3/1/97		3		1997		14.61

		3/2/97		3		1997		11.43

		3/3/97		3		1997		14.69

		3/4/97		3		1997		15.47

		3/5/97		3		1997		18.67

		3/6/97		3		1997		19.16

		3/7/97		3		1997		17.49

		3/8/97		3		1997		16.05

		3/9/97		3		1997		13.5

		3/10/97		3		1997		16.34

		3/11/97		3		1997		17.11

		3/12/97		3		1997		23.54

		3/13/97		3		1997		21.28

		3/14/97		3		1997		19.68

		3/15/97		3		1997		20.1

		3/16/97		3		1997		15.9

		3/17/97		3		1997		20.35

		3/18/97		3		1997		21.12

		3/19/97		3		1997		20.52

		3/20/97		3		1997		18.18

		3/21/97		3		1997		16.48

		3/22/97		3		1997		12.7

		3/23/97		3		1997		11.63

		3/24/97		3		1997		14.57

		3/25/97		3		1997		14.69

		3/26/97		3		1997		15.12

		3/27/97		3		1997		14.89

		3/28/97		3		1997		14.54

		3/29/97		3		1997		14.42

		3/30/97		3		1997		14.42

		3/31/97		3		1997		14.5

		4/1/97		4		1997		15.35

		4/2/97		4		1997		15.76

		4/3/97		4		1997		16.03

		4/4/97		4		1997		15.96

		4/5/97		4		1997		15

		4/6/97		4		1997		10

		4/7/97		4		1997		15

		4/8/97		4		1997		14.75

		4/9/97		4		1997		15.12

		4/10/97		4		1997		16.4

		4/11/97		4		1997		17.64

		4/12/97		4		1997		18.53

		4/13/97		4		1997		14.5

		4/14/97		4		1997		18.51

		4/15/97		4		1997		19.83

		4/16/97		4		1997		19.83

		4/17/97		4		1997		19.62

		4/18/97		4		1997		20.88

		4/19/97		4		1997		20.1

		4/20/97		4		1997		15.35

		4/21/97		4		1997		20.1

		4/22/97		4		1997		22.94

		4/23/97		4		1997		26.17

		4/24/97		4		1997		23.08

		4/25/97		4		1997		18.66

		4/26/97		4		1997		16.36

		4/27/97		4		1997		12.73

		4/28/97		4		1997		16.36

		4/29/97		4		1997		16.74

		4/30/97		4		1997		18.77

		5/1/97		5		1997		19.68

		5/2/97		5		1997		19.75

		5/3/97		5		1997		20.56

		5/5/97		5		1997		20.56

		5/6/97		5		1997		22.7

		5/7/97		5		1997		23.84

		5/8/97		5		1997		25.5

		5/9/97		5		1997		30.71

		5/10/97		5		1997		26.64

		5/11/97		5		1997		16

		5/12/97		5		1997		26.64

		5/13/97		5		1997		23.75

		5/14/97		5		1997		28

		5/15/97		5		1997		33.09

		5/16/97		5		1997		39.49

		5/17/97		5		1997		44.83

		5/18/97		5		1997		26.5

		5/19/97		5		1997		44.83

		5/20/97		5		1997		39.45

		5/21/97		5		1997		37.18

		5/22/97		5		1997		28.22

		5/23/97		5		1997		20.02

		5/24/97		5		1997		24

		5/25/97		5		1997		15.42

		5/26/97		5		1997		15.42

		5/27/97		5		1997		20.65

		5/28/97		5		1997		37.61

		5/29/97		5		1997		34.65

		5/30/97		5		1997		41.06

		6/1/97		6		1997		23.5

		6/2/97		6		1997		46.29

		6/3/97		6		1997		42.21

		6/4/97		6		1997		29.85

		6/5/97		6		1997		25.24

		6/6/97		6		1997		24.15

		6/7/97		6		1997		21.55

		6/8/97		6		1997		16.63

		6/9/97		6		1997		21.55

		6/10/97		6		1997		23.58

		6/11/97		6		1997		23.51

		6/12/97		6		1997		22.95

		6/13/97		6		1997		21.47

		6/14/97		6		1997		19.08

		6/15/97		6		1997		13.14

		6/16/97		6		1997		19.08

		6/17/97		6		1997		22.18

		6/18/97		6		1997		25.23

		6/19/97		6		1997		29.52

		6/20/97		6		1997		34.88

		6/21/97		6		1997		26.4

		6/22/97		6		1997		19

		6/23/97		6		1997		26.4

		6/24/97		6		1997		27.26

		6/25/97		6		1997		27.28

		6/26/97		6		1997		27.28

		6/27/97		6		1997		25

		6/28/97		6		1997		22.1

		6/29/97		6		1997		14.6

		6/30/97		6		1997		22.1

		7/1/97		7		1997		31.77

		7/2/97		7		1997		32.3

		7/3/97		7		1997		29.58

		7/4/97		7		1997		27.73

		7/5/97		7		1997		27.73

		7/6/97		7		1997		20.44

		7/7/97		7		1997		27.73

		7/8/97		7		1997		34.15

		7/9/97		7		1997		39.42

		7/10/97		7		1997		40.7

		7/11/97		7		1997		41.76

		7/12/97		7		1997		27.73

		7/13/97		7		1997		21.67

		7/14/97		7		1997		30.7

		7/15/97		7		1997		38.45

		7/16/97		7		1997		41.4

		7/17/97		7		1997		48.24

		7/18/97		7		1997		50.29

		7/19/97		7		1997		41.43

		7/20/97		7		1997		20.29

		7/21/97		7		1997		41.58

		7/22/97		7		1997		39.35

		7/23/97		7		1997		30.41

		7/24/97		7		1997		28.15

		7/25/97		7		1997		30.76

		7/26/97		7		1997		29.91

		7/27/97		7		1997		21.71

		7/28/97		7		1997		29.91

		7/29/97		7		1997		38.48

		7/30/97		7		1997		35.45

		7/31/97		7		1997		32.92

		8/1/97		8		1997		32.11

		8/2/97		8		1997		28.83

		8/4/97		8		1997		28.83

		8/5/97		8		1997		41.24

		8/6/97		8		1997		63.97

		8/7/97		8		1997		113.71

		8/8/97		8		1997		52.67

		8/9/97		8		1997		40.04

		8/10/97		8		1997		25.5

		8/11/97		8		1997		40.04

		8/12/97		8		1997		43.38

		8/13/97		8		1997		41.03

		8/14/97		8		1997		31.75

		8/15/97		8		1997		29.42

		8/16/97		8		1997		26.35

		8/17/97		8		1997		25.5

		8/18/97		8		1997		26.35

		8/19/97		8		1997		29.41

		8/20/97		8		1997		27.98

		8/21/97		8		1997		35.78

		8/22/97		8		1997		37

		8/23/97		8		1997		31.78

		8/24/97		8		1997		18.67

		8/25/97		8		1997		32.58

		8/26/97		8		1997		48.85

		8/27/97		8		1997		47.32

		8/28/97		8		1997		44.21

		8/29/97		8		1997		31.61

		8/30/97		8		1997		31.31

		8/31/97		8		1997		21.7

		9/1/97		9		1997		21.7

		9/2/97		9		1997		36.45

		9/3/97		9		1997		36.42

		9/4/97		9		1997		39.93

		9/5/97		9		1997		40.27

		9/6/97		9		1997		55.74

		9/7/97		9		1997		27

		9/8/97		9		1997		53.89

		9/9/97		9		1997		94.49

		9/10/97		9		1997		83.87

		9/11/97		9		1997		55.35

		9/12/97		9		1997		79.57

		9/13/97		9		1997		43.53

		9/14/97		9		1997		27.3

		9/15/97		9		1997		43.53

		9/16/97		9		1997		37.45

		9/17/97		9		1997		36.17

		9/18/97		9		1997		37.38

		9/19/97		9		1997		36.08

		9/20/97		9		1997		36.77

		9/21/97		9		1997		30.33

		9/22/97		9		1997		36.77

		9/23/97		9		1997		39.85

		9/24/97		9		1997		35.15

		9/25/97		9		1997		34.01

		9/26/97		9		1997		34.8

		9/27/97		9		1997		35.18

		9/28/97		9		1997		28

		9/29/97		9		1997		35.18

		9/30/97		9		1997		44.31

		10/1/97		10		1997		39.65

		10/2/97		10		1997		33.12

		10/3/97		10		1997		34.94

		10/4/97		10		1997		36.99

		10/6/97		10		1997		36.99

		10/7/97		10		1997		28.53

		10/8/97		10		1997		28.15

		10/9/97		10		1997		23.26

		10/10/97		10		1997		18.78

		10/11/97		10		1997		36.99

		10/12/97		10		1997		17.33

		10/13/97		10		1997		18.95

		10/14/97		10		1997		18.95

		10/15/97		10		1997		19.75

		10/16/97		10		1997		21.37

		10/17/97		10		1997		22.85

		10/18/97		10		1997		18.05

		10/19/97		10		1997		15.5

		10/20/97		10		1997		18.58

		10/21/97		10		1997		20.94

		10/22/97		10		1997		21.22

		10/23/97		10		1997		21.22

		10/24/97		10		1997		37.67

		10/25/97		10		1997		37.67

		10/27/97		10		1997		29.39

		10/28/97		10		1997		34.36

		10/29/97		10		1997		34.36

		10/30/97		10		1997		33.88

		10/31/97		10		1997		26.16

		11/1/97		11		1997		24.59

		11/3/97		11		1997		24.59

		11/4/97		11		1997		26.97

		11/5/97		11		1997		25.11

		11/6/97		11		1997		23.37

		11/7/97		11		1997		24.77

		11/8/97		11		1997		24.77

		11/9/97		11		1997		20

		11/10/97		11		1997		24.55

		11/11/97		11		1997		23.67

		11/12/97		11		1997		23.67

		11/13/97		11		1997		24.26

		11/14/97		11		1997		25.65

		11/15/97		11		1997		25.65

		11/16/97		11		1997		20

		11/17/97		11		1997		25.7

		11/18/97		11		1997		26.13

		11/19/97		11		1997		26.69

		11/20/97		11		1997		26.73

		11/21/97		11		1997		24.07

		11/22/97		11		1997		24.14

		11/23/97		11		1997		18.92

		11/24/97		11		1997		24.84

		11/25/97		11		1997		24.78

		11/26/97		11		1997		20.54

		11/27/97		11		1997		20.54

		11/28/97		11		1997		20.54

		11/29/97		11		1997		20.54

		11/30/97		11		1997		20.54

		12/1/97		12		1997		22.91

		12/2/97		12		1997		21.64

		12/3/97		12		1997		22.45

		12/4/97		12		1997		22.4

		12/5/97		12		1997		21.79

		12/6/97		12		1997		21.83

		12/7/97		12		1997		18.69

		12/8/97		12		1997		21.83

		12/9/97		12		1997		21.8

		12/10/97		12		1997		22.04

		12/11/97		12		1997		23.27

		12/12/97		12		1997		23.6

		12/13/97		12		1997		23.58

		12/15/97		12		1997		23.91

		12/16/97		12		1997		22.68

		12/17/97		12		1997		22.51

		12/18/97		12		1997		21.98

		12/19/97		12		1997		22.35

		12/20/97		12		1997		22.34

		12/21/97		12		1997		20.88

		12/22/97		12		1997		23.81

		12/23/97		12		1997		23.04

		12/24/97		12		1997		21.43

		12/26/97		12		1997		21.7

		12/28/97		12		1997		21.45

		12/29/97		12		1997		21.7

		12/30/97		12		1997		22.41

		12/31/97		12		1997		22.26

		1/2/98		1		1998		22.71

		1/3/98		1		1998		22.33

		1/5/98		1		1998		22.71

		1/6/98		1		1998		23.89

		1/7/98		1		1998		27.16

		1/8/98		1		1998		28.46

		1/9/98		1		1998		27.52

		1/10/98		1		1998		27.52

		1/11/98		1		1998		25.2

		1/12/98		1		1998		28.7

		1/13/98		1		1998		28.95

		1/14/98		1		1998		25.16

		1/15/98		1		1998		22.97

		1/16/98		1		1998		21.11

		1/17/98		1		1998		21.14

		1/18/98		1		1998		19.5

		1/19/98		1		1998		22.32

		1/20/98		1		1998		22.2

		1/21/98		1		1998		21.43

		1/22/98		1		1998		19.27

		1/23/98		1		1998		18.55

		1/24/98		1		1998		18.59

		1/25/98		1		1998		19

		1/26/98		1		1998		19.72

		1/27/98		1		1998		18.35

		1/28/98		1		1998		18.19

		1/29/98		1		1998		17.05

		1/30/98		1		1998		15.06

		1/31/98		1		1998		16

		2/2/98		2		1998		19.66

		2/3/98		2		1998		22.41

		2/4/98		2		1998		20.68

		2/5/98		2		1998		21.1

		2/6/98		2		1998		18.16

		2/7/98		2		1998		18.17

		2/8/98		2		1998		15

		2/9/98		2		1998		21.37

		2/10/98		2		1998		21.52

		2/11/98		2		1998		22.5

		2/12/98		2		1998		24.29

		2/13/98		2		1998		18.1

		2/14/98		2		1998		18.08

		2/15/98		2		1998		18.08

		2/16/98		2		1998		20.81

		2/18/98		2		1998		21.88

		2/19/98		2		1998		20.34

		2/20/98		2		1998		16.82

		2/21/98		2		1998		16.83

		2/23/98		2		1998		18.35

		2/24/98		2		1998		23.47

		2/25/98		2		1998		22.38

		2/26/98		2		1998		20.84

		2/27/98		2		1998		18.84

		2/28/98		2		1998		18.82

		3/1/98		3		1998		14.5

		3/2/98		3		1998		22.16

		3/3/98		3		1998		22.42

		3/4/98		3		1998		20.82

		3/5/98		3		1998		23.5

		3/6/98		3		1998		19.07

		3/7/98		3		1998		19.13

		3/8/98		3		1998		15.44

		3/9/98		3		1998		19

		3/10/98		3		1998		19.4

		3/11/98		3		1998		20.96

		3/12/98		3		1998		20.13

		3/13/98		3		1998		18.99

		3/14/98		3		1998		18.99

		3/16/98		3		1998		21.24

		3/17/98		3		1998		22.24

		3/18/98		3		1998		23.51

		3/19/98		3		1998		24.05

		3/20/98		3		1998		23.5

		3/21/98		3		1998		23.51

		3/22/98		3		1998		18

		3/23/98		3		1998		24.68

		3/24/98		3		1998		23.82

		3/25/98		3		1998		22.32

		3/26/98		3		1998		25.4

		3/27/98		3		1998		22.79

		3/28/98		3		1998		22.79

		3/30/98		3		1998		21.62

		3/31/98		3		1998		22.8

		4/1/98		4		1998		23.97

		4/2/98		4		1998		23.83

		4/3/98		4		1998		22.95

		4/4/98		4		1998		22.92

		4/5/98		4		1998		18

		4/6/98		4		1998		24.13

		4/7/98		4		1998		24.37

		4/8/98		4		1998		24

		4/9/98		4		1998		24.05

		4/11/98		4		1998		23.39

		4/14/98		4		1998		24.93

		4/15/98		4		1998		23.59

		4/16/98		4		1998		24.85

		4/17/98		4		1998		28.88

		4/18/98		4		1998		24.85

		4/20/98		4		1998		29.33

		4/21/98		4		1998		30.6

		4/22/98		4		1998		29.51

		4/23/98		4		1998		26.69

		4/24/98		4		1998		25.77

		4/25/98		4		1998		25.77

		4/26/98		4		1998		20

		4/27/98		4		1998		26.78

		4/28/98		4		1998		27.08

		4/29/98		4		1998		27.99

		4/30/98		4		1998		26.65

		5/1/98		5		1998		24.7

		5/2/98		5		1998		24.7

		5/3/98		5		1998		19.25

		5/4/98		5		1998		23.89

		5/5/98		5		1998		21.62

		5/6/98		5		1998		22.41

		5/7/98		5		1998		22.33

		5/8/98		5		1998		18.22

		5/9/98		5		1998		18.28

		5/10/98		5		1998		17.5

		5/11/98		5		1998		23.81

		5/12/98		5		1998		20.3

		5/13/98		5		1998		19.84

		5/14/98		5		1998		17.47

		5/15/98		5		1998		16.39

		5/16/98		5		1998		17.82

		5/17/98		5		1998		8

		5/18/98		5		1998		22.07

		5/19/98		5		1998		20.48

		5/20/98		5		1998		25.22

		5/21/98		5		1998		26.8

		5/22/98		5		1998		16.67

		5/23/98		5		1998		16.67

		5/26/98		5		1998		21.54

		5/27/98		5		1998		21.22

		5/28/98		5		1998		20.93

		5/29/98		5		1998		20.93

		5/30/98		5		1998		13.63

		6/1/98		6		1998		24.64

		6/2/98		6		1998		26.63

		6/3/98		6		1998		25.43

		6/4/98		6		1998		22.59

		6/5/98		6		1998		15.55

		6/6/98		6		1998		15.55

		6/8/98		6		1998		19.89

		6/9/98		6		1998		17.66

		6/10/98		6		1998		14.72

		6/11/98		6		1998		12.43

		6/12/98		6		1998		9.99

		6/13/98		6		1998		9.99

		6/15/98		6		1998		18.61

		6/16/98		6		1998		20.28

		6/17/98		6		1998		23.98

		6/18/98		6		1998		23.84

		6/19/98		6		1998		20.16

		6/20/98		6		1998		20.16

		6/21/98		6		1998		18.31

		6/22/98		6		1998		27.97

		6/23/98		6		1998		26.53

		6/24/98		6		1998		25.24

		6/25/98		6		1998		25.2

		6/26/98		6		1998		19.67

		6/27/98		6		1998		19.67

		6/29/98		6		1998		25.76

		6/30/98		6		1998		27.64

		7/1/98		7		1998		41.31

		7/2/98		7		1998		34.78

		7/4/98		7		1998		34.78

		7/6/98		7		1998		35.54

		7/7/98		7		1998		35.55

		7/8/98		7		1998		34.4

		7/9/98		7		1998		39.16

		7/10/98		7		1998		32.64

		7/13/98		7		1998		38.76

		7/14/98		7		1998		50.14

		7/15/98		7		1998		56.79

		7/16/98		7		1998		49.03

		7/17/98		7		1998		48.12

		7/18/98		7		1998		48.12

		7/20/98		7		1998		63.61

		7/21/98		7		1998		61.8

		7/22/98		7		1998		44.47

		7/23/98		7		1998		33.66

		7/24/98		7		1998		26.31

		7/25/98		7		1998		26.31

		7/27/98		7		1998		36.3

		7/28/98		7		1998		50.93

		7/29/98		7		1998		57.71

		7/30/98		7		1998		40.94

		7/31/98		7		1998		40.94

		8/1/98		8		1998		35.74

		8/2/98		8		1998		35

		8/3/98		8		1998		56.46

		8/4/98		8		1998		69.1

		8/5/98		8		1998		53.31

		8/6/98		8		1998		73.66

		8/7/98		8		1998		60.75

		8/8/98		8		1998		60.75

		8/10/98		8		1998		52.22

		8/11/98		8		1998		48.7

		8/12/98		8		1998		55.12

		8/13/98		8		1998		57.13

		8/14/98		8		1998		59.57

		8/15/98		8		1998		59.57

		8/16/98		8		1998		34

		8/17/98		8		1998		53.57

		8/18/98		8		1998		38.42

		8/19/98		8		1998		36.37

		8/20/98		8		1998		37.37

		8/21/98		8		1998		34.09

		8/22/98		8		1998		34.09

		8/24/98		8		1998		43.41

		8/25/98		8		1998		47.35

		8/26/98		8		1998		64.57

		8/27/98		8		1998		57.72

		8/28/98		8		1998		42.86

		8/29/98		8		1998		40.91

		8/30/98		8		1998		34

		8/31/98		8		1998		57.61

		9/1/98		9		1998		92.31

		9/2/98		9		1998		92.76

		9/3/98		9		1998		92.85

		9/4/98		9		1998		92.85

		9/5/98		9		1998		55.85

		9/8/98		9		1998		54.94

		9/9/98		9		1998		41.24

		9/10/98		9		1998		39.71

		9/11/98		9		1998		32.41

		9/12/98		9		1998		32.23

		9/13/98		9		1998		28

		9/14/98		9		1998		34.06

		9/15/98		9		1998		32.75

		9/16/98		9		1998		29.63

		9/17/98		9		1998		28.93

		9/18/98		9		1998		26.54

		9/19/98		9		1998		26.12

		9/21/98		9		1998		30.49

		9/22/98		9		1998		31.09

		9/23/98		9		1998		28.47

		9/24/98		9		1998		27.59

		9/25/98		9		1998		25.09

		9/26/98		9		1998		24.59

		9/28/98		9		1998		26.18

		9/29/98		9		1998		25.08

		9/30/98		9		1998		25.5

		10/1/98		10		1998		25.3

		10/2/98		10		1998		25.39

		10/3/98		10		1998		25.39

		10/5/98		10		1998		25.84

		10/6/98		10		1998		25.83

		10/7/98		10		1998		26.75

		10/8/98		10		1998		27.15

		10/9/98		10		1998		25.65

		10/10/98		10		1998		24.96

		10/11/98		10		1998		23.5

		10/12/98		10		1998		26.64

		10/13/98		10		1998		26.11

		10/14/98		10		1998		25.77

		10/15/98		10		1998		27.7

		10/16/98		10		1998		27.7

		10/17/98		10		1998		26.18

		10/19/98		10		1998		27.78

		10/20/98		10		1998		27.78

		10/21/98		10		1998		28.06

		10/22/98		10		1998		28.06

		10/23/98		10		1998		28.77

		10/24/98		10		1998		32.23

		10/26/98		10		1998		28.47

		10/27/98		10		1998		29.15

		10/28/98		10		1998		29.95

		10/29/98		10		1998		29.77

		10/30/98		10		1998		27.67

		10/31/98		10		1998		27.46

		11/2/98		11		1998		24.83

		11/3/98		11		1998		27.66

		11/4/98		11		1998		28.82

		11/5/98		11		1998		28.94

		11/6/98		11		1998		26.56

		11/7/98		11		1998		26.51

		11/9/98		11		1998		29.89

		11/10/98		11		1998		28.25

		11/11/98		11		1998		29.06

		11/12/98		11		1998		29.06

		11/13/98		11		1998		27.42

		11/14/98		11		1998		27.38

		11/16/98		11		1998		29.88

		11/17/98		11		1998		30.55

		11/18/98		11		1998		29.01

		11/19/98		11		1998		27.4

		11/20/98		11		1998		26.03

		11/21/98		11		1998		25.94

		11/23/98		11		1998		28.05

		11/24/98		11		1998		29.07

		11/25/98		11		1998		29.07

		11/28/98		11		1998		25.72

		11/30/98		11		1998		27.15

		12/1/98		12		1998		27.42

		12/2/98		12		1998		27.74

		12/3/98		12		1998		26.68

		12/4/98		12		1998		23.23

		12/5/98		12		1998		23.23

		12/7/98		12		1998		26.6

		12/8/98		12		1998		28.84

		12/9/98		12		1998		28.38

		12/10/98		12		1998		27.97

		12/11/98		12		1998		26.16

		12/12/98		12		1998		25.45

		12/14/98		12		1998		26.92

		12/15/98		12		1998		25.18

		12/16/98		12		1998		23.75

		12/17/98		12		1998		24.26

		12/18/98		12		1998		27.39

		12/19/98		12		1998		27.39

		12/21/98		12		1998		33.34

		12/22/98		12		1998		44.66

		12/23/98		12		1998		44.66

		12/26/98		12		1998		29.62

		12/28/98		12		1998		27.5

		12/29/98		12		1998		24.36

		12/30/98		12		1998		24.36

		12/31/98		12		1998		24.36

		1/2/99		1		1999		18.61

		1/4/99		1		1999		21.53

		1/5/99		1		1999		26.27

		1/6/99		1		1999		27.39

		1/7/99		1		1999		27.36

		1/8/99		1		1999		24.62

		1/9/99		1		1999		24.62

		1/11/99		1		1999		27.24

		1/12/99		1		1999		28.09

		1/13/99		1		1999		27.21

		1/14/99		1		1999		27.6

		1/15/99		1		1999		24.59

		1/19/99		1		1999		25.56

		1/20/99		1		1999		24.56

		1/21/99		1		1999		23.44

		1/22/99		1		1999		21.48

		1/23/99		1		1999		21.48

		1/25/99		1		1999		23.83

		1/26/99		1		1999		23.05

		1/27/99		1		1999		22.25

		1/28/99		1		1999		22.11

		1/29/99		1		1999		22.11

		1/30/99		1		1999		18.02

		2/1/99		2		1999		22.33

		2/2/99		2		1999		21.12

		2/3/99		2		1999		21.31

		2/4/99		2		1999		21.81

		2/5/99		2		1999		20.67

		2/6/99		2		1999		20.7

		2/8/99		2		1999		22.68

		2/9/99		2		1999		22.27

		2/10/99		2		1999		22.69

		2/11/99		2		1999		22.74

		2/12/99		2		1999		20.97

		2/13/99		2		1999		20.97

		2/16/99		2		1999		22.38

		2/17/99		2		1999		21.53

		2/18/99		2		1999		20.72

		2/19/99		2		1999		19.22

		2/20/99		2		1999		19.22

		2/22/99		2		1999		20.88

		2/23/99		2		1999		20.83

		2/24/99		2		1999		21.68

		2/25/99		2		1999		21.34

		2/26/99		2		1999		21.34

		2/27/99		2		1999		17.78

		3/1/99		3		1999		20.66

		3/2/99		3		1999		19.49

		3/3/99		3		1999		19.64

		3/4/99		3		1999		20.24

		3/5/99		3		1999		18.5

		3/6/99		3		1999		18.45

		3/8/99		3		1999		19.89

		3/9/99		3		1999		20.71

		3/10/99		3		1999		21.03

		3/11/99		3		1999		21.75

		3/12/99		3		1999		22.03

		3/13/99		3		1999		21.92

		3/15/99		3		1999		22.91

		3/16/99		3		1999		20.76

		3/17/99		3		1999		21.56

		3/18/99		3		1999		21.99

		3/19/99		3		1999		20.88

		3/20/99		3		1999		20.83

		3/22/99		3		1999		21.83

		3/23/99		3		1999		22.88

		3/24/99		3		1999		21.75

		3/25/99		3		1999		21.11

		3/26/99		3		1999		20.03

		3/27/99		3		1999		20.02

		3/29/99		3		1999		22.96

		3/30/99		3		1999		24.33

		3/31/99		3		1999		24.29

		4/1/99		4		1999		25.34

		4/3/99		4		1999		23.2

		4/5/99		4		1999		23.25

		4/6/99		4		1999		26.28

		4/7/99		4		1999		26.18

		4/8/99		4		1999		26.45

		4/9/99		4		1999		25.52

		4/10/99		4		1999		25.52

		4/12/99		4		1999		28.67

		4/13/99		4		1999		25.01

		4/14/99		4		1999		25.01

		4/15/99		4		1999		25.01

		4/16/99		4		1999		27.46

		4/17/99		4		1999		27.43

		4/19/99		4		1999		29.09

		4/20/99		4		1999		37.28

		4/21/99		4		1999		33.03

		4/22/99		4		1999		31.25

		4/23/99		4		1999		22.99

		4/24/99		4		1999		22.99

		4/26/99		4		1999		26.28

		4/27/99		4		1999		26.47

		4/28/99		4		1999		26.79

		4/29/99		4		1999		27.04

		4/30/99		4		1999		26.32

		5/1/99		5		1999		23.2

		5/3/99		5		1999		26.5

		5/4/99		5		1999		25.95

		5/5/99		5		1999		26.62

		5/6/99		5		1999		28.37

		5/7/99		5		1999		27.4

		5/8/99		5		1999		27.4

		5/10/99		5		1999		28.35

		5/11/99		5		1999		25.11

		5/12/99		5		1999		26.59

		5/13/99		5		1999		28.35

		5/14/99		5		1999		27.39

		5/15/99		5		1999		27.39

		5/17/99		5		1999		28.65

		5/18/99		5		1999		30.14

		5/19/99		5		1999		31.21

		5/20/99		5		1999		30.58

		5/21/99		5		1999		27.38

		5/22/99		5		1999		27.38

		5/24/99		5		1999		28.36

		5/25/99		5		1999		33.43

		5/26/99		5		1999		33.71

		5/27/99		5		1999		29.97

		5/28/99		5		1999		29.97

		5/29/99		5		1999		29.97

		6/1/99		6		1999		29.38

		6/2/99		6		1999		25.05

		6/3/99		6		1999		23.3

		6/4/99		6		1999		21.25

		6/5/99		6		1999		21.25

		6/7/99		6		1999		26.53

		6/8/99		6		1999		25.35

		6/9/99		6		1999		30.28

		6/10/99		6		1999		30.19

		6/11/99		6		1999		26.56

		6/12/99		6		1999		26.42

		6/14/99		6		1999		35.97

		6/15/99		6		1999		42.06

		6/16/99		6		1999		35.31

		6/17/99		6		1999		32.26

		6/18/99		6		1999		29.75

		6/19/99		6		1999		29.06

		6/21/99		6		1999		49.41

		6/22/99		6		1999		37.74

		6/23/99		6		1999		36.67

		6/24/99		6		1999		32.59

		6/25/99		6		1999		30.79

		6/26/99		6		1999		30.41

		6/28/99		6		1999		37.79

		6/29/99		6		1999		47.9

		6/30/99		6		1999		55.89

		7/1/99		7		1999		69.85

		7/2/99		7		1999		69.85

		7/3/99		7		1999		34.5

		7/6/99		7		1999		56.2

		7/7/99		7		1999		45.04

		7/8/99		7		1999		44.79

		7/9/99		7		1999		34.35

		7/10/99		7		1999		34.24

		7/12/99		7		1999		51.07

		7/13/99		7		1999		59.29

		7/14/99		7		1999		62.34

		7/15/99		7		1999		54.04

		7/16/99		7		1999		32.33

		7/17/99		7		1999		32.3

		7/19/99		7		1999		42.95

		7/20/99		7		1999		34.5

		7/21/99		7		1999		32.97

		7/22/99		7		1999		32.74

		7/23/99		7		1999		27.01

		7/24/99		7		1999		26.97

		7/26/99		7		1999		42.17

		7/27/99		7		1999		33.18

		7/28/99		7		1999		35.71

		7/29/99		7		1999		36.49

		7/30/99		7		1999		29.9

		7/31/99		7		1999		29.9

		8/2/99		8		1999		39.72

		8/3/99		8		1999		38.52

		8/4/99		8		1999		37.15

		8/5/99		8		1999		39.93

		8/6/99		8		1999		33.33

		8/7/99		8		1999		33.33

		8/9/99		8		1999		38.45

		8/10/99		8		1999		33.86

		8/11/99		8		1999		33.74

		8/12/99		8		1999		33.36

		8/13/99		8		1999		30.04

		8/14/99		8		1999		30.04

		8/16/99		8		1999		37.6

		8/17/99		8		1999		38.18

		8/18/99		8		1999		37.61

		8/19/99		8		1999		38.25

		8/20/99		8		1999		33.83

		8/21/99		8		1999		33.83

		8/23/99		8		1999		40.94

		8/24/99		8		1999		50.04

		8/25/99		8		1999		68.91

		8/26/99		8		1999		76.13

		8/27/99		8		1999		67.38

		8/28/99		8		1999		66.11

		8/30/99		8		1999		59.66

		8/31/99		8		1999		39.89

		9/1/99		9		1999		32.53

		9/2/99		9		1999		32.44

		9/3/99		9		1999		32.44

		9/4/99		9		1999		28.09

		9/7/99		9		1999		33.47

		9/8/99		9		1999		36.04

		9/9/99		9		1999		33.74

		9/10/99		9		1999		33.13

		9/11/99		9		1999		33.13

		9/13/99		9		1999		35.5

		9/14/99		9		1999		32.89

		9/15/99		9		1999		34.1

		9/16/99		9		1999		34

		9/17/99		9		1999		30.9

		9/18/99		9		1999		30.9

		9/20/99		9		1999		32.44

		9/21/99		9		1999		32.51

		9/22/99		9		1999		29.56

		9/23/99		9		1999		31.06

		9/24/99		9		1999		32.09

		9/25/99		9		1999		32.09

		9/27/99		9		1999		35.53

		9/28/99		9		1999		35.3

		9/29/99		9		1999		46.43

		9/30/99		9		1999		32.85

		10/1/99		10		1999		32.21

		10/2/99		10		1999		32.66

		10/4/99		10		1999		34.31

		10/5/99		10		1999		36.34

		10/6/99		10		1999		35.82

		10/7/99		10		1999		36.68

		10/8/99		10		1999		35.96

		10/9/99		10		1999		35.96

		10/11/99		10		1999		36.14

		10/12/99		10		1999		37.14

		10/13/99		10		1999		56.65

		10/14/99		10		1999		63.9

		10/15/99		10		1999		48.31

		10/16/99		10		1999		48.31

		10/18/99		10		1999		45.33

		10/19/99		10		1999		36.46

		10/20/99		10		1999		36.46

		10/21/99		10		1999		36.46

		10/22/99		10		1999		38.14

		10/23/99		10		1999		38.14

		10/25/99		10		1999		41.5

		10/26/99		10		1999		44.57

		10/27/99		10		1999		47.73

		10/28/99		10		1999		47.73

		10/29/99		10		1999		47.73

		10/30/99		10		1999		33.5

		11/1/99		11		1999		34.14

		11/2/99		11		1999		41.99

		11/3/99		11		1999		31.8

		11/4/99		11		1999		32.43

		11/5/99		11		1999		37.5

		11/6/99		11		1999		37.5

		11/8/99		11		1999		33.98

		11/9/99		11		1999		35.22

		11/10/99		11		1999		34.58

		11/11/99		11		1999		34.58

		11/12/99		11		1999		30.18

		11/13/99		11		1999		30.18

		11/15/99		11		1999		30.75

		11/16/99		11		1999		30.64

		11/17/99		11		1999		29.05

		11/18/99		11		1999		28.29

		11/19/99		11		1999		24.28

		11/20/99		11		1999		24.28

		11/22/99		11		1999		29.88

		11/23/99		11		1999		34.61

		11/24/99		11		1999		34.61

		11/27/99		11		1999		24.34

		11/29/99		11		1999		28.52

		11/30/99		11		1999		29.36

		12/1/99		12		1999		33

		12/2/99		12		1999		32.3

		12/3/99		12		1999		27.78

		12/4/99		12		1999		27.78

		12/6/99		12		1999		31.02

		12/7/99		12		1999		31.22

		12/8/99		12		1999		32.38

		12/9/99		12		1999		33.54

		12/10/99		12		1999		29.2

		12/11/99		12		1999		29.2

		12/13/99		12		1999		35.48

		12/14/99		12		1999		32.1

		12/15/99		12		1999		31.23

		12/16/99		12		1999		31.01

		12/17/99		12		1999		30.02

		12/18/99		12		1999		30.02

		12/20/99		12		1999		30.25

		12/21/99		12		1999		30.78

		12/22/99		12		1999		28.96

		12/23/99		12		1999		28.96

		12/25/99		12		1999		26.54

		12/27/99		12		1999		29.34

		12/28/99		12		1999		32.54

		12/29/99		12		1999		29.02

		12/30/99		12		1999		29.02

		1/1/00		1		2000		26

		1/3/00		1		2000		33.53

		1/4/00		1		2000		32.69

		1/5/00		1		2000		31.41

		1/6/00		1		2000		29.17

		1/7/00		1		2000		28.02

		1/8/00		1		2000		27.93

		1/10/00		1		2000		34.09

		1/11/00		1		2000		34.25

		1/12/00		1		2000		31.25

		1/13/00		1		2000		32.42

		1/14/00		1		2000		32.42

		1/15/00		1		2000		27.33

		1/17/00		1		2000		26.72

		1/18/00		1		2000		26.72

		1/19/00		1		2000		28.42

		1/20/00		1		2000		28

		1/21/00		1		2000		26.5

		1/22/00		1		2000		26.5

		1/24/00		1		2000		28.82

		1/25/00		1		2000		28.66

		1/26/00		1		2000		29.03

		1/27/00		1		2000		28.64

		1/28/00		1		2000		29.03

		1/29/00		1		2000		29.03

		1/31/00		1		2000		30.74

		2/1/00		2		2000		31.7

		2/2/00		2		2000		31.76

		2/3/00		2		2000		31.96

		2/4/00		2		2000		30.4

		2/5/00		2		2000		30.4

		2/7/00		2		2000		32.33

		2/8/00		2		2000		31.58

		2/9/00		2		2000		29.94

		2/10/00		2		2000		30.65

		2/11/00		2		2000		30.27

		2/12/00		2		2000		30.27

		2/14/00		2		2000		32.41

		2/15/00		2		2000		33.04

		2/16/00		2		2000		33.84

		2/17/00		2		2000		33.16

		2/18/00		2		2000		33.16

		2/19/00		2		2000		30.71

		2/21/00		2		2000		32.47

		2/22/00		2		2000		32.47

		2/23/00		2		2000		30.94

		2/24/00		2		2000		29.64

		2/25/00		2		2000		29.35

		2/26/00		2		2000		29.35

		2/28/00		2		2000		30

		2/29/00		2		2000		30.16

		3/1/00		3		2000		30.3

		3/2/00		3		2000		29.46

		3/3/00		3		2000		29.33

		3/4/00		3		2000		29.33

		3/6/00		3		2000		30.18

		3/7/00		3		2000		30.47

		3/8/00		3		2000		31.64

		3/9/00		3		2000		32.68

		3/10/00		3		2000		29.57

		3/11/00		3		2000		29.57

		3/13/00		3		2000		30.38

		3/14/00		3		2000		24.81

		3/15/00		3		2000		30.6

		3/16/00		3		2000		32.16

		3/17/00		3		2000		29.97

		3/18/00		3		2000		29.97

		3/20/00		3		2000		32.23

		3/21/00		3		2000		29.94

		3/22/00		3		2000		31.81

		3/23/00		3		2000		33.61

		3/24/00		3		2000		31.05

		3/25/00		3		2000		31.05

		3/27/00		3		2000		32.06

		3/28/00		3		2000		33.11

		3/29/00		3		2000		32.65

		3/30/00		3		2000		33.46

		3/31/00		3		2000		33.46

		4/1/00		4		2000		33.4

		4/3/00		4		2000		34.99

		4/4/00		4		2000		34.25

		4/5/00		4		2000		32.22

		4/6/00		4		2000		34.74

		4/7/00		4		2000		34.55

		4/8/00		4		2000		34.55

		4/10/00		4		2000		40.3

		4/11/00		4		2000		33.85

		4/12/00		4		2000		33.85

		4/13/00		4		2000		33.85

		4/14/00		4		2000		32.97

		4/15/00		4		2000		32.97

		4/17/00		4		2000		35.86

		4/18/00		4		2000		33.69

		4/19/00		4		2000		34.38

		4/20/00		4		2000		34.16

		4/21/00		4		2000		33.88

		4/22/00		4		2000		33.88

		4/24/00		4		2000		35.22

		4/25/00		4		2000		34.83

		4/26/00		4		2000		47.37

		4/27/00		4		2000		67.79

		4/28/00		4		2000		67.79

		4/29/00		4		2000		47.64

		5/1/00		5		2000		40.25

		5/2/00		5		2000		114.41

		5/3/00		5		2000		76.74

		5/4/00		5		2000		80.2

		5/5/00		5		2000		52.49

		5/6/00		5		2000		52.49

		5/8/00		5		2000		76.93

		5/9/00		5		2000		52.91

		5/10/00		5		2000		51

		5/11/00		5		2000		49.65

		5/12/00		5		2000		40.71

		Sum						34,731.60

		Average						27.7631

		Average (+)						27.7631

		Average (-)						NaN

		Percent (+)						100

		Percent (-)						0

		Maximum						114.41

		Minimum						8

		Std Deviation						12.1365

		Zstat						2.2876

		Variance						147.2956

		Last						40.71



Given from Henwood Energy Services report

Given from Henwood Energy Services report

Given from Henwood Energy Services report

Given from Henwood Energy Services report

Product of heat rate and fuel cost, converted to mills/kwh.

Given from Henwood Energy Services report

sum of fuel and variable O&M cost

Given from Henwood Energy Services report

&R[File]

LV Cogen

Megawatts

Cumulative Megawatts

Heat Rate (HHV)

Megawatts of Capacity

Cumulative MW of Capacity

WSCC Gas Fired Resource Heat Rate Stack

Under 7000

Under 7000

7000-7500

7000-7500

7501-8000

7501-8000

8001-8500

8001-8500

8501-9000

8501-9000

9001-9500

9001-9500

9501-10000

9501-10000

10001-10500

10001-10500

10501-11000

10501-11000

11001-11500

11001-11500

11501-12000

11501-12000

12001-12500

12001-12500

12501-13000

12501-13000

13001-13500

13001-13500

13501-14000

13501-14000

Above 14000

Above 14000

0

0

718.6749606264

718.6749606264

2497.3723766193

3216.0473372456

607.57313017

3823.6204674156

740.5779322565

4564.1983996721

1869.7096032239

6433.908002896

12606.7178560272

19040.6258589233

9119.993688215

28160.6195471383

5185.6779898769

33346.2975370152

501.1345730016

33847.4321100168

1175.3255571653

35022.7576671822

4701.9432840918

39724.700951274

1340.9665205699

41065.6674718439

183.5004493297

41249.1679211736

220.2986039508

41469.4665251244

561.865146584

42031.3316717084



Chart_Peak_Prices

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



$/MWh

Historical Peak Palo Verde and 
Forward Peak SP-15 Prices

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Table_Peak_Prices

		Average Nevada Peak Prices

		April to March		$/MWh

		1996 - 1997		17.85

		1997 - 1998		26.66

		1998 - 1999		29.07

		1999 - 2000		33.37

		2000 - 2001		49.43

		2001 - 2002		47.05

		2002 - 2003		45.56






_1019748073.ppt


Natural Gas Week Opal Price

Natural Gas Week Opal Price





Las Vegas 

Cogeneration LLC



ENA



ENA



ENA





Duke Fuels





5,000 MMBtu/day of physical gas

2,500 MMBtu/day paid at Natural Gas Week Opal Price

2,500 MMBtu/day paid at Inside FERC RockiesPrice









NYMEX Henry Hub less $0.28/MMBtu





NYMEX Henry Hub less $0.27/MMBtu

NYMEX Henry Hub

$2.68/ MMBtu







SWAP 1

Notional Quantity 5,000 MMBtu/day

SWAP 2

Notional Quantity 2,500 MMBtu/day

SWAP 3

Notional Quantity 2,500 MMBtu/day

Fixed Cost to Las Vegas Cogeneration



5,000 MMBtu/day at



$2.68

less:$0.28



Net Cost $2.40/MMBtu



GAS PURCHASE AND SALE AGREEMENT

5,000 MMBtu/day








_1019750674.doc


























Las Vegas Cogeneration, LP







LVC II L.L.C.







LVC II L.L.C.























* ENA Bridge



Facility Loan 











Contribution to LVC II:







Permits







Land          Pursuant to arms-length transaction. 







O&M







.







 Desert Arc I, LLC







 Desert Arc II, LLC







15% LP Interest







85% GP Interest











Southwest Power, LLC







100% Interest







100% Interest







* ENA loans funds to LVC II in order to fund development expenses prior to







construction finance takeout.  In addition, ENA will assist Southwest Power,







LLC in the development of LVC II through the Corporate Services Agreement.







Installation of four LM6000 in combined cycle would require total capital costs







of approximately $140MM (including transaction costs).  The final installed







structure and most beneficial financial structure have not yet been established.







100% Interest












_1019719719.xls
Chart1

		1996		1996		0.2041198502

		1997		1997		0.1832269827

		1998		1998		0.1402278703

		1999		1999		0.1314878893

		2000		2000		0.102006689

		2001		2001		0.103588907

		2002		2002		0.1034208433



Available Resources

Peak Load

Reserve Margin

1000's MW

WSCC Resource Availability, Load Growth, 
and Reserve Margins

128.6

106.8

129.8

109.7

130.1

114.1

130.8

115.6

131.8

119.6

135.3

122.6

138.7

125.7



Chart_Resource and Load

		

		US WSCC (000MW)		1996		1997		1998		1999		2000		2001		2002

		Available Resources		128.6		129.8		130.1		130.8		131.8		135.3		138.7

		Peak Load		106.8		109.7		114.1		115.6		119.6		122.6		125.7

		Resource Balance				-1.7		-4.1		-0.8		-3		0.5		0.3

		Cumm. Balance				-1.7		-5.8		-6.6		-9.6		-9.1		-8.8

		Reserve Margin		20.4%		18.3%		14.0%		13.1%		10.2%		10.4%		10.3%

		US WSCC (000MW)		Available Resources		Peak Load		Resource Balance		Cumm. Balance		Reserve Margin

		1996		128.6		106.8						20.4%

		1997		129.8		109.7		-1.7		-1.7		18.3%

		1998		130.1		114.1		-4.1		-5.8		14.0%

		1999		130.8		115.6		-0.8		-6.6		13.1%

		2000		131.8		119.6		-3		-9.6		10.2%

		2001		135.3		122.6		0.5		-9.1		10.4%

		2002		138.7		125.7		0.3		-8.8		10.3%





Chart_Resource and Load

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0



Available Resources

Peak Load

Reserve Margin

1000's MW

WSCC Resource Availability, Load Growth, and Reserve Margins

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Table_New Gen

		High Probability WSCC Projects

		Project		State		On-Line Date		Capacity		Region		Cumulative Capacity

		Colorado Springs Nixon		CO		10/1/99		70				70

		Deming		NM		11/1/99		250		DSW		320

		Priscilla		NV		3/1/00		216				536

		El Dorado		NV		5/1/00		492		DSW		1,028

		Person		NM		5/1/00		140		DSW		1,168

		Manchief (Brush)		CO		6/1/00		265		Rockies		1,433

		Valmont Repowering		CO		12/1/00		11		Rockies		1,444

		Vestas (100MW Wind)		OR		1/1/01		25		PNW		1,469

		South Point Power Plant [Mojave]		AZ		5/1/01		545		DSW		2,014

		Griffith Energy Project		AZ		5/1/01		520		DSW		2,534

		Desert Basin Gnrtng		AZ		6/1/01		600		DSW		3,134

		Sutter		CA		7/1/01		500		NP15		3,634

		Klamath Cogen		OR		7/1/01		500		PNW		4,134

		43rd Avenue Plant Repower		AZ		8/1/01		70		DSW		4,204

		Los Medanos (Pittsburg)		CA		8/1/01		500		NP15		4,704

		La Paloma		CA		9/1/01		1,048		ZP26		5,752

		Rathdrum		ID		9/1/01		270		PNW		6,022

		43rd Avenue Phase 2 Repower		AZ		12/1/01		70		DSW		6,092

		Everett Delta		WA		12/1/01		248		PNW		6,340

		Coyote Springs Phase 2		OR		3/1/02		280		PNW		6,620

		Delta Energy		CA		4/1/02		880		NP15		7,500

		Powhatan 48		CO		5/1/02		150		Rockies		7,650

		Hermiston		OR		5/1/02		536		PNW		8,186





Chart_Stack

		

		Name		Fuel Type		GWH		Plant Factor		Max Capability (MW)		Ave HR Btu/kWh		Fuel Cost $/MMBtu		Fuel Cost m/kWh		VOM Cost m/kWh		OP Cost m/kWh		CO2 Emissions Tons

		Magnolia 1 40		Gas		0.7		0.8%		10		25,742		2.00		51.48		7.38		58.86		1.0

		Olive GT 1 44		Gas		0.8		0.8%		11		25,635		2.00		51.27		7.38		58.65		1.2

		Grayson 1 21		Gas		1.4		2.0%		8		24,588		2.00		49.18		2.46		51.64		2.0

		McClellan 1 12		Gas		1.7		0.6%		32		22,128		2.00		44.26		7.38		51.64		2.2

		Harbor GT426		Gas		18.3		2.7%		77		19,138		2.00		38.28		7.38		45.66		20.4

		Magnolia 2 39		Gas		10.6		3.0%		40		15,520		2.00		31.04		2.46		33.50		9.5

		Highgrove230		Gas		19.3		4.2%		52		15,430		2.00		30.86		2.46		33.32		17.4

		Broadway 2 6		Gas		20.1		3.1%		74		15,102		2.00		30.20		2.46		32.66		17.5

		Broadway 1 7		Gas		16.6		3.0%		63		14,976		2.00		29.95		2.46		32.41		14.4

		Grayson 2 22		Gas		20.7		3.0%		79		14,733		2.00		29.47		2.46		31.93		17.5

		Grayson G 2 24		Gas		6.9		2.0%		39		14,525		2.00		29.05		7.38		36.43		5.8

		AnaheirnG 1 5		Gas		4.2		2.0%		24		14,335		2.00		28.67		7.38		36.05		3.4

		Highgrove 2 29		Gas		14.2		3.2%		51		14,048		2.00		28.10		2.46		30.56		11.6

		Oiive 2 43		Gas		30.5		3.6%		97		13,992		2.00		27.98		2.46		30.44		24.8

		Humboldt 2 9		Gas		114.6		12.4%		106		13,810		2.00		27.62		2.46		30.08		91.5

		Medicine 1 19		Gas		39.6		25.0%		18		13,552		2.00		27.10		2.46		29.56		31.0

		Glenarm G 2 20		Gas		11.4		2.5%		52		13,417		2.00		26.83		7.38		34.21		8.9

		Medicine 2 16		Gas		18.5		6.7%		32		13,394		2.00		26.79		7.38		34.17		14.3

		Medicine 3 15		Gas		26.8		6.7%		46		13,363		2.00		26.73		7.38		34.11		20.8

		Medidne 1 17		Gas		73.9		32.7%		26		13,332		2.00		26.66		2.46		29.12		57.1

		Medicine 1 18		Gas		76.8		30.8%		28		13,323		2.00		26.65		2.46		29.11		59.4

		Walnut GT 2 63		Gas		8.4		2.1%		46		12,996		2.00		25.99		7.38		33.37		6.3

		NNevoda Gas 2		Gas		1,864.3		18.8%		1132		12,930		2.00		25.86		6.39		32.25		1,397.9

		Bethel GT 2 2		Gas		2.7		1.0%		31		12,684		2.00		25.37		7.38		32.75		2.0

		Etiwanda 2 18		Gas		61.5		5.3%		132		12,592		2.00		25.18		2.46		27.64		44.9

		Pittsburg 2 43		Gas		69.1		9.1%		87		12,493		2.00		24.99		2.46		27.45		50.2

		Arizona Gas A 4		Gas		4,096.2		13.5%		3464		12,451		2.00		24.90		5.28		30.18		2,966.5

		El Sogund 2 14		Gas		383.6		12.5%		350		12,442		2.00		24.88		2.46		27.34		274.6

		Redding P 1 52		Gas		10.4		4.4%		27		12,416		2.00		24.83		2.46		27.29		7.3

		Coolwater2 9		Gas		356.0		8.8%		462		12,308		2.00		24.62		4.92		29.54		252.8

		Long Beac 1 37		Gas		104.0		3.8%		312		12,023		2.00		24.05		4.92		28.97		72.4

		Redding G 1 50		Gas		2.0		1.6%		14		11,999		2.00		24.00		7.38		31.38		1.4

		Alamitos 2 3		Gas		91.1		5.9%		176		11,947		2.00		23.89		2.46		26.35		63.3

		SMUD/Cars 1 56		Gas		6.0		1.7%		40		11,850		2.00		23.70		7.38		31.08		4.0

		SMUD/P&G 1 61		Gas		6.6		2.2%		34		11,769		2.00		23.54		7.38		30.92		4.3

		NCPA GT P 1 26		Gas		6.6		2.0%		38		11,717		2.00		23.43		7.38		30.81		4.4

		Utah gas RM F 3		Gas		105.9		4.3%		281		11,645		2.00		23.29		3.71		27.00		71.4

		San Berna249		Gas		33.9		4.1%		94		11,622		2.00		23.24		2.46		25.70		22.9

		Redondo B 2 47		Gas		577.3		18.8%		351		11,601		2.00		23.20		2.46		25.66		387.6

		Coolwater28		Gas		147.6		11.5%		147		11,578		2.00		23.16		2.46		25.62		98.9

		San Diego Gas 3		Gas		164.1		7.0%		268		11,423		2.00		22.85		4.32		27.17		109.1

		Alamitos 1 4		Gas		12.4		2.5%		57		11,130		2.00		22.26		7.38		29.64		8.0

		Fredonia 2 12		Gas		170.4		14.0%		139		11,043		2.00		22.09		7.38		29.47		109.4

		Northeast 1 27		Gas		80.8		24.3%		38		11,039		2.00		22.08		6.15		28.23		51.9

		Whitehorn 2 S1		Gas		165.6		18.8%		101		10,905		2.00		21.81		7.38		29.19		104.7

		Fredricks 2 13		Gas		125.6		14.3%		100		10,877		2.00		21.75		7.38		29.13		79.6

		Long Beac 1 38		Gas		153.1		7.4%		236		10,821		2.00		21.64		4.92		26.56		95.8

		San Diego Gas 4		Gas		13,802.1		39.8%		3959		10,759		2.00		21.52		3.07		24.59		8,641.3

		Grayson 1 23		Gas		35.0		4.2%		95		10,734		2.00		21.47		4.92		26.39		21.8

		ReddingG2 51		Gas		14.7		3.1%		54		10,686		2.00		21.37		7.38		28.75		9.1

		Pittsburg 2 44		Gas		833.0		29.1%		327		10,661		2.00		21.32		2.46		23.78		516.3

		NCPA GT 4 24		Gas		37.1		4.2%		101		10,605		2.00		21.21		7.38		28.59		22.8

		Morro Bay 1 16		Gas		438.2		30.6%		163		10,590		2.00		21.18		2.46		23.64		269.9

		Gianera G 2 8		Gas		13.9		3.2%		50		10,575		2.00		21.15		7.38		28.53		8.5

		SMUD/CT 3 58		Gas		40.6		4.7%		99		10,497		2.00		20.99		7.38		28.37		24.7

		Morro Bay 1 17		Gas		455.1		31.8%		163		10,490		2.00		20.98		2.46		23.44		277.5

		APL Rainb 2 3		Gas		32.3		10.9%		34		10,489		2.00		20.98		7.38		28.36		19.6

		Alamitos 2 1		Gas		1,472.3		26.2%		641		10,441		2.00		20.88		2.46		23.34		890.8

		NCPA GT 1 25		Gas		4.9		2.7%		21		10,324		2.00		20.65		7.38		28.03		3.0

		Rathdrum 235		Gas		209.6		21.6%		111		10,279		2.00		20.56		7.38		27.94		125.3

		S Nevada Gas 1		Gas		1,991.9		10.2%		2229		10,246		2.00		20.49		6.20		26.69		1,186.9

		APL Rainb 1 4		Gas		15.0		18.5%		9		10,216		2.00		20.43		7.38		27.81		8.9

		Tenaska 2 1 47		Gas		364.8		25.1%		166		10,174		2.00		20.35		7.38		27.73		215.8

		SCL GT 1 3e		Gas		136.3		25.3%		61		10,165		2.00		20.33		7.38		27.71		80.5

		West Coas 1 30		Gas		261.0		34.0%		88		10,156		2.00		20.31		7.38		27.69		154.1

		Rupert 2 23		Gas		98.5		32.5%		35		10,142		2.00		20.28		7.38		27.66		58.0

		Mandalay 2 41		Gas		1,011.4		26.8%		431		10,140		2.00		20.28		2.46		22.74		596.6

		NWC-GT 1 22		Gas		392.9		34.2%		131		10,138		2.00		20.28		7.38		27.66		231.7

		Alta GT 3 1		Gas		793.3		32.3%		280		10,138		2.00		20.28		7.38		27.66		467.9

		Etiwanda 2 17		Gas		1,908.2		33.9%		643		10,135		2.00		20.27		2.46		22.73		1,123.3

		Scattergo 2 50		Gas		622.0		19.8%		359		10,106		2.00		20.21		2.46		22.67		364.8

		El Segund 2 15		Gas		1,991.4		33.8%		673		10,073		2.00		20.15		2.46		22.61		1,166.7

		Hunters P 1 10		Gas		686.7		48.0%		163		10,030		2.00		20.06		2.46		22.52		400.3

		PG&EQFT1 36		Gas		6,503.7		88.0%		844		10,000		2.00		20.00		2.46		22.46		5,476.1

		PG&EQFT138		Gas		1,318.6		87.7%		172		10,000		2.00		20.00		2.46		22.46		1,110.3

		PG&E QF A 1 32		Gas		1,248.4		87.9%		162		10,000		2.00		20.00		2.46		22.46		1,051.2

		PG&E QF T 1 39		Gas		5,303.4		86.5%		700		10,000		2.00		20.00		2.46		22.46		4,465.4

		PG&E QF W 1 40		Gas		562.4		88.8%		72		10,000		2.00		20.00		2.46		22.46		473.6

		NW Energy 1 21		Gas		324.8		67.2%		55		10,000		2.00		20.00		2.46		22.46		273.5

		Canyon Po 1 8		Gas		40.4		65.7%		7		10,000		2.00		20.00		2.46		22.46		34.0

		TAUC Dapp 1 27		Gas		57.5		65.4%		10		10,000		2.00		20.00		2.46		22.46		48.4

		PGEMisc 2 31		Gas		1,404.5		56.9%		282		10,000		2.00		20.00		2.46		22.46		817.4

		James Riv 1 18		Gas		227.9		54.3%		48		10,000		2.00		20.00		2.46		22.46		132.6

		PGE Misc 1 32		Gas		343.0		54.5%		72		10,000		2.00		20.00		2.46		22.46		199.7

		SCLGenar1 37		Gas		27.4		87.7%		4		10,000		2.00		20.00		2.46		22.46		15.9

		PG&E QF G 1 34		Gas		824.8		42.5%		222		10,000		2.00		20.00		2.46		22.46		480.0

		PG&E QF C 1 33		Gas		153.2		40.6%		43		10,000		2.00		20.00		2.46		22.46		89.2

		PG&E Rene 1 42		Gas		83.8		38.1%		25		10,000		2.00		20.00		2.46		22.46		48.7

		Union Pac 1 57		Gas		20.1		12.7%		18		10,000		2.00		20.00		2.46		22.46		11.7

		Union Pac 1 56		Gas		24.7		14.1%		20		10,000		2.00		20.00		2.46		22.46		14.4

		San Diego Gas 2		Gas		8.1		3.2%		29		10,000		2.00		20.00		2.46		22.46		4.7

		New Mexico Ga 2		Gas		2,907.3		27.8%		1194		9,995		2.00		19.99		3.67		23.66		1,689.6

		Hunt Beach 2 32		Gas		1,406.7		37.2%		432		9,963		2.00		19.93		2.46		22.39		814.1

		WY-CO Area Ga10		Gas		1,837.4		10.5%		1998		9,916		2.00		19.83		3.78		23.61		1,077.3

		Potrero 1 48		Gas		881.3		48.5%		207		9,888		2.00		19.78		2.46		22.24		506.9

		Keephills 2 13		Gas		4,696.9		68.1%		787		9,887		2.00		19.77		2.46		22.23		2,702.0

		EP Rossda 3 12		Gas		1,057.0		74.4%		162		9,874		2.00		19.75		2.46		22.21		607.3

		Pittsburg 1 47		Gas		2,418.9		39.9%		692		9,874		2.00		19.75		2.46		22.21		1,387.9

		Clover Ba 4 9		Gas		4,690.1		76.7%		698		9,861		2.00		19.72		2.46		22.18		2,691.1

		Burrard 6 7		Gas		6,155.3		77.9%		902		9,857		2.00		19.71		2.46		22.17		3,530.7

		APLMilne 1 2		Gas		1,001.5		75.0%		152		9,857		2.00		19.71		2.46		22.17		1,036.5

		Pittsburg 1 45		Gas		1,144.2		43.8%		298		9,844		2.00		19.69		2.46		22.15		654.9

		Morro Bay 1 18		Gas		1,565.6		52.7%		339		9,817		2.00		19.63		2.46		22.09		894.1

		AlamHos 2 2		Gas		3,189.3		37.8%		963		9,775		2.00		19.55		2.46		22.01		1,812.8

		Pittsburg 1 46		Gas		1,460.9		51.2%		326		9,755		2.00		19.51		2.46		21.97		828.9

		RedondoB248		Gas		3,320.3		39.4%		962		9,728		2.00		19.46		2.46		21.92		1,879.8

		MorroBay1 19		Gas		1,861.0		62.7%		339		9,678		2.00		19.36		2.46		21.82		1,046.5

		Contra Co 1 5		Gas		1,660.3		55.6%		341		9,621		2.00		19.24		2.46		21.70		929.3

		Contra Co 1 4		Gas		1,315.6		48.1%		312		9,613		2.00		19.23		2.46		21.69		735.7

		Orrnond Be 2 46		Gas		4,512.9		34.3%		1502		9,520		2.00		19.04		2.46		21.50		2,499.6

		Haynes 2 28		Gas		2,375.3		39.7%		683		9,232		2.00		18.46		2.46		20.92		1,275.5

		Moss Land 1 20		Gas		3,748.9		57.8%		740		9,149		2.00		18.30		2.46		20.76		1,995.7

		Scattergo 1 51		Gas		1,638.1		41.9%		446		9,109		2.00		18.22		2.46		20.68		867.5

		Moss Land 1 21		Gas		4,346.6		67.0%		741		8,966		2.00		17.93		2.46		20.39		2,267.9

		SMUD/Cars 1 55		Gas		109.9		13.2%		95		8,453		2.00		16.91		5.65		22.56		54.0

		Olivo/Mag 1 45		Gas		48.9		13.6%		41		8,430		2.00		16.86		4.92		21.78		23.8

		WY-CO Area Ga 9		Gas		105.1		17.0%		71		8,421		2.00		16.84		4.63		21.47		51.5

		Almond Po 1 1		Gas		86.8		20.2%		49		8,304		2.00		16.61		4.92		21.53		41.8

		Woodland 1 64		Gas		61.8		14.9%		47		8,252		2.00		16.50		4.92		21.42		29.6

		SMUD/Camp 1 64		Gas		252.7		18.6%		155		8,250		2.00		16.50		4.92		21.42		121.0

		SMUD/SEPC 1 62		Gas		250.0		19.1%		149		8,245		2.00		16.49		4.92		21.41		119.5

		SMUD/P&G 1 60		Gas		467.7		45.5%		117		7,959		2.00		15.92		3.07		18.99		216.5

		Hunt Beac 1 31		Gas		4,457.6		81.4%		625		7,861		2.00		15.72		4.92		20.64		2,038.5

		Beaver1 1		Gas		5,736.4		79.6%		823		7,850		2.00		15.70		2.79		18.49		2,619.1

		LDWP CC 1 36		Gas		1,551.3		78.5%		226		7,845		2.00		15.69		4.92		20.61		707.9

		LDWPCC 1 35		Gas		1,550.8		78.5%		226		7,843		2.00		15.69		4.92		20.61		707.7

		PG&E Croc 1 29		Gas		1,611.9		76.5%		241		7,841		2.00		15.68		4.92		20.60		735.3

		PG&E CC 1 28		Gas		1,610.2		76.4%		241		7,837		2.00		15.67		4.92		20.59		734.1

		Harbor CC 1 25		Gas		1,699.3		80.6%		241		7,471		2.00		14.94		4.92		19.86		738.6

		Hermiston New		Gas		0.0		0.0%		478		7,310		2.00		14.62		2.46		17.08		0.0

		Haynes 4 27		Gas		5,982.4		76.7%		890		4,641		2.00		9.28		2.46		11.74		1,616.0

		Heat Rate		Megawatts		Cumulative Megawatts

		Under 7000		0		0.0

		7000-7500		719		719

		7501-8000		2497		3,216

		8001-8500		608		3,824

		8501-9000		741		4,564

		9001-9500		1870		6,434

		9501-10000		12607		19,041

		10001-10500		9120		28,161

		10501-11000		5186		33,346

		11001-11500		501		33,847

		11501-12000		1175		35,023

		12001-12500		4702		39,725

		12501-13000		1341		41,066

		13001-13500		184		41,249

		13501-14000		220		41,469

		Above 14000		562		42,031.3

				42031

		Heat Rate		Cumulative Megawatts

		Under 7000		0

		7000-7500		719

		7501-8000		3216

		8001-8500		3824

		8501-9000		4564

		9001-9500		6434

		9501-10000		19041

		10001-10500		28161

		10501-11000		33346

		11001-11500		33847

		11501-12000		35023

		12001-12500		39725

		12501-13000		41066

		13001-13500		41249

		13501-14000		41469

		Above 14000		42031





Chart_Stack

		Under 7000

		7000-7500

		7501-8000

		8001-8500

		8501-9000

		9001-9500

		9501-10000

		10001-10500

		10501-11000

		11001-11500

		11501-12000

		12001-12500

		12501-13000

		13001-13500

		13501-14000

		Above 14000



&LHermiston Power Partnership&CConfidential&R&F  &D

Megawatts

Heat Rate (Btu/kWh, HHV)

Megawatts of Capacity

WSCC Gas Fired Resource Stack by Heat Rate

0

718.6749606264

2497.3723766193

607.57313017

740.5779322565

1869.7096032239

12606.7178560272

9119.993688215

5185.6779898769

501.1345730016

1175.3255571653

4701.9432840918

1340.9665205699

183.5004493297

220.2986039508

561.865146584



Chart_Peak_Prices

		Dates						W.PALOVERDE - PKWeightedAvg

				Month		Year		Palo Verde, West, Megawatt Daily Price Survey				Average of Palo Verde, West, Megawatt Daily Price Survey

		4/1/96		4		1996		12.5				Year		Month		Total				Peak Price		Month		Year				Sum of Peak Price		Year

		4/2/96		4		1996		13.75				1996		4		12.86		Apr-96		12.86		4		1996				Month		1996		1997		1998		1999		2000		2001		2002		2003

		4/3/96		4		1996		15						5		13.98		May-96		13.98		5		1996				1				15.155		22.0951724138		24.0443478261		29.5123076923		36.6		34.428060391		32.5582776753

		4/4/96		4		1996		14						6		14.42		Jun-96		14.42		6		1996				2				13.4207142857		19.94		21.1817391304		31.2784		36.6		34.428060391		32.5582776753

		4/8/96		4		1996		13.75						7		18.58		Jul-96		18.58		7		1996				3				16.5532258065		21.2682758621		21.2014814815		30.9203703704		35.1		32.928060391		31.0582776753

		4/9/96		4		1996		14.75						8		17.41		Aug-96		17.41		8		1996				4		12.8571428571		17.5356666667		25.1876923077		26.7944		36.3284341941		37.25		35.8851521956

		4/10/96		4		1996		13.38						9		21.19		Sep-96		21.19		9		1996				5		13.98		27.8189655172		20.0960714286		28.3748		57.4259846319		37.25		35.8851521956

		4/11/96		4		1996		13.25						10		21.31		Oct-96		21.31		10		1996				6		14.422		24.767		20.67		32.66		45		43.75		41.6351521956

		4/12/96		4		1996		11.13						11		24.31		Nov-96		24.31		11		1996				7		18.5759090909		33.2948387097		42.484		41.7184615385		67		68.375		67.9103811398

		4/15/96		4		1996		12.75						12		24.97		Dec-96		24.97		12		1996				8		17.4104545455		37.6306666667		49.4282758621		42.6857692308		86.25		87.625		87.1603811398

		4/16/96		4		1996		12.75				1997		1		15.16		Jan-97		15.16		1		1997				9		21.193		42.549		41.4330769231		33.3264		71		72.375		71.9103811398

		4/17/96		4		1996		12.75						2		13.42		Feb-97		13.42		2		1997				10		21.3065217391		27.0896551724		27.1789285714		40.9284615385		45.575		43.75		41.731204421

		4/18/96		4		1996		14.5						3		16.55		Mar-97		16.55		3		1997				11		24.3058823529		23.6662068966		27.9239130435		31.77875		38.125		36.25		34.231204421

		4/19/96		4		1996		14.5						4		17.54		Apr-97		17.54		4		1997				12		24.969		22.2242857143		27.978		30.5076		38.125		36.25		34.231204421

		4/22/96		4		1996		11.13						5		27.82		May-97		27.82		5		1997

		4/23/96		4		1996		11.75						6		24.77		Jun-97		24.77		6		1997

		4/24/96		4		1996		12						7		33.29		Jul-97		33.29		7		1997

		4/25/96		4		1996		11.5						8		37.63		Aug-97		37.63		8		1997

		4/26/96		4		1996		11.25						9		42.55		Sep-97		42.55		9		1997

		4/29/96		4		1996		11.63						10		27.09		Oct-97		27.09		10		1997

		4/30/96		4		1996		11.98						11		23.67		Nov-97		23.67		11		1997

		5/1/96		5		1996		14.5						12		22.22		Dec-97		22.22		12		1997

		5/2/96		5		1996		12.75				1998		1		22.10		Jan-98		22.10		1		1998

		5/3/96		5		1996		12						2		19.94		Feb-98		19.94		2		1998

		5/6/96		5		1996		13						3		21.27		Mar-98		21.27		3		1998

		5/7/96		5		1996		13.75						4		25.19		Apr-98		25.19		4		1998

		5/8/96		5		1996		15.25						5		20.10		May-98		20.10		5		1998

		5/9/96		5		1996		15.75						6		20.67		Jun-98		20.67		6		1998

		5/10/96		5		1996		15						7		42.48		Jul-98		42.48		7		1998

		5/13/96		5		1996		17						8		49.43		Aug-98		49.43		8		1998

		5/14/96		5		1996		17.25						9		41.43		Sep-98		41.43		9		1998

		5/15/96		5		1996		17.75						10		27.18		Oct-98		27.18		10		1998

		5/16/96		5		1996		17.63						11		27.92		Nov-98		27.92		11		1998

		5/17/96		5		1996		14.75						12		27.98		Dec-98		27.98		12		1998

		5/20/96		5		1996		14				1999		1		24.04		Jan-99		24.04		1		1999

		5/21/96		5		1996		14.18						2		21.18		Feb-99		21.18		2		1999

		5/22/96		5		1996		12.25						3		21.20		Mar-99		21.20		3		1999

		5/23/96		5		1996		12.3						4		26.79		Apr-99		26.79		4		1999

		5/24/96		5		1996		9						5		28.37		May-99		28.37		5		1999

		5/28/96		5		1996		11.7						6		32.66		Jun-99		32.66		6		1999

		5/29/96		5		1996		12.5						7		41.72		Jul-99		41.72		7		1999

		5/30/96		5		1996		12.5						8		42.69		Aug-99		42.69		8		1999

		5/31/96		5		1996		12.75						9		33.33		Sep-99		33.33		9		1999

		6/3/96		6		1996		15.5						10		40.93		Oct-99		40.93		10		1999

		6/4/96		6		1996		18.25						11		31.78		Nov-99		31.78		11		1999

		6/5/96		6		1996		22.25						12		30.51		Dec-99		30.51		12		1999

		6/6/96		6		1996		22.25				2000		1		29.51		Jan-00		29.51		1		2000

		6/7/96		6		1996		19.1						2		31.28		Feb-00		31.28		2		2000

		6/10/96		6		1996		20						3		30.92		Mar-00		30.92		3		2000

		6/11/96		6		1996		20.5						4		38.12		Apr-00		36.33		4		2000

		6/12/96		6		1996		11.75						5		62.53		May-00		57.43		5		2000

		6/13/96		6		1996		11.63										Jun-00		45		6		2000

		6/14/96		6		1996		11.63										Jul-00		67		7		2000

		6/17/96		6		1996		11.75										Aug-00		86.25		8		2000

		6/18/96		6		1996		11.75										Sep-00		71		9		2000

		6/19/96		6		1996		11.5										Oct-00		45.575		10		2000

		6/20/96		6		1996		11.5										Nov-00		38.125		11		2000

		6/21/96		6		1996		11.5										Dec-00		38.125		12		2000

		6/24/96		6		1996		11.75										Jan-01		36.6		1		2001

		6/25/96		6		1996		11.8										Feb-01		36.6		2		2001

		6/26/96		6		1996		11.53										Mar-01		35.1		3		2001

		6/27/96		6		1996		11.5										Apr-01		37.25		4		2001

		6/28/96		6		1996		11										May-01		37.25		5		2001

		7/1/96		7		1996		16.38										Jun-01		43.75		6		2001

		7/2/96		7		1996		15.25										Jul-01		68.375		7		2001

		7/3/96		7		1996		15.25										Aug-01		87.625		8		2001

		7/5/96		7		1996		14.1										Sep-01		72.375		9		2001

		7/8/96		7		1996		16										Oct-01		43.75		10		2001

		7/9/96		7		1996		15.5										Nov-01		36.25		11		2001

		7/10/96		7		1996		16.13										Dec-01		36.25		12		2001

		7/11/96		7		1996		17										Jan-02		34.428060391		1		2002

		7/12/96		7		1996		14.9										Feb-02		34.428060391		2		2002

		7/15/96		7		1996		16.45										Mar-02		32.928060391		3		2002

		7/16/96		7		1996		16.33										Apr-02		35.8851521956		4		2002

		7/17/96		7		1996		15										May-02		35.8851521956		5		2002

		7/18/96		7		1996		13.25										Jun-02		41.6351521956		6		2002

		7/19/96		7		1996		13.25										Jul-02		67.9103811398		7		2002

		7/22/96		7		1996		16.75										Aug-02		87.1603811398		8		2002

		7/23/96		7		1996		25.5										Sep-02		71.9103811398		9		2002

		7/24/96		7		1996		32.5										Oct-02		41.731204421		10		2002

		7/25/96		7		1996		26.13										Nov-02		34.231204421		11		2002

		7/26/96		7		1996		21										Dec-02		34.231204421		12		2002

		7/29/96		7		1996		27										Jan-03		32.5582776753		1		2003

		7/30/96		7		1996		24.5										Feb-03		32.5582776753		2		2003

		7/31/96		7		1996		20.5										Mar-03		31.0582776753		3		2003

		8/1/96		8		1996		18.5

		8/2/96		8		1996		16.5

		8/5/96		8		1996		12.5

		8/6/96		8		1996		12.25

		8/7/96		8		1996		13.5

		8/8/96		8		1996		17.5

		8/9/96		8		1996		16

		8/12/96		8		1996		17.75

		8/13/96		8		1996		17.5

		8/14/96		8		1996		18.4

		8/15/96		8		1996		17.75

		8/16/96		8		1996		15.5

		8/19/96		8		1996		14.5

		8/20/96		8		1996		14.5

		8/21/96		8		1996		15.8

		8/22/96		8		1996		22.38

		8/23/96		8		1996		20.5

		8/26/96		8		1996		17.45

		8/27/96		8		1996		17.25

		8/28/96		8		1996		17.25

		8/29/96		8		1996		23.25

		8/30/96		8		1996		26.5

		9/3/96		9		1996		27

		9/4/96		9		1996		26.5

		9/5/96		9		1996		24.1

		9/6/96		9		1996		23

		9/9/96		9		1996		24.5

		9/10/96		9		1996		24.5

		9/11/96		9		1996		22.75

		9/12/96		9		1996		21.5

		9/13/96		9		1996		19.5

		9/16/96		9		1996		18.2

		9/17/96		9		1996		17

		9/18/96		9		1996		16.38

		9/19/96		9		1996		16.55

		9/20/96		9		1996		17.63

		9/23/96		9		1996		21

		9/24/96		9		1996		21.25

		9/25/96		9		1996		21

		9/26/96		9		1996		21

		9/27/96		9		1996		20.5

		9/30/96		9		1996		20

		10/1/96		10		1996		21.3

		10/2/96		10		1996		20.25

		10/3/96		10		1996		21.5

		10/4/96		10		1996		20.83

		10/7/96		10		1996		22.9

		10/8/96		10		1996		24.35

		10/9/96		10		1996		24.25

		10/10/96		10		1996		21.13

		10/11/96		10		1996		20.1

		10/14/96		10		1996		20.75

		10/15/96		10		1996		20.5

		10/16/96		10		1996		20.75

		10/17/96		10		1996		20.25

		10/18/96		10		1996		19.55

		10/21/96		10		1996		19.35

		10/22/96		10		1996		19.75

		10/23/96		10		1996		19.9

		10/24/96		10		1996		20.63

		10/25/96		10		1996		19.75

		10/28/96		10		1996		20.13

		10/29/96		10		1996		22.25

		10/30/96		10		1996		25

		10/31/96		10		1996		24.88

		11/1/96		11		1996		24.88

		11/4/96		11		1996		22.75

		11/5/96		11		1996		22.13

		11/6/96		11		1996		24.13

		11/7/96		11		1996		22.8

		11/8/96		11		1996		21.88

		11/12/96		11		1996		21.5

		11/13/96		11		1996		20.5

		11/14/96		11		1996		20.5

		11/18/96		11		1996		21.88

		11/19/96		11		1996		24.25

		11/20/96		11		1996		30.5

		11/21/96		11		1996		23.5

		11/22/96		11		1996		27

		11/25/96		11		1996		29

		11/26/96		11		1996		28

		11/27/96		11		1996		28

		12/2/96		12		1996		25.75

		12/3/96		12		1996		26.63

		12/4/96		12		1996		29

		12/5/96		12		1996		30.75

		12/6/96		12		1996		28

		12/9/96		12		1996		24.9

		12/10/96		12		1996		22.6

		12/11/96		12		1996		22.25

		12/12/96		12		1996		21.25

		12/13/96		12		1996		22.75

		12/16/96		12		1996		25.5

		12/17/96		12		1996		33

		12/18/96		12		1996		51

		12/19/96		12		1996		38.75

		12/20/96		12		1996		26

		12/23/96		12		1996		19.5

		12/26/96		12		1996		12.5

		12/27/96		12		1996		12.75

		12/30/96		12		1996		13.5

		12/31/96		12		1996		13

		1/28/97		1		1997		15.82

		1/29/97		1		1997		15.67

		1/30/97		1		1997		15.35

		1/31/97		1		1997		13.78

		2/1/97		2		1997		11.59

		2/2/97		2		1997		9

		2/3/97		2		1997		11.78

		2/4/97		2		1997		13.17

		2/5/97		2		1997		14.13

		2/6/97		2		1997		13.8

		2/7/97		2		1997		14.53

		2/8/97		2		1997		13.18

		2/9/97		2		1997		10

		2/10/97		2		1997		13.13

		2/11/97		2		1997		13.55

		2/12/97		2		1997		13.42

		2/13/97		2		1997		14.32

		2/14/97		2		1997		15.29

		2/15/97		2		1997		15.35

		2/16/97		2		1997		11

		2/17/97		2		1997		14

		2/18/97		2		1997		14

		2/19/97		2		1997		12.84

		2/20/97		2		1997		13.08

		2/21/97		2		1997		13.45

		2/22/97		2		1997		14.06

		2/23/97		2		1997		10.75

		2/24/97		2		1997		14.27

		2/25/97		2		1997		15.42

		2/26/97		2		1997		16.11

		2/27/97		2		1997		15.46

		2/28/97		2		1997		15.1

		3/1/97		3		1997		14.61

		3/2/97		3		1997		11.43

		3/3/97		3		1997		14.69

		3/4/97		3		1997		15.47

		3/5/97		3		1997		18.67

		3/6/97		3		1997		19.16

		3/7/97		3		1997		17.49

		3/8/97		3		1997		16.05

		3/9/97		3		1997		13.5

		3/10/97		3		1997		16.34

		3/11/97		3		1997		17.11

		3/12/97		3		1997		23.54

		3/13/97		3		1997		21.28

		3/14/97		3		1997		19.68

		3/15/97		3		1997		20.1

		3/16/97		3		1997		15.9

		3/17/97		3		1997		20.35

		3/18/97		3		1997		21.12

		3/19/97		3		1997		20.52

		3/20/97		3		1997		18.18

		3/21/97		3		1997		16.48

		3/22/97		3		1997		12.7

		3/23/97		3		1997		11.63

		3/24/97		3		1997		14.57

		3/25/97		3		1997		14.69

		3/26/97		3		1997		15.12

		3/27/97		3		1997		14.89

		3/28/97		3		1997		14.54

		3/29/97		3		1997		14.42

		3/30/97		3		1997		14.42

		3/31/97		3		1997		14.5

		4/1/97		4		1997		15.35

		4/2/97		4		1997		15.76

		4/3/97		4		1997		16.03

		4/4/97		4		1997		15.96

		4/5/97		4		1997		15

		4/6/97		4		1997		10

		4/7/97		4		1997		15

		4/8/97		4		1997		14.75

		4/9/97		4		1997		15.12

		4/10/97		4		1997		16.4

		4/11/97		4		1997		17.64

		4/12/97		4		1997		18.53

		4/13/97		4		1997		14.5

		4/14/97		4		1997		18.51

		4/15/97		4		1997		19.83

		4/16/97		4		1997		19.83

		4/17/97		4		1997		19.62

		4/18/97		4		1997		20.88

		4/19/97		4		1997		20.1

		4/20/97		4		1997		15.35

		4/21/97		4		1997		20.1

		4/22/97		4		1997		22.94

		4/23/97		4		1997		26.17

		4/24/97		4		1997		23.08

		4/25/97		4		1997		18.66

		4/26/97		4		1997		16.36

		4/27/97		4		1997		12.73

		4/28/97		4		1997		16.36

		4/29/97		4		1997		16.74

		4/30/97		4		1997		18.77

		5/1/97		5		1997		19.68

		5/2/97		5		1997		19.75

		5/3/97		5		1997		20.56

		5/5/97		5		1997		20.56

		5/6/97		5		1997		22.7

		5/7/97		5		1997		23.84

		5/8/97		5		1997		25.5

		5/9/97		5		1997		30.71

		5/10/97		5		1997		26.64

		5/11/97		5		1997		16

		5/12/97		5		1997		26.64

		5/13/97		5		1997		23.75

		5/14/97		5		1997		28

		5/15/97		5		1997		33.09

		5/16/97		5		1997		39.49

		5/17/97		5		1997		44.83

		5/18/97		5		1997		26.5

		5/19/97		5		1997		44.83

		5/20/97		5		1997		39.45

		5/21/97		5		1997		37.18

		5/22/97		5		1997		28.22

		5/23/97		5		1997		20.02

		5/24/97		5		1997		24

		5/25/97		5		1997		15.42

		5/26/97		5		1997		15.42

		5/27/97		5		1997		20.65

		5/28/97		5		1997		37.61

		5/29/97		5		1997		34.65

		5/30/97		5		1997		41.06

		6/1/97		6		1997		23.5

		6/2/97		6		1997		46.29

		6/3/97		6		1997		42.21

		6/4/97		6		1997		29.85

		6/5/97		6		1997		25.24

		6/6/97		6		1997		24.15

		6/7/97		6		1997		21.55

		6/8/97		6		1997		16.63

		6/9/97		6		1997		21.55

		6/10/97		6		1997		23.58

		6/11/97		6		1997		23.51

		6/12/97		6		1997		22.95

		6/13/97		6		1997		21.47

		6/14/97		6		1997		19.08

		6/15/97		6		1997		13.14

		6/16/97		6		1997		19.08

		6/17/97		6		1997		22.18

		6/18/97		6		1997		25.23

		6/19/97		6		1997		29.52

		6/20/97		6		1997		34.88

		6/21/97		6		1997		26.4

		6/22/97		6		1997		19

		6/23/97		6		1997		26.4

		6/24/97		6		1997		27.26

		6/25/97		6		1997		27.28

		6/26/97		6		1997		27.28

		6/27/97		6		1997		25

		6/28/97		6		1997		22.1

		6/29/97		6		1997		14.6

		6/30/97		6		1997		22.1

		7/1/97		7		1997		31.77

		7/2/97		7		1997		32.3

		7/3/97		7		1997		29.58

		7/4/97		7		1997		27.73

		7/5/97		7		1997		27.73

		7/6/97		7		1997		20.44

		7/7/97		7		1997		27.73

		7/8/97		7		1997		34.15

		7/9/97		7		1997		39.42

		7/10/97		7		1997		40.7

		7/11/97		7		1997		41.76

		7/12/97		7		1997		27.73

		7/13/97		7		1997		21.67

		7/14/97		7		1997		30.7

		7/15/97		7		1997		38.45

		7/16/97		7		1997		41.4

		7/17/97		7		1997		48.24

		7/18/97		7		1997		50.29

		7/19/97		7		1997		41.43

		7/20/97		7		1997		20.29

		7/21/97		7		1997		41.58

		7/22/97		7		1997		39.35

		7/23/97		7		1997		30.41

		7/24/97		7		1997		28.15

		7/25/97		7		1997		30.76

		7/26/97		7		1997		29.91

		7/27/97		7		1997		21.71

		7/28/97		7		1997		29.91

		7/29/97		7		1997		38.48

		7/30/97		7		1997		35.45

		7/31/97		7		1997		32.92

		8/1/97		8		1997		32.11

		8/2/97		8		1997		28.83

		8/4/97		8		1997		28.83

		8/5/97		8		1997		41.24

		8/6/97		8		1997		63.97

		8/7/97		8		1997		113.71

		8/8/97		8		1997		52.67

		8/9/97		8		1997		40.04

		8/10/97		8		1997		25.5

		8/11/97		8		1997		40.04

		8/12/97		8		1997		43.38

		8/13/97		8		1997		41.03

		8/14/97		8		1997		31.75

		8/15/97		8		1997		29.42

		8/16/97		8		1997		26.35

		8/17/97		8		1997		25.5

		8/18/97		8		1997		26.35

		8/19/97		8		1997		29.41

		8/20/97		8		1997		27.98

		8/21/97		8		1997		35.78

		8/22/97		8		1997		37

		8/23/97		8		1997		31.78

		8/24/97		8		1997		18.67

		8/25/97		8		1997		32.58

		8/26/97		8		1997		48.85

		8/27/97		8		1997		47.32

		8/28/97		8		1997		44.21

		8/29/97		8		1997		31.61

		8/30/97		8		1997		31.31

		8/31/97		8		1997		21.7

		9/1/97		9		1997		21.7

		9/2/97		9		1997		36.45

		9/3/97		9		1997		36.42

		9/4/97		9		1997		39.93

		9/5/97		9		1997		40.27

		9/6/97		9		1997		55.74

		9/7/97		9		1997		27

		9/8/97		9		1997		53.89

		9/9/97		9		1997		94.49

		9/10/97		9		1997		83.87

		9/11/97		9		1997		55.35

		9/12/97		9		1997		79.57

		9/13/97		9		1997		43.53

		9/14/97		9		1997		27.3

		9/15/97		9		1997		43.53

		9/16/97		9		1997		37.45

		9/17/97		9		1997		36.17

		9/18/97		9		1997		37.38

		9/19/97		9		1997		36.08

		9/20/97		9		1997		36.77

		9/21/97		9		1997		30.33

		9/22/97		9		1997		36.77

		9/23/97		9		1997		39.85

		9/24/97		9		1997		35.15

		9/25/97		9		1997		34.01

		9/26/97		9		1997		34.8

		9/27/97		9		1997		35.18

		9/28/97		9		1997		28

		9/29/97		9		1997		35.18

		9/30/97		9		1997		44.31

		10/1/97		10		1997		39.65

		10/2/97		10		1997		33.12

		10/3/97		10		1997		34.94

		10/4/97		10		1997		36.99

		10/6/97		10		1997		36.99

		10/7/97		10		1997		28.53

		10/8/97		10		1997		28.15

		10/9/97		10		1997		23.26

		10/10/97		10		1997		18.78

		10/11/97		10		1997		36.99

		10/12/97		10		1997		17.33

		10/13/97		10		1997		18.95

		10/14/97		10		1997		18.95

		10/15/97		10		1997		19.75

		10/16/97		10		1997		21.37

		10/17/97		10		1997		22.85

		10/18/97		10		1997		18.05

		10/19/97		10		1997		15.5

		10/20/97		10		1997		18.58

		10/21/97		10		1997		20.94

		10/22/97		10		1997		21.22

		10/23/97		10		1997		21.22

		10/24/97		10		1997		37.67

		10/25/97		10		1997		37.67

		10/27/97		10		1997		29.39

		10/28/97		10		1997		34.36

		10/29/97		10		1997		34.36

		10/30/97		10		1997		33.88

		10/31/97		10		1997		26.16

		11/1/97		11		1997		24.59

		11/3/97		11		1997		24.59

		11/4/97		11		1997		26.97

		11/5/97		11		1997		25.11

		11/6/97		11		1997		23.37

		11/7/97		11		1997		24.77

		11/8/97		11		1997		24.77

		11/9/97		11		1997		20

		11/10/97		11		1997		24.55

		11/11/97		11		1997		23.67

		11/12/97		11		1997		23.67

		11/13/97		11		1997		24.26

		11/14/97		11		1997		25.65

		11/15/97		11		1997		25.65

		11/16/97		11		1997		20

		11/17/97		11		1997		25.7

		11/18/97		11		1997		26.13

		11/19/97		11		1997		26.69

		11/20/97		11		1997		26.73

		11/21/97		11		1997		24.07

		11/22/97		11		1997		24.14

		11/23/97		11		1997		18.92

		11/24/97		11		1997		24.84

		11/25/97		11		1997		24.78

		11/26/97		11		1997		20.54

		11/27/97		11		1997		20.54

		11/28/97		11		1997		20.54

		11/29/97		11		1997		20.54

		11/30/97		11		1997		20.54

		12/1/97		12		1997		22.91

		12/2/97		12		1997		21.64

		12/3/97		12		1997		22.45

		12/4/97		12		1997		22.4

		12/5/97		12		1997		21.79

		12/6/97		12		1997		21.83

		12/7/97		12		1997		18.69

		12/8/97		12		1997		21.83

		12/9/97		12		1997		21.8

		12/10/97		12		1997		22.04

		12/11/97		12		1997		23.27

		12/12/97		12		1997		23.6

		12/13/97		12		1997		23.58

		12/15/97		12		1997		23.91

		12/16/97		12		1997		22.68

		12/17/97		12		1997		22.51

		12/18/97		12		1997		21.98

		12/19/97		12		1997		22.35

		12/20/97		12		1997		22.34

		12/21/97		12		1997		20.88

		12/22/97		12		1997		23.81

		12/23/97		12		1997		23.04

		12/24/97		12		1997		21.43

		12/26/97		12		1997		21.7

		12/28/97		12		1997		21.45

		12/29/97		12		1997		21.7

		12/30/97		12		1997		22.41

		12/31/97		12		1997		22.26

		1/2/98		1		1998		22.71

		1/3/98		1		1998		22.33

		1/5/98		1		1998		22.71

		1/6/98		1		1998		23.89

		1/7/98		1		1998		27.16

		1/8/98		1		1998		28.46

		1/9/98		1		1998		27.52

		1/10/98		1		1998		27.52

		1/11/98		1		1998		25.2

		1/12/98		1		1998		28.7

		1/13/98		1		1998		28.95

		1/14/98		1		1998		25.16

		1/15/98		1		1998		22.97

		1/16/98		1		1998		21.11

		1/17/98		1		1998		21.14

		1/18/98		1		1998		19.5

		1/19/98		1		1998		22.32

		1/20/98		1		1998		22.2

		1/21/98		1		1998		21.43

		1/22/98		1		1998		19.27

		1/23/98		1		1998		18.55

		1/24/98		1		1998		18.59

		1/25/98		1		1998		19

		1/26/98		1		1998		19.72

		1/27/98		1		1998		18.35

		1/28/98		1		1998		18.19

		1/29/98		1		1998		17.05

		1/30/98		1		1998		15.06

		1/31/98		1		1998		16

		2/2/98		2		1998		19.66

		2/3/98		2		1998		22.41

		2/4/98		2		1998		20.68

		2/5/98		2		1998		21.1

		2/6/98		2		1998		18.16

		2/7/98		2		1998		18.17

		2/8/98		2		1998		15

		2/9/98		2		1998		21.37

		2/10/98		2		1998		21.52

		2/11/98		2		1998		22.5

		2/12/98		2		1998		24.29

		2/13/98		2		1998		18.1

		2/14/98		2		1998		18.08

		2/15/98		2		1998		18.08

		2/16/98		2		1998		20.81

		2/18/98		2		1998		21.88

		2/19/98		2		1998		20.34

		2/20/98		2		1998		16.82

		2/21/98		2		1998		16.83

		2/23/98		2		1998		18.35

		2/24/98		2		1998		23.47

		2/25/98		2		1998		22.38

		2/26/98		2		1998		20.84

		2/27/98		2		1998		18.84

		2/28/98		2		1998		18.82

		3/1/98		3		1998		14.5

		3/2/98		3		1998		22.16

		3/3/98		3		1998		22.42

		3/4/98		3		1998		20.82

		3/5/98		3		1998		23.5

		3/6/98		3		1998		19.07

		3/7/98		3		1998		19.13

		3/8/98		3		1998		15.44

		3/9/98		3		1998		19

		3/10/98		3		1998		19.4

		3/11/98		3		1998		20.96

		3/12/98		3		1998		20.13

		3/13/98		3		1998		18.99

		3/14/98		3		1998		18.99

		3/16/98		3		1998		21.24

		3/17/98		3		1998		22.24

		3/18/98		3		1998		23.51

		3/19/98		3		1998		24.05

		3/20/98		3		1998		23.5

		3/21/98		3		1998		23.51

		3/22/98		3		1998		18

		3/23/98		3		1998		24.68

		3/24/98		3		1998		23.82

		3/25/98		3		1998		22.32

		3/26/98		3		1998		25.4

		3/27/98		3		1998		22.79

		3/28/98		3		1998		22.79

		3/30/98		3		1998		21.62

		3/31/98		3		1998		22.8

		4/1/98		4		1998		23.97

		4/2/98		4		1998		23.83

		4/3/98		4		1998		22.95

		4/4/98		4		1998		22.92

		4/5/98		4		1998		18

		4/6/98		4		1998		24.13

		4/7/98		4		1998		24.37

		4/8/98		4		1998		24

		4/9/98		4		1998		24.05

		4/11/98		4		1998		23.39

		4/14/98		4		1998		24.93

		4/15/98		4		1998		23.59

		4/16/98		4		1998		24.85

		4/17/98		4		1998		28.88

		4/18/98		4		1998		24.85

		4/20/98		4		1998		29.33

		4/21/98		4		1998		30.6

		4/22/98		4		1998		29.51

		4/23/98		4		1998		26.69

		4/24/98		4		1998		25.77

		4/25/98		4		1998		25.77

		4/26/98		4		1998		20

		4/27/98		4		1998		26.78

		4/28/98		4		1998		27.08

		4/29/98		4		1998		27.99

		4/30/98		4		1998		26.65

		5/1/98		5		1998		24.7

		5/2/98		5		1998		24.7

		5/3/98		5		1998		19.25

		5/4/98		5		1998		23.89

		5/5/98		5		1998		21.62

		5/6/98		5		1998		22.41

		5/7/98		5		1998		22.33

		5/8/98		5		1998		18.22

		5/9/98		5		1998		18.28

		5/10/98		5		1998		17.5

		5/11/98		5		1998		23.81

		5/12/98		5		1998		20.3

		5/13/98		5		1998		19.84

		5/14/98		5		1998		17.47

		5/15/98		5		1998		16.39

		5/16/98		5		1998		17.82

		5/17/98		5		1998		8

		5/18/98		5		1998		22.07

		5/19/98		5		1998		20.48

		5/20/98		5		1998		25.22

		5/21/98		5		1998		26.8

		5/22/98		5		1998		16.67

		5/23/98		5		1998		16.67

		5/26/98		5		1998		21.54

		5/27/98		5		1998		21.22

		5/28/98		5		1998		20.93

		5/29/98		5		1998		20.93

		5/30/98		5		1998		13.63

		6/1/98		6		1998		24.64

		6/2/98		6		1998		26.63

		6/3/98		6		1998		25.43

		6/4/98		6		1998		22.59

		6/5/98		6		1998		15.55

		6/6/98		6		1998		15.55

		6/8/98		6		1998		19.89

		6/9/98		6		1998		17.66

		6/10/98		6		1998		14.72

		6/11/98		6		1998		12.43

		6/12/98		6		1998		9.99

		6/13/98		6		1998		9.99

		6/15/98		6		1998		18.61

		6/16/98		6		1998		20.28

		6/17/98		6		1998		23.98

		6/18/98		6		1998		23.84

		6/19/98		6		1998		20.16

		6/20/98		6		1998		20.16

		6/21/98		6		1998		18.31

		6/22/98		6		1998		27.97

		6/23/98		6		1998		26.53

		6/24/98		6		1998		25.24

		6/25/98		6		1998		25.2

		6/26/98		6		1998		19.67

		6/27/98		6		1998		19.67

		6/29/98		6		1998		25.76

		6/30/98		6		1998		27.64

		7/1/98		7		1998		41.31

		7/2/98		7		1998		34.78

		7/4/98		7		1998		34.78

		7/6/98		7		1998		35.54

		7/7/98		7		1998		35.55

		7/8/98		7		1998		34.4

		7/9/98		7		1998		39.16

		7/10/98		7		1998		32.64

		7/13/98		7		1998		38.76

		7/14/98		7		1998		50.14

		7/15/98		7		1998		56.79

		7/16/98		7		1998		49.03

		7/17/98		7		1998		48.12

		7/18/98		7		1998		48.12

		7/20/98		7		1998		63.61

		7/21/98		7		1998		61.8

		7/22/98		7		1998		44.47

		7/23/98		7		1998		33.66

		7/24/98		7		1998		26.31

		7/25/98		7		1998		26.31

		7/27/98		7		1998		36.3

		7/28/98		7		1998		50.93

		7/29/98		7		1998		57.71

		7/30/98		7		1998		40.94

		7/31/98		7		1998		40.94

		8/1/98		8		1998		35.74

		8/2/98		8		1998		35

		8/3/98		8		1998		56.46

		8/4/98		8		1998		69.1

		8/5/98		8		1998		53.31

		8/6/98		8		1998		73.66

		8/7/98		8		1998		60.75

		8/8/98		8		1998		60.75

		8/10/98		8		1998		52.22

		8/11/98		8		1998		48.7

		8/12/98		8		1998		55.12

		8/13/98		8		1998		57.13

		8/14/98		8		1998		59.57

		8/15/98		8		1998		59.57

		8/16/98		8		1998		34

		8/17/98		8		1998		53.57

		8/18/98		8		1998		38.42

		8/19/98		8		1998		36.37

		8/20/98		8		1998		37.37

		8/21/98		8		1998		34.09

		8/22/98		8		1998		34.09

		8/24/98		8		1998		43.41

		8/25/98		8		1998		47.35

		8/26/98		8		1998		64.57

		8/27/98		8		1998		57.72

		8/28/98		8		1998		42.86

		8/29/98		8		1998		40.91

		8/30/98		8		1998		34

		8/31/98		8		1998		57.61

		9/1/98		9		1998		92.31

		9/2/98		9		1998		92.76

		9/3/98		9		1998		92.85

		9/4/98		9		1998		92.85

		9/5/98		9		1998		55.85

		9/8/98		9		1998		54.94

		9/9/98		9		1998		41.24

		9/10/98		9		1998		39.71

		9/11/98		9		1998		32.41

		9/12/98		9		1998		32.23

		9/13/98		9		1998		28

		9/14/98		9		1998		34.06

		9/15/98		9		1998		32.75

		9/16/98		9		1998		29.63

		9/17/98		9		1998		28.93

		9/18/98		9		1998		26.54

		9/19/98		9		1998		26.12

		9/21/98		9		1998		30.49

		9/22/98		9		1998		31.09

		9/23/98		9		1998		28.47

		9/24/98		9		1998		27.59

		9/25/98		9		1998		25.09

		9/26/98		9		1998		24.59

		9/28/98		9		1998		26.18

		9/29/98		9		1998		25.08

		9/30/98		9		1998		25.5

		10/1/98		10		1998		25.3

		10/2/98		10		1998		25.39

		10/3/98		10		1998		25.39

		10/5/98		10		1998		25.84

		10/6/98		10		1998		25.83

		10/7/98		10		1998		26.75

		10/8/98		10		1998		27.15

		10/9/98		10		1998		25.65

		10/10/98		10		1998		24.96

		10/11/98		10		1998		23.5

		10/12/98		10		1998		26.64

		10/13/98		10		1998		26.11

		10/14/98		10		1998		25.77

		10/15/98		10		1998		27.7

		10/16/98		10		1998		27.7

		10/17/98		10		1998		26.18

		10/19/98		10		1998		27.78

		10/20/98		10		1998		27.78

		10/21/98		10		1998		28.06

		10/22/98		10		1998		28.06

		10/23/98		10		1998		28.77

		10/24/98		10		1998		32.23

		10/26/98		10		1998		28.47

		10/27/98		10		1998		29.15

		10/28/98		10		1998		29.95

		10/29/98		10		1998		29.77

		10/30/98		10		1998		27.67

		10/31/98		10		1998		27.46

		11/2/98		11		1998		24.83

		11/3/98		11		1998		27.66

		11/4/98		11		1998		28.82

		11/5/98		11		1998		28.94

		11/6/98		11		1998		26.56

		11/7/98		11		1998		26.51

		11/9/98		11		1998		29.89

		11/10/98		11		1998		28.25

		11/11/98		11		1998		29.06

		11/12/98		11		1998		29.06

		11/13/98		11		1998		27.42

		11/14/98		11		1998		27.38

		11/16/98		11		1998		29.88

		11/17/98		11		1998		30.55

		11/18/98		11		1998		29.01

		11/19/98		11		1998		27.4

		11/20/98		11		1998		26.03

		11/21/98		11		1998		25.94

		11/23/98		11		1998		28.05

		11/24/98		11		1998		29.07

		11/25/98		11		1998		29.07

		11/28/98		11		1998		25.72

		11/30/98		11		1998		27.15

		12/1/98		12		1998		27.42

		12/2/98		12		1998		27.74

		12/3/98		12		1998		26.68

		12/4/98		12		1998		23.23

		12/5/98		12		1998		23.23

		12/7/98		12		1998		26.6

		12/8/98		12		1998		28.84

		12/9/98		12		1998		28.38

		12/10/98		12		1998		27.97

		12/11/98		12		1998		26.16

		12/12/98		12		1998		25.45

		12/14/98		12		1998		26.92

		12/15/98		12		1998		25.18

		12/16/98		12		1998		23.75

		12/17/98		12		1998		24.26

		12/18/98		12		1998		27.39

		12/19/98		12		1998		27.39

		12/21/98		12		1998		33.34

		12/22/98		12		1998		44.66

		12/23/98		12		1998		44.66

		12/26/98		12		1998		29.62

		12/28/98		12		1998		27.5

		12/29/98		12		1998		24.36

		12/30/98		12		1998		24.36

		12/31/98		12		1998		24.36

		1/2/99		1		1999		18.61

		1/4/99		1		1999		21.53

		1/5/99		1		1999		26.27

		1/6/99		1		1999		27.39

		1/7/99		1		1999		27.36

		1/8/99		1		1999		24.62

		1/9/99		1		1999		24.62

		1/11/99		1		1999		27.24

		1/12/99		1		1999		28.09

		1/13/99		1		1999		27.21

		1/14/99		1		1999		27.6

		1/15/99		1		1999		24.59

		1/19/99		1		1999		25.56

		1/20/99		1		1999		24.56

		1/21/99		1		1999		23.44

		1/22/99		1		1999		21.48

		1/23/99		1		1999		21.48

		1/25/99		1		1999		23.83

		1/26/99		1		1999		23.05

		1/27/99		1		1999		22.25

		1/28/99		1		1999		22.11

		1/29/99		1		1999		22.11

		1/30/99		1		1999		18.02

		2/1/99		2		1999		22.33

		2/2/99		2		1999		21.12

		2/3/99		2		1999		21.31

		2/4/99		2		1999		21.81

		2/5/99		2		1999		20.67

		2/6/99		2		1999		20.7

		2/8/99		2		1999		22.68

		2/9/99		2		1999		22.27

		2/10/99		2		1999		22.69

		2/11/99		2		1999		22.74

		2/12/99		2		1999		20.97

		2/13/99		2		1999		20.97

		2/16/99		2		1999		22.38

		2/17/99		2		1999		21.53

		2/18/99		2		1999		20.72

		2/19/99		2		1999		19.22

		2/20/99		2		1999		19.22

		2/22/99		2		1999		20.88

		2/23/99		2		1999		20.83

		2/24/99		2		1999		21.68

		2/25/99		2		1999		21.34

		2/26/99		2		1999		21.34

		2/27/99		2		1999		17.78

		3/1/99		3		1999		20.66

		3/2/99		3		1999		19.49

		3/3/99		3		1999		19.64

		3/4/99		3		1999		20.24

		3/5/99		3		1999		18.5

		3/6/99		3		1999		18.45

		3/8/99		3		1999		19.89

		3/9/99		3		1999		20.71

		3/10/99		3		1999		21.03

		3/11/99		3		1999		21.75

		3/12/99		3		1999		22.03

		3/13/99		3		1999		21.92

		3/15/99		3		1999		22.91

		3/16/99		3		1999		20.76

		3/17/99		3		1999		21.56

		3/18/99		3		1999		21.99

		3/19/99		3		1999		20.88

		3/20/99		3		1999		20.83

		3/22/99		3		1999		21.83

		3/23/99		3		1999		22.88

		3/24/99		3		1999		21.75

		3/25/99		3		1999		21.11

		3/26/99		3		1999		20.03

		3/27/99		3		1999		20.02

		3/29/99		3		1999		22.96

		3/30/99		3		1999		24.33

		3/31/99		3		1999		24.29

		4/1/99		4		1999		25.34

		4/3/99		4		1999		23.2

		4/5/99		4		1999		23.25

		4/6/99		4		1999		26.28

		4/7/99		4		1999		26.18

		4/8/99		4		1999		26.45

		4/9/99		4		1999		25.52

		4/10/99		4		1999		25.52

		4/12/99		4		1999		28.67

		4/13/99		4		1999		25.01

		4/14/99		4		1999		25.01

		4/15/99		4		1999		25.01

		4/16/99		4		1999		27.46

		4/17/99		4		1999		27.43

		4/19/99		4		1999		29.09

		4/20/99		4		1999		37.28

		4/21/99		4		1999		33.03

		4/22/99		4		1999		31.25

		4/23/99		4		1999		22.99

		4/24/99		4		1999		22.99

		4/26/99		4		1999		26.28

		4/27/99		4		1999		26.47

		4/28/99		4		1999		26.79

		4/29/99		4		1999		27.04

		4/30/99		4		1999		26.32

		5/1/99		5		1999		23.2

		5/3/99		5		1999		26.5

		5/4/99		5		1999		25.95

		5/5/99		5		1999		26.62

		5/6/99		5		1999		28.37

		5/7/99		5		1999		27.4

		5/8/99		5		1999		27.4

		5/10/99		5		1999		28.35

		5/11/99		5		1999		25.11

		5/12/99		5		1999		26.59

		5/13/99		5		1999		28.35

		5/14/99		5		1999		27.39

		5/15/99		5		1999		27.39

		5/17/99		5		1999		28.65

		5/18/99		5		1999		30.14

		5/19/99		5		1999		31.21

		5/20/99		5		1999		30.58

		5/21/99		5		1999		27.38

		5/22/99		5		1999		27.38

		5/24/99		5		1999		28.36

		5/25/99		5		1999		33.43

		5/26/99		5		1999		33.71

		5/27/99		5		1999		29.97

		5/28/99		5		1999		29.97

		5/29/99		5		1999		29.97

		6/1/99		6		1999		29.38

		6/2/99		6		1999		25.05

		6/3/99		6		1999		23.3

		6/4/99		6		1999		21.25

		6/5/99		6		1999		21.25

		6/7/99		6		1999		26.53

		6/8/99		6		1999		25.35

		6/9/99		6		1999		30.28

		6/10/99		6		1999		30.19

		6/11/99		6		1999		26.56

		6/12/99		6		1999		26.42

		6/14/99		6		1999		35.97

		6/15/99		6		1999		42.06

		6/16/99		6		1999		35.31

		6/17/99		6		1999		32.26

		6/18/99		6		1999		29.75

		6/19/99		6		1999		29.06

		6/21/99		6		1999		49.41

		6/22/99		6		1999		37.74

		6/23/99		6		1999		36.67

		6/24/99		6		1999		32.59

		6/25/99		6		1999		30.79

		6/26/99		6		1999		30.41

		6/28/99		6		1999		37.79

		6/29/99		6		1999		47.9

		6/30/99		6		1999		55.89

		7/1/99		7		1999		69.85

		7/2/99		7		1999		69.85

		7/3/99		7		1999		34.5

		7/6/99		7		1999		56.2

		7/7/99		7		1999		45.04

		7/8/99		7		1999		44.79

		7/9/99		7		1999		34.35

		7/10/99		7		1999		34.24

		7/12/99		7		1999		51.07

		7/13/99		7		1999		59.29

		7/14/99		7		1999		62.34

		7/15/99		7		1999		54.04

		7/16/99		7		1999		32.33

		7/17/99		7		1999		32.3

		7/19/99		7		1999		42.95

		7/20/99		7		1999		34.5

		7/21/99		7		1999		32.97

		7/22/99		7		1999		32.74

		7/23/99		7		1999		27.01

		7/24/99		7		1999		26.97

		7/26/99		7		1999		42.17

		7/27/99		7		1999		33.18

		7/28/99		7		1999		35.71

		7/29/99		7		1999		36.49

		7/30/99		7		1999		29.9

		7/31/99		7		1999		29.9

		8/2/99		8		1999		39.72

		8/3/99		8		1999		38.52

		8/4/99		8		1999		37.15

		8/5/99		8		1999		39.93

		8/6/99		8		1999		33.33

		8/7/99		8		1999		33.33

		8/9/99		8		1999		38.45

		8/10/99		8		1999		33.86

		8/11/99		8		1999		33.74

		8/12/99		8		1999		33.36

		8/13/99		8		1999		30.04

		8/14/99		8		1999		30.04

		8/16/99		8		1999		37.6

		8/17/99		8		1999		38.18

		8/18/99		8		1999		37.61

		8/19/99		8		1999		38.25

		8/20/99		8		1999		33.83

		8/21/99		8		1999		33.83

		8/23/99		8		1999		40.94

		8/24/99		8		1999		50.04

		8/25/99		8		1999		68.91

		8/26/99		8		1999		76.13

		8/27/99		8		1999		67.38

		8/28/99		8		1999		66.11

		8/30/99		8		1999		59.66

		8/31/99		8		1999		39.89

		9/1/99		9		1999		32.53

		9/2/99		9		1999		32.44

		9/3/99		9		1999		32.44

		9/4/99		9		1999		28.09

		9/7/99		9		1999		33.47

		9/8/99		9		1999		36.04

		9/9/99		9		1999		33.74

		9/10/99		9		1999		33.13

		9/11/99		9		1999		33.13

		9/13/99		9		1999		35.5

		9/14/99		9		1999		32.89

		9/15/99		9		1999		34.1

		9/16/99		9		1999		34

		9/17/99		9		1999		30.9

		9/18/99		9		1999		30.9

		9/20/99		9		1999		32.44

		9/21/99		9		1999		32.51

		9/22/99		9		1999		29.56

		9/23/99		9		1999		31.06

		9/24/99		9		1999		32.09

		9/25/99		9		1999		32.09

		9/27/99		9		1999		35.53

		9/28/99		9		1999		35.3

		9/29/99		9		1999		46.43

		9/30/99		9		1999		32.85

		10/1/99		10		1999		32.21

		10/2/99		10		1999		32.66

		10/4/99		10		1999		34.31

		10/5/99		10		1999		36.34

		10/6/99		10		1999		35.82

		10/7/99		10		1999		36.68

		10/8/99		10		1999		35.96

		10/9/99		10		1999		35.96

		10/11/99		10		1999		36.14

		10/12/99		10		1999		37.14

		10/13/99		10		1999		56.65

		10/14/99		10		1999		63.9

		10/15/99		10		1999		48.31

		10/16/99		10		1999		48.31

		10/18/99		10		1999		45.33

		10/19/99		10		1999		36.46

		10/20/99		10		1999		36.46

		10/21/99		10		1999		36.46

		10/22/99		10		1999		38.14

		10/23/99		10		1999		38.14

		10/25/99		10		1999		41.5

		10/26/99		10		1999		44.57

		10/27/99		10		1999		47.73

		10/28/99		10		1999		47.73

		10/29/99		10		1999		47.73

		10/30/99		10		1999		33.5

		11/1/99		11		1999		34.14

		11/2/99		11		1999		41.99

		11/3/99		11		1999		31.8

		11/4/99		11		1999		32.43

		11/5/99		11		1999		37.5

		11/6/99		11		1999		37.5

		11/8/99		11		1999		33.98

		11/9/99		11		1999		35.22

		11/10/99		11		1999		34.58

		11/11/99		11		1999		34.58

		11/12/99		11		1999		30.18

		11/13/99		11		1999		30.18

		11/15/99		11		1999		30.75

		11/16/99		11		1999		30.64

		11/17/99		11		1999		29.05

		11/18/99		11		1999		28.29

		11/19/99		11		1999		24.28

		11/20/99		11		1999		24.28

		11/22/99		11		1999		29.88

		11/23/99		11		1999		34.61

		11/24/99		11		1999		34.61

		11/27/99		11		1999		24.34

		11/29/99		11		1999		28.52

		11/30/99		11		1999		29.36

		12/1/99		12		1999		33

		12/2/99		12		1999		32.3

		12/3/99		12		1999		27.78

		12/4/99		12		1999		27.78

		12/6/99		12		1999		31.02

		12/7/99		12		1999		31.22

		12/8/99		12		1999		32.38

		12/9/99		12		1999		33.54

		12/10/99		12		1999		29.2

		12/11/99		12		1999		29.2

		12/13/99		12		1999		35.48

		12/14/99		12		1999		32.1

		12/15/99		12		1999		31.23

		12/16/99		12		1999		31.01

		12/17/99		12		1999		30.02

		12/18/99		12		1999		30.02

		12/20/99		12		1999		30.25

		12/21/99		12		1999		30.78

		12/22/99		12		1999		28.96

		12/23/99		12		1999		28.96

		12/25/99		12		1999		26.54

		12/27/99		12		1999		29.34

		12/28/99		12		1999		32.54

		12/29/99		12		1999		29.02

		12/30/99		12		1999		29.02

		1/1/00		1		2000		26

		1/3/00		1		2000		33.53

		1/4/00		1		2000		32.69

		1/5/00		1		2000		31.41

		1/6/00		1		2000		29.17

		1/7/00		1		2000		28.02

		1/8/00		1		2000		27.93

		1/10/00		1		2000		34.09

		1/11/00		1		2000		34.25

		1/12/00		1		2000		31.25

		1/13/00		1		2000		32.42

		1/14/00		1		2000		32.42

		1/15/00		1		2000		27.33

		1/17/00		1		2000		26.72

		1/18/00		1		2000		26.72

		1/19/00		1		2000		28.42

		1/20/00		1		2000		28

		1/21/00		1		2000		26.5

		1/22/00		1		2000		26.5

		1/24/00		1		2000		28.82

		1/25/00		1		2000		28.66

		1/26/00		1		2000		29.03

		1/27/00		1		2000		28.64

		1/28/00		1		2000		29.03

		1/29/00		1		2000		29.03

		1/31/00		1		2000		30.74

		2/1/00		2		2000		31.7

		2/2/00		2		2000		31.76

		2/3/00		2		2000		31.96

		2/4/00		2		2000		30.4

		2/5/00		2		2000		30.4

		2/7/00		2		2000		32.33

		2/8/00		2		2000		31.58

		2/9/00		2		2000		29.94

		2/10/00		2		2000		30.65

		2/11/00		2		2000		30.27

		2/12/00		2		2000		30.27

		2/14/00		2		2000		32.41

		2/15/00		2		2000		33.04

		2/16/00		2		2000		33.84

		2/17/00		2		2000		33.16

		2/18/00		2		2000		33.16

		2/19/00		2		2000		30.71

		2/21/00		2		2000		32.47

		2/22/00		2		2000		32.47

		2/23/00		2		2000		30.94

		2/24/00		2		2000		29.64

		2/25/00		2		2000		29.35

		2/26/00		2		2000		29.35

		2/28/00		2		2000		30

		2/29/00		2		2000		30.16

		3/1/00		3		2000		30.3

		3/2/00		3		2000		29.46

		3/3/00		3		2000		29.33

		3/4/00		3		2000		29.33

		3/6/00		3		2000		30.18

		3/7/00		3		2000		30.47

		3/8/00		3		2000		31.64

		3/9/00		3		2000		32.68

		3/10/00		3		2000		29.57

		3/11/00		3		2000		29.57

		3/13/00		3		2000		30.38

		3/14/00		3		2000		24.81

		3/15/00		3		2000		30.6

		3/16/00		3		2000		32.16

		3/17/00		3		2000		29.97

		3/18/00		3		2000		29.97

		3/20/00		3		2000		32.23

		3/21/00		3		2000		29.94

		3/22/00		3		2000		31.81

		3/23/00		3		2000		33.61

		3/24/00		3		2000		31.05

		3/25/00		3		2000		31.05

		3/27/00		3		2000		32.06

		3/28/00		3		2000		33.11

		3/29/00		3		2000		32.65

		3/30/00		3		2000		33.46

		3/31/00		3		2000		33.46

		4/1/00		4		2000		33.4

		4/3/00		4		2000		34.99

		4/4/00		4		2000		34.25

		4/5/00		4		2000		32.22

		4/6/00		4		2000		34.74

		4/7/00		4		2000		34.55

		4/8/00		4		2000		34.55

		4/10/00		4		2000		40.3

		4/11/00		4		2000		33.85

		4/12/00		4		2000		33.85

		4/13/00		4		2000		33.85

		4/14/00		4		2000		32.97

		4/15/00		4		2000		32.97

		4/17/00		4		2000		35.86

		4/18/00		4		2000		33.69

		4/19/00		4		2000		34.38

		4/20/00		4		2000		34.16

		4/21/00		4		2000		33.88

		4/22/00		4		2000		33.88

		4/24/00		4		2000		35.22

		4/25/00		4		2000		34.83

		4/26/00		4		2000		47.37

		4/27/00		4		2000		67.79

		4/28/00		4		2000		67.79

		4/29/00		4		2000		47.64

		5/1/00		5		2000		40.25

		5/2/00		5		2000		114.41

		5/3/00		5		2000		76.74

		5/4/00		5		2000		80.2

		5/5/00		5		2000		52.49

		5/6/00		5		2000		52.49

		5/8/00		5		2000		76.93

		5/9/00		5		2000		52.91

		5/10/00		5		2000		51

		5/11/00		5		2000		49.65

		5/12/00		5		2000		40.71

		Sum						34,731.60

		Average						27.7631

		Average (+)						27.7631

		Average (-)						NaN

		Percent (+)						100

		Percent (-)						0

		Maximum						114.41

		Minimum						8

		Std Deviation						12.1365

		Zstat						2.2876

		Variance						147.2956

		Last						40.71



Given from Henwood Energy Services report

Given from Henwood Energy Services report

Given from Henwood Energy Services report

Given from Henwood Energy Services report

Product of heat rate and fuel cost, converted to mills/kwh.

Given from Henwood Energy Services report

sum of fuel and variable O&M cost

Given from Henwood Energy Services report

&R[File]

LV Cogen

Megawatts

Cumulative Megawatts

Heat Rate (HHV)

Megawatts of Capacity

Cumulative MW of Capacity

WSCC Gas Fired Resource Heat Rate Stack

Under 7000

Under 7000

7000-7500

7000-7500

7501-8000

7501-8000

8001-8500

8001-8500

8501-9000

8501-9000

9001-9500

9001-9500

9501-10000

9501-10000

10001-10500

10001-10500

10501-11000

10501-11000

11001-11500

11001-11500

11501-12000

11501-12000

12001-12500

12001-12500

12501-13000

12501-13000

13001-13500

13001-13500

13501-14000

13501-14000

Above 14000

Above 14000

0

0

718.6749606264

718.6749606264

2497.3723766193

3216.0473372456

607.57313017

3823.6204674156

740.5779322565

4564.1983996721

1869.7096032239

6433.908002896

12606.7178560272

19040.6258589233

9119.993688215

28160.6195471383

5185.6779898769

33346.2975370152

501.1345730016

33847.4321100168

1175.3255571653

35022.7576671822

4701.9432840918

39724.700951274

1340.9665205699

41065.6674718439

183.5004493297

41249.1679211736

220.2986039508

41469.4665251244

561.865146584

42031.3316717084



Chart_Peak_Prices

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



$/MWh

Historical Peak Palo Verde and 
Forward Peak SP-15 Prices

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Table_Peak_Prices

		Average Nevada Peak Prices

		April to March		$/MWh

		1996 - 1997		17.85

		1997 - 1998		26.66

		1998 - 1999		29.07

		1999 - 2000		33.37

		2000 - 2001		49.43

		2001 - 2002		47.05

		2002 - 2003		45.56






_986067171.xls
Chart

		PACI/COTP

		PGE-STP/Silver Peak

		NOB

		PACE/UAMP/UMPA PGT

		WOR/EPR Sth



PACI/COTP
 4,800 MW

PGE-STP/Silver Peak 178 MW

NOB 
3,100 MW

PACE/UAMP/UMPA PGT 
1,920 MW

WOR/EPR Sth
10,118 MW

4800

178

3100

1920

10118



Graph Data

		Industry		Volume

		PACI/COTP		4800

		PGE-STP/Silver Peak		178

		NOB		3100

		PACE/UAMP/UMPA PGT		1920

		WOR/EPR Sth		10118



CS First Boston 71.4%

CS First Boston 71.4%

CS First Boston 71.4%



Examples

		

		Column Chart				Industry		Volume						Industry		Volume		Market Share

		Labels (optional)				Insurance		$1,312.0						Insurance		$1,312.0		12.0%

						Entertainment		$1,035.0						Entertainment		$1,035.0		15.3%

						Health Care		$953.0						Health Care		$953.0		11.3%

						Energy		$653.0						Energy		$653.0		8.3%

						Retail		$576.0						Retail		$576.0		8.0%

						Technology		$432.0						Technology		$432.0		7.5%

						Chemicals		$325.0						Chemicals		$325.0		9.0%

		Pie Chart				Division		Amount

						Broadcasting		$6.5

						Cable		$5.5

						Consumer		$7.8

						Film		$1.7

						Publishing		$3.3

						Theme Parks		$5.5

						Video / Music		$3.8

		Line Chart				Date		Gross Margin		EBIT Margin

						3/31/94		52.0%		22.0%

						6/30/94		55.0%		24.0%

						9/30/94		56.0%		25.0%

						12/31/94		55.0%		24.0%

						3/31/95		51.0%		20.0%

						6/30/95		52.0%		22.0%

						9/30/95		56.0%		25.0%

						12/31/95		53.0%		21.0%

						3/31/96		49.0%		17.0%

						6/30/96		47.0%		18.0%

						9/30/96		48.0%		17.0%

						12/31/96		44.0%		15.0%

						3/31/97		46.0%		17.0%

						6/30/97		48.0%		19.0%

		Combination Chart				Date		Revenue		EBIT Margin

						1992		$15.5		17.0%

						1993		$16.8		19.0%

						1994		$23.5		23.0%

						1995		$27.8		21.0%

						1996		$35.8		19.0%

						1997		$43.7		23.0%

						1998		$55.8		27.0%

						1999		$60.8		28.0%

		Ranking Chart				Investment Bank		Volume						Investment Bank		Volume		Market Share

		Labels (optional)				DLJ		$10,768.0						DLJ		$10,768.0		17.4%

						Merrill Lynch		$6,732.0						Merrill Lynch		$6,732.0		10.8%

						Goldman, Sachs		$6,381.0						Goldman, Sachs		$6,381.0		10.3%

						Bear, Stearns		$5,075.0						Bear, Stearns		$5,075.0		8.2%

						Morgan Stanley		$4,676.0						Morgan Stanley		$4,676.0		7.5%

		Clustered Chart				Rating		Net Sales		Book Equity		Total Assets

						A Rated		£2,435.0		£1,247.0		£1,756.0

						BBB Rated		£1,735.0		£645.0		£1,645.0

						BB Rated		£1,345.0		£201.0		£1,345.0

						B Rated		£807.0		£301.0		£724.0

		Stacked Chart				Industry		IPO		SEC		CVT

						Communications		$1,315.0		$1,195.0		$555.0

						Technology		$1,135.0		$1,100.0		$815.0

						REITs		$798.0		$744.0		$585.0

						Health Care		$775.0		$715.0		$575.0

						International		$715.0		$615.0		$555.0

						Energy		$645.0		$541.0		$200.0

						Insurance		$425.0		$321.0		$45.0

						Retail		$321.0		$222.0		$35.0

		Valuation Chart				Valuation Methodology		Low		High

						Public Comparable Companies		$9.5		$11.5

						Comparable Premiums		$10.5		$11.8

						M&A Comparable Transactions		$9.8		$13.5

						DCF Base Case		$10.8		$14.5

						DCF Upside Case		$12.0		$16.0

		Scatter Chart				Company		P/E Multiple		EPS Growth

						Microtest		46.0x		55.0%

						Webdata		40.0x		41.0%

						Utilifix		36.0x		39.0%

						Kingsoft		31.0x		37.0%

						Cobra		24.0x		28.0%

						Samachi		18.0x		20.0%

						Cascom		16.0x		15.0%

		Horizontal Column Chart				Industry		Volume

						Insurance		$1,312.0

						Entertainment		$1,035.0

						Health Care		$953.0

						Energy		$653.0

						Retail		$576.0

						Technology		$432.0

						Chemicals		$325.0



CS First Boston 71.4%

CS First Boston 71.4%

CS First Boston 71.4%

CS First Boston 71.4%

CS First Boston 71.4%

CS First Boston 71.4%

CS First Boston 71.4%

CS First Boston 71.4%



Scratch

		PACI/COTP		4800

		PGE-STP/Silver Peak		178

		NOB		3100

		PACE/UAMP/UMPA PGT		1920

		WOR/EPR Sth		10118



CS First Boston 71.4%

CS First Boston 71.4%

CS First Boston 71.4%




_1001260974.ppt


100%

Interest

Las Vegas Cogeneration, LP

National Westminster

 Bank Plc

P & I

$56.5 MM Debt

Desert Arc I, LLC

Desert Arc II, LLC

SUNCO Ltd., LLC

15% LP Interest

85% GP Interest

Southwest Power, LLC

100% Interest

100% Interest

100% Interest

RADR EMP, LLC

JEDI II

TLS Investors, LLC

25%

Interest

$6.0 MM

Equity

25%

Managing

Interest

$6.0MM

Equity

50%

Interest

$12.0 MM

Equity

CalPERS

Enron

50%

Interest

50%

Interest

ENA

$6.0 MM

Equity








