PART III - OTHER PERSONAL PROPERTY ITEMS

DESCRIPTION






QUANTITY


STICK/MIG WELDER






1


GENERAL USE PUMP






1


NORTECH COMPLETE 55 GAL VAC




1


MECH. TOOL SET







1


MECH. TOOL SET







1


CHEST, 36 IN.







1


CABINET, 36 IN.







1


KAWASAKI MULE UTILITY VEHICLE 


MODEL 550, 1999 MODEL






1


LIFT- MASTER, ORBIT BOOM, FORKLIFT


JIB, MODEL LM-OBT






1


MAINT. TOOLS







1


MAINT. TOOLS







1


HYTORC HYDRAULIC POWER PACK 


10000 PSIG CAPACITY (ELECTRIC)




1


SOCKETS, HYTORC SET, FOR GE FRAME


7 UNITS ¾”, 1”, 1.5” DRIVE





1


“SENSATION” HOT WATER PRESSURE WASH 


3000PSI, 9HP HONDA, 110V, DIESEL FIRED BURNER,


50 FT OF HOSE, STD. WAND, TRIGGER GUN CONTROL,


(3)TIPS








1


SERVICE, SUPPLY NON-SPARKING COMBINATION 

WRENCHES








1

FWKE 123 SCOPEMETER






1

FWKE 87 MULTMETER W/CASE





2

EX TECH MULTI-FUNCTION CALIBRATOR 



1

PRESSURE GAGE CALIBRATOR





1

MODEL 275 HART COMMUNICATOR




1

ROSEMOUNT MODEL 275 HART COMMUNICAT


1

DOCUMENTING PROCESS CALIBRATOR 



1

PRESSURE MODULE – 15/30.000PSIG




1

PRESSURE MODULE 0-500PSIG





1

PRESSURE MODULE 0-1500PSIG





1

SAFETY EQUIPMENT






1

INDUSTRIAL SCIENTIFIC






1

BLOWER KIT, STANDARD ELECTRIAL




1

MATTING, SWITCH BOARD, 3’X75’




1

SAFETY CAN STORAGE CABINET




1

50# ROLLING DRY CHEMICAL FIRE EXTINGUISHERS

WITH COVERS







3

SAFETY/ENVIRONMENTAL EQUIPMENT/ SUPPLY


1

60 GALLON 2 DOOR SELF CLOSING CABIN



1

MOTOROLA 2-WAYRADIO SYSTEM




1

USED DESK/CREDENZA/(PATS)





1

USED DESK/CREDENZA/ SIDE DESK (RON’S)



1

TONER CARTRIDGE FOR SHARP AL-1220 COPYING 

MACHINE








4

DESK









2

COPIER #5820 (DUPLEX, AUTO FEED)




1

A- LINER, ALIGNMENT TOOL





1

AMETEK DENMARK A/S TYPE 601 MODEL 6 

TEMPERATURE CALIBRATOR 115VAC




1

0-1000 PSIG PRESSURE REGULATOR #FD4



1

5479T DRY BLOCK CALIBRATOR




1

22462T DRY BLOCK CALIBRATOR, W/INSE



1

CYLINDER PALLET RACKS MODEL CP8



4


AKRON APOLLO MONITOR





1

PART IV – HARDWARE AND SOFTWARE

Hardware for Generation Control System:

Compaq Rack mounting system - model 7142

Rack blanking panel

Compaq rack sidewall - kit f/42u rack

Rack mounted UPS Model 3000

Compaq monitor 17"

Compaq keyboard/trackball

Keyboard monitor mouse switch

Compaq Server - Proliant models 3000/1600 P450/512MB  (6-4095MB hot swap

drives)

Dual WAN Router connected to SW Bell and AT&T

Miscellaneous cabling

Software for Generation Control System:

Microsoft NT 4.0 Operating System

