Archer Daniels Midland

Confidential Information

	Location
	Demand

(KW)
	Generation Capability

(KW)
	Utility

Tariff
	Interconnect

Agreement
	Real Time Metering
	Interconnect Voltage

(KV)



	Southport, NC
	25,000 KW
	52,500 KW
	CP&L 

Buy: Interruptible standby w/ RTP rider{LGSTOU92 & Riders RTP & 57}

Sell: Based on market as quoted by CP&L or standard QF price 
	No; parallel generation agreement
	No
	13.2 KV at ADM Sub; 

40 MVA Transformer;

230 KV supply

	Peoria, IL
	50,000 KW
	60,000 KW
	Cilco

Buy: Confidential based on  RTP

Sell: Based on market as quoted by Cilco (FERC filed)
	No; parallel generation agreement
	No
	13.8 KV at Edmund St. Sub;

25 MVA Transformer;

69 KV supply

	Clinton, IA
	120,000 KW
	26,000 KW
	Alliant – Interstate

Buy: Bulk Power Supply with Standby

Sell: Not Applicable
	No; parallel generation agreement
	No
	13.8 KV & 4.16 KV at ADM Sub;

100+ MVA Transformers;

69 KV supply

	Cedar Rapids, IA
	120,000 KW
	155,000 KW

100,000 KW being added   
	Alliant – IES

Buy: modified LGS

Sell: standard QF price
	No; parallel generation agreement
	No
	69 KV & 34.5 KV at Beverly Sub;

200 MVA Transformer & 100 MVA Transformer;

 161 KV & 69 KV supply

	Decatur, IL
	400,000 KW
	230,000 KW
	Illinois Power

Buy: Ameren Energy supplier

Trans/Delivery: 300 MW network service

Sell: standard QF price
	No; parallel generation agreement
	Yes
	138 KV at Faries Parkway & ADM North;

138 KV supply

	Des Moines, IA
	10,000 KW
	5,500 KW
	MidAmerican Energy

Buy: Confidential rate 

Sell: standard QF price


	No; parallel generation agreement
	No
	13.8 KV at ADM Sub;

15 MVA Transformer;

69 KV Supply


