NERC Control Area Certification

Compliance and Evaluation Questionnaire


NERC Control Area Certification

Compliance and Evaluation Questionnaire

Applicant:

Response due by:
	Question
	Response

	1. Does the Applicant plan to operate its generation on AGC? What units are capable on operating on AGC?

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	2. Is the Applicant contracting with others to operate generation to provide for AGC? Are the contracts in place? How is information and data required for AGC provided to the contractor? 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	3. Explain how the applicant’s control system properly calculates total net actual interchange, total net scheduled interchange, and frequency bias to determine its Area Control Error (ACE). 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	4. Provide procedures the Applicant has for maintaining Operating Reserve. 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	5. Are there any transmission limitations or local requirements affecting the units that Operating Reserves are carried on?

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	6. Will the Applicant be in a Reserve Sharing Group? Are the necessary telemetering and agreements in place? 

Finding:     
 
	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	7. What level of Regulating Reserve does the Applicant plan to carry for normal regulating margin to meet CPS1 and CPS2 requirements? 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	8. What level of Contingency Reserve does the Applicant plan to carry to meet DCS1 and DCS2 requirements? 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	9. Does the Applicant understand the CPS 1 and CPS 2 standards, survey, and reporting requirements? 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	10. Does the Applicant understand the DCS1 and DCS2 standards, survey, and reporting requirements? 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	11. Does  the Applicant’s  EMS/SCADA system provide the information needed for CPS compliance? 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	12. Does the Applicant’s  EMS/SCADA system provide the information needed for DCS compliance? 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	13. Has the Applicant determined its initial frequency bias setting? 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	14. Has the Applicant established a procecedure to receive time error notification? From which Regional Monitor? 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	15. Are systems and procedures in place to properly calculate and record inadvertent? (Provide details) Are procedures in place for the operators to pay back Inadvertent Interchange according to NERC policy? 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	16. Is metering on all tie lines with adjacent Control Areas common to both the Applicant and the Adjacent Control Area and telemetered back to each system’s EMS/SCADA ? 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	17. Has the applicant established transmission contingency operating procedures regarding the prevention of transmission instability, uncontrolled separation, and cascading outages? Have the System Operators been trained in these procedures? 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	18. Has the Applicant established procedures with adjacent Control Areas and its Security Coordinator for maintaining transmission flows within its Operating Security Limits? 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	19. Does the Applicant have procedures for monitoring and controlling voltage levels and MVAR flow within its boundaries and with adjacent Control Areas? 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	20. Can the Applicant provide E-tag Authority and Tag Approval service? 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	21. Does the Applicant have procedures and systems in place to ensure that all Interchange Schedules are confirmed with Adjacent Control Areas before implementation? 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	22. Has the Applicant established an electronic data link to supply the required data (as listed in Appendix 4B) to its Security Coordinator? 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	23. Haveall protection systems on major transmission lines (including tie lines) been coordinated with the interconnected systems? 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	24. Does the Applicant have plans for automatic load shedding?

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	25. Does the Applicant have procedures for system restoration? 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	26. Does the Applicant have emergency operating plans and procedures? 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	27. Does the Applicant have a plan to continue to operate in the event the Applicant’s control center becomes inoperable? 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	28. Does the Applicant have adequate and reliable telecommunications facilities with its Security Coordinator and other systems? 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	29. Does the Applicant have clear written description of their System Operator’s responsibilities and authorities? 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	30. Does the Applicant have NERC certified System Operators for a 24 hours per day and 7 days per week operation? 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	31. Does the Applicant have in place all necessary agreements needed with its Security Coordinator? 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	32. Does the Applicant have procedures in place for switching transmission elements including coordination with its Security Coordinator? 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement

	33. Does the Applicant have procedures in place to coordinate its scheduled generator and transmission outages with its Adjacent Control Areas and its Security Coordinator? 

Finding:     

	 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
 No

 FORMCHECKBOX 
 Needs Improvement


Version 1
- 1 -
Approved by Operating Committee

March 29, 2000

Version 1
- 4 -
Approved by Operating Committee

March 29, 2000


