Northern Natural Gas Company

Storm Water Pollution Prevention Plan for Construction Activities

PHASE 1---SITE EVALUATION & DESIGN

(A)  Site Information

EXISTING SOIL TYPES:

EXISTING RUNOFF WATER QUALITY:

LOCATION OF SURFACE WATERS ON THE CONSTRUCTION SITE:

NAME OF THE RECEIVING WATER:

(B)  Site Plan Design 

OBJECTIVE: 


To reduce the environmental impact on the site and adjacent areas.  To restore the right-of-way to it’s original condition.

(C)  Construction Activity

(D)  Pollution Prevention Plan Site Map

Please refer to the enclosed site map.

PHASE 2---ASSESSMENT

(A)  Site Area


The disturbed area will be in NNG’s right-of way.  The right-of-way is approximately __ feet in width and a distance of ____ .  An additional area may be disturbed for a staging area.  This will be located along the pipeline right-of-way.  Please refer to the enclosed drawing and site plan.

(B)  Drainage Areas

Drainage patterns and areas will be indicated on the site map.  

(C)  Runoff Coefficient
The runoff coefficient is calculated to be ____ for this project.  This was calculated by using the approved list of runoff coefficients for the various land uses.  Please refer to the enclosed Runoff Coefficient List.

PHASE 3---CONTROL SELECTION & PLAN DESIGN

(A)  Review and Incorporate State and Local Requirements

Letters and notifications have been sent to the appropriate agencies, which may include Minnesota Department of Natural Resources, State Historical Preservation Office, Minnesota Pollution Control Agency and Corps of Engineers.

(B)  Select Erosion and Sediment Controls
Appropriate erosion and sediment control measures will be taken for controlling erosion from disturbed areas.  Please refer to the Erosion Control, Revegetation and Maintenance Plan.

STABILIZATION:

Disturbed areas of the construction site that will not be re-disturbed for 21 days or more will be stabilized by the 14th day after last disturbance, except as precluded by snow cover.  Structural practices to divert flow away from disturbed areas to store flows or to limit the discharge of pollutants from the site to the degree attainable will be practiced when appropriate. 

Filter fences, sediment traps or other equivalent measures will be installed along the downhill boundary of the construction site where appropriate.

(C)  Other Select Controls 

Construction site waste materials will be disposed of properly.  Treatment and disposal of sanitary wastes that are generated on site will be disposed of in accordance with state or local requirements. 

Prevention of off-site tracking of sediments and generation of dust will be practiced when appropriate.

Identification and prevention of the contamination of non-storm water discharges will be practiced.

(D)  Select Storm Water Management Controls

Selection of the most appropriate storm water management measures to control pollutants after construction will be determined.  These measures will be dependent on upon a number of factors associated with the site’s condition.

When necessary or appropriate, measures will be taken to control the velocity of dissipation to prevent erosion.

(E)  Location of Controls on the Site Map
Pollution prevention measures will be shown on the pollution prevention site map, including the location of each measure used for erosion and sediment control, storm water management and other waste controls.  Please refer to the attached site map.

(F)  Inspection and Maintenance Plan
The company will provide qualified personnel to inspect disturbed areas of the construction site that have not reached “final stabilization” at least once every seven calendar days and within 24 hours of the end of a storm that is 0.5 inches or greater.

(G)  Description of Controls
Each type of control will be listed.  A description of each control, it’s purpose and why it is appropriate will be included in the plan.  Please refer to the attached Erosion Control, Revegetation and Maintenance Plan. 

PHASE 4---CONSTRUCTION  &  IMPLEMENTATION

(A)  Implement Controls

The first action that will be taken is to construct or perform the controls over erosion, sedimentation and other waste selected in the Storm Water Pollution Prevention Plan. The controls will be constructed in the order indicated in the sequence of major activities identified in Phase 3.  Stabilization controls (measures) will be applied within the time frame specified in the general permit.

(B)  Inspect and Maintain Controls
INSPECTION:

As the permit requires, inspection of the site will be done every 7 days and within 24 hours of the end of a storm of 0.5 inch or greater of rainfall.

The inspector will prepare an inspection report of the pollution control measures.  The report will summarize the scope of the inspection: 

Provide the name(s) and qualifications of personnel making the inspection; 

Include the date(s) of the inspection;

Identify any damages or deficiencies in the control measures; and 

Identify what actions will be taken to modify pollution control practices.

The inspection report will contain the certification statement and be signed in accordance with the signatory requirements found in the general permit (i.e. principal executive officer, vice president, general partner, proprietor, elected official).

********

Inspection Report Certification Statement

“I certify, under penalty of law, that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted.  Based on my inquiry of the person or persons who managed the system or those persons directly responsible for gathering the information, the information submitted is to the best of my knowledge and belief true, accurate and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.”
MAINTENANCE & REPAIRS:
The Pollution Prevention Plan will contain a description of procedures to be followed to maintain all control measures identified.

Any changes that may be required to correct deficiencies in the Storm Water Pollution Prevention Plan noted during the inspection will be made as soon as practical after an inspection and in no case later than 7 days after the inspection. 

(C)  Records of Construction Activities
In addition to the inspection and maintenance reports, the operator will keep records of the construction activity on site.  These records will include dates when major grading activities occur, dates when construction activities cease in the area (temporarily or permanently) and the dates when an area is stabilized.

The records will be retained for a period of three years from the date that the site is “finally stabilized”.

(D)  Update/Change to Keep the Plan Current
The Storm Water Pollution Prevention Plan will be changed if the site features and/or operations are not accurately reflected in the plan.  The plan will be changed if the operator observes that it is not effective in minimizing pollutant discharges from the site.

The plan shall be updated to include contractors identified after the submittal of the Notice of Intent.  The contractors will be required to certify the plan and be identified as co-permittees.

Any change in ownership or transference of the permit and permit responsibilities will be identified.

(E)  Report any “Hazardous Condition” and Update the Plan
All spills that are determined to create a “hazardous condition” will be reported as soon as possible, but not later than six hours after the onset of the “hazardous condition” to the DNR and local sheriff’s office or sheriff of the affected county.
The Storm Water Pollution Prevention Plan will be modified within 14 calendar days of a "hazardous condition”.  The Pollution Prevention Plan will describe release and the current circumstances leading to the release.  Steps to prevent the recurrence of such releases will be identified in the plan and implemented.

(F)  Plan Location and Access
PLAN LOCATION:

A copy of the Pollution Prevention Plan will be kept at the construction site from the time the construction begins until the site has reached “final stabilization”.

RETENTION OF RECORDS:

Copies of the Storm Water Pollution Prevention Plan and all other reports required by permit, as well as all of the data used to complete the Notice of Intent, will be retained for 3 years after the completion of final site stabilization.

ACCESS:

All records will be made available upon request to the DNR.

PHASE 5---FINAL STABILIZATION & NOTICE OF DISCONTINUATION

A Notice of Discontinuation (NOD) will be sent to the Minnesota DNR when final stabilization has been accomplished.  The NOD will be sent to the Minnesota DNR within the 30 days after ”final stabilization” has been completed.
