NYSRC ICAP WORKING GROUP MEETING No. 15

August 30, 2001

NYISO Gallery Conference Room

9:30 a.m. – 3:30 p.m.

Dial In 304-345-7526

Participation Code 398928

AGENDA

1. Discuss and Approve August 2, 2001 Conference Call Meeting Minutes

2. Review Of Previous Assignments

2.1
List of ISO and NPCC studies that are relevant to reliability, with brief scope for each.  Distribute by next meeting. (Eng)

2.2
Check with Mr. Calimano on what level of data can be reviewed by NPCC’s TFCO members. Report back to WG at next meeting. (Adams)

2.3
WG members should provide comments on draft Generator Deliverability Scope to Mr. Dahl by July 18th. Mr. Dahl will incorporate comments and send to RRS. (Dahl)

2.4
Report findings of trends of FORs on a regionally and nationally basis and unit specific trends if necessary to WG by July 27th . (Vitale/Drake). 

2.5
Review total planned outages plus maintenance outages for trends in last few years, versus trends observed and presented for the period of 1990 to 1999. (Vitale/Drake)

2.6 Based on review of trends, maintenance schedules, etc., summarize transition rate development methodology and make recommendations to WG if necessary. (Vitale)

2.7
Update schedule as discussed during meeting and forward final draft to WG and RRS. (Vitale/Drake)

2.8
List amount of outage data available for each unit along with the proposed transition rate methodology. (Drake) 

2.9
Need for a volunteer to replacement WG Secretary (Dahl).

2.10
Provide to Mr. Drake by August 8th any additional units that need to be modeled in Study that are not part of the recently updated Gold Book. (Drake)

2.11
Mr. Dahl to revise initial draft of a UCAP White Paper.  The WG will need a final draft completed in order to present the RRS at their August 9th meeting. (Dahl)

2.12
Issue 2002 IRM Transfer Limit to WG. (Desell)

2.13
Send e-mail to WG requesting additional units needed to be modeled in Study, beyond recent Gold Book. (Dahl) 

2.14
Example for UCAP White Paper. (Desell)

2.15
Update schedule and issue to WG prior to each meeting. (Drake) 

3. 2002 IRM Study

3.1 New Units (beyond Gold Book)/Selection Criteria For Inclusion In Study 

3.2 Reserve Sharing

3.3 Generator Unit Forced Outage Rates

3.4 External ICAP

3.5 EOP: Emergence Response Program/Special Case Resources 

3.6 Reserve Sharing

4. Paper Describing the Treatment/Modeling of Demand-Side Resources 

5. Request For Summery Of Updated Study Assumptions

6. Other Business

7. Review Action Items

8. Next Meeting 

