Ref# : DPC/Tech/MPCB/037/2001



March 27, 2001

The Maharashtra Pollution Control Board

Shri Chhatrapati Shivaji Maharaj

Municipal Market Building, 4th Floor

Mata Ramabai Ambedkar Marg

Mumbai 400001

Dear Sir,

Re: 
Information of an unforeseen incident at the Dabhol Power Project 

Site in District Ratnagiri

We had an incident occur on the Dabhol Power Project Site that we want to bring 

to your attention. 

On March 19, 2001, a filtration valve connected to a small storage tank malfunctioned and discharged a small quantity of naphtha. A few minutes after its detection, the flow of naphtha to the valve was immediately stopped and the discharge was contained. The discharged naphtha extended only a short distance from the valve and clean up of the discharge commenced immediately after detection in order to mitigate any potential impact the discharge may have on the environment. 

Since the date of the discharge we have taken steps to monitor the matter to ensure that there are no further consequences. However, on the basis of our initial observations and the information presently known to us in relation to the discharge, we do not believe that this discharge is likely to have an adverse impact on the environment.

Thank you,

Sincerely

Ram Subramanian

Dabhol Power Company

2
1

