Operating variables to consider for simple cycle case:

1. Project structure 

2. Project schedule: (Financial Close/Notice to Proceed, Construction start date, Commissioning/Testing start date, Commercial Ops date)

3. Number of Gas turbines

4. Type of gas turbine (make & model)

5. Gas turbines are new or used

6. If used, provide the operating history (hours, starts, fuel types, maint. history, availability, reliability, etc)

7. Number of sites

8. Distance between sites, if applicable

9. Greenfield or re-powering/add-on  (existing operation or new operation)

10. If existing, what resources/synergies currently exist (staffing, warehouse and shops, admin space, etc)

11. Term of the deal

12. Electric transmission included? If yes, how many miles?

13. If transmission, type of terrain/environment? (rugged, flat, trees, no trees, drivable)

14. If transmission, above or below ground?

15. Gas transmission included? If yes, how many miles?

16. If gas transmission, type of terrain/environment? (same as above for electric transmission)

17. If gas transmission, above or below ground?

18. Run hours per year each gas turbine (at baseload setting and peak setting, if applicable)

19. Number of starts each year for each gas turbine

20. Dispatch scenario (i.e. Monday – Friday 6 am to 10 pm)

21. Availability requirement for the year

22. Any periods of time that major scheduled maintenance would be restricted to (i.e. Fall and Spring)

23. Project design includes a Distributed Control System (DCS)?

24. Type of fuel and hours for each different type of fuel on each gas turbine

25. Type of combustion system (DLE, standard w/water injection, standard w/steam injection)

26. Gas compression required?

27. Is it SPRINT? If yes, the demin water flow rate required in gpm.

28. Raw water source type: ground, surface, municipal, seawater

29. Water pipeline included? If yes, how many miles?

30. Zero discharge facility?

31. Inlet chilling required? 

32. If chillers, type of cooling system? CT, OT, ACC, etc?

33. Is Selective Catalytic Reduction (SCR) required?

34. If SCR, the NOx level required (in ppmv)?

35. Design includes a Continuous Emissions Monitoring System (CEMS)?

36. Has a spare parts allowance been provided in EPC contract? If yes, how much in $?

37. Has a training allowance been provided in EPC contract? If yes, how much in $?

38. Due to availability requirements, does Owner desire membership into a Lease Engine Membership program (for LM2500 and LM6000 models)?

39. Please provide water and heat balances if available.

