Proposed Bakersfield, California lateral

Transwestern Pipeline Company (TW) and Pacific Gas and Electric Company (PG&E) are discussing the opportunity to serve the new potential power load in the Bakersfield, California area.  Seven power plant developers have either filed, or are expected to file with the California Energy Commission (CEC) to build over 4800 megawatts.  The incremental gas load associated with this new electric generation is over 800 MMBtu/day.

The ability exists to ultimately connect to the Permian and San Juan supply basins that are currently attached to TW.  Once the gas is delivered to the California border, it will be transported on PG&E’s existing transmission line via a backhaul service to the proposed lateral.  This twenty-mile lateral will be new construction of 20” diameter pipe for capacity up to 300,000 MMBtu/day.  Estimated costs are $28.3 million for the pipeline and approximately $1.04 million for each interconnect.  TW is proposing to construct a lateral off PG&E from Bakersfield to McKittrick.

The McKittrick area, located forty miles west of Bakersfield, is the location for four of the proposed power projects.  In this area are also various natural gas pipelines and an electric transmission system.  The current supply competition is Kern/Mojave and SoCal Gas.

[image: image1.wmf]
   Source: Pacific Gas and Electric Company (PG&E)

	Bakersfield Area Power Projects


	Description/

Sponsor
	Location/

Service

Territory
	Status
	Megawatts
	Approx.

Mdth/day:
Supplier
	

	McKittrick Area           
	
	
	
	
	

	La Paloma/

 PG&E NEG
	McKittrick/

SoCalGas
	Approved
	1048
	160

Kern/Mojave
	

	Sunrise/

Texaco Global 
	Fellows/

SoCalGas
	Approved
	300
	50

Kern/Mojave
	

	Elk Hills/

Sempra & Occidental
	McKittrick/

SoCalGas
	Approved
	500
	80

Kern/Mojave


	

	Sunset/

Mission Energy

Subtotal
Others
	Fellows/

SoCalGas
	Approved
	500

2,348

	80

Kern/Mojave

370


	

	High Desert/

Inland Energy & Constellation Power
	Victorville/

S.W.Gas
	Approved
	720
	130

SoCalGas, Kern/Mojave, or PG&E 
	

	Antelope Valley/

Enron
	California City/

Open
	Expected
	1,000
	180

Kern/Mojave
	

	Pastoria/

Calpine
	Tejon Ranch/

SoCalGas
	Filed
	750
	130

Kern/Mojave
	

	Subtotal
	
	
	2,470


	440


	

	
	
	
	
	
	


Source: California Energy Commission (CEC)

