PLUMBING

Rough in, Top out, & Installation:

Master Bath

    1)   2 Price Pfister brushed nickel 2 handle lever faucet-$169

          Loews item #100206, model #8B9-8cmk

    2)   Price Pfister tub/shower 1 lever handle brushed nickel faucet-$159

          Loews item #1000209, model #808-8PMK

    3)   2 under mount sinks.  Kohler cast iron. White

4) One-#K-3422 Wellworth Elongated Bowl Water Closet w/seat, floor flange, flex w/stop, bowl wax, and bolts.

Powder Bath

1) Kohler Memoirs pedestal sink-base $109, lavatory $179

2) Kohler Memoirs toilet $239 w/seat, floor flange, flex w/stop, bowl wax, and bolts.

3) Price Pfister Chrome 2 handle lav. Faucet-high arc spout with porcelain lever, $139

Loews item #99961, model #8H9-8PBC

Kitchen

1) 1 under mount stainless steel sink.  $550 allowance

2) Price Pfister Stainless Steel faucet with pullout spray

Bath #2(Hollywood style)

    1)   2 Price Pfister Chrome 2 handle high arc lav. Faucets with porcelain lever-$89 

 Loews item #11078, model #8H3-8PBC

    2)   Price Pfister chrome 3 handle porcelain lever tub/shower faucet-$121

 Loews item #26010, model #801-80PC

3) One-K715 Villager 5’C.I. Tub, 1 ½” Waste and overflow

4) One-#K-3422 Wellworth Elongated Bowl Water Closet w/seat, floor flange, flex w/stop, bowl wax, and bolts.

Garage & Attic

1) One-40 Gallon Rheem Electric Water Heater w/ ¾” T&P valve.

2) One-40 Gallon Rheem Electric Water Heater w/ ¾” T &P valve

Bath #3

1) Under mount sink.  Kohler cast iron. White

2) Price Pfister Chrome 2 handle high arc lav. Faucet with porcelain lever-$89

Loews item #11078, model #8H3-8PBC

3) Price Pfister chrome 3 handle porcelain lever tub/shower faucet-$121

Loews item #26010, model #801-80PC

   4)   One-K715 Villager 5’C.I. Tub, 1 ½” Waste and overflow

5) One-#K-3422 Wellworth Elongated Bowl Water Closet w/seat, floor flange, flex w/stop, bowl wax, and bolts.

Utility

1) Stainless steel drop in sink.  $200 allowance

2) Long neck utility faucet.  $150 allowance

3) One- Washing Machine Outlet w/ Catch-a-drip box.  One dryer vent.

4) One-sink outlet

Game Room

1) Price Pfister Satin Stainless bar faucet $150; Loews item #161011, model #871-80SS

 2)   Kohler cast iron sink.  Drop in bar style.  $200 allowance 

