[image: image1.wmf]



ARIZONA DEPARTMENT OF ENVIRONMENTAL QUALITY

AIR QUALITY CLASS I PERMIT 
SIGNIFICANT REVISION NO. 1001601

TO AIR QUALITY CONTROL PERMIT NO. 1000156

For

TRANSWESTERN PIPELINE COMPANY

KINGMAN COMPRESSOR STATION

SIGNIFICANT REVISION PERMIT DESCRIPTION
This Significant Revision  is issued to the Transwestern Pipeline Company, the Permittee, for the replacement of three reciprocating 4000 hp Ingersoll-Rand 616KVT engines with a single General Electric (GE) LM2500 gas turbine and the replacement of two existing 451 horsepower (hp) Waukesha LRZ3520GU natural gas generator engines with a single 519 hp Caterpillar 3406B diesel generator engine. The GE gas turbine is site rated at 33,526-shaft horse power (shp) at 600F under base load conditions. The Kingman Compressor Station is located 40 miles east of Kingman on Interstate 40 in Mohave County, Arizona. The existing facility is permitted by Title V Permit, 1000156, which was issued on April 16, 1998 and valid until April 16, 2003.

This facility is an existing major source as defined by the Prevention of Significant Deterioration (PSD) program, Arizona Administrative Code (A.A.C) R18-2-401 et. seq. However, it is a Agrandfathered source@ because the compressor engines were installed in 1966, before the PSD program was established. No changes have been made at the facility since installation. After this revision, PSD will still not be applicable because the emissions from the turbine and generator will be below PSD major source levels.

The PSD regulations are not applicable to the proposed modification itself because the Permittee has shown that the difference between the emissions from the new equipment and the decrease in emissions from removal of the existing equipment is below the significance levels defined in the Arizona Administrative Code (A.A.C). R18-2-104.a. The project, therefore, qualifies as a Significant Revision according to the provisions of A.A.C.R18-2-320.
Attachment AA@ below shall replace Attachment AA@ of Permit No. 1000156 because ADEQ has updated the general provisions since the issuance of the Title V permit.
ATTACHMENT "A": GENERAL PROVISIONS



ATTACHMENT "B": SPECIFIC CONDITIONStc \l1 "ATTACHMENT "B": SPECIFIC CONDITIONS
Condition V below shall be added to Attachment AB@ of Permit No. 1000156
V. 
Transition Period tc \l2 "V. 
Transition Period 
[A.A.C. R18-2-306.01]
The Permittee shall comply with the following operating scenario after the startup of the General Electric turbine, Unit 104:

A. 
Operating Schedule

1. 
The transition period for this project shall be six calendar months after the startup of new Unit 104. Within 15-calendar days, the Permittee shall provide written notification to the Director upon startup of Unit 104.

[A.A.C. R18-2-306.A.11]
2. 
During the transition period, new Unit 104 shall not be operated concurrently with existing Units P1, P2 or P3.

3. 
After the transition period, existing Units P1, P2 and P3 shall be permanently shutdown. The Permittee shall provide a written notification to the Director of the permanent shutdown of the Units.

B. 
Operational Limit

       [A.A.C. R18-2-306.A.2, -306.01, and -331]
During the transition period, the Permittee shall limit the hours of operation of each of the Units P1, P2 and P3 to 2000 hours.
          
 [THIS IS A MATERIAL PERMIT CONDITION]
C. 
Recordkeeping 
[A.A.C.R18-2-306.A.3.b]

During the transition period, the Permittee shall maintain logs of daily operating hours for the existing Units P1, P2 and P3.

Condition VI below shall be added to Attachment AB@ of Permit No. 1000156
VI. 
GE LM2500 Gas Turbinetc \l2 "VI. 
GE LM2500 Gas Turbine, Unit 104

A. 
Nitrogen Oxide

1. 
Emission Limitations/Standards
[40 CFR '60.332]
a. 
The Permittee shall not cause to be discharged into the atmosphere from the stack of any turbine, any gases which contain NOx in excess of that calculated from the following equation:

STD =  0.0075    (14.4)    +  F

       Y

Where:

STD =
allowable NOx emissions (percent by volume at 15 % O2 and on a dry basis). 

Y  =
manufacturer's rated heat rate at manufacturer's rated peak load (kilojoules per watt hour), or actual measured heat rate based on lower heating value of fuel as measured at actual peak load for the facility.  The value of Y shall not exceed 14.4 kilojoules per watt hour.

F  =
NOX emission allowance for fuel‑bound nitrogen as defined in 40 CFR '60.332(a)(3).

2. 
Testing Requirements 
[40 CFR '60.335.(c).(2), A.A.C. R18-2-312]
a. 
Within 180 days of startup, the Permittee shall conduct or cause to be conducted, an initial performance test at peak load conditions and furnish the Director a written report of the results of the test.

b. 
After the initial performance test, subsequent performance tests shall be conducted on an annual basis under peak load conditions. The Permittee furnish the Director a written report of the results of the test.


B. 
Carbon Monoxide
[A.A.C R18-2-306.01, 331.A.3.a]
1. 
Emission Limitations/Standards


The emissions of CO shall not exceed 40 ppmvd at 15% O2 based on a 3-hour average.
[A.A.C R18-2-306.01, -331]
2. 
Testing Requirements 
[40 CFR '60.335.(c).(2), A.A.C. R18-2-312]
a. 
Within 180 days of startup, the Permittee shall conduct or cause to be conducted, an initial performance under peak load conditions and furnish the Director a written report of the results of the test.
b. 
After the initial performance test, subsequent performance tests shall be conducted on an annual basis under peak load conditions. The Permittee furnish the Director a written report of the results of the test.
C. 
Fuel 
[A.A.C. R18-2-306.A.2]

1. 
The Permittee shall only fire pipeline quality natural gas in the turbine.

2. 
The Permittee shall keep records of the natural gas usage and maintain a vendor-provided copy of that part of the Federal Energy Regulatory Commission approved tariff agreement that contains the sulfur content and lower heating value of the pipeline quality natural gas.

Condition VII below shall be added to Attachment AB@ of Permit No. 1000156
VII.
Caterpillar 3406B Diesel Generator Engine, Unit 123

A.
Emission Standards
             [A.A.C R18-2-719.B, -719.C]
1.
Particulate Matter

a. 
The Permittee shall not cause, allow or permit the emission of particulate matter, caused by combustion of fuel, from any internal combustion engine stack having a heat input rate of 4200 million BTU per hour or less, in excess of the amount calculated by the following equation:

E = 1.02Q 0.769 

where:

E = the maximum allowable particulate emissions rate in pounds-mass per hour

Q = the heat input in million BTU per hour

For the purposes of this condition, the heat input shall be the aggregate heat content of all fuels whose products of combustion pass through the engine stack or other outlet.  The total heat input of all operating fuel burning units on a plant or premises shall be used for determining the maximum allowable amount of particulate matter which may be emitted.

b.
The Permittee shall not cause, allow or permit to be emitted into the atmosphere from the generator, smoke which exceeds 40 percent opacity, for any period greater than ten consecutive seconds.  Visible emissions when starting cold equipment are exempt from this requirement for the first ten minutes.

[A.A.C. R18-2-719.E]
2. 
Sulfur Dioxide
[A.A.C. R18-2-719.F]
The Permittee shall not cause or allow to be discharged into the atmosphere from the generator stack, emissions of sulfur dioxide at a rate greater than 1.0 pound per million Btu heat input.

B.
Fuel Limitations






        [A.A.C. R18-2-306.A.2 and 719.J]
The Permittee shall burn only low sulfur diesel fuel (less than 0.8% sulfur content) in the generator.

C.
Operational Limitations





       [A.A.C. R18-2-306.A.2, -306.01]
The Permittee shall limit the hours of operation of the generator to 2000 hours for any consecutive 12-month period.

          
 [THIS IS A MATERIAL PERMIT CONDITION]
D.
Testing Requirements 
[A.A.C.R18-2-311, -312 and -702]
1 Within 180 days of issuance of this permit, the Permittee shall conduct or cause to be conducted an initial performance test for opacity using EPA Method 9 and furnish the Director a written report of the results of the test.

2.
The Department may deem it necessary to conduct a performance test based on site/operation inspection or excess emissions.  If testing is required, the Permittee shall meet the requirements described in Section XVIII of Attachment "A". The performance test shall be conducted and data reduced (as required by A.A.C. R18-2-312.B) in accordance with the following test method and procedures contained in the Arizona Testing Manual or 40 CFR Part 60, Appendix A:

a.
EPA Reference Method 5 shall be used to determine the concentration of particulate matter.

b.
EPA Reference Method 9 shall be used to determine the opacity of visible emissions.

E.
Periodic Monitoring 
[A.A.C.R18-2-306.A.3]
After the initial performance test, the Permittee shall conduct subsequent EPA Method 9 readings to determine compliance with opacity standards on a quarterly basis.

F.
Recordkeeping Requirements 
[A.A.C.R18-2-306.A.3.b, -719.I and -719.J]
1.
Fuel

The Permittee shall maintain documentation of the type and sulfur content of fuel consumed, and shall report to the Director any daily period during which the sulfur content of the fuel being burned in the generator exceeds 0.8%.

2.
Hours

a. 
The Permittee shall maintain monthly records of the hours of operations of the generator.
b. 
The Permittee shall maintain 12-month rolling totals (i.e., sum of the current month and the previous 11 months) of the operating times of the generator.
3.
Opacity

The Permittee shall maintain records of all quarterly opacity readings in a log.  The record shall have at a minimum the name of the observer, the date and time of opacity test, the source on which the test is being performed and the results of the test.


ATTACHMENT AC@
The following shall be added to the list of applicable requirements in Attachment AC@ of Permit No. 1000156.
ARTICLE 7

EXISTING STATIONARY SOURCE PERFORMANCE STANDARDS 
R18-2-719.A, B, C
Standards of Performance for Existing Stationary Rotating Machinery

E, F, I, J

ARTICLE 9

NEW SOURCE PERFORMANCE STANDARDS 

R18-2-901.1

40 CFR 60, Subpart A, General Provisions
R18-2-901.40
40 CFR 60, Subpart GG
ATTACHMENT AD@
The following equipment shall be added to the list of equipment in Attachment AD@ of Permit No. 1000156. Six months after startup of Unit 104, existing equipment identified as P1, P2 and P3 in Permit 1000156 shall be permanently retired.
	Emission Unit ID
	Description
	Manufacturer
	Fuel Type
	Size
	Serial Number
	Model
	Date of

Manufacture

	104
	Compressor turbine
	General Electric
	Natural gas
	33526 hp @ 60 F (Base load)
	
	LM2500
	2001


The following equipment shall replace the equipment identified as P4 and P5 in Attachment AD@ of Permit No. 1000156. Equipment P4 and P5 shall be permanently retired after issuance of this Significant Revision.
	Emission Unit ID
	Description
	Manufacturer
	Fuel Type
	Size
	Serial Number
	Model
	Date of

Manufacture

	123
	Generator engine
	Caterpillar
	Diesel
	519 hp
	
	3406B
	2001





�Public Notice Version July 19, 1999





Transwestern Pipeline Company 
September 24, 2001

Page 3 of  7
[image: image2.wmf]Significant Revision 1001601


[image: image3.wmf][image: image4.wmf][image: image5.wmf][image: image6.wmf]