Originator/Developer Information Guidelines.

I. General Description of the Project Opportunity.  Include In Service Commercial Date.



When investigating project opportunities, the following information should be obtained to the greatest degree possible by the originator/developer:

II. Site Description


1) Location:  Country, State, County, City, Longitude and Latitude (map if possible)
EPC


2) Altitude of Site


EPC


3) Greenfield / Existing Facility         [circle one] (describe any existing facility, i.e. existing turbines)
EPC


4) Site Accessibility: Road / Rail / Marine

[circle applicable choice(s)]
(give distance of each from site and port name, if applicable)
EPC


5) Available Construction Footprint Dimensions and Description (i.e. flat, rocky, agricultural)
EPC


6) Soil Conditions: Foundation Requirements

(will piling be required?)
EPC


7) Pre-existing Conditions:  Contamination and/or Obstructions (both subsurface and surface)
EPC


III.  Plant Output – Power


1) Peak, Average and Minimum Load

(desired capacity)
EPC


2) Load Profile and Load Factor

(i.e. 5x16 @ 90%)
EPC


3) Interruptibility


EPC


4) Minimum dependable load required


EPC


5) Redundancy requirements


EPC


6) Scheduled system outages


EPC


IV.  Plant Output – Steam


1) Pressure and temperature


EPC


2) Peak, average, & minimum demand


EPC


3) Demand Curve or Profile


EPC


4) Annual consumption


EPC


5) Interruptibility


EPC


6) Minimum Dependable Load


EPC


7) Redundancy requirements


EPC


8) Condensate Return %, quality, contamination


EPC


V.   Plant Output – Water: Hot / Chilled 

[circle applicable choice(s)]


1) Circulating Water Rate


EPC


2) Supply and return temps and pressures


EPC


3) Peak, Average, and Minimum Load


EPC


4) Load Curves, Profile, Load Factor


EPC


5) System losses


EPC


VI.   Plant Output – Other Services:


1) Black Start Capacity


EPC


2) VAR Support


EPC


3) Spinning Reserve


EPC


4) Compressed air


EPC


5) Waste disposal


EPC


6) Water treatment/supply


EPC


7) Other (describe)

EPC


VII.   Plant Input – Fuel: Gas  /  #2 Oil  /  Heavy Oil

[circle applicable choice(s)]


1) Distance to Interconnect, Pipe Diameter, Line Capacity and Variability

(gas)
EPC


2) Permitting / Acquisition / Interconnection Costs  

(gas)
EPC


3) Operating Pressure:  Max Design / Min Actual

(gas)
EPC


4) Composition, HHV & LHV 

(gas or oil) 
EPC


5) Price, delivered     

(gas or oil)
EPC


6) Source of Supply & Nearest Storage Capacity     (oil)
EPC


7) Delivery Options:Pipeline / Rail / Truck / Marine 

(oil)                                   [circle applicable choice(s)]
EPC


8) Sulfur content         

(oil)
EPC


VIII. Plant Input - Other Fuels: Off Gasses  /  Waste Steam Fuels  /  Bio Mass  /  Coal  /  Low BTU Gas  /  Other

[circle applicable choice(s)]

(For each, specify quantity, source, quantity available, method of supply, sulfur content, pressure, temperature, heat value, composition, variability in supply.)



IX. Plant Input – Water: Surface / Ground / Utility

[circle applicable choice]
EPC


1) Source Location and Distance from Site


EPC


2) Available Quantity

(express in gallons per minute – GPM)
EPC


3) Quality and Treatment Requirements

(include temperature in quality description)
EPC


4) Permitting / Acquisition / Interconnection Costs


EPC


5) Unit Cost / Delivered Price


EPC


X.   Waste Disposal


1) Utility Sewer Service Availability

(capacity, pretreatment requirements, cost)
EPC


2) Is Surface Discharge Allowed with Pretreatment?


EPC


3) Zero Discharge Requirements

(describe as applicable)
EPC


4) Thermal Discharge Restrictions

(describe as applicable)
EPC


XI.   Electrical Interconnection


1) Number of Supply Points and Voltages


EPC


2) Connection Type: Single / Double / Looped

[circle applicable choice]
EPC


3) Transmission Export Capacity

(describe possible constraints / upgrades)
EPC


4) Special Interconnection Requirements


EPC


5) Distance of Interconnect Points from Site


EPC


XII.   Environmental Constraints: Air Emissions


1) Air Quality Region


EPC


2) Attainment / Non-Attainment Area

[circle applicable choice]

(describe specific emissions limits.  I.e. ppmdv, tons/year, lbs/mmbtu.  Will other sources be shut down?)
EPC


3) Required Offsets

(describe)
EPC


4) Expected Permitting: PSD / Non-PSD 

     [circle one]
EPC


5) Background Data

(describe, if data is available)


EPC


6) Background Sampling Required:  Yes / No

         [circle one]
EPC


XIII. Environmental Constraints: Liquid Emissions


1) Define Any Constraints


EPC


XIV. Environmental Constraints: Noise Emissions


1) Distance to Nearest Receptor


EPC


2) Day / Night Background Level


EPC


3) Describe Regulatory Requirements and Agency

Involved


EPC


 





























