






[image: image1.jpg]


 Property  Loss  Notice
































Incident #:
            





Account Descriptions:


Originator:
Alden Zeitz


Labor:


Date of Loss:
08-09 Mar 02


Mat/Inv Issues:


Site/Row/Pad #:
Storm Lake II


Equip. Rental:


Return Phone #:
712 284 1070


Outside Services/Repairs:


Return Fax #:
712 284 1068


Time Cards:













 Part I:  (This section must be completed / submitted within 24 hours of loss)






 Date Off Line:08 Mar 02
 Time Off Line:


 Cause:  Freezing rain, sleet, heavy snow and high winds caused power outages.  Site experienced numerous voltage faults.  Unable to run turbines most of the evening through Saturday afternoon.  Also encountered heavy lightning Friday evening into early Saturday morning.  








 Initial Damage Assessment: Loss of production and loss of one blade.  Multiple turbines off line for faults.








 Damages / 3rd Party, if any: None identified yet.












 Part II:  (This section must be completed / submitted within 48 hours of loss)






 Full Damage Assessment:








 Estimated # Manhours Needed To Repair:





 Initial  Replacement Parts Required:





 Assistance with Vendor Crews:





 Equipment / Materials Cost for Repair:





 Production Loss: $/KwH:
 Lost  Revenue $:


 Vendor costs To Repair:





 Anticipated Down Time:









Part III:  (This section must be completed / submitted within 7 days of 


                 completion of repairs)






 Date On Line:
 Time On-Line:


 Full List of Parts Replaced & Part #:  See  Attached:





 Crane:  Date In:
 Crane: Date Out:
Total Crane Hours:                                  


 Employees Working on Event & Dates: Attach Copies of Time Cards


























