Confidential 

DRAFT G

The Omnibus Distributed Energy Resources

And Clean Electricity Act of 2001

(URGENCY Legislation)

1. The Legislature finds and declares all of the following:

(a) California energy customers face a critical shortage of electricity in the years 2001 and beyond.

(b) A shortage of electric generation supply and inadequacies in the transmission and distribution system is creating a severe detrimental impact on the economy.

(c) Electric customers need the ability to use all the tools available to them to increase energy reliability and manage price without penalty.

(d) Distributed energy resources (DER) provides unique benefits to all consumers by immediately shifting demand off of the grid and increasing the supply of generation within California while contributing to improved environmental quality and public health and safety.

(e) It is essential that California allows the installation of clean (DER) to increase the supply of electricity, to increase self-sufficiency of consumers, improve system reliability and encourage new generation to connect to the grid.

(f) In compliance with the Governor’s Energy Plan, Executive Orders AB 970 and other policies regarding load reduction and new generation, the provisions of this Bill are urgently needed.

(g) Existing law allows certain fees, charges, and other restrictions that inhibit customer deployment of clean DER.

(h) Clean DER technologies are environmentally sensitive, help manage the cost of electricity, and improve reliability.

2. Definitions 

(a) Distributed Energy Resources (DER):   DER means distributed energy resources as defined in Section 218 .6 of the Public Utilities Code.  

(b) 
(c) Point of interconnection:  The point where the cogenerator or 
self-generator’s electrical conductors connect with an electric utility owned system. 


3. Utility Rate Schedules 

(a) The use of DER will be treated under utility rate schedules as a customer demand side management measure.

(b)  All customers, whether served by municipal utilities or investor owned UDCs shall be served by tariffs, rates, rules and requirements as they had or would have had without DER and will not be subject to the application of additional rates or tariffs.  Existing tariffs, rates, rules, and requirements shall be amended to preclude the application of standby, departing load, exit, or other similar charges for DER installations.  Any provision in otherwise applicable tariffs to activate other tariffs, rates, rules (except Interconnection Rules) and requirements when DER is installed will be withdrawn.  

(c) 
4. Public Purpose Programs (PPP): Where non-bypassable PPP charges are duplicated as a result of switching from electric to gas service, charges levied under gas rate schedules that support the same programs covered by the non-bypassable electric charges shall not be assessed on customers.

5. Interconnection

(a) By May 1, 2001 the Commission shall adopt simplified interconnection standards and an accelerated implementation process for  DER interconnection applications that are not applicable to  the Simplified Interconnection Process or the Supplemental Review Process as defined in Commission D.00-11-001. The simplified interconnection standards and process adopted by the Commission under this section shall include, but not be limited to, provisions for: 1) that theinterconnection application process shall be completed within forty-five days from the initial request date of application for interconnection; and 2) that the total cost charged to the DER applicant by the utility to complete the application shall not exceed $5 per installed kW.

(b) By May 1, 2001 municipal utilities shall adopt simplified interconnection standards and an accelerated implementation process comparable to that required by the Commission. 

(c) By May 1, 2001, The State Energy Resources Conservation and Development Commission shall adopt an interconnection certification program.  The purpose of this program shall be to certify the safety of DER technology for interconnection with the transmission and distribution system within the State of California.  Manufacturers of DER technology may apply for certification under this program.  Equipment that is certified as safe for interconnection under this program shall be deemed safe for interconnection and accepted by any transmission and distribution utility operating within the State of California.
(d) DER equipment that has been interconnected with a utility company on or after January 1, 1996, shall be deemed to have been certified as safe for interconnection within any utility system within the State of California.
(e) Interconnection agreements shall be between the owner of the DER and the municipal utility or  electric corporation as applicable.  Where necessary, a new customer account shall be established with DER owner.

6. Section 218 .6 of the Public Utilities Code shall be added to read:

218.6.  "Distributed Energy Resource" means any electric generation, storage, or related ancillary technology designed primarily to serve nearby load.
7. Section 216 (j) of the Public Utilities Code shall be added to read:

216 (j) The ownership, control, operation, or management of a distributed energy resource as defined in Section 218 .6 of the Public Utilities Code that delivers energy or energy services to tenants within a building, or buildings within an area of common ownership, shall not make a corporation or person a public utility within the meaning of this section solely because of that ownership, control, operation, management participation, sale, or delivery.
8. The California Independent System Operator Corporation (CAISO)
(a) The CAISO shall not require the metering, telemetry, or scheduling of a retail customer’s consumption of 
electric energy that is satisfied by on-site or over-the-fence generation 
behind the point of interconnection.  Nor shall the CAISO assess any grid management or transmission 
charges on a retail customer’s consumption of electric energy that is 
satisfied by on-site or over-the-fence generation behind the point of 
interconnection. 

(b) The CAISO shall establish and maintain an ongoing demand reduction tariff that allows for the participation of DER equal to or less than one megawatt in size under the criteria established in section 8 (a) of this bill.  
9. Emissions

(a) Nothing in this bill, shall conflict with SB 1298 or Sections 41514.9 and 41514.10 of the Health and Safety Code.

(b) Notwithstanding any current air emissions laws and regulations currently in affect, DER (except for diesel fuel fired back-up generation) that is installed prior to the implementation of California Air Resources Board (CARB) standards and guidelines as required by Sections 41514.9 and 41514.10 of the Health and Safety Code, and meets current Board and local air district requirements, shall be deemed to be in compliance with Board and local district requirements for a period of five years from the date of initial operation. 

(c) Certain DER technologies and installations may not qualify for the CARB certification as defined in Sections 41514.9 and 41514.10 either because of their size, complexity, uniqueness of technology, or for other reasons.  The Legislature recognizes that for certain installations, while individual components may or may not be eligible for certification, in aggregate the DER system may provide substantial environmental benefits. Therefore, the Legislature directs the ARB to develop guidelines for local districts to permit this type of DG installation. The guidelines that the ARB develops shall take into account the following:

i. The level of emissions attributable to the facility at the installation location prior to the installation of the DG system shall be determined.  The district shall consider the average annual electricity consumption at the facility, the average grid emissions level, as well as specific sources at the facility in determining the attributable emissions.

ii. The level of emissions attributable to the facility at the installation location after the installation of the DG system shall be determined.  The ARB shall develop methodologies for which the districts shall consider; the effect on emissions of reduced line losses, the application of cogeneration, accompanying energy efficiency and optimization measures, and other factors such as, but not limited to the installation of zero or near zero emissions technologies.

iii. The ARB shall use a volumetric methodology, taking into account grams of emission components per unit of useful energy produced or consumed in determining emission levels for DG.  

10. Municipal utilities shall, and the Commission shall require electric corporations ,  to develop and provide public access to capacity expansion plans and annual projections for each of the five future years for inadequate and potentially inadequate transmission and distribution areas.

11. Municipal utilities shall, and the Commission shall require electric corporations , to adopt rules requiring compensation to customers for the value of DER that provides grid benefits. 

12. 12. Section ___ of the Public Utilities Code shall be added to read: 

(a) Whenever electrical corporations evaluate the need for grid enhancements, they shall be required, in a public process, to first seek to obtain or mitigate the need for such enhancements from existing and new customer-owned and other non-utility DER before installing DER that they own or lease.  DER owned or leased by electric corporations shall not be placed in rate base. 

(b) When electric corporations obtain grid benefits from existing and new customer-owned and other non-utility DER, the Commission shall require electric corporations to share a minimum 50% of the realized  cost savings with the customers and other non-utility owners of the DER. The Commission shall determine a method of ascertaining the level of grid benefits. 

13. Combined gas and electric corporations shall provide customers that are switching loads from electric to gas with a level of service no less than the service provided a new customer seeking the equivalent gas service.

14. By May 1, 2001, the Commission shall establish a new “distributed generation” gas rate.  This rate shall place customer’s taking service on this rate at a higher priority of service above all other non-core customers.  The price charged to a customer taking service on this rate shall be equal to or the lesser of 1) the price charged to any other comparable “electric generation” rate, or 2) the rate charged for a cogeneration customer, as applicable.  This rate shall be available to serve a natural gas fueled DER. 
2/6/01
Page 1 of 1

