                 UNITED STATES OF AMERICA 97 FERC 
 61,099

                    FEDERAL ENERGY REGULATORY COMMISSION

                               18 CFR Part 35

                          [Docket No. RM02-1-000]

     Standardizing Generator Interconnection Agreements and Procedures

                   Advance Notice of Proposed Rulemaking

                             (October 25, 2001)

     AGENCY:   Federal Energy Regulatory Commission.

     ACTION:   Advance Notice of Proposed Rulemaking

     SUMMARY: The Federal Energy Regulatory Commission (Commission)

     seeks comments on a standard generator interconnection agreement

     and procedures that would be applicable to all public utilities

     that own, operate or control transmission facilities under the

     Federal Power Act.

     DATES:   Written comments must be received by the Commission by

     December 21, 2001. 

     ADDRESS:  Office of the Secretary

               Federal Energy Regulatory Commission

               888 First Street, N.E.

               Washington, D.C.  20426

     FOR FURTHER INFORMATION CONTACT:

     David Faerberg (Legal Information)

     Office of the General Counsel

     Federal Energy Regulatory Commission

     888 First Street, N.E.

     Washington, D.C.  20426

     (202) 208-1275

     Patrick Rooney (Technical Information)

     Office of Market, Tariffs and Rates

     Federal Energy Regulatory Commission

     888 First Street, N.E.

     Washington, D.C.  20426

     (202) 501-5546

     Roland Wentworth (Technical Information) 

          Docket No. RM02-1-000     -2-

     Office of Market, Tariffs and Rates

     Federal Energy Regulatory Commission

     888 First Street, N.E.

     Washington, D.C.  20426

     (202) 208-1288

     SUPPLEMENTARY INFORMATION:

                          UNITED STATES OF AMERICA

                    FEDERAL ENERGY REGULATORY COMMISSION

     Standardizing Generator Interconnection      Docket No. RM02-1-

                                                  000

          Agreements and Procedures

                   Advance Notice of Proposed Rulemaking

                             (October 25, 2001)

          The Federal Energy Regulatory Commission (Commission)

     intends to adopt a standard generator interconnection agreement

     and procedures that would be applicable to all public utilities

     that own, operate or control transmission facilities under the

     Federal Power Act.  As discussed more fully below, the Commission

     requests comments on these contractual provisions and procedures. 

     After receiving and considering these comments, the Commission

     will issue a notice of proposed rulemaking (NOPR). 

     I.   Background

          Docket No. RM02-1-000     -2-

                            1

          In Order No. 888,   the Commission mandated that public

     utilities provide non-discriminatory or comparable open access

     transmission service.  Order No. 888 also  established

     standardized terms and conditions for public utility-provided

     transmission service, i.e., a pro forma transmission tariff.

          However, Order No. 888 does not directly address generator

     interconnections, which are implicitly included as a part of

                                                                  2

     transmission service.  In Tennessee Power Company (Tennessee) ,

     the Commission held that interconnection service is an element of

     transmission service, that customers have the right to request

     interconnection separately from the delivery component of

     transmission service, and that interconnection must be offered

     under the terms of the pro forma tariff.  The Commission has also

     held that customers have the right  to request the transmission

     provider to file an unexecuted interconnection agreement if a

                                        3

     dispute cannot be quickly resolved.  

               1

                Promoting Wholesale Competition Through Open Access

          Nondiscriminatory Transmission Services by Public Utilities;

          Recovery of Stranded Costs by Public Utilities and Transmitting

          Utilities, Order No. 888, FERC Stats. & Regs. 
 31,036 (1996),

          clarified, 76 FERC 
 61,009 and 76 FERC 
 61,347 (1996), on

          reh'g, Order No. 888-A, FERC Stats. & Regs. 
 31,048, clarified,

          79 FERC 
 61,182 (1997), on reh'g, Order No. 888-C, 82 FERC

          
 61,046 (1998), aff'd sub nom. Transmission Access Policy Study

          Group v. FERC, 225 F.3d 667 (D.C. Cir. 2000), cert. granted in

          part and denied in part, 69 U.S.L.W. 3574 (U.S. Feb. 26, 2001).

               2

                90 FERC 
 61,238 (2000), order on reh'g, 91 FERC 61,271

          (2000).

               3

                See, e.g., American Electric Power Service Corporation, 91

          FERC 
 61,308 (2000); Commonwealth Edison Company, et al., 92

          FERC 
 61,018 (2000).

          Docket No. RM02-1-000     -3-

          Although a number of parties have requested that the

     Commission initiate a generic proceeding or industry

     collaboration to address interconnection concerns, the Commission

     until now has declined to do so.  In addressing these requests,

     the Commission encouraged utilities to revise their open access

     transmission tariffs (OATTs) to include procedures for requesting

     interconnections services and the criteria for evaluating those

     requests.  The Commission has also stated that because a regional

     transmission organization (RTO) will administer its pro forma

     tariff, it was the Commission's hope that compliance with the RTO

                                 4

     rulemaking in Order No. 2000  would eliminate concerns about

     interconnection procedures.

          Consistent with the Commission's encouragement, a number of

     transmission providers have filed interconnection procedures as

                                     5

     part of their pro forma tariffs.   Some of these providers have

     filed pro forma interconnection agreements, while others have

     submitted only procedures explaining how interconnection requests

     will be processed.            While there have been a number of

     positive developments with respect to interconnection procedures,

     the Commission recognizes that there is still dissatisfaction and

               4

                Regional Transmission Organizations, Order No. 2000, FERC

          Stats. & Regs. 
 31,089 (1999), order on reh'g, Order No. 2000-A,

          FERC Stats. & Regs. 
 31,092 (2000), petitions for review pending

          sub nom. Public Utility District No. 1 of Snohomish County,

          Washington v. FERC, Nos. 00-1174, et al. 

               5

                See, e.g., American Electric Power Service Corp., 91 FERC

          
 61,308 (2000); Southwest Power Pool, Inc., 92 FERC 
 61,109

          (2000); Carolina Power & Light Company, 93 FERC 
 61,032 (2000);

          Virginia Electric and Power Co., 93 FERC 61,307 (2000); Consumers

          Energy Co., 93 FERC 
 61,339 (2000).  

          Docket No. RM02-1-000     -4-

     uncertainty with existing interconnection policy and procedures

     that may have resulted in less investment in infrastructure and

     less confidence in the competitiveness of the markets.  In a

     number of contexts, the Commission has received comments from

     both generators and transmission providers concerning existing

     interconnection policy and procedures.   

          Generators assert, among other things, that (1) there is

     difficulty in securing interconnection without requesting

     delivery, (2) the treatment they receive is not  

     comparable to the treatment received by the transmission

     provider s own generation, 

     (3) system upgrade costs charged to generators are sometimes not

     related to the interconnection, (4) there are delays and

     uncertainty due to the lack of binding commitments and firm

     deadlines in transmission providers' pro forma tariffs, and (5)

     there is a lack of transparency of transmission information

     needed to make an independent assessment of the impact of an

     interconnection request.

          On the other hand, transmission providers argue that they

     need (1) minimum commitments from generators seeking to

     interconnect prior to performing studies to weed out those who

     will likely never interconnect, resulting in a more manageable

     and realistic queue, (2) assurance that their control area will

     benefit from, or at least not be burdened by, adding generators,

     particularly when the new generator seeks to locate on one system

          Docket No. RM02-1-000     -5-

     but serve load on another, and (3) improved communication between

     the generators and the loads they serve.

     II.  Discussion

          Generator interconnection is a critical aspect of open

     access transmission service. 

     In order to fully realize the benefits of open access

     transmission service, interconnection procedures must be

     established that will encourage needed investment in

     infrastructure, remove incentives for transmission providers to

     favor their own generation, ease entry for competitors, and

     encourage efficient siting decisions.  In the Commission's view,

     standard interconnection procedures are essential for providing

     the right incentives for both transmission providers and

     generators.  Accordingly, the Commission intends to adopt a

     standard generator interconnection agreement and procedures that

     would be applicable to all public utilities that own, operate or

     control transmission facilities under the Federal Power Act.

          The Commission is considering basing the standard

     interconnection agreement and procedures on the Standard

     Generator Interconnection Agreement and Generation

     Interconnection Procedure of the Electric Reliability Council of

                   6

     Texas (ERCOT),  as supplemented and modified by the various "best

     practices" that have been identified by the Commission in

               6

                The ERCOT agreement and procedures are attached as Appendix

          A to this order.

          Docket No. RM02-1-000     -6-

     Attachment A to this order.  (References in the ERCOT Agreement

     and Procedure to the Public Utility Commission of Texas should be

     generally understood for purposes of this ANOPR as references to

     FERC).  These "best practices" are based, in part, on generator

     interconnection agreements and procedures that have been approved

     by the Commission in past cases.  For purposes of commenting in

     this proceeding, assume that our current pricing policy as

     reflected in Attachment B is in effect.  However, commenters

     should not interpret this as an indicator of our preference for a

     long-term pricing policy.  Cost responsibility and pricing will

     be addressed in a subsequent rulemaking.  

          Commenters advocating a standard agreement and procedures

     other than the ERCOT model as supplemented and modified by the

     "best practices" in Attachment A should specify in detail how

     their proposals differ from the foregoing and are superior to or

     more appropriate than the proposal herein.  Any approaches

     suggested by commenters must be in the public interest by

     promoting competition and economic efficiency .

          The Commission strongly encourages interested persons to

     pursue consensus on these issues through procedures that will be

     initiated through a separate notice.  As part of these procedures

     and separate from comments on this ANOPR, by December 14, 2001,

     participants will be required to file a single document

     reflecting as much consensus as possible on a standard generator

     interconnection agreement and procedures as well as pros and cons

     on issues where consensus was not reached.  Any consensus reached

          Docket No. RM02-1-000     -7-

     among all interested persons will be the foundation for the

     subsequent NOPR, to the extent consistent with the Commission's

     statutory responsibility and the guidance above.  Issues not

     resolved by consensus among all interested persons will be

     addressed in the subsequent NOPR consistent with this and the

     preceding paragraph.    

     III. Comment Procedures

          The Commission invites interested persons to submit

     comments, data, views and other information concerning matters

     set out in this notice.

          To facilitate the Commission's review of the comments,

     commenters are requested to provide an executive summary of their

     position on the issues raised in the Advance Notice of Proposed

     Rulemaking (ANOPR).  Commenters are requested to identify each

     specific issue posed by the ANOPR that their discussion addresses

     and to use appropriate headings.  Additional issues the

     commenters wish to raise should be identified separately.  The

     commenters should double-space their comments.

          Comments may be filed on paper or electronically via the

     Internet and must be received by the Commission by December 21,

     2001.  Those filing electronically do not need to make a paper

     filing.  For paper filings, the original and 14 copies of such

     comments should be submitted to the Office of the Secretary,

     Federal Energy Regulatory Commission, 888 First Street, N.E.,

     Washington D.C. 20426 and should refer to Docket No. RM02-1-000.

          Docket No. RM02-1-000     -8-

          Comments filed via the Internet must be prepared in

     WordPerfect, MS Word, Portable Document Format, or ASCII format. 

     To file the document, access the Commission's website at

     www.ferc.gov and click on "e-Filing," and then follow the

     instructions for each screen.  First time users will have to

     establish a user name and password.  The Commission will send an

     automatic acknowledgment to the sender's E-Mail address upon

     receipt of comments.

          User assistance for electronic filing is available at 202-

     208-0258 or by E-Mail to efiling@ferc.fed.us. Comments should not

     be submitted to the E-Mail address.  All comments will be placed

     in the Commission s public files and will be available for

     inspection in the Commission s Public Reference Room at 888 First

     Street, N.E., Washington D.C. 20426, during regular business

     hours.  Additionally, all comments may be viewed, printed, or

     downloaded remotely via the Internet through FERC's Homepage

     using the RIMS link.  User assistance for RIMS is available at

     202-208-2222, or by E-mail to RimsMaster@ferc.fed.us .

     IV.  Document Availability  

          The Commission provides all interested persons an

     opportunity to view and/or print the contents of this document

     via the Internet through FERC's Home Page 

     (http://www.ferc.gov ) and in FERC's Public Reference Room during

     normal business hours (8:30 a.m. to 5:00 p.m. Eastern time) at

     888 First Street, N.E., Room 2A, Washington, DC 20426.  This

     document will be published in the Federal Register without the

          Docket No. RM02-1-000     -9-

     ERCOT Standard Generator Interconnection Agreement and Generation

     Interconnection Procedure.  Those documents can be viewed in the

     Public Reference Room or via the internet at

     http://www.ferc.gov/electric/gen_inter.htm. 

          From FERC's Home Page on the Internet, this information is

     available in both the

     Commission Issuance Posting System (CIPS) and the Records and

     Information Management System (RIMS).

     - -  CIPS provides access to the texts of formal documents issued

          by the Commission since November 14, 1994.

     - -  CIPS can be accessed using the CIPS link or the Energy

          Information Online icon.

          The full text of this document is available on CIPS in ASCII

          and 

          WordPerfect 8.0 format for viewing, printing, and/or

          downloading.

     - -  RIMS contains images of documents submitted to and issued by

          the Commission

          after November 16, 1981.  Documents from November 1995 to

          the present can be

          viewed and printed from FERC's Home Page using the RIMS link

          or the Energy

          Information Online icon.  Descriptions of documents back to

          November 16, 1981,

          are also available from RIMS-on-the-Web; requests for copies

          of these and other

          Docket No. RM02-1-000     -10-

          older documents should be submitted to the Public Reference

          Room.

          User assistance is available for RIMS, CIPS, and the Website

     during normal business hours from our Help line at (202) 208-2222

     (E-Mail to 

     WebMaster@ferc.fed.us ) or the Public Reference at (202) 208-1371

     (E-Mail to

     public.referenceroom@ferc.fed.us ).     

          During normal business hours, documents can also be viewed

     and/or printed in FERC's Public Reference Room, where RIMS, CIPS,

     and the FERC Website are 

     available.  User assistance is also available.

     By direction of the Commission.

     ( S E A L )

                                        David P. Boergers,

                                              Secretary.

          Docket No. RM02-1-000     -11-

                                                       Attachment A

                               BEST PRACTICES

          The items discussed in this attachment are intended to be

     additions or modifications to the ERCOT Interconnection

     Procedures.

          1.   Comparable Treatment:    

               Transmission Providers who are also load serving

               entities are currently permitted to reserve (set aside)

               transmission capacity for use by future network

               resources to meet projected load growth.  Under the new

               interconnection procedures, other suppliers such as

               merchant plants will be allowed to be competing network

               resources for meeting load and load growth without

               having to be selected as a designated  network resource

               at the time of interconnection.   

          2.   Generators Must be Offered Multiple Interconnection

                         7

               Products:  

               Energy Resource:    If the Generator elects to become

                                   an energy resource, it will be

                                   permitted to connect to the

                                   Transmission Provider's system and

                                   deliver the generating facility's

                                   output using the existing capacity

                                   of the transmission system on an

                                   "as available" basis.   The

                                   Transmission Provider must conduct

                                   the necessary studies and construct

                                   minimal network facilities needed

                                   to allow the Generator to

                                   interconnect its facility to the

                                   grid and deliver the output on an

                                   "as available" basis.         

               Capacity Resource:  The Transmission Provider must

                                   conduct the necessary studies and

                                   construct the network facilities

                                   needed to integrate the

                                   Generators's facility in a manner

                                   comparable to that in which the

                                   Transmission Provider integrates

               7

                    The definitions are adapted from those used by PJM.  

                    See PJM Interconnection L.L.C., 87 FERC 
 61,299

                    (1999).

          Docket No. RM02-1-000     -12-

                                   its generating facilities to serve

                                   native load customers.     

          3.   Exemptions 

               Small generators (20 MW and below), including those

               owned by Transmission Providers or their affiliates,

               will be exempt from paying for interconnection studies

               or network upgrades.   Interconnection of generating

               facilities of this size will not materially affect the

               Transmission Provider's system.   The Transmission

               Provider will have streamlined procedures in place for

               administering interconnection requests from small

               generators (e.g., only conducting a feasibility study

               at no charge to determine the minimal facilities

               necessary to accommodate the request).

          4.    Queuing

               If requests are processed on an individual basis, the

               initial queue position for all interconnection requests

               will be based on the date that the Transmission

               Provider receives the request.   If requests are

               processed jointly, the initial queue protocol may be

               modified.   The interconnection procedures will set

               forth reasonable milestones and requirements which the

               Generator must meet to retain its position in the

               queue.   In addition to the time line procedures listed

               in Section 7 of this attachment, if the Generator

               misses any stipulated milestones or requirements (i.e.,

               milestones tied to obtaining necessary application and

               governmental approvals to show the project is on track) 

               it will be given 10 working days to correct any

               deficiencies or lose its place in the queue (unless the

               Generator can reasonably demonstrate that extraordinary

               circumstances prevented it from meeting the deadlines). 

                A Generator will also risk losing its queue position

               if material changes are made to the initial request

               (e.g., substantially revising the size or configuration

               of the facility).   

          5.   Deposits: 

               Generators will be responsible for the costs of all

               required studies.   Generators will be required to

               submit a $2,000 non-refundable deposit at the time it

               submits the initial interconnection request; a $10,000

               non-refundable deposit and demonstration that it has

               applied for necessary permits before any feasibility

               studies commence; a $50,000 deposit if the Transmission

          Docket No. RM02-1-000     -13-

               Provider is asked to proceed with a System Impact Study

               (with any amount over the actual study costs

               refundable); and a $100,000 if the Transmission

               Provider is asked to proceed with a Facilities Study

               (with any amount over the actual study costs

               refundable).   

          6    Generator Siting

               Transmission Providers will post on their web site

               what, in their view, are the optimal and non-optimal

               sites on their system for locating prospective

               generating facilities.   Transmission Providers need to

               identify areas where, for example, due to load growth,

               siting would require minimal network upgrades.  Also,

               the Transmission Provider should identify areas where,

               for example, due to transmission constraints,

               significant network upgrades would be required, and the

               expected delay before such upgrades will be made.   

          7.   Project Time lines 

               The time lines associated with the construction of both

               Generator's and Transmission Provider's interconnection

               facilities must be the same.   At the Transmission

               Provider's option, System Impact Studies may be

               conducted in response to individual requests or,

               alternatively, all requests received may be studied

               jointly every six months (e.g., June 30th and December

               31st) during the year.   If the latter approach is

               taken, the study completion date would become 90 days

               after the joint study commencement date.  

               Review Interconnection Request 

               and Acknowledgment:           Within 5 business days

               Perform Initial Feasibility Study:      Within 30

                                                       business days

                                                       of receipt of

                                                       acknowledgment

                                                       of request

               System Impact Study Agreement 

               Tendered to Generator:             Within 15 days of

                                                  completed study

               Executed System Impact 

               Study Agreement:                   Within 15 business

                                                  days of receipt of

                                                  System Impact Study

                                                  Agreement

          Docket No. RM02-1-000     -14-

               Completed System Impact Study:          Within 60 days

                                                       of receipt of

                                                       Executed   8

                                                       Agreement   

               Facilities Study Agreement

               Tendered to Generator:             Within 30 days of

                                                  completed System

                                                  Impact Study 

               Executed Facilities Study 

               Agreement Filed:                   Within 15 days of

                                                  receipt of

                                                  Facilities Study

                                                  Agreement

               Perform Facilities Study:               Within 60 days

                                                       of receipt of

                                                       Executed

                                                       Agreement

               Execute or Request Filing of 

               Unexecuted Interconnection

               Agreement:                    Within 30 days of receipt

                                             of Facilities Study 

               8

                    Applies only if Transmission Provider elects to conduct

                    studies on an individual basis.

          Docket No. RM02-1-000     -15-

                                                          Attachment B

                                  PRICING

          1.   Interconnection Facilities:   Direct Assignment

               Interconnection Facilities are defined as all

               facilities needed to establish the direct electrical

               interconnection between the Generator's facility and

               the Transmission Provider's network.   The Generator is

               obligated to pay for 100 percent of the cost of all the

               interconnection facilities.

          2.   Network Facilities

               Network Facilities are defined as all facilities from

               the point where the generator connects to the grid,

               including facilities necessary to remedy short-circuit

               and stability problems.   As discussed further below,

               the costs of these facilities will be borne initially

               by the Generator and will be credited back to the

               generator that funded them (including the time value of

               money) through payments for transmission service. 

          3.   Credits to Follow Transmission Service

               In general, the Generator will be required to pay up

               front for any network upgrades that would not be needed

               "but for" the interconnecting customer.  Generators

               will then be entitled to a credit, to be applied

               through future transmission rates, for any such costs

               that they are required to bear.  The transmission rates

               through which this credit will be applied will include

               rates for all transmission service utilized by the

               Generator after the date of the interconnection.  Such

               service will include not only new point to point

               service taken by the Generator from the location of its

               new facility, but also any other transmission service

               taken by that Generator from the Transmission Provider. 

               In addition, the credit will be applied to the rates

               for any transmission service, including both point to

               point and network service, used by loads to deliver the

               output of the new facility to their location.  

          4.   Time Value for Network Upgrade Costs

          Docket No. RM02-1-000     -16-

               Generators will be entitled to receive interest on the

               outstanding balance of network upgrade costs that they

               are required to bear.  Interest will be calculated

               annually consistent with 18 CFR 
 35.19a(a)(2) of the

               Commission's Regulations.

     THE ERCOT STANDARD GENERATION INTERCONNECTION AGREEMENT IS

     AVAILABLE IN THE PUBLIC REFERENCE ROOM AND RIMS.

