February 24, 2000

Notes from RPU Meeting

Conference Call included: 

Enron Corp. – Oscar Dalton, Ozzie Pagen, Russ Porter, Ben Rogers, and Bruce Golden

Rochester Public Utility – Larry Koshire, Wally Schlink, and Kenneth Korinek (Burns & McDonnell)

Taxable vs. Non-Taxable Project Financing 

· Currently RPU has Bond Council Committee in place to deal with financing issues

· RPU Concerns

· Having a PPA over the six years may use up a large portion of their allocated MWhr/yr run permitted time for non-taxable financing 

· Can not exceed 10% or 15 MM of the run hours of the facility

· Do not have clear answer for all the issues

· May want to have Enron step out of deal earlier than the 6 years

· The first 3-5 years RPU may have to use taxable bonds.  Will this cause Enron any heartburn?

· All T&D equipment will be installed on a non-taxable bases

· Rochester currently holds an AAA rating

Title Transfer (Mike Miller)

· Enron would transfer title of turbine at completion of the EPC contract (post turbine test)

· Must have either one of the following (attached with turbine sale):

· EPC contract

· Gas supply contract

· Power Purchase Agreement

· Enron can not sell the turbine outright 

· All GE warranties will rollover at time of transfer (when RPU becomes title owner of machine)

· RPU would have a problem with using an SPV to transfer title

Operating Discussion with Bruce Golden & RPU
· Scope includes gas compressors, step-up transformers, auxiliary services, etc.

· A 500,000 fuel tank on site

· LDC will take on some work with respects to the pipeline expansion/construction

· Demin. needs to be included on the site for the water treatment

· No Black Start needed

· Scope docs. Will take 2 to 4 weeks

· Not sure whether Union or Non-union wages at the site

· Enron open to discuss BI Insurance, leasing opportunities and whether or not Enron would take on O&M for the first couple of years.

Need Information:

· Capacity Payment (RPU might come up with this #)
· Bid Process Package (with or w/o O&M numbers and PPA information)
· Partial load Heat Rate to determine output split

