DRAFT WSCC REAL-TIME ETAGGING PROBLEMS & SOLUTIONS

1) POR/POD List:

A Proposed Solution:
Each Control Area (CA) Responsible for publishing a full & complete list for use by ________, 2001.  If not complete??  If they deny tag when good POR/POD used they will be financially liable.  (Also, if on the Tag, the POR/POD is acceptable by one of the CA’s involved, the second CA cannot deny.)

2) Firm Rights Deadlines 40 after:

A Proposed Solution:
Move Etag Deadline to 40 after.  Move Ramp start to top of the hour.

3) CA/TP  Erroneously Denying of Tag:

A Proposed Solution:
Make CA and/or TP Financially liable for errors.  If they cannot convince others in schedule to allow it to flow.

4) Internet Is a Weak Link (OASIS seems to be overload):

A Proposed Solution:
Short term – The submitted time should be the time stamp (not received).

Long Term – Separate system WSCC FERC/NERC/communication.

5) Automatic Denial Systems:

A Proposed Solution: – Must have all CA/TP manually approve Tags after initial filtering.  No auto denial for late Tags written into policy.

6) Updated phone lists on website:

A Proposed Solution:
If phone # incorrect, $10,000 penalty/week until fixed.

7) Conflicting Business practices:

A Proposed Solution: – Standard WSCC Business practice by June 30, 2001.

8) Special Cases (Emergencies?):

A Proposed Solution: – Emergencies be defined concisely & only emergencies are allowed to flow with no tag.

9) Tags in Preschedule denied, but accepted in RT:

A Proposed Solution:
10) Lack of Participation by All Entities:

A Proposed Solution: Publish a list of non-taggers.

11)  A Large number of incorrect Tags:

A Proposed Solution: 1.7spec. Will allow easy corrections.

12)  A Large volume of tags are received toward the end of the scheduling hour:

A Proposed Solution: This practice must change in order to manage the workload.

13) Variations in Vendors Software:

A Proposed Solution: 
14)  The speed of the software for tag approval is to SLOW:

A Proposed Solution:

15) Lack of Staffing led to a large number of tags going conditional and/or denied:

A Proposed Solution: Companies should be reviewing tags continuously.  There should be an active approval rule.

16)  A Correct POR/POD list:

A Proposed Solution: We should only used the NERC master register list.

17)  How do we handle Dynamic Schedules:

A Proposed Solution:

18) How do we handle Losses?

A Proposed Solution:

19)  How do we keep Etags as a reliability tool instead of marketing tool:

A Proposed Solution: More participation by the Security Coordinator.

20)  Entities are getting are 90% failure rate on Etags, that means it is not a validated tag:

A Proposed Solution:  No tag, No flow??? 

21)  Due to error rate & lack of accuracy & timing issues in R/T, Entities are concerned with who will take the HEAT if we go “No Tag, No flow:

A Proposed Solution: The WSCC/NERC will take financial responsibility for all Blackouts/System problems???

GCarter:2378:R/T Etag Problems & Solutions
              1
2
GCarter:2378:R/T Etag Problems & Solutions


