RUG Update – 12/14/00

RUG Decisions – No TAC Action Required

· Report on 10/23 RUG Meeting – Load Profiles and Weather Zones

RUG Issues Approved

· Balancing Up Load (BUL)
-- PIP112

· Ramping Credit in SCE Calculation  -- PIP110

· SCE Calculation Revision for Load Resources  -- PIP113

· Correction to Uninstructued Deviation Pricing Equations  -- PIP107

· HVDC Tie Export Clarification  -- PIP109

· Uninstructed Deviation Pricing for Uncontrollable Renewables  -- PIP107/115

· Sub-QSEs  -- PIP108

· Transfer of ERCOT Transmission Loss Factors  -- PIP146

· Concurrent Processing  -- PIP187

· TX SET 814_04  -- PIP185

· TX SET 814_20  -- PIP196

· Switch Requests  -- PIP189

· Drop to POLR  -- PIP194

· LSE Obligation for Assignment of AS Obligation  -- PIP144/200

· 50MW Block Load Option  -- PIP210

· EPS Metering Added Subsection – PIP204

· Clarified Dispatch Instructions – PIP158

· Deployment of Non-Spin  --PIP122 

· Approved Transmission Outages  --PIP143

· ERCOT Audit Language (Code of Conduct) (Mark Walker to Distribute)

· Default QSE  --PIP103

· Plant v. Resource Specific Output in OOME  --PIP126

RUG Issues Withdrawn

· RMR  -- PIP114

RUG Issues – Remain Unresolved

· Local Congestion   -- PIP120

RUG Issues Sent to TAC for Approval

· Block Load Transfers  -- PIP209

· Alternative Dispute Resolution

· Permit Pending Issue

