*Revised:  August 22, 2001  07:00 CCT

*Transwestern and Alstrom representatives will be evaluating 

  the damage and making a decision if the unit can be repaired

  on site or have to be shipped to the manufacturer for repairs.

To:  All Transwestern Pipeline Customers

Transwestern Pipeline experienced a Force Majeure Event

at the Gallup compressor station located on the San Juan 

Lateral in New Mexico. The unit is down and Teams are 

evaluating the situation.  As a precautionary measure, 

Transwestern will be allocating San Juan Lateral and M/L

Thoreau West System until further notice.

Please continue to monitor Transwestern’s  Internet Web 

site for updates.

San Juan Lateral Capacity:

Total capacity for San Juan Lateral will be reduced from 

850,000 mmbtu/d to approximately 800,000 mmbtu/d. 

M/L Thoreau West System Capacity:

Total capacity for M/L Thoreau West System will be reduced 

from 1090,000 mmbtu/d to approximately 1010,000 mmbtu/d.

