DOCKET NO. 23220

petition of the electric
§
public utility commision


reliability council of texas
§


of Texas

for approval of the ercot
§

protocols
§

REVISED RESPONSE TO QUESTION 4 OF JANUARY 19

TECHNICAL CONFERENCE SELECTED QUESTIONS

RAISED BY COMMISSION STAFF

As directed by Commission staff at the January 19, 2001, Technical Conference in this docket, ERCOT hereby files this revised response and ERCOT system simulation regarding Question No. 4 of “January 19, 2001, PUC Staff Selected Questions:”
Question 4

Please expand your answer regarding the earlier example provided on congestion management to explain the way the following concerns are addressed:  i) Capacity inadequacy, ii) local congestion, and iii) zonal congestion.  In particular, please expand on the following areas: 

a) Determination of MCPC for the selected resource(s)

b) Determination of MCPE for selected resource(s) deployed to clear congestion

c) Reliance on optimization models, if any, to manage congestion (succinct description of the model)
d) Allocation of costs among items i through iii mentioned above
e) A step by step explanation of example 4.5.A 2 of the Addendum to ERCOT MOS Analytical Function Software Specification Document (SSD).

Example:

· [image: image1.wmf] 

CSC

-

1

 

CM Zone A

 

CSC SF: 0.3

 

Projected load: 200MW

 

QSE A Scheduled Gen: 500MW

 

Inc Bids: 200MW @ $5/MWh

 

Dec bids: 100MW @ $0/MWh

 

Sched gen, participation factors 

 

Resource A1: 250MW, 0.5

 

Resource A2: 150MW, 0.3

 

Resource A3: 100MW, 0.2

 

Limit

 

279

 

CM Zone B

 

CSC SF: 

-

0.5

 

Projected Load: 500MW

 

QSE B Scheduled Gen: 150MW

 

Inc bids: 100 MW @ $8/MWh

 

Dec bids: 100 MW @ $0/MW

 

Sched Gen, participation factors 

 

Resource B1: 150MW, 1.0

 

For consistency, we have used the example in the MOS MAF addendum, referenced in Question 4.e)
In this example, given that

1) there are two CM zones (A and B) in the system  

2) ERCOT projects 200 MW of load in Zone A and 500 MW in Zone B during a study interval

3) from submitted resource schedules, ERCOT knows (or a computer program knows) that total resources available in Zone A is 500 MW (all from QSE A), 150 MW in Zone B (all from QSE B) for that interval

4) annualized average shift factor for Zone A is 0.3, for Zone B is –0.5

5) Inc Bid in Zone A  is 200 MW @ $5/MWh, Inc Bid in Zone B is 100 MW @ $8/MWh

6) CSC limit is predefined as 279 MW

7) from Resource Plan, we know that during next interval there are 3 units on line (A1, A2 and A3); A1 is expected at 250 MW, A2 at 150 MW, A3 at 100 MW.  Similarly, only unit in Zone B - B1, is scheduled at 150 MW
8) from real-time SCADA data, we also know that there are 3 units on line (A1, A2 and A3); A1 is at 250 MW, A2 at 150 MW, A3 at 100 MW.  Only unit in Zone B - B1, is at 150 MW
9) when BES is deployed, it is expected that different units will increase/decrease their output from their real-time output level based on their individual participation factors (A1 => 0.5,  A2 => 0.3, A3 => 0.2, B1 => 1.0)

10) Unit specific incremental premiums received are $4/MWh incremental for A1, $3/MWh for A2, $2/MWh for A3 and $5/MWh for B1; unit specific decremental premiums received are $3/MWh incremental for A1, $2/MWh for A2, $1/MWh for A3 and $2/MWh for B1
11) From above conditions, it is expected that there is 50 MW of resource shortage (= total load – total scheduled resources = 200 + 500 – 500 – 150 = 50 MW).  Therefore 50 MW of BES is needed for this interval.

12) Intuitively since $5/MWh of Inc bid is a lowest bid, 50 MW would be cleared in Zone A if there is no Zonal Congestion.  Let’s calculate MW flow along CSC if this 50 MW is procured in Zone A:

MW flow on CSC =  (500 + 50 – 200)*0.3 + (150 – 500)*(-0.5) = 280 MW (> 279 MW)

Therefore, the MW flow on CSC is 1 MW over its limit and the Zonal Congestion does exist.

13) In summary, we know during this study interval, 50 MW of BES is needed and Zonal Congestion is detected.

The following algorithm is used to determine where and amount of BES will be needed.

Optimization Model

Step 1, the general optimization model is:
Objective function: minimize cost while resolving resource insufficiency and Zonal Congestion

Decision variables: balancing energy bids portfolio

Constraints: zonal congestion, power balance, ramp rate limit

Step 2, the general optimization model is:
Objective function: minimize cost while resolving Local Congestion

Decision variables:  resource specific bids

Constraints: local congestion, power balance, unit capacity limit

Here is the solution for this example using the above Model:
· STEP 1

To resolve CSC (Zonal) congestion and  resource insufficiency, the portfolio based balancing energy is cleared.

BESA cleared = 48.75MW (in Zone A)
BESB cleared = 1.25MW  (in Zone B)

MCPEA =  5$/MWhr, 

MCPEB =  8$/MWhr

SPCSC = (8 - 5)/ (0.3 – (-0.5)) = 3.75$/MW

After Step 1, the awarded portfolio balancing energy is allocated to the resources considering their available capacity and participation factors. 

Resource A1: 250 + (0.5*48.75) = 274.375MW

Resource A2: 150 + (0.3*48.75) = 164.625MW

Resource A3: 100 + (0.2*48.75) = 109.75MW

Resource B1:  150 + (1.0*1.25) =  151.25MW

· STEP 2

Assume an actual shift factor is 1.0 from A3 to Local Congestion and its limit is 100 MW. Actual shift factors are zeros from all other units to this Local Congestion.  Based on above  unit operating levels, the OC (Local) congestion is evaluated at step 2.
First we form the unit specific INC/DEC bids

	CM zone
	Resource
	MCPE1
	Inc Premium
	Dec Premium
	Inc Price
	Dec Price

	A
	A1
	5
	4
	3
	9
	3

	A
	A2
	5
	3
	2
	8
	2

	A
	A3
	5
	2
	1
	7
	1

	B
	B1
	8
	5
	2
	13
	2



After resolving the local congestion, we get the following solution.

Resource A3 DEC 9.75MW, 109.75-9.75 = 100MW

Resource A2 INC 9.75MW, 164.625+9.75=174.375MW

Resource A1 at 274.375MW

SPOC = 7$/MW

Resource B1 at  151.25MW

Answer:

a)
See Question 3 explanation of the operation of the replacement reserve market.




b)
See Step 1 of the example solution.
b) 









c)
See above description of the optimization model




c) Congestion Cost Allocation (per interval)
Assume (1) QSE A and B do not any TCRs;  (2) 200 MW of load in Zone A is also a Scheduled Obligation of QSE A in Zone A;  (3) 450 MW of load in Zone B is a Scheduled Obligation of QSE B in Zone B.
· BES CSC Cost Tracking:  Max (0, {[(500-200)*0.3 + (150-450)*(-0.5)] – 279})*(3.75/4) = $0      (see Section 7.3.3.2 of Protocols)
· BES CSC Congestion Charge (after the interim period):  
BES CSC Congestion Charge for QSE A = (3.75/4) * [(500 – 200)*0.3] = $84.375  
BES CSC Congestion Charge for QSE B = (3.75/4) * [(150 - 450)*(-0.5)] =  $140.625  



· BES Local Congestion Charge

Assume a Market Solution exists for this unit specific instruction and 0~250 MW is the capacity range for A3. 

BES Local Congestion payment to QSE A = [(5 – 1)/4] *(250 – 100) = $150 

· Resource Imbalance Settlement
Assume Metered Resource Value for QSE A = 548.75 MWh in Zone A; for QSE B = 151.25 MWh in Zone B.  Then


Resource Imbalance charge for QSE A = (500 – 548.75) * 5/4 = -$60.94
  
Resource Imbalance charge for QSE B = (150 – 151.25) * 8/4 = -$2.5
· Load Imbalance Settlement
Assume Adjusted Metered Load for QSE A is 200 MWh in Zone A; for QSE B is 500 MWh in Zone B.  Then

  Load Imbalance charge for QSE A = - (200 – 200) * 5/4 = $0

  Load Imbalance charge for QSE B = - (450 – 500) * 8/4 = $100
e) Step by step illustration

Please refer to above procedures and addendum to MOS MAF design document for detailed illustration.

Respectfully Submitted,

Mark A. Walker

SENIOR CORPORATE COUNSEL

By:____________________

Mark A. Walker



Texas Bar No: 20717318

ERCOT

7200 N. Mopac, Suite 250

Austin, TX  78731

Tel. (512) 343-7215

Fax (512) 343-8134

mwalker@ercot.com
CERTIFICATE OF SERVICE

I, Mark A. Walker, attorney for ERCOT, certify that a copy of this document was served on all parties of record in this proceeding on January 25, 2001, in the following manner: by facsimile or first class U.S mail.

__________________________________







Mark A. Walker
� EMBED Word.Picture.8  ���








PAGE  
1

[image: image3.wmf] 

CSC

-

1

 

CM Zone A

 

CSC SF: 0.3

 

Projected load: 200MW

 

QSE A Scheduled Gen: 500MW

 

Inc Bids: 200MW @ $5/MWh

 

Dec bids: 100MW @ $0/MWh

 

Sched gen, participation factors 

 

Resource A1: 250MW, 0.5

 

Resource A2: 150MW, 0.3

 

Resource A3: 100MW, 0.2

 

Limit

 

279

 

CM Zone B

 

CSC SF: 

-

0.5

 

Projected Load: 500MW

 

QSE B Scheduled Gen: 150MW

 

Inc bids: 100 MW @ $8/MWh

 

Dec bids: 100 MW @ $0/MW

 

Sched Gen, participation factors 

 

Resource B1: 150MW, 1.0

 

_1041781886.doc


CSC-1







CM Zone A







CSC SF: 0.3







Projected load: 200MW







QSE A Scheduled Gen: 500MW







Inc Bids: 200MW @ $5/MWh







Dec bids: 100MW @ $0/MWh







Sched gen, participation factors 







Resource A1: 250MW, 0.5







Resource A2: 150MW, 0.3







Resource A3: 100MW, 0.2







Limit







279







CM Zone B







CSC SF: -0.5







Projected Load: 500MW







QSE B Scheduled Gen: 150MW







Inc bids: 100 MW @ $8/MWh







Dec bids: 100 MW @ $0/MW







Sched Gen, participation factors 







Resource B1: 150MW, 1.0












