SIERRA PACIFIC ANCILLARY CHARGES

For Verification:

Go to their website: 
 www.sierrapacificresources.com

Under Related Links click on:  
OASIS (Open Access Same-time Information System)

Under OASIS Site Content Navigation click on:  
Open Access transmission Tariff (OATT)
Then this is their tariff.  On the table of Contents (page 2) you are looking for Ancillary Services on page 11

For the loss energy charge of $1,271.68 = 

pg 171.  Loss factor of 2.34% for Zone A


.0234 x 734 (# of mw’s moved) = 17.1756 mws

$74.04 (average energy cost for the month, as determined by the transmission provider) x 17.1756 mws = $1271.68

For the loss capacity charge of $46.34 = 

pg 173  Capacity is $6.67/kw

then take $6670/mw and divide by 720 hours in a month to convert to hourly of $9.1692 - charge for capacity


then take the capacity mw’s (mw’s that were reserved) = 216mws (see below), 


So 216mws x .0234 (loss factor from p. 171) x $9.1692 (capacity charge above) = $46.34

[image: image1.wmf]-------------------------------------------------------------------------BILLING DATA FROM OASIS-------------------------------------------------------------------------------------------

enddate

endtmhe

total_hour

cap

captype

03/16/01

6

6

12

HRLY NF OFF-PK

03/17/01

6

6

12

HRLY NF OFF-PK

03/24/01

6

6

12

HRLY NF OFF-PK

03/28/01

6

7

12

HRLY NF OFF-PK

03/31/01

5

5

30

HRLY NF OFF-PK

03/31/01

5

5

10

HRLY NF OFF-PK

03/10/01

7

1

34

HRLY NF PEAK

03/15/01

17

7

12

HRLY NF PEAK

03/15/01

22

4

12

HRLY NF PEAK

03/16/01

16

6

12

HRLY NF PEAK

03/19/01

22

12

12

HRLY NF PEAK

03/28/01

22

6

10

HRLY NF PEAK

03/29/01

22

3

12

HRLY NF PEAK

03/31/01

12

5

12

HRLY NF PEAK

03/31/01

17

5

12

HRLY NF PEAK

216


For the scheduling fee of $181.10

pg 152 for Zone A = $.120/kw


Take the fee and convert it to an hourly price of $.1649/hr


So the 1098 total mw’s x $.1649 = $181.10

Detailed information from Sierra Pacific’s website follows this page.  Please contact Virginia with any questions.

