To:  All Transwestern Pipeline Customers

Subject: Bloomfield, Bisti, Gallup Compressor Station Outages May 8 – 11, 2001
Transwestern will be performing maintenance at the Bloomfield, Bisti, Gallup Compressor Stations located on the San Juan Lateral in the State on New Mexico. Tentative dates are provided below, along with San Juan Lateral capacity.  Please continue to monitor Transwestern’s Daily Internet Site, and / or Telephone Hotline for updates. Transwestern would like to take this opportunity to apologize to their customers for the inconvenience during this outage.

May 8 – 9, 2001    

Bloomfield Station Maintenance.

Transwestern’s San Juan Lateral Capacity will be reduced from 850,000 mmbtu/d to

650,000 mmbtu/d.

May 10, 2001 

Bisti Station Maintenance.

Transwestern’s San Juan Lateral Capacity will be reduced from 850,000 mmbtu/d to

750,000 mmbtu/d.

May 11, 2001

Gallup Station Maintenance

Transwestern’s San Juan Lateral Capacity will be reduced from 850,000 mmbtu/d to

800,000 mmbtu/d.

Transwestern should resume to normal operations, San Juan Lateral capacity will be back to   

850,000 mmbtu/d for May 12, 2001 Gas Day.

 _______________________________________________________________

Ignacio to Blanco will still be operational with the option for gas flow to the El Paso Blanco   

Interconnect which has a delivery capacity of 400,000 mmbtu/d.  In addition El Paso Window 

Rock has a receipt capacity of 430,000 mmbtu/d.  Please feel free to contact your Account 

Manager with any questions you may have.  

