Procedure Change Description

Procedure Number/Name: 
S-301, Unscheduled Flow Procedure

Version:
3.2

Date:
8/9/2001

Reason for Changes:

· ISO Operating Procedure S-301 has been updated to include UFAS policy clarifications to the WSCC USF Mitigation Procedure and ISO Operating Practices.  It has also been reformatted to breakout and clarify the requirements of the various individual parties.  Since the update and formatting represent substantial changes and additions, both in structure and content, the CAISO encourages all affected parties to review this procedure revision thoroughly and send all comments to procctrldesk@caiso.com .

Description of Changes: 

S-301 retains all of the procedure of the WSCC USF Mitigation Procedure but is separated by responsibility as below and detailed in the Table of Contents:

· Section 1
ISO Path Operator responsibilities

· Section 2.1
ISO Curtailment of contributing schedules

· Section 2.2
Scheduling Coordinator curtailment of contributing schedules

· Section 3
ISO management of schedules and resources during a USF event

· Section 4
Record keeping requirements of all parties

