







CaISO









Desert Star









RTO West


OperatingDayTimeline_rev0.doc

Operating Day


(Showing time before Operating Hour)





One Day Before Operating Day





OPERATING HOUR








0.0 h - OH





- 1.0 h








- 2.0 h from OH





OPERATING HOUR





Receive actual system load & MW generation on AGC (from EMC)  (By  -10 min.)


                  14





Receive supplemental energy bids


(By  -45 min)


              13





Announce  AS auction results, Publsh final next hour energy schedules 


 -1.5 hours (presently at –1.25 hours)


     12








Submit energy schedules, self provided AS sched. & AS bids


(  -2.0 h)      11





Publish derate, update ETC & FTR 


(By   –2.0 h)


               10





Determine energy imbalances & dispatch via EMS


(Every 10 min w/i OH)               15





OPERATING HOUR





End of Schd adj. Process in cases of specific outages. Publish schedules, deadline for AS bid submittal by SCs.        (  -30 min)  


                 15





Normal end of Sched. Adj.   Process Publish schedules (deadline for SC submittal of revised schedules)  (  -60 min)  14                         





Deadline for SCs to submit schedules using FTRs to recall FTRS NCRs (RTRs are now firm)                           (  -120 min)                


13             





Activating ancillary services from  -.5 hr to +40 min  16





OPERATING HOUR





Calculate flowpath loadings


        10





Update load forecast & AS needs


        8





Original Timeline Provided to WG with only clarifications made





End Schd  adj process  Publish final energy schedules.  AS market complete.


         12





Receive Balanced Schedules from SCs


- 2 hours


         9





RTRs become firm.  Release unused capacity as RTRs & NTRs


-1.5 hours


          11





Perform AS auction  & inter-zonal CONG, develop & PMI publishing (final energy & AS)


(12.00 to 13.00 h)   9








13:00





Continuous schedule submission, ancillary services, validation, and publishing from 1400 D/A to 60 minutes prior to operating hour.  	11





14:00





Continuous AS Market (Bilateral)





15:00





Schedule Validation, CONG, 


Ancillary Services processing





Activating supplemental energy bids and ancillary services  -.5 hr to +40 min  16





Control Area Checkout


- 20 minutes





Schedule Adjustment, CONG





Schedule Validation and COG





Activating ancillary services from  -.5 hr to +40 min  13








