December 4, 2001

TO:

Vermont Yankee Stakeholders

FROM:
Bobbi Kilburn – Treasury and Risk Administrator

SUBJECT:  
Vermont Yankee Notification

Due to the fuel leak that was recently identified; the plant will be doing some testing to try to identify the fuel bundle that is leaking.  Please note the below schedule regarding specific power reductions and timetables:

Date
Timeframe
Power Output
Explanation

Thurs., 12/6/01
0800-0930
60%
Decrease from 100% to 60%; will take approx. 1.5 hours to decrease power.

Thurs., 12/6/01
0930 – 2400
60%
Plant will remain at 60% for 50 hours

Fri., 12/7/01
All Day
60%
-

Sat., 12/8/01
0100-1100
60%
-

Sat., 12/8/01
1100-2400
-
Starting at 1100 the plant will ramp up to 90%, which will take 36 hours.

Sun., 12/9/01
0100-2300
-
Continue ramping up to 90%.

Sun., 12/9/01
2300
90%
Plant will reach 90% and will initiate downpower to 60%.

Sun., 12/9/01-Mon., 12/10/01
2300-0100
-
Begin downpower to 60%.

Mon., 12/10/01
0100-2400
-
Starting at 0100 the plant will ramp up to 95%, which will take 36 hours.

Tues., 12/11/01
0100-1300
-
Plant will continue to ramp up to 95%.

Tues., 12/11/01
1300
95%
Plant will reach 95% on Tues., 12/11/01 and will initiate downpower to 80%.

Tues., 12/11/01
1300-1330
-
Decrease to 80% power.

Tues., 12/11/01
1330-2400
-
Starting at 1330 the plant will ramp up to 100%, which will take 20 hours.

Wed., 12/12/01
0100-0930
-
Continue ramping up to 100%.

Wed., 12/12/01
0930
100%
Plant will reach 100% and will remain there.

This schedule is based on a forecast and is subject to change without any prior notice.  Due to the complexity of this schedule please do not hesitate to contact me at (802) 258-4120 should you have any questions and/or concerns.



