[image: image1.wmf]FRCC Installed Capacity 

Peak Generation Capacity: 38,787 MW at July 1, 2001

Coal

25%

Hydro

0%

Other

3%

Gas

30%

Oil

33%

Nuclear

9%

MW < 20 

Yrs

39%

MW > 40 

Yrs

6%

30 < MW < 

40 

19%

20 < MW < 

30

36%

Fuel Mix

Plant Vintage in Years

Source:  RDI, Credit Suisse/First Boston

Ø

2001 Peak summer capacity margin estimated at 0.8%

Ø

Additional capacity of 7,615 MW required to reach 18% capacity m

argin.

[image: image2.png]


[image: image3.wmf]ERCOT Installed Capacity 

Peak Generation Capacity: 69,282 MW at July 1, 2001

Coal

23%

Hydro

1%

Nuclear

7%

Oil

0%

Gas

68%

Other

1%

MW < 20 

Yrs

37%

MW > 40 

Yrs

11%

30 < MW < 

40 

20%

20 < MW < 

30

32%

Fuel Mix

Plant Vintage in Years

Source:  RDI, Credit Suisse/First Boston

Ø

2001 Peak summer capacity margin estimated at 19%

Ø

Additional capacity of 13,918 MW required to maintain 18% capaci

ty margin.

[image: image4.png]NJ
DE
MD



September 2001 Short Circuits - Electricity




              by Rita Hartfield

A key feature of the US power generation market is the vast economic and pricing disparities between regions.  The nature of the transmission system limits the ability to transport electricity long distances between regions.  Interregional connections do exist, but for the most part these were built mainly for reliability purposes.  The grid was never designed to transfer large quantities of power easily around the country.

[image: image5.wmf]MAIN Installed Capacity 

Peak Generation Capacity: 61,771 MW at July 1, 2001

Coal

50%

Hydro

2%

Other

2%

Gas

17%

Oil

5%

Nuclear

24%

MW < 20 

Yrs

29%

MW > 40 

Yrs

17%

30 < MW < 

40 

24%

20 < MW < 

30

30%

Fuel Mix

Plant Vintage in Years

Source:  RDI, Credit Suisse/First Boston

Ø

2001 Peak summer capacity margin estimated at 11.9%

Ø

Additional capacity of 9,916 MW required to reach 18% capacity m

argin.

Capacity Additions

According to RDI’s NEWGen, over 450,000 MW have been proposed since 1999 and more than 90% of those capacity additions stand ready to move forward nationwide.  This would result in a capacity surplus of more than 70,000 MW by 2005.  

However, it is highly unlikely that all will be built.  In fact, 10,000 MW scheduled to begin operating by July 2001 did not meet their on-line date, creating problems for regional planner.  

[image: image6.png]


RDI have developed an expected value of capacity additions for each year from 2001 to 2005.  RDI projects that 180,000 MW of capacity additions will become operation by 2005.  55% of these capacity additions either began operating in 2001 or are now under construction.  The Midwest and the Southeast regions account for about half of the expected capacity additions.  (This projection is display in the chart to the right.  The unit of measure is MW.)

[image: image7.png]



East Central Area Reliability Coordination (ECAR) Region 

Market Design:  

· Relies almost exclusively on bilateral agreements.  

· Has no regional centralized power exchange.  First Energy initiated a sub-region power exchange in 1999 and NYMEX manages the Cinergy Hub for trading futures and options contract.

Transmission:

· [image: image8.wmf]ECAR Installed Capacity 

Peak Generation Capacity: 111,642 MW at July 1, 2001

Coal

73%

Hydro

3%

Other

1%

Gas

12%

Oil

4%

Nuclear

7%

MW < 20 

Yrs

22%

MW > 40 

Yrs

20%

30 < MW < 

40 

22%

20 < MW < 

30

36%

Source:  RDI, Credit Suisse/First Boston

Fuel Mix

Plant Vintage in Years

Ø

2001 Peak summer capacity margin estimated at 13.1%

Ø

Additional capacity of 17,629 MW required to reach 18% capacity 

margin.

16,137 miles of line greater than 230 kV.

· Reliability is relatively stable.

· Import capacity from

· Kentucky

   2,600 MW

· Northeast Study Area
   6,300 MW

 Peak Electric Demand:

· 2000 region peak demand was 92,033 MW or 14% of the US market.

· [image: image9.png]


Demand estimated to grow at an annual rate of 2.0% from 2001-2006.

Electric Reliability Council of Texas (ERCOT)  

Market Design:  







· Operates as bilateral market where scheduling, coordination, and market pricing are negotiated between buyers and sellers.

Transmission:

· [image: image10.wmf]SERC Installed Capacity

Peak Generation Capacity: 163,682 MW at July 1, 2001

Coal

43%

Hydro

11%

Other

2%

Gas

22%

Oil

5%

Nuclear

17%

MW < 20 

Yrs

32%

MW > 40 

Yrs

17%

30 < MW < 

40 

19%

20 < MW < 

30

32%

Fuel Mix

Plant Vintage in Years

Source:  RDI, Credit Suisse/First Boston

Ø

2001 Peak summer capacity margin estimated at 2.6%

Ø

Additional capacity of 34,662 MW required to reach 18% capacity 

margin.

7,175 miles of line greater than 230 kV.

· Constrained during high-demand periods.

· Isolated with only two high-voltage interconnects with SPP totaling 800 MW.

· Future ties to other areas are currently deemed uneconomical.

Peak Electric Demand:

· 2000 region peak demand was 57,606 MW or 9% of the US market.

· Demand estimated to grow at an annual rate of 3.0% from 2001-2006.

[image: image11.png]



Florida Reliability Coordination Council (FRCC) 

Market Design:  

· Operates as a bilateral market.  Wholesale market has an active broker system that allows electric utilities to share generation reserves but the market remains largely closed to other market participants not obligated to serve retail customers.

Transmission:

· 6,669 miles of line greater than 230 kV.

· [image: image12.png]


416 miles of transmission lines planned over next several years.

· Isolated region.

· Import capacity from

· SERC       3,600 MW

 Peak Electric Demand:

· 2000 region peak demand was 37,197 MW or 6% of the US market.

· Demand estimated to grow at an annual rate of 2.3% from 2001-2006.

Mid-Atlantic Area Council (MAAC) 

[image: image13.wmf]MAPP Installed Capacity

Peak Generation Capacity: 31,110 MW at July 1, 2001

Coal

59%

Hydro

8%

Other

3%

Gas

10%

Oil

11%

Nuclear

9%

MW < 20 

Yrs

18%

MW > 40 

Yrs

15%

30 < MW < 

40 

19%

20 < MW < 

30

48%

Fuel Mix

Plant Vintage in Years

Source:  RDI, Credit Suisse/First Boston

Ø

2001 Peak summer capacity margin estimated at 6.6%

Ø

Additional capacity of 4,281 MW required to reach 18% capacity m

argin.


Market Design:  

· PJM is one of the most sophisticated and liquid centralized power exchanges in the US featuring real-time, day-ahead, and an ancillary services market.

[image: image14.png]


Transmission:

· 7,094 miles of line greater than 230 kV.

· Reliable performance.

· Import capacity from

· ECAR      4,000 MW

· SERC       2,900 MW

· NPCC      2,000 MW

 Peak Electric Demand:

· 2000 region peak demand was 49,477 MW or 7% of the US market.

· Demand estimated to grow at an annual rate of 2.3% from 2001-2006.

[image: image15.wmf]MAAC Installed Capacity 

Peak Generation Capacity: 58,203 MW at July 1, 2001

Coal

33%

Hydro

5%

Other

4%

Gas

19%

Oil

18%

Nuclear

21%

MW < 20 

Yrs

28%

MW > 40 

Yrs

14%

30 < MW < 

40 

29%

20 < MW < 

30

29%

Fuel Mix

Plant Vintage in Years

Source:  RDI, Credit Suisse/First Boston

Ø

2001 Peak summer capacity margin estimated at 9.8%

Ø

Additional capacity of 10,408 MW required to reach 18% capacity 

margin.


Mid-American Interconnected Network (MAIN) 

Market Design:  

· Lacks centralized power exchange.  Purchases and sales of power take place mainly through bilateral agreements.

Transmission:

· 6,102 miles of line greater than 230 kV.

· Adequate capacity.  However, congestion on MAPP interface can restrict bulk power transfers into or within Wisconsin.

· [image: image16.png]


Import/export capacity from

· ECAR
3,800 MW

· MAPP
1,500 MW

· SPP

1,300 MW

· TVA

1,800 MW

· SERCW            650 MW

 Peak Electric Demand:

· 2000 region peak demand was 52,552 MW or 8% of the US market.

· Demand estimated to grow at an annual rate of 2.0% from 2001-2006.

Mid-Continent Area Power Pool (MAPP) 

[image: image17.wmf]NPCC 

–

New York Installed Capacity

Peak Generation Capacity: 35,458 MW at July 1, 2001

Coal

11%

Hydro

15%

Other

3%

Gas

34%

Oil

24%

Nuclear

13%

MW < 20 

Yrs

21%

MW > 40 

Yrs

25%

30 < MW < 

40 

26%

20 < MW < 

30

28%

Fuel Mix

Plant Vintage in Years

Source:  RDI, Credit Suisse/First Boston

Ø

2001 Peak summer capacity margin estimated at 14%

Ø

Additional capacity of 4,894 MW required to reach 18% capacity m

argin.


Market Design:  

· Lacks a major centralized power exchange and is operated as a bilateral market.

Transmission:

· 15,107 miles of line greater than 230 kV.

· Primarily an energy exporting region and does not have import constraints.

· Import capacity from

· WSCC
  460 MW

· SPP

  700 MW

· MAIN
  950 MW

· SERC                850 MW

· Canada
1,700 MW

[image: image18.png]





 Peak Electric Demand:

· 2000 region peak demand was 28,605 MW or 4% of the US market.

· Demand estimated to grow at an annual rate of 1.6% from 2001-2006.

[image: image19.wmf]NEPOOL Installed Capacity 

Peak Generation Capacity: 26,495 MW at July 1, 2001

Coal

10%

Hydro

13%

Other

10%

Gas

23%

Oil

29%

Nuclear

15%

MW < 20 

Yrs

36%

MW > 40 

Yrs

16%

30 < MW < 

40 

19%

20 < MW < 

30

29%

Fuel Mix

Plant Vintage in Years

Source:  RDI, Credit Suisse/First Boston

Ø

2001 Peak summer capacity margin estimated at 9.4%

Ø

Additional capacity of 4,053 MW required to reach 18% capacity m

argin.


NPCC: New England Power Pool (NEPOOL) 

Market Design:  

· ISO New England operates a centralized power exchange with a day-ahead and hourly market.

Transmission:

· [image: image20.wmf]SPP Installed Capacity

Peak Generation Capacity: 45,609 MW at July 1, 2001

Coal

39%

Hydro

6%

Other

3%

Gas

47%

Oil

3%

Nuclear

2%

MW < 20 

Yrs

28%

MW > 40 

Yrs

13%

30 < MW < 

40 

22%

20 < MW < 

30

37%

Fuel Mix

Plant Vintage in Years

Source:  RDI, Credit Suisse/First Boston

Ø

2001 Peak summer capacity margin estimated at 12.1%

Ø

Additional capacity of 7,755 MW required to reach 18% capacity m

argin.

2,387 miles of line greater than 230 kV.

· Significant congestion reduction since the implementation of an ISO-NE transmission planning process.

· Import capacity from

· Canada
2,700 MW

 Peak Electric Demand:

· 2000 region peak demand was 21,919 MW or 3% of the US market.

· Demand estimated to grow at an annual rate of 1.7% from 2001-2006.

[image: image21.wmf]WSCC 

-

California Installed Capacity

Peak Generation Capacity: 53,026 MW at July 1, 2001

Coal

4%

Hydro

24%

Other

10%

Gas

51%

Oil

3%

Nuclear

8%

MW < 20 

Yrs

40%

MW > 40 

Yrs

20%

30 < MW < 

40 

27%

20 < MW < 

30

13%

Fuel Mix

Plant Vintage in Years

Source:  RDI, Credit Suisse/First Boston

Ø

2001 Peak summer capacity margin estimated at 14.8%

Ø

Additional capacity of 9,906 MW required to reach 18% capacity m

argin.

NPCC: New York 

Market Design:  

· New York ISO operates a centralized power exchange that includes a day- ahead, hour-ahead, real-time, and an ancillary service market.

Transmission:

· 4,069 miles of line greater than 230 kV.

· [image: image22.png]


Congestion into New York City can cause higher average prices in Eastern New York.

· Import capacity from

· MAAC
2,600 MW

· Canada
2,875 MW

 Peak Electric Demand:

· 2000 region peak demand was 28,138 MW or 4% of the US market.

· Demand estimated to grow at an annual rate of 1.7% from 2001-2006.

[image: image23.png]


Southeastern Electric Reliability Council (SERC) 

Market Design:  

· Currently a bilateral market functioning without any centralized ISOs or power exchanges.

Transmission:

· 33,719 miles of line greater than 230 kV.

· Divided into four geographic regions.

· [image: image24.wmf]WSCC Excluding CA Installed Capacity

Peak Generation Capacity: 84,190 MW at July 1, 2001

Coal

32%

Hydro

45%

Other

1%

Gas

15%

Oil

1%

Nuclear

6%

MW < 20 

Yrs

23%

MW > 40 

Yrs

21%

30 < MW < 

40 

21%

20 < MW < 

30

35%

Fuel Mix

Plant Vintage in Years

Source:  RDI, Credit Suisse/First Boston

Ø

2001 Peak summer capacity margin estimated at 20.2%

Ø

Additional capacity of 14,828 MW required to reach 18% capacity 

margin.

Limited capabilities to transfer electricity above contractual commitments within and outside this region.

· System may not be able to perform reliably given the amount of planned generation capacity and the increase in power marketing activities.

· Import capacity from

· MAAC
2,800 MW

· ECAR
5,000 MW

· FRCC
2,100 MW

· MAIN
5,300 MW

· MAPP
1,700 MW

· SPP

1,600 MW

 Peak Electric Demand:

· 2000 region peak demand was 156,289 MW or 23% of the US market.

· Demand estimated to grow at an annual rate of 2.6% from 2001-2006.

 The Southwest Power Pool (SPP)

[image: image25.png]. Operating M Under Construction M Advanced Development M Early Development
150

100

Proposed additions (GW)

SUIIII
. -

2001 2002 2003 2004 2005 2006
Yoar





Market Design:  

· Lack a centralized power exchange and operates as a bilateral market.

Transmission:

· 13,882 miles of line greater than 230 kV.

· Reliable performance in the short-term.

· Current system will be inadequate to handle large bulk power transfers.

· Import capacity from

· [image: image26.png]mm-m-xms

2608
2228
a9
9650
a1

7,367
28
15015
0301
2525

s
Bare
e
4202
9053

ses2
10851
14910

2810
51

2010
3000
239
252
40

24n
4]
sa0u)
2019
36.453]



WSCC
   400 MW

· MAPP
1,650 MW

· MAIN
   550 MW

· SERC
   660 MW

· ERCOT 
   785 MW

 Peak Electric Demand:

· 2000 region peak demand was 40,199 MW or 6% of the US market.

· Demand estimated to grow at an annual rate of 2.2% from 2001-2006.

WSCC:  California

[image: image27.png]



Market Design:  

· Flawed.  Utilities forced to sell off a large portion of their generation capacity while their ability to cover their power short position through long-term forward purchases was substantially limited.  The utilities were required to buy all their power on the spot market to supply their retail customers.

· Has centralized power exchange.

· California Department of Water Resources has replaced the utility as the primary buyer of power for retail customers.

· [image: image28.png]


Federal “floating” price caps currently imposed in California and eleven other Western States.

Transmission:

· Transmission constraints limit transfer of power between Northern and Southern California.

· Declared 265 power emergencies in 2000 and 2001 compared to a total of 17 in 1998 and 1999.

· Import capacity from

· Oregon
8,000 MW

· Nevada
   180 MW

· Arizona
7,550 MW

· Utah

1,920 MW

· Mexico
 408 MW


Western Systems Coordinating Council (WSCC) excluding California 

Market Design:  

· Almost exclusively based on bilateral contracts.  However, two informal spot markets, a formal short-tem market, and the formal NYMEX COB futures market do exist.

Transmission:

· Does not export large amounts of electricity outside region.

· Limited transfer capabilities outside this region.

· Congestion usually occurs on transmission lines surrounding California and within and out of the Rocky Mountain area.

· Import capacity from

· MAPP
   510 MW

· SPP

   400 MW

· Canada
3,150 MW

 Peak Electric Demand:

· Demand estimated to grow at an annual rate of 2.5% from 2001-2006.
Source: Credit Suisse/First Boston, Power Generation – A Regional Analysis of Supply and Demand in the US Power Market, September 5, 200;  Platts, Inside RDI, September-October, 2001

�





� EMBED MSPhotoEd.3  ���








�





Short Circuits 





�





�





�





�





�





�





�





�





�





�





�





�





�





�





�





�





�





�





�





�





�





�





�





�








Market Intelligence

1

_1043583678.bin

