Charts in support of Staff/PAS-6

These graphs show how Pasadena can meet its declining RTC emission allocation using current generating units, even with the increased energy output in 2001 resulting from energy sales to the ISO, by increasing reliance on Broadway 3, minimizing the output of B1 and B2, and limiting the use of Gas Turbines to stand-by reserves only

[image: image1.wmf]Annual NOx Emissions by Source

0

10

20

30

40

50

60

70

80

90

100

1996

1997

1998

1999

2000

2001

2002

2003

2004

2005

Year

NOx Emissions (Tons)

GT1&2

B1

B2

B3

Max Limit*

*Emission Limits under RECLAIM program

 Does not include purchased credits. 

PWP opts for RECLAIM in June; 

Emissions prior to June do not 

apply to max. allocation

2001 is first full 

compliance year

Declining RECLAIM RTC 

Allocations*

Compliance is possible, 

excluding GT emisions, 

without purchasing RTC's


[image: image2.wmf]Annual Generation by Source

0

50

100

150

200

250

300

1996

1997

1998

1999

2000

2001

2002

2003

2004

2005

Year

Energy Output (GWh)

GT1&2

B1

B2

B3

PWP opts for RECLAIM June 2000; 

Generation increases due to market 

conditions, and is shifted to B3 to 

reduce emissions


