
[image: image1.wmf]Ho

X1

H2

H1

H3

X3

X2

WINDING TEMP

 INDICATOR

 MODEL  RW

WINDING TEMP

 INDICATOR

 MODEL  RW

NOTE: THIS DRAWING IS A PRELIMINARY PROPOSAL AND DOES NOT

INDICATE THE EXACT DETAILS OF CONSTRUCTION, ARRANGEMENT

OF ACCESSORIES OR THE FINAL DIMENSIONS OF THE 

TRANSFORMER. THIS INFORMATION SHOULD NOT BE USED FOR

FINAL CONSTRUCTION ARRANGEMENTS OR FOR THE 

FOUNDATION UNLESS SPECIFICALLY APPROVED BY THE

FACTORY. ALL DIMENSIONS AND WEIGHTS ARE APPROXIMATE

 1.- H. V. BUSHINGS "H"

 2.- L. V. BUSHINGS "X"

 3.- NEUTRAL BUSHING

 4.- CONSERVATOR TANK

 5.- RADIATORS

 6.- NO LOAD TAP CHANGER

 7.- CONTROL CABINET

 8.- H.V. SURGE ARRESTERS (IF SUPPLIED)

 9.- FANS  (IF SUPPLIED)

Drawing:

No.

Q793A100

8

C

4

3

6

7

2

6

1

B

A

8

D

5

9


_1031981501

