CALIFORNIA INDEPENDENT SYSTEM OPERATOR (ISO)

Specification for 

Settlement Statement Files

February 4, 2002
Version 14.0
Table of Contents

31
Purpose:

2
General Notes:
4
3
Settlement Statement File
5
3.1
Header Record
5
3.2
Summary Records
6
3.3
Settlement Detail Records
6
3.4
Manual Line Item Records
11
3.5
Trailer Record
12
4
GMC, Wheeling & Market Uplifts Detail File
13
4.1
Header Record
13
4.2
Intertie Detail Records
14
4.3
Load Measurement Records
15
4.4
Inter-Zonal Flow Records
15
4.5
Hourly Aggregate GMC/Uplifts Records
16
4.6  Trailer Record
16
5
HVAC Detail File
18
5.1
Header Record
18
5.2
Load Measurement Detail Records
18
5.3
Hourly Aggregate Load Records
19
5.4
Trailer Record
19
6
HVAC and Wheeling Revenues Detail File
20
6.1
Header Record
20
6.2
HVAC Revenue Detail Records
20
6.3
Wheeling Revenue Detail Records
21
6.4
Trailer Record
21
7
Ancillary Service Detail File
22
7.1
Header Record
22
7.2
Zone/Region Cross Reference
23
7.3
Operating Reserve Requirement Components
23
7.4
A/S Allocation Based On Metered Demand
23
7.5
Replacement Reserve
25
7.6
Self Provided Replacement Reserve Withhold
27
7.7
Trailer Record
27
8
Imbalance Energy/No Pay Settlement Detail File
29
8.1
Header Record
29
8.2
Instructed and Uninstructed Energy Detail records
29
8.3
OOS Detail Records
32
8.4
No Pay Detail Records
33
8.5
UFE Detail Records
34
8.6
Excess Cost Records
35
8.7
Trailer Record
37
9
Settlement Prices File
39
9.1
Header Record
39
9.2
Zonal Market Price Records
39
9.3
GMC/Uplift Rate Records
40
9.4
Wheeling Rate Records
40
9.5
HVAC Rate  Record
41
9.6
Trailer Record
41


1 Purpose:

This document describes the format of the Settlement Statement Files which are issued by the California Independent System Operator (ISO) to its market participants.  The content of these files are subject to change as the California Independent System Operator refines its business requirements.  Permission to copy this document is hereby granted for purposes of interfacing with the California Independent System Operator (ISO).

The Settlement Statement File contains the charge information for a market participant.  Its data are mostly for a particular trading date, but it may also contain missing charges from prior trading dates.  It has a summary section that aggregates the charges by Charge Type and Trade Date.  There is also a detail line item section that contains a detail breakdown of the charges.  There are several  companion files issued with the Statement File.  These currently include:

· GMC, Wheeling & Market Uplifts Detail File;

· HVAC Detail File

· HVAC and Wheeling Revenues Detail File

· Ancillary Service Detail File;  

· Imbalance Energy/No Pay Settlement Detail File; and

· Settlement Prices File.

The Imbalance Energy/No Pay Detail File contains a detail breakdown by resource location and trading interval of the expost deviations of the market participant’s generation, load, and intertie schedules.  It also contains the parameters that are used to derive the participant’s Unaccounted for Energy (UFE) and No Pay charges.  The GMC, Wheeling & Market Uplifts Detail File contains a detail hourly breakdown of the market participant’s Grid Management Charges, Wheeling Charges and other uplift charges for emissions and start-up cost recovery.  The High Voltage Access Charge (HVAC) Detail File contains the detail supporting data that are used to derive the monthly HVAC shown in the Statement File.  The HVAC and Wheeling Revenue Detail File contains a detail breakdown of the revenues collected by location and trading hour for a Transmission Owner.  The Ancillary Service Detail File contains the detail supporting data that are used to derive the corresponding Ancillary Services charges shown in the Statement File.  The Settlement Prices File contains relevant prices used to calculate various settlement charges.  These include the MCPs by trading hour (or trading interval) for energy and Ancillary Services, as well as GMC, HVAC and Wheeling rates.

2 General Notes:

Some general notes about the Statement Files are listed below:

· Market participants will download both files through the ISO Scheduling Infrastructure interface.

· Each weekday, the ISO Settlement System will generate two different types of settlement statements.  One type is the preliminary statements for a trading day; the other is the final statements for a different trading day.  Currently, the preliminary statement will normally be issued the evening of the 47th day after the trading day.  The final will be issued the evening of the 61st  day after the trading day.  If the issuing day happens to be a weekend day or a holiday, the statement will be delayed until the following business day.  Customers may download their own statement files after they are generated.

· The companion files are issued at the same time as the Statement Files.  Thus, each Preliminary or Final Statement set will contain 4 files.

· Charge amounts due ISO will be positive numbers.

· Refund amounts due market participants will be negative numbers.

· All Statement Files are plain ASCII files with data fields delimited by the ‘pipe’ symbol ( | ).  Two consecutive rows (or records) are separated by a line feed character.  It should be noted that when such files are downloaded, some client systems may also insert a carriage return between the rows. 

3 Settlement Statement File

There are two statements (preliminary and final) issued for a given trading date.  Currently, the preliminary and final statements for a given trading date are issued 14 days apart.  Both statements have the same statement number, but they are identified by the statement type.

Each preliminary statement file contains the best available listing of settlement detail and manual line items for the trading date being settled.  Also included in the file may be new settlement line items that are for days prior to the trading date being settled but have not been included on any previous preliminary statement.

Each final statement file contains the best available settlement line items which have appeared on the preliminary statement for the corresponding trading date.  The quantities in these line items may have been revised though.

There are five different types of data records in a Settlement Statement file.  These include:

· Header – This is the first record of the file that provides the information such as the file type, market participant ID, statement number,  trading day and an indicator to show whether it is the preliminary statement or final statement for that date.

· Summary – These are summary records that show the dollar amounts due aggregated by charge type and trade day.

· Detail Line Items – These are detailed records of charges by trading interval, location, zone and charge type as appropriate.  These records contain the Billable Quantity, Price and Amount Due as well as a number of other fields which uniquely identify the charge (such as location, zone, trading interval) or represent the terms used in the deriving the charge.  In a data field where an attribute is not relevant, this field will be left empty between its delimiters.  For example,  “Zone 1||10|2|-20” indicates a ‘null’ field between ‘Zone 1’ and the value ‘10’.

· Manual Line Items – These are detailed records of charges entered manually by ISO Settlement Analysts.  These items may be adjustments to previous charges as a result of dispute resolution or other charge items allowed in the ISO tariff, but whose charge calculation are not yet automated in the Settlement System.

· Trailer – This is the last record of the file.  It contains the record count and a validation total which is the total of the Amount Due fields in the file.

The following is a detailed description of the data fields in the Statement File.

3.1 Header Record

This record will supply information which can be used to identify the contents of the file. 

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘H’
	Indicates the type of record

	Customer Number
	Number
	15
	
	The customer’s unique identifier

	Statement Number
	Number
	12
	
	The number of the statement

	File Type
	Varchar
	2
	‘ST’
	Indicates the file is a Statement file

	Statement Type
	Varchar
	1
	‘P’, ‘F’
	Indicates the type of statement as either preliminary or final.

	Trading Date
	Date
	
	
	The specific trading date for which the statement is being created.

	Software Version
	Varchar
	255
	
	The software version for which the statement is being created.  (Used for reference by ISO.)

	Statement Version
	Varchar
	255
	
	The statement format specification version for which the statement is being created..

	
	
	
	
	


3.2 Summary Records

These records provide a summary of all settlement detail and manual line item records in the file.  One record is included for each combination of date and charge type existing in the line item records.

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘S’
	Indicates the type of record

	Charge Type
	Number
	4
	
	Code indicating the type of settlement (see charge matrix)

	Charge Type Description
	Varchar
	100
	
	A brief description of the charge type (see charge matrix)

	Trading Date
	Date
	
	
	The specific trading date for which settlements are being summarized

	Settlement Total
	Number
	11,2
	
	Net amount of settlements for the indicated charge type and trading date

	
	
	
	
	


3.3 Settlement Detail Records

These records provide the details of each individual settlement line item which is created by the system for the customer.  The trading date of each charge will not always match the trading date of the header record, as new settlement details for prior trading dates are included on the preliminary statement and subsequently on a final statement if they have not previously appeared on a statement.  The fields which are populated for each record will be based upon the charge type (settlement type) of the record.  Some of the data field may have different meanings when used in different Charge Types.

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘D’
	Indicates the type of record

	Charge Type
	Number
	4
	
	Code indicating the type of settlement (see charge matrix)

	Line Item Number
	Number
	12
	
	Unique identifier for the settlement record

	Trading Date
	Date
	
	
	The trading date of the settlement

	Trading Hour
	Number
	2
	
	The trading hour of the settlement

	Trading Interval
	Number
	2
	0,1,2,3,4,5,6
	For Charge Types that are processed at 10-minute intervals: the trading interval of the settlement

For Charge Types that are settled hourly, this field will be 0.



	Billable Quantity
	Number 
	11,2
	
	The quantity billed

	Price
	Number
	10,5
	
	The rate at which the quantity is billed

	Settlement Amount
	Number
	11,2
	
	The total amount of the settlement 

	Zone ID
	Varchar
	12
	
	The zone to which the settlement applies.

For Charge Type 256: this is used to indicate the direction of the congestion flow.  It contains a concatenated string of the source zone ID and the destination zone ID separated by a comma (e.g. “NP15,SP15”).

For Charge Types 111, 112, 114, 115 and 116, in addition to the regular Zone IDs, a pseudo ID, “XXXX”, may be used when the SC’s reserve obligation cannot be allocated to any specific zone.

For Charge Type 401, if the Location ID is an intertie, this is the ID of the external congestion zone at the remote end of the intertie.

	Location ID
	Varchar
	32
	
	The location to which the settlement applies

For Charge Types 372, 373 this is the TAC area ID.

	Inc/Dec Indicator
	Varchar
	1
	‘I’, ‘D’
	Indicates whether the bid was an inc or dec bid

	Total Congestion Settlement Amount
	Number
	11,2
	
	Sum of all congestion settlements for the trading interval and zone.

For Charge Type 256: Hourahead TO congestion debit amount. 

	Total Load/Export
	Number
	11,2
	
	Sum of all load and export quantities for the trading interval and zone.

For Charge Type 354: Total wheeling amount of export or non-PTO load at the given location.

For Charge Type 1061 to 1066:  Total load and export in the A/S procurement region..

	Day Ahead Allocation Quantity / DA Self Provision
	Number
	11,2
	
	Sum of SC’s  day ahead scheduled load and export quantities for the trading interval and zone.

For Charge Type 256: Total dayahead path utilization.

For Charge Types 204, 254, 255: Day Ahead New Firm Use Capacity of the subject path in the direction of congestion.

For Charge Types 71 to 86 (RMR pre-emption charges):  DA AS self provision quantity.

	Hour Ahead Allocation Quantity / HA Self Provision
	Number
	11,2
	
	Sum of SC’s hour ahead scheduled load and export quantities for the trading interval and area.

For Charge Type 256: Total hour ahead path utilization.

For Charge Types 61 to 86 (RMR pre-emption charge): HA AS self provision quantity.



	Day Ahead Quantity/DA Mrkt Capacity
	Number
	11,2
	
	Day ahead ancillary service quantity.

For Charge Types 204, 254 and 255: Total day ahead congestion path utilization.

For Charge Type 253: SC’s dayahead congestion path utilization.

For Charge Types 71 to 86 (RMR pre-emption charge): DA AS market quantity.

	Hour Ahead Quantity/HA Mrkt Capacity
	Number
	11,2
	
	Hour ahead ancillary service quantity.

For Charge Types 254 and 255: Total hour ahead congestion path utilization.

For Charge Type 253: SC’s hour ahead congestion path utilization.

For Charge Type 502, 503, and 505: Final hour ahead energy schedule.

For Charge Types 61 to 86 (RMR pre-emption charge): HA AS market quantity.

For Charge Type 410:  Hour Ahead energy schedule.

	Zone/Path Price 
	Number
	10,5
	
	Market clearing price for the zone or congestion path.

For Charge Type 410:  Uninstructed Energy Zonal MCP.

	Bid Price
	Number
	10,5
	
	Submitted bid price for the service.

For Charge Types 410, 502, 503, and 505: Effective price for instructed energy for the location.



	Per Unit Charge ID
	Varchar
	10
	
	Unique identifier of the per unit charge calculation

	Total Charge/ Refund Amount
	Number
	11,2
	
	Total amount to be charged or refunded through an allocation process

	Allocation Base/Metered Quantity
	Number
	13,4
	
	Total quantity used to calculate the rate for allocation  process.

For Charge Type 256: Total day ahead path utilization in the direction of congestion.

For Charge Type 410:  Unit’s metered output.

For Charge Type 487: Sum of Uninstructed Energy (from all SCs having net negative Uninstructed Energy) in the control area.

For Charge Type 502, 503, and 505: metered quantity for the location.

For Per Unit Charges: Allocation base for the per unit allocation.



	Bid ID
	Number
	4
	
	Identifier of the bid for which a settlement is being created

	Pmax
	Number
	11,2
	
	The Pmax of an RMR unit.  This is used in pre-emption calculation



	RMR Energy
	Number
	11,2
	
	RMR dispatch energy amount for an unit in the given trading period.

	Replacement Reserve Undispatched Quantity
	Number
	11,2
	
	Total quantity of undispatched replacement reserves

	Individual Allocation Quantity
	Number
	11,2
	
	For Charge Types 303, 304: Quantity of replacement reserve requirement not being self provided by the business associate.

For Charge Types 204, 254, 255: MW rights for the Firm Transmission Rights (FTR) owner.

For Charge Types 111, 112: Zonal metered load plus firm export for a business associate.

For Charge Types 114, 115, 116: Zonal metered load for a business associate.

	Total Allocation/ NSP/FTR Quantity
	Number
	11,2
	
	For Charge Types 303, 304: Total quantity of replacement reserve requirement not met by the customers’ self provision.

For Charge Types 204, 254, 255: MW rights for all FTR owners.

For Charge Types 111, 112: Regional metered load plus firm export for a business associate.

For Charge Types 114, 115, 116: Regional metered load for a business associate.

	HA Pre-empted Capacity
	Number
	11,2
	
	For Charge Types 61 to 86 (RMR pre-emption charges):  HA pre-empted capacity for an unit in the given trading hour.

	RT Pre-empted capacity
	Number
	11,2
	
	For Charge Types 71 to 86 (RMR pre-emption charge):  The amount of RT pre-empted capacity service for an unit in the given trading interval. (MW-hr).

	Percent Entitlement/GMMf
	Number
	13,4
	
	Customer’s percentage share of the subject revenue/debit.

For Charge Type 410:  Unit’s forecast GMM.

	Instructed Energy 
	Number
	11,2
	
	For Charge Type 410: Instructed Energy  amount of the unit.

For Charge Type 24: Total Amount of Instructed Energy that originates from the given resource’s Replacement Reserve.

	Uninstructed Energy
	Number
	11,2
	
	For Charge Type 410:  Uninstructed Energy  amount of the unit.

	Total Forward Market Settlement
	Number
	10,5
	
	For Charge Type 24: Total day ahead and hour ahead Replacement Reserve capacity payment for the given resource.

	Total Forward Market Quantity
	Number
	11,2
	
	For Charge Type 24: Total day ahead and hour ahead Replacement Reserve capacity for the given resource.

	Region ID
	Number
	3
	
	Region ID associated with the current charge.

	Interchange ID
	Varchar
	32
	
	ID used by the SC to identify an intertie schedule.  This field is only populated for intertie records only.

	Energy Type
	Varchar
	5
	‘CSPN’,

‘CNSPN’,

‘CRPLC’;

‘FIRM’,

‘NFRM’,

‘WHEEL’,

’DYN’;

Null


	Identifies the Intertie energy type.  This field is only used in intertie records.

For records related to A/S Settlement, the following energy types are used:

CSPN – spinning capacity;

CNSPN – non-spinning capacity;

CRPLC – replacement reserve capacity.

For Charge Type 352, the following are used:

FIRM – Firm energy;

NFRM – non firm energy;

WHEEL – part of a wheel through energy schedule;

DYN – dynamic schedule

Null – A/S or supplemental energy export that has no associated forward market schedules.

	Operational Adjustments
	Number
	11,2
	
	Operational adjustments made to the schedule in real-time.

For Charge Type 24: Total amount of Out-of-Sequence Instructed Energy that originates from the given resource’s Replacement Reserve.

	A/S and Supplemental energy
	Number
	11,2
	
	Amount of dispatched ancillary services and supplemental energy associated with the schedule.

For Charge Type 24: Total amount of BEEP Instructed Energy that originates from the given resource’s Replacement Reserve.

	Contract Amount
	Number
	11,2
	
	Effective amount of MWh in the schedule that is covered by Existing Contract.

	TO Percent Ownership /Percent Exemption/ GMMa
	Number
	13,4
	
	For Charge Types 204, 254, 255: Percentage ownership for a Transmission Owner (TO)

For Charge Type 352: Percent Exemption to be applied to the Contract Amount 

For Charge Type 410:  Unit’s actual GMM in real time.

	Contract Reference ID
	Varchar
	35
	
	String of contract reference IDs applied to the schedule.  Each contract reference id segment is preceded by ‘E_’.  The different segments are separated by commas. The number of contracts displayed is limited to 35 characters. (e.g. ‘E_ABC,E_XYZL,E_IJK’)

	Location Price Type
	Varchar
	1
	‘F’
	Indicates whether the resource is under FERC jurisdiction. This is only used for charges related to A/S.  For FERC locations, this field will be populated with ‘F’.


3.4 Manual Line Item Records

These records identify each individual manual line item which has been entered for the customer.  Manual line items will be included in the statement if the affected date is the trading date of the statement or if the affected date is less than the trading date of the statement.

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘A’
	Indicates the type of record

	Charge Type
	Number
	4
	
	Code indicating the type of settlement

	Adjustment ID
	Number
	12
	
	Unique identifier for the adjustment record

	Affected Date
	Date
	
	
	Trading date which was affected by the line item

	Trading Hour
	Number
	2
	
	The trading hour which was affected by the line item

	Trading Interval 
	Number
	2
	0 or 1- 6
	The trading interval which was affected by the line item.  For a hourly adjustment, this field is 0.  For sub-hourly adjustment, this is the trading interval number (1 – 6).

	Billable Quantity
	Number 
	11,2
	
	The quantity billed for the affected line item.

	Price
	Number
	10,5
	
	The rate at which the quantity is billed for the affected line item

	Amount
	Number
	11,2
	
	Net amount of the line item

	Zone ID
	Varchar
	12
	
	The zone to which the affected line item applies

	Location ID
	Varchar
	32
	
	The location to which the affected line item applies

	Interchange ID
	Varchar
	32
	
	ID used by the SC to identify an intertie schedule.  This field is only populated for intertie records only.

	Creation Date
	Date
	
	
	Date the line item was created

	Reference ID
	Varchar
	12
	
	An reference ID for why an line item may have been made.  The Dispute ID, if applicable, is put here.

	Comment
	Varchar
	256
	
	Brief explanation of the line item

	
	
	
	
	


3.5 Trailer Record

This record is included to signal the end of the file as well as provide information to validate the file.  

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘Z’
	Indicates the type of record

	Record Count
	Number
	
	
	Number of records contained in the file including the header and trailer records

	Amount Total
	Number
	
	
	Sum of the following fields:  summary record - settlement total, settlement detail record - settlement amount, manual line item record – amount


4 GMC, Wheeling & Market Uplifts Detail File

The GMC, Wheeling & Market Uplifts Detail File is a companion file issued with the Statement File.  It provides detail information related to a Scheduling Coordinator’s Grid Management Charges, Wheeling and other market uplift charges incurred on a particular trade date.  These charges are assessed monthly and the charge records normally appears in the statement for the last day of the trade month.  The components that make up the monthly charges, due to their sheer volume, are provided daily in this file. 

This file provides support data for the following charge types:

· Unbundled Grid management Charges (effective 1/1/2001):

· Control Area Services Charge due ISO (Charge Type 521)

· Inter-Zonal Scheduling Charge due ISO (Charge Type 522)

· Market Operations Charge due ISO (Charge Type 523)

· Wheeling Charges:

· High Voltage Wheeling Access Charge (Charge Type 382)

· Low Voltage Wheeling Access Charge (Charge Type 383)

· Market Uplifts:

· Emissions Cost Recovery (Charge Type 591)

· Start-Up Cost Recovery (Charge Type 592)

There are six different types of data records in this File.  These include:

· Header – This is the first record of the file that provides the information such as the file type, market participant ID,  and an indicator to show whether it is the preliminary statement or final statement for that date.

· Intertie Detail – These are detailed records of the Scheduling Coordinator’s intertie schedules.  This section provide intertie information related to GMC and Wheeling charges.  

· Load Measurement  – These are records showing the Scheduling Coordinator’s load measurements used for calculating the control area services charge.

· Inter-Zonal Flow  – These are records showing the Scheduling Coordinator’s inter-zonal flows used for calculating the inter-zonal scheduling charge.

· Hourly Aggregate GMC/Uplifts – This is a listing of the sums of the billable quantities of the Grid Management Charges as well as the market uplifts at an hourly interval. 

· Trailer - File trailer record contains the record count. 

If a data field is not applicable in the context of a data record, this field will be left empty between its delimiters.  For example,  “Zone 1||10|2|-20” indicates a ‘null’ field between ‘Zone 1’ and the value ‘10’.

4.1 Header Record

This record will supply information which can be used to identify the contents of the file. 

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘H’
	Indicates the type of record

	Customer Number
	Number
	15
	
	The customer’s unique identifier

	Statement Number
	N/A
	
	NULL
	This field is not used and left as null

	File Type
	Varchar
	2
	‘GW’
	Indicates the file is a GMC file

	Statement Type
	Varchar
	1
	‘P’ or ‘F’
	Indicates the type of the file as either preliminary or final

	Trading Date
	Date
	
	
	The specific trading date for which the statement is being created.

	Software Version
	Varchar
	255
	
	The software version for which the statement is being created.

	Statement Version
	Varchar
	255
	
	The statement version for which the statement is being created..

	
	
	
	
	


4.2 Intertie Detail Records

These records provide the Scheduling Coordinator’s location level grid management & wheeling charge details created by the system for the Scheduling Coordinator’s export schedule.  A record is provided for each distinct intertie schedule.  Each record contains the schedule’s identifier (date, hour, location ID, interchange ID and energy type), its intertie quantity and the corresponding components used in calculating this value.  Only the export schedules are assessed GMC and Wheeling Charges.

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘I’
	Indicates the type of record

	Trading Date
	Date
	
	
	The trading date of the settlement

	Trading Hour
	Number
	2
	
	The trading hour of the settlement

	
	
	
	
	

	GMC  Quantity
	Number 
	11,2
	
	The export quantity which is subjected to Control Area Services Charge. 

	Wheeling Quantity
	Number
	11,2
	
	The export quantity which is subjected to Wheeling Access Charge.

	
	
	
	
	

	
	
	
	
	

	Location ID
	Varchar
	32
	
	The intertie location of the schedule.

	Interchange ID
	Varchar
	32
	
	ID used by the SC to identify an intertie schedule.  

	Energy Type
	Varchar
	5
	‘FIRM’,

‘NFRM’,

‘WHEEL’,

’DYN’,

Null
	The energy type as provided in the SC’s scheduling template.  

FIRM – Firm energy;

NFRM – non firm energy;

WHEEL – part of a wheel through energy schedule;

DYN – dynamic schedule

Null – A/S or supplemental energy export that has no associated forward market schedules.

	Import/Export Flag
	Varchar
	32
	‘I’, ‘E’
	Flags to indicate whether the schedule was an import (I) or export (E)

	Scheduled  Quantity
	Number
	11,2
	
	The hour ahead schedule quantity for the intertie schedule.  Export quantity is positive and import quantity is negative.

	Operational Adjustments
	Number
	11,2
	
	Adjustments made to the intertie schedule in real-time.  Export quantity is positive and import quantity is negative.

	A/S and Supplemental energy
	Number
	11,2
	
	This is the dispatched ancillary services and any supplemental energy in the real-time.  INC energy is positive and DEC energy is negative.

	Contract Reference ID
	Varchar
	35
	
	String of contract reference IDs applied to the schedule.  Each contract reference id segment is preceded by ‘E_’.  The different segments are separated by commas. The number of contracts displayed is limited to 35 characters. (e.g. ‘E_ABC,E_XYZL,E_IJK’)

	Contract Amount
	Number
	11,2
	
	Effective amount of MWh in the schedule that is exempted from Wheeling Access Charge due to an Existing Transmission Contract.

	
	
	
	
	


4.3  Load Measurement Records

These records show the load measurements for the Scheduling Coordinator.  All loads are assessed Control Area Services Charge.  The Non-PTO loads, which are loads served by Distribution Companies associated with non-Participating Transmission Owners, are assessed Wheeling charge (unless they are exempted under certain Existing Transmission Contracts).  A record is provided for each load in each hour.

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘L’
	Indicates the type of record.

	Trading Date
	Date
	
	
	The trading date of the settlement.

	Trading Hour
	Number
	2
	
	The trading hour of the settlement.

	
	
	
	
	

	Location ID
	Number
	32
	
	The location to which the Billable Quantity applies

	Non-PTO Flag
	Varchar
	1
	‘Y’ or ‘N’
	Flag which specifies if the load is served by distribution companies associated with non-Participating Transmission Owners.  If ‘Y’, Wheeling charges are assessed.  

	Metered Qty
	Number
	11.2
	
	Metered quantity for the load.

	
	
	
	
	


4.4  Inter-Zonal Flow Records

The information provided in this section shows the inter-zonal New Firm Use flows for the Scheduling Coordinator.  A record is provided for the Scheduling Coordinator’s utilization of each path in each hour.  New Firm Use refers to transmission path utilization that is not scheduled under Existing Transmission Contracts.  Inter-zonal Scheduling Charges are applied to inter-zonal flows.

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘C’
	Indicates the type of record

	Trading Date
	Date
	
	
	The trading date of the settlement

	Trading Hour
	Number
	2
	
	The trading hour of the settlement

	Path ID
	Varchar
	32
	
	The path to which the Billable Quantity applies

	Flow Quantity  
	Number
	11.2
	
	Net inter-zonal flow quantity in the given path due to New Firm Use.  A sign is used to indicate the direction of the flow, but its absolute magnitude determines the Inter-zonal Scheduling Charge.

	
	
	
	
	


4.5  Hourly Aggregate GMC/Uplifts Records

This section provides a listing of the components that make up the billable quantities of the Grid Management Charges as well as the market uplifts at an hourly interval. 
	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘A’
	Indicates the type of record

	Trading Date
	Date
	
	
	The trading date of the settlement

	Trading Hour
	Number
	2
	
	The trading hour of the settlement

	Load SUM
	Number
	11.2
	
	The sum of SC’s metered quantities for load locations in the given hour. 

	Export SUM
	Number


	11.2
	
	The sum of SC’s export schedules (including any real time adjustments and dispatched energy) in the given hour 

	NFU SUM
	Number
	11.2
	
	The sum of the absolute values of SC’s inter-zonal flows due to New Firm Use, netted per path, in the given hour.

	AS Purchases SUM
	Number
	11.2
	
	The sum of the absolute values of ancillary services purchased by ISO from the SC in the given hour.

	AS Sales SUM
	Number
	11.2
	
	The sum of the absolute values of ancillary services obligations incurred by the SC in the given hour. 

	Instructed Energy SUM
	Number
	11,2
	
	The sum of the absolute values of  SC’s 10-minute Instructed Energy at all his resources during the given hour.

	Uninstructed Energy SUM
	Number
	11,2
	
	The sum of the absolute values of SC’s 10-minute Uninstructed Energy (not Uninstructed Deviation) at all his resources during the given hour.

	In-State Export Sum
	Number
	11,2
	
	The sum of SC’s in-state export schedules (including any real time adjustments and dispatched energy) in the given hour.  In-state export is scheduled at an intertie between ISO and another California Control Area (i.e. LDWP and IID).

	Billable Effective Self Provision Sum
	Number
	11,2
	
	The contribution of the SC’s Effective Self Provision in the given hour towards the assessment of “A/S and Real Time Energy Operations Charge”.  This value is currently 50% of the SC’s Effective Self Provision in the Control Area.


4.6  Trailer Record

This record is included to signal the end of the file as well as provide information to validate the file.  

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘Z’
	Indicates the type of record

	Record Count
	Number
	
	
	Number of records contained in the file including the header and trailer records

	
	
	
	
	


5 HVAC Detail File

The HVAC Detail File is a companion file issued with the Statement File.  It provides detail information related to a Utility Distribution Company’s (UDC’s) High Voltage Access Charge (HVAC) incurred on a particular trade date.  The HVAC is assessed monthly and the charge records normally appears in the statement for the last day of the trade month.  The components that make up the monthly charges, due to their sheer volume, are provided daily in this file. In accordance to the Transmission Access Charge (TAC) scheme (effective 1/1/2001), the HVAC can be broken down into two components; a TAC area and an ISO grid wide component.  HVAC is typically paid by an UDC who will be the recipient of this file.

There are four different types of data records in a HVAC Charge Detail File.  These include:

· Header – This is the first record of the file that provides the information such as the file type, market participant ID, and an indicator to show whether it is the preliminary statement or final statement for that date.

· Load Measurement Detail Records – These are detailed records of the Scheduling Coordinator’s load measurements for the location.  This section provides load measurement information related to HVAC.   

· Hourly Aggregate Load Records – These are records of load measurement aggregated to the TAC area level.

· Trailer - File trailer record contains the record count. 

5.1 Header Record

This record will supply information which can be used to identify the contents of the file. 

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘H’
	Indicates the type of record

	Customer Number
	Number
	15
	
	The customer’s unique identifier

	Statement Number
	N/A
	
	NULL
	This field is not used and left as null

	File Type
	Varchar
	2
	‘HC’
	Indicates the file is a HVAC Charge file

	Statement Type
	Varchar
	1
	‘P’ or ‘F’
	Indicates the type of the file as either preliminary or final

	Trading Date
	Date
	
	
	The specific trading date for which the statement is being created.

	Software Version
	Varchar
	255
	
	The software version for which the statement is being created.

	Statement Version
	Varchar
	255
	
	The statement version for which the statement is being created..

	
	
	
	
	


5.2 Load Measurement Detail Records

These records provide the Scheduling Coordinator’s location level HVAC charge details created by the system for the Scheduling Coordinator’s load measurement for the location.  A record is provided for each distinct location.  Each record contains the schedule’s identifier (date and location) and its load.  In addition, the appropriate TAC rate and ISO for this TAC area are shown. 

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘L’
	Indicates the type of record

	Trading Date
	Date
	
	
	The trading date of the settlement

	Trading Hour
	Number
	2
	
	The trading hour of the settlement

	TAC area ID
	Varchar 
	12
	
	The TAC area which the location belongs to

	Location ID 
	Varchar
	32
	
	The TAC area of the load measurement 

	Load Measurement
	Number
	11,2
	
	The meter load which is subjected to HVAC charge at a given location.

	
	
	
	
	


5.3 Hourly Aggregate Load Records

These records show the load measurement sum for the TAC area. A record is provided for each load sum in each hour.

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘A’
	Indicates the type of record.

	Trading Date
	Date
	
	
	The trading date of the settlement.

	Trading Hour
	Number
	2
	
	The trading hour of the settlement.

	TAC Area ID
	Varchar
	12
	
	The TAC area of the aggregated load

	Load Metered Sum
	Number
	11.2
	
	Sum of all the metered load for the TAC area

	
	
	
	
	


5.4 Trailer Record

This record is included to signal the end of the file as well as provide information to validate the file.  

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘Z’
	Indicates the type of record

	Record Count
	Number
	
	
	Number of records contained in the file including the header and trailer records

	
	
	
	
	


6 HVAC and Wheeling Revenues Detail File

The HVAC and Wheeling Revenues Detail File is a file issued to Transmission Owners.  It provides detail information related to a Transmission Owner’s refund  for a particular location/TAC area on a particular trade date.  The HVAC and Wheeling revenues are distributed monthly and the charge records normally appears in the statement for the last day of the trade month.  The components that make up the monthly revenues, due to their sheer volume, are provided daily in this file. There will be one HVAC revenue that contains both TAC area refund and ISO area refund portions.  Wheeling revenue will be separated into two revenue amounts, the high voltage revenue (charge type 384) and low voltage revenue (charge type 385).

There are four different types of data records in a HVAC and Wheeling Revenues Detail File.  These include:

· Header – This is the first record of the file that provides the information such as the file type, market participant ID, and an indicator to show whether it is the preliminary statement or final statement for that date.

· HVAC Revenue Details – These are detailed records of the Transmission Owner’s billable quantity ( amount of energy to be paid for) and the information related to the HVAC Revenue for the TAC area. 

· Wheeling Revenue Details- These are detailed records of the Transmission Owner’s billable quantity ( amount of energy to be paid for) and the information related to the Wheeling Revenue for the location. 

· Trailer - File trailer record contains the record count.

6.1 Header Record

This record will supply information which can be used to identify the contents of the file. 

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘H’
	Indicates the type of record

	Customer Number
	Number
	15
	
	The customer’s unique identifier

	Statement Number
	N/A
	
	NULL
	This field is not used and left as null

	File Type
	Varchar
	2
	‘RF’
	Indicates the file is a HVAC and Wheeling Refund file

	Statement Type
	Varchar
	1
	‘P’ or ‘F’
	Indicates the type of the file as either preliminary or final

	Trading Date
	Date
	
	
	The specific trading date for which the statement is being created

	Software Version
	Varchar
	255
	
	The software version for which the statement is being created.

	Statement Version
	Varchar
	255
	
	The statement version for which the statement is being created

	
	
	
	
	


6.2 HVAC Revenue Detail Records

These records provide the Transmission Owner’s TAC area HVAC revenue details created by the system.  A record is provided for each distinct TAC area.  Each record contains the record’s identifier (date and tac_area_id) and the billable quantity.  In addition, the appropriate TAC percentage and ISO percentage for this TAC area are shown.

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘V’
	Indicates the type of record

	Trading Date
	Date
	
	
	The trading date of the settlement

	Trading Hour
	Number
	2
	
	The trading hour of the settlement

	TAC Area ID
	Varchar
	12
	
	The TAC area of the refund 

	Billable Quantity
	Number
	11,2
	
	Total volume of load in the given area that is subjected to HVAC

	Area Percentage
	Number
	10,5
	
	The TO’s percentage share of the revenue in the area account

	ISO Percentage
	Number
	10,5
	
	The TO’s percentage share of the revenue in the ISO grid-wide account

	Area Rate
	Number
	10,5
	
	TAC area component based on the Transmission Revenue Requirement

	ISO Rate
	Number
	10,5
	
	ISO area component based on the Transmission Revenue Requirement

	
	
	
	
	


6.3 Wheeling Revenue Detail Records

These records provide the Transmission Owner’s location level Wheeling revenue details created by the system.  A record is provided for each location.  Each record contains the record’s identifier (date and lctn_id) and the billable quantity.  In addition, the appropriate high voltage percentage and low voltage percentage for this location are shown.

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘W’
	Indicates the type of record

	Trading Date
	Date
	
	
	The trading date of the settlement

	Trading Hour
	Number
	2
	
	The trading hour of the settlement

	Location ID
	Varchar
	32
	
	The location of the refund 

	Billable Quantity
	Number
	11,2
	
	The quantity refunded

	HV Percentage
	Number
	10,5
	
	The TO’s percentage share of the high voltage wheeling revenue collected from the given location

	LV Percentage
	Number
	10,5
	
	The TO’s percentage share of the low voltage wheeling revenue collected from the given location

	HV Rate
	Number 
	10,5
	
	High voltage wheeling rate at a given location

	LV Rate
	Number
	10,5
	
	Low voltage wheeling rate at a given location

	
	
	
	
	


6.4 Trailer Record

This record is included to signal the end of the file as well as provide information to validate the file.  

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘Z’
	Indicates the type of record

	Record Count
	Number
	
	
	Number of records contained in the file including the header and trailer records

	
	
	
	
	


7  Ancillary Service Detail File

The Ancillary Service Details File is a companion file issued with the Statement File.  It contains the detail supporting data that are used to derive the A/S service charges shown in the Statement File.  These charges include A/S costs allocated based on metered demand and Replacement Reserve cost. 

There are different types of data records in a Ancillary Service Details File.  These include:

· Header – This is the first record of the file that provides the information such as the file type, market participant ID, statement number, and an indicator to show whether it is the preliminary statement or final statement for that date.

· Zone Region Cross Reference – This provides a cross reference between a zone and the region it is associated to by trading hour and ancillary service type.

· Operating Reserve Requirement Components – The component information that are used in calculating the operating reserve requirement by zone and trading hour.

· A/S Cost Allocation Based On Metered Demand - Detailed records of ancillary service charges by business associate, trading date, trading hour, region and ancillary service type as appropriate.  These records contain the Billable Quantity, Price and Amount Due as well as a number of other fields which uniquely identify the allocation (region, trading interval) or represent the terms used in the calculation.  

· Replacement Reserve Allocation - Detailed records of this charge by business associate, trading date, trading hour, region and ancillary service type as appropriate.  These records contain the Billable Quantity, Price and Amount Due as well as a number of other fields which uniquely identify the allocation (region, trading interval) or represent the terms used in the calculation.  

· Self Provided Replacement Reserve Withhold – This section provides detail data related to the withholding of credit for the SC’s Excess Self Provision of Replacement Reserve.

· Trailer - File trailer record contains the record count.

7.1 Header Record

This record will supply information which can be used to identify the contents of the file. 

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘H’
	Indicates the type of record

	Customer Number
	Number
	15
	
	The customer’s unique identifier

	Statement Number
	Number
	12
	
	The number of the statement

	File Type
	Varchar
	2
	‘AS’
	Indicates the file is an Ancillary Service Details file

	Statement Type
	Varchar
	1
	‘P’, ‘F’
	Indicates the type of statement as either preliminary or final.

	Trading Date
	Date
	
	
	The specific trading date for which the statement is being created.

	Software Version
	Varchar
	255
	
	The software version for which the statement is being created.

	Statement Version
	Varchar
	255
	
	The statement format version for which the statement is being created.

	
	
	
	
	


7.2 Zone/Region Cross Reference

These records provide the mapping of a zone to its associated A/S day ahead procurement region for each trading interval and ancillary service type.

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘X’
	Indicates the type of record

	Trading Date
	Date
	
	
	The trading date of the settlement

	Trading Hour
	Number
	2
	
	The trading hour of the settlement

	Trading Minute
	Number
	2
	0
	Not used.

	Zone ID
	Varchar
	12
	
	A congestion zone.

	Ancillary Service Type
	Varchar
	8
	‘SPIN’,

‘NSPIN’,

‘REG UP’,

‘REG DOWN’,

‘REPL’
	Ancillary service type

	Region ID
	Number
	3
	
	The A/S procurement region to which the zone belongs.

	
	
	
	
	


7.3 Operating Reserve Requirement Components

These records provide the zonal metered and intertie schedule quantities which are used in calculating the SC’s operating reserve requirement.

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘O’
	Indicates the type of record

	Trading Date
	Date
	
	
	The trading date of the settlement

	Trading Hour
	Number
	2
	
	The trading hour of the settlement

	Trading Minute
	Number
	2
	0
	Not used.

	Zone ID
	Varchar
	12
	
	A congestion zone.

	Load Quantity
	Number
	11,2
	
	SC’s metered load in the zone.

	Firm Export Quantity
	Number
	11,2
	
	SC’s real-time firm intertie export schedules out of the zone.

	Firm Import Quantity
	Number
	11,2
	
	SC’s real-time firm intertie import schedules into the zone.

	Non-Firm Import Quantity
	Number
	11,2
	
	SC’s real-time non-firm intertie import schedules into the zone.

	Hydro Generation  Quantity
	Number
	11,2
	
	SC’s metered hydro generation in the zone.

	
	
	
	
	


7.4 A/S Allocation Based On Metered Demand

These records provide the Business Associate’s regional level details which are part of the settlement charges created by the system for the customer.  An individual record will provide the region’s billable quantity and the corresponding components used in calculating this value.  Allocation is performed for each day ahead A/S procurement region.

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘A’
	Indicates the type of record

	Trading Date
	Date
	
	
	The trading date of the settlement

	Trading Hour
	Number
	2
	
	The trading hour of the settlement

	Trading Minute
	Number
	2
	0
	Not used.

	Region ID
	Number
	3
	
	The region to which the settlement applies

	Ancillary Service Type
	Varchar
	8
	‘SPIN’,

‘NSPIN’,

‘REG UP’,

‘REG DOWN’
	Ancillary service type

	Day ahead self provision
	Number
	11,2
	
	The amount of self provision in SC’s day ahead schedule for a region and interval.

	Hour ahead self provision
	Number
	11,2
	
	The amount of self provision in SC’s hour ahead schedule for a region and interval.

	Inter SC sold quantity 
	Number
	11,2
	
	Amount of capacity SC sold through inter SC trades

	Inter SC bought quantity
	Number
	11,2
	
	Amount of capacity SC bought through inter SC trades

	Measured quantity
	Number
	11,2
	
	Reg Up/Reg Down: SC’s metered load in region.

Spin/NSpin: SC’s operating reserve requirement in region

	On demand obligation
	Number
	11,2
	
	SC’s on demand obligation for a region

	Scheduled self provision
	Number
	11,2
	
	The maximum of the day ahead and hour ahead self provision

	Allowable self provision
	Number
	11,2
	
	The amount of self provision ISO will accept based on its incremental needs.

	Unqualified self provision
	Number
	11,2
	
	The difference between the scheduled self provision and the effective self provision.

	Effective self provision
	Number
	11,2
	
	The amount of self provision the SC will receive credit for

	Base obligation
	Number
	15,5
	
	The amount of adjusted requirement allocated to the SC- percent obligation * total adjusted requirement

	Percent Obligation
	Number
	10,5
	
	SC’s measured quantity divided by the total measured quantity

	Adjusted obligation
	Number
	15,5
	
	Base obligation + on demand obligation + inter SC sold quantity – inter SC bought quantity

	Net obligation 
	Number
	11,2
	
	The difference between adjusted obligation and effective self provision

	Price
	Number
	10,5


	
	The total payments by the ISO for the ancillary service type procured in the day ahead and hour ahead markets divided by the total MW procured in both markets

	Settlement Amount
	Number
	11,2
	
	Net obligation * price

	Total Day Ahead Ancillary Service Procured Amount
	Number
	11,2
	
	Total ancillary service amount (in MW) procured in the region in the day ahead market

	Total Hour Ahead Ancillary Service Procured Amount
	Number
	11,2
	
	Total additional ancillary service amount (in MW) procured in the region in the hour ahead market

	Day Ahead Avg Price
	Number
	10,5
	
	Day ahead average procurement price for the region and service type.  This may not equal the corresponding MCP if there are bids accepted at above the mitigated MCP.

	Hour Ahead Avg Price
	Number
	10,5
	
	Weighted average Hour ahead procurement  price of the given service type in the zones that make up the Day ahead region.  

	Total Effective Self Provision
	Number
	11,2
	
	Total effective self provision for the region

	Total On Demand Obligation
	Number
	11,2
	
	Total on demand obligation for the region

	Total measured quantity
	Number
	11,2
	
	Reg Up/Reg Down: Total metered load in region.

Spin/NSpin: Total operating reserve requirement in region


7.5 Replacement Reserve

These records provide the Business Associate’s regional level details which are part of the settlement charges created by the system for the customer.  An individual record will provide the region’s billable quantity and the corresponding components used in calculating this value.  Allocation is performed for each day ahead A/S procurement region.

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘R’
	Indicates the type of record

	Trading Date
	Date
	
	
	The trading date of the settlement

	Trading Hour
	Number
	2
	
	The trading hour of the settlement

	Trading Minute
	Number
	2
	0
	Not used.

	Region ID
	Number
	3
	
	The region to which the settlement applies

	Ancillary Service Type
	Varchar
	8
	‘REPL’
	Ancillary service type

	Day ahead Self Provision
	Number
	11,2
	
	SC’s day ahead scheduled self provision for the region

	Hour ahead Self Provision
	Number
	11,2
	
	SC’s hour ahead scheduled self provision for the region

	Generation Deviation Quantity 
	Number
	11,2
	
	SC’s generation deviation megawatt in the region

	Load Deviation Quantity
	Number
	11,2
	
	SC’s load deviation megawatt in the region

	Inter SC Sold Quantity 
	Number
	11,2
	
	Amount of capacity SC sold through inter SC trades

	Inter SC Bought Quantity
	Number
	11,2
	
	Amount of capacity SC bought through inter SC trades

	Measured Quantity
	Number
	11,2
	
	The SC’s metered load in a region excludes exports.

	Scheduled Self Provision
	Number
	11,2
	
	The maximum of the day ahead and hour ahead self provision.

	Deviation Requirement
	Number
	11,2
	
	The SC’s total deviation (from generation and load) that contributes to the reduction of system reserve.

	Adjusted Deviation Requirement
	Number
	11,2
	
	Deviation Requirement further adjusted by inter-SC trades.

	Normal Self Provision
	Number
	11,2
	
	The normal component of an SC’s self provision.  It is the lesser of the SC’s hour-ahead self provision and his Adjusted Deviation Requirement.

	Remaining Self Provision
	Number
	11,2
	
	The difference between the Scheduled Self Provision and the Normal Self Provision.

	Effective Remaining Self Provision
	Number
	11,2
	
	The portion of the SC’s Remaining Self Provision that is considered effective.

	Effective self Provision
	Number
	11,2
	
	The portion of the SC’s Scheduled Self Provision which ISO considers effective.

	Base Percentage
	Number 
	10,5
	
	SC’s percentage of the Total Deviation Requirement for the region.

	Base Obligation
	Number
	15,5
	
	SC’s Base Obligation is his Deviation Requirement unless ISO’s  total reserve available is less than the sum of the SCs’ Deviation Requirements, in which case, this will be a prorata share of total.

	Remaining Percentage
	Number 
	10,5
	
	Percentage of SC’s metered load compared to the total region metered load

	Remaining Obligation
	Number
	15,5
	
	The excess reserve (over the Total Deviation Requirements) multiplied by the SC’s Remaining Percentage.

	Net Obligation 
	Number
	11,2
	
	SC’s net reserve obligation (with trades and self provision taken into account).

	Price
	Number
	10,5
	
	Average procurement price for the ancillary service

	Settlement Amount
	Number
	11,2
	
	SC’s settlement for the ancillary service obligation

	Total Normal Self Provision
	Number
	11,2
	
	Sum of all SCs’ Normal Self Provision for the region.

	Total Self Provision
	Number
	11,2
	
	Sum of SC’s Self Provision for the region

	Total Deviation Requirement
	Number
	11,2
	
	Sum of SC’s Deviation Requirements for the region

	Total Day Ahead Ancillary Service Amount
	Number
	11,2
	
	Total ancillary service amount (in MW) procured in the region in the day ahead market

	Total Hour Ahead Ancillary Service Procured Amount
	Number
	11,2
	
	Total additional ancillary service amount (in MW) procured in the region in the hour ahead market

	Day Ahead Avg Price
	Number
	10,5
	
	Day ahead Replacement Reserve average procurement price for the region.  This may not equal the corresponding MCP if there are bids accepted at above the mitigated MCP.

	Hour Ahead Avg Price
	Number
	10,5
	
	Weighted average Hour ahead Replacement Reserve procurement  price of the zones that make up the given Day ahead region

	Total Effective Self Provision
	Number
	11,2
	
	The portion of the Total Self Provision that ISO considers effective.

	Total Effective Remaining Self Provision
	Number
	11,2
	
	Total Effective Self Provision less Total Normal Self Provision for the region.

	Total Measured Quantity
	Number
	11,2
	
	Total metered load in the region.

	Total Base Obligation 
	Number
	15,5
	
	Sum of SCs’ Base Obligations for the region.

	Total Remaining Obligation 
	Number
	15,5
	
	Total reserve available to ISO less Total Base Obligation for the region.

	Total RR Capacity Payment Withheld ($RRWC)
	Number
	11,2
	
	Total amount of Replacement Reserve capacity payments withheld by ISO from all SCs in the Region.


7.6 Self Provided Replacement Reserve Withhold

These records provide the Business Associate’s regional level details that are part of the settlement charges created by the system for the customer.  An individual record will provide the region’s billable quantity and the corresponding components used in calculating this value.  Allocation is performed for each day-ahead A/S procurement region.

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘S’
	Indicates the type of record

	Trading Date
	Date
	
	
	The trading date of the settlement

	Trading Hour
	Number
	2
	
	The trading hour of the settlement

	Region ID
	Number
	3
	
	The region to which the settlement applies

	Total Replacement Reserve Instructed Energy (TRR’ih)
	Number
	11,4
	
	Total amount of Instructed Energy that originates from the SC’s Replacement Reserve (including both bid-in and self provided reserve) in the Region.

	Bid-in Withheld Capacity (BIWCih)
	Number
	11,4
	
	Amount of SC’s bid-in Replacement Reserve capacity in the region that has been dispatched by ISO and for which capacity payment has been withheld by ISO.

	Self-Provided Replacement Reserve Instructed Energy (SPRR’ih)
	Number
	11,4
	
	Sum of Instructed Energy that originates from the SC’s self provided Replacement Reserve in the region.

	Effective self Provision (ESPjrh)
	Number
	11,2
	
	The portion of the SC’s self provided Replacement Reserve that is considered Effective.

	Net Obligation (RROjrh)
	Number
	11,2
	
	SC’s net Replacement Reserve obligation (after inter-SC trades and self provision are taken into account).

	Self Provision Withheld Capacity (SPWCjrh)
	Number
	11,4
	
	Amount of Replacement Reserve capacity that is withheld from the SC’s self provision in the region. 


7.7 Trailer Record

This record is included to signal the end of the file as well as provide information to validate the file.  

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘Z’
	Indicates the type of record

	Record Count
	Number
	
	
	Number of records contained in the file including the header and trailer records


8 Imbalance Energy/No Pay Settlement Detail File

The Imbalance Energy/No Pay Settlement Detail File is a companion file issued with the Statement File.  It contains the detail supporting data that are used to derive certain charges shown in the Statement File.  These charges include Instructed Energy Settlement, Uninstructed Energy Settlement, No Pay Settlement, Unaccounted For Energy Settlement, and Excess Costs for Instructed Energy.

There are different types of data records in this file.  These include:

· Header – This is the first record of the file that provides the information such as the file type, market participant ID, statement number, and an indicator to show whether it is the preliminary statement or final statement for that date.

· Instructed and Uninstructed Energy Detail Records

· OOS Detail Records

· No Pay Detail Records

· UFE Detail Records

· Excess Cost Records.

· Trailer- File trailer record contains the record count

8.1 Header Record

This record will supply information that can be used to identify the contents of the file. 

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘H’
	Indicates the type of record.

	Customer Number
	Number
	15
	
	The customer’s unique identifier.

	Statement Number
	Number
	12
	
	The number of the statement.

	File Type
	Varchar
	2
	‘IE’
	Indicates the file is an Imbalance Energy/No Pay Detail file.

	Statement Type
	Varchar
	1
	‘P’, ‘F’
	Indicates the type of statement as either Preliminary or Final.

	Trading Date
	Date
	
	
	The specific trading date for which the statement is being created.

	Software Version
	Varchar
	255
	
	The software version for which the statement is being created.

	Statement Version
	Varchar
	255
	
	The statement format version for which the statement is being created.


8.2 Instructed and Uninstructed Energy Detail records

Each record in this section shows the Instructed and Uninstructed Energy for a given resource in a trading interval (10-minute currently).  Intertie resources are identified by the Location ID/Interchange ID pair.  Instructed Energy may come from a variety of explicit and implicit dispatch instructions.  The explicit instructions may include Out of Stack (OOS), Supplemental Energy, A/S dispatch and operational adjustments.  The implicit instructions may include Ramping and Residual Energy.

A record will be included in this section if at least one of the Instructed or Uninstructed Energy terms is non-zero: 

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘E’
	Indicates the type of record.

	Trading Date
	Date
	
	
	The trading date of the settlement.

	Trading Hour
	Number
	2
	
	The trading hour of the settlement.

	Trading Interval
	Number
	2
	1-6
	The real time interval of the settlement

	Location ID
	Varchar
	32
	
	The location to which this record applies.

	Interchange ID
	Varchar
	32
	
	The interchange ID to which this record applies.

	Location Type
	Varchar
	1
	‘G’, ‘L’, ‘C’, 
	The location type associated with the location; Generation (G), Load (L), or Intertie (C)

	Import/Export Flag
	Varchar
	1
	‘I’, ‘E”
	The flag used to indicate whether this record is an import (I) or an export (E).  Only used when the Location Type is ‘C’.

	Zone ID
	Varchar
	12
	
	The ID of the congestion zone in which the resource resides.  For intertie resources, this is the external congestion zone in which the remote end of the intertie resides.

	Region ID
	Number
	3
	
	The ID of congestion region in which the subject congestion zone is.

	S
	Number 
	11,4
	
	Hourahead Final scheduled Quantity (MWh).  A positive value is used for all resource types.

	M
	Number 
	11,4
	
	Metered Quantity (MWh).  Used only for generator and load records.

	Gmma
	Number
	8,6
	
	Actual Generator Meter Multiplier.  Used only for generators and imports.

	Gmmf
	Number
	8,6
	
	Forecast Generator Meter Multiplier.  Used only for generators and imports.

	R 
	Number
	11,4
	
	Ramping Energy- The amount of ramping energy deemed delivered (MWh).  Null for intertie resources.

	OOS+ 
	Number
	11,4
	
	Total acknowledged positive Out of Stack energy of a resource (MWh).  Null for export resources.

	OOS-
	Number
	11,4
	
	Total acknowledged negative Out of Stack energy of a resource (MWh).  Null for export resources.

	ESE+
	Number
	11,4
	
	Acknowledged INC Supplemental Energy (MWh).  Null for export resources.

	ESE-
	Number
	11,4
	
	Acknowledged DEC Supplemental Energy (MWh).  Null for export resources.

	ERR
	Number
	11,4
	
	Acknowledged Interval Imbalance Energy from Replacement Reserve (MWh).  Null for export resources.

	ENS
	Number
	11,4
	
	Acknowledged Interval Imbalance Energy from Non-spinning Reserve (MWh).  Null for export resources.

	ESR
	Number
	11,4
	
	Acknowledged Interval Imbalance Energy from Spinning Reserve (MWh).  Null for load and export resources.

	RIE 
	Number
	11,4
	
	Residual Imbalance Energy based on acknowledged instructions (MWh).  Null for intertie resources.

	Price Reference Interval 
	Varchar
	32
	
	An interval constant used to determine the associated price for Residual Imbalance Energy.  This is shown as a numeric string ‘YYYYMMDDHHI’ where YYYY is the year, MM is the month, DD is the day, HH is the hour and I is the interval of the hour.  Null for intertie resources.

	OOS’+
	Number
	11,4
	
	Total actual positive Out of Stack energy of a resource (MWh).  Null for export resources.

	OOS’-
	Number
	11,4
	
	Total actual negative Out of Stack energy of a resource (MWh).  Null for export resources.

	ESE’+
	Number
	11,4
	
	Actual INC Supplemental Energy(MWh).  Null for export resources.

	ESE’-
	Number
	11,4
	
	Actual DEC Supplemental Energy (MWh). Null for export resources.

	ERR’
	Number
	11,4
	
	Actual Interval Imbalance Energy from Replacement Reserve (MWh).  Null for export resources.

	ENS’
	Number
	11,4
	
	Actual Interval Imbalance Energy from Non-spinning Reserve (MWh).  Null for export resources.

	ESR’
	Number
	11,4
	
	Actual Interval Imbalance Energy from Spinning Reserve (MWh).  Null for export load and resources.

	RIE’ 
	Number
	11,4
	
	Actual Residual Imbalance Energy (MWh).  Null for intertie resources.

	OA
	Number
	11,4
	
	Operational energy adjustment of an intertie resource.  A positive value indicate an increase in import or a decrease in export. (MWh).  Note that this is different from the intertie scheduling convention.

	UD
	Number
	11,4
	
	Uninstructed Deviation of a resource (MWh).

	UE
	Number
	11,4
	
	Uninstructed Energy of a resource (MWh).  This is equal to the Uninstructed Deviation less any Unavailable Capacity under the No Pay condition.

	$OOS+ 
	Number
	11,2
	
	Settlement Amount for positive Out of Stack energy ($).

	$OOS- 
	Number
	11,2
	
	Settlement Amount for negative Out of Stack energy ($).

	$ESE+ 
	Number
	11,2
	
	Settlement Amount for imbalance energy from Supplemental Energy ($).  Null for export resources.

	$ESE- 
	Number
	11,2
	
	Settlement Amount imbalance energy from Supplemental Energy ($).  Null for export resources.

	$ERR 
	Number
	11,2
	
	Settlement Amount for imbalance energy from Replacement Reserve ($).  Null for export resources.

	$ENS 
	Number
	11,2
	
	Settlement Amount for imbalance energy from Non-spinning Reserve ($).  Null for export resources.

	$ESR 
	Number
	11,2
	
	Settlement Amount for imbalance energy from Spinning Reserve ($).  Null for load and export resources.

	$RIE 
	Number
	11,2
	
	Settlement Amount for Residual Imbalance Energy ($).  Null for intertie resources.


8.3 OOS Detail Records

This section provides the individual Out of Stack (OOS) instructions for a given resource in a trading interval.  A resource may receive multiple OOS instructions in the same interval.

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘O’
	Indicates the type of record.

	Trading Date
	Date
	
	
	The trading date of the settlement.

	Trading Hour
	Number
	2
	
	The trading hour of the settlement.

	Trading Interval
	Number
	2
	1-6
	The real time interval of the settlement.

	Location ID
	Varchar
	32
	
	The location to which the instruction applies.

	Interchange ID
	Varchar
	32
	
	The interchange ID to which the instruction applies.

	Location Type
	Varchar
	1
	‘G’, ‘L’, ‘C’
	The location type associated with the location; Generation (G), Load (L), or Intertie (C ).

	Zone ID
	Varchar
	12
	
	The ID of the congestion zone in which the resource resides.  For intertie resources, this is the external congestion zone in which the remote end of the intertie resides.

	Region ID
	Number
	3
	
	The ID of the congestion region ID in which the resource resides.

	L
	Number
	5
	
	Chronological order of the OOS instruction in the trading interval.  The sequence is maintained across all system resources in the trading hour.  For a given SC, the sequence may not be consecutive numbers.

	OOS
	Number
	11,4
	
	Acknowledged OOS Energy of a resource (MWh).

	OOS’
	Number
	11,4
	
	Actual OOS Energy of a resource (MWh).

	Price
	Number 
	10,5
	
	Price of the OOS energy ($/MWh).

	Call Type
	Varchar
	30
	‘RELIABILITY’, ‘ENERGY’,

‘ENERGY-SP’, ‘ENERGY-NS’,

‘ENERGY-RR’,

‘ENERGY-SE’
	Indicates the source/usage of the OOS Energy. 

RELIABILITY – Out of Market energy for mitigating local reliability problem.

ENERGY – Out of Market energy for energy need.

ENERGY-SP – Out of Sequence energy originating from Spin Capacity;

ENERGY-NS – Out of Sequence energy Originating from Non-Spin Capacity;

ENERGY-RR – Out of Sequence energy Originating from Replacement Reserve Capacity;

ENERGY-SE – Out of Sequence energy from Supplement Energy; 


8.4 No Pay Detail Records

This section contains the supporting details for No Pay charges.  A resource will occur No Pay charges under 3 different conditions: (1) Unavailable Capacity, (2) Declined Instruction or (3) Undelivered Energy.  Distinction should be made between two engineering units: MW and MW-hr.  MW is used to measure electric capacity, operating limit or target.  MW-hr is used to measure the volume of capacity service over a period of time.  For example, an unit having 60 MW of capacity over a 10-minute interval is providing 10 MW-hr of service.

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘N’
	Indicates the type of record.

	Trading Date
	Date
	
	
	The trading date of the settlement.

	Trading Hour
	Number
	2
	
	The trading hour of the settlement.

	Trading Interval
	Number
	2
	1-6
	The real time interval of the settlement.

	Location ID
	Varchar
	32
	
	The location to which this record applies.

	Interchange ID
	Varchar
	32
	
	The interchange ID to which this record applies.

	Location Type
	Varchar
	1
	‘G’, ‘L’, ‘C’, 
	The location type associated with the location; Generation (G), Load (L), or Intertie (C)

	Zone ID
	Varchar
	12
	
	The ID of the congestion zone in which the resource resides.

	Region ID
	Number
	3
	
	The ID of the congestion region in which the resource resides.

	Service Type
	Varchar
	5
	‘S’, ‘ N’, ‘R’
	The A/S service type associated with the record: Spin (S), Non-spin (N), Replacement Reserve (R ).

	UD
	Number
	11,4
	
	Uninstructed Deviation of a resource (MWh).  Not used for intertie locations.

	M
	Number 
	11,4
	
	Metered Quantity (MWh).  Not used for intertie locations.

	Gmma
	Number
	8,6
	
	Actual Generator Meter Multiplier.  Not used for intertie locations.

	Pmax
	Number
	8,2
	
	Maximum capacity of a resource (MW).  Only used for generator locations.

	ERR’
	Number
	11,4
	
	Actual Interval Imbalance Energy from Replacement Reserve (MWh).  Not used for intertie locations.

	ENS’
	Number
	11,4
	
	Actual Interval Imbalance Energy from Non-spinning Reserve (MWh).  Not used for intertie locations.

	ESR’
	Number
	11,4
	
	Actual Interval Imbalance Energy from Spinning Reserve (MWh).  Not used for load and intertie locations.

	DA Self Provision
	Number
	11,4
	
	Day-Ahead Self Provision for the service type (MW)

	DA Market Capacity
	Number
	11,4
	
	Day-Ahead Market Capacity for the service type (MW)

	Total DA Capacity
	Number
	11,4
	
	DA Self Provision + DA Market Capacity (MW)

	HA Self Provision
	Number
	11,4
	
	Hour-ahead Self Provision for service type (MW)

	HA Market Capacity
	Number
	11,4
	
	Hour-ahead Market Capacity for the service type (MW)

	HA RMR Capacity
	Number
	11,4
	
	Hour-ahead RMR dispatched capacity (MW)

	RT RMR Capacity
	Number
	11,4
	
	Real-time RMR dispatched capacity for the service type (MW)

	Total HA Capacity
	Number
	11,4
	
	HA Self Provision + HA Market Capacity + HA RMR + RT RMR (MW)

	DA Percent Allocation
	Number 
	13,4
	
	Fraction of No Pay Capacity charged back at DA price.

	HA Percent Allocation
	Number 
	13,4
	
	Fraction of No Pay Capacity charged back at HA price.

	AR
	Number
	11,4
	
	Acknowledged A/S instructed target for the service type (MW).

	IR
	Number
	11,4
	
	A/S instructed target for the service type (MW).

	ER
	Number
	11,4
	
	Acknowledged interval Imbalance Energy for the service type (MWh) .  Not used for intertie locations.

	UC
	Number
	11,4
	
	Total unavailable reserve capacity for all service types in the given interval due to Uninstructed Deviation of resource (MW-hr).  Not used for intertie locations.

	NPR1
	Number
	11,4
	
	No Pay reserve amount for the service type due to Unavailable Capacity (MW-hr).  Not used for intertie locations.

	NPR2
	Number
	11,4
	
	No Pay reserve amount due to Declined Instruction (MW-hr).

	NPR3
	Number
	11,4
	
	No Pay reserve amount due to Undelivered Energy (MW-hr).  Not used for intertie locations.


8.5 UFE Detail Records

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘U’
	Indicates the type of record

	Location ID
	Varchar
	32
	
	The location (Resource ID for load point and Tie point ID for exports) to which this UFE applies.

	Zone ID
	Varchar
	12
	
	Zone ID for the Location  ( ex. congestion zones NP15 or SP15)

	UDC
	Varchar
	12
	
	The UDC service territory for the Location (Physical UDC).  

	Trading Date
	Date
	
	
	The trading date of the settlement

	Trading Hour
	Number
	2
	
	The trading hour of the settlement

	Trading Interval
	Number
	2
	1-6
	The trading interval

	UFE Quantity
	Number
	11,4
	
	Business Associate’s (SC’s) UFE Quantity (MWh) in the trading interval – UFE allocated to the Business Associate (SC) at the demand point or tie point Location.

	Measured Quantity
	Number
	11,4
	
	Measurement for the Location (MWh) in the trading interval – Demand point’s (Load or Export) quantity for the Business Associate.  Load may be metered or profiled, Export is the deemed (scheduled) quantity. 

	UDC Load
	Number
	12,4
	
	UDC’s total load (MWh) in the trading interval – Combination of Real-Time Metering (RTM) and Load Profiled Metering (LPM) of all loads within the UDC.  

	UDC Export
	Number
	12,4
	
	UDC’s total Exports (MWh) in the trading interval – Combination of metered exports at the UDC tie points, including ties with UDCs inside California.

	UDC Import
	Number
	12,4
	
	UDC’s total Imports (MWh) in the trading interval – Combination of metered imports at the UDC tie points, including ties with UDCs inside California.

	UDC Generation
	Number
	12,4
	
	UDC’s total Generation (MWh) in the trading interval – Total of metered generation within the physical UDC.

	UDC ATL
	Number
	12,4
	
	UDC’s Actual Transmission Loss (MWh) in the trading interval – This equals the Control Area ATL multiplied by the ratio of the UDC Branch Losses to the Control Area Branch Losses.

	Control Area ATL
	Number
	12,4
	
	Total Actual Transmission Loss (MWh) in the trading interval based on measurements for the entire control area.

Control Area ATL =  Ga*(1-GMMa) + 

                                   Ia*(1-TMMa)

	UDC Branch Losses
	Number 
	12,4
	
	UDC’s Branch Losses (MWh) in the trading interval based on final schedules – Sum of all branch losses for a UDC.

	Control Area Branch  Losses
	Number
	12,4
	
	Sum of UDC branch losses (MWh) in the trading interval based on final schedules for the entire control area. 

	UDC UFE
	Number
	15,5
	
	UDC’s total UFE (MWh) for the interval (hour)

	UDC Scheduled Export
	Number
	12,4
	
	UDC’s total Hourahead final scheduled export in the trading interval.

	Settlement Amount
	Number
	11,4
	
	UFE charge for the interval.


8.6 Excess Cost Records

This section provides the support data needed to verify the Excess (i.e. Above-MCP) Costs for Instructed Energy.  Both BEEP and OOS instructions (comprising both incremental and decremental instructions  regardless of their causes) are included in this section if a portion of the Acknowledged Interval Energy from the dispatched resource has an associated bid price that will lead to above-MCP payment.  These include incremental instructions with prices higher than the Incremental MCP and decremental instructions with prices lower than the Decremental MCP. 
	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘X’
	Indicates the type of record

	Trading Date
	Date
	
	
	The trading date of the settlement.

	Trading Hour
	Number
	2
	
	The trading hour of the settlement.

	Trading Interval
	Number
	2
	1-6
	The real time interval of the settlement

	Location ID
	Varchar
	32
	
	The location to which this record applies.

	Interchange ID
	Varchar
	32
	
	The interchange ID to which this record applies.

	Location Type
	Varchar
	1
	‘G’, ‘L’, ‘C’, 
	The location type associated with the location; Generation (G), Load (L), or Intertie (C)

	Zone ID
	Varchar
	12
	
	The ID of the congestion zone in which the resource resides.  For intertie resources, this is the external congestion zone in which the remote end of the intertie resides.

	Region ID
	Number
	3
	
	The ID of congestion region in which the subject congestion zone is.

	Service Type
	Varchar
	5
	‘S’, ‘ N’, ‘R’,’E’, ’O’
	The dispatch service type associated with the record: Spin (S), Non-spin (N), Replacement Reserve (R ), Supplemental Energy (E), OOS (O).

	Number of Segments
	Number
	2
	
	The total number of valid price segments in this record.

	Acknowledged Interval Energy Segment 0
	Number 
	11,4
	
	Acknowledged Interval Energy (MWh),  which will be paid at MCP in the given interval.

This value is zero if the entire instructed amount is above the price cap.

	Price Segment 0
	Number 
	11,5
	
	Adjusted Incremental MCP that includes the Credit Risk Adder. 

	Acknowledged Interval Energy Segment 1
	Number 
	11,4
	
	Acknowledged Interval Energy (MWh) in this segment.



	Price Segment 1
	Number 
	11,5
	
	Bid Price for this segment.

	Acknowledged Interval Energy Segment 2
	Number 
	11,4
	
	Acknowledged Interval Energy (MWh) in this price segment.

This value is Null if this segment is not used.

	Price Segment 2
	Number 
	11,5
	
	Bid Price for this segment.

This value is Null if this segment is not used.

	Acknowledged Interval Energy Segment 3
	Number 
	11,4
	
	Acknowledged Interval Energy (MWh) in this price segment.

This value is Null if this segment is not used.

	Price Segment 3
	Number 
	11,5
	
	Bid Price for this segment.

This value is Null if this segment is not used.

	Acknowledged Interval Energy Segment 4
	Number 
	11,4
	
	Acknowledged Interval Energy (MWh) in this price segment.

This value is Null if this segment is not used.

	Price Segment 4
	Number 
	11,5
	
	Bid Price for this segment.

This value is Null if this segment is not used.

	Acknowledged Interval Energy Segment 5
	Number 
	11,4
	
	Acknowledged Interval Energy (MWh) in this price segment.

This value is Null if this segment is not used.

	Price Segment 5
	Number 
	11,5
	
	Bid Price for this segment.

This value is Null if this segment is not used.

	Acknowledged Interval Energy Segment 6
	Number 
	11,4
	
	Acknowledged Interval Energy (MWh) in this price segment.

This value is Null if this segment is not used.

	Price Segment 6
	Number 
	11,5
	
	Bid Price for this segment.

This value is Null if this segment is not used.

	Acknowledged Interval Energy Segment 7
	Number 
	11,4
	
	Acknowledged Interval Energy (MWh) in this price segment.

This value is Null if this segment is not used.

	Price Segment 7
	Number 
	11,5
	
	Bid Price for this segment.

This value is Null if this segment is not used.

	Acknowledged Interval Energy Segment 8
	Number 
	11,4
	
	Acknowledged Interval Energy (MWh) in this price segment.

This value is Null if this segment is not used.

	Price Segment 8
	Number 
	11,5
	
	Bid Price for this segment.

This value is Null if this segment is not used.

	Acknowledged Interval Energy Segment 9
	Number 
	11,4
	
	Acknowledged Interval Energy (MWh) in this price segment.

This value is Null if this segment is not used.

	Price Segment 9
	Number 
	11,5
	
	Bid Price for this segment.

This value is Null if this segment is not used.

	Acknowledged Interval Energy Segment 10
	Number 
	11,4
	
	Acknowledged Interval Energy (MWh) in this price segment.

This value is Null if this segment is not used.

	Price Segment 10
	Number 
	11,5
	
	Bid Price for this segment.

This value is Null if this segment is not used.


8.7 Trailer Record

This record is included to signal the end of the file as well as provide information to validate the file.  

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘Z’
	Indicates the type of record

	Record Count
	Number
	
	
	Number of records contained in the file including the header and trailer records


9 Settlement Prices File

The Settlement Prices File is a companion file issued with the Statement File.  It contains the rates and Market Clearing Prices that are used to derive various charges shown in the Statement File.  

There are different types of data records in this file.  These include:

· Header – This is the first record of the file that provides the information such as the file type, trading date, and software version.

· Zonal Market Price Detail- Zonal Market Clearing Prices for a trading date.

· GMC/Uplift Rate – Rates for Grid Management Charges and other market uplift charges for a trading date.

· Wheeling Rate-  High Voltage and Low Voltage Wheeling Rates for a trading date 

· HVAC Rate- TAC area and ISO area components for a trading date 

· Trailer- File trailer record contains the record count

9.1 Header Record

This record will supply information which can be used to identify the contents of the file. 

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘H’
	Indicates the type of record.

	File Type
	Varchar
	2
	‘ZP’
	Indicates the file is Zonal MCP price and can be viewed by all market participants

	Statement Type
	Varchar
	1
	‘P’, ‘F’
	Indicates the type of statement as either Preliminary (P) or Final (F).

	Trading Date
	Date
	
	
	The specific trading date for which the statement is being created.

	Software Version
	Varchar
	255
	
	The software version for which the statement is being created.

	Statement Version
	Varchar
	255
	
	The statement format version for which the statement is being created.


9.2 Zonal Market Price Records

This section provides the zonal Market Clearing Prices for capacity, energy and congestion usage.

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘D’
	Indicates the type of record.

	Trading Date
	Date
	
	
	The trading date of the settlement.

	Trading Hour
	Number
	2
	
	The trading hour of the settlement.

	Trading Interval
	Number
	2
	0-6
	For hourly records, this field is 0.  For sub-hourly records, this is the interval ID (1 – 6). 

	Zone ID
	Varchar
	12
	
	The zone to which this record applies.

	Region ID
	Number
	3
	
	The region to which this record applies:

Congestion region ID for Energy price records;

A/S Procurement region ID for A/S price records.

	Market Type
	Varchar
	1
	‘D’, ‘H’, ‘E’
	The market type associated with the price; Day-ahead (D), Hour-ahead (H), or Ex-post (E).

	Price Type
	Varchar
	5
	‘S’, ‘N’, ‘R’, ‘AU’, ‘AD’, ‘EI’, ‘ED’, ‘E’, ‘C’
	The price type associated with this record : Spin (S), Non-spin (N), Replacement Reserve (R ), AGC/Regulation Up (AU), AGC/Regulation Down (AD), Incremental Energy (EI), Decremental Energy (ED), Hourly Expost Energy (E), and Shadow Congestion Price (C ).

	Settlement Price
	Number 
	10,5
	
	MCP that is used in settlement calculation.  This value reflects the appropriate Credit Risk Adder, if any, as directed by FERC in its 6/19/01 Order and subsequently modified in its 12/19/01 Orders.

	Unadjusted MCP
	Number
	10,5
	
	Unadjusted MCP that doesn’t contain the Credit Risk Adder.


9.3 GMC/Uplift Rate Records

This section provides the rates for the Grid Management Charges and other market uplift charges.

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘G’
	Indicates the type of record.

	Trading Date
	Date
	
	
	The trading date of the settlement.

	Control Area ID
	Varchar
	12
	‘CA’
	The control area to which this record applies.

	Charge Type
	Number
	3
	521, 522, 523, 524, 591, 592 
	The charge type associated with this record:

Control Area Services Rate (521),  Congestion Management Services, Rate (522), Market Operations Rate (523), A/S and RT Energy Operations Rate (524),  Emissions Cost Recovery (591), and Start-Up Cost Recovery (592).

	Charge Rate
	Number 
	10,5
	
	


9.4 Wheeling Rate Records

This section provides the Wheeling Access Rates. 

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘W’
	Indicates the type of record.

	Trading Date
	Date
	
	
	The trading date of the settlement.

	Location ID
	Varchar
	32
	
	The location to which this record applies.

	Price Type
	 Varchar
	1
	‘W’
	The charge type associated with this record,

Wheeling (W)

	HV Price
	Number 
	10,5
	
	High Voltage Wheeling Rate at given location

	LV Price
	Number
	10,5
	
	Low Voltage Wheeling Rate at given location


9.5 HVAC Rate  Record

This section provides the high voltage access charge TAC area and ISO components

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘V’
	Indicates the type of record.

	Trading Date
	Date
	
	
	The trading date of the settlement.

	TAC area ID
	Varchar
	12
	
	The TAC Area/ISO area to which this record applies. ISO area component will have a TAC area ID of ‘ISO’.

	HVAC Rate
	Number 
	10,5
	
	The rate applicable to the TAC Area


9.6 Trailer Record

This record is included to signal the end of the file as well as provide information to validate the file.  

	Field
	Type
	Max Field Length
	Domain
	Description

	Record Type
	Varchar
	1
	‘Z’
	Indicates the type of record

	Record Count
	Number
	
	
	Number of records contained in the file including the header and trailer records


Appendix A:  Matrix showing the populated data fields for the settlement detail records (Automated Charge Types only)
	Charge Type ID
	Charge Type Description
	Charge Type
	Line Item Number
	Trading Date
	Trading Hour
	Trading Interval
	Billable Quantity
	Price
	Settlement Amount
	Zone ID
	Location ID2
	Inc/Dec Indicator
	Total Congestion Stlmt / Debit
	Total Load/Export
	DA Allocation Qty / Self Prov 
	HA Allocation Qty / Self Prov
	DA Qty / Market Capacity
	HAQty / Market Capacity
	Zone / Path Price
	Bid Price
	Per Unit Charge ID
	Total Charge/Refund Amt
	Total Metered Quantity/Allocation Base
	Bid ID
	Pmax
	RMR Dispatch Energy
	Repl Reserve Undispatch Qty
	Individual Allocation Quantity
	Total Allocation Quantity
	HA Pre-empted Capacity
	RT Pre-empted Capacity
	Percent Entitlement/GMMf
	Instructed Energy
	Uninstructed Energy
	Total Forward Market Settlement
	Total Forward Market Quantity
	Region ID
	Interchange Id3
	Energy Type
	Operational Adjustments
	A/S and Supplemental Energy
	Contract Amount
	TO % Ownership/% Exemp/GMMa
	Contract Reference Id
	Location Price Type (FERC)

	1
	Day Ahead Spinning Reserve due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	C
	M
	
	
	
	
	
	

	2
	Day Ahead Non-Spinning Reserve due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	C
	M
	
	
	
	
	
	

	3
	Day Ahead AGC/Regulation due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	
	M
	
	
	
	
	
	

	4
	Day Ahead Replacement Reserve due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	C
	M
	
	
	
	
	
	

	5
	Day Ahead Regulation Up due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	
	M
	
	
	
	
	
	

	6
	Day Ahead Regulation Down due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	
	M
	
	
	
	
	
	

	24
	Dispatched Replacement Reserve (Bid-In) Capacity Withhold
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	
	M
	M
	M
	C
	M
	M
	M
	
	
	
	

	51*
	Hour-Ahead Spinning Reserve due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	C
	
	
	
	
	
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	C
	M
	
	
	
	
	
	

	52*
	Hour-ahead Non-Spinning Reserve due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	C
	
	
	
	
	
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	C
	M
	
	
	
	
	
	

	53
	Hour-Ahead AGC/Regulation Reserve due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	C
	
	
	
	
	
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	
	M
	
	
	
	
	
	

	54*
	Hour-Ahead Replacement Reserve due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	C
	
	
	
	
	
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	C
	M
	
	
	
	
	
	

	55*
	Hour Ahead AGC/Regulation Up due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	C
	
	
	
	
	
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	
	M
	
	
	
	
	
	

	56*
	Hour Ahead AGC/Regulation Down due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	C
	
	
	
	
	
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	
	M
	
	
	
	
	
	

	61
	Hour Ahead RMR Preemption of Spinning Reserve (HA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	M
	
	M
	
	
	
	
	
	
	M
	M
	
	
	
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	62
	Hour Ahead RMR Preemption of Non-Spinning Reserve (HA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	M
	
	M
	
	
	
	
	
	
	M
	M
	
	
	
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	64
	Hour Ahead RMR Preemption of Replacement Reserve (HA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	M
	
	M
	
	
	
	
	
	
	M
	M
	
	
	
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	65
	Hour Ahead RMR Preemption of Regulation Up (HA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	M
	
	M
	
	
	
	
	
	
	M
	M
	
	
	
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	66
	Hour Ahead RMR Preemption of Regulation Down (HA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	M
	
	M
	
	
	
	
	
	
	M
	M
	
	
	
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	71
	Real Time RMR Preemption of Spinning Reserve (DA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	M
	M
	M
	
	
	
	
	
	
	M
	M
	
	
	
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	72
	Real Time RMR Preemption of Non-Spinning Reserve (DA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	M
	M
	M
	
	
	
	
	
	
	M
	M
	
	
	
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	74
	Real Time RMR Preemption of Replacement Reserve (DA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	M
	M
	M
	
	
	
	
	
	
	M
	M
	
	
	
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	75
	Real Time RMR Preemption of Regulation Up (DA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	M
	M
	M
	
	
	
	
	
	
	M
	M
	
	
	
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	76
	Real Time RMR Preemption of Regulation Down (DA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	M
	M
	M
	
	
	
	
	
	
	M
	M
	
	
	
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	81
	Real Time RMR Preemption of Spinning Reserve (HA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	M
	M
	M
	
	
	
	
	
	
	M
	M
	
	
	
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	82
	Real Time RMR Preemption of Non-Spinning Reserve (HA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	M
	M
	M
	
	
	
	
	
	
	M
	M
	
	
	
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	84
	Real Time RMR Preemption of Replacement Reserve (HA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	M
	M
	M
	
	
	
	
	
	
	M
	M
	
	
	
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	85
	Real Time RMR Preemption of Regulation Up (HA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	M
	M
	M
	
	
	
	
	
	
	M
	M
	
	
	
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	86
	Real Time RMR Preemption of Regulation Down (HA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	M
	M
	M
	
	
	
	
	
	
	M
	M
	
	
	
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	


	Charge Type ID
	Charge Type Description
	Charge Type
	Line Item Number
	Trading Date
	Trading Hour
	Trading Interval
	Billable Quantity
	Price
	Settlement Amount
	Zone ID
	Location ID2
	Inc/Dec Indicator
	Total Congestion Stlmt / Debit
	Total Load/Export
	DA Allocation Qty / Self Prov 
	HA Allocation Qty / Self Prov
	DA Qty / Market Capacity
	HAQty / Market Capacity
	Zone / Path Price
	Bid Price
	Per Unit Charge ID
	Total Charge/Refund Amt
	Total Metered Quantity/Allocation Base
	Bid ID
	Pmax
	RMR Dispatch Energy
	Repl Reserve Undispatch Qty
	Individual Allocation Quantity
	Total Allocation Quantity
	HA Pre-empted Capacity
	RT Pre-empted Capacity
	Percent Entitlement/GMMf
	Instructed Energy
	Uninstructed Energy
	Total Forward Market Settlement
	Total Forward Market Quantity
	Region ID
	Interchange Id3
	Energy Type
	Operational Adjustments
	A/S and Supplemental Energy
	Contract Amount
	TO % Ownership/% Exemp/GMMa
	Contract Reference Id
	Location Price Type (FERC)

	101
	Day Ahead Spinning Reserve due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	M
	
	
	M
	
	
	
	
	
	
	
	

	102
	Day Ahead Non-Spinning Reserve due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	M
	
	
	M
	
	
	
	
	
	
	
	

	103
	Day Ahead AGC/Regulation due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	M
	
	
	M
	
	
	
	
	
	
	
	

	111
	Spinning Reserve due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	M
	
	
	
	
	
	
	
	M
	
	
	
	
	
	
	
	

	112
	Non-Spinning Reserve due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	M
	
	
	
	
	
	
	
	M
	
	
	
	
	
	
	
	

	114
	Replacement Reserve due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	M
	
	
	
	
	
	
	
	M
	
	
	
	
	
	
	
	

	115
	Regulation Up due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	M
	
	
	
	
	
	
	
	M
	
	
	
	
	
	
	
	

	116
	Regulation Down due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	M
	
	
	
	
	
	
	
	M
	
	
	
	
	
	
	
	

	124
	Dispatched Replacement Reserve (Self-Provided) Capacity Withhold
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	
	
	
	
	
	
	
	

	130
	Insufficient Energy in Response to ISO Instructions
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	131
	Reduction in Available Capacity due to Uninstructed Deviation due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	141
	No Pay Charge – Spinning Reserve
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	C
	
	
	
	
	
	
	

	142
	No Pay Charge – Non Spinning Reserve
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	C
	
	
	
	
	
	
	

	144
	No Pay Charge – Replacement Reserve
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	C
	
	
	
	
	
	
	

	151
	Hour-Ahead Spinning Reserve due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	M
	
	
	M
	
	
	
	
	
	
	
	

	152
	Hour-Ahead Non-Spinning Reserve due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	M
	
	
	M
	
	
	
	
	
	
	
	

	153
	Hour-Ahead AGC/Regulation Reserve due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	M
	
	
	M
	
	
	
	
	
	
	
	

	201
	Day-Ahead Intra-Zonal Congestion Incs/Decs Settlement
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	202
	Day-Ahead Intra-Zonal Congestion Charge/Refund
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	203
	Day Ahead Inter-Zonal Congestion Settlement
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	204
	Day-Ahead Inter-Zonal Congestion Refund
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	
	
	
	M
	
	M
	
	
	
	
	
	
	
	
	
	
	M
	M
	
	
	M
	
	
	
	
	
	
	
	
	
	
	M
	
	

	251
	Hour-Ahead Intra-Zonal Congestion Incs/Decs Settlement
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	252
	Hour-Ahead Intra-Zonal Congestion Charge/Refund
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	253
	Hour-Ahead Inter-Zonal Congestion
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	254
	Hour-Ahead Inter-Zonal Congestion Refund
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	
	
	
	M
	
	M
	M
	
	
	
	
	
	
	
	
	
	M
	M
	
	
	M
	
	
	
	
	
	
	
	
	
	
	M
	
	

	255
	Hour-Ahead Inter-Zonal Congestion Debit to TOs
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	
	
	
	M
	
	M
	M
	
	
	
	
	
	
	
	
	
	M
	M
	
	
	M
	
	
	
	
	
	
	
	
	
	
	M
	
	

	256
	Hour-Ahead Inter-Zonal Congestion Debit to SCs
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	
	M
	M
	
	
	M
	
	
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	301
	Expost A/S Energy Due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	303
	Ex-Post Replacement Reserve due ISO (dispatched)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	
	M
	M
	M
	M
	
	
	
	M
	M
	M
	
	
	
	
	
	
	
	

	304
	Ex-Post Replacement Reserve due ISO (undispatched)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	M
	M
	M
	M
	
	
	
	
	
	M
	M
	M
	
	
	
	
	
	
	
	

	Charge Type ID
	Charge Type Description
	Charge Type
	Line Item Number
	Trading Date
	Trading Hour
	Trading Interval
	Billable Quantity
	Price
	Settlement Amount
	Zone ID
	Location ID2
	Inc/Dec Indicator
	Total Congestion Stlmt / Debit
	Total Load/Export
	DA Allocation Qty / Self Prov 
	HA Allocation Qty / Self Prov
	DA Qty / Market Capacity
	HAQty / Market Capacity
	Zone / Path Price
	Bid Price
	Per Unit Charge ID
	Total Charge/Refund Amt
	Total Metered Quantity/Allocation Base
	Bid ID
	Pmax
	RMR Dispatch Energy
	Repl Reserve Undispatch Qty
	Individual Allocation Quantity
	Total Allocation Quantity
	HA Pre-empted Capacity
	RT Pre-empted Capacity
	Percent Entitlement/GMMf
	Instructed Energy
	Uninstructed Energy
	Total Forward Market Settlement
	Total Forward Market Quantity
	Region ID
	Interchange Id3
	Energy Type
	Operational Adjustments
	A/S and Supplemental Energy
	Contract Amount
	TO % Ownership/% Exemp/GMMa
	Contract Reference Id
	Location Price Type (FERC)

	351
	Monthly Grid Management Charge
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	352
	Wheeling Out/Wheeling Through
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	M
	M
	M
	M
	M
	M
	

	354
	Wheeling Refund due TO
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	
	
	M
	
	
	
	
	
	
	
	M
	
	
	
	
	
	
	
	
	
	M
	
	
	
	
	
	
	
	
	
	
	
	
	

	372
	High Voltage Access Charge due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	374
	High Voltage Access Revenue due TO
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	382
	High Voltage Wheeling Charge due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	383
	Low Voltage Wheeling Charge due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	384
	High Voltage Wheeling Revenue due TO
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	385
	Low Voltage Wheeling Revenue due TO
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	401
	Instructed Energy
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	C
	
	
	
	
	
	
	

	402
	Generation Deviation
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	403
	Load Deviation
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	404
	Export Deviation
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	405
	Import Deviation
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	406
	UFE Settlement
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	407
	Uninstructed Energy
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	
	
	
	
	
	
	
	

	410
	Unscheduled RMR Energy
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	M
	M
	M
	
	
	M
	
	M
	M
	
	
	
	
	
	M
	M
	M
	
	
	
	
	
	
	
	
	X
	
	

	451
	Real-Time Intra-Zonal Congestion Incs/Decs Settlement
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	C
	
	
	
	
	
	
	

	452
	Real-Time Intra-Zonal Congestion Charge/Refund
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	481
	Excess Cost for Instructed Energy
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	C
	
	
	
	
	
	
	

	487
	Allocation of Excess Cost for Instructed Energy 
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	502
	Generation Deviation from Instructed Energy
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	M
	M
	M
	
	
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	M
	
	
	
	

	503
	Load Deviation from Instructed Energy
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	M
	M
	M
	
	
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	M
	
	
	
	

	505
	Import Deviation from Instructed Energy
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	M
	M
	M
	
	
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	M
	
	
	
	

	521
	GMC–Control Area Services
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	522
	GMC–Congestion Management 
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	523
	GMC – Market Operations Charge
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	524
	GMC-A/S and RT Energy Operations
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	591
	Emissions Cost Recovery
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	592
	Start-Up Cost Recovery
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	593
	Emissions Cost Due Trustee
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	594
	Start-Up Cost Due Trustee
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	1010
	Neutrality Adjustment Charge/Refund
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	1011
	Ancillary Service Rational Buyer Adjustment
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	1030
	No Pay Provision Market Refund
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	Charge Type ID
	Charge Type Description
	Charge Type
	Line Item Number
	Trading Date
	Trading Hour
	Trading Interval
	Billable Quantity
	Price
	Settlement Amount
	Zone ID
	Location ID2
	Inc/Dec Indicator
	Total Congestion Stlmt / Debit
	Total Load/Export
	DA Allocation Qty / Self Prov 
	HA Allocation Qty / Self Prov
	DA Qty / Market Capacity
	HAQty / Market Capacity
	Zone / Path Price
	Bid Price
	Per Unit Charge ID
	Total Charge/Refund Amt
	Total Metered Quantity/Allocation Base
	Bid ID
	Pmax
	RMR Dispatch Energy
	Repl Reserve Undispatch Qty
	Individual Allocation Quantity
	Total Allocation Quantity
	HA Pre-empted Capacity
	RT Pre-empted Capacity
	Percent Entitlement/GMMf
	Instructed Energy
	Uninstructed Energy
	Total Forward Market Settlement
	Total Forward Market Quantity
	Region ID
	Interchange Id3
	Energy Type
	Operational Adjustments
	A/S and Supplemental Energy
	Contract Amount
	TO % Ownership/% Exemp/GMMa
	Contract Reference Id
	Location Price Type (FERC)

	1061
	Distribution of Preempted Spinning Reserve
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	
	
	
	
	
	
	
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	
	
	
	
	
	
	
	

	1062
	Distribution of Preempted Non-Spinning Reserve
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	
	
	
	
	
	
	
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	
	
	
	
	
	
	
	

	1064
	Distribution of Preempted Replacement Reserve
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	
	
	
	
	
	
	
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	
	
	
	
	
	
	
	

	1065
	Distribution of Preempted Regulation Up
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	
	
	
	
	
	
	
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	
	
	
	
	
	
	
	

	1066
	Distribution of Preempted Regulation Down
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	
	
	
	
	
	
	
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	M
	
	
	
	
	
	
	
	

	1001 – 2000
	Per Unit Charges
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	M
	M
	M
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	


Notes:

1. M - Mandatory; C - Conditional; Empty/Blank – Null.

2. When charge types 51, 52, 54, 55 & 56 are used for Buyback of Ancillary Service self provision, the location ID will not be populated.

3. Interchange ID is only populated only for transactions related to an interttie schedule.

4. Shaded rows indicate A/S charges that have been retired or are being retired (See ISO Charge Matrix for details).

XXX  New charges added in this release are indicated buy the blue color.

Appendix B:  Matrix showing the populated data fields for the Manual Line Item records

	Charge Type ID
	Charge Type Description
	Charge Type
	Adjustment ID
	Affected Date
	Trading Hour
	Trading Interval
	Billable Quantity
	Price
	Adjustment Amount
	Zone ID
	Location ID2
	Interchange ID3


	Create Date
	Reference ID4
	Comment

	1
	Day Ahead Spinning Reserve due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	C
	M
	C
	M

	2
	Day Ahead Non-Spinning Reserve due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	C
	M
	C
	M

	3
	Day Ahead AGC/Regulation due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	4
	Day Ahead Replacement Reserve due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	C
	M
	C
	M

	5
	Day Ahead Regulation Up due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	6
	Day Ahead Regulation Down due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	7
	Demand Relief Monthly Capacity Payment
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	24
	Dispatched Replacement Reserve (Bid-In) Capacity Withhold
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	C
	M
	C
	M

	51*
	Hour-Ahead Spinning Reserve due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	C
	C
	M
	C
	M

	52*
	Hour-ahead Non-Spinning Reserve due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	C
	C
	M
	C
	M

	53
	Hour-Ahead AGC/Regulation Reserve due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	C
	
	M
	C
	M

	54*
	Hour-Ahead Replacement Reserve due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	C
	C
	M
	C
	M

	55*
	Hour Ahead AGC/Regulation Up due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	C
	
	M
	C
	M

	56*
	Hour Ahead AGC/Regulation Down due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	C
	
	M
	C
	M

	61
	Hour Ahead RMR Preemption of Spinning Reserve (HA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	62
	Hour Ahead RMR Preemption of Non-Spinning Reserve (HA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	64
	Hour Ahead RMR Preemption of Replacement Reserve (HA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	65
	Hour Ahead RMR Preemption of Regulation Up (HA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	66
	Hour Ahead RMR Preemption of Regulation Down (HA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	71
	Real Time RMR Preemption of Spinning Reserve (DA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	72
	Real Time RMR Preemption of Non-Spinning Reserve (DA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	74
	Real Time RMR Preemption of Replacement Reserve (DA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	75
	Real Time RMR Preemption of Regulation Up (DA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	76
	Real Time RMR Preemption of Regulation Down (DA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	81
	Real Time RMR Preemption of Spinning Reserve (HA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	82
	Real Time RMR Preemption of Non-Spinning Reserve (HA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	84
	Real Time RMR Preemption of Replacement Reserve (HA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	85
	Real Time RMR Preemption of Regulation Up (HA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	86
	Real Time RMR Preemption of Regulation Down (HA Price)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	101
	Day Ahead Spinning Reserve due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	102
	Day Ahead Non-Spinning Reserve due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	103
	Day Ahead AGC/Regulation due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	Charge Type ID
	Charge Type Description
	Charge Type
	Adjustment ID
	Affected Date
	Trading Hour
	Trading Interval
	Billable Quantity
	Price
	Adjustment Amount
	Zone ID
	Location ID2
	Interchange ID3


	Create Date
	Reference ID4
	Comment

	111
	Spinning Reserve due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	112
	Non-Spinning Reserve due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	114
	Replacement Reserve due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	115
	Regulation Up due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	116
	Regulation Down due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	117
	Demand Relief Monthly Capacity Charge
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	124
	Dispatched Replacement Reserve (Self-Provided) Capacity Withhold
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	130
	Insufficient Energy in Response to ISO Instructions
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	131
	Reduction in Available Capacity due to Uninstructed Deviation due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	141
	No Pay Charge - Spinning Reserve
	M
	M
	M
	       M
	M
	M
	M
	M
	M
	M
	C
	M
	C
	M

	142
	No Pay Charge - Non-Spinning Reserve
	M
	M
	M
	       M
	M
	M
	M
	M
	M
	M
	C
	M
	C
	M

	144
	No Pay Charge - Replacement Reserve
	M
	M
	M
	       M
	M
	M
	M
	M
	M
	M
	C
	M
	C
	M

	145
	Non-compliance Charge for Regulation Up
	M
	M
	M
	       M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	146
	Non-compliance Charge for Regulation Down
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	151
	Hour-Ahead Spinning Reserve due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	152
	Hour-Ahead Non-Spinning Reserve due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	153
	Hour-Ahead AGC/Regulation Reserve due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	201
	Day-Ahead Intra-Zonal Congestion Incs/Decs Settlement
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	202
	Day-Ahead Intra-Zonal Congestion Charge/Refund
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	203
	Day Ahead Inter-Zonal Congestion Settlement
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	204
	Day-Ahead Inter-Zonal Congestion Refund
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	
	M
	C
	M

	251
	Hour-Ahead Intra-Zonal Congestion Incs/Decs Settlement
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	252
	Hour-Ahead Intra-Zonal Congestion Charge/Refund
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	253
	Hour-Ahead Inter-Zonal Congestion
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	254
	Hour-Ahead Inter-Zonal Congestion Refund
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	
	M
	C
	M

	255
	Hour-Ahead Inter-Zonal Congestion Debit to TOs
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	
	M
	C
	M

	256
	Hour-Ahead Inter-Zonal Congestion Debit to SCs
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	301
	Ex-Post A/S Energy due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	302
	Ex-Post Supplemental Reactive Power due SC
	M
	M
	M
	      M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	303
	Ex-Post Replacement Reserve due ISO (dispatched)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	304
	Ex-Post Replacement Reserve due ISO (undispatched)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	351
	Monthly Grid Management Charge
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	352
	Wheeling Out/Wheeling Through
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	M
	M
	C
	M

	354
	Wheeling Refund due TO
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	
	M
	C
	M

	372
	High Voltage Access Charge due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	
	M
	C
	M

	374
	High Voltage Access Revenue due TO
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	
	M
	C
	M

	382
	High Voltage Wheeling Charge due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	
	M
	C
	M

	Charge Type ID
	Charge Type Description
	Charge Type
	Adjustment ID
	Affected Date
	Trading Hour
	Trading Interval
	Billable Quantity
	Price
	Adjustment Amount
	Zone ID
	Location ID2
	Interchange ID3


	Create Date
	Reference ID4
	Comment

	383
	Low Voltage Wheeling Charge due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	
	M
	C
	M

	384
	High Voltage Wheeling Revenue due TO
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	
	M
	C
	M

	385
	Low Voltage Wheeling Revenue due TO
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	
	M
	C
	M

	401
	Instructed Energy
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	C
	M
	C
	M

	402
	Generation Deviation
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	403
	Load Deviation
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	404
	Export Deviation
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	405
	Import Deviation
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	406
	UFE Settlement
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	407
	Un-Instructed Energy
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	410
	Unscheduled RMR Energy
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	451
	Real-Time Intra-Zonal Congestion Incs/Decs Settlement
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	C
	M
	C
	M

	452
	Real-Time Intra-Zonal Congestion Charge/Refund
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	481
	Excess Cost for Instructed Energy
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	C
	M
	C
	M

	480
	Under Scheduled Load Penalty - Due ISO5
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	485
	Insufficient response to AWE Instruction Due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	C
	M
	C
	M

	487
	Allocation of Excess Cost for Instructed Energy
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	502
	Generation Deviation from Instructed Energy
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	503
	Load Deviation from Instructed Energy
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	505
	Import Deviation from Instructed Energy
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	521 
	GMC–Control Area Services
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	522
	GMC–Congestion Management 
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	523
	GMC– Market Operations Charge
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	524
	GMC-A/S and RT Energy Operations
	M
	M
	M
	       M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	550
	FERC Fee
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	591
	Emissions Cost Recovery
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	592
	Start-Up Cost Recovery
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	593
	Emissions Cost Due Trustee
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	594
	Start-Up Cost Due Trustee
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	691
	Emissions Cost Payment
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	692
	Start-Up Cost Payment
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	1001
	Black Start Energy Due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	1003
	Regulation Energy Payment Adjustment Due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	1004
	Over-generation Payment Due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	C
	M
	C
	M

	1010
	Neutrality Adjustments
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	1011
	Ancillary Service Rational Buyer Adjustment
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	1012
	RMR Preemption Revenue Allocation
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	1030
	No Pay Provision Market Refund
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	1061
	Distribution of Preempted Spinning Reserve
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	Charge Type ID
	Charge Type Description
	Charge Type
	Adjustment ID
	Affected Date
	Trading Hour
	Trading Interval
	Billable Quantity
	Price
	Adjustment Amount
	Zone ID
	Location ID2
	Interchange ID3


	Create Date
	Reference ID4
	Comment

	1062
	Distribution of Preempted Non-Spinning Reserve
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	1064
	Distribution of Preempted Replacement Reserve
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	1065
	Distribution of Preempted Regulation Up
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	1066
	Distribution of Preempted Regulation Down
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	1101
	Black Start Capacity Due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	1104
	Overgeneration Payment Due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	1120
	Estimated Summer Reliability Contract Capacity Payment/Charge
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	1121
	Adjusted Summer Reliability Contract Capacity Payment/Charge
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	1210
	Existing Contracts Cash Neutrality Charge/Refund
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	1302
	Long Term Voltage Support due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	1303
	Supplemental Reactive Energy due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	M
	C
	M

	1353
	Black Start Energy due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	1480
	Under Schedule Load Revenue Allocation5
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	1487
	Energy Exchange Program Neutrality Adjustment
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	1999
	Rounding Adjustment
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	3010
	Must Run Due SC (RMR Owner)
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	3020
	Must Run Due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	3101
	Black Start Capacity Due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	3302
	 Supplemental Reactive Energy due SC5
	M
	M
	M
	      M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	3303
	Long Term Voltage Support Due SC
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	3351
	Grid Management Charge Adjustment Charge/Refund
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	3353
	Black Start Energy Due SC5
	M
	M
	M
	M
	M
	M
	M
	M
	M
	M
	
	M
	C
	M

	3472
	Demand Relief Energy Payment
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	3473
	Discretionary Load Curtailment Program (DLCP) Energy Payment
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	3482
	Demand Relief Energy Charge
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	3483
	Discretionary Load Curtailment Program (DLCP) Energy Charge
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M

	3999
	Interest and Penalty Charge Due ISO
	M
	M
	M
	M
	M
	M
	M
	M
	
	
	
	M
	C
	M


Notes:

1. M - Mandatory; C - Conditional; Empty/Blank – Null.

2. When charge types 51, 52, 54, 55 & 56 are used for Buyback of Ancillary Service self provision, the location ID will not be populated.

3. Interchange ID is only populated only for transactions related to an interttie schedule.

4. Reference ID will be populated with the Dispute ID if the adjustment is made as the result of a dispute.

5. Charge Type is not used. 

Appendix C: Revision Log (Changes made to Appendices A and B)

	Date
	Charge Type
	Revision Made

	2/13/1998
	n/a
	This document is delivered by vendor. 

	4/16/1998
	301
	Uncheck Price field as a result of change in BEEP pricing method.

	8/20/1998
	1,2,3,4,51,52,53,54
	A/S FERC Cap change and individual intertie schedules - added columns

	11/24/1998
	All
	Add a sheet to describe the required fields for Manual Line Item records.

	12/4/1998
	352
	Add columns for individual intertie schedules.

	12/7/1998
	255
	Add charge to matrix. 

	
	
	     Day Ahead Quantity = day-ahead total path utilization

	
	
	     Hour Ahead Quantity = hour-ahead total path utilization

	
	
	     Percent Owned = TO percentage

	
	
	     Price = day-ahead path congestion price

	12/7/1998
	256
	Add charge to matrix. 

	
	
	     Billable Quantity = SC utilization for path

	
	
	     Day Ahead Allocation Amount = day-ahead total path utilization

	
	
	     Hour-Ahead Allocation Amount = hour-ahead total path utilization

	
	
	     Zonal Price = hour-ahead path congestion price

	
	
	     Total Congestion Settlement = TO Debit settlement amount

	
	
	     Total Charge/Refund = Total dollar to be recovered in charge type 256

	
	
	     Price = unit price for SC

	12/7/1998
	n/a
	Rename the following column headings:

	
	
	     Day Ahead Load/Export --> Day Ahead Allocation Quantity

	
	
	     Hour Ahead Load/Export --> Hour Ahead Allocation Quantity

	12/14/1998
	n/a
	Rename the following column headings:

	
	
	     Total Congestion Stlmt --> Total Congestion Stlmt / Debit

	
	
	     Price for Zone -->  Zonal / Path Price

	
	
	     Total Measured  Quantity --> Allocation Base

	12/14/1998
	256
	Add column for charge

	
	
	     Allocation Base = Total utilization for path with congestion flow for all ’SC's

	1/4/1999
	n/a 
	Remove unused columns: GEN_IMP_DEV, LOAD_EXP_DEV and BA_UFE.

	
	
	Switch column order for "Total Forward Market Settlement" and "Total Forward Market Quantity" (to be consistent with statement file layout).

	1/25/1999
	256
	Shorten Charge Type name.

	3/3/1999
	n/a
	Rename Percent Owned --> Percent Entitlement

	
	354
	Additional columns are populated for charge

	
	
	     Total Load/Export = Total load and export wheeled out at the given location

	
	
	     Total Charge/Refund Amt = Total amount collected due to Wheeling Charges at the given location

	
	
	The Percentage Entitlement column now contains the TO's percentage revenue requirement.

	
	256
	Zone ID is now used to indicate the direction of the congestion.

	3/3/1999
	n/a
	Rename the following column headings:

	
	
	     Percentage Exemption --> TO Percent Ownership/Percent Exemption

	
	
	     NSP Repl Reserve Qty --> BA NSP/FTR Quantity

	
	
	     Tot NSP Repl Reserve Qty --> Total NSP/FTR Quantity

	
	204, 254, 255
	Additional columns are populated for given charges:

	
	
	     TO Percentage Ownership/Percentage Exemption = TO's Percentage Ownership of the given path

	
	
	     BA NSP/FTR Quantity = The Business Associate's FTR amount

	
	
	     Total NSP/FTR Quantity = MW Rights of all FTRs for the given path

	
	
	Percentage Entitlement contains the TO's or FTR holder's percentage share of the congestion revenue.

	4/26/1999
	n/a
	Rename the following column headings:

	
	
	BA NSP/FTR Quantity --> Individual Allocation Quantity

	
	
	Total BA NSP/FTR Quantity --> Total Allocation Quantity

	4/26/1999
	5, 6, 55, 56  130, 131
	Add new charge types to matrix. These charges are created as a result of A/S redesign

	
	
	Charge Type 5 - DA Regulation Up due SC

	
	
	Charge Type 55 - HA Regulation Up due SC

	
	
	Charge Type 6 - DA Regulation Down due SC

	
	
	Charge Type 56 - HA Regulation Down due SC

	
	
	Charge Type 130 - No pay adjustment due to insufficient energy in response to dispatched instruction

	
	
	Charge Type 131 - No pay adjustment due to reduction in available capacity as a  result of uninstructed deviation

	
	111, 112, 114, 115, 116
	Add new charge types to matrix. These charges are created as a result of A/S redesign

	
	
	Charge Type 111 - Spin reserve due ISO replaces existing charge types of 101 and 151.

	
	
	Charge Type 112 - Non-spin reserve due ISO replaces existing charge types of 102 and 152.

	
	
	Charge Type 114 - Replacement reserve due ISO replaces existing charge types of 303 and 304.

	
	
	Charge Type 115 - Regulation Up due ISO neutralizes new charge types 5 and 55

	
	
	Charge Type 116 - Regulation Down due ISO neutralizes new charge types 6 and 56

	
	1011, 1030
	Add new charge types to matrix. These charges are created as a result of A/S redesign

	
	
	Charge Type 1011 - Rational Buyer Ancillary Service Neutrality Adjustment

	
	
	Charge Type 1030 - No Pay Provision Neutrality Adjustment

	
	502, 503, 505
	Add new charge types to matrix. These charges are created as a result of A/S redesign (Effective Price scheme)

	
	
	Price = Effective Price - Expost Price

	
	
	Bid Price = Effective Price

	
	
	Zonal/ Path Price = Expost Price

	
	
	Total Metered Quantity = metered quantity

	
	
	Hour Ahead Quantity = final hour-ahead schedule

	
	
	Operational Adjustment = Gadj, Ladj, or Iadj as appropriate 

	
	
	A/S & Supplemental Energy = Dispatched Ancillary Service Energy (Ga/s, La/s, or Ia/s)

	5/10/1999
	1011, 1030
	Change Charge Type name.

	5/12/1999
	Manual Line Item Details
	Add new charge types for A/S Redesign and mark the retiring charge types.

	10/20/1999
	204, 254, 255
	The data field "Dayahead Allocation Quantity" is now populated.

	2/17/2000
	61,62,64,65,66,71,72,74,75,76,81,82,83,84,85,86,410,1061,1062,1064,1065,1066
	New charge types for RMR work item.

61 to 66 – HA RMR Preemption of Ancillary Services using HA price

71 to 76 – RT RMR Preemption of Ancillary Services using DA price

81 to 86 – RT RMR Preemption of Ancillary Services using HA price

1061 to 1066 – Distribution of Preempted Ancillary Services

410 – Unscheduled RMR Energy



	2/29/2000
	407, 141, 142, 144
	New charge types for 10-minute Settlement work item.

407 – Uninstructed Energy

141 – No Pay Charge - Spinning Reserve

142 – No Pay Charge - Non Spinning Reserve

144 – No Pay Charge - Replacement Reserve



	
	301
	Modify Charge Name

	
	410
	Remove check mark for Replacement Reserve Undispatch Qty field.

	
	1010
	Add Charge Type (existing) for clarity.

	
	130, 131
	Mark Charge Types as retired.

	
	402, 403, 404, 405
	Mark Charge Types as retired.

	
	502, 503, 505
	Mark Charge Types as retired.

	3/13/2000
	141, 142, 144
	Check Location ID column.

	5/5/2000
	301
	Restore the old definition for CT 301.

	
	401
	Create new CT 401 for Instructed Energy (which was previously shown as CT 301).

	5/30/00
	141, 142, 144
	Mark Interchange ID as populated field.

	10/30/00
	351
	Mark Charge Type as retired.

	10/30/00
	521
	Add Charge Type

	10/30/00
	522
	Add Charge Type

	10/30/00
	523
	Add Charge Type

	12/15/00
	352,354
	Mark Charge Type as retired

	12/15/00
	372,374,

382,383,384,385
	Add Charge Types

372- High Voltage Access Charge due ISO

374- High Voltage Access Revenue due TO

382- High Voltage Wheeling Charge due ISO

383- Low Voltage Wheeling Charge due ISO

384- High Voltage Wheeling Revenue due TO

385- Low Voltage Wheeling Revenue due TO

	1/9/01
	481, 487
	Add Charge Types:

481 Excess Cost for Instructed Energy

487 Allocation of Excess cost for Instructed Energy

	5/1/01
	487
	Changed the allocation basis from region to control area. Removed the check mark for “Region ID” field.

	7/26/01
	591, 592
	Add new Charge Types :

591 – Emissions Cost Recovery

592 – Start-Up Cost Recovery

	8/1/01
	593, 594
	Add new Charge Types

593 – Emissions Cost Due Trustee

594 – Start-Up Cost Due Trustee

	9/20/01
	24, 124
	Add new Charge Types:

24 – Dispatched Replacement Reserve (Bid-In Capacity Withhold

124 – Dispatched Replacement Reserve (Self-Provided) Capacity Withhold

	1/17/2002
	524
	Add new Charge Type 524.

	01/17/2002
	Appendix A
	From now on, column values shall be interpreted as 'M' - Mandatory; 'C' - Conditional and Blanks - No Value against the corresponding charge types. This notation replaces the 'X' marks that were used against the columns to denote whether a column may be populated or not.

	01/17/2002
	Appendix B
	From now on, column values shall be interpreted as 'M' - Mandatory; 'C' - Conditional and Blanks - No Value against the corresponding charge types. This notation replaces the 'X' marks that were used against the columns to denote whether a column may be populated or not.

	01/17/2002
	Appendix B
	The Appendix B has been re-organized and all Charge Types (Automated and Manual) have been consolidated.  Charge Types are now arranged in ascending order of Charge Types IDs.

	2/1/2002
	691, 692
	Add new Charge Types to Appendix B.

	
	3302, 3353
	Restore unused Charge Types to Appendix B (for completeness).

	
	521, 522, 524
	Modify Charge names to match with those in Tariff.

	2/4/2002
	302
	Remove Charge Type from Appendix A.  CT 302 is a Manual Charge Type.


�PAGE \# "'Page: '#'�'"  �** Interchange ID is Mandatory for Inter-tie Locations


�PAGE \# "'Page: '#'�'"  ��


�PAGE \# "'Page: '#'�'"  �** Interchange ID is Mandatory for Inter-tie Locations


�PAGE \# "'Page: '#'�'"  ��


�PAGE \# "'Page: '#'�'"  �** Interchange ID is Mandatory for Inter-tie Locations


�PAGE \# "'Page: '#'�'"  ��


�PAGE \# "'Page: '#'�'"  �** Interchange ID is Mandatory for Inter-tie Locations


�PAGE \# "'Page: '#'�'"  ��





12
Statement File Spec - Version 14.0 - 020102 - Final.doc
02/04/02

