ENERGY EQUIPMENT DATA FOR PULP MILL

Steam Turbine / Generation

Company: Votorantim Celulose e Papel   Date: 27/08/99   Responsible: Marcelo Castelli

Turbogenerator number  1  - ( TG – 1 )

Steam Turbine 

Manufacturer:
Siemens – Dedini

Serial number:
Impulse & Reaction Type Model 50/40

Year of Commercial Operation: 1994
Capacity: 


25,340 kW
Number of operations hours: ~ 52.000 equivalent hours

Counterpressure 

Pressure:


4.5
bar ( g )

Temperature:
 
 156
(C

Speed:


5600 
RPM
Steam flow

Process Extractions
- Flow


         120
ton/h

- Counterpressure  
94
ton/h

Generator

Capacity
31680
    KVA
Voltage
   13.8
    KV
Speed
  1800
    rpm
Estimated Replacement / Value US$:
To be Confirmed

Book Value: US$ To be Confirmed

Describe instruments and automation available:

This machine is controlled by a dedicated PLC ( Simadyn ) , and the MHI is a DCS from ABB which in the future will be converted to a Coros System , and the Protection Logic is configurated in an other PLC called Simatic .

There are also some Bentley Nevada Vibration Monitoring System and other pressure switch and interlocks to protect the whole machine against damage .
