ENERGY EQUIPMENT DATA FOR PULP MILL

Steam Turbine / Generation

Company: Votorantim Celulose e Papel   Date: 27/08/99   Responsible: Marcelo Castelli

Turbogenerator number  2  - ( TG – 2 )

Steam Turbine 

Manufacturer:
Siemens – Dedini
Serial number:
Impulse & Reaction Type Model 50/40


Year of Commercial Operation: 1999

Capacity: 


38,600 kW

Number of operations hours: ~ 7000 equivalent hours
Counterpressure 

Pressure:


4.5
bar ( g )

Temperature:
 
 156
(C

Speed:


3600 
RPM
Steam flow

Process Extractions
- Flow


  60
ton/h

- Conterpressure
192
ton/h

Generator

Capacity
48100
    KVA

Voltage
   13.8
    KV

Speed
  3600
    rpm

Estimated Replacement / Value US$:
To be Confirmed

Book Value: US$ To be Confirmed

Describe instruments and automation available:

This machine is controlled by a dedicated PLC ( Simadyn ) , and the MHI is a Coros System , and the Protection Logic is configurated in an other PLC called Simatic .

There are also some Bentley Nevada Vibration Monitoring System and other pressure switch and interlocks to protect the whole machine against damage.

