
1999 Facilities

2000 Facilities


BROWNSVILLE
caledonia
new
albany

GleasoN

wheatland
wilton center

Region
SERC
SERC
SERC

SERC
ECAR
MAIN

Interconnected Area
TVA (500 kV)
TVA (500 kV)
TVA (500 kV)

TVA (500 kV)
IPL/CIN (345 kV)
CE (345 kV)

Control Area Name
ENSE
ENCA
ENNA

ENGL
ENWI/ENWC
ENLC

Turbine No./Type
 2 x W 501 D5,               2 x W 501 D5A
6 x GE 7EA
6 x GE 7B

1 x W 501 FC,                2 x W 501 FD
4 x W 501 D5A
8 x GE 7EA

NOx Compliance Technology
2 x Water Injected D5A, 2 x Steam Injected
DLN
DLN

Water Injected
Water Injected
DLN

NOx (Per Unit)
< 15 PPM (501 D5),       < 25 PPM (501 D5A)
< 15 PPM
< 25 PPM

< 25 PPM
< 25 PPM
< 9 PPM

CO (Per Unit)
< 25 PPM
< 25 PPM
< 15 PPM

< 30 PPM
< 42 PPM
< 25 PPM

Start-Cost                             (2000 $/Start/Turbine)
1,500
1,000
1,000

1,500
1,500
1,000

Estimated Variable O&M
(2000 $/MWh)
1.50
1.00
1.00

1.50
3.00
2.00

Estimated Fixed O&M
(2000 $000)
1,564
1,721
1,878

1,242
                                 1,516
1,449

Dispatch Blocks
100 – 120      1 unit     200 – 240      2 units   320 – 360      3 units   430 – 460      4 units
63- 75           1 unit     126 – 150      2 units   189 – 225      3 units   252 – 300      4 units   315 – 375      5 units   400 – 450      6 units
50 – 60          1 unit     100 – 120      2 units   150 – 180      3 units   200 – 240      4 units   250 – 300      5 units   325 – 360      6 units

150 – 175      1 unit        300 – 350      2 units              450 – 510      3 units
100 – 120      1 unit     200 – 235      2 units   300 – 350      3 units   425 – 470      4 units
63 – 77          1 unit     130 – 150      2 units   200 – 225      3 units   250 - 300       4 units   350 - 375       5 units   425 - 450       6 units   475 - 525       7 units   550 – 600       8 units

Normal Unit Ramp from cold to full load (Min)
35
30
30

30
                                      30
30

Capacity @ 900 degrees(1)   (MW)
458
466
371

510
                                    470
608

Heat Rate @ 900                (HHV, Btu/kWh)
11,406
12,064
12,500

10,592
                               11,734
11,973

Gas Interconnect
ANR
Tennessee Gas
Columbia Gulf

ANR
Midwestern Gas
Northern Border

Permitted Hours
1,365
1,685
1,086

915
902
3,250

(1) Includes additional capacity of 20 MW at Caledonia and 15 MW at New Albany, with installation of evaporative coolers by June 2000.

