Comparison of Locational Marginal Pricing (LMP) Congestion Management (CM) Schemes


Nodal
Zonal
Flow-based

Objectives of CM




Theoretical Efficiency
Sound in theory. In practice, dependent on software and input assumptions. (i.e., assumptions and judgement "in the control room").
Efficient to the extent of aggregation error (determined at design stage).


Efficient forward market pricing, overall efficiency dependent on combined efficiency of forward and real-time energy markets and selection of flowgates.

Implementation
Centralization costly. Most suitable for ‘tight’ pools such as PJM, NY and NE or to RTOs with few control areas.
Easier implementation in large RTOs with multiple control areas. Challenge lies in zone definition and flowgate selection at design stage. 
Selection criteria required for ‘commercially significant’ flowgates. 



Bilateral Market Activity
Complexity, price unpredictability/ unmanageability, and time required to calculate prices are barriers to entry and trading. Discourages bilateral trading.
Encourages bilateral trading, Market participants set price of transmission based on expected values.
Encourages bilateral trading, Market participants set price of transmission based on expected values.

Equity
Can lead to inequitable outcomes at a local level (e.g., factor of 10 difference in prices in same substation in PJM due to different voltage level or price differentials based solely on definition of system components as in Delmarva); consumers pay the price for operator decisions (e.g., deferred investments and arbitrary prices when model won’t solve).
Equitable in the absence of significant, unanticipated intra-zonal congestion (which can be mitigated by adding new zones or flowgates).
Equitable in the absence of significant congestion on non-tradable transmission elements (which can be mitigated by adding new flowgates).


Nodal
Zonal
Flow-based

Objectives of CM




Cost Allocation
Accurate, within limits of assumptions; finest level of system detail (granularity). May unnecessarily penalize loads for localized transmission problems.
Accurate with market-defined zones and constraint selection.
Accurate with appropriate flowgate selection.

Future Investment
Provides correct signals for generation, deters creation of ‘local’ congestion.

Little incentive for transmission investment.
Provides correct signals for generation, but with less spatial specificity (greater granularity). TransCo can be designed to have incentive for transmission investment (e.g., take on risk/ reward of intra-zonal congestion management).
Provides correct signals for generation, but with less spatial specificity (greater granularity). TransCo can be designed to have incentive for transmission investment (e.g., take on risk/reward of intra-zonal congestion management).

Retail Access
Complexity and ex-post pricing hinders retail participation.
Effective, because of ex-ante, market-based pricing and limited pricing areas.
Effective, because of ex ante, market-based pricing and limited pricing areas.

Methodology




Transmission Property Rights




Definition
Financial Rights, defined point-to-point. No flow guarantee, but hedge against resulting price difference between nodes. Physical rights would not be easily definable in a nodal system.
Implementable with physical and financial rights - proposed mostly with physical rights - defined for "commercially significant" constraints only.  These define the boundaries between the zones.
Implementable with physical and financial rights - proposed mostly with physical rights - defined for "commercially significant" constraints only.

Nomenclature
FTRs (Fixed Transmission Rights) in PJM, (Transmission Congestion Contracts) TCCs in New York, (Financial Congestion Rights) FCRs in NEPOOL.
(Firm Transmission Rights) FTRs in California.
PTRs (Physical Transmission Rights) in the Flow-based model.


Nodal
Zonal
Flow-based

Capacity Release
Periodic auctions, capacity released based on auction bids.  Auction requires OPF model.  Rights can theoretically  be traded in secondary markets, though transfers require RTO intervention in NY and PJM, and location-specificity hinders trading. In PJM, quantity-based rationing provides incentives exist to hoard FTRs.
Periodic auctions on chosen paths based on simultaneous transfer limits. Incremental capacity released continuously into bilateral market. Independently operated exchange allows for continuously cleared bilateral, secondary market for capacity. 
Periodic auctions on “commercially significant” flowgates based on individual flowgate transfer limits. Independently operated exchange allows for continuously cleared bilateral, secondary market for capacity.

Updating of Nodes or Zones
In theory all nodes are defined at the time of system design.  In practice in PJM additional facilities are turned over to IO at request of transmission owners that results in significant unanticipated and permanent price differentials.
Zonal boundaries are defined to occur at commercially significant constraints.  Definitions are reviewed annually (or more frequently) as a step in the annual reallocation / auction process.
Flowgates for allocation or auction are defined to be those that are “commercially significant.”  Definitions are reviewed annually (or more frequently) as a step in the annual reallocation / auction process.

Handling Loop Flows (within RTO)
Internalized into Optimal Power Flow (OPF).
Handled by defining capacity rights using simultaneously feasible flow limits and requiring zone-to-zone purchases to purchase rights on flowgates in accordance with NERC distribution factor-based flow contributions.
Handled by requiring transactions to purchase flowgate rights based on contribution of transactions to flows on each flowgate (NERC distribution factors).

Market Operation




Payment
Payments made to RTO in auctions. Revenues distributed to reduce fixed charges.  In PJM, FTRs are allocated to load in complex, rule-based system that effectively grandfathers existing LSEs. In secondary markets, financial transaction is purely bilateral.
Payments made to RTO in initial auctions. Revenues distributed to reduce fixed charges.  Thereafter, transactions purely bilateral, based on market prices, not cost.
Payments made to RTO in initial auctions.  Revenues distributed to reduce fixed charges.  Thereafter, transactions purely bilateral, based on market prices, not cost. Capacity purchased based on transaction flow contributions to flowgates.


Nodal
Zonal
Flow-based

Energy Price Calculation
Calculated by RTO ex-post in all markets (real-time and forward) using OPFs at nodal level. Can create hubs (e.g., PJM Western Hub) or have zonal prices for loads (some form of weighted average nodal prices, as in NY). Time required to solve optimization precludes continuously clearing forward markets.
Bilaterally-determined ex-ante and continuously in forward markets.

In real time, derived from zonal inc. and dec. bid stacks in the balancing market.

Zones determined in several ways:

· In radial systems, based on flowgate locations;

-      In complex grids, based on either distribution factor- or nodal price-clustering.
Bilaterally-determined ex-ante in the forward markets.

In real time, method may be implemented with either nodal or zonal prices as described in adjoining columns.

Market Operation




Bid Structure
Three-part bid (start-up, min. gen, and energy) or one-part bid is used in scheduling time frame (day ahead).  In real-time uses energy and ancillary service bids from day-ahead/hour-ahead markets to balance system.
No restriction in forward markets, since markets are bilateral. In real-time, single part ancillary service bids and supplemental energy inc. and dec. bids for balancing.
No restriction in forward markets, since markets are bilateral. In real-time, use ancillary service bids and supplemental energy inc. and dec. bids for balancing.

Forward Markets
- Transmission: secondary market for FTRs - liquidity an issue, given complexity and non-fungible products. Transfer of FTRs requires RTO involvement.

· Energy: Centralized, designated markets (day-ahead, hourly) cleared by RTO using bid-based OPF, no requirement to balance schedules. 
· Transmission: Bilateral forward markets available and continuously clearing for commercially significant transmission paths; assures liquid market.

· Energy, transmission and ancillary services traded in exchanges (e.g., CA PX) where products are continuously traded and cleared bilaterally up until real-time (however defined). Balanced schedules required to be submitted to dispatcher.
· Transmission: Bilateral forward markets available and continuously clearing for commercially significant transmission paths; assures liquid market.

· Energy, transmission and ancillary services traded in exchanges (e.g., CA PX) where products are continuously traded and cleared bilaterally up until real-time (however defined). Balanced schedules required to be submitted to dispatcher.


Nodal
Zonal
Flow-based

Market Operation




Bilateral Activity (energy)
Use contracts for differences (CfDs) against pool prices; bid zero or negative into pool to ensure delivery. 

· Price and FTR complexity can limit liquidity of bilateral trades for delivery

· NY and PJM show poor liquidity of contracts for delivery and much difficulty with wheels, imports, and exports.
Dominant transaction form continuously traded in independent exchanges. Market simplicity (price and transmission rights) enables high liquidity. 
Dominant transaction form continuously traded in independent exchanges. Market simplicity (price and transmission rights) enables high liquidity.

Real-time Balancing Market/ Dispatch
Centralized RTO performs real-time security-constrained dispatch, restrictions on external schedules only, deep, liquid spot market.  In NY, real-time prices revised up to 2 weeks ex post.
Control area level dispatch. Former requires coordination mechanisms among control areas. Real-time market only for balancing.
Dispatch can be at the RTO- or control area-level. Real-time market only for balancing.

System Expansion




Siting New Generation
Provides correct price signals for generation, deters creation of ‘local’ congestion. 
Provides correct signals for generation, but with possibility of increased ‘local’ congestion. 
Provides correct price signals for generation.  Potential for ‘local’ congestion dependent on use of nodal vs. zonal real-time pricing.

Transmission Planning
Little incentive for transmission investment.
Transco can be designed to have incentive for transmission investment (e.g., take on risk/ reward of intra-zonal congestion management).
Transco can be designed to have incentive for transmission investment (e.g., take on risk/reward of intra-zonal congestion management).

FERC Objectives




12 RTO Principles
Conforms with all characteristics and functional requirements.
Conforms with all characteristics and functional requirements.
Conforms with all characteristics and functional requirements.


Nodal
Zonal
Flow-based

Institutional Structure




RTO Role in Forward Markets




Transmission
· Controls and manages market for FTRs including capacity release, auction and secondary market.

· Manages single OASIS site.
· Defines and releases transmission capacity in auctions.

· Manages single OASIS site.
· Defines and releases transmission capacity in auctions.

· Manages single OASIS site.

    Energy
Controlling Involvement:

· Controls and operates energy market for all settlement periods.
Minimal:

- No involvement in energy market, except for real-time balancing.
Minimal:

- No involvement in energy market, except for real-time balancing.

    Ancillary Services
Offers all ancillary services, and serves as provider of last resort. Depending on implementation, may offer ancillary services market (reserves and frequency control) separate from or combined with energy market.
· Calculates and posts ancillary service (reserves) and loss requirements. 

· May purchase ‘call’ contracts in forward markets

· Provider of last resort


· Calculates and posts ancillary service (reserves) and loss requirements. 

· May purchase ‘call’ contracts in forward markets

· Provider of last resort



RTO Role in Real-time
RTO performs:

· Scheduling, system control and dispatch

· Reactive supply and voltage support

· Regulation and frequency response

· Energy imbalance service

· Spinning reserve

· Supplemental reserve
In decentralized (multiple control area) dispatch, RTO provides:

· Information for scheduling to separate control area dispatchers – coordination function. 

· Balancing market for RTO areas

Control area dispatchers perform all other ancillary services.
Role dependent upon the manner in which real-time operations are implemented.

RTO Structure
Typically not-for profit ISO. For-profit TransCo possible, but serious conflict of interest issues arise due to operation of energy market and the transmission system.
Can be an ISO or a for-profit Transco.
Can be an ISO or a for-profit Transco.

Market Experience





PJM - 4/1/98

NY ISO - 11/18/99 (load-zonal)

New England (under development)

New Zealand (no FTRs)

Peru

Argentina

Bolivia

Chile

Mexico (proposed)

UK - (abandoning centralized approach in '00)


California - 4/1/98 (zonal-financial)

Mountain West ISA  (proposed zonal)

Desert Star - (proposed flowgate/ zonal)

Australia (state-based zones)

Norway (dynamic zones)

ERCOT - (proposed flowgate/zonal)
Desert Star - (proposed flowgate/ zonal)

ERCOT - (proposed flowgate/zonal)

Acronyms:

FTR: Financial Transmission Right





CA PX: California Power Exchange

ISO: Independent System Operator


ISA: Independent Scheduling Administrator

RTO: Regional Transmission Operator

OPF: Optimal Power Flow

CfD: Contract for Differences


Definition:

Granularity:  The level of detail captured in the pricing / modeling structure.  Nodal systems such as PJM and New York have a higher level of granularity – are more fine grained – than are zonal systems, such as California.

SPP Objectives - Comparison of CM Schemes

1. Efficient Use of Existing Assets
Comparable across CM schemes.

2. Efficient Signals for New Investments (transmission & generation)
Comparable efficiency for siting generation. Nodal offers higher granularity, but with appropriate flowgate selection, the zonal and flowgate approaches offer equivalent efficiency. ISO institutional structure provides little incentive for transmission investments. The zonal/flowgate could be implemented with a for-profit Transco, which could can better accomodate incentives to invest in transmission (e.g., by bearing the risks/rewards of intra-zonal congestion management). Nodal would be difficult to implement with a Transco, due to the conflict of interest inherent in running an energy market.

3. Efficient real-time price signals
Comparable across CM schemes. Nodal would have more efficient (least-cost) real-time dispatch, due to use of a system-wide OPF. In the zonal approach, the real-time market is only a balancing market, consisting of a very small percentage of overall transactions. Inefficiencies in dispatch could arise in rare, emergency-type situations. The flowgate approach is indifferent to the implementation of the real-time market.

4. Fair Risk Allocation
In the nodal approach, market participants bear a high degree of transmission risk. That is, the price granularity exposes the user to the price impacts of every possible physical system characteristic and operator action. For example, loads at the same location can pay totally different prices due to properties of the grid. In the zonal approach, users are shielded from this risk. However, market participants do bear the risk of socialized congestion costs in the event of significant intra-zonal congestion. This would only arise if previously undefined (between rights auctions) flowgates experience significant congestion.  This is mitigated by annual definitions and auctions of flowgate rights. 

5. Lowest Cost
In the short-run, the administrative, operating and capital investment costs to centralize the 17 control areas of SPP would be prohibitive. A flow-based approach can preserve existing control areas and would minimize the role, and therefore the set-up and operating costs, of an RTO.  Indirect costs (to wholesale market participants and ultimately to retail participants) are also higher in a nodal approach due to the learning curve associated with a bid-based, centralized pool.

6. Forward Market Liquidity – Ex-Ante v. Ex-Post Pricing
In the nodal approach, the complexity of transmission rights (point-to-point between thousands of nodes) reduces liquidity for FTRs in the secondary market, and therefore impedes bilateral trading in forward markets. This effectively restricts the bulk of activity to an ex-post, real time market. The zonal and flowgate approaches provide ex-ante pricing in continuously traded energy and transmission markets, which deal with few prices and flowgates. The bulk of activity in these approaches will take place in forward markets.

7. Price Certainty




The liquidity in forward markets provides price certainty to traders. This is more likely to be present in the zonal and flowgate approaches than in the nodal approach. The zonal approach has the added element of certainty provided by node aggregation, since market participants are shielded from unnecessary and unpredictable price volatility over which they have no control and for which there is no economic response. This is particularly beneficial with retail competition, where market participants will face less transmission and price risk in managing dynamic portfolios.  It should be noted that “price hubs” such as PJM west are an acknowledgement that market liquidity can only exist at a finite (and small) number of points.  PJM has been able to support only a single liquid energy (and transmission) pricing market as opposed to transactions at the 1600 LMP nodes.

8. Timely Implementation




Centralization of 17 control areas within SPP's expected time frame  (as would be required in the nodal approach) is virtually impossible. A flow-based or zonal approach that preserves control area-level dispatch in a hierarchical format can allow timely implementation, with the ability to create zones or nodal regions, if appropriate, in the future. In the zonal approach, the coincidence of control areas and zones would ease implementation.

9. Market-based Congestion Management




Comparable across CM schemes in principle. However, the potential absence of liquidity in forward markets in the nodal approach impedes development of wholesale, and eventually retail, energy markets.

10. Flexibility and Responsiveness to Market Needs




The nodal approach is a one-size-fits-all approach. Centralization of control areas will be required, and the RTO will have to operate the energy market. The flow-based and zonal approaches allow a step-wise and flexible design.

11. Integration with Market Settlement System




Comparable across CM schemes.

12. Compatibility with Retail Competition




Market complexity in the nodal approach would significantly hamper retail competition. Ex-ante pricing and commercial simplicity of the flow-based and zonal approaches would better accomodate retail choice.

13. Operational Efficiency and Administrative Feasibility




The bureaucracy of a centralized RTO would require high operational costs. The operational costs of a zonal and flowgate approach would be significantly lower. 

14. Seams Issues




Comparable across CM schemes.

15. Allowance for Demand-Side Bidding




Comparable across CM schemes.

16. Reduce Gaming

Comparable across CM schemes.










































Tabors Caramanis & Associates
4 of 1




7/10/00

