TECHNICAL CORNER ARTICLE

A New Load Forecasting Function for Gas Sendout

By Robert Lee, Hector Campos and Joe Hrgovcic

[image: image1.wmf]C

d

d

C

C

S

T

d

avg

-

=

+

=

1

2

2

1

;

]

2

)

[ln(

Gas sendout exhibits a primary dependence on temperature (or heating degree days) and has a characteristic “hockey stick” shape as shown in Fig. 1.  The flat region above 60 F represents the base load.  As temperature drops and heating load increases, there is a transition region to a linear increase in load with falling temperature.  Theoretically, a system reaches a maximum delivery capability at very low temperatures and the curve again flattens out.  Generally, the flattening is not apparent in weekly or quarterly data, but it does appear in the daily load data1 shown in Fig. 1.

This curve is frequently represented analytically by piecewise linear regressions over the flat, transition and linear portions of the curve.  Other variables such as wind speed, previous day’s load, day of week, and average temperature over several days are included to improve the fit.  Some disadvantages of this modeling approach are the large number of para-meters and the discontinuities in load prediction at the boundaries of the linear regression regions.

Previous attempts to fit this curve shape with a complex function, over the full temper-ature range, such as the logistic function (which has a characteristic S shape), have not been successful.  Here, we have applied a complex function from option pricing theory (a call spread) to get a good fit over the full data range.  This function is shown in Fig 2.

[image: image2.wmf])

(

)

(

)

,

(

2

1

d

N

S

d

N

T

C

S

V

avg

-

=


In addition to providing a superior fit in this case, this function also has an intuitive appeal.  The five parameters have the interpretation:



A – maximum load capability



B – “distance” between base and maximum loads



T1 – temperature at which the curve flattens at low temperatures



C1 – curvature or rate at which it flattens



T2 – temperature at which the curve flattens at high temperatures



C2 – curvature or rate of flattening to base load

The result of using this function to fit the data of Fig. 1 is shown in Fig. 3.

[image: image3.wmf]]

)

,

(

)

,

(

[

2

2

1

1

C

T

V

C

T

V

B

A

Load

-

-

=






The parameter values for this curve are:

A = 2,237,280

B = 53,862


T1 = 31.47


C1 = 0.52


T2 = 60.53


C2 = 0.11

The parameters were opti-mized using Excel Solver.  The result is very sensitive to the initial guess used in Solver.  A good initial guess can be established by graphing the data and function in Excel, and adjusting the parameters to give a good visual fit. 

Additional flexibility can be obtained with a sixth parameter that allows different notional amounts of V(T1,C1) and V(T2,C2).  In the example, an R2 = 0.95 was obtained with five parameters; the sixth parameter did not show a significant improvement.   A piecewise linear fit had R2 = 0.90 to 0.92 in the different segments.

In situations where this function produces a good fit to load data, a simple look-up table can then be produced for use by traders.

1The data for this project was provided by Goeff Storey and Sean Boyle.

N(.) is the cumulative 


       normal distribution





� EMBED Equation.3  ���





� EMBED Equation.3  ���





� EMBED Equation.3  ���





Figure 2 New Fitting Function





Tavg





Load





T2





C2





C1





T1





B





A





where





� EMBED Excel.Sheet.8  ���





� EMBED Excel.Sheet.8  ���








2

[image: image4.wmf]Figure 3 Daily Load Data

0

500,000

1,000,000

1,500,000

2,000,000

2,500,000

10

20

30

40

50

60

70

80

90

100

Tavg

Load 

Fit

Data

[image: image5.wmf]Figure 1 Daily Gas Load Data

-

500,000

1,000,000

1,500,000

2,000,000

2,500,000

10

20

30

40

50

60

70

80

90

100

Tavg

Load

[image: image6.wmf]]

)

,

(

)

,

(

[

2

2

1

1

C

T

V

C

T

V

B

A

Load

-

-

=

[image: image7.wmf])

(

)

(

)

,

(

2

1

d

N

S

d

N

T

C

S

V

avg

-

=

[image: image8.wmf]C

d

d

C

C

S

T

d

avg

-

=

+

=

1

2

2

1

;

]

2

)

[ln(

[image: image9.wmf]Figure 3 Daily Load Data

0

500,000

1,000,000

1,500,000

2,000,000

2,500,000

10

20

30

40

50

60

70

80

90

100

Tavg

Load 

Fit

Data

[image: image10.wmf]Figure 1 Daily Gas Load Data

-

500,000

1,000,000

1,500,000

2,000,000

2,500,000

10

20

30

40

50

60

70

80

90

100

Tavg

Load

_1032928446.unknown

_1032928448.unknown

_1032847531.xls
Chart1

		78

		80.5

		79.5

		72.5

		71

		70.5

		71.5

		71.5

		76

		75.5

		76

		76

		77.5

		78.5

		75.5

		85.5

		83

		71

		67.5

		67

		69.5

		71

		67.5

		67.5

		71.5

		72

		71.5

		69.5

		72.5

		72.5

		76

		77.5

		66

		61.5

		64

		68.5

		71.5

		69

		67.5

		66

		72

		74

		71

		71

		70.5

		71.5

		68

		73

		71

		71.5

		58.5

		56.5

		60

		55.5

		56.5

		64

		58

		61.5

		68.5

		67

		53.5

		50.5

		58

		65.5

		71

		74

		71

		66.5

		68

		73.5

		59

		57.5

		59.5

		65.5

		57.5

		53.5

		53

		54.5

		51

		55.5

		50.5

		46.5

		55.5

		50.5

		46

		44.5

		55.5

		48.5

		46

		51.5

		52

		60.5

		52.5

		53

		51.5

		46

		46.5

		51.5

		48

		48

		48

		46

		42.5

		36

		35

		35.5

		35.5

		35

		35

		37.5

		42.5

		46

		43

		41

		35.5

		34

		46

		44.5

		42.5

		47

		43

		40.5

		39

		41

		45.5

		41

		34

		35.5

		37

		33.5

		37

		33

		35.5

		35.5

		36

		33.5

		43

		44

		39.5

		42.5

		43.5

		32

		29.5

		38

		39.5

		45.5

		43.5

		35.5

		35

		34.5

		35.5

		26

		21.5

		38.5

		52.5

		55

		47

		51

		52

		56.5

		56.5

		43

		42

		34

		40.5

		29

		32

		36.5

		37

		33.5

		35

		35.5

		34

		33

		39.5

		40

		36.5

		36.5

		35

		35.5

		43

		42.5

		39

		37.5

		39.5

		44

		39.5

		35.5

		38.5

		36.5

		36

		37.5

		41

		39

		49

		40

		31.5

		25.5

		30

		42.5

		44

		46

		48

		44.5

		45.5

		41

		39.5

		43.5

		50.5

		47

		47.5

		46

		47.5

		46.5

		45.5

		42

		40.5

		44.5

		43.5

		51

		43.5

		27

		26

		30.5

		39

		38.5

		35.5

		36

		37.5

		40.5

		43.5

		37.5

		33.5

		40

		41.5

		39

		52.5

		67.5

		70.5

		70

		71

		74

		63

		56.5

		51.5

		43.5

		45.5

		50

		55

		55

		45.5

		47

		49.5

		49

		55.5

		57

		56.5

		52

		63.5

		56.5

		53

		53

		58

		57.5

		51.5

		60.5

		59

		48.5

		48.5

		52

		58

		64

		60

		62

		62.5

		58.5

		58

		61

		62.5

		57

		58

		56

		55

		58

		54.5

		58

		68

		73.5

		61.5

		70

		75.5

		69.5

		71.5

		62

		64

		68.5

		65

		70

		68

		73

		76

		76.5

		77

		68.5

		63.5

		64

		61

		62.5

		64

		62

		60

		61.5

		65

		65.5

		63

		68

		68.5

		68

		75

		74

		76

		77

		78.5

		74.5

		69.5

		71

		78.5

		82.5

		84

		79.5

		71.5

		71.5

		75

		72

		73.5

		77

		75.5

		75.5

		71

		71.5

		67

		73

		77

		73.5

		76

		76.5

		78.5

		79.5

		81.5

		81

		81.5

		78

		83

		83.5

		87.5

		85

		80.5

		75

		77.5

		76.5

		81

		83.5

		79

		74

		72.5

		72.5

		74.5

		78.5

		76

		79

		74

		74.5

		79

		79.5

		81.5

		78

		74

		73

		77

		78.5

		67

		69

		74

		75

		78

		83.5

		84.5

		82

		79

		78

		81

		79

		79

		72.5

		71.5

		71

		73

		72

		76.5

		66.5

		62

		63.5

		67

		74

		74.5

		75

		77.5

		79.5

		70.5

		67.5

		68.5

		74.5

		77.5

		68.5

		60.5

		57.5

		64

		70.5

		80

		69

		62.5

		64

		65.5

		56.5

		54

		54

		61.5

		54

		57

		67

		61

		61

		66

		60

		60

		59.5

		55

		56.5

		56.5

		64.5

		65

		57.5

		51.5

		47.5

		52

		60.5

		59.5

		56.5

		55

		56.5

		51.5

		51

		51

		52

		49

		44.5

		44.5

		42

		41.5

		42

		46.5

		48.5

		47

		57

		47

		46.5

		49.5

		54.5

		45

		43

		42

		54.5

		45.5

		42.5

		47.5

		52

		43

		49

		45.5

		49.5

		53.5

		53.5

		53.5

		53.5

		58

		64

		56

		59.5

		62

		47

		44.5

		38.5

		40.5

		37.5

		40.5

		36.5

		38

		41

		39

		37

		41.5

		47.5

		50.5

		43.5

		23.5

		27

		28

		26

		30

		38.5

		38.5

		28

		21.5

		20

		18

		38.5

		25

		22.5

		23

		28

		27.5

		35.5

		26

		22

		37.5

		35

		18

		30.5

		33

		43.5

		45.5

		42.5

		42

		39.5

		42.5

		50.5

		51.5

		36.5

		35.5

		36.5

		38.5

		33

		30.5

		23

		29.5

		46

		48

		43.5

		39.5

		38.5

		37.5

		33.5

		36.5

		43.5

		43

		54

		34.5

		27.5

		35

		44

		43

		41

		37.5

		35.5

		30

		24

		21

		30

		34

		40

		42.5

		45

		42

		42

		45.5

		42.5

		37

		42.5

		29.5

		27

		29

		35.5

		34

		32.5

		39

		37.5

		37.5

		41

		51

		56.5

		43.5

		44

		43

		44.5

		44

		51.5

		44

		41

		44.5

		46

		57

		55.5

		58.5

		56.5

		55.5

		50.5

		53

		47

		50.5

		60

		66.5

		53

		51.5

		41.5

		47.5

		52

		56

		57.5

		48.5

		50

		52

		50

		47.5

		51.5

		53.5

		50.5

		50

		51

		61.5

		55.5

		54

		58

		55

		54

		57

		56

		56.5

		65.5

		60.5

		57.5

		60

		66

		64

		60.5

		62.5

		60.5

		57.5

		60.5

		58

		60.5

		62.5

		62.5

		66.5

		65

		67

		62.5

		60.5

		62.5

		65.5

		65

		69

		76

		76.5

		77

		78.5

		81

		76

		71

		69

		70

		84.5

		86

		75.5

		67

		64.5

		67

		74.5

		76

		74

		68

		62.5

		67

		68

		67.5

		64.5

		71.5

		76

		76.5

		73.5

		83.5

		83

		85

		84.5

		75

		76.5

		83

		80.5

		89

		92

		92

		83.5

		79.5

		76

		75

		69.5

		67

		68

		66.5

		73

		81

		82.5

		82.5

		85.5

		79.5

		77

		78.5

		83

		87.5

		88.5

		85

		87.5

		88

		82

		82

		81.5

		89

		81.5

		80

		77.5

		80

		79.5

		79.5

		78

		73.5

		70.5

		78.5

		81

		80.5

		80.5

		74.5

		76.5

		80.5

		80.5

		74.5

		69.5

		62.5

		67

		72.5

		76

		74.5

		75.5

		76.5

		78.5

		76

		65

		68.5

		71

		73.5

		73.5

		74.5

		75

		78.5

		78

		77.5

		77

		73

		72.5

		69.5

		70

		68.5

		69.5

		67.5

		65.5

		64.5

		64.5

		66.5

		60.5

		55

		61

		65.5

		67

		61

		64.5

		71.5

		71.5

		64

		59.5

		62.5

		67.5

		59

		50

		54.5

		46.5

		51

		63.5

		64

		63.5

		56.5

		60.5

		54

		48

		57

		62.5

		54

		46.5

		53

		53

		53

		50

		47

		49.5

		55.5

		52.5

		47.5

		56

		57.5

		64.5

		59.5

		58.5

		52

		44.5

		51

		58.5

		45

		41.5

		50

		63

		50

		41.5

		50

		50.5

		42.5

		37.5

		38.5

		39.5

		51

		59

		58

		54.5

		58

		61

		54

		56.5

		54.5

		47.5

		41.5

		34

		29.5

		38.5

		44.5

		53

		54

		54.5

		45

		42

		44.5

		48.5

		41.5

		40.5

		38.5

		42

		44

		44

		38

		38

		36.5

		46

		43.5

		35.5

		33.5

		25.5

		24

		28.5

		32

		24.5

		32

		42

		37

		40.5

		49

		57.5

		58

		38.5

		34

		41.5

		34

		43

		51.5

		45.5

		42.5

		29

		18

		22

		35

		14.5

		12.5

		21.5

		26

		16

		14

		23.5

		32.5

		27

		27

		17.5

		18

		26

		28.5

		33

		31.5

		26

		27.5

		28.5

		30.5

		32

		35

		26

		34.5

		41

		40

		28

		31.5

		46.5

		38

		42.5

		33.5

		32.5

		32

		35

		36.5

		41

		45

		54.5

		48

		42.5

		49.5

		49.5

		45.5

		41.5

		42.5

		42

		44

		50.5

		46.5

		50.5

		57.5

		60.5

		53.5

		42

		42.5

		40

		46.5

		53.5

		58

		40.5

		30

		35.5

		40.5

		41.5

		45.5

		50.5

		57.5

		58

		58.5

		49

		53.5

		50

		50.5

		49.5

		52.5

		57

		63

		57.5

		43.5

		54.5

		58

		64

		40.5

		46

		41.5

		46.5

		43.5

		45

		54

		64.5

		47.5

		43.5

		52.5

		55.5

		48

		48

		49

		57

		52.5

		44.5

		45.5

		53.5

		55.5

		57.5

		56

		61.5

		56.5

		60.5

		73.5

		76.5

		80.5

		81

		83

		66.5

		65

		63

		65

		64.5

		59.5

		60.5

		64.5

		71

		56.5

		49.5

		54

		55

		58.5

		69

		68

		68

		62

		62

		60

		58.5

		61

		73

		81.5

		68

		65

		65

		56

		63

		69.5

		78

		82.5

		84

		66.5

		59.5

		58.5

		67

		78

		82

		69.5

		67.5

		72.5

		75

		78

		74.5

		75

		82

		83

		81

		74.5

		70.5

		73

		75.5

		76.5

		79.5

		79.5

		79

		72

		72.5

		71

		73.5

		82.5

		77



Data

Tavg

Load

Figure 1 Daily Gas Load Data

632942

575885

603430

693011

688152

688152

698422

648474

566465

597499

695074

694125

693661

682255

577302

564240

617995

691786

689970

707900

697972

648117

559625

599843

709103

704924

702611

689664

558378

548875

587438

672880

681095

685462

631879

573718

604641

712067

714975

708882

716300

637100

655383

612952

698076

717320

689501

706244

670322

620967

680823

740322

767868

858348

770608

716418

641079

626381

718620

743655

919325

880520

721477

616377

613758

621330

642361

651829

630217

609925

640284

665434

678943

657958

820392

905316

841373

789101

929750

880388

999193

1218219

1229374

931496

1152333

1064534

1095268

1335533

1208708

1082337

792340

733732

1007689

955603

1148945

1191826

1116822

1109878

1125425

1160446

1289200

1352111

1544114

1564678

1672555

1570795

1725644

1793062

1733962

1576400

1514838

1573544

1369617

1477113

1842309

1644536

1327414

1392243

1335509

1224241

1363610

1779556

1724597

1428825

1286303

1656082

1730178

1602656

1698537

1624241

1715003

1788697

1676695

1609396

1801718

1754759

1527159

1541826

1599589

1436395

1474724

1807344

1804733

1618011

1434938

1236199

1428257

1656821

1800797

1685012

1888912

2168355

2017971

1492475

1156591

1125172

1332934

1035253

1025178

901547

1143432

1402312

1541509

1605583

1767377

2004989

1810341

1784966

1605002

1604039

1753477

1915444

1855039

1805819

1602518

1507565

1773374

1784404

1823518

1892166

1487499

1545672

1612910

1585412

1468269

1538497

1785740

1855063

1633075

1602716

1687807

1627657

1539054

1326233

1450858

1655599

1872234

1903469

1713225

1614678

1669894

1449452

1360709

1358440

1333786

1656159

1759403

1541042

1357249

1129148

1181109

1253166

1266364

1427064

1454777

1580281

1399394

1225461

1467349

1111780

1856899

2147955

2085523

1756236

1611774

1620648

1698873

1497042

1584353

1525080

1425222

1662159

1649443

1579104

1528310

1420067

953512

673957

603249

660449

690886

697040

753888

825563

885068

1105167

1182573

1147696

945662

1016461

1344413

1114213

990676

975355

898979

843606

906773

872679

802710

739262

983489

1024803

859723

850198

1080180

784266

772470

1140739

1087923

971230

744112

712316

724027

624862

631589

744940

752658

722780

737571

777773

738622

829436

992970

970873

924025

788791

672163

613619

676779

706949

674592

704471

719262

699582

605809

573950

634142

706641

714268

693973

663717

594659

610245

708668

692994

724066

731011

685128

612207

680243

753722

741102

731809

738682

669740

585206

669173

702400

722732

720100

705097

654800

588184

613452

700695

711284

708259

692673

656060

586694

593878

685314

704957

691184

645189

571269

524135

551662

662727

661537

663866

666792

609920

547840

569242

654331

691115

666706

674084

622946

565384

596645

694179

690073

676339

672238

624114

561616

587435

668793

685290

707798

672684

635675

574990

603643

691455

678701

715295

681665

650297

587051

532917

691206

686976

682094

691645

624969

530605

575557

701369

689631

631424

565924

583951

688189

692684

683214

694386

636132

571833

608846

709594

695597

702356

689346

637494

564664

542484

684241

701807

660133

610972

573274

614455

681453

693969

697686

695308

630832

575526

597646

683094

703322

749826

722599

634602

541233

642268

712886

697002

682263

761262

730869

742682

774128

826578

861777

786492

742080

714855

667294

663456

673977

767144

852111

906751

826469

679033

629888

781881

881552

1075598

1216386

968520

793583

771028

852019

894923

850398

1079548

1036615

938295

961780

1192497

1317673

1454854

1418463

1429676

1143944

1209095

1293149

1083225

1119202

1274289

1225566

956739

1129039

1164892

1440771

1187011

1097275

1308228

1340581

1127103

1243735

1220305

1083971

1256426

1008903

966965

1045094

1196276

1074027

889709

791190

907911

813305

921948

1273591

1475709

1453581

1519201

1390461

1459143

1708884

1547526

1494601

1632105

1682275

1298247

1241258

1109789

1897309

2064770

1940840

1887480

1971731

1724898

1606383

1668811

2232511

2072167

2201100

2033100

1732700

2282500

2142900

2142300

2188300

2014900

1891100

2111300

2246400

1609800

1963000

2400700

2056600

1662600

1436000

1493000

1606700

1689500

1568100

1516000

1130400

1366200

1868800

1826500

1596400

1605800

1831700

1936000

2122300

1749200

1335500

1445200

1611700

1699100

1592700

1673500

1901600

1693400

1554400

1345100

1306100

1842100

1960700

1642400

1424000

1426600

1629200

1654100

1709000

2009900

2131900

2028700

1921200

1743500

1621400

1357500

1420900

1634300

1541500

1288500

1910200

1622500

1583300

2196900

2130000

1946300

1852100

1941700

1957300

1497500

1684100

1860800

1537200

1061700

1223100

1487800

1338000

1345900

1613300

1319800

1180900

1436100

1359200

1151400

1200300

1001600

1080400

875200

860200

848900

814300

1076100

1133600

978900

845300

764900

1150700

1012100

1335900

1261700

1166700

1027700

884100

1151000

1031200

995000

1077000

1270100

1037300

944800

1162600

1058500

899100

827100

872200

859600

855300

858700

787300

767500

885700

791800

729400

766300

774800

701900

670800

740300

742000

706200

780100

745100

657400

656700

699000

678200

724000

717900

652100

618200

647800

722800

726300

720600

718600

651000

584600

551900

600200

683400

684300

692200

647600

602900

624700

700200

697800

728100

721300

658800

581600

612700

708900

700900

705300

719000

665400

582600

605400

708000

687600

701200

706300

629500

558000

636100

684000

679800

661900

667400

615400

532400

530300

629900

650300

679500

681500

610500

554300

592000

665100

674600

677300

669600

653500

610900

641900

659500

670000

684300

685900

656200

617800

638700

688800

681300

680700

683900

659100

631900

648500

690100

679900

679000

680100

645900

561700

623300

674400

670800

686100

679400

662100

583600

601800

680400

686900

688700

683900

634600

565000

602500

686100

706400

689100

682400

670500

593400

599200

696800

687000

693800

694000

651600

595600

544000

582400

669500

694900

683000

645300

587500

624100

698300

692700

692400

677500

635200

600900

615600

663200

712900

820100

729500

646300

598700

648112

686000

676200

675000

723500

684600

606500

610700

734300

978900

934600

1097600

808900

603700

618900

773400

825800

722500

1038700

942900

688000

695900

1011400

1069200

1060000

1079500

934800

1080600

1158000

1111400

944700

1082600

1117900

860000

774800

716100

835200

842800

1354600

1367000

972300

921300

1334700

1412700

944900

795100

1405300

1174800

1109600

1158400

1514800

1709400

1627500

1326900

1054800

791000

866600

943800

858600

781900

934900

732300

1020100

1354400

1708800

1966400

2028900

1660800

1250000

1032300

964500

1133500

1538900

1528800

1420200

1372000

1539000

1635300

1581000

1595900

1406700

1631400

1629400

1584900

1670200

1469700

1672000

1858500

1850900

2038600

1959400

1904400

2023800

2053300

1883900

1514200

1599400

1417500

1057600

1005100

1193600

1945500

1785000

1697900

1586500

1320200

1388200

1572400

1572300

2073800

2170800

1838100

1902300

2404900

2239500

2013400

2048200

2351700

2126800

1945600

1882900

2172800

2054600

2262600

2189300

1964800

1876900

1989300

2143000

2206200

2038000

1970100

1907600

1912700

1993600

2160100

1780600

1504400

1777600

2038100

1704700

1597600

1845700

1689000

1991900

1949800

1824600

1783600

1806600

1625000

1368000

1093500

1355300

1359300

1191900

1565000

1504200

1436200

1705600

1620200

1277700

1308900

1398100

1056200

1018100

885200

1127600

1408800

1623500

1558600

1363900

1087100

1077200

1915500

1669000

1562400

1579100

1695400

1493900

1077300

910900

799900

1043000

1018100

1119100

1290100

1228700

1156500

842300

825100

822300

1047700

1474000

963700

869500

854400

1511600

1343200

1425100

1432800

1374600

1046700

810000

791300

1440400

1469500

1062100

937900

1189700

1100400

1161300

944600

1185500

1318100

1227600

1032700

761000

908100

851500

887700

863800

775900

692400

603100

633900

717800

717800

804600

749900

708400

615300

663700

801000

757900

713800

698300

811500

856400

826400

889800

766200

693900

708700

691500

644400

603100

715700

826200

755100

721200

680400

619700

650100

760000

876900

756800

733200

685600

651400

670700

746300

778900

783000

743500

680100

643800

684700

741800

733500

722200

724900

696900

638900

651700

714500

692400

719600

713500

668900

619800

632100

616000

623900

668800

678300

673700

645600

655200

687700

692200



Notes

		Notes for PSE&G and LILCO Forecasting

		1. The forecast uncertainity depends on temperature and is plus or minus the number given in Table 1.						Table 1 Forecast Uncertainity

										PSE&G		LILCO

										250,000		60,000

										200,000		45,000

		3. There is no correction for year to year load growth in the models.  The forecasts represent the time mid-point of the data.  This is '98-'99 for PSE&G and '97-'98 for LILCO.  The data indicates a yearly growth of 1% for PSE&G and 1.5% for LILCO.								80,000		10,000





LILCO Model 2

								Coefficients

								A		B		S1		S2		C1		C2		D		Load = 539,547 - 11,730* [V(23.14, 0.69) - V(61.53, 0.10)]

								555,290		14,632		42.99		61.19		1.15		0.11		0.87				where

								539,547		11,730		23.14		61.53		0.69		0.10		1

				Forecasts				Date		Tavg		Load Forecast  (bcf)				Data

								9/17/00		100		77,543		86,895		61		92,497

								9/17/00		98		78,651		86,724		63		86,253

								9/17/00		96		79,670		86,539		53		125,616

								9/17/00		94		80,594		86,338		46		173,398

								9/17/00		92		81,420		86,120		47.5		159,284

								9/17/00		90		82,144		85,884		49.5		147,002

								9/17/00		88		82,763		85,628		54.5		110,536

								9/17/00		86		83,274		85,354		57.5		127,692

								9/17/00		84		83,677		85,064		61		106,225

								9/17/00		82		83,978		84,766		55		138,459

								9/17/00		80		84,193		84,478		49.5		185,084

								9/17/00		78		84,355		84,236		47		163,178

								9/17/00		76		84,530		84,106		56		118,301

								9/17/00		74		84,830		84,202		63.5		120,630

								9/17/00		72		85,439		84,710		51.5		164,429

								9/17/00		70		86,632		85,902		59		111,033

								9/17/00		68		88,788		88,153		67		94,677

								9/17/00		66		92,379		91,928		58		123,622

								9/17/00		64		97,932		97,729		53		143,627

								9/17/00		62		105,941		106,016		50.5		139,718

								9/17/00		60		116,759		117,095		52.5		164,367

								9/17/00		58		130,491		131,015		55		152,377

								9/17/00		56		146,936		147,530		60.5		111,460

								9/17/00		54		165,616		166,142		58		118,871

								9/17/00		52		185,883		186,218		57.5		127,061

								9/17/00		50		207,073		207,145		54.5		141,080

								9/17/00		48		228,633		228,431		58		105,358

								9/17/00		46		250,183		249,754		57		147,115

								9/17/00		44		271,501		270,930		52		169,603

								9/17/00		42		292,475		291,861		57.5		154,497

								9/17/00		40		313,044		312,488		53.5		170,476

								9/17/00		38		333,169		332,762		43.5		251,418

								9/17/00		36		352,814		352,631		43.5		261,270

								9/17/00		34		371,942		372,037		40.5		258,913

								9/17/00		32		390,511		390,914		42.5		223,966

								9/17/00		30		408,476		409,184		49.5		168,572

								9/17/00		28		425,785		426,760		55.5		145,750

								9/17/00		26		442,383		443,540		62.5		107,663

								9/17/00		24		458,205		459,410		66.5		100,005

								9/17/00		22		473,182		474,239		55		179,846

								9/17/00		20		487,233		487,886		42		252,730

								9/17/00		18		500,272		500,195		37		300,271

								9/17/00		16		512,199		511,005		37.5		331,326

								9/17/00		14		522,906		520,159		34.5		326,378

								9/17/00		12		532,274		527,521		33		358,294

								9/17/00		10		540,174		533,013		31.5		370,900

								9/17/00		8		546,479		536,658		33.5		336,971

								9/17/00		6		551,079		538,651		41.5		266,852

								9/17/00		4		553,922		539,411		46		233,128

								9/17/00		2		555,132		539,544		44.5		270,662

								9/17/00		0		555,290		539,547		38		322,685

																37.5		328,938

																40.5		307,537

																40.5		263,008

																41.5		263,258

																47		194,729

																45.5		258,696

																29.5		406,015

																26.5		388,767

																33		353,247

																36.5		266,022

																53		194,050

																47		280,165

																39.5		293,724

																43		297,446

																38.5		286,105

																40		333,283

																39.5		314,164

																40.5		309,415

																35.5		348,716

																36		317,207

																40.5		261,756

																46.5		275,565

																42.5		293,146

																40		306,182

																41		292,914

																43		265,233

																51		211,182

																50		200,038

																39		321,533

																26		455,035

																25.5		412,653

																30		351,504

																39.5		285,934

																50.5		243,663

																36		358,238

																31.5		345,062

																42.5		282,253

																41		249,428

																50		214,916

																41.5		296,015

																25		467,404

																20		443,274

																34.5		320,849

																51		208,078

																46		238,228

																48.5		225,750

																43		311,464

																32		418,588

																31.5		420,033

																30.5		391,730

																34.5		355,965

																26		443,189

																22		475,206

																25		448,271

																25.5		435,377

																28.5		377,465

																34.5		375,831

																17.5		531,578

																12.5		547,294

																12		503,270

																24		406,032

																33		399,602

																38.5		295,263

																40		317,578

																32		373,347

																41.5		312,338

																29		434,476

																29		406,169

																38.5		390,013

																26.5		454,436

																25		432,900

																32.5		355,869

																43.5		295,272

																39.5		290,539

																41		319,124

																34		357,543

																44.5		288,120

																37.5		343,306

																36		347,098

																30		407,988

																31		392,441

																29		401,745

																33		363,276

																32.5		389,752

																28.5		392,513

																36		309,856

																40.5		326,127

																31.5		347,465

																29		390,029

																45		283,419

																56		204,763

																44		265,632

																49.5		212,261

																54		242,118

																40		298,705

																37		344,951

																26		405,753

																42		255,546

																60		170,988

																51		244,570

																42		275,552

																51.5		235,426

																37.5		351,796

																34.5		343,822

																41		288,433

																42		334,822

																36.5		352,502

																42.5		317,898

																30		346,097

																42		264,789

																43.5		309,132

																38		343,854

																33		354,999

																42.5		309,416

																40		331,795

																30.5		396,784

																35.5		324,859

																42.5		280,863

																37		333,733

																41.5		333,495

																43		247,022

																45.5		282,530

																33.5		353,391

																36		323,060

																44.5		275,499

																51		268,136

																51.5		179,833

																55		159,421

																49		179,997

																58		138,055

																44		342,781

																41.5		345,001

																49		239,959

																51.5		188,066

																59.5		138,013

																51		171,303

																55		168,573

																62.5		136,209

																49.5		214,417

																36.5		341,574

																39		288,742

																44.5		235,172

																46		204,576

																57.5		157,103

																49		217,070

																46		215,682

																52		168,130

																51		199,890

																41		327,933

																46.5		246,177

																49		186,398

																50		182,122

																52		156,512

																53.5		167,677

																50.5		215,002

																52.5		157,225

																58		135,995

																54.5		138,281

																56		162,501

																59.5		129,716

																61		119,575

																63.5		133,369

																57.5		131,234

																61		151,010

																57		151,256

																55.5		139,632

																59		167,443

																50		194,976

																52		144,442

																53.5		141,072

																57		139,450

																58		119,327

																65.5		107,625

																57		123,637

																56.5		115,030

																64		104,594

																56.5		131,336

																57		122,013

																56.5		113,300

																69		94,733

																62		102,649

																57		122,438

																56.5		128,056

																60		103,638

																64.5		93,172

																61.5		95,486

																63.5		101,189

																56.5		119,695

																60		103,632

																59		103,080

																63		95,907

																66		94,134

																69.5		89,939

																57.5		122,553

																56		127,096

																59.5		109,746

																61.5		102,787

																59		102,512

																59.5		103,676

																60.5		104,869

																63		97,854

																74		89,156

																79.5		88,885

																79		86,592

																73.5		86,198

																73		85,233

																64.5		91,484

																63.5		86,359

																63.5		88,915

																66		94,212

																74.5		85,834

																76.5		83,582

																82		85,232

																83.5		83,793

																78		83,835

																75		84,671

																83.5		84,335

																83		84,400

																78		82,284

																75.5		76,838

																77.5		79,165

																77.5		80,310

																77.5		82,149

																73		80,761

																81		76,940

																79.5		74,719

																73.5		73,139

																72		78,112

																75		80,105

																76.5		81,012

																80.5		84,211

																73.5		81,277

																74.5		75,220

																78		77,395

																82		76,608

																84		83,460

																88.5		80,093

																83		82,708

																87		82,396

																82		78,974

																75		74,445

																70		78,151

																75		79,644

																72		81,088

																72.5		82,775

																63.5		85,629

																70.5		82,555

																75.5		78,029

																82.5		83,109

																81.5		84,407

																75.5		82,491

																71		86,299

																75.5		82,791

																78		83,166

																80.5		75,763

																79.5		79,389

																72.5		82,695

																71		82,477

																70.5		82,679

																71.5		85,352

																71.5		80,420

																76		78,130

																75.5		81,876

																76		80,614

																76		80,352

																77.5		87,172

																78.5		85,030

																75.5		79,765

																85.5		75,489

																83		74,041

																71		81,095

																67.5		81,412

																67		84,805

																69.5		81,292

																71		80,289

																67.5		79,367

																67.5		79,530

																71.5		82,317

																72		83,851

																71.5		85,273

																69.5		81,220

																73.5		83,821

																72.5		78,216

																72.5		69,932

																76		79,842

																77.5		85,758

																66		86,875

																61.5		84,666

																64		81,820

																68.5		78,286

																71.5		82,718

																69		85,244

																67.5		86,454

																66		83,307

																72		83,385

																74		78,232

																71		80,805

																71		82,975

																70.5		81,266

																71.5		82,377

																68		82,148

																73		82,571

																71		79,026

																71.5		80,215

																58.5		95,363

																56.5		89,677

																60		94,610

																55.5		115,231

																56.5		93,797

																64		90,191

																58		91,176

																61.5		85,657

																68.5		82,195

																67		90,779

																53.5		126,895

																50.5		118,305

																58		102,598

																65.5		85,518

																71		85,277

																74		86,936

																71		89,277

																66.5		88,039

																68		87,313

																73.5		84,016

																59		101,453

																57.5		109,666

																59.5		109,604

																65.5		90,925

																57.5		120,088

																53.5		155,694

																53		154,074

																54.5		135,764

																51		164,870

																55.5		145,880

																50.5		174,423

																46.5		228,241

																55.5		228,128

																50.5		151,442

																46		213,996

																44.5		176,965

																55.5		184,791

																48.5		256,279

																46		218,823

																51.5		181,785

																52		89,104

																60.5		109,685

																52.5		165,316

																53		147,907

																51.5		192,849

																46		219,587

																46.5		195,125

																51.5		198,418

																48		220,515

																48		222,354

																48		228,646

																46		259,064

																42.5		304,574

																36		307,722

																35		341,367

																35.5		326,764

																35.5		369,188

																35		357,946

																35		344,011

																37.5		302,281

																42.5		297,119

																46		211,043

																43		275,237

																41		302,127

																35.5		382,825

																34		327,671

																46		244,662

																44.5		283,053

																42.5		259,312

																47		256,315

																43		256,467

																40.5		360,059

																39		348,105

																41		268,336

																45.5		239,947

																41		325,880

																34		365,055

																35.5		339,145

																37		335,771

																33.5		325,754

																37		343,316

																33		362,574

																35.5		339,403

																35.5		331,791

																36		387,864

																33.5		357,478

																43		289,933

																44		291,555

																39.5		319,184

																42.5		259,764

																43.5		301,414

																32		395,766

																29.5		373,909

																38		344,941

																39.5		287,623

																45.5		237,322

																43.5		287,452

																35.5		350,703

																35		370,372

																34.5		329,796

																35.5		400,863

																26		487,263

																21.5		441,597

																38.5		299,176

																52.5		216,946

																55		200,566

																47		240,649

																51		185,971

																52		236,669

																56.5		179,224

																56.5		230,820

																43		282,417

																42		313,953

																34		319,036

																40.5		357,644

																29		419,204

																32		361,657

																36.5		396,233

																37		334,824

																33.5		361,752

																35		371,458

																35.5		388,464

																34		372,769

																33		368,592

																39.5		309,257

																40		308,393

																36.5		368,397

																36.5		355,586

																35		367,165

																35.5		394,895

																43		296,406

																42.5		301,148

																39		335,197

																37.5		340,492

																39.5		284,421

																44		296,878

																39.5		375,395

																35.5		407,954

																38.5		336,137

																36.5		344,055

																36		374,475

																37.5		337,958

																41		298,577

																39		241,037

																49		273,642

																40		337,527

																31.5		412,885

																25.5		423,058

																30		354,746

																42.5		321,860

																44		293,077

																46		265,082

																48		261,109

																44.5		281,636

																45.5		262,024

																41		333,481

																39.5		356,776

																43.5		294,250

																50.5		245,075

																47		222,135

																47.5		229,827

																46		267,100

																47.5		248,414

																46.5		275,270

																45.5		271,196

																42		295,364

																40.5		273,684

																44.5		257,506

																43.5		298,322

																51		224,326

																43.5		381,505

																27		465,676

																26		464,303

																30.5		381,358

																39		350,205

																38.5		351,660

																35.5		346,584

																36		304,532

																37.5		331,403

																40.5		319,607

																43.5		297,234

																37.5		376,249

																33.5		373,428

																40		299,288

																41.5		291,178

																39		280,444

																52.5		201,011

																67.5		110,064

																70.5		128,263

																70		98,669

																71		99,367

																74		103,382

																63		143,136

																56.5		176,061

																51.5		178,590

																43.5		252,445

																45.5		237,271

																50		205,131

																55		166,738

																55		187,705

																45.5		272,595

																47		225,780

																49.5		200,528

																49		193,000

																55.5		150,558

																57		150,473

																56.5		173,330

																52		161,129

																63.5		157,436

																56.5		136,270

																53		196,097

																53		176,832

																58		145,895

																57.5		142,455

																51.5		238,956

																60.5		128,220

																59		141,517

																48.5		229,968

																48.5		204,751

																52		172,310

																58		124,113

																64		109,989

																60		121,679

																62		111,892

																62.5		112,086

																58.5		121,110

																58		116,904

																61		108,632

																62.5		112,364

																57		127,476

																58		135,036

																56		162,753

																55		186,693

																58		173,145

																54.5		160,489

																58		132,610

																68		102,210

																73.5		92,849

																61.5		117,299

																70		98,828

																75.5		92,553

																69.5		92,946

																71.5		91,130

																62		102,765

																64		93,525

																68.5		83,122

																65		94,965

																70		90,941

																68		88,802

																73		89,880

																76		89,341

																76.5		84,418

																77		86,079

																68.5		93,103

																63.5		91,732

																64		96,562

																61		95,913

																62.5		93,309

																64		90,202

																62		98,320

																60		96,823

																61.5		95,426

																65		91,696

																65.5		92,974

																63		88,254

																68		86,128

																68.5		85,946

																68		87,529

																75		86,470

																74		89,831

																76		89,818

																77		88,435

																78.5		81,908

																74.5		82,261

																69.5		88,302

																71		83,688

																78.5		93,528

																82.5		84,356

																84		86,247

																79.5		81,652

																71.5		79,560

																71.5		86,001

																75		85,503

																72		87,631

																73.5		80,019

																77		82,540

																75.5		69,851

																75.5		81,408

																71		83,718

																71.5		81,261

																67		86,691

																73		86,418

																77		84,872

																73.5		75,593

																76		86,945

																76.5		96,470

																78.5		85,828

																79.5		85,597

																81.5		87,759

																81		79,093

																81.5		82,574

																78		76,895

																83		86,388

																83.5		84,467

																87.5		81,485

																85		85,749

																80.5		84,334

																75		77,732

																77.5		79,181

																76.5		85,137

																81		81,672

																83.5		83,156

																79		88,521

																74		81,849

																72.5		78,869

																72.5		82,799

																74.5		82,723

																78.5		86,011

																76		83,105

																79		84,297

																74		83,895

																74.5		75,708

																79		78,862

																79.5		81,435

																81.5		85,286

																78		82,551

																74		82,288

																73		83,968

																77		81,621

																78.5		76,397

																78		84,468

																77.5		85,220

																67		84,994

																69		85,949

																74		83,419

																75		80,189

																78		79,877

																83.5		80,382

																84.5		85,462

																82		87,946

																79		88,246

																78		79,955

																81		80,661

																79		80,254

																79		85,915

																72.5		87,365

																71.5		83,572

																71		85,525

																73		80,977

																72		79,255

																76.5		78,957

																78.5		81,294

																66.5		88,612

																62		86,888

																63.5		89,423

																67		82,481

																74		78,825

																74.5		82,642

																75		85,681

																77.5		86,751

																79.5		84,511

																70.5		93,855

																67.5		84,722

																68.5		84,469

																74.5		81,419

																77.5		87,404

																68.5		88,708

																60.5		102,623

																57.5		95,951

																64		81,991

																70.5		80,106

																80		85,734

																69		87,210

																62.5		87,097

																64		84,699

																65.5		97,783

																56.5		104,020

																54		106,426

																54		118,356

																61.5		109,163

																54		140,921

																57		109,555

																67		92,860

																61		93,646

																61		94,775

																66		89,148

																60		106,601

																60		108,287

																59.5		117,759

																55		131,680

																56.5		130,854

																56.5		109,809

																64.5		95,569

																65		108,153

																57.5		130,293

																51.5		172,609

																47.5		206,667

																52		160,117

																60.5		121,305

																59.5		120,211

																56.5		138,982

																55		176,240

																56.5		137,286

																51.5		201,684

																51		194,781

																51		182,644

																52		182,818

																49		219,280

																44.5		243,143

																44.5		275,320

																42		261,038

																41.5		277,391

																42		239,675

																46.5		247,684

																48.5		244,698

																47		196,808

																57		207,902

																47		238,912

																46.5		230,002

																49.5		168,826

																54.5		209,459

																45		212,614

																48		247,345

																43		287,803

																42		210,545

																54.5		183,613

																45.5		262,559

																42.5		265,229

																47.5		201,115

																52		235,320

																43		233,689

																49		222,548

																45.5		263,768

																49.5		196,889

																53.5		181,488

																53.5		172,161

																55		210,457

																56.5		190,028

																61.5		144,451

																66		125,157

																56.5		176,189

																58.5		150,339

																61.5		148,712

																49		248,563

																45		298,744

																45.5		280,906

																43		309,869

																42		291,165

																43.5		299,989

																39.5		350,822

																43		294,763

																46		301,199

																42		327,941

																37		358,325

																43.5		256,832

																48		249,317

																48.5		216,354

																43.5		387,766

																25		431,537

																29		425,539

																29.5		410,232

																30.5		427,079

																35.5		355,314

																41.5		318,629

																39.5		316,230

																29.5		529,758

																22.5		484,096

																20		527,568

																18		483,530

																37.5		354,883

																26.5		498,544

																23		509,958

																27		455,677

																30		467,966

																29.5		407,139

																38		374,961

																26.5		460,050

																24.5		472,860

																38		309,760

																35.5		413,834

																20		528,032

																31		413,720

																34.5		353,798

																43		292,645

																46		296,202

																44		313,981

																42		346,976

																38		298,893

																40		311,401

																47.5		231,751

																49		275,733

																37.5		401,924

																36.5		387,276

																40		321,979

																36		358,572

																32		428,025

																30		458,301

																23.5		489,831

																34.5		368,070

																44.5		274,336

																46		283,245

																42		325,333

																39		357,278

																38		348,344

																37.5		364,488

																34.5		425,871

																37		363,696

																43		322,437

																42		271,515

																47.5		268,870

																34.5		384,269

																27.5		451,484

																35.5		364,577

																42.5		286,545

																40		263,861

																39.5		351,501

																38		339,678

																35		364,775

																30.5		453,479

																21.5		526,314

																21		425,116

																30.5		369,314

																32.5		395,994

																39		351,648

																42		296,894

																45.5		301,651

																41.5		316,713

																42		315,813

																48		263,471

																43.5		405,537

																36.5		337,401

																42		335,822

																29.5		498,284

																26.5		480,950

																29		412,631

																34		397,302

																33.5		410,765

																31.5		430,019

																38.5		323,337

																36		348,919

																36.5		408,046

																42		330,206

																54		218,616

																56		227,538

																41.5		315,360

																43		285,574

																44.5		274,071

																45.5		326,346

																45		268,285

																50		239,146

																43.5		287,701

																41		291,684

																44.5		267,507

																45		261,884

																55.5		174,735

																53.5		200,140

																62		146,879

																58.5		161,704

																54		170,443

																50.5		177,674

																51		228,883

																47		221,117

																52.5		176,777

																58.5		132,431

																65.5		111,278

																51.5		224,804

																50		200,216

																42		276,516

																47		232,909

																50.5		210,490

																55		177,053

																58.5		150,561

																50.5		221,455

																51		185,820

																54		171,547

																53		185,948

																48		256,979

																53		176,500

																53		172,757

																49		219,952

																50		198,651

																52.5		173,396

																62		140,702

																54.5		154,423

																53		155,968

																57.5		154,380

																55		158,272

																56		142,189

																56		125,495

																57		156,909

																56.5		125,377

																65		109,012

																61		114,694

																57		119,535

																58		121,712

																63.5		101,478

																63.5		104,952

																60		117,295

																63.5		108,850

																59.5		126,712

																56		127,254

																59		120,564

																59		111,286

																62.5		100,063

																60.5		99,708

																62		96,998

																65		107,058

																67		91,086

																69		91,589

																62		97,083

																62.5		107,169

																63		97,074

																66.5		100,836

																64		99,798

																70.5		96,240

																75.5		90,695

																76		84,061

																75.5		89,315

																75.5		98,235

																81.5		91,305

																75.5		92,060

																69.5		94,314

																69.5		86,550

																70		91,317

																84.5		90,577

																85		89,333

																74		91,400

																66.5		96,191

																65		84,521

																65.5		78,284

																72.5		81,821

																74		91,382

																72.5		91,959

																65.5		87,065

																64		90,556

																67.5		92,454

																70.5		97,059

																67.5		92,208

																64		100,097

																73		90,009

																80		94,267

																78.5		93,167

																75		90,803

																84		85,948

																83		87,598

																83.5		89,322

																83		89,883

																74.5		88,986

																74		93,312

																81		91,944

																82		84,834

																88.5		73,413

																93		82,904

																92.5		82,270

																85		88,183

																81		86,953

																79		85,281

																76.5		84,711

																73		87,790

																72		85,991

																71		86,691

																71.5		90,791

																78		88,216

																86		88,483

																88		78,884

																88		82,063

																86		84,963

																79		90,088

																76		88,748

																77		87,938

																82		86,928

																86.5		80,246

																88		80,168

																83.5		87,210

																86		86,731

																87		85,738

																82.5		89,732

																82.5		87,336

																81		81,478

																89		81,405

																81.5		84,959

																78.5		80,449

																79.5		84,056

																80		88,241

																81		82,580

																78.5		78,580

																78		82,426

																73.5		87,326

																72		83,674

																79		86,110

																81		82,854

																80.5		82,444

																78.5		84,109

																74.5		83,999

																76.5		89,824

																79.5		87,907

																79.5		90,351

																75		84,406

																69.5		91,582

																62		83,018

																66.5		84,809

																74.5		88,433

																78.5		90,986

																76		86,493

																73.5		91,700

																75.5		87,312

																80.5		83,879

																76.5		85,389

																66		89,307

																69		93,802





LILCO Model 2

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0

				0



Fit

Data

Fit2

Tavg

Load (bcf)

LILCO Fit (GS Data)

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



PSE&G Model

								Coefficients

								A		B		S1		S2		C1		C2

								2,237,280		53,862		31.47		60.53		0.52		0.11						Load = 2,237,279 - 53,862* [V(31.47, 0.52) - V(60.53, 0.11)]

																										where

				Forecasts				Date		Tavg		Load Forecast  (bcf)								Data

								9/17/00		100		664,962								78		632,942

								9/17/00		98		664,204								80.5		575,885

								9/17/00		96		663,361								79.5		603,430

								9/17/00		94		662,422								72.5		693,011

								9/17/00		92		661,377								71		688,152

								9/17/00		90		660,216								70.5		688,152

								9/17/00		88		658,931								71.5		698,422

								9/17/00		86		657,521								71.5		648,474

								9/17/00		84		655,995								76		566,465

								9/17/00		82		654,386								75.5		597,499

								9/17/00		80		652,770								76		695,074

								9/17/00		78		651,298								76		694,125

								9/17/00		76		650,237								77.5		693,661

								9/17/00		74		650,035								78.5		682,255

								9/17/00		72		651,390								75.5		577,302

								9/17/00		70		655,321								85.5		564,240

								9/17/00		68		663,212								83		617,995

								9/17/00		66		676,785								71		691,786

								9/17/00		64		697,979								67.5		689,970

								9/17/00		62		728,690								67		707,900

								9/17/00		60		770,418								69.5		697,972

								9/17/00		58		823,874								71		648,117

								9/17/00		56		888,705								67.5		559,625

								9/17/00		54		963,446								67.5		599,843

								9/17/00		52		1,045,774								71.5		709,103

								9/17/00		50		1,132,983								72		704,924

								9/17/00		48		1,222,508								71.5		702,611

								9/17/00		46		1,312,291								69.5		689,664

								9/17/00		44		1,400,896								72.5		558,378

								9/17/00		42		1,487,407								72.5		548,875

								9/17/00		40		1,571,228								76		587,438

								9/17/00		38		1,651,903								77.5		672,880

								9/17/00		36		1,729,012								66		681,095

								9/17/00		34		1,802,123								61.5		685,462

								9/17/00		32		1,870,780								64		631,879

								9/17/00		30		1,934,509								68.5		573,718

								9/17/00		28		1,992,831								71.5		604,641

								9/17/00		26		2,045,283								69		712,067

								9/17/00		24		2,091,447								67.5		714,975

								9/17/00		22		2,130,988								66		708,882

								9/17/00		20		2,163,709								72		716,300

								9/17/00		18		2,189,607								74		637,100

								9/17/00		16		2,208,939								71		655,383

								9/17/00		14		2,222,275								71		612,952

								9/17/00		12		2,230,521								70.5		698,076

								9/17/00		10		2,234,876								71.5		717,320

								9/17/00		8		2,236,690								68		689,501

								9/17/00		6		2,237,203								73		706,244

								9/17/00		4		2,237,277								71		670,322

								9/17/00		2		2,237,280								71.5		620,967

								9/17/00		0		2,237,280								58.5		680,823

																				56.5		740,322

																				60		767,868

																				55.5		858,348

																				56.5		770,608

																				64		716,418

																				58		641,079

																				61.5		626,381

																				68.5		718,620

																				67		743,655

																				53.5		919,325

																				50.5		880,520

																				58		721,477

																				65.5		616,377

																				71		613,758

																				74		621,330

																				71		642,361

																				66.5		651,829

																				68		630,217

																				73.5		609,925

																				59		640,284

																				57.5		665,434

																				59.5		678,943

																				65.5		657,958

																				57.5		820,392

																				53.5		905,316

																				53		841,373

																				54.5		789,101

																				51		929,750

																				55.5		880,388

																				50.5		999,193

																				46.5		1,218,219

																				55.5		1,229,374

																				50.5		931,496

																				46		1,152,333

																				44.5		1,064,534

																				55.5		1,095,268

																				48.5		1,335,533

																				46		1,208,708

																				51.5		1,082,337

																				52		792,340

																				60.5		733,732

																				52.5		1,007,689

																				53		955,603

																				51.5		1,148,945

																				46		1,191,826

																				46.5		1,116,822

																				51.5		1,109,878

																				48		1,125,425

																				48		1,160,446

																				48		1,289,200

																				46		1,352,111

																				42.5		1,544,114

																				36		1,564,678

																				35		1,672,555

																				35.5		1,570,795

																				35.5		1,725,644

																				35		1,793,062

																				35		1,733,962

																				37.5		1,576,400

																				42.5		1,514,838

																				46		1,573,544

																				43		1,369,617

																				41		1,477,113

																				35.5		1,842,309

																				34		1,644,536

																				46		1,327,414

																				44.5		1,392,243

																				42.5		1,335,509

																				47		1,224,241

																				43		1,363,610

																				40.5		1,779,556

																				39		1,724,597

																				41		1,428,825

																				45.5		1,286,303

																				41		1,656,082

																				34		1,730,178

																				35.5		1,602,656

																				37		1,698,537

																				33.5		1,624,241

																				37		1,715,003

																				33		1,788,697

																				35.5		1,676,695

																				35.5		1,609,396

																				36		1,801,718

																				33.5		1,754,759

																				43		1,527,159

																				44		1,541,826

																				39.5		1,599,589

																				42.5		1,436,395

																				43.5		1,474,724

																				32		1,807,344

																				29.5		1,804,733

																				38		1,618,011

																				39.5		1,434,938

																				45.5		1,236,199

																				43.5		1,428,257

																				35.5		1,656,821

																				35		1,800,797

																				34.5		1,685,012

																				35.5		1,888,912

																				26		2,168,355

																				21.5		2,017,971

																				38.5		1,492,475

																				52.5		1,156,591

																				55		1,125,172

																				47		1,332,934

																				51		1,035,253

																				52		1,025,178

																				56.5		901,547

																				56.5		1,143,432

																				43		1,402,312

																				42		1,541,509

																				34		1,605,583

																				40.5		1,767,377

																				29		2,004,989

																				32		1,810,341

																				36.5		1,784,966

																				37		1,605,002

																				33.5		1,604,039

																				35		1,753,477

																				35.5		1,915,444

																				34		1,855,039

																				33		1,805,819

																				39.5		1,602,518

																				40		1,507,565

																				36.5		1,773,374

																				36.5		1,784,404

																				35		1,823,518

																				35.5		1,892,166

																				43		1,487,499

																				42.5		1,545,672

																				39		1,612,910

																				37.5		1,585,412

																				39.5		1,468,269

																				44		1,538,497

																				39.5		1,785,740

																				35.5		1,855,063

																				38.5		1,633,075

																				36.5		1,602,716

																				36		1,687,807

																				37.5		1,627,657

																				41		1,539,054

																				39		1,326,233

																				49		1,450,858

																				40		1,655,599

																				31.5		1,872,234

																				25.5		1,903,469

																				30		1,713,225

																				42.5		1,614,678

																				44		1,669,894

																				46		1,449,452

																				48		1,360,709

																				44.5		1,358,440

																				45.5		1,333,786

																				41		1,656,159

																				39.5		1,759,403

																				43.5		1,541,042

																				50.5		1,357,249

																				47		1,129,148

																				47.5		1,181,109

																				46		1,253,166

																				47.5		1,266,364

																				46.5		1,427,064

																				45.5		1,454,777

																				42		1,580,281

																				40.5		1,399,394

																				44.5		1,225,461

																				43.5		1,467,349

																				51		1,111,780

																				43.5		1,856,899

																				27		2,147,955

																				26		2,085,523

																				30.5		1,756,236

																				39		1,611,774

																				38.5		1,620,648

																				35.5		1,698,873

																				36		1,497,042

																				37.5		1,584,353

																				40.5		1,525,080

																				43.5		1,425,222

																				37.5		1,662,159

																				33.5		1,649,443

																				40		1,579,104

																				41.5		1,528,310

																				39		1,420,067

																				52.5		953,512

																				67.5		673,957

																				70.5		603,249

																				70		660,449

																				71		690,886

																				74		697,040

																				63		753,888

																				56.5		825,563

																				51.5		885,068

																				43.5		1,105,167

																				45.5		1,182,573

																				50		1,147,696

																				55		945,662

																				55		1,016,461

																				45.5		1,344,413

																				47		1,114,213

																				49.5		990,676

																				49		975,355

																				55.5		898,979

																				57		843,606

																				56.5		906,773

																				52		872,679

																				63.5		802,710

																				56.5		739,262

																				53		983,489

																				53		1,024,803

																				58		859,723

																				57.5		850,198

																				51.5		1,080,180

																				60.5		784,266

																				59		772,470

																				48.5		1,140,739

																				48.5		1,087,923

																				52		971,230

																				58		744,112

																				64		712,316

																				60		724,027

																				62		624,862

																				62.5		631,589

																				58.5		744,940

																				58		752,658

																				61		722,780

																				62.5		737,571

																				57		777,773

																				58		738,622

																				56		829,436

																				55		992,970

																				58		970,873

																				54.5		924,025

																				58		788,791

																				68		672,163

																				73.5		613,619

																				61.5		676,779

																				70		706,949

																				75.5		674,592

																				69.5		704,471

																				71.5		719,262

																				62		699,582

																				64		605,809

																				68.5		573,950

																				65		634,142

																				70		706,641

																				68		714,268

																				73		693,973

																				76		663,717

																				76.5		594,659

																				77		610,245

																				68.5		708,668

																				63.5		692,994

																				64		724,066

																				61		731,011

																				62.5		685,128

																				64		612,207

																				62		680,243

																				60		753,722

																				61.5		741,102

																				65		731,809

																				65.5		738,682

																				63		669,740

																				68		585,206

																				68.5		669,173

																				68		702,400

																				75		722,732

																				74		720,100

																				76		705,097

																				77		654,800

																				78.5		588,184

																				74.5		613,452

																				69.5		700,695

																				71		711,284

																				78.5		708,259

																				82.5		692,673

																				84		656,060

																				79.5		586,694

																				71.5		593,878

																				71.5		685,314

																				75		704,957

																				72		691,184

																				73.5		645,189

																				77		571,269

																				75.5		524,135

																				75.5		551,662

																				71		662,727

																				71.5		661,537

																				67		663,866

																				73		666,792

																				77		609,920

																				73.5		547,840

																				76		569,242

																				76.5		654,331

																				78.5		691,115

																				79.5		666,706

																				81.5		674,084

																				81		622,946

																				81.5		565,384

																				78		596,645

																				83		694,179

																				83.5		690,073

																				87.5		676,339

																				85		672,238

																				80.5		624,114

																				75		561,616

																				77.5		587,435

																				76.5		668,793

																				81		685,290

																				83.5		707,798

																				79		672,684

																				74		635,675

																				72.5		574,990

																				72.5		603,643

																				74.5		691,455

																				78.5		678,701

																				76		715,295

																				79		681,665

																				74		650,297

																				74.5		587,051

																				79		532,917

																				79.5		691,206

																				81.5		686,976

																				78		682,094

																				74		691,645

																				73		624,969

																				77		530,605

																				78.5		575,557

																				67		701,369

																				69		689,631

																				74		631,424

																				75		565,924

																				78		583,951

																				83.5		688,189

																				84.5		692,684

																				82		683,214

																				79		694,386

																				78		636,132

																				81		571,833

																				79		608,846

																				79		709,594

																				72.5		695,597

																				71.5		702,356

																				71		689,346

																				73		637,494

																				72		564,664

																				76.5		542,484

																				66.5		684,241

																				62		701,807

																				63.5		660,133

																				67		610,972

																				74		573,274

																				74.5		614,455

																				75		681,453

																				77.5		693,969

																				79.5		697,686

																				70.5		695,308

																				67.5		630,832

																				68.5		575,526

																				74.5		597,646

																				77.5		683,094

																				68.5		703,322

																				60.5		749,826

																				57.5		722,599

																				64		634,602

																				70.5		541,233

																				80		642,268

																				69		712,886

																				62.5		697,002

																				64		682,263

																				65.5		761,262

																				56.5		730,869

																				54		742,682

																				54		774,128

																				61.5		826,578

																				54		861,777

																				57		786,492

																				67		742,080

																				61		714,855

																				61		667,294

																				66		663,456

																				60		673,977

																				60		767,144

																				59.5		852,111

																				55		906,751

																				56.5		826,469

																				56.5		679,033

																				64.5		629,888

																				65		781,881

																				57.5		881,552

																				51.5		1,075,598

																				47.5		1,216,386

																				52		968,520

																				60.5		793,583

																				59.5		771,028

																				56.5		852,019

																				55		894,923

																				56.5		850,398

																				51.5		1,079,548

																				51		1,036,615

																				51		938,295

																				52		961,780

																				49		1,192,497

																				44.5		1,317,673

																				44.5		1,454,854

																				42		1,418,463

																				41.5		1,429,676

																				42		1,143,944

																				46.5		1,209,095

																				48.5		1,293,149

																				47		1,083,225

																				57		1,119,202

																				47		1,274,289

																				46.5		1,225,566

																				49.5		956,739

																				54.5		1,129,039

																				45		1,164,892

																				43		1,440,771

																				42		1,187,011

																				54.5		1,097,275

																				45.5		1,308,228

																				42.5		1,340,581

																				47.5		1,127,103

																				52		1,243,735

																				43		1,220,305

																				49		1,083,971

																				45.5		1,256,426

																				49.5		1,008,903

																				53.5		966,965

																				53.5		1,045,094

																				53.5		1,196,276

																				53.5		1,074,027

																				58		889,709

																				64		791,190

																				56		907,911

																				59.5		813,305

																				62		921,948

																				47		1,273,591

																				44.5		1,475,709

																				38.5		1,453,581

																				40.5		1,519,201

																				37.5		1,390,461

																				40.5		1,459,143

																				36.5		1,708,884

																				38		1,547,526

																				41		1,494,601

																				39		1,632,105

																				37		1,682,275

																				41.5		1,298,247

																				47.5		1,241,258

																				50.5		1,109,789

																				43.5		1,897,309

																				23.5		2,064,770

																				27		1,940,840

																				28		1,887,480

																				26		1,971,731

																				30		1,724,898

																				38.5		1,606,383

																				38.5		1,668,811

																				28		2,232,511

																				21.5		2,072,167

																				20		2,201,100

																				18		2,033,100

																				38.5		1,732,700

																				25		2,282,500

																				22.5		2,142,900

																				23		2,142,300

																				28		2,188,300

																				27.5		2,014,900

																				35.5		1,891,100

																				26		2,111,300

																				22		2,246,400

																				37.5		1,609,800

																				35		1,963,000

																				18		2,400,700

																				30.5		2,056,600

																				33		1,662,600

																				43.5		1,436,000

																				45.5		1,493,000

																				42.5		1,606,700

																				42		1,689,500

																				39.5		1,568,100

																				42.5		1,516,000

																				50.5		1,130,400

																				51.5		1,366,200

																				36.5		1,868,800

																				35.5		1,826,500

																				36.5		1,596,400

																				38.5		1,605,800

																				33		1,831,700

																				30.5		1,936,000

																				23		2,122,300

																				29.5		1,749,200

																				46		1,335,500

																				48		1,445,200

																				43.5		1,611,700

																				39.5		1,699,100

																				38.5		1,592,700

																				37.5		1,673,500

																				33.5		1,901,600

																				36.5		1,693,400

																				43.5		1,554,400

																				43		1,345,100

																				54		1,306,100

																				34.5		1,842,100

																				27.5		1,960,700

																				35		1,642,400

																				44		1,424,000

																				43		1,426,600

																				41		1,629,200

																				37.5		1,654,100

																				35.5		1,709,000

																				30		2,009,900

																				24		2,131,900

																				21		2,028,700

																				30		1,921,200

																				34		1,743,500

																				40		1,621,400

																				42.5		1,357,500

																				45		1,420,900

																				42		1,634,300

																				42		1,541,500

																				45.5		1,288,500

																				42.5		1,910,200

																				37		1,622,500

																				42.5		1,583,300

																				29.5		2,196,900

																				27		2,130,000

																				29		1,946,300

																				35.5		1,852,100

																				34		1,941,700

																				32.5		1,957,300

																				39		1,497,500

																				37.5		1,684,100

																				37.5		1,860,800

																				41		1,537,200

																				51		1,061,700

																				56.5		1,223,100

																				43.5		1,487,800

																				44		1,338,000

																				43		1,345,900

																				44.5		1,613,300

																				44		1,319,800

																				51.5		1,180,900

																				44		1,436,100

																				41		1,359,200

																				44.5		1,151,400

																				46		1,200,300

																				57		1,001,600

																				55.5		1,080,400

																				58.5		875,200

																				56.5		860,200

																				55.5		848,900

																				50.5		814,300

																				53		1,076,100

																				47		1,133,600

																				50.5		978,900

																				60		845,300

																				66.5		764,900

																				53		1,150,700

																				51.5		1,012,100

																				41.5		1,335,900

																				47.5		1,261,700

																				52		1,166,700

																				56		1,027,700

																				57.5		884,100

																				48.5		1,151,000

																				50		1,031,200

																				52		995,000

																				50		1,077,000

																				47.5		1,270,100

																				51.5		1,037,300

																				53.5		944,800

																				50.5		1,162,600

																				50		1,058,500

																				51		899,100

																				61.5		827,100

																				55.5		872,200

																				54		859,600

																				58		855,300

																				55		858,700

																				54		787,300

																				57		767,500

																				56		885,700

																				56.5		791,800

																				65.5		729,400

																				60.5		766,300

																				57.5		774,800

																				60		701,900

																				66		670,800

																				64		740,300

																				60.5		742,000

																				62.5		706,200

																				60.5		780,100

																				57.5		745,100

																				60.5		657,400

																				58		656,700

																				60.5		699,000

																				62.5		678,200

																				62.5		724,000

																				66.5		717,900

																				65		652,100

																				67		618,200

																				62.5		647,800

																				60.5		722,800

																				62.5		726,300

																				65.5		720,600

																				65		718,600

																				69		651,000

																				76		584,600

																				76.5		551,900

																				77		600,200

																				78.5		683,400

																				81		684,300

																				76		692,200

																				71		647,600

																				69		602,900

																				70		624,700

																				84.5		700,200

																				86		697,800

																				75.5		728,100

																				67		721,300

																				64.5		658,800

																				67		581,600

																				74.5		612,700

																				76		708,900

																				74		700,900

																				68		705,300

																				62.5		719,000

																				67		665,400

																				68		582,600

																				67.5		605,400

																				64.5		708,000

																				71.5		687,600

																				76		701,200

																				76.5		706,300

																				73.5		629,500

																				83.5		558,000

																				83		636,100

																				85		684,000

																				84.5		679,800

																				75		661,900

																				76.5		667,400

																				83		615,400

																				80.5		532,400

																				89		530,300

																				92		629,900

																				92		650,300

																				83.5		679,500

																				79.5		681,500

																				76		610,500

																				75		554,300

																				69.5		592,000

																				67		665,100

																				68		674,600

																				66.5		677,300

																				73		669,600

																				81		653,500

																				82.5		610,900

																				82.5		641,900

																				85.5		659,500

																				79.5		670,000

																				77		684,300

																				78.5		685,900

																				83		656,200

																				87.5		617,800

																				88.5		638,700

																				85		688,800

																				87.5		681,300

																				88		680,700

																				82		683,900

																				82		659,100

																				81.5		631,900

																				89		648,500

																				81.5		690,100

																				80		679,900

																				77.5		679,000

																				80		680,100

																				79.5		645,900

																				79.5		561,700

																				78		623,300

																				73.5		674,400

																				70.5		670,800

																				78.5		686,100

																				81		679,400

																				80.5		662,100

																				80.5		583,600

																				74.5		601,800

																				76.5		680,400

																				80.5		686,900

																				80.5		688,700

																				74.5		683,900

																				69.5		634,600

																				62.5		565,000

																				67		602,500

																				72.5		686,100

																				76		706,400

																				74.5		689,100

																				75.5		682,400

																				76.5		670,500

																				78.5		593,400

																				76		599,200

																				65		696,800

																				68.5		687,000

																				71		693,800

																				73.5		694,000

																				73.5		651,600

																				74.5		595,600

																				75		544,000

																				78.5		582,400

																				78		669,500

																				77.5		694,900

																				77		683,000

																				73		645,300

																				72.5		587,500

																				69.5		624,100

																				70		698,300

																				68.5		692,700

																				69.5		692,400

																				67.5		677,500

																				65.5		635,200

																				64.5		600,900

																				64.5		615,600

																				66.5		663,200

																				60.5		712,900

																				55		820,100

																				61		729,500

																				65.5		646,300

																				67		598,700

																				61		648,112

																				64.5		686,000

																				71.5		676,200

																				71.5		675,000

																				64		723,500

																				59.5		684,600

																				62.5		606,500

																				67.5		610,700

																				59		734,300

																				50		978,900

																				54.5		934,600

																				46.5		1,097,600

																				51		808,900

																				63.5		603,700

																				64		618,900

																				63.5		773,400

																				56.5		825,800

																				60.5		722,500

																				54		1,038,700

																				48		942,900

																				57		688,000

																				62.5		695,900

																				54		1,011,400

																				46.5		1,069,200

																				53		1,060,000

																				53		1,079,500

																				53		934,800

																				50		1,080,600

																				47		1,158,000

																				49.5		1,111,400

																				55.5		944,700

																				52.5		1,082,600

																				47.5		1,117,900

																				56		860,000

																				57.5		774,800

																				64.5		716,100

																				59.5		835,200

																				58.5		842,800

																				52		1,354,600

																				44.5		1,367,000

																				51		972,300

																				58.5		921,300

																				45		1,334,700

																				41.5		1,412,700

																				50		944,900

																				63		795,100

																				50		1,405,300

																				41.5		1,174,800

																				50		1,109,600

																				50.5		1,158,400

																				42.5		1,514,800

																				37.5		1,709,400

																				38.5		1,627,500

																				39.5		1,326,900

																				51		1,054,800

																				59		791,000

																				58		866,600

																				54.5		943,800

																				58		858,600

																				61		781,900

																				54		934,900

																				56.5		732,300

																				54.5		1,020,100

																				47.5		1,354,400

																				41.5		1,708,800

																				34		1,966,400

																				29.5		2,028,900

																				38.5		1,660,800

																				44.5		1,250,000

																				53		1,032,300

																				54		964,500

																				54.5		1,133,500

																				45		1,538,900

																				42		1,528,800

																				44.5		1,420,200

																				48.5		1,372,000

																				41.5		1,539,000

																				40.5		1,635,300

																				38.5		1,581,000

																				42		1,595,900

																				44		1,406,700

																				44		1,631,400

																				38		1,629,400

																				38		1,584,900

																				36.5		1,670,200

																				46		1,469,700

																				43.5		1,672,000

																				35.5		1,858,500

																				33.5		1,850,900

																				25.5		2,038,600

																				24		1,959,400

																				28.5		1,904,400

																				32		2,023,800

																				24.5		2,053,300

																				32		1,883,900

																				42		1,514,200

																				37		1,599,400

																				40.5		1,417,500

																				49		1,057,600

																				57.5		1,005,100

																				58		1,193,600

																				38.5		1,945,500

																				34		1,785,000

																				41.5		1,697,900

																				34		1,586,500

																				43		1,320,200

																				51.5		1,388,200

																				45.5		1,572,400

																				42.5		1,572,300

																				29		2,073,800

																				18		2,170,800

																				22		1,838,100

																				35		1,902,300

																				14.5		2,404,900

																				12.5		2,239,500

																				21.5		2,013,400

																				26		2,048,200

																				16		2,351,700

																				14		2,126,800

																				23.5		1,945,600

																				32.5		1,882,900

																				27		2,172,800

																				27		2,054,600

																				17.5		2,262,600

																				18		2,189,300

																				26		1,964,800

																				28.5		1,876,900

																				33		1,989,300

																				31.5		2,143,000

																				26		2,206,200

																				27.5		2,038,000

																				28.5		1,970,100

																				30.5		1,907,600

																				32		1,912,700

																				35		1,993,600

																				26		2,160,100

																				34.5		1,780,600

																				41		1,504,400

																				40		1,777,600

																				28		2,038,100

																				31.5		1,704,700

																				46.5		1,597,600

																				38		1,845,700

																				42.5		1,689,000

																				33.5		1,991,900

																				32.5		1,949,800

																				32		1,824,600

																				35		1,783,600

																				36.5		1,806,600

																				41		1,625,000

																				45		1,368,000

																				54.5		1,093,500

																				48		1,355,300

																				42.5		1,359,300

																				49.5		1,191,900

																				49.5		1,565,000

																				45.5		1,504,200

																				41.5		1,436,200

																				42.5		1,705,600

																				42		1,620,200

																				44		1,277,700

																				50.5		1,308,900

																				46.5		1,398,100

																				50.5		1,056,200

																				57.5		1,018,100

																				60.5		885,200

																				53.5		1,127,600

																				42		1,408,800

																				42.5		1,623,500

																				40		1,558,600

																				46.5		1,363,900

																				53.5		1,087,100

																				58		1,077,200

																				40.5		1,915,500

																				30		1,669,000

																				35.5		1,562,400

																				40.5		1,579,100

																				41.5		1,695,400

																				45.5		1,493,900

																				50.5		1,077,300

																				57.5		910,900

																				58		799,900

																				58.5		1,043,000

																				49		1,018,100

																				53.5		1,119,100

																				50		1,290,100

																				50.5		1,228,700

																				49.5		1,156,500

																				52.5		842,300

																				57		825,100

																				63		822,300

																				57.5		1,047,700

																				43.5		1,474,000

																				54.5		963,700

																				58		869,500

																				64		854,400

																				40.5		1,511,600

																				46		1,343,200

																				41.5		1,425,100

																				46.5		1,432,800

																				43.5		1,374,600

																				45		1,046,700

																				54		810,000

																				64.5		791,300

																				47.5		1,440,400

																				43.5		1,469,500

																				52.5		1,062,100

																				55.5		937,900

																				48		1,189,700

																				48		1,100,400

																				49		1,161,300

																				57		944,600

																				52.5		1,185,500

																				44.5		1,318,100

																				45.5		1,227,600

																				53.5		1,032,700

																				55.5		761,000

																				57.5		908,100

																				56		851,500

																				61.5		887,700

																				56.5		863,800

																				60.5		775,900

																				73.5		692,400

																				76.5		603,100

																				80.5		633,900

																				81		717,800

																				83		717,800

																				66.5		804,600

																				65		749,900

																				63		708,400

																				65		615,300

																				64.5		663,700

																				59.5		801,000

																				60.5		757,900

																				64.5		713,800

																				71		698,300

																				56.5		811,500

																				49.5		856,400

																				54		826,400

																				55		889,800

																				58.5		766,200

																				69		693,900

																				68		708,700

																				68		691,500

																				62		644,400

																				62		603,100

																				60		715,700

																				58.5		826,200

																				61		755,100

																				73		721,200

																				81.5		680,400

																				68		619,700

																				65		650,100

																				65		760,000

																				56		876,900

																				63		756,800

																				69.5		733,200

																				78		685,600

																				82.5		651,400

																				84		670,700

																				66.5		746,300

																				59.5		778,900

																				58.5		783,000

																				67		743,500

																				78		680,100

																				82		643,800

																				69.5		684,700

																				67.5		741,800

																				72.5		733,500

																				75		722,200

																				78		724,900

																				74.5		696,900

																				75		638,900

																				82		651,700

																				83		714,500

																				81		692,400

																				74.5		719,600

																				70.5		713,500

																				73		668,900

																				75.5		619,800

																				76.5		632,100

																				79.5		616,000

																				79.5		623,900

																				79		668,800

																				72		678,300

																				72.5		673,700

																				71		645,600

																				73.5		655,200

																				82.5		687,700

																				77		692,200





PSE&G Model

		



Fit

Data

Tavg

Load (bcf)

PSE&G Fit (GS Data)



Data LILCO

		



Fit

Data

Tavg

Load

Figure 3 Daily Load Data



PSE&G Data

		



Data

Tavg

Load

Figure 1 Daily Gas Load Data



		LILCO TOTAL SENDOUT

				Load		Tavg		WSS		WS-NYCP

		10/1/96		92,497		61		18.49		4.3

		10/2/96		86,253		63		39.69		6.3

		10/3/96		125,616		53		92.16		9.6

		10/4/96		173,398		46		81		9

		10/5/96		159,284		47.5		46.24		6.8

		10/6/96		147,002		49.5		25		5

		10/7/96		110,536		54.5		9		3

		10/8/96		127,692		57.5		86.49		9.3

		10/9/96		106,225		61		29.16		5.4

		10/10/96		138,459		55		49		7

		10/11/96		185,084		49.5		50.41		7.1

		10/12/96		163,178		47		10.24		3.2

		10/13/96		118,301		56		32.49		5.7

		10/14/96		120,630		63.5		88.36		9.4

		10/15/96		164,429		51.5		50.41		7.1

		10/16/96		111,033		59		51.84		7.2

		10/17/96		94,677		67		7.29		2.7

		10/18/96		123,622		58		104.04		10.2

		10/19/96		143,627		53		148.84		12.2

		10/20/96		139,718		50.5		16.81		4.1

		10/21/96		164,367		52.5		14.44		3.8

		10/22/96		152,377		55		18.49		4.3

		10/23/96		111,460		60.5		36		6

		10/24/96		118,871		58		65.61		8.1

		10/25/96		127,061		57.5		23.04		4.8

		10/26/96		141,080		54.5		22.09		4.7

		10/27/96		105,358		58		18.49		4.3

		10/28/96		147,115		57		84.64		9.2

		10/29/96		169,603		52		38.44		6.2

		10/30/96		154,497		57.5		36		6

		10/31/96		170,476		53.5		84.64		9.2

		11/1/96		251,418		43.5		49		7

		11/2/96		261,270		43.5		64		8

		11/3/96		258,913		40.5		64		8

		11/4/96		223,966		42.5		36		6

		11/5/96		168,572		49.5		16		4

		11/6/96		145,750		55.5		49		7

		11/7/96		107,663		62.5		81		9

		11/8/96		100,005		66.5		144		12

		11/9/96		179,846		55		49		7

		11/10/96		252,730		42		36		6

		11/11/96		300,271		37		49		7

		11/12/96		331,326		37.5		49		7

		11/13/96		326,378		34.5		25		5

		11/14/96		358,294		33		49		7

		11/15/96		370,900		31.5		49		7

		11/16/96		336,971		33.5		4		2

		11/17/96		266,852		41.5		4		2

		11/18/96		233,128		46		9		3

		11/19/96		270,662		44.5		36		6

		11/20/96		322,685		38		64		8

		11/21/96		328,938		37.5		64		8

		11/22/96		307,537		40.5		49		7

		11/23/96		263,008		40.5		25		5

		11/24/96		263,258		41.5		16		4

		11/25/96		194,729		47		16		4

		11/26/96		258,696		45.5		100		10

		11/27/96		406,015		29.5		81		9

		11/28/96		388,767		26.5		36		6

		11/29/96		353,247		33		16		4

		11/30/96		266,022		36.5		49		7

		12/1/96		194,050		53		121		11

		12/2/96		280,165		47		49		7

		12/3/96		293,724		39.5		36		6

		12/4/96		297,446		43		25		5

		12/5/96		286,105		38.5		81		9

		12/6/96		333,283		40		49		7

		12/7/96		314,164		39.5		49		7

		12/8/96		309,415		40.5		25		5

		12/9/96		348,716		35.5		49		7

		12/10/96		317,207		36		36		6

		12/11/96		261,756		40.5		64		8

		12/12/96		275,565		46.5		169		13

		12/13/96		293,146		42.5		144		12

		12/14/96		306,182		40		121		11

		12/15/96		292,914		41		64		8

		12/16/96		265,233		43		49		7

		12/17/96		211,182		51		25		5

		12/18/96		200,038		50		16		4

		12/19/96		321,533		39		81		9

		12/20/96		455,035		26		121		11

		12/21/96		412,653		25.5		36		6

		12/22/96		351,504		30		25		5

		12/23/96		285,934		39.5		25		5

		12/24/96		243,663		50.5		121		11

		12/25/96		358,238		36		64		8

		12/26/96		345,062		31.5		4		2

		12/27/96		282,253		42.5		25		5

		12/28/96		249,428		41		36		6

		12/29/96		214,916		50		81		9

		12/30/96		296,015		41.5		81		9

		12/31/96		467,404		25		81		9

		1/1/97		443,274		20		25		5

		1/2/97		320,849		34.5		36		6

		1/3/97		208,078		51		25		5

		1/4/97		238,228		46		36		6

		1/5/97		225,750		48.5		49		7

		1/6/97		311,464		43		144		12

		1/7/97		418,588		32		196		14

		1/8/97		420,033		31.5		100		10

		1/9/97		391,730		30.5		36		6

		1/10/97		355,965		34.5		81		9

		1/11/97		443,189		26		121		11

		1/12/97		475,206		22		100		10

		1/13/97		448,271		25		100		10

		1/14/97		435,377		25.5		64		8

		1/15/97		377,465		28.5		49		7

		1/16/97		375,831		34.5		169		13

		1/17/97		531,578		17.5		144		12

		1/18/97		547,294		12.5		100		10

		1/19/97		503,270		12		64		8

		1/20/97		406,032		24		81		9

		1/21/97		399,602		33		36		6

		1/22/97		295,263		38.5		49		7

		1/23/97		317,578		40		121		11

		1/24/97		373,347		32		100		10

		1/25/97		312,338		41.5		121		11

		1/26/97		434,476		29		64		8

		1/27/97		406,169		29		81		9

		1/28/97		390,013		38.5		100		10

		1/29/97		454,436		26.5		49		7

		1/30/97		432,900		25		100		10

		1/31/97		355,869		32.5		9		3

		2/1/97		295,272		43.5		49		7

		2/2/97		290,539		39.5		16		4

		2/3/97		319,124		41		49		7

		2/4/97		357,543		34		100		10

		2/5/97		288,120		44.5		100		10

		2/6/97		343,306		37.5		81		9

		2/7/97		347,098		36		25		5

		2/8/97		407,988		30		100		10

		2/9/97		392,441		31		36		6

		2/10/97		401,745		29		64		8

		2/11/97		363,276		33		16		4

		2/12/97		389,752		32.5		100		10

		2/13/97		392,513		28.5		64		8

		2/14/97		309,856		36		36		6

		2/15/97		326,127		40.5		81		9

		2/16/97		347,465		31.5		36		6

		2/17/97		390,029		29		81		9

		2/18/97		283,419		45		100		10

		2/19/97		204,763		56		144		12

		2/20/97		265,632		44		64		8

		2/21/97		212,261		49.5		64		8

		2/22/97		242,118		54		121		11

		2/23/97		298,705		40		64		8

		2/24/97		344,951		37		169		13

		2/25/97		405,753		26		64		8

		2/26/97		255,546		42		64		8

		2/27/97		170,988		60		121		11

		2/28/97		244,570		51		16		4

		3/1/97		275,552		42		9		3

		3/2/97		235,426		51.5		49		7

		3/3/97		351,796		37.5		121		11

		3/4/97		343,822		34.5		25		5

		3/5/97		288,433		41		64		8

		3/6/97		334,822		42		256		16

		3/7/97		352,502		36.5		64		8

		3/8/97		317,898		42.5		121		11

		3/9/97		346,097		30		64		8

		3/10/97		264,789		42		36		6

		3/11/97		309,132		43.5		121		11

		3/12/97		343,854		38		144		12

		3/13/97		354,999		33		64		8

		3/14/97		309,416		42.5		100		10

		3/15/97		331,795		40		144		12

		3/16/97		396,784		30.5		64		8

		3/17/97		324,859		35.5		81		9

		3/18/97		280,863		42.5		64		8

		3/19/97		333,733		37		64		8

		3/20/97		333,495		41.5		49		7

		3/21/97		247,022		43		49		7

		3/22/97		282,530		45.5		144		12

		3/23/97		353,391		33.5		81		9

		3/24/97		323,060		36		36		6

		3/25/97		275,499		44.5		121		11

		3/26/97		268,136		51		121		11

		3/27/97		179,833		51.5		25		5

		3/28/97		159,421		55		36		6

		3/29/97		179,997		49		36		6

		3/30/97		138,055		58		81		9

		3/31/97		342,781		44		196		14

		4/1/97		345,001		41.5		100		10

		4/2/97		239,959		49		100		10

		4/3/97		188,066		51.5		25		5

		4/4/97		138,013		59.5		81		9

		4/5/97		171,303		51		36		6

		4/6/97		168,573		55		25		5

		4/7/97		136,209		62.5		121		11

		4/8/97		214,417		49.5		144		12

		4/9/97		341,574		36.5		144		12

		4/10/97		288,742		39		49		7

		4/11/97		235,172		44.5		36		6

		4/12/97		204,576		46		49		7

		4/13/97		157,103		57.5		121		11

		4/14/97		217,070		49		81		9

		4/15/97		215,682		46		25		5

		4/16/97		168,130		52		64		8

		4/17/97		199,890		51		25		5

		4/18/97		327,933		41		169		13

		4/19/97		246,177		46.5		81		9

		4/20/97		186,398		49		36		6

		4/21/97		182,122		50		36		6

		4/22/97		156,512		52		25		5

		4/23/97		167,677		53.5		36		6

		4/24/97		215,002		50.5		64		8

		4/25/97		157,225		52.5		25		5

		4/26/97		135,995		58		25		5

		4/27/97		138,281		54.5		81		9

		4/28/97		162,501		56		64		8

		4/29/97		129,716		59.5		25		5

		4/30/97		119,575		61		64		8

		5/1/97		133,369		63.5		100		10

		5/2/97		131,234		57.5		64		8

		5/3/97		151,010		61		64		8

		5/4/97		151,256		57		36		6

		5/5/97		139,632		55.5		49		7

		5/6/97		167,443		59		100		10

		5/7/97		194,976		50		144		12

		5/8/97		144,442		52		49		7

		5/9/97		141,072		53.5		16		4

		5/10/97		139,450		57		100		10

		5/11/97		119,327		58		64		8

		5/12/97		107,625		65.5		49		7

		5/13/97		123,637		57		25		5

		5/14/97		115,030		56.5		49		7

		5/15/97		104,594		64		81		9

		5/16/97		131,336		56.5		100		10

		5/17/97		122,013		57		64		8

		5/18/97		113,300		56.5		25		5

		5/19/97		94,733		69		16		4

		5/20/97		102,649		62		64		8

		5/21/97		122,438		57		100		10

		5/22/97		128,056		56.5		100		10

		5/23/97		103,638		60		36		6

		5/24/97		93,172		64.5		16		4

		5/25/97		95,486		61.5		9		3

		5/26/97		101,189		63.5		121		11

		5/27/97		119,695		56.5		36		6

		5/28/97		103,632		60		16		4

		5/29/97		103,080		59		25		5

		5/30/97		95,907		63		16		4

		5/31/97		94,134		66		25		5

		6/1/97		89,939		69.5		169		13

		6/2/97		122,553		57.5		169		13

		6/3/97		127,096		56		100		10

		6/4/97		109,746		59.5		36		6

		6/5/97		102,787		61.5		16		4

		6/6/97		102,512		59		36		6

		6/7/97		103,676		59.5		25		5

		6/8/97		104,869		60.5		25		5

		6/9/97		97,854		63		25		5

		6/10/97		89,156		74		16		4

		6/11/97		88,885		79.5		25		5

		6/12/97		86,592		79		36		6

		6/13/97		86,198		73.5		25		5

		6/14/97		85,233		73		25		5

		6/15/97		91,484		64.5		25		5

		6/16/97		86,359		63.5		16		4

		6/17/97		88,915		63.5		16		4

		6/18/97		94,212		66		16		4

		6/19/97		85,834		74.5		4		2

		6/20/97		83,582		76.5		16		4

		6/21/97		85,232		82		49		7

		6/22/97		83,793		83.5		25		5

		6/23/97		83,835		78		16		4

		6/24/97		84,671		75		4		2

		6/25/97		84,335		83.5		25		5

		6/26/97		84,400		83		25		5

		6/27/97		82,284		78		16		4

		6/28/97		76,838		75.5		16		4

		6/29/97		79,165		77.5		36		6

		6/30/97		80,310		77.5		25		5

		7/1/97		82,149		77.5		16		4

		7/2/97		80,761		73		16		4

		7/3/97		76,940		81		49		7

		7/4/97		74,719		79.5		81		9

		7/5/97		73,139		73.5		9		3

		7/6/97		78,112		72		36		6

		7/7/97		80,105		75		16		4

		7/8/97		81,012		76.5		25		5

		7/9/97		84,211		80.5		25		5

		7/10/97		81,277		73.5		16		4

		7/11/97		75,220		74.5		1		1

		7/12/97		77,395		78		9		3

		7/13/97		76,608		82		4		2

		7/14/97		83,460		84		25		5

		7/15/97		80,093		88.5		16		4

		7/16/97		82,708		83		4		2

		7/17/97		82,396		87		25		5

		7/18/97		78,974		82		25		5

		7/19/97		74,445		75		64		8

		7/20/97		78,151		70		16		4

		7/21/97		79,644		75		36		6

		7/22/97		81,088		72		9		3

		7/23/97		82,775		72.5		144		12

		7/24/97		85,629		63.5		144		12

		7/25/97		82,555		70.5		4		2

		7/26/97		78,029		75.5		4		2

		7/27/97		83,109		82.5		9		3

		7/28/97		84,407		81.5		36		6

		7/29/97		82,491		75.5		16		4

		7/30/97		86,299		71		16		4

		7/31/97		82,791		75.5		16		4

		8/1/97		83,166		78		36		6

		8/2/97		75,763		80.5		36		6

		8/3/97		79,389		79.5		9		3

		8/4/97		82,695		72.5		25		5

		8/5/97		82,477		71		25		5

		8/6/97		82,679		70.5		25		5

		8/7/97		85,352		71.5		9		3

		8/8/97		80,420		71.5		9		3

		8/9/97		78,130		76		25		5

		8/10/97		81,876		75.5		49		7

		8/11/97		80,614		76		49		7

		8/12/97		80,352		76		25		5

		8/13/97		87,172		77.5		25		5

		8/14/97		85,030		78.5		9		3

		8/15/97		79,765		75.5		36		6

		8/16/97		75,489		85.5		25		5

		8/17/97		74,041		83		36		6

		8/18/97		81,095		71		25		5

		8/19/97		81,412		67.5		25		5

		8/20/97		84,805		67		81		9

		8/21/97		81,292		69.5		9		3

		8/22/97		80,289		71		36		6

		8/23/97		79,367		67.5		25		5

		8/24/97		79,530		67.5		9		3

		8/25/97		82,317		71.5		4		2

		8/26/97		83,851		72		25		5

		8/27/97		85,273		71.5		36		6

		8/28/97		81,220		69.5		4		2

		8/29/97		83,821		73.5		16		4

		8/30/97		78,216		72.5		9		3

		8/31/97		69,932		72.5		16		4

		9/1/97		79,842		76		1		1

		9/2/97		85,758		77.5		49		7

		9/3/97		86,875		66		64		8

		9/4/97		84,666		61.5		36		6

		9/5/97		81,820		64		16		4

		9/6/97		78,286		68.5		25		5

		9/7/97		82,718		71.5		9		3

		9/8/97		85,244		69		49		7

		9/9/97		86,454		67.5		81		9

		9/10/97		83,307		66		64		8

		9/11/97		83,385		72		25		5

		9/12/97		78,232		74		9		3

		9/13/97		80,805		71		25		5

		9/14/97		82,975		71		9		3

		9/15/97		81,266		70.5		16		4

		9/16/97		82,377		71.5		36		6

		9/17/97		82,148		68		16		4

		9/18/97		82,571		73		4		2

		9/19/97		79,026		71		36		6

		9/20/97		80,215		71.5		64		8

		9/21/97		95,363		58.5		36		6

		9/22/97		89,677		56.5		36		6

		9/23/97		94,610		60		36		6

		9/24/97		115,231		55.5		36		6

		9/25/97		93,797		56.5		36		6

		9/26/97		90,191		64		36		6

		9/27/97		91,176		58		36		6

		9/28/97		85,657		61.5		100		10

		9/29/97		82,195		68.5		100		10

		9/30/97		90,779		67		81		9

		10/1/97		126,895		53.5		64		8

		10/2/97		118,305		50.5		25		5

		10/3/97		102,598		58		16		4

		10/4/97		85,518		65.5		36		6

		10/5/97		85,277		71		1		1

		10/6/97		86,936		74		16		4

		10/7/97		89,277		71		16		4

		10/8/97		88,039		66.5		9		3

		10/9/97		87,313		68		36		6

		10/10/97		84,016		73.5		64		8

		10/11/97		101,453		59		16		4

		10/12/97		109,666		57.5		4		2

		10/13/97		109,604		59.5		9		3

		10/14/97		90,925		65.5		36		6

		10/15/97		120,088		57.5		64		8

		10/16/97		155,694		53.5		49		7

		10/17/97		154,074		53		25		5

		10/18/97		135,764		54.5		25		5

		10/19/97		164,870		51		64		8

		10/20/97		145,880		55.5		49		7

		10/21/97		174,423		50.5		64		8

		10/22/97		228,241		46.5		81		9

		10/23/97		228,128		55.5		36		6

		10/24/97		151,442		50.5		25		5

		10/25/97		213,996		46		64		8

		10/26/97		176,965		44.5		36		6

		10/27/97		184,791		55.5		121		11

		10/28/97		256,279		48.5		64		8

		10/29/97		218,823		46		25		5

		10/30/97		181,785		51.5		4		2

		10/31/97		89,104		52		36		6

		11/1/97		109,685		60.5		64		8

		11/2/97		165,316		52.5		49		7

		11/3/97		147,907		53		36		6

		11/4/97		192,849		51.5		64		8

		11/5/97		219,587		46		25		5

		11/6/97		195,125		46.5		169		13

		11/7/97		198,418		51.5		289		17

		11/8/97		220,515		48		144		12

		11/9/97		222,354		48		49		7

		11/10/97		228,646		48		64		8

		11/11/97		259,064		46		36		6

		11/12/97		304,574		42.5		64		8

		11/13/97		307,722		36		121		11

		11/14/97		341,367		35		81		9

		11/15/97		326,764		35.5		64		8

		11/16/97		369,188		35.5		100		10

		11/17/97		357,946		35		49		7

		11/18/97		344,011		35		9		3

		11/19/97		302,281		37.5		36		6

		11/20/97		297,119		42.5		4		2

		11/21/97		211,043		46		49		7

		11/22/97		275,237		43		49		7

		11/23/97		302,127		41		36		6

		11/24/97		382,825		35.5		121		11

		11/25/97		327,671		34		81		9

		11/26/97		244,662		46		144		12

		11/27/97		283,053		44.5		64		8

		11/28/97		259,312		42.5		36		6

		11/29/97		256,315		47		4		2

		11/30/97		256,467		43		64		8

		12/1/97		360,059		40.5		225		15

		12/2/97		348,105		39		81		9

		12/3/97		268,336		41		25		5

		12/4/97		239,947		45.5		9		3

		12/5/97		325,880		41		49		7

		12/6/97		365,055		34		64		8

		12/7/97		339,145		35.5		100		10

		12/8/97		335,771		37		25		5

		12/9/97		325,754		33.5		1		1

		12/10/97		343,316		37		100		10

		12/11/97		362,574		33		25		5

		12/12/97		339,403		35.5		25		5

		12/13/97		331,791		35.5		64		8

		12/14/97		387,864		36		64		8

		12/15/97		357,478		33.5		25		5

		12/16/97		289,933		43		4		2

		12/17/97		291,555		44		4		2

		12/18/97		319,184		39.5		9		3

		12/19/97		259,764		42.5		9		3

		12/20/97		301,414		43.5		16		4

		12/21/97		395,766		32		9		3

		12/22/97		373,909		29.5		36		6

		12/23/97		344,941		38		49		7

		12/24/97		287,623		39.5		36		6

		12/25/97		237,322		45.5		49		7

		12/26/97		287,452		43.5		36		6

		12/27/97		350,703		35.5		49		7

		12/28/97		370,372		35		16		4

		12/29/97		329,796		34.5		169		13

		12/30/97		400,863		35.5		144		12

		12/31/97		487,263		26		121		11

		1/1/98		441,597		21.5		100		10

		1/2/98		299,176		38.5		81		9

		1/3/98		216,946		52.5		64		8

		1/4/98		200,566		55		49		7

		1/5/98		240,649		47		9		3

		1/6/98		185,971		51		25		5

		1/7/98		236,669		52		100		10

		1/8/98		179,224		56.5		64		8

		1/9/98		230,820		56.5		64		8

		1/10/98		282,417		43		36		6

		1/11/98		313,953		42		49		7

		1/12/98		319,036		34		49		7

		1/13/98		357,644		40.5		121		11

		1/14/98		419,204		29		36		6

		1/15/98		361,657		32		169		13

		1/16/98		396,233		36.5		169		13

		1/17/98		334,824		37		64		8

		1/18/98		361,752		33.5		36		6

		1/19/98		371,458		35		25		5

		1/20/98		388,464		35.5		100		10

		1/21/98		372,769		34		36		6

		1/22/98		368,592		33		81		9

		1/23/98		309,257		39.5		64		8

		1/24/98		308,393		40		121		11

		1/25/98		368,397		36.5		64		8

		1/26/98		355,586		36.5		36		6

		1/27/98		367,165		35		256		16

		1/28/98		394,895		35.5		169		13

		1/29/98		296,406		43		16		4

		1/30/98		301,148		42.5		81		9

		1/31/98		335,197		39		36		6

		2/1/98		340,492		37.5		4		2

		2/2/98		284,421		39.5		16		4

		2/3/98		296,878		44		100		10

		2/4/98		375,395		39.5		361		19

		2/5/98		407,954		35.5		144		12

		2/6/98		336,137		38.5		36		6

		2/7/98		344,055		36.5		196		14

		2/8/98		374,475		36		49		7

		2/9/98		337,958		37.5		9		3

		2/10/98		298,577		41		25		5

		2/11/98		241,037		39		49		7

		2/12/98		273,642		49		121		11

		2/13/98		337,527		40		81		9

		2/14/98		412,885		31.5		64		8

		2/15/98		423,058		25.5		16		4

		2/16/98		354,746		30		64		8

		2/17/98		321,860		42.5		289		17

		2/18/98		293,077		44		36		6

		2/19/98		265,082		46		36		6

		2/20/98		261,109		48		64		8

		2/21/98		281,636		44.5		100		10

		2/22/98		262,024		45.5		36		6

		2/23/98		333,481		41		324		18

		2/24/98		356,776		39.5		144		12

		2/25/98		294,250		43.5		169		13

		2/26/98		245,075		50.5		49		7

		2/27/98		222,135		47		9		3

		2/28/98		229,827		47.5		64		8

		3/1/98		267,100		46		4		2

		3/2/98		248,414		47.5		16		4

		3/3/98		275,270		46.5		25		5

		3/4/98		271,196		45.5		36		6

		3/5/98		295,364		42		36		6

		3/6/98		273,684		40.5		36		6

		3/7/98		257,506		44.5		81		9

		3/8/98		298,322		43.5		196		14

		3/9/98		224,326		51		100		10

		3/10/98		381,505		43.5		169		13

		3/11/98		465,676		27		121		11

		3/12/98		464,303		26		64		8

		3/13/98		381,358		30.5		81		9

		3/14/98		350,205		39		100		10

		3/15/98		351,660		38.5		49		7

		3/16/98		346,584		35.5		49		7

		3/17/98		304,532		36		49		7

		3/18/98		331,403		37.5		100		10

		3/19/98		319,607		40.5		64		8

		3/20/98		297,234		43.5		121		11

		3/21/98		376,249		37.5		169		13

		3/22/98		373,428		33.5		49		7

		3/23/98		299,288		40		36		6

		3/24/98		291,178		41.5		16		4

		3/25/98		280,444		39		64		8

		3/26/98		201,011		52.5		64		8

		3/27/98		110,064		67.5		81		9

		3/28/98		128,263		70.5		81		9

		3/29/98		98,669		70		36		6

		3/30/98		99,367		71		49		7

		3/31/98		103,382		74		64		8

		4/1/98		143,136		63		46.24		6.8

		4/2/98		176,061		56.5		28.09		5.3

		4/3/98		178,590		51.5		56.25		7.5

		4/4/98		252,445		43.5		146.41		12.1

		4/5/98		237,271		45.5		102.01		10.1

		4/6/98		205,131		50		57.76		7.6

		4/7/98		166,738		55		30.25		5.5

		4/8/98		187,705		55		62.41		7.9

		4/9/98		272,595		45.5		171.61		13.1

		4/10/98		225,780		47		46.24		6.8

		4/11/98		200,528		49.5		25		5

		4/12/98		193,000		49		30.25		5.5

		4/13/98		150,558		55.5		32.49		5.7

		4/14/98		150,473		57		53.29		7.3

		4/15/98		173,330		56.5		10.24		3.2

		4/16/98		161,129		52		50.41		7.1

		4/17/98		157,436		63.5		22.09		4.7

		4/18/98		136,270		56.5		28.09		5.3

		4/19/98		196,097		53		44.89		6.7

		4/20/98		176,832		53		49		7

		4/21/98		145,895		58		10.89		3.3

		4/22/98		142,455		57.5		33.64		5.8

		4/23/98		238,956		51.5		65.61		8.1

		4/24/98		128,220		60.5		32.49		5.7

		4/25/98		141,517		59		72.25		8.5

		4/26/98		229,968		48.5		46.24		6.8

		4/27/98		204,751		48.5		31.36		5.6

		4/28/98		172,310		52		37.21		6.1

		4/29/98		124,113		58		36		6

		4/30/98		109,989		64		28.09		5.3

		5/1/98		121,679		60		39.69		6.3

		5/2/98		111,892		62		36		6

		5/3/98		112,086		62.5		22.09		4.7

		5/4/98		121,110		58.5		40.96		6.4

		5/5/98		116,904		58		39.69		6.3

		5/6/98		108,632		61		29.16		5.4

		5/7/98		112,364		62.5		5.29		2.3

		5/8/98		127,476		57		123.21		11.1

		5/9/98		135,036		58		136.89		11.7

		5/10/98		162,753		56		146.41		12.1

		5/11/98		186,693		55		174.24		13.2

		5/12/98		173,145		58		225		15

		5/13/98		160,489		54.5		56.25		7.5

		5/14/98		132,610		58		13.69		3.7

		5/15/98		102,210		68		10.24		3.2

		5/16/98		92,849		73.5		34.81		5.9

		5/17/98		117,299		61.5		34.81		5.9

		5/18/98		98,828		70		23.04		4.8

		5/19/98		92,553		75.5		39.69		6.3

		5/20/98		92,946		69.5		24.01		4.9

		5/21/98		91,130		71.5		60.84		7.8

		5/22/98		102,765		62		79.21		8.9

		5/23/98		93,525		64		40.96		6.4

		5/24/98		83,122		68.5		25		5

		5/25/98		94,965		65		16		4

		5/26/98		90,941		70		15.21		3.9

		5/27/98		88,802		68		15.21		3.9

		5/28/98		89,880		73		28.09		5.3

		5/29/98		89,341		76		50.41		7.1

		5/30/98		84,418		76.5		19.36		4.4

		5/31/98		86,079		77		27.3877777778		5.2333333333

		6/1/98		93,103		68.5		36.8044444444		6.0666666667

		6/2/98		91,732		63.5		47.61		6.9

		6/3/98		96,562		64		114.49		10.7

		6/4/98		95,913		61		75.69		8.7

		6/5/98		93,309		62.5		84.64		9.2

		6/6/98		90,202		64		53.29		7.3

		6/7/98		98,320		62		53.29		7.3

		6/8/98		96,823		60		65.61		8.1

		6/9/98		95,426		61.5		26.01		5.1

		6/10/98		91,696		65		25		5

		6/11/98		92,974		65.5		44.89		6.7

		6/12/98		88,254		63		47.61		6.9

		6/13/98		86,128		68		16.81		4.1

		6/14/98		85,946		68.5		26.01		5.1

		6/15/98		87,529		68		21.16		4.6

		6/16/98		86,470		75		22.09		4.7

		6/17/98		89,831		74		39.69		6.3

		6/18/98		89,818		76		30.25		5.5

		6/19/98		88,435		77		18.49		4.3

		6/20/98		81,908		78.5		16		4

		6/21/98		82,261		74.5		34.81		5.9

		6/22/98		88,302		69.5		17.64		4.2

		6/23/98		83,688		71		17.64		4.2

		6/24/98		93,528		78.5		13.69		3.7

		6/25/98		84,356		82.5		23.04		4.8

		6/26/98		86,247		84		51.84		7.2

		6/27/98		81,652		79.5		72.25		8.5

		6/28/98		79,560		71.5		33.64		5.8

		6/29/98		86,001		71.5		67.24		8.2

		6/30/98		85,503		75		40.96		6.4

		7/1/98		87,631		72		90.25		9.5

		7/2/98		80,019		73.5		24.01		4.9

		7/3/98		82,540		77		21.16		4.6

		7/4/98		69,851		75.5		12.96		3.6

		7/5/98		81,408		75.5		56.25		7.5

		7/6/98		83,718		71		30.25		5.5

		7/7/98		81,261		71.5		19.36		4.4

		7/8/98		86,691		67		20.25		4.5

		7/9/98		86,418		73		16		4

		7/10/98		84,872		77		43.56		6.6

		7/11/98		75,593		73.5		62.41		7.9

		7/12/98		86,945		76		15.21		3.9

		7/13/98		96,470		76.5		37.21		6.1

		7/14/98		85,828		78.5		53.29		7.3

		7/15/98		85,597		79.5		38.44		6.2

		7/16/98		87,759		81.5		14.44		3.8

		7/17/98		79,093		81		7.29		2.7

		7/18/98		82,574		81.5		19.36		4.4

		7/19/98		76,895		78		38.44		6.2

		7/20/98		86,388		83		42.25		6.5

		7/21/98		84,467		83.5		12.96		3.6

		7/22/98		81,485		87.5		46.24		6.8

		7/23/98		85,749		85		25		5

		7/24/98		84,334		80.5		32.49		5.7

		7/25/98		77,732		75		14.44		3.8

		7/26/98		79,181		77.5		30.25		5.5

		7/27/98		85,137		76.5		46.24		6.8

		7/28/98		81,672		81		56.25		7.5

		7/29/98		83,156		83.5		38.44		6.2

		7/30/98		88,521		79		12.96		3.6

		7/31/98		81,849		74		17.2225		4.15

		8/1/98		78,869		72.5		22.09		4.7

		8/2/98		82,799		72.5		20.25		4.5

		8/3/98		82,723		74.5		21.16		4.6

		8/4/98		86,011		78.5		19.36		4.4

		8/5/98		83,105		76		10.24		3.2

		8/6/98		84,297		79		14.44		3.8

		8/7/98		83,895		74		33.64		5.8

		8/8/98		75,708		74.5		36		6

		8/9/98		78,862		79		29.16		5.4

		8/10/98		81,435		79.5		47.61		6.9

		8/11/98		85,286		81.5		21.16		4.6

		8/12/98		82,551		78		51.84		7.2

		8/13/98		82,288		74		47.61		6.9

		8/14/98		83,968		73		43.56		6.6

		8/15/98		81,621		77		24.01		4.9

		8/16/98		76,397		78.5		8.41		2.9

		8/17/98		84,468		78		25		5

		8/18/98		85,220		77.5		36		6

		8/19/98		84,994		67		72.25		8.5

		8/20/98		85,949		69		17.64		4.2

		8/21/98		83,419		74		12.25		3.5

		8/22/98		80,189		75		31.36		5.6

		8/23/98		79,877		78		29.16		5.4

		8/24/98		80,382		83.5		68.89		8.3

		8/25/98		85,462		84.5		32.49		5.7

		8/26/98		87,946		82		18.49		4.3

		8/27/98		88,246		79		47.61		6.9

		8/28/98		79,955		78		132.25		11.5

		8/29/98		80,661		81		31.36		5.6

		8/30/98		80,254		79		16		4

		8/31/98		85,915		79		26.01		5.1

		9/1/98		87,365		72.5		26.01		5.1

		9/2/98		83,572		71.5		25		5

		9/3/98		85,525		71		8.41		2.9

		9/4/98		80,977		73		24.01		4.9

		9/5/98		79,255		72		49		7

		9/6/98		78,957		76.5		50.41		7.1

		9/7/98		81,294		78.5		34.81		5.9

		9/8/98		88,612		66.5		44.89		6.7

		9/9/98		86,888		62		68.89		8.3

		9/10/98		89,423		63.5		57.76		7.6

		9/11/98		82,481		67		34.81		5.9

		9/12/98		78,825		74		24.01		4.9

		9/13/98		82,642		74.5		27.04		5.2

		9/14/98		85,681		75		28.09		5.3

		9/15/98		86,751		77.5		49		7

		9/16/98		84,511		79.5		39.69		6.3

		9/17/98		93,855		70.5		25		5

		9/18/98		84,722		67.5		64		8

		9/19/98		84,469		68.5		12.96		3.6

		9/20/98		81,419		74.5		18.49		4.3

		9/21/98		87,404		77.5		23.04		4.8

		9/22/98		88,708		68.5		42.25		6.5

		9/23/98		102,623		60.5		42.25		6.5

		9/24/98		95,951		57.5		18.49		4.3

		9/25/98		81,991		64		32.49		5.7

		9/26/98		80,106		70.5		16.81		4.1

		9/27/98		85,734		80		47.61		6.9

		9/28/98		87,210		69		56.25		7.5

		9/29/98		87,097		62.5		20.25		4.5

		9/30/98		84,699		64		31.36		5.6

		10/1/98		97,783		65.5		44.89		6.7

		10/2/98		104,020		56.5		60.84		7.8

		10/3/98		106,426		54		21.16		4.6

		10/4/98		118,356		54		6.76		2.6

		10/5/98		109,163		61.5		27.04		5.2

		10/6/98		140,921		54		68.89		8.3

		10/7/98		109,555		57		21.16		4.6

		10/8/98		92,860		67		40.96		6.4

		10/9/98		93,646		61		108.16		10.4

		10/10/98		94,775		61		32.49		5.7

		10/11/98		89,148		66		46.24		6.8

		10/12/98		106,601		60		27.04		5.2

		10/13/98		108,287		60		46.24		6.8

		10/14/98		117,759		59.5		56.25		7.5

		10/15/98		131,680		55		34.81		5.9

		10/16/98		130,854		56.5		16		4

		10/17/98		109,809		56.5		19.36		4.4

		10/18/98		95,569		64.5		65.61		8.1

		10/19/98		108,153		65		36		6

		10/20/98		130,293		57.5		34.81		5.9

		10/21/98		172,609		51.5		43.56		6.6

		10/22/98		206,667		47.5		46.24		6.8

		10/23/98		160,117		52		50.41		7.1

		10/24/98		121,305		60.5		39.69		6.3

		10/25/98		120,211		59.5		20.25		4.5

		10/26/98		138,982		56.5		53.29		7.3

		10/27/98		176,240		55		25		5

		10/28/98		137,286		56.5		25		5

		10/29/98		201,684		51.5		60.84		7.8

		10/30/98		194,781		51		81		9

		10/31/98		182,644		51		50.41		7.1

		11/1/98		182,818		52		27.04		5.2

		11/2/98		219,280		49		79.21		8.9

		11/3/98		243,143		44.5		33.64		5.8

		11/4/98		275,320		44.5		54.76		7.4

		11/5/98		261,038		42		16		4

		11/6/98		277,391		41.5		44.89		6.7

		11/7/98		239,675		42		40.96		6.4

		11/8/98		247,684		46.5		38.44		6.2

		11/9/98		244,698		48.5		15.21		3.9

		11/10/98		196,808		47		56.25		7.5

		11/11/98		207,902		57		73.96		8.6

		11/12/98		238,912		47		51.84		7.2

		11/13/98		230,002		46.5		34.81		5.9

		11/14/98		168,826		49.5		38.44		6.2

		11/15/98		209,459		54.5		73.96		8.6

		11/16/98		212,614		45		29.16		5.4

		11/17/98		247,345		48		44.89		6.7

		11/18/98		287,803		43		28.09		5.3

		11/19/98		210,545		42		22.09		4.7

		11/20/98		183,613		54.5		22.09		4.7

		11/21/98		262,559		45.5		81		9

		11/22/98		265,229		42.5		42.25		6.5

		11/23/98		201,115		47.5		86.49		9.3

		11/24/98		235,320		52		102.01		10.1

		11/25/98		233,689		43		30.25		5.5

		11/26/98		222,548		49		94.09		9.7

		11/27/98		263,768		45.5		121		11

		11/28/98		196,889		49.5		43.56		6.6

		11/29/98		181,488		53.5		16		4

		11/30/98		172,161		53.5		28.09		5.3

		12/1/98		210,457		55		81		9

		12/2/98		190,028		56.5		73.96		8.6

		12/3/98		144,451		61.5		60.84		7.8

		12/4/98		125,157		66		38.44		6.2

		12/5/98		176,189		56.5		31.36		5.6

		12/6/98		150,339		58.5		16		4

		12/7/98		148,712		61.5		73.96		8.6

		12/8/98		248,563		49		44.89		6.7

		12/9/98		298,744		45		42.25		6.5

		12/10/98		280,906		45.5		42.25		6.5

		12/11/98		309,869		43		79.21		8.9

		12/12/98		291,165		42		51.84		7.2

		12/13/98		299,989		43.5		34.81		5.9

		12/14/98		350,822		39.5		73.96		8.6

		12/15/98		294,763		43		53.29		7.3

		12/16/98		301,199		46		12.25		3.5

		12/17/98		327,941		42		47.61		6.9

		12/18/98		358,325		37		90.25		9.5

		12/19/98		256,832		43.5		68.89		8.3

		12/20/98		249,317		48		38.44		6.2

		12/21/98		216,354		48.5		44.89		6.7

		12/22/98		387,766		43.5		153.76		12.4

		12/23/98		431,537		25		34.81		5.9

		12/24/98		425,539		29		30.25		5.5

		12/25/98		410,232		29.5		34.81		5.9

		12/26/98		427,079		30.5		13.69		3.7

		12/27/98		355,314		35.5		28.09		5.3

		12/28/98		318,629		41.5		31.36		5.6

		12/29/98		316,230		39.5		65.61		8.1

		12/30/98		529,758		29.5		156.25		12.5

		12/31/98		484,096		22.5		53.29		7.3

		1/1/99		527,568		20		108.16		10.4

		1/2/99		483,530		18		43.56		6.6

		1/3/99		354,883		37.5		114.49		10.7

		1/4/99		498,544		26.5		84.64		9.2

		1/5/99		509,958		23		56.25		7.5

		1/6/99		455,677		27		68.89		8.3

		1/7/99		467,966		30		96.04		9.8

		1/8/99		407,139		29.5		51.84		7.2

		1/9/99		374,961		38		64		8

		1/10/99		460,050		26.5		49		7

		1/11/99		472,860		24.5		79.21		8.9

		1/12/99		309,760		38		47.61		6.9

		1/13/99		413,834		35.5		94.09		9.7

		1/14/99		528,032		20		256		16

		1/15/99		413,720		31		84.64		9.2

		1/16/99		353,798		34.5		56.25		7.5

		1/17/99		292,645		43		23.04		4.8

		1/18/99		296,202		46		49		7

		1/19/99		313,981		44		51.84		7.2

		1/20/99		346,976		42		30.25		5.5

		1/21/99		298,893		38		34.81		5.9

		1/22/99		311,401		40		151.29		12.3

		1/23/99		231,751		47.5		94.09		9.7

		1/24/99		275,733		49		62.41		7.9

		1/25/99		401,924		37.5		59.29		7.7

		1/26/99		387,276		36.5		47.61		6.9

		1/27/99		321,979		40		17.64		4.2

		1/28/99		358,572		36		65.61		8.1

		1/29/99		428,025		32		50.41		7.1

		1/30/99		458,301		30		50.41		7.1

		1/31/99		489,831		23.5		68.89		8.3

		2/1/99		368,070		34.5		32.49		5.7

		2/2/99		274,336		44.5		56.25		7.5

		2/3/99		283,245		46		30.25		5.5

		2/4/99		325,333		42		38.44		6.2

		2/5/99		357,278		39		110.25		10.5

		2/6/99		348,344		38		43.56		6.6

		2/7/99		364,488		37.5		43.56		6.6

		2/8/99		425,871		34.5		43.56		6.6

		2/9/99		363,696		37		43.56		6.6

		2/10/99		322,437		43		106.09		10.3

		2/11/99		271,515		42		33.64		5.8

		2/12/99		268,870		47.5		64		8

		2/13/99		384,269		34.5		79.21		8.9

		2/14/99		451,484		27.5		84.64		9.2

		2/15/99		364,577		35.5		28.09		5.3

		2/16/99		286,545		42.5		19.36		4.4

		2/17/99		263,861		40		75.69		8.7

		2/18/99		351,501		39.5		25		5

		2/19/99		339,678		38		54.76		7.4

		2/20/99		364,775		35		64		8

		2/21/99		453,479		30.5		65.61		8.1

		2/22/99		526,314		21.5		148.84		12.2

		2/23/99		425,116		21		36		6

		2/24/99		369,314		30.5		144		12

		2/25/99		395,994		32.5		73.96		8.6

		2/26/99		351,648		39		77.44		8.8

		2/27/99		296,894		42		26.01		5.1

		2/28/99		301,651		45.5		43.56		6.6

		3/1/99		316,713		41.5		65.61		8.1

		3/2/99		315,813		42		82.81		9.1

		3/3/99		263,471		48		75.69		8.7

		3/4/99		405,537		43.5		184.96		13.6

		3/5/99		337,401		36.5		53.29		7.3

		3/6/99		335,822		42		65.61		8.1

		3/7/99		498,284		29.5		148.84		12.2

		3/8/99		480,950		26.5		86.49		9.3

		3/9/99		412,631		29		40.96		6.4

		3/10/99		397,302		34		65.61		8.1

		3/11/99		410,765		33.5		151.29		12.3

		3/12/99		430,019		31.5		132.25		11.5

		3/13/99		323,337		38.5		64		8

		3/14/99		348,919		36		44.89		6.7

		3/15/99		408,046		36.5		136.89		11.7

		3/16/99		330,206		42		118.81		10.9

		3/17/99		218,616		54		43.56		6.6

		3/18/99		227,538		56		151.29		12.3

		3/19/99		315,360		41.5		136.89		11.7

		3/20/99		285,574		43		49		7

		3/21/99		274,071		44.5		82.81		9.1

		3/22/99		326,346		45.5		132.25		11.5

		3/23/99		268,285		45		50.41		7.1

		3/24/99		239,146		50		21.16		4.6

		3/25/99		287,701		43.5		62.41		7.9

		3/26/99		291,684		41		57.76		7.6

		3/27/99		267,507		44.5		136.89		11.7

		3/28/99		261,884		45		139.24		11.8

		3/29/99		174,735		55.5		75.69		8.7

		3/30/99		200,140		53.5		84.64		9.2

		3/31/99		146,879		62		88.36		9.4

		4/1/99		161,704		58.5		47.61		6.9

		4/2/99		170,443		54		46.24		6.8

		4/3/99		177,674		50.5		23.04		4.8

		4/4/99		228,883		51		110.25		10.5

		4/5/99		221,117		47		49		7

		4/6/99		176,777		52.5		26.01		5.1

		4/7/99		132,431		58.5		39.69		6.3

		4/8/99		111,278		65.5		56.25		7.5

		4/9/99		224,804		51.5		141.61		11.9

		4/10/99		200,216		50		88.36		9.4

		4/11/99		276,516		42		94.575625		9.725

		4/12/99		232,909		47		101.0025		10.05

		4/13/99		210,490		50.5		107.640625		10.375

		4/14/99		177,053		55		114.49		10.7

		4/15/99		150,561		58.5		44.89		6.7

		4/16/99		221,455		50.5		44.89		6.7

		4/17/99		185,820		51		72.25		8.5

		4/18/99		171,547		54		57.76		7.6

		4/19/99		185,948		53		36		6

		4/20/99		256,979		48		30.25		5.5

		4/21/99		176,500		53		40.96		6.4

		4/22/99		172,757		53		21.16		4.6

		4/23/99		219,952		49		68.89		8.3

		4/24/99		198,651		50		65.61		8.1

		4/25/99		173,396		52.5		44.89		6.7

		4/26/99		140,702		62		81		9

		4/27/99		154,423		54.5		94.09		9.7

		4/28/99		155,968		53		43.56		6.6

		4/29/99		154,380		57.5		92.16		9.6

		4/30/99		158,272		55		50.41		7.1

		5/1/99		142,189		56		57.76		7.6

		5/2/99		125,495		56		136.89		11.7

		5/3/99		156,909		57		184.96		13.6

		5/4/99		125,377		56.5		17.64		4.2

		5/5/99		109,012		65		10.89		3.3

		5/6/99		114,694		61		28.09		5.3

		5/7/99		119,535		57		42.25		6.5

		5/8/99		121,712		58		24.01		4.9

		5/9/99		101,478		63.5		17.64		4.2

		5/10/99		104,952		63.5		43.56		6.6

		5/11/99		117,295		60		43.56		6.6

		5/12/99		108,850		63.5		27.04		5.2

		5/13/99		126,712		59.5		49		7

		5/14/99		127,254		56		43.56		6.6

		5/15/99		120,564		59		25		5

		5/16/99		111,286		59		46.24		6.8

		5/17/99		100,063		62.5		29.16		5.4

		5/18/99		99,708		60.5		54.76		7.4

		5/19/99		96,998		62		24.01		4.9

		5/20/99		107,058		65		50.41		7.1

		5/21/99		91,086		67		11.56		3.4

		5/22/99		91,589		69		27.04		5.2

		5/23/99		97,083		62		33.64		5.8

		5/24/99		107,169		62.5		24.01		4.9

		5/25/99		97,074		63		60.84		7.8

		5/26/99		100,836		66.5		79.21		8.9

		5/27/99		99,798		64		40.96		6.4

		5/28/99		96,240		70.5		12.25		3.5

		5/29/99		90,695		75.5		25		5

		5/30/99		84,061		76		7.84		2.8

		5/31/99		89,315		75.5		10.24		3.2

		6/1/99		98,235		75.5		25		5

		6/2/99		91,305		81.5		30.25		5.5

		6/3/99		92,060		75.5		60.84		7.8

		6/4/99		94,314		69.5		56.25		7.5

		6/5/99		86,550		69.5		23.04		4.8

		6/6/99		91,317		70		32.49		5.7

		6/7/99		90,577		84.5		33.64		5.8

		6/8/99		89,333		85		54.76		7.4

		6/9/99		91,400		74		64		8

		6/10/99		96,191		66.5		77.44		8.8

		6/11/99		84,521		65		42.25		6.5

		6/12/99		78,284		65.5		81		9

		6/13/99		81,821		72.5		59.29		7.7

		6/14/99		91,382		74		39.69		6.3

		6/15/99		91,959		72.5		47.61		6.9

		6/16/99		87,065		65.5		82.81		9.1

		6/17/99		90,556		64		32.49		5.7

		6/18/99		92,454		67.5		31.36		5.6

		6/19/99		97,059		70.5		25		5

		6/20/99		92,208		67.5		23.04		4.8

		6/21/99		100,097		64		29.16		5.4

		6/22/99		90,009		73		12.25		3.5

		6/23/99		94,267		80		24.01		4.9

		6/24/99		93,167		78.5		51.84		7.2

		6/25/99		90,803		75		47.61		6.9

		6/26/99		85,948		84		23.04		4.8

		6/27/99		87,598		83		20.25		4.5

		6/28/99		89,322		83.5		51.84		7.2

		6/29/99		89,883		83		51.84		7.2

		6/30/99		88,986		74.5		29.16		5.4

		7/1/99		93,312		74		28.09		5.3

		7/2/99		91,944		81		82.81		9.1

		7/3/99		84,834		82		20.25		4.5

		7/4/99		73,413		88.5		33.64		5.8

		7/5/99		82,904		93		47.61		6.9

		7/6/99		82,270		92.5		57.76		7.6

		7/7/99		88,183		85		49		7

		7/8/99		86,953		81		42.25		6.5

		7/9/99		85,281		79		22.09		4.7

		7/10/99		84,711		76.5		67.24		8.2

		7/11/99		87,790		73		42.25		6.5

		7/12/99		85,991		72		40.96		6.4

		7/13/99		86,691		71		54.76		7.4

		7/14/99		90,791		71.5		6.25		2.5

		7/15/99		88,216		78		11.56		3.4

		7/16/99		88,483		86		50.41		7.1

		7/17/99		78,884		88		28.09		5.3

		7/18/99		82,063		88		28.09		5.3

		7/19/99		84,963		86		15.21		3.9

		7/20/99		90,088		79		36		6

		7/21/99		88,748		76		36		6

		7/22/99		87,938		77		18.49		4.3

		7/23/99		86,928		82		14.44		3.8

		7/24/99		80,246		86.5		37.21		6.1

		7/25/99		80,168		88		21.16		4.6

		7/26/99		87,210		83.5		25		5

		7/27/99		86,731		86		18.49		4.3

		7/28/99		85,738		87		33.64		5.8

		7/29/99		89,732		82.5		16		4

		7/30/99		87,336		82.5		26.01		5.1

		7/31/99		81,478		81		26.01		5.1

		8/1/99		81,405		89		39.69		6.3

		8/2/99		84,959		81.5		51.84		7.2

		8/3/99		80,449		78.5		37.21		6.1

		8/4/99		84,056		79.5		26.01		5.1

		8/5/99		88,241		80		20.25		4.5

		8/6/99		82,580		81		36		6

		8/7/99		78,580		78.5		38.44		6.2

		8/8/99		82,426		78		44.89		6.7

		8/9/99		87,326		73.5		56.25		7.5

		8/10/99		83,674		72		16		4

		8/11/99		86,110		79		31.36		5.6

		8/12/99		82,854		81		26.01		5.1

		8/13/99		82,444		80.5		43.56		6.6

		8/14/99		84,109		78.5		18.49		4.3

		8/15/99		83,999		74.5		27.3877777778		5.2333333333

		8/16/99		89,824		76.5		38.0277777778		6.1666666667

		8/17/99		87,907		79.5		50.41		7.1

		8/18/99		90,351		79.5		33.64		5.8

		8/19/99		84,406		75		51.84		7.2

		8/20/99		91,582		69.5		102.01		10.1

		8/21/99		83,018		62		84.64		9.2

		8/22/99		84,809		66.5		15.21		3.9

		8/23/99		88,433		74.5		10.24		3.2

		8/24/99		90,986		78.5		16.81		4.1

		8/25/99		86,493		76		36		6

		8/26/99		91,700		73.5		65.61		8.1

		8/27/99		87,312		75.5		18.49		4.3

		8/28/99		83,879		80.5		30.25		5.5

		8/29/99		85,389		76.5		53.29		7.3

		8/30/99		89,307		66		129.96		11.4

		8/31/99		93,802		69		86.49		9.3





		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0



10/96-9/97

10/97-9/98

10/98-8/99

Temp (F)

LILCO Load (GS Data)

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Date		Load		Avg Temp		WS^2		Wind Speed

		8/1/97		632,942		78		73.96		8.6

		8/2/97		575,885		80.5		141.61		11.9

		8/3/97		603,430		79.5		92.16		9.6

		8/4/97		693,011		72.5		47.61		6.9

		8/5/97		688,152		71		60.84		7.8

		8/6/97		688,152		70.5		56.25		7.5

		8/7/97		698,422		71.5		51.84		7.2

		8/8/97		648,474		71.5		31.36		5.6

		8/9/97		566,465		76		57.76		7.6

		8/10/97		597,499		75.5		98.01		9.9

		8/11/97		695,074		76		90.25		9.5

		8/12/97		694,125		76		100.00		10

		8/13/97		693,661		77.5		67.24		8.2

		8/14/97		682,255		78.5		81.00		9

		8/15/97		577,302		75.5		65.61		8.1

		8/16/97		564,240		85.5		112.36		10.6

		8/17/97		617,995		83		59.29		7.7

		8/18/97		691,786		71		158.76		12.6

		8/19/97		689,970		67.5		54.76		7.4

		8/20/97		707,900		67		81.00		9

		8/21/97		697,972		69.5		123.21		11.1

		8/22/97		648,117		71		59.29		7.7

		8/23/97		559,625		67.5		92.16		9.6

		8/24/97		599,843		67.5		46.24		6.8

		8/25/97		709,103		71.5		21.16		4.6

		8/26/97		704,924		72		31.36		5.6

		8/27/97		702,611		71.5		62.41		7.9

		8/28/97		689,664		69.5		9.00		3

		8/30/97		558,378		72.5		25.00		5

		8/31/97		548,875		72.5		49.00		7

		9/1/97		587,438		76		23.04		4.8

		9/2/97		672,880		77.5		59.29		7.7

		9/3/97		681,095		66		265.69		16.3

		9/4/97		685,462		61.5		210.25		14.5

		9/5/97		631,879		64		77.44		8.8

		9/6/97		573,718		68.5		59.29		7.7

		9/7/97		604,641		71.5		54.76		7.4

		9/8/97		712,067		69		86.49		9.3

		9/9/97		714,975		67.5		90.25		9.5

		9/10/97		708,882		66		129.96		11.4

		9/11/97		716,300		72		139.24		11.8

		9/12/97		637,100		74		51.84		7.2

		9/13/97		655,383		71		49.00		7

		9/14/97		612,952		71		50.41		7.1

		9/15/97		698,076		70.5		64.00		8

		9/16/97		717,320		71.5		65.61		8.1

		9/17/97		689,501		68		57.76		7.6

		9/18/97		706,244		73		49.00		7

		9/19/97		670,322		71		44.89		6.7

		9/20/97		620,967		71.5		207.36		14.4

		9/21/97		680,823		58.5		174.24		13.2

		9/22/97		740,322		56.5		144.00		12

		9/23/97		767,868		60		116.64		10.8

		9/24/97		858,348		55.5		70.56		8.4

		9/25/97		770,608		56.5		49.00		7

		9/26/97		716,418		64		153.76		12.4

		9/27/97		641,079		58		43.56		6.6

		9/28/97		626,381		61.5		123.21		11.1

		9/29/97		718,620		68.5		268.96		16.4

		9/30/97		743,655		67		313.29		17.7

		10/1/97		919,325		53.5		182.25		13.5

		10/2/97		880,520		50.5		65.61		8.1

		10/3/97		721,477		58		67.24		8.2

		10/4/97		616,377		65.5		29.16		5.4

		10/5/97		613,758		71		22.09		4.7

		10/6/97		621,330		74		77.44		8.8

		10/7/97		642,361		71		25.00		5

		10/8/97		651,829		66.5		21.16		4.6

		10/9/97		630,217		68		32.49		5.7

		10/10/97		609,925		73.5		144.00		12

		10/11/97		640,284		59		108.16		10.4

		10/12/97		665,434		57.5		21.16		4.6

		10/13/97		678,943		59.5		24.01		4.9

		10/14/97		657,958		65.5		42.25		6.5

		10/15/97		820,392		57.5		176.89		13.3

		10/16/97		905,316		53.5		118.81		10.9

		10/17/97		841,373		53		88.36		9.4

		10/18/97		789,101		54.5		62.41		7.9

		10/19/97		929,750		51		153.76		12.4

		10/20/97		880,388		55.5		144.00		12

		10/21/97		999,193		50.5		102.01		10.1

		10/22/97		1,218,219		46.5		169.00		13

		10/23/97		1,229,374		55.5		98.01		9.9

		10/24/97		931,496		50.5		40.96		6.4

		10/25/97		1,152,333		46		141.61		11.9

		10/26/97		1,064,534		44.5		68.89		8.3

		10/27/97		1,095,268		55.5		123.21		11.1

		10/28/97		1,335,533		48.5		282.24		16.8

		10/29/97		1,208,708		46		77.44		8.8

		10/30/97		1,082,337		51.5		29.16		5.4

		10/31/97		792,340		52		26.01		5.1

		11/1/97		733,732		60.5		106.09		10.3

		11/2/97		1,007,689		52.5		132.25		11.5

		11/3/97		955,603		53		50.41		7.1

		11/4/97		1,148,945		51.5		110.25		10.5

		11/5/97		1,191,826		46		33.64		5.8

		11/6/97		1,116,822		46.5		127.69		11.3

		11/7/97		1,109,878		51.5		353.44		18.8

		11/8/97		1,125,425		48		299.29		17.3

		11/9/97		1,160,446		48		163.84		12.8

		11/10/97		1,289,200		48		123.21		11.1

		11/11/97		1,352,111		46		118.81		10.9

		11/12/97		1,544,114		42.5		100.00		10

		11/13/97		1,564,678		36		81.00		9

		11/14/97		1,672,555		35		282.24		16.8

		11/15/97		1,570,795		35.5		96.04		9.8

		11/16/97		1,725,644		35.5		182.25		13.5

		11/17/97		1,793,062		35		163.84		12.8

		11/18/97		1,733,962		35		38.44		6.2

		11/19/97		1,576,400		37.5		25.00		5

		11/20/97		1,514,838		42.5		60.84		7.8

		11/21/97		1,573,544		46		31.36		5.6

		11/22/97		1,369,617		43		104.04		10.2

		11/23/97		1,477,113		41		37.21		6.1

		11/24/97		1,842,309		35.5		313.29		17.7

		11/25/97		1,644,536		34		146.41		12.1

		11/26/97		1,327,414		46		169.00		13

		11/27/97		1,392,243		44.5		432.64		20.8

		11/28/97		1,335,509		42.5		54.76		7.4

		11/29/97		1,224,241		47		46.24		6.8

		11/30/97		1,363,610		43		19.36		4.4

		12/1/97		1,779,556		40.5		428.49		20.7

		12/2/97		1,724,597		39		320.41		17.9

		12/3/97		1,428,825		41		49.00		7

		12/4/97		1,286,303		45.5		31.36		5.6

		12/5/97		1,656,082		41		110.25		10.5

		12/6/97		1,730,178		34		225.00		15

		12/7/97		1,602,656		35.5		207.36		14.4

		12/8/97		1,698,537		37		151.29		12.3

		12/9/97		1,624,241		33.5		21.16		4.6

		12/10/97		1,715,003		37		56.25		7.5

		12/11/97		1,788,697		33		96.04		9.8

		12/12/97		1,676,695		35.5		60.84		7.8

		12/13/97		1,609,396		35.5		110.25		10.5

		12/14/97		1,801,718		36		234.09		15.3

		12/15/97		1,754,759		33.5		81.00		9

		12/16/97		1,527,159		43		37.21		6.1

		12/17/97		1,541,826		44		75.69		8.7

		12/18/97		1,599,589		39.5		42.25		6.5

		12/19/97		1,436,395		42.5		123.21		11.1

		12/20/97		1,474,724		43.5		57.76		7.6

		12/21/97		1,807,344		32		114.49		10.7

		12/22/97		1,804,733		29.5		67.24		8.2

		12/23/97		1,618,011		38		141.61		11.9

		12/24/97		1,434,938		39.5		56.25		7.5

		12/25/97		1,236,199		45.5		73.96		8.6

		12/26/97		1,428,257		43.5		156.25		12.5

		12/27/97		1,656,821		35.5		70.56		8.4

		12/28/97		1,800,797		35		108.16		10.4

		12/29/97		1,685,012		34.5		108.16		10.4

		12/30/97		1,888,912		35.5		327.61		18.1

		12/31/97		2,168,355		26		342.25		18.5

		1/1/98		2,017,971		21.5		193.21		13.9

		1/2/98		1,492,475		38.5		102.01		10.1

		1/3/98		1,156,591		52.5		136.89		11.7

		1/4/98		1,125,172		55		36.00		6

		1/5/98		1,332,934		47		22.09		4.7

		1/6/98		1,035,253		51		15.21		3.9

		1/7/98		1,025,178		52		57.76		7.6

		1/8/98		901,547		56.5		125.44		11.2

		1/9/98		1,143,432		56.5		182.25		13.5

		1/10/98		1,402,312		43		72.25		8.5

		1/11/98		1,541,509		42		79.21		8.9

		1/12/98		1,605,583		34		65.61		8.1

		1/13/98		1,767,377		40.5		141.61		11.9

		1/14/98		2,004,989		29		118.81		10.9

		1/15/98		1,810,341		32		108.16		10.4

		1/16/98		1,784,966		36.5		342.25		18.5

		1/17/98		1,605,002		37		106.09		10.3

		1/18/98		1,604,039		33.5		43.56		6.6

		1/19/98		1,753,477		35		28.09		5.3

		1/20/98		1,915,444		35.5		187.69		13.7

		1/21/98		1,855,039		34		121.00		11

		1/22/98		1,805,819		33		75.69		8.7

		1/23/98		1,602,518		39.5		171.61		13.1

		1/24/98		1,507,565		40		169.00		13

		1/25/98		1,773,374		36.5		231.04		15.2

		1/26/98		1,784,404		36.5		25.00		5

		1/27/98		1,823,518		35		104.04		10.2

		1/28/98		1,892,166		35.5		445.21		21.1

		1/29/98		1,487,499		43		68.89		8.3

		1/30/98		1,545,672		42.5		70.56		8.4

		1/31/98		1,612,910		39		184.96		13.6

		2/1/98		1,585,412		37.5		26.01		5.1

		2/2/98		1,468,269		39.5		23.04		4.8

		2/3/98		1,538,497		44		79.21		8.9

		2/4/98		1,785,740		39.5		384.16		19.6

		2/5/98		1,855,063		35.5		457.96		21.4

		2/6/98		1,633,075		38.5		136.89		11.7

		2/7/98		1,602,716		36.5		127.69		11.3

		2/8/98		1,687,807		36		116.64		10.8

		2/9/98		1,627,657		37.5		21.16		4.6

		2/10/98		1,539,054		41		28.09		5.3

		2/11/98		1,326,233		39		16.00		4

		2/12/98		1,450,858		49		262.44		16.2

		2/13/98		1,655,599		40		225.00		15

		2/14/98		1,872,234		31.5		201.64		14.2

		2/15/98		1,903,469		25.5		50.41		7.1

		2/16/98		1,713,225		30		36.00		6

		2/17/98		1,614,678		42.5		158.76		12.6

		2/18/98		1,669,894		44		153.76		12.4

		2/19/98		1,449,452		46		79.21		8.9

		2/20/98		1,360,709		48		46.24		6.8

		2/21/98		1,358,440		44.5		210.25		14.5

		2/22/98		1,333,786		45.5		94.09		9.7

		2/23/98		1,656,159		41		252.81		15.9

		2/24/98		1,759,403		39.5		376.36		19.4

		2/25/98		1,541,042		43.5		529.00		23

		2/26/98		1,357,249		50.5		225.00		15

		2/27/98		1,129,148		47		36.00		6

		2/28/98		1,181,109		47.5		33.64		5.8

		3/1/98		1,253,166		46		21.16		4.6

		3/2/98		1,266,364		47.5		14.44		3.8

		3/3/98		1,427,064		46.5		68.89		8.3

		3/4/98		1,454,777		45.5		108.16		10.4

		3/5/98		1,580,281		42		112.36		10.6

		3/6/98		1,399,394		40.5		42.25		6.5

		3/7/98		1,225,461		44.5		49.00		7

		3/8/98		1,467,349		43.5		166.41		12.9

		3/9/98		1,111,780		51		129.96		11.4

		3/10/98		1,856,899		43.5		396.01		19.9

		3/11/98		2,147,955		27		324.00		18

		3/12/98		2,085,523		26		259.21		16.1

		3/13/98		1,756,236		30.5		104.04		10.2

		3/14/98		1,611,774		39		246.49		15.7

		3/15/98		1,620,648		38.5		182.25		13.5

		3/16/98		1,698,873		35.5		100.00		10

		3/17/98		1,497,042		36		50.41		7.1

		3/18/98		1,584,353		37.5		49.00		7

		3/19/98		1,525,080		40.5		88.36		9.4

		3/20/98		1,425,222		43.5		59.29		7.7

		3/21/98		1,662,159		37.5		324.00		18

		3/22/98		1,649,443		33.5		148.84		12.2

		3/23/98		1,579,104		40		123.21		11.1

		3/24/98		1,528,310		41.5		65.61		8.1

		3/25/98		1,420,067		39		54.76		7.4

		3/26/98		953,512		52.5		144.00		12

		3/27/98		673,957		67.5		187.69		13.7

		3/28/98		603,249		70.5		278.89		16.7

		3/29/98		660,449		70		151.29		12.3

		3/30/98		690,886		71		67.24		8.2

		3/31/98		697,040		74		153.76		12.4

		4/1/98		753,888		63		94.09		9.7

		4/2/98		825,563		56.5		54.76		7.4

		4/3/98		885,068		51.5		136.89		11.7

		4/4/98		1,105,167		43.5		256.00		16

		4/5/98		1,182,573		45.5		289.00		17

		4/6/98		1,147,696		50		187.69		13.7

		4/7/98		945,662		55		64.00		8

		4/8/98		1,016,461		55		50.41		7.1

		4/9/98		1,344,413		45.5		234.09		15.3

		4/10/98		1,114,213		47		193.21		13.9

		4/11/98		990,676		49.5		47.61		6.9

		4/12/98		975,355		49		43.56		6.6

		4/13/98		898,979		55.5		53.29		7.3

		4/14/98		843,606		57		50.41		7.1

		4/15/98		906,773		56.5		26.01		5.1

		4/16/98		872,679		52		47.61		6.9

		4/17/98		802,710		63.5		65.61		8.1

		4/18/98		739,262		56.5		104.04		10.2

		4/19/98		983,489		53		75.69		8.7

		4/20/98		1,024,803		53		136.89		11.7

		4/21/98		859,723		58		31.36		5.6

		4/22/98		850,198		57.5		44.89		6.7

		4/23/98		1,080,180		51.5		161.29		12.7

		4/24/98		784,266		60.5		114.49		10.7

		4/25/98		772,470		59		187.69		13.7

		4/26/98		1,140,739		48.5		94.09		9.7

		4/27/98		1,087,923		48.5		171.61		13.1

		4/28/98		971,230		52		123.21		11.1

		4/29/98		744,112		58		118.81		10.9

		4/30/98		712,316		64		46.24		6.8

		5/1/98		724,027		60		15.21		3.9

		5/2/98		624,862		62		2.89		1.7

		5/3/98		631,589		62.5		12.96		3.6

		5/4/98		744,940		58.5		18.49		4.3

		5/5/98		752,658		58		11.56		3.4

		5/6/98		722,780		61		12.25		3.5

		5/7/98		737,571		62.5		5.29		2.3

		5/8/98		777,773		57		88.36		9.4

		5/9/98		738,622		58		445.21		21.1

		5/10/98		829,436		56		193.21		13.9

		5/11/98		992,970		55		231.04		15.2

		5/12/98		970,873		58		268.96		16.4

		5/13/98		924,025		54.5		44.89		6.7

		5/14/98		788,791		58		5.76		2.4

		5/15/98		672,163		68		1.21		1.1

		5/16/98		613,619		73.5		15.21		3.9

		5/17/98		676,779		61.5		12.25		3.5

		5/18/98		706,949		70		56.25		7.5

		5/19/98		674,592		75.5		51.84		7.2

		5/20/98		704,471		69.5		11.56		3.4

		5/21/98		719,262		71.5		161.29		12.7

		5/22/98		699,582		62		222.01		14.9

		5/23/98		605,809		64		70.56		8.4

		5/24/98		573,950		68.5		16.81		4.1

		5/25/98		634,142		65		1.21		1.1

		5/26/98		706,641		70		60.84		7.8

		5/27/98		714,268		68		6.76		2.6

		5/28/98		693,973		73		39.69		6.3

		5/29/98		663,717		76		127.69		11.3

		5/30/98		594,659		76.5		3.61		1.9

		5/31/98		610,245		77		46.24		6.8

		6/1/98		708,668		68.5		132.25		11.5

		6/2/98		692,994		63.5		123.21		11.1

		6/3/98		724,066		64		237.16		15.4

		6/4/98		731,011		61		169.00		13

		6/5/98		685,128		62.5		171.61		13.1

		6/6/98		612,207		64		166.41		12.9

		6/7/98		680,243		62		144.00		12

		6/8/98		753,722		60		184.96		13.6

		6/9/98		741,102		61.5		59.29		7.7

		6/10/98		731,809		65		44.89		6.7

		6/11/98		738,682		65.5		68.89		8.3

		6/12/98		669,740		63		82.81		9.1

		6/13/98		585,206		68		43.56		6.6

		6/14/98		669,173		68.5		65.61		8.1

		6/15/98		702,400		68		32.49		5.7

		6/16/98		722,732		75		73.96		8.6

		6/17/98		720,100		74		146.41		12.1

		6/18/98		705,097		76		92.16		9.6

		6/19/98		654,800		77		43.56		6.6

		6/20/98		588,184		78.5		36.00		6

		6/21/98		613,452		74.5		57.76		7.6

		6/22/98		700,695		69.5		31.36		5.6

		6/23/98		711,284		71		23.04		4.8

		6/24/98		708,259		78.5		27.04		5.2

		6/25/98		692,673		82.5		81.00		9

		6/26/98		656,060		84		193.21		13.9

		6/27/98		586,694		79.5		201.64		14.2

		6/28/98		593,878		71.5		102.01		10.1

		6/29/98		685,314		71.5		132.25		11.5

		6/30/98		704,957		75		141.61		11.9

		7/1/98		691,184		72		201.64		14.2

		7/2/98		645,189		73.5		60.84		7.8

		7/3/98		571,269		77		32.49		5.7

		7/4/98		524,135		75.5		36.00		6

		7/5/98		551,662		75.5		139.24		11.8

		7/6/98		662,727		71		67.24		8.2

		7/7/98		661,537		71.5		37.21		6.1

		7/8/98		663,866		67		30.25		5.5

		7/9/98		666,792		73		72.25		8.5

		7/10/98		609,920		77		166.41		12.9

		7/11/98		547,840		73.5		171.61		13.1

		7/12/98		569,242		76		81.00		9

		7/13/98		654,331		76.5		73.96		8.6

		7/14/98		691,115		78.5		102.01		10.1

		7/15/98		666,706		79.5		88.36		9.4

		7/16/98		674,084		81.5		43.56		6.6

		7/17/98		622,946		81		34.81		5.9

		7/18/98		565,384		81.5		84.64		9.2

		7/19/98		596,645		78		70.56		8.4

		7/20/98		694,179		83		123.21		11.1

		7/21/98		690,073		83.5		57.76		7.6

		7/22/98		676,339		87.5		132.25		11.5

		7/23/98		672,238		85		100.00		10

		7/24/98		624,114		80.5		100.00		10

		7/25/98		561,616		75		53.29		7.3

		7/26/98		587,435		77.5		57.76		7.6

		7/27/98		668,793		76.5		114.49		10.7

		7/28/98		685,290		81		129.96		11.4

		7/29/98		707,798		83.5		123.21		11.1

		7/30/98		672,684		79		44.89		6.7

		7/31/98		635,675		74		98.01		9.9

		8/1/98		574,990		72.5		92.16		9.6

		8/2/98		603,643		72.5		53.29		7.3

		8/3/98		691,455		74.5		47.61		6.9

		8/4/98		678,701		78.5		33.64		5.8

		8/5/98		715,295		76		30.25		5.5

		8/6/98		681,665		79		33.64		5.8

		8/7/98		650,297		74		51.84		7.2

		8/8/98		587,051		74.5		65.61		8.1

		8/9/98		532,917		79		62.41		7.9

		8/10/98		691,206		79.5		82.81		9.1

		8/11/98		686,976		81.5		86.49		9.3

		8/12/98		682,094		78		98.01		9.9

		8/13/98		691,645		74		68.89		8.3

		8/14/98		624,969		73		86.49		9.3

		8/15/98		530,605		77		56.25		7.5

		8/16/98		575,557		78.5		24.01		4.9

		8/19/98		701,369		67		198.81		14.1

		8/20/98		689,631		69		68.89		8.3

		8/21/98		631,424		74		62.41		7.9

		8/22/98		565,924		75		54.76		7.4

		8/23/98		583,951		78		44.89		6.7

		8/24/98		688,189		83.5		201.64		14.2

		8/25/98		692,684		84.5		129.96		11.4

		8/26/98		683,214		82		75.69		8.7

		8/27/98		694,386		79		67.24		8.2

		8/28/98		636,132		78		171.61		13.1

		8/29/98		571,833		81		90.25		9.5

		8/30/98		608,846		79		60.84		7.8

		8/31/98		709,594		79		75.69		8.7

		9/1/98		695,597		72.5		47.61		6.9

		9/2/98		702,356		71.5		53.29		7.3

		9/3/98		689,346		71		24.01		4.9

		9/4/98		637,494		73		50.41		7.1

		9/5/98		564,664		72		123.21		11.1

		9/6/98		542,484		76.5		153.76		12.4

		9/8/98		684,241		66.5		169.00		13

		9/9/98		701,807		62		243.36		15.6

		9/10/98		660,133		63.5		139.24		11.8

		9/11/98		610,972		67		92.16		9.6

		9/12/98		573,274		74		70.56		8.4

		9/13/98		614,455		74.5		56.25		7.5

		9/14/98		681,453		75		51.84		7.2

		9/15/98		693,969		77.5		136.89		11.7

		9/16/98		697,686		79.5		139.24		11.8

		9/17/98		695,308		70.5		59.29		7.7

		9/18/98		630,832		67.5		82.81		9.1

		9/19/98		575,526		68.5		33.64		5.8

		9/20/98		597,646		74.5		38.44		6.2

		9/21/98		683,094		77.5		62.41		7.9

		9/22/98		703,322		68.5		94.09		9.7

		9/23/98		749,826		60.5		174.24		13.2

		9/24/98		722,599		57.5		43.56		6.6

		9/25/98		634,602		64		36.00		6

		9/26/98		541,233		70.5		36.00		6

		9/27/98		642,268		80		139.24		11.8

		9/28/98		712,886		69		171.61		13.1

		9/29/98		697,002		62.5		42.25		6.5

		9/30/98		682,263		64		31.36		5.6

		10/1/98		761,262		65.5		216.09		14.7

		10/2/98		730,869		56.5		139.24		11.8

		10/3/98		742,682		54		65.61		8.1

		10/4/98		774,128		54		32.49		5.7

		10/5/98		826,578		61.5		44.89		6.7

		10/6/98		861,777		54		70.56		8.4

		10/7/98		786,492		57		36.00		6

		10/8/98		742,080		67		57.76		7.6

		10/9/98		714,855		61		198.81		14.1

		10/10/98		667,294		61		144.00		12

		10/11/98		663,456		66		174.24		13.2

		10/12/98		673,977		60		59.29		7.7

		10/13/98		767,144		60		68.89		8.3

		10/14/98		852,111		59.5		116.64		10.8

		10/15/98		906,751		55		100.00		10

		10/16/98		826,469		56.5		36.00		6

		10/17/98		679,033		56.5		37.21		6.1

		10/18/98		629,888		64.5		136.89		11.7

		10/19/98		781,881		65		121.00		11

		10/20/98		881,552		57.5		92.16		9.6

		10/21/98		1,075,598		51.5		96.04		9.8

		10/22/98		1,216,386		47.5		193.21		13.9

		10/23/98		968,520		52		123.21		11.1

		10/24/98		793,583		60.5		86.49		9.3

		10/25/98		771,028		59.5		49.00		7

		10/26/98		852,019		56.5		81.00		9

		10/27/98		894,923		55		28.09		5.3

		10/28/98		850,398		56.5		67.24		8.2

		10/29/98		1,079,548		51.5		243.36		15.6

		10/30/98		1,036,615		51		174.24		13.2

		10/31/98		938,295		51		153.76		12.4

		11/1/98		961,780		52		123.21		11.1

		11/2/98		1,192,497		49		139.24		11.8

		11/3/98		1,317,673		44.5		121.00		11

		11/4/98		1,454,854		44.5		132.25		11.5

		11/5/98		1,418,463		42		57.76		7.6

		11/6/98		1,429,676		41.5		136.89		11.7

		11/7/98		1,143,944		42		141.61		11.9

		11/8/98		1,209,095		46.5		79.21		8.9

		11/9/98		1,293,149		48.5		50.41		7.1

		11/10/98		1,083,225		47		79.21		8.9

		11/11/98		1,119,202		57		196.00		14

		11/12/98		1,274,289		47		116.64		10.8

		11/13/98		1,225,566		46.5		84.64		9.2

		11/14/98		956,739		49.5		27.04		5.2

		11/15/98		1,129,039		54.5		151.29		12.3

		11/16/98		1,164,892		45		44.89		6.7

		11/18/98		1,440,771		43		57.76		7.6

		11/19/98		1,187,011		42		44.89		6.7

		11/20/98		1,097,275		54.5		42.25		6.5

		11/21/98		1,308,228		45.5		161.29		12.7

		11/22/98		1,340,581		42.5		64.00		8

		11/23/98		1,127,103		47.5		134.56		11.6

		11/24/98		1,243,735		52		182.25		13.5

		11/25/98		1,220,305		43		36.00		6

		11/26/98		1,083,971		49		163.84		12.8

		11/27/98		1,256,426		45.5		234.09		15.3

		11/28/98		1,008,903		49.5		84.64		9.2

		11/29/98		966,965		53.5		13.69		3.7

		11/30/98		1,045,094		53.5		31.36		5.6

		12/1/98		1,196,276		53.5		182.25		13.5

		12/2/98		1,074,027		53.5		184.96		13.6

		12/3/98		889,709		58		108.16		10.4

		12/4/98		791,190		64		55.50		7.45

		12/5/98		907,911		56		20.25		4.5

		12/6/98		813,305		59.5		25.00		5

		12/7/98		921,948		62		174.24		13.2

		12/8/98		1,273,591		47		67.24		8.2

		12/9/98		1,475,709		44.5		144.00		12

		12/10/98		1,453,581		38.5		77.44		8.8

		12/11/98		1,519,201		40.5		153.76		12.4

		12/12/98		1,390,461		37.5		84.64		9.2

		12/13/98		1,459,143		40.5		42.25		6.5

		12/14/98		1,708,884		36.5		169.00		13

		12/15/98		1,547,526		38		106.09		10.3

		12/16/98		1,494,601		41		28.09		5.3

		12/17/98		1,632,105		39		84.64		9.2

		12/18/98		1,682,275		37		108.16		10.4

		12/19/98		1,298,247		41.5		81.00		9

		12/20/98		1,241,258		47.5		43.56		6.6

		12/21/98		1,109,789		50.5		27.04		5.2

		12/22/98		1,897,309		43.5		542.89		23.3

		12/23/98		2,064,770		23.5		47.61		6.9

		12/24/98		1,940,840		27		88.36		9.4

		12/25/98		1,887,480		28		39.69		6.3

		12/26/98		1,971,731		26		31.36		5.6

		12/27/98		1,724,898		30		33.64		5.8

		12/28/98		1,606,383		38.5		40.96		6.4

		12/29/98		1,668,811		38.5		77.44		8.8

		12/30/98		2,232,511		28		372.49		19.3

		12/31/98		2,072,167		21.5		108.16		10.4

		1/1/99		2,201,100		20		292.41		17

		1/2/99		2,033,100		18		65.61		8

		1/3/99		1,732,700		38.5		193.21		14

		1/4/99		2,282,500		25		278.89		17

		1/5/99		2,142,900		22.5		108.16		10

		1/6/99		2,142,300		23		96.04		10

		1/7/99		2,188,300		28		171.61		13

		1/8/99		2,014,900		27.5		47.61		7

		1/9/99		1,891,100		35.5		106.09		10

		1/10/99		2,111,300		26		104.04		10

		1/11/99		2,246,400		22		153.76		12

		1/12/99		1,609,800		37.5		51.84		7

		1/13/99		1,963,000		35		166.41		13

		1/14/99		2,400,700		18		380.25		20

		1/15/99		2,056,600		30.5		179.56		13

		1/16/99		1,662,600		33		106.09		10

		1/17/99		1,436,000		43.5		32.49		6

		1/18/99		1,493,000		45.5		104.04		10

		1/19/99		1,606,700		42.5		148.84		12

		1/20/99		1,689,500		42		53.29		7

		1/21/99		1,568,100		39.5		46.24		7

		1/22/99		1,516,000		42.5		92.16		10

		1/23/99		1,130,400		50.5		59.29		8

		1/24/99		1,366,200		51.5		153.76		12

		1/25/99		1,868,800		36.5		86.49		9

		1/26/99		1,826,500		35.5		60.84		8

		1/27/99		1,596,400		36.5		17.64		4

		1/28/99		1,605,800		38.5		47.61		7

		1/29/99		1,831,700		33		108.16		10

		1/30/99		1,936,000		30.5		94.09		10

		1/31/99		2,122,300		23		127.69		11

		2/1/99		1,749,200		29.5		50.41		7

		2/2/99		1,335,500		46		34.81		6

		2/3/99		1,445,200		48		47.61		7

		2/4/99		1,611,700		43.5		30.25		6

		2/5/99		1,699,100		39.5		285.61		17

		2/6/99		1,592,700		38.5		49.00		7

		2/7/99		1,673,500		37.5		72.25		9

		2/8/99		1,901,600		33.5		82.81		9

		2/9/99		1,693,400		36.5		64.00		8

		2/10/99		1,554,400		43.5		184.96		14

		2/11/99		1,345,100		43		31.36		6

		2/12/99		1,306,100		54		96.04		10

		2/13/99		1,842,100		34.5		196.00		14

		2/14/99		1,960,700		27.5		265.69		16

		2/15/99		1,642,400		35		37.21		6

		2/16/99		1,424,000		44		17.64		4

		2/17/99		1,426,600		43		59.29		8

		2/18/99		1,629,200		41		112.36		11

		2/19/99		1,654,100		37.5		125.44		11

		2/20/99		1,709,000		35.5		184.96		14

		2/21/99		2,009,900		30		210.25		15

		2/22/99		2,131,900		24		302.76		17

		2/23/99		2,028,700		21		47.61		7

		2/24/99		1,921,200		30		102.01		10

		2/25/99		1,743,500		34		141.61		12

		2/26/99		1,621,400		40		219.04		15

		2/27/99		1,357,500		42.5		67.24		8

		2/28/99		1,420,900		45		65.61		8

		3/1/99		1,634,300		42		259.21		16

		3/2/99		1,541,500		42		166.41		13

		3/3/99		1,288,500		45.5		161.29		13

		3/4/99		1,910,200		42.5		524.41		23

		3/5/99		1,622,500		37		79.21		9

		3/6/99		1,583,300		42.5		77.44		9

		3/7/99		2,196,900		29.5		462.25		22

		3/8/99		2,130,000		27		289.00		17

		3/9/99		1,946,300		29		86.49		9

		3/10/99		1,852,100		35.5		169.00		13

		3/11/99		1,941,700		34		334.89		18

		3/12/99		1,957,300		32.5		432.64		21

		3/13/99		1,497,500		39		182.25		14

		3/14/99		1,684,100		37.5		65.61		8

		3/15/99		1,860,800		37.5		338.56		18

		3/16/99		1,537,200		41		259.21		16

		3/17/99		1,061,700		51		100.00		10

		3/18/99		1,223,100		56.5		272.25		17

		3/19/99		1,487,800		43.5		338.56		18

		3/20/99		1,338,000		44		90.25		10

		3/21/99		1,345,900		43		114.49		11

		3/22/99		1,613,300		44.5		420.25		21

		3/23/99		1,319,800		44		134.56		12

		3/24/99		1,180,900		51.5		29.16		5

		3/25/99		1,436,100		44		196.00		14

		3/26/99		1,359,200		41		79.21		9

		3/27/99		1,151,400		44.5		148.84		12

		3/28/99		1,200,300		46		338.56		18

		3/29/99		1,001,600		57		187.69		14

		3/30/99		1,080,400		55.5		222.01		15

		3/31/99		875,200		58.5		228.01		15

		4/1/99		860,200		56.5		96.04		10

		4/2/99		848,900		55.5		60.84		8

		4/3/99		814,300		50.5		29.16		5

		4/4/99		1,076,100		53		213.16		15

		4/5/99		1,133,600		47		86.49		9

		4/6/99		978,900		50.5		68.89		8

		4/7/99		845,300		60		88.36		9

		4/8/99		764,900		66.5		158.76		13

		4/9/99		1,150,700		53		153.76		12

		4/10/99		1,012,100		51.5		240.25		16

		4/11/99		1,335,900		41.5		100.00		10

		4/12/99		1,261,700		47.5		265.69		16

		4/13/99		1,166,700		52		292.41		17

		4/14/99		1,027,700		56		234.09		15

		4/15/99		884,100		57.5		125.44		11

		4/16/99		1,151,000		48.5		43.56		7

		4/17/99		1,031,200		50		184.96		14

		4/18/99		995,000		52		174.24		13

		4/19/99		1,077,000		50		92.16		10

		4/20/99		1,270,100		47.5		64.00		8

		4/21/99		1,037,300		51.5		67.24		8

		4/22/99		944,800		53.5		24.01		5

		4/23/99		1,162,600		50.5		82.81		9

		4/24/99		1,058,500		50		196.00		14

		4/25/99		899,100		51		106.09		10

		4/26/99		827,100		61.5		327.61		18

		4/27/99		872,200		55.5		182.25		14

		4/28/99		859,600		54		68.89		8

		4/29/99		855,300		58		136.89		12

		4/30/99		858,700		55		72.25		9

		5/1/99		787,300		54		67.24		8

		5/2/99		767,500		57		184.96		14

		5/3/99		885,700		56		309.76		18

		5/4/99		791,800		56.5		54.76		7

		5/5/99		729,400		65.5		31.36		6

		5/6/99		766,300		60.5		33.64		6

		5/7/99		774,800		57.5		50.41		7

		5/8/99		701,900		60		36.00		6

		5/9/99		670,800		66		72.25		9

		5/10/99		740,300		64		151.29		12

		5/11/99		742,000		60.5		94.09		10

		5/12/99		706,200		62.5		44.89		7

		5/13/99		780,100		60.5		92.16		10

		5/14/99		745,100		57.5		70.56		8

		5/15/99		657,400		60.5		34.81		6

		5/16/99		656,700		58		68.89		8

		5/17/99		699,000		60.5		65.61		8

		5/18/99		678,200		62.5		56.25		8

		5/19/99		724,000		62.5		50.41		7

		5/20/99		717,900		66.5		268.96		16

		5/21/99		652,100		65		37.21		6

		5/22/99		618,200		67		44.89		7

		5/23/99		647,800		62.5		39.69		6

		5/24/99		722,800		60.5		57.76		8

		5/25/99		726,300		62.5		219.04		15

		5/26/99		720,600		65.5		207.36		14

		5/27/99		718,600		65		156.25		13

		5/28/99		651,000		69		70.56		8

		5/29/99		584,600		76		64.00		8

		5/30/99		551,900		76.5		26.01		5

		5/31/99		600,200		77		26.01		5

		6/1/99		683,400		78.5		108.16		10

		6/2/99		684,300		81		104.04		10

		6/3/99		692,200		76		187.69		14

		6/4/99		647,600		71		110.25		11

		6/5/99		602,900		69		75.69		9

		6/6/99		624,700		70		81.00		9

		6/7/99		700,200		84.5		116.64		11

		6/8/99		697,800		86		146.41		12

		6/9/99		728,100		75.5		106.09		10

		6/10/99		721,300		67		72.25		9

		6/11/99		658,800		64.5		51.84		7

		6/12/99		581,600		67		94.09		10

		6/13/99		612,700		74.5		90.25		10

		6/14/99		708,900		76		72.25		9

		6/15/99		700,900		74		141.61		12

		6/16/99		705,300		68		94.09		10

		6/17/99		719,000		62.5		88.36		9

		6/18/99		665,400		67		82.81		9

		6/19/99		582,600		68		37.21		6

		6/20/99		605,400		67.5		40.96		6

		6/21/99		708,000		64.5		57.76		8

		6/22/99		687,600		71.5		38.44		6

		6/23/99		701,200		76		60.84		8

		6/24/99		706,300		76.5		108.16		10

		6/25/99		629,500		73.5		106.09		10

		6/26/99		558,000		83.5		82.81		9

		6/27/99		636,100		83		72.25		9

		6/28/99		684,000		85		179.56		13

		6/29/99		679,800		84.5		144.00		12

		6/30/99		661,900		75		73.96		9

		7/1/99		667,400		76.5		47.61		7

		7/2/99		615,400		83		252.81		16

		7/3/99		532,400		80.5		50.41		7

		7/4/99		530,300		89		121.00		11

		7/5/99		629,900		92		136.89		12

		7/6/99		650,300		92		171.61		13

		7/7/99		679,500		83.5		169.00		13

		7/8/99		681,500		79.5		151.29		12

		7/9/99		610,500		76		65.61		8

		7/10/99		554,300		75		246.49		16

		7/11/99		592,000		69.5		134.56		12

		7/12/99		665,100		67		53.29		7

		7/13/99		674,600		68		73.96		9

		7/14/99		677,300		66.5		21.16		5

		7/15/99		669,600		73		50.41		7

		7/16/99		653,500		81		123.21		11

		7/17/99		610,900		82.5		108.16		10

		7/18/99		641,900		82.5		70.56		8

		7/19/99		659,500		85.5		65.61		8

		7/20/99		670,000		79.5		73.96		9

		7/21/99		684,300		77		60.84		8

		7/22/99		685,900		78.5		47.61		7

		7/23/99		656,200		83		59.29		8

		7/24/99		617,800		87.5		112.36		11

		7/25/99		638,700		88.5		84.64		9

		7/26/99		688,800		85		70.56		8

		7/27/99		681,300		87.5		100.00		10

		7/28/99		680,700		88		84.64		9

		7/29/99		683,900		82		38.44		6

		7/30/99		659,100		82		53.29		7

		7/31/99		631,900		81.5		47.61		7

		8/1/99		648,500		89		148.84		12

		8/2/99		690,100		81.5		98.01		10

		8/3/99		679,900		80		106.09		10

		8/4/99		679,000		77.5		70.56		8

		8/5/99		680,100		80		51.84		7

		8/6/99		645,900		79.5		102.01		10

		8/7/99		561,700		79.5		104.04		10

		8/8/99		623,300		78		156.25		13

		8/9/99		674,400		73.5		182.25		14

		8/10/99		670,800		70.5		60.84		8

		8/11/99		686,100		78.5		70.56		8

		8/12/99		679,400		81		65.61		8

		8/13/99		662,100		80.5		98.01		10

		8/14/99		583,600		80.5		31.36		6

		8/15/99		601,800		74.5		72.25		9

		8/16/99		680,400		76.5		38.44		6

		8/17/99		686,900		80.5		129.96		11

		8/18/99		688,700		80.5		127.69		11

		8/19/99		683,900		74.5		90.25		10

		8/20/99		634,600		69.5		118.81		11

		8/21/99		565,000		62.5		144.00		12

		8/22/99		602,500		67		57.76		8

		8/23/99		686,100		72.5		34.81		6

		8/24/99		706,400		76		57.76		8

		8/25/99		689,100		74.5		50.41		7

		8/26/99		682,400		75.5		92.16		10

		8/27/99		670,500		76.5		40.96		6

		8/28/99		593,400		78.5		100.00		10

		8/29/99		599,200		76		174.24		13

		8/30/99		696,800		65		285.61		17

		8/31/99		687,000		68.5		144.00		12

		9/1/99		693,800		71		158.76		12.6

		9/2/99		694,000		73.5		85.56		9.25

		9/3/99		651,600		73.5		34.81		5.9

		9/4/99		595,600		74.5		72.25		8.5

		9/5/99		544,000		75		136.89		11.7

		9/6/99		582,400		78.5		84.64		9.2

		9/7/99		669,500		78		81.00		9

		9/8/99		694,900		77.5		42.25		6.5

		9/9/99		683,000		77		33.64		5.8

		9/10/99		645,300		73		30.25		5.5

		9/11/99		587,500		72.5		70.56		8.4

		9/12/99		624,100		69.5		36.00		6

		9/13/99		698,300		70		30.25		5.5

		9/14/99		692,700		68.5		29.16		5.4

		9/15/99		692,400		69.5		140.42		11.85

		9/16/99		677,500		67.5		334.89		18.3

		9/17/99		635,200		65.5		416.16		20.4

		9/18/99		600,900		64.5		84.64		9.2

		9/19/99		615,600		64.5		50.41		7.1

		9/20/99		663,200		66.5		43.56		6.6

		9/21/99		712,900		60.5		116.64		10.8

		9/22/99		820,100		55		275.56		16.6

		9/23/99		729,500		61		114.49		10.7

		9/24/99		646,300		65.5		106.09		10.3

		9/25/99		598,700		67		94.09		9.7

		9/26/99		648,112		61		43.56		6.6

		9/27/99		686,000		64.5		38.44		6.2

		9/28/99		676,200		71.5		33.64		5.8

		9/29/99		675,000		71.5		90.25		9.5

		9/30/99		723,500		64		182.25		13.5

		10/1/99		684,600		59.5		102.01		10.1

		10/2/99		606,500		62.5		73.96		8.6

		10/3/99		610,700		67.5		70.56		8.4

		10/4/99		734,300		59		139.24		11.8

		10/5/99		978,900		50		125.44		11.2

		10/6/99		934,600		54.5		171.61		13.1

		10/7/99		1,097,600		46.5		70.56		8.4

		10/8/99		808,900		51		81.00		9

		10/9/99		603,700		63.5		108.16		10.4

		10/10/99		618,900		64		90.25		9.5

		10/11/99		773,400		63.5		116.64		10.8

		10/12/99		825,800		56.5		39.69		6.3

		10/13/99		722,500		60.5		90.25		9.5

		10/14/99		1,038,700		54		364.81		19.1

		10/15/99		942,900		48		29.16		5.4

		10/16/99		688,000		57		28.09		5.3

		10/17/99		695,900		62.5		20.25		4.5

		10/18/99		1,011,400		54		342.25		18.5

		10/19/99		1,069,200		46.5		47.61		6.9

		10/20/99		1,060,000		53		51.84		7.2

		10/21/99		1,079,500		53		46.24		6.8

		10/22/99		934,800		53		57.76		7.6

		10/23/99		1,080,600		50		163.84		12.8

		10/24/99		1,158,000		47		116.64		10.8

		10/25/99		1,111,400		49.5		92.16		9.6

		10/26/99		944,700		55.5		148.84		12.2

		10/27/99		1,082,600		52.5		132.25		11.5

		10/28/99		1,117,900		47.5		57.76		7.6

		10/29/99		860,000		56		26.01		5.1

		10/30/99		774,800		57.5		29.16		5.4

		10/31/99		716,100		64.5		116.64		10.8

		11/1/99		835,200		59.5		29.16		5.4

		11/2/99		842,800		58.5		169.00		13

		11/3/99		1,354,600		52		285.61		16.9

		11/4/99		1,367,000		44.5		222.01		14.9

		11/5/99		972,300		51		153.76		12.4

		11/6/99		921,300		58.5		151.29		12.3

		11/7/99		1,334,700		45		259.21		16.1

		11/8/99		1,412,700		41.5		62.41		7.9

		11/9/99		944,900		50		104.04		10.2

		11/10/99		795,100		63		222.01		14.9

		11/11/99		1,405,300		50		268.96		16.4

		11/12/99		1,174,800		41.5		158.76		12.6

		11/13/99		1,109,600		50		77.44		8.8

		11/14/99		1,158,400		50.5		100.00		10

		11/15/99		1,514,800		42.5		302.76		17.4

		11/16/99		1,709,400		37.5		388.09		19.7

		11/17/99		1,627,500		38.5		187.69		13.7

		11/18/99		1,326,900		39.5		50.41		7.1

		11/19/99		1,054,800		51		29.16		5.4

		11/20/99		791,000		59		50.41		7.1

		11/21/99		866,600		58		13.69		3.7

		11/22/99		943,800		54.5		8.41		2.9

		11/23/99		858,600		58		3.61		1.9

		11/24/99		781,900		61		77.44		8.8

		11/25/99		934,900		54		108.16		10.4

		11/26/99		732,300		56.5		82.81		9.1

		11/27/99		1,020,100		54.5		94.09		9.7

		11/28/99		1,354,400		47.5		169.00		13

		11/29/99		1,708,800		41.5		96.04		9.8

		11/30/99		1,966,400		34		262.44		16.2

		12/1/99		2,028,900		29.5		313.29		17.7

		12/2/99		1,660,800		38.5		79.21		8.9

		12/3/99		1,250,000		44.5		47.61		6.9

		12/4/99		1,032,300		53		73.96		8.6

		12/5/99		964,500		54		32.49		5.7

		12/6/99		1,133,500		54.5		28.09		5.3

		12/7/99		1,538,900		45		262.44		16.2

		12/8/99		1,528,800		42		42.25		6.5

		12/9/99		1,420,200		44.5		12.25		3.5

		12/10/99		1,372,000		48.5		73.96		8.6

		12/11/99		1,539,000		41.5		457.96		21.4

		12/12/99		1,635,300		40.5		77.44		8.8

		12/13/99		1,581,000		38.5		51.84		7.2

		12/14/99		1,595,900		42		240.25		15.5

		12/15/99		1,406,700		44		65.61		8.1

		12/16/99		1,631,400		44		182.25		13.5

		12/17/99		1,629,400		38		108.16		10.4

		12/18/99		1,584,900		38		47.61		6.9

		12/19/99		1,670,200		36.5		125.44		11.2

		12/20/99		1,469,700		46		114.49		10.7

		12/21/99		1,672,000		43.5		112.36		10.6

		12/22/99		1,858,500		35.5		77.44		8.8

		12/23/99		1,850,900		33.5		116.64		10.8

		12/24/99		2,038,600		25.5		176.89		13.3

		12/25/99		1,959,400		24		90.25		9.5

		12/26/99		1,904,400		28.5		198.81		14.1

		12/27/99		2,023,800		32		184.96		13.6

		12/28/99		2,053,300		24.5		84.64		9.2

		12/29/99		1,883,900		32		182.25		13.5

		12/30/99		1,514,200		42		151.29		12.3

		12/31/99		1,599,400		37		32.49		5.7

		1/1/00		1,417,500		40.5		33.64		5.8

		1/2/00		1,057,600		49		33.64		5.8

		1/3/00		1,005,100		57.5		64.00		8

		1/4/00		1,193,600		58		139.24		11.8

		1/5/00		1,945,500		38.5		237.16		15.4

		1/6/00		1,785,000		34		43.56		6.6

		1/7/00		1,697,900		41.5		96.04		9.8

		1/8/00		1,586,500		34		68.89		8.3

		1/9/00		1,320,200		43		31.36		5.6

		1/10/00		1,388,200		51.5		123.21		11.1

		1/11/00		1,572,400		45.5		345.96		18.6

		1/12/00		1,572,300		42.5		148.84		12.2

		1/13/00		2,073,800		29		187.69		13.7

		1/14/00		2,170,800		18		432.64		20.8

		1/15/00		1,838,100		22		51.84		7.2

		1/16/00		1,902,300		35		252.81		15.9

		1/17/00		2,404,900		14.5		571.21		23.9

		1/18/00		2,239,500		12.5		96.04		9.8

		1/19/00		2,013,400		21.5		49.00		7

		1/20/00		2,048,200		26		106.09		10.3

		1/21/00		2,351,700		16		492.84		22.2

		1/22/00		2,126,800		14		169.00		13

		1/23/00		1,945,600		23.5		24.01		4.9

		1/24/00		1,882,900		32.5		37.21		6.1

		1/25/00		2,172,800		27		470.89		21.7

		1/26/00		2,054,600		27		231.04		15.2

		1/27/00		2,262,600		17.5		331.24		18.2

		1/28/00		2,189,300		18		285.61		16.9

		1/29/00		1,964,800		26		47.61		6.9

		1/30/00		1,876,900		28.5		9.00		3

		1/31/00		1,989,300		33		246.49		15.7

		2/1/00		2,143,000		31.5		219.04		14.8

		2/2/00		2,206,200		26		295.84		17.2

		2/3/00		2,038,000		27.5		43.56		6.6

		2/4/00		1,970,100		28.5		25.00		5

		2/5/00		1,907,600		30.5		153.76		12.4

		2/6/00		1,912,700		32		213.16		14.6

		2/7/00		1,993,600		35		259.21		16.1

		2/8/00		2,160,100		26		67.24		8.2

		2/9/00		1,780,600		34.5		100.00		10

		2/10/00		1,504,400		41		18.49		4.3

		2/11/00		1,777,600		40		84.64		9.2

		2/12/00		2,038,100		28		37.21		6.1

		2/13/00		1,704,700		31.5		14.44		3.8

		2/14/00		1,597,600		46.5		129.96		11.4

		2/15/00		1,845,700		38		190.44		13.8

		2/16/00		1,689,000		42.5		100.00		10

		2/17/00		1,991,900		33.5		132.25		11.5

		2/18/00		1,949,800		32.5		94.09		9.7

		2/19/00		1,824,600		32		70.56		8.4

		2/20/00		1,783,600		35		139.24		11.8

		2/21/00		1,806,600		36.5		70.56		8.4

		2/22/00		1,625,000		41		23.04		4.8

		2/23/00		1,368,000		45		49.00		7

		2/24/00		1,093,500		54.5		30.25		5.5

		2/25/00		1,355,300		48		84.64		9.2

		2/26/00		1,359,300		42.5		88.36		9.4

		2/27/00		1,191,900		49.5		13.69		3.7

		2/28/00		1,565,000		49.5		285.61		16.9

		2/29/00		1,504,200		45.5		216.09		14.7

		3/1/00		1,436,200		41.5		16.00		4

		3/2/00		1,705,600		42.5		259.21		16.1

		3/3/00		1,620,200		42		338.56		18.4

		3/4/00		1,277,700		44		121.00		11

		3/5/00		1,308,900		50.5		176.89		13.3

		3/6/00		1,398,100		46.5		187.69		13.7

		3/7/00		1,056,200		50.5		81.00		9

		3/8/00		1,018,100		57.5		28.09		5.3

		3/9/00		885,200		60.5		47.61		6.9

		3/10/00		1,127,600		53.5		99.00		9.95

		3/11/00		1,408,800		42		169.00		13

		3/12/00		1,623,500		42.5		187.69		13.7

		3/13/00		1,558,600		40		88.36		9.4

		3/14/00		1,363,900		46.5		72.25		8.5

		3/15/00		1,087,100		53.5		127.69		11.3

		3/16/00		1,077,200		58		108.16		10.4

		3/17/00		1,915,500		40.5		334.89		18.3

		3/18/00		1,669,000		30		98.01		9.9

		3/19/00		1,562,400		35.5		31.36		5.6

		3/20/00		1,579,100		40.5		73.96		8.6

		3/21/00		1,695,400		41.5		252.81		15.9

		3/22/00		1,493,900		45.5		136.89		11.7

		3/23/00		1,077,300		50.5		10.24		3.2

		3/24/00		910,900		57.5		53.29		7.3

		3/25/00		799,900		58		59.29		7.7

		3/26/00		1,043,000		58.5		136.89		11.7

		3/27/00		1,018,100		49		64.00		8

		3/28/00		1,119,100		53.5		231.04		15.2

		3/29/00		1,290,100		50		338.56		18.4

		3/30/00		1,228,700		50.5		139.24		11.8

		3/31/00		1,156,500		49.5		127.69		11.3

		4/1/00		842,300		52.5		33.64		5.8

		4/2/00		825,100		57		139.24		11.8

		4/3/00		822,300		63		31.36		5.6

		4/4/00		1,047,700		57.5		231.04		15.2

		4/5/00		1,474,000		43.5		249.64		15.8

		4/6/00		963,700		54.5		132.25		11.5

		4/7/00		869,500		58		64.00		8

		4/8/00		854,400		64		207.36		14.4

		4/9/00		1,511,600		40.5		424.36		20.6

		4/10/00		1,343,200		46		174.24		13.2

		4/11/00		1,425,100		41.5		46.24		6.8

		4/12/00		1,432,800		46.5		210.25		14.5

		4/13/00		1,374,600		43.5		77.44		8.8

		4/14/00		1,046,700		45		34.81		5.9

		4/15/00		810,000		54		1.44		1.2

		4/16/00		791,300		64.5		50.41		7.1

		4/17/00		1,440,400		47.5		141.61		11.9

		4/18/00		1,469,500		43.5		320.41		17.9

		4/19/00		1,062,100		52.5		153.76		12.4

		4/20/00		937,900		55.5		33.64		5.8

		4/21/00		1,189,700		48		198.81		14.1

		4/22/00		1,100,400		48		171.61		13.1

		4/23/00		1,161,300		49		141.61		11.9

		4/24/00		944,600		57		156.25		12.5

		4/25/00		1,185,500		52.5		127.69		11.3

		4/26/00		1,318,100		44.5		110.25		10.5

		4/27/00		1,227,600		45.5		40.96		6.4

		4/28/00		1,032,700		53.5		44.89		6.7

		4/29/00		761,000		55.5		39.69		6.3

		4/30/00		908,100		57.5		252.81		15.9

		5/1/00		851,500		56		68.89		8.3

		5/2/00		887,700		61.5		141.61		11.9

		5/3/00		863,800		56.5		73.96		8.6

		5/4/00		775,900		60.5		94.09		9.7

		5/5/00		692,400		73.5		73.96		8.6

		5/6/00		603,100		76.5		44.89		6.7

		5/7/00		633,900		80.5		77.44		8.8

		5/8/00		717,800		81		38.44		6.2

		5/9/00		717,800		83		182.25		13.5

		5/10/00		804,600		66.5		94.09		9.7

		5/11/00		749,900		65		104.04		10.2

		5/12/00		708,400		63		59.29		7.7

		5/13/00		615,300		65		49.00		7

		5/14/00		663,700		64.5		146.41		12.1

		5/15/00		801,000		59.5		77.44		8.8

		5/16/00		757,900		60.5		68.89		8.3

		5/17/00		713,800		64.5		84.64		9.2

		5/18/00		698,300		71		163.84		12.8

		5/19/00		811,500		56.5		98.01		9.9

		5/20/00		856,400		49.5		37.21		6.1

		5/21/00		826,400		54		16.81		4.1

		5/22/00		889,800		55		27.04		5.2

		5/23/00		766,200		58.5		44.89		6.7

		5/24/00		693,900		69		88.36		9.4

		5/25/00		708,700		68		148.84		12.2

		5/26/00		691,500		68		136.89		11.7

		5/27/00		644,400		62		60.84		7.8

		5/28/00		603,100		62		67.24		8.2

		5/29/00		715,700		60		82.81		9.1

		5/30/00		826,200		58.5		90.25		9.5

		5/31/00		755,100		61		9.61		3.1

		6/1/00		721,200		73		31.73		5.6333333333

		6/2/00		680,400		81.5		66.69		8.1666666667

		6/3/00		619,700		68		114.49		10.7

		6/4/00		650,100		65		17.64		4.2

		6/5/00		760,000		65		90.25		9.5

		6/6/00		876,900		56		331.24		18.2

		6/7/00		756,800		63		132.25		11.5

		6/8/00		733,200		69.5		88.36		9.4

		6/9/00		685,600		78		124.32		11.15

		6/10/00		651,400		82.5		166.41		12.9

		6/11/00		670,700		84		179.56		13.4

		6/12/00		746,300		66.5		67.24		8.2

		6/13/00		778,900		59.5		65.61		8.1

		6/14/00		783,000		58.5		57.76		7.6

		6/15/00		743,500		67		16.00		4

		6/16/00		680,100		78		127.69		11.3

		6/17/00		643,800		82		169.00		13

		6/18/00		684,700		69.5		38.44		6.2

		6/19/00		741,800		67.5		73.96		8.6

		6/20/00		733,500		72.5		43.56		6.6

		6/21/00		722,200		75		182.25		13.5

		6/22/00		724,900		78		136.89		11.7

		6/23/00		696,900		74.5		96.04		9.8

		6/24/00		638,900		75		53.29		7.3

		6/25/00		651,700		82		166.41		12.9

		6/26/00		714,500		83		92.16		9.6

		6/27/00		692,400		81		134.56		11.6

		6/28/00		719,600		74.5		44.89		6.7

		6/29/00		713,500		70.5		26.01		5.1

		6/30/00		668,900		73		92.16		9.6

		7/1/00		619,800		75.5		44.89		6.7

		7/2/00		632,100		76.5		70.56		8.4

		7/3/00		616,000		79.5		68.89		8.3

		7/4/00		623,900		79.5		62.41		7.9

		7/5/00		668,800		79		123.21		11.1

		7/6/00		678,300		72		106.09		10.3

		7/7/00		673,700		72.5		116.64		10.8

		7/8/00		645,600		71		127.69		11.3

		7/9/00		655,200		73.5		136.89		11.7

		7/10/00		687,700		82.5		127.69		11.3

		7/11/00		692,200		77		118.81		10.9





		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0

		0

		0



8/97-7/98

8/98-7/99

8/99-7/00

Temp (F)

PSE&G Load (GS Data)

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0




_1032928445.unknown

_1032343421.xls
Chart2

		100		78

		98		80.5

		96		79.5

		94		72.5

		92		71

		90		70.5

		88		71.5

		86		71.5

		84		76

		82		75.5

		80		76

		78		76

		76		77.5

		74		78.5

		72		75.5

		70		85.5

		68		83

		66		71

		64		67.5

		62		67

		60		69.5

		58		71

		56		67.5

		54		67.5

		52		71.5

		50		72

		48		71.5

		46		69.5

		44		72.5

		42		72.5

		40		76

		38		77.5

		36		66

		34		61.5

		32		64

		30		68.5

		28		71.5

		26		69

		24		67.5

		22		66

		20		72

		18		74

		16		71

		14		71

		12		70.5

		10		71.5

		8		68

		6		73

		4		71

		2		71.5

		0		58.5

				56.5

				60

				55.5

				56.5

				64

				58

				61.5

				68.5

				67

				53.5

				50.5

				58

				65.5

				71

				74

				71

				66.5

				68

				73.5

				59

				57.5

				59.5

				65.5

				57.5

				53.5

				53

				54.5

				51

				55.5

				50.5

				46.5

				55.5

				50.5

				46

				44.5

				55.5

				48.5

				46

				51.5

				52

				60.5

				52.5

				53

				51.5

				46

				46.5

				51.5

				48

				48

				48

				46

				42.5

				36

				35

				35.5

				35.5

				35

				35

				37.5

				42.5

				46

				43

				41

				35.5

				34

				46

				44.5

				42.5

				47

				43

				40.5

				39

				41

				45.5

				41

				34

				35.5

				37

				33.5

				37

				33

				35.5

				35.5

				36

				33.5

				43

				44

				39.5

				42.5

				43.5

				32

				29.5

				38

				39.5

				45.5

				43.5

				35.5

				35

				34.5

				35.5

				26

				21.5

				38.5

				52.5

				55

				47

				51

				52

				56.5

				56.5

				43

				42

				34

				40.5

				29

				32

				36.5

				37

				33.5

				35

				35.5

				34

				33

				39.5

				40

				36.5

				36.5

				35

				35.5

				43

				42.5

				39

				37.5

				39.5

				44

				39.5

				35.5

				38.5

				36.5

				36

				37.5

				41

				39

				49

				40

				31.5

				25.5

				30

				42.5

				44

				46

				48

				44.5

				45.5

				41

				39.5

				43.5

				50.5

				47

				47.5

				46

				47.5

				46.5

				45.5

				42

				40.5

				44.5

				43.5

				51

				43.5

				27

				26

				30.5

				39

				38.5

				35.5

				36

				37.5

				40.5

				43.5

				37.5

				33.5

				40

				41.5

				39

				52.5

				67.5

				70.5

				70

				71

				74

				63

				56.5

				51.5

				43.5

				45.5

				50

				55

				55

				45.5

				47

				49.5

				49

				55.5

				57

				56.5

				52

				63.5

				56.5

				53

				53

				58

				57.5

				51.5

				60.5

				59

				48.5

				48.5

				52

				58

				64

				60

				62

				62.5

				58.5

				58

				61

				62.5

				57

				58

				56

				55

				58

				54.5

				58

				68

				73.5

				61.5

				70

				75.5

				69.5

				71.5

				62

				64

				68.5

				65

				70

				68

				73

				76

				76.5

				77

				68.5

				63.5

				64

				61

				62.5

				64

				62

				60

				61.5

				65

				65.5

				63

				68

				68.5

				68

				75

				74

				76

				77

				78.5

				74.5

				69.5

				71

				78.5

				82.5

				84

				79.5

				71.5

				71.5

				75

				72

				73.5

				77

				75.5

				75.5

				71

				71.5

				67

				73

				77

				73.5

				76

				76.5

				78.5

				79.5

				81.5

				81

				81.5

				78

				83

				83.5

				87.5

				85

				80.5

				75

				77.5

				76.5

				81

				83.5

				79

				74

				72.5

				72.5

				74.5

				78.5

				76

				79

				74

				74.5

				79

				79.5

				81.5

				78

				74

				73

				77

				78.5

				67

				69

				74

				75

				78

				83.5

				84.5

				82

				79

				78

				81

				79

				79

				72.5

				71.5

				71

				73

				72

				76.5

				66.5

				62

				63.5

				67

				74

				74.5

				75

				77.5

				79.5

				70.5

				67.5

				68.5

				74.5

				77.5

				68.5

				60.5

				57.5

				64

				70.5

				80

				69

				62.5

				64

				65.5

				56.5

				54

				54

				61.5

				54

				57

				67

				61

				61

				66

				60

				60

				59.5

				55

				56.5

				56.5

				64.5

				65

				57.5

				51.5

				47.5

				52

				60.5

				59.5

				56.5

				55

				56.5

				51.5

				51

				51

				52

				49

				44.5

				44.5

				42

				41.5

				42

				46.5

				48.5

				47

				57

				47

				46.5

				49.5

				54.5

				45

				43

				42

				54.5

				45.5

				42.5

				47.5

				52

				43

				49

				45.5

				49.5

				53.5

				53.5

				53.5

				53.5

				58

				64

				56

				59.5

				62

				47

				44.5

				38.5

				40.5

				37.5

				40.5

				36.5

				38

				41

				39

				37

				41.5

				47.5

				50.5

				43.5

				23.5

				27

				28

				26

				30

				38.5

				38.5

				28

				21.5

				20

				18

				38.5

				25

				22.5

				23

				28

				27.5

				35.5

				26

				22

				37.5

				35

				18

				30.5

				33

				43.5

				45.5

				42.5

				42

				39.5

				42.5

				50.5

				51.5

				36.5

				35.5

				36.5

				38.5

				33

				30.5

				23

				29.5

				46

				48

				43.5

				39.5

				38.5

				37.5

				33.5

				36.5

				43.5

				43

				54

				34.5

				27.5

				35

				44

				43

				41

				37.5

				35.5

				30

				24

				21

				30

				34

				40

				42.5

				45

				42

				42

				45.5

				42.5

				37

				42.5

				29.5

				27

				29

				35.5

				34

				32.5

				39

				37.5

				37.5

				41

				51

				56.5

				43.5

				44

				43

				44.5

				44

				51.5

				44

				41

				44.5

				46

				57

				55.5

				58.5

				56.5

				55.5

				50.5

				53

				47

				50.5

				60

				66.5

				53

				51.5

				41.5

				47.5

				52

				56

				57.5

				48.5

				50

				52

				50

				47.5

				51.5

				53.5

				50.5

				50

				51

				61.5

				55.5

				54

				58

				55

				54

				57

				56

				56.5

				65.5

				60.5

				57.5

				60

				66

				64

				60.5

				62.5

				60.5

				57.5

				60.5

				58

				60.5

				62.5

				62.5

				66.5

				65

				67

				62.5

				60.5

				62.5

				65.5

				65

				69

				76

				76.5

				77

				78.5

				81

				76

				71

				69

				70

				84.5

				86

				75.5

				67

				64.5

				67

				74.5

				76

				74

				68

				62.5

				67

				68

				67.5

				64.5

				71.5

				76

				76.5

				73.5

				83.5

				83

				85

				84.5

				75

				76.5

				83

				80.5

				89

				92

				92

				83.5

				79.5

				76

				75

				69.5

				67

				68

				66.5

				73

				81

				82.5

				82.5

				85.5

				79.5

				77

				78.5

				83

				87.5

				88.5

				85

				87.5

				88

				82

				82

				81.5

				89

				81.5

				80

				77.5

				80

				79.5

				79.5

				78

				73.5

				70.5

				78.5

				81

				80.5

				80.5

				74.5

				76.5

				80.5

				80.5

				74.5

				69.5

				62.5

				67

				72.5

				76

				74.5

				75.5

				76.5

				78.5

				76

				65

				68.5

				71

				73.5

				73.5

				74.5

				75

				78.5

				78

				77.5

				77

				73

				72.5

				69.5

				70

				68.5

				69.5

				67.5

				65.5

				64.5

				64.5

				66.5

				60.5

				55

				61

				65.5

				67

				61

				64.5

				71.5

				71.5

				64

				59.5

				62.5

				67.5

				59

				50

				54.5

				46.5

				51

				63.5

				64

				63.5

				56.5

				60.5

				54

				48

				57

				62.5

				54

				46.5

				53

				53

				53

				50

				47

				49.5

				55.5

				52.5

				47.5

				56

				57.5

				64.5

				59.5

				58.5

				52

				44.5

				51

				58.5

				45

				41.5

				50

				63

				50

				41.5

				50

				50.5

				42.5

				37.5

				38.5

				39.5

				51

				59

				58

				54.5

				58

				61

				54

				56.5

				54.5

				47.5

				41.5

				34

				29.5

				38.5

				44.5

				53

				54

				54.5

				45

				42

				44.5

				48.5

				41.5

				40.5

				38.5

				42

				44

				44

				38

				38

				36.5

				46

				43.5

				35.5

				33.5

				25.5

				24

				28.5

				32

				24.5

				32

				42

				37

				40.5

				49

				57.5

				58

				38.5

				34

				41.5

				34

				43

				51.5

				45.5

				42.5

				29

				18

				22

				35

				14.5

				12.5

				21.5

				26

				16

				14

				23.5

				32.5

				27

				27

				17.5

				18

				26

				28.5

				33

				31.5

				26

				27.5

				28.5

				30.5

				32

				35

				26

				34.5

				41

				40

				28

				31.5

				46.5

				38

				42.5

				33.5

				32.5

				32

				35

				36.5

				41

				45

				54.5

				48

				42.5

				49.5

				49.5

				45.5

				41.5

				42.5

				42

				44

				50.5

				46.5

				50.5

				57.5

				60.5

				53.5

				42

				42.5

				40

				46.5

				53.5

				58

				40.5

				30

				35.5

				40.5

				41.5

				45.5

				50.5

				57.5

				58

				58.5

				49

				53.5

				50

				50.5

				49.5

				52.5

				57

				63

				57.5

				43.5

				54.5

				58

				64

				40.5

				46

				41.5

				46.5

				43.5

				45

				54

				64.5

				47.5

				43.5

				52.5

				55.5

				48

				48

				49

				57

				52.5

				44.5

				45.5

				53.5

				55.5

				57.5

				56

				61.5

				56.5

				60.5

				73.5

				76.5

				80.5

				81

				83

				66.5

				65

				63

				65

				64.5

				59.5

				60.5

				64.5

				71

				56.5

				49.5

				54

				55

				58.5

				69

				68

				68

				62

				62

				60

				58.5

				61

				73

				81.5

				68

				65

				65

				56

				63

				69.5

				78

				82.5

				84

				66.5

				59.5

				58.5

				67

				78

				82

				69.5

				67.5

				72.5

				75

				78

				74.5

				75

				82

				83

				81

				74.5

				70.5

				73

				75.5

				76.5

				79.5

				79.5

				79

				72

				72.5

				71

				73.5

				82.5

				77



Fit

Data

Tavg

Load

Figure 3 Daily Load Data

664961.862070982

632942

664204.224217844

575885

663360.765947544

603430

662421.67478974

693011

661376.686812754

688152

660215.895786806

688152

658931.493589219

698422

657521.2304678

648474

655994.898496262

566465

654385.843275701

597499

652770.30880875

695074

651298.023175508

694125

650237.208924789

693661

650035.121728524

682255

651390.015664848

577302

655321.226707842

564240

663211.623372922

617995

676785.03959829

691786

697978.848151734

689970

728690.034425033

707900

770417.924992702

697972

823874.205490608

648117

888704.787019473

559625

963445.590579444

599843

1045773.81535432

709103

1132983.45510163

704924

1222508.19150031

702611

1312290.61668534

689664

1400895.82681141

558378

1487407.14922187

548875

1571227.78092665

587438

1651903.04615343

672880

1729012.21679922

681095

1802123.13270613

685462

1870780.30758715

631879

1934509.38239778

573718

1992831.4583149

604641

2045283.43406678

712067

2091446.50237232

714975

2130987.69517738

708882

2163708.81538046

716300

2189607.02860121

637100

2208938.82940792

655383

2222274.54488536

612952

2230520.64555688

698076

2234876.42624248

717320

2236689.51807194

689501

2237203.2503101

706244

2237277.09061693

670322

2237279.80641136

620967

2237279.80891036

680823

740322

767868

858348

770608

716418

641079

626381

718620

743655

919325

880520

721477

616377

613758

621330

642361

651829

630217

609925

640284

665434

678943

657958

820392

905316

841373

789101

929750

880388

999193

1218219

1229374

931496

1152333

1064534

1095268

1335533

1208708

1082337

792340

733732

1007689

955603

1148945

1191826

1116822

1109878

1125425

1160446

1289200

1352111

1544114

1564678

1672555

1570795

1725644

1793062

1733962

1576400

1514838

1573544

1369617

1477113

1842309

1644536

1327414

1392243

1335509

1224241

1363610

1779556

1724597

1428825

1286303

1656082

1730178

1602656

1698537

1624241

1715003

1788697

1676695

1609396

1801718

1754759

1527159

1541826

1599589

1436395

1474724

1807344

1804733

1618011

1434938

1236199

1428257

1656821

1800797

1685012

1888912

2168355

2017971

1492475

1156591

1125172

1332934

1035253

1025178

901547

1143432

1402312

1541509

1605583

1767377

2004989

1810341

1784966

1605002

1604039

1753477

1915444

1855039

1805819

1602518

1507565

1773374

1784404

1823518

1892166

1487499

1545672

1612910

1585412

1468269

1538497

1785740

1855063

1633075

1602716

1687807

1627657

1539054

1326233

1450858

1655599

1872234

1903469

1713225

1614678

1669894

1449452

1360709

1358440

1333786

1656159

1759403

1541042

1357249

1129148

1181109

1253166

1266364

1427064

1454777

1580281

1399394

1225461

1467349

1111780

1856899

2147955

2085523

1756236

1611774

1620648

1698873

1497042

1584353

1525080

1425222

1662159

1649443

1579104

1528310

1420067

953512

673957

603249

660449

690886

697040

753888

825563

885068

1105167

1182573

1147696

945662

1016461

1344413

1114213

990676

975355

898979

843606

906773

872679

802710

739262

983489

1024803

859723

850198

1080180

784266

772470

1140739

1087923

971230

744112

712316

724027

624862

631589

744940

752658

722780

737571

777773

738622

829436

992970

970873

924025

788791

672163

613619

676779

706949

674592

704471

719262

699582

605809

573950

634142

706641

714268

693973

663717

594659

610245

708668

692994

724066

731011

685128

612207

680243

753722

741102

731809

738682

669740

585206

669173

702400

722732

720100

705097

654800

588184

613452

700695

711284

708259

692673

656060

586694

593878

685314

704957

691184

645189

571269

524135

551662

662727

661537

663866

666792

609920

547840

569242

654331

691115

666706

674084

622946

565384

596645

694179

690073

676339

672238

624114

561616

587435

668793

685290

707798

672684

635675

574990

603643

691455

678701

715295

681665

650297

587051

532917

691206

686976

682094

691645

624969

530605

575557

701369

689631

631424

565924

583951

688189

692684

683214

694386

636132

571833

608846

709594

695597

702356

689346

637494

564664

542484

684241

701807

660133

610972

573274

614455

681453

693969

697686

695308

630832

575526

597646

683094

703322

749826

722599

634602

541233

642268

712886

697002

682263

761262

730869

742682

774128

826578

861777

786492

742080

714855

667294

663456

673977

767144

852111

906751

826469

679033

629888

781881

881552

1075598

1216386

968520

793583

771028

852019

894923

850398

1079548

1036615

938295

961780

1192497

1317673

1454854

1418463

1429676

1143944

1209095

1293149

1083225

1119202

1274289

1225566

956739

1129039

1164892

1440771

1187011

1097275

1308228

1340581

1127103

1243735

1220305

1083971

1256426

1008903

966965

1045094

1196276

1074027

889709

791190

907911

813305

921948

1273591

1475709

1453581

1519201

1390461

1459143

1708884

1547526

1494601

1632105

1682275

1298247

1241258

1109789

1897309

2064770

1940840

1887480

1971731

1724898

1606383

1668811

2232511

2072167

2201100

2033100

1732700

2282500

2142900

2142300

2188300

2014900

1891100

2111300

2246400

1609800

1963000

2400700

2056600

1662600

1436000

1493000

1606700

1689500

1568100

1516000

1130400

1366200

1868800

1826500

1596400

1605800

1831700

1936000

2122300

1749200

1335500

1445200

1611700

1699100

1592700

1673500

1901600

1693400

1554400

1345100

1306100

1842100

1960700

1642400

1424000

1426600

1629200

1654100

1709000

2009900

2131900

2028700

1921200

1743500

1621400

1357500

1420900

1634300

1541500

1288500

1910200

1622500

1583300

2196900

2130000

1946300

1852100

1941700

1957300

1497500

1684100

1860800

1537200

1061700

1223100

1487800

1338000

1345900

1613300

1319800

1180900

1436100

1359200

1151400

1200300

1001600

1080400

875200

860200

848900

814300

1076100

1133600

978900

845300

764900

1150700

1012100

1335900

1261700

1166700

1027700

884100

1151000

1031200

995000

1077000

1270100

1037300

944800

1162600

1058500

899100

827100

872200

859600

855300

858700

787300

767500

885700

791800

729400

766300

774800

701900

670800

740300

742000

706200

780100

745100

657400

656700

699000

678200

724000

717900

652100

618200

647800

722800

726300

720600

718600

651000

584600

551900

600200

683400

684300

692200

647600

602900

624700

700200

697800

728100

721300

658800

581600

612700

708900

700900

705300

719000

665400

582600

605400

708000

687600

701200

706300

629500

558000

636100

684000

679800

661900

667400

615400

532400

530300

629900

650300

679500

681500

610500

554300

592000

665100

674600

677300

669600

653500

610900

641900

659500

670000

684300

685900

656200

617800

638700

688800

681300

680700

683900

659100

631900

648500

690100

679900

679000

680100

645900

561700

623300

674400

670800

686100

679400

662100

583600

601800

680400

686900

688700

683900

634600

565000

602500

686100

706400

689100

682400

670500

593400

599200

696800

687000

693800

694000

651600

595600

544000

582400

669500

694900

683000

645300

587500

624100

698300

692700

692400

677500

635200

600900

615600

663200

712900

820100

729500

646300

598700

648112

686000

676200

675000

723500

684600

606500

610700

734300

978900

934600

1097600

808900

603700

618900

773400

825800

722500

1038700

942900

688000

695900

1011400

1069200

1060000

1079500

934800

1080600

1158000

1111400

944700

1082600

1117900

860000

774800

716100

835200

842800

1354600

1367000

972300

921300

1334700

1412700

944900

795100

1405300

1174800

1109600

1158400

1514800

1709400

1627500

1326900

1054800

791000

866600

943800

858600

781900

934900

732300

1020100

1354400

1708800

1966400

2028900

1660800

1250000

1032300

964500

1133500

1538900

1528800

1420200

1372000

1539000

1635300

1581000

1595900

1406700

1631400

1629400

1584900

1670200

1469700

1672000

1858500

1850900

2038600

1959400

1904400

2023800

2053300

1883900

1514200

1599400

1417500

1057600

1005100

1193600

1945500

1785000

1697900

1586500

1320200

1388200

1572400

1572300

2073800

2170800

1838100

1902300

2404900

2239500

2013400

2048200

2351700

2126800

1945600

1882900

2172800

2054600

2262600

2189300

1964800

1876900

1989300

2143000

2206200

2038000

1970100

1907600

1912700

1993600

2160100

1780600

1504400

1777600

2038100

1704700

1597600

1845700

1689000

1991900

1949800

1824600

1783600

1806600

1625000

1368000

1093500

1355300

1359300

1191900

1565000

1504200

1436200

1705600

1620200

1277700

1308900

1398100

1056200

1018100

885200

1127600

1408800

1623500

1558600

1363900

1087100

1077200

1915500

1669000

1562400

1579100

1695400

1493900

1077300

910900

799900

1043000

1018100

1119100

1290100

1228700

1156500

842300

825100

822300

1047700

1474000

963700

869500

854400

1511600

1343200

1425100

1432800

1374600

1046700

810000

791300

1440400

1469500

1062100

937900

1189700

1100400

1161300

944600

1185500

1318100

1227600

1032700

761000

908100

851500

887700

863800

775900

692400

603100

633900

717800

717800

804600

749900

708400

615300

663700

801000

757900

713800

698300

811500

856400

826400

889800

766200

693900

708700

691500

644400

603100

715700

826200

755100

721200

680400

619700

650100

760000

876900

756800

733200

685600

651400

670700

746300

778900

783000

743500

680100

643800

684700

741800

733500

722200

724900

696900

638900

651700

714500

692400

719600

713500

668900

619800

632100

616000

623900

668800

678300

673700

645600

655200

687700

692200



Notes

		Notes for PSE&G and LILCO Forecasting

		1. The forecast uncertainity depends on temperature and is plus or minus the number given in Table 1.						Table 1 Forecast Uncertainity

										PSE&G		LILCO

										250,000		60,000

										200,000		45,000

		3. There is no correction for year to year load growth in the models.  The forecasts represent the time mid-point of the data.  This is '98-'99 for PSE&G and '97-'98 for LILCO.  The data indicates a yearly growth of 1% for PSE&G and 1.5% for LILCO.								80,000		10,000





LILCO Model 2

								Coefficients

								A		B		S1		S2		C1		C2		D		Load = 539,547 - 11,730* [V(23.14, 0.69) - V(61.53, 0.10)]

								555,290		14,632		42.99		61.19		1.15		0.11		0.87				where

								539,547		11,730		23.14		61.53		0.69		0.10		1

				Forecasts				Date		Tavg		Load Forecast  (bcf)				Data

								9/17/00		100		77,543		86,895		61		92,497

								9/17/00		98		78,651		86,724		63		86,253

								9/17/00		96		79,670		86,539		53		125,616

								9/17/00		94		80,594		86,338		46		173,398

								9/17/00		92		81,420		86,120		47.5		159,284

								9/17/00		90		82,144		85,884		49.5		147,002

								9/17/00		88		82,763		85,628		54.5		110,536

								9/17/00		86		83,274		85,354		57.5		127,692

								9/17/00		84		83,677		85,064		61		106,225

								9/17/00		82		83,978		84,766		55		138,459

								9/17/00		80		84,193		84,478		49.5		185,084

								9/17/00		78		84,355		84,236		47		163,178

								9/17/00		76		84,530		84,106		56		118,301

								9/17/00		74		84,830		84,202		63.5		120,630

								9/17/00		72		85,439		84,710		51.5		164,429

								9/17/00		70		86,632		85,902		59		111,033

								9/17/00		68		88,788		88,153		67		94,677

								9/17/00		66		92,379		91,928		58		123,622

								9/17/00		64		97,932		97,729		53		143,627

								9/17/00		62		105,941		106,016		50.5		139,718

								9/17/00		60		116,759		117,095		52.5		164,367

								9/17/00		58		130,491		131,015		55		152,377

								9/17/00		56		146,936		147,530		60.5		111,460

								9/17/00		54		165,616		166,142		58		118,871

								9/17/00		52		185,883		186,218		57.5		127,061

								9/17/00		50		207,073		207,145		54.5		141,080

								9/17/00		48		228,633		228,431		58		105,358

								9/17/00		46		250,183		249,754		57		147,115

								9/17/00		44		271,501		270,930		52		169,603

								9/17/00		42		292,475		291,861		57.5		154,497

								9/17/00		40		313,044		312,488		53.5		170,476

								9/17/00		38		333,169		332,762		43.5		251,418

								9/17/00		36		352,814		352,631		43.5		261,270

								9/17/00		34		371,942		372,037		40.5		258,913

								9/17/00		32		390,511		390,914		42.5		223,966

								9/17/00		30		408,476		409,184		49.5		168,572

								9/17/00		28		425,785		426,760		55.5		145,750

								9/17/00		26		442,383		443,540		62.5		107,663

								9/17/00		24		458,205		459,410		66.5		100,005

								9/17/00		22		473,182		474,239		55		179,846

								9/17/00		20		487,233		487,886		42		252,730

								9/17/00		18		500,272		500,195		37		300,271

								9/17/00		16		512,199		511,005		37.5		331,326

								9/17/00		14		522,906		520,159		34.5		326,378

								9/17/00		12		532,274		527,521		33		358,294

								9/17/00		10		540,174		533,013		31.5		370,900

								9/17/00		8		546,479		536,658		33.5		336,971

								9/17/00		6		551,079		538,651		41.5		266,852

								9/17/00		4		553,922		539,411		46		233,128

								9/17/00		2		555,132		539,544		44.5		270,662

								9/17/00		0		555,290		539,547		38		322,685

																37.5		328,938

																40.5		307,537

																40.5		263,008

																41.5		263,258

																47		194,729

																45.5		258,696

																29.5		406,015

																26.5		388,767

																33		353,247

																36.5		266,022

																53		194,050

																47		280,165

																39.5		293,724

																43		297,446

																38.5		286,105

																40		333,283

																39.5		314,164

																40.5		309,415

																35.5		348,716

																36		317,207

																40.5		261,756

																46.5		275,565

																42.5		293,146

																40		306,182

																41		292,914

																43		265,233

																51		211,182

																50		200,038

																39		321,533

																26		455,035

																25.5		412,653

																30		351,504

																39.5		285,934

																50.5		243,663

																36		358,238

																31.5		345,062

																42.5		282,253

																41		249,428

																50		214,916

																41.5		296,015

																25		467,404

																20		443,274

																34.5		320,849

																51		208,078

																46		238,228

																48.5		225,750

																43		311,464

																32		418,588

																31.5		420,033

																30.5		391,730

																34.5		355,965

																26		443,189

																22		475,206

																25		448,271

																25.5		435,377

																28.5		377,465

																34.5		375,831

																17.5		531,578

																12.5		547,294

																12		503,270

																24		406,032

																33		399,602

																38.5		295,263

																40		317,578

																32		373,347

																41.5		312,338

																29		434,476

																29		406,169

																38.5		390,013

																26.5		454,436

																25		432,900

																32.5		355,869

																43.5		295,272

																39.5		290,539

																41		319,124

																34		357,543

																44.5		288,120

																37.5		343,306

																36		347,098

																30		407,988

																31		392,441

																29		401,745

																33		363,276

																32.5		389,752

																28.5		392,513

																36		309,856

																40.5		326,127

																31.5		347,465

																29		390,029

																45		283,419

																56		204,763

																44		265,632

																49.5		212,261

																54		242,118

																40		298,705

																37		344,951

																26		405,753

																42		255,546

																60		170,988

																51		244,570

																42		275,552

																51.5		235,426

																37.5		351,796

																34.5		343,822

																41		288,433

																42		334,822

																36.5		352,502

																42.5		317,898

																30		346,097

																42		264,789

																43.5		309,132

																38		343,854

																33		354,999

																42.5		309,416

																40		331,795

																30.5		396,784

																35.5		324,859

																42.5		280,863

																37		333,733

																41.5		333,495

																43		247,022

																45.5		282,530

																33.5		353,391

																36		323,060

																44.5		275,499

																51		268,136

																51.5		179,833

																55		159,421

																49		179,997

																58		138,055

																44		342,781

																41.5		345,001

																49		239,959

																51.5		188,066

																59.5		138,013

																51		171,303

																55		168,573

																62.5		136,209

																49.5		214,417

																36.5		341,574

																39		288,742

																44.5		235,172

																46		204,576

																57.5		157,103

																49		217,070

																46		215,682

																52		168,130

																51		199,890

																41		327,933

																46.5		246,177

																49		186,398

																50		182,122

																52		156,512

																53.5		167,677

																50.5		215,002

																52.5		157,225

																58		135,995

																54.5		138,281

																56		162,501

																59.5		129,716

																61		119,575

																63.5		133,369

																57.5		131,234

																61		151,010

																57		151,256

																55.5		139,632

																59		167,443

																50		194,976

																52		144,442

																53.5		141,072

																57		139,450

																58		119,327

																65.5		107,625

																57		123,637

																56.5		115,030

																64		104,594

																56.5		131,336

																57		122,013

																56.5		113,300

																69		94,733

																62		102,649

																57		122,438

																56.5		128,056

																60		103,638

																64.5		93,172

																61.5		95,486

																63.5		101,189

																56.5		119,695

																60		103,632

																59		103,080

																63		95,907

																66		94,134

																69.5		89,939

																57.5		122,553

																56		127,096

																59.5		109,746

																61.5		102,787

																59		102,512

																59.5		103,676

																60.5		104,869

																63		97,854

																74		89,156

																79.5		88,885

																79		86,592

																73.5		86,198

																73		85,233

																64.5		91,484

																63.5		86,359

																63.5		88,915

																66		94,212

																74.5		85,834

																76.5		83,582

																82		85,232

																83.5		83,793

																78		83,835

																75		84,671

																83.5		84,335

																83		84,400

																78		82,284

																75.5		76,838

																77.5		79,165

																77.5		80,310

																77.5		82,149

																73		80,761

																81		76,940

																79.5		74,719

																73.5		73,139

																72		78,112

																75		80,105

																76.5		81,012

																80.5		84,211

																73.5		81,277

																74.5		75,220

																78		77,395

																82		76,608

																84		83,460

																88.5		80,093

																83		82,708

																87		82,396

																82		78,974

																75		74,445

																70		78,151

																75		79,644

																72		81,088

																72.5		82,775

																63.5		85,629

																70.5		82,555

																75.5		78,029

																82.5		83,109

																81.5		84,407

																75.5		82,491

																71		86,299

																75.5		82,791

																78		83,166

																80.5		75,763

																79.5		79,389

																72.5		82,695

																71		82,477

																70.5		82,679

																71.5		85,352

																71.5		80,420

																76		78,130

																75.5		81,876

																76		80,614

																76		80,352

																77.5		87,172

																78.5		85,030

																75.5		79,765

																85.5		75,489

																83		74,041

																71		81,095

																67.5		81,412

																67		84,805

																69.5		81,292

																71		80,289

																67.5		79,367

																67.5		79,530

																71.5		82,317

																72		83,851

																71.5		85,273

																69.5		81,220

																73.5		83,821

																72.5		78,216

																72.5		69,932

																76		79,842

																77.5		85,758

																66		86,875

																61.5		84,666

																64		81,820

																68.5		78,286

																71.5		82,718

																69		85,244

																67.5		86,454

																66		83,307

																72		83,385

																74		78,232

																71		80,805

																71		82,975

																70.5		81,266

																71.5		82,377

																68		82,148

																73		82,571

																71		79,026

																71.5		80,215

																58.5		95,363

																56.5		89,677

																60		94,610

																55.5		115,231

																56.5		93,797

																64		90,191

																58		91,176

																61.5		85,657

																68.5		82,195

																67		90,779

																53.5		126,895

																50.5		118,305

																58		102,598

																65.5		85,518

																71		85,277

																74		86,936

																71		89,277

																66.5		88,039

																68		87,313

																73.5		84,016

																59		101,453

																57.5		109,666

																59.5		109,604

																65.5		90,925

																57.5		120,088

																53.5		155,694

																53		154,074

																54.5		135,764

																51		164,870

																55.5		145,880

																50.5		174,423

																46.5		228,241

																55.5		228,128

																50.5		151,442

																46		213,996

																44.5		176,965

																55.5		184,791

																48.5		256,279

																46		218,823

																51.5		181,785

																52		89,104

																60.5		109,685

																52.5		165,316

																53		147,907

																51.5		192,849

																46		219,587

																46.5		195,125

																51.5		198,418

																48		220,515

																48		222,354

																48		228,646

																46		259,064

																42.5		304,574

																36		307,722

																35		341,367

																35.5		326,764

																35.5		369,188

																35		357,946

																35		344,011

																37.5		302,281

																42.5		297,119

																46		211,043

																43		275,237

																41		302,127

																35.5		382,825

																34		327,671

																46		244,662

																44.5		283,053

																42.5		259,312

																47		256,315

																43		256,467

																40.5		360,059

																39		348,105

																41		268,336

																45.5		239,947

																41		325,880

																34		365,055

																35.5		339,145

																37		335,771

																33.5		325,754

																37		343,316

																33		362,574

																35.5		339,403

																35.5		331,791

																36		387,864

																33.5		357,478

																43		289,933

																44		291,555

																39.5		319,184

																42.5		259,764

																43.5		301,414

																32		395,766

																29.5		373,909

																38		344,941

																39.5		287,623

																45.5		237,322

																43.5		287,452

																35.5		350,703

																35		370,372

																34.5		329,796

																35.5		400,863

																26		487,263

																21.5		441,597

																38.5		299,176

																52.5		216,946

																55		200,566

																47		240,649

																51		185,971

																52		236,669

																56.5		179,224

																56.5		230,820

																43		282,417

																42		313,953

																34		319,036

																40.5		357,644

																29		419,204

																32		361,657

																36.5		396,233

																37		334,824

																33.5		361,752

																35		371,458

																35.5		388,464

																34		372,769

																33		368,592

																39.5		309,257

																40		308,393

																36.5		368,397

																36.5		355,586

																35		367,165

																35.5		394,895

																43		296,406

																42.5		301,148

																39		335,197

																37.5		340,492

																39.5		284,421

																44		296,878

																39.5		375,395

																35.5		407,954

																38.5		336,137

																36.5		344,055

																36		374,475

																37.5		337,958

																41		298,577

																39		241,037

																49		273,642

																40		337,527

																31.5		412,885

																25.5		423,058

																30		354,746

																42.5		321,860

																44		293,077

																46		265,082

																48		261,109

																44.5		281,636

																45.5		262,024

																41		333,481

																39.5		356,776

																43.5		294,250

																50.5		245,075

																47		222,135

																47.5		229,827

																46		267,100

																47.5		248,414

																46.5		275,270

																45.5		271,196

																42		295,364

																40.5		273,684

																44.5		257,506

																43.5		298,322

																51		224,326

																43.5		381,505

																27		465,676

																26		464,303

																30.5		381,358

																39		350,205

																38.5		351,660

																35.5		346,584

																36		304,532

																37.5		331,403

																40.5		319,607

																43.5		297,234

																37.5		376,249

																33.5		373,428

																40		299,288

																41.5		291,178

																39		280,444

																52.5		201,011

																67.5		110,064

																70.5		128,263

																70		98,669

																71		99,367

																74		103,382

																63		143,136

																56.5		176,061

																51.5		178,590

																43.5		252,445

																45.5		237,271

																50		205,131

																55		166,738

																55		187,705

																45.5		272,595

																47		225,780

																49.5		200,528

																49		193,000

																55.5		150,558

																57		150,473

																56.5		173,330

																52		161,129

																63.5		157,436

																56.5		136,270

																53		196,097

																53		176,832

																58		145,895

																57.5		142,455

																51.5		238,956

																60.5		128,220

																59		141,517

																48.5		229,968

																48.5		204,751

																52		172,310

																58		124,113

																64		109,989

																60		121,679

																62		111,892

																62.5		112,086

																58.5		121,110

																58		116,904

																61		108,632

																62.5		112,364

																57		127,476

																58		135,036

																56		162,753

																55		186,693

																58		173,145

																54.5		160,489

																58		132,610

																68		102,210

																73.5		92,849

																61.5		117,299

																70		98,828

																75.5		92,553

																69.5		92,946

																71.5		91,130

																62		102,765

																64		93,525

																68.5		83,122

																65		94,965

																70		90,941

																68		88,802

																73		89,880

																76		89,341

																76.5		84,418

																77		86,079

																68.5		93,103

																63.5		91,732

																64		96,562

																61		95,913

																62.5		93,309

																64		90,202

																62		98,320

																60		96,823

																61.5		95,426

																65		91,696

																65.5		92,974

																63		88,254

																68		86,128

																68.5		85,946

																68		87,529

																75		86,470

																74		89,831

																76		89,818

																77		88,435

																78.5		81,908

																74.5		82,261

																69.5		88,302

																71		83,688

																78.5		93,528

																82.5		84,356

																84		86,247

																79.5		81,652

																71.5		79,560

																71.5		86,001

																75		85,503

																72		87,631

																73.5		80,019

																77		82,540

																75.5		69,851

																75.5		81,408

																71		83,718

																71.5		81,261

																67		86,691

																73		86,418

																77		84,872

																73.5		75,593

																76		86,945

																76.5		96,470

																78.5		85,828

																79.5		85,597

																81.5		87,759

																81		79,093

																81.5		82,574

																78		76,895

																83		86,388

																83.5		84,467

																87.5		81,485

																85		85,749

																80.5		84,334

																75		77,732

																77.5		79,181

																76.5		85,137

																81		81,672

																83.5		83,156

																79		88,521

																74		81,849

																72.5		78,869

																72.5		82,799

																74.5		82,723

																78.5		86,011

																76		83,105

																79		84,297

																74		83,895

																74.5		75,708

																79		78,862

																79.5		81,435

																81.5		85,286

																78		82,551

																74		82,288

																73		83,968

																77		81,621

																78.5		76,397

																78		84,468

																77.5		85,220

																67		84,994

																69		85,949

																74		83,419

																75		80,189

																78		79,877

																83.5		80,382

																84.5		85,462

																82		87,946

																79		88,246

																78		79,955

																81		80,661

																79		80,254

																79		85,915

																72.5		87,365

																71.5		83,572

																71		85,525

																73		80,977

																72		79,255

																76.5		78,957

																78.5		81,294

																66.5		88,612

																62		86,888

																63.5		89,423

																67		82,481

																74		78,825

																74.5		82,642

																75		85,681

																77.5		86,751

																79.5		84,511

																70.5		93,855

																67.5		84,722

																68.5		84,469

																74.5		81,419

																77.5		87,404

																68.5		88,708

																60.5		102,623

																57.5		95,951

																64		81,991

																70.5		80,106

																80		85,734

																69		87,210

																62.5		87,097

																64		84,699

																65.5		97,783

																56.5		104,020

																54		106,426

																54		118,356

																61.5		109,163

																54		140,921

																57		109,555

																67		92,860

																61		93,646

																61		94,775

																66		89,148

																60		106,601

																60		108,287

																59.5		117,759

																55		131,680

																56.5		130,854

																56.5		109,809

																64.5		95,569

																65		108,153

																57.5		130,293

																51.5		172,609

																47.5		206,667

																52		160,117

																60.5		121,305

																59.5		120,211

																56.5		138,982

																55		176,240

																56.5		137,286

																51.5		201,684

																51		194,781

																51		182,644

																52		182,818

																49		219,280

																44.5		243,143

																44.5		275,320

																42		261,038

																41.5		277,391

																42		239,675

																46.5		247,684

																48.5		244,698

																47		196,808

																57		207,902

																47		238,912

																46.5		230,002

																49.5		168,826

																54.5		209,459

																45		212,614

																48		247,345

																43		287,803

																42		210,545

																54.5		183,613

																45.5		262,559

																42.5		265,229

																47.5		201,115

																52		235,320

																43		233,689

																49		222,548

																45.5		263,768

																49.5		196,889

																53.5		181,488

																53.5		172,161

																55		210,457

																56.5		190,028

																61.5		144,451

																66		125,157

																56.5		176,189

																58.5		150,339

																61.5		148,712

																49		248,563

																45		298,744

																45.5		280,906

																43		309,869

																42		291,165

																43.5		299,989

																39.5		350,822

																43		294,763

																46		301,199

																42		327,941

																37		358,325

																43.5		256,832

																48		249,317

																48.5		216,354

																43.5		387,766

																25		431,537

																29		425,539

																29.5		410,232

																30.5		427,079

																35.5		355,314

																41.5		318,629

																39.5		316,230

																29.5		529,758

																22.5		484,096

																20		527,568

																18		483,530

																37.5		354,883

																26.5		498,544

																23		509,958

																27		455,677

																30		467,966

																29.5		407,139

																38		374,961

																26.5		460,050

																24.5		472,860

																38		309,760

																35.5		413,834

																20		528,032

																31		413,720

																34.5		353,798

																43		292,645

																46		296,202

																44		313,981

																42		346,976

																38		298,893

																40		311,401

																47.5		231,751

																49		275,733

																37.5		401,924

																36.5		387,276

																40		321,979

																36		358,572

																32		428,025

																30		458,301

																23.5		489,831

																34.5		368,070

																44.5		274,336

																46		283,245

																42		325,333

																39		357,278

																38		348,344

																37.5		364,488

																34.5		425,871

																37		363,696

																43		322,437

																42		271,515

																47.5		268,870

																34.5		384,269

																27.5		451,484

																35.5		364,577

																42.5		286,545

																40		263,861

																39.5		351,501

																38		339,678

																35		364,775

																30.5		453,479

																21.5		526,314

																21		425,116

																30.5		369,314

																32.5		395,994

																39		351,648

																42		296,894

																45.5		301,651

																41.5		316,713

																42		315,813

																48		263,471

																43.5		405,537

																36.5		337,401

																42		335,822

																29.5		498,284

																26.5		480,950

																29		412,631

																34		397,302

																33.5		410,765

																31.5		430,019

																38.5		323,337

																36		348,919

																36.5		408,046

																42		330,206

																54		218,616

																56		227,538

																41.5		315,360

																43		285,574

																44.5		274,071

																45.5		326,346

																45		268,285

																50		239,146

																43.5		287,701

																41		291,684

																44.5		267,507

																45		261,884

																55.5		174,735

																53.5		200,140

																62		146,879

																58.5		161,704

																54		170,443

																50.5		177,674

																51		228,883

																47		221,117

																52.5		176,777

																58.5		132,431

																65.5		111,278

																51.5		224,804

																50		200,216

																42		276,516

																47		232,909

																50.5		210,490

																55		177,053

																58.5		150,561

																50.5		221,455

																51		185,820

																54		171,547

																53		185,948

																48		256,979

																53		176,500

																53		172,757

																49		219,952

																50		198,651

																52.5		173,396

																62		140,702

																54.5		154,423

																53		155,968

																57.5		154,380

																55		158,272

																56		142,189

																56		125,495

																57		156,909

																56.5		125,377

																65		109,012

																61		114,694

																57		119,535

																58		121,712

																63.5		101,478

																63.5		104,952

																60		117,295

																63.5		108,850

																59.5		126,712

																56		127,254

																59		120,564

																59		111,286

																62.5		100,063

																60.5		99,708

																62		96,998

																65		107,058

																67		91,086

																69		91,589

																62		97,083

																62.5		107,169

																63		97,074

																66.5		100,836

																64		99,798

																70.5		96,240

																75.5		90,695

																76		84,061

																75.5		89,315

																75.5		98,235

																81.5		91,305

																75.5		92,060

																69.5		94,314

																69.5		86,550

																70		91,317

																84.5		90,577

																85		89,333

																74		91,400

																66.5		96,191

																65		84,521

																65.5		78,284

																72.5		81,821

																74		91,382

																72.5		91,959

																65.5		87,065

																64		90,556

																67.5		92,454

																70.5		97,059

																67.5		92,208

																64		100,097

																73		90,009

																80		94,267

																78.5		93,167

																75		90,803

																84		85,948

																83		87,598

																83.5		89,322

																83		89,883

																74.5		88,986

																74		93,312

																81		91,944

																82		84,834

																88.5		73,413

																93		82,904

																92.5		82,270

																85		88,183

																81		86,953

																79		85,281

																76.5		84,711

																73		87,790

																72		85,991

																71		86,691

																71.5		90,791

																78		88,216

																86		88,483

																88		78,884

																88		82,063

																86		84,963

																79		90,088

																76		88,748

																77		87,938

																82		86,928

																86.5		80,246

																88		80,168

																83.5		87,210

																86		86,731

																87		85,738

																82.5		89,732

																82.5		87,336

																81		81,478

																89		81,405

																81.5		84,959

																78.5		80,449

																79.5		84,056

																80		88,241

																81		82,580

																78.5		78,580

																78		82,426

																73.5		87,326

																72		83,674

																79		86,110

																81		82,854

																80.5		82,444

																78.5		84,109

																74.5		83,999

																76.5		89,824

																79.5		87,907

																79.5		90,351

																75		84,406

																69.5		91,582

																62		83,018

																66.5		84,809

																74.5		88,433

																78.5		90,986

																76		86,493

																73.5		91,700

																75.5		87,312

																80.5		83,879

																76.5		85,389

																66		89,307

																69		93,802





LILCO Model 2

		



Fit

Data

Fit2

Tavg

Load (bcf)

LILCO Fit (GS Data)



PSE&G Model

								Coefficients

								A		B		S1		S2		C1		C2

								2,237,280		53,862		31.47		60.53		0.52		0.11						Load = 2,237,279 - 53,862* [V(31.47, 0.52) - V(60.53, 0.11)]

																										where

				Forecasts				Date		Tavg		Load Forecast  (bcf)								Data

								9/17/00		100		664,962								78		632,942

								9/17/00		98		664,204								80.5		575,885

								9/17/00		96		663,361								79.5		603,430

								9/17/00		94		662,422								72.5		693,011

								9/17/00		92		661,377								71		688,152

								9/17/00		90		660,216								70.5		688,152

								9/17/00		88		658,931								71.5		698,422

								9/17/00		86		657,521								71.5		648,474

								9/17/00		84		655,995								76		566,465

								9/17/00		82		654,386								75.5		597,499

								9/17/00		80		652,770								76		695,074

								9/17/00		78		651,298								76		694,125

								9/17/00		76		650,237								77.5		693,661

								9/17/00		74		650,035								78.5		682,255

								9/17/00		72		651,390								75.5		577,302

								9/17/00		70		655,321								85.5		564,240

								9/17/00		68		663,212								83		617,995

								9/17/00		66		676,785								71		691,786

								9/17/00		64		697,979								67.5		689,970

								9/17/00		62		728,690								67		707,900

								9/17/00		60		770,418								69.5		697,972

								9/17/00		58		823,874								71		648,117

								9/17/00		56		888,705								67.5		559,625

								9/17/00		54		963,446								67.5		599,843

								9/17/00		52		1,045,774								71.5		709,103

								9/17/00		50		1,132,983								72		704,924

								9/17/00		48		1,222,508								71.5		702,611

								9/17/00		46		1,312,291								69.5		689,664

								9/17/00		44		1,400,896								72.5		558,378

								9/17/00		42		1,487,407								72.5		548,875

								9/17/00		40		1,571,228								76		587,438

								9/17/00		38		1,651,903								77.5		672,880

								9/17/00		36		1,729,012								66		681,095

								9/17/00		34		1,802,123								61.5		685,462

								9/17/00		32		1,870,780								64		631,879

								9/17/00		30		1,934,509								68.5		573,718

								9/17/00		28		1,992,831								71.5		604,641

								9/17/00		26		2,045,283								69		712,067

								9/17/00		24		2,091,447								67.5		714,975

								9/17/00		22		2,130,988								66		708,882

								9/17/00		20		2,163,709								72		716,300

								9/17/00		18		2,189,607								74		637,100

								9/17/00		16		2,208,939								71		655,383

								9/17/00		14		2,222,275								71		612,952

								9/17/00		12		2,230,521								70.5		698,076

								9/17/00		10		2,234,876								71.5		717,320

								9/17/00		8		2,236,690								68		689,501

								9/17/00		6		2,237,203								73		706,244

								9/17/00		4		2,237,277								71		670,322

								9/17/00		2		2,237,280								71.5		620,967

								9/17/00		0		2,237,280								58.5		680,823

																				56.5		740,322

																				60		767,868

																				55.5		858,348

																				56.5		770,608

																				64		716,418

																				58		641,079

																				61.5		626,381

																				68.5		718,620

																				67		743,655

																				53.5		919,325

																				50.5		880,520

																				58		721,477

																				65.5		616,377

																				71		613,758

																				74		621,330

																				71		642,361

																				66.5		651,829

																				68		630,217

																				73.5		609,925

																				59		640,284

																				57.5		665,434

																				59.5		678,943

																				65.5		657,958

																				57.5		820,392

																				53.5		905,316

																				53		841,373

																				54.5		789,101

																				51		929,750

																				55.5		880,388

																				50.5		999,193

																				46.5		1,218,219

																				55.5		1,229,374

																				50.5		931,496

																				46		1,152,333

																				44.5		1,064,534

																				55.5		1,095,268

																				48.5		1,335,533

																				46		1,208,708

																				51.5		1,082,337

																				52		792,340

																				60.5		733,732

																				52.5		1,007,689

																				53		955,603

																				51.5		1,148,945

																				46		1,191,826

																				46.5		1,116,822

																				51.5		1,109,878

																				48		1,125,425

																				48		1,160,446

																				48		1,289,200

																				46		1,352,111

																				42.5		1,544,114

																				36		1,564,678

																				35		1,672,555

																				35.5		1,570,795

																				35.5		1,725,644

																				35		1,793,062

																				35		1,733,962

																				37.5		1,576,400

																				42.5		1,514,838

																				46		1,573,544

																				43		1,369,617

																				41		1,477,113

																				35.5		1,842,309

																				34		1,644,536

																				46		1,327,414

																				44.5		1,392,243

																				42.5		1,335,509

																				47		1,224,241

																				43		1,363,610

																				40.5		1,779,556

																				39		1,724,597

																				41		1,428,825

																				45.5		1,286,303

																				41		1,656,082

																				34		1,730,178

																				35.5		1,602,656

																				37		1,698,537

																				33.5		1,624,241

																				37		1,715,003

																				33		1,788,697

																				35.5		1,676,695

																				35.5		1,609,396

																				36		1,801,718

																				33.5		1,754,759

																				43		1,527,159

																				44		1,541,826

																				39.5		1,599,589

																				42.5		1,436,395

																				43.5		1,474,724

																				32		1,807,344

																				29.5		1,804,733

																				38		1,618,011

																				39.5		1,434,938

																				45.5		1,236,199

																				43.5		1,428,257

																				35.5		1,656,821

																				35		1,800,797

																				34.5		1,685,012

																				35.5		1,888,912

																				26		2,168,355

																				21.5		2,017,971

																				38.5		1,492,475

																				52.5		1,156,591

																				55		1,125,172

																				47		1,332,934

																				51		1,035,253

																				52		1,025,178

																				56.5		901,547

																				56.5		1,143,432

																				43		1,402,312

																				42		1,541,509

																				34		1,605,583

																				40.5		1,767,377

																				29		2,004,989

																				32		1,810,341

																				36.5		1,784,966

																				37		1,605,002

																				33.5		1,604,039

																				35		1,753,477

																				35.5		1,915,444

																				34		1,855,039

																				33		1,805,819

																				39.5		1,602,518

																				40		1,507,565

																				36.5		1,773,374

																				36.5		1,784,404

																				35		1,823,518

																				35.5		1,892,166

																				43		1,487,499

																				42.5		1,545,672

																				39		1,612,910

																				37.5		1,585,412

																				39.5		1,468,269

																				44		1,538,497

																				39.5		1,785,740

																				35.5		1,855,063

																				38.5		1,633,075

																				36.5		1,602,716

																				36		1,687,807

																				37.5		1,627,657

																				41		1,539,054

																				39		1,326,233

																				49		1,450,858

																				40		1,655,599

																				31.5		1,872,234

																				25.5		1,903,469

																				30		1,713,225

																				42.5		1,614,678

																				44		1,669,894

																				46		1,449,452

																				48		1,360,709

																				44.5		1,358,440

																				45.5		1,333,786

																				41		1,656,159

																				39.5		1,759,403

																				43.5		1,541,042

																				50.5		1,357,249

																				47		1,129,148

																				47.5		1,181,109

																				46		1,253,166

																				47.5		1,266,364

																				46.5		1,427,064

																				45.5		1,454,777

																				42		1,580,281

																				40.5		1,399,394

																				44.5		1,225,461

																				43.5		1,467,349

																				51		1,111,780

																				43.5		1,856,899

																				27		2,147,955

																				26		2,085,523

																				30.5		1,756,236

																				39		1,611,774

																				38.5		1,620,648

																				35.5		1,698,873

																				36		1,497,042

																				37.5		1,584,353

																				40.5		1,525,080

																				43.5		1,425,222

																				37.5		1,662,159

																				33.5		1,649,443

																				40		1,579,104

																				41.5		1,528,310

																				39		1,420,067

																				52.5		953,512

																				67.5		673,957

																				70.5		603,249

																				70		660,449

																				71		690,886

																				74		697,040

																				63		753,888

																				56.5		825,563

																				51.5		885,068

																				43.5		1,105,167

																				45.5		1,182,573

																				50		1,147,696

																				55		945,662

																				55		1,016,461

																				45.5		1,344,413

																				47		1,114,213

																				49.5		990,676

																				49		975,355

																				55.5		898,979

																				57		843,606

																				56.5		906,773

																				52		872,679

																				63.5		802,710

																				56.5		739,262

																				53		983,489

																				53		1,024,803

																				58		859,723

																				57.5		850,198

																				51.5		1,080,180

																				60.5		784,266

																				59		772,470

																				48.5		1,140,739

																				48.5		1,087,923

																				52		971,230

																				58		744,112

																				64		712,316

																				60		724,027

																				62		624,862

																				62.5		631,589

																				58.5		744,940

																				58		752,658

																				61		722,780

																				62.5		737,571

																				57		777,773

																				58		738,622

																				56		829,436

																				55		992,970

																				58		970,873

																				54.5		924,025

																				58		788,791

																				68		672,163

																				73.5		613,619

																				61.5		676,779

																				70		706,949

																				75.5		674,592

																				69.5		704,471

																				71.5		719,262

																				62		699,582

																				64		605,809

																				68.5		573,950

																				65		634,142

																				70		706,641

																				68		714,268

																				73		693,973

																				76		663,717

																				76.5		594,659

																				77		610,245

																				68.5		708,668

																				63.5		692,994

																				64		724,066

																				61		731,011

																				62.5		685,128

																				64		612,207

																				62		680,243

																				60		753,722

																				61.5		741,102

																				65		731,809

																				65.5		738,682

																				63		669,740

																				68		585,206

																				68.5		669,173

																				68		702,400

																				75		722,732

																				74		720,100

																				76		705,097

																				77		654,800

																				78.5		588,184

																				74.5		613,452

																				69.5		700,695

																				71		711,284

																				78.5		708,259

																				82.5		692,673

																				84		656,060

																				79.5		586,694

																				71.5		593,878

																				71.5		685,314

																				75		704,957

																				72		691,184

																				73.5		645,189

																				77		571,269

																				75.5		524,135

																				75.5		551,662

																				71		662,727

																				71.5		661,537

																				67		663,866

																				73		666,792

																				77		609,920

																				73.5		547,840

																				76		569,242

																				76.5		654,331

																				78.5		691,115

																				79.5		666,706

																				81.5		674,084

																				81		622,946

																				81.5		565,384

																				78		596,645

																				83		694,179

																				83.5		690,073

																				87.5		676,339

																				85		672,238

																				80.5		624,114

																				75		561,616

																				77.5		587,435

																				76.5		668,793

																				81		685,290

																				83.5		707,798

																				79		672,684

																				74		635,675

																				72.5		574,990

																				72.5		603,643

																				74.5		691,455

																				78.5		678,701

																				76		715,295

																				79		681,665

																				74		650,297

																				74.5		587,051

																				79		532,917

																				79.5		691,206

																				81.5		686,976

																				78		682,094

																				74		691,645

																				73		624,969

																				77		530,605

																				78.5		575,557

																				67		701,369

																				69		689,631

																				74		631,424

																				75		565,924

																				78		583,951

																				83.5		688,189

																				84.5		692,684

																				82		683,214

																				79		694,386

																				78		636,132

																				81		571,833

																				79		608,846

																				79		709,594

																				72.5		695,597

																				71.5		702,356

																				71		689,346

																				73		637,494

																				72		564,664

																				76.5		542,484

																				66.5		684,241

																				62		701,807

																				63.5		660,133

																				67		610,972

																				74		573,274

																				74.5		614,455

																				75		681,453

																				77.5		693,969

																				79.5		697,686

																				70.5		695,308

																				67.5		630,832

																				68.5		575,526

																				74.5		597,646

																				77.5		683,094

																				68.5		703,322

																				60.5		749,826

																				57.5		722,599

																				64		634,602

																				70.5		541,233

																				80		642,268

																				69		712,886

																				62.5		697,002

																				64		682,263

																				65.5		761,262

																				56.5		730,869

																				54		742,682

																				54		774,128

																				61.5		826,578

																				54		861,777

																				57		786,492

																				67		742,080

																				61		714,855

																				61		667,294

																				66		663,456

																				60		673,977

																				60		767,144

																				59.5		852,111

																				55		906,751

																				56.5		826,469

																				56.5		679,033

																				64.5		629,888

																				65		781,881

																				57.5		881,552

																				51.5		1,075,598

																				47.5		1,216,386

																				52		968,520

																				60.5		793,583

																				59.5		771,028

																				56.5		852,019

																				55		894,923

																				56.5		850,398

																				51.5		1,079,548

																				51		1,036,615

																				51		938,295

																				52		961,780

																				49		1,192,497

																				44.5		1,317,673

																				44.5		1,454,854

																				42		1,418,463

																				41.5		1,429,676

																				42		1,143,944

																				46.5		1,209,095

																				48.5		1,293,149

																				47		1,083,225

																				57		1,119,202

																				47		1,274,289

																				46.5		1,225,566

																				49.5		956,739

																				54.5		1,129,039

																				45		1,164,892

																				43		1,440,771

																				42		1,187,011

																				54.5		1,097,275

																				45.5		1,308,228

																				42.5		1,340,581

																				47.5		1,127,103

																				52		1,243,735

																				43		1,220,305

																				49		1,083,971

																				45.5		1,256,426

																				49.5		1,008,903

																				53.5		966,965

																				53.5		1,045,094

																				53.5		1,196,276

																				53.5		1,074,027

																				58		889,709

																				64		791,190

																				56		907,911

																				59.5		813,305

																				62		921,948

																				47		1,273,591

																				44.5		1,475,709

																				38.5		1,453,581

																				40.5		1,519,201

																				37.5		1,390,461

																				40.5		1,459,143

																				36.5		1,708,884

																				38		1,547,526

																				41		1,494,601

																				39		1,632,105

																				37		1,682,275

																				41.5		1,298,247

																				47.5		1,241,258

																				50.5		1,109,789

																				43.5		1,897,309

																				23.5		2,064,770

																				27		1,940,840

																				28		1,887,480

																				26		1,971,731

																				30		1,724,898

																				38.5		1,606,383

																				38.5		1,668,811

																				28		2,232,511

																				21.5		2,072,167

																				20		2,201,100

																				18		2,033,100

																				38.5		1,732,700

																				25		2,282,500

																				22.5		2,142,900

																				23		2,142,300

																				28		2,188,300

																				27.5		2,014,900

																				35.5		1,891,100

																				26		2,111,300

																				22		2,246,400

																				37.5		1,609,800

																				35		1,963,000

																				18		2,400,700

																				30.5		2,056,600

																				33		1,662,600

																				43.5		1,436,000

																				45.5		1,493,000

																				42.5		1,606,700

																				42		1,689,500

																				39.5		1,568,100

																				42.5		1,516,000

																				50.5		1,130,400

																				51.5		1,366,200

																				36.5		1,868,800

																				35.5		1,826,500

																				36.5		1,596,400

																				38.5		1,605,800

																				33		1,831,700

																				30.5		1,936,000

																				23		2,122,300

																				29.5		1,749,200

																				46		1,335,500

																				48		1,445,200

																				43.5		1,611,700

																				39.5		1,699,100

																				38.5		1,592,700

																				37.5		1,673,500

																				33.5		1,901,600

																				36.5		1,693,400

																				43.5		1,554,400

																				43		1,345,100

																				54		1,306,100

																				34.5		1,842,100

																				27.5		1,960,700

																				35		1,642,400

																				44		1,424,000

																				43		1,426,600

																				41		1,629,200

																				37.5		1,654,100

																				35.5		1,709,000

																				30		2,009,900

																				24		2,131,900

																				21		2,028,700

																				30		1,921,200

																				34		1,743,500

																				40		1,621,400

																				42.5		1,357,500

																				45		1,420,900

																				42		1,634,300

																				42		1,541,500

																				45.5		1,288,500

																				42.5		1,910,200

																				37		1,622,500

																				42.5		1,583,300

																				29.5		2,196,900

																				27		2,130,000

																				29		1,946,300

																				35.5		1,852,100

																				34		1,941,700

																				32.5		1,957,300

																				39		1,497,500

																				37.5		1,684,100

																				37.5		1,860,800

																				41		1,537,200

																				51		1,061,700

																				56.5		1,223,100

																				43.5		1,487,800

																				44		1,338,000

																				43		1,345,900

																				44.5		1,613,300

																				44		1,319,800

																				51.5		1,180,900

																				44		1,436,100

																				41		1,359,200

																				44.5		1,151,400

																				46		1,200,300

																				57		1,001,600

																				55.5		1,080,400

																				58.5		875,200

																				56.5		860,200

																				55.5		848,900

																				50.5		814,300

																				53		1,076,100

																				47		1,133,600

																				50.5		978,900

																				60		845,300

																				66.5		764,900

																				53		1,150,700

																				51.5		1,012,100

																				41.5		1,335,900

																				47.5		1,261,700

																				52		1,166,700

																				56		1,027,700

																				57.5		884,100

																				48.5		1,151,000

																				50		1,031,200

																				52		995,000

																				50		1,077,000

																				47.5		1,270,100

																				51.5		1,037,300

																				53.5		944,800

																				50.5		1,162,600

																				50		1,058,500

																				51		899,100

																				61.5		827,100

																				55.5		872,200

																				54		859,600

																				58		855,300

																				55		858,700

																				54		787,300

																				57		767,500

																				56		885,700

																				56.5		791,800

																				65.5		729,400

																				60.5		766,300

																				57.5		774,800

																				60		701,900

																				66		670,800

																				64		740,300

																				60.5		742,000

																				62.5		706,200

																				60.5		780,100

																				57.5		745,100

																				60.5		657,400

																				58		656,700

																				60.5		699,000

																				62.5		678,200

																				62.5		724,000

																				66.5		717,900

																				65		652,100

																				67		618,200

																				62.5		647,800

																				60.5		722,800

																				62.5		726,300

																				65.5		720,600

																				65		718,600

																				69		651,000

																				76		584,600

																				76.5		551,900

																				77		600,200

																				78.5		683,400

																				81		684,300

																				76		692,200

																				71		647,600

																				69		602,900

																				70		624,700

																				84.5		700,200

																				86		697,800

																				75.5		728,100

																				67		721,300

																				64.5		658,800

																				67		581,600

																				74.5		612,700

																				76		708,900

																				74		700,900

																				68		705,300

																				62.5		719,000

																				67		665,400

																				68		582,600

																				67.5		605,400

																				64.5		708,000

																				71.5		687,600

																				76		701,200

																				76.5		706,300

																				73.5		629,500

																				83.5		558,000

																				83		636,100

																				85		684,000

																				84.5		679,800

																				75		661,900

																				76.5		667,400

																				83		615,400

																				80.5		532,400

																				89		530,300

																				92		629,900

																				92		650,300

																				83.5		679,500

																				79.5		681,500

																				76		610,500

																				75		554,300

																				69.5		592,000

																				67		665,100

																				68		674,600

																				66.5		677,300

																				73		669,600

																				81		653,500

																				82.5		610,900

																				82.5		641,900

																				85.5		659,500

																				79.5		670,000

																				77		684,300

																				78.5		685,900

																				83		656,200

																				87.5		617,800

																				88.5		638,700

																				85		688,800

																				87.5		681,300

																				88		680,700

																				82		683,900

																				82		659,100

																				81.5		631,900

																				89		648,500

																				81.5		690,100

																				80		679,900

																				77.5		679,000

																				80		680,100

																				79.5		645,900

																				79.5		561,700

																				78		623,300

																				73.5		674,400

																				70.5		670,800

																				78.5		686,100

																				81		679,400

																				80.5		662,100

																				80.5		583,600

																				74.5		601,800

																				76.5		680,400

																				80.5		686,900

																				80.5		688,700

																				74.5		683,900

																				69.5		634,600

																				62.5		565,000

																				67		602,500

																				72.5		686,100

																				76		706,400

																				74.5		689,100

																				75.5		682,400

																				76.5		670,500

																				78.5		593,400

																				76		599,200

																				65		696,800

																				68.5		687,000

																				71		693,800

																				73.5		694,000

																				73.5		651,600

																				74.5		595,600

																				75		544,000

																				78.5		582,400

																				78		669,500

																				77.5		694,900

																				77		683,000

																				73		645,300

																				72.5		587,500

																				69.5		624,100

																				70		698,300

																				68.5		692,700

																				69.5		692,400

																				67.5		677,500

																				65.5		635,200

																				64.5		600,900

																				64.5		615,600

																				66.5		663,200

																				60.5		712,900

																				55		820,100

																				61		729,500

																				65.5		646,300

																				67		598,700

																				61		648,112

																				64.5		686,000

																				71.5		676,200

																				71.5		675,000

																				64		723,500

																				59.5		684,600

																				62.5		606,500

																				67.5		610,700

																				59		734,300

																				50		978,900

																				54.5		934,600

																				46.5		1,097,600

																				51		808,900

																				63.5		603,700

																				64		618,900

																				63.5		773,400

																				56.5		825,800

																				60.5		722,500

																				54		1,038,700

																				48		942,900

																				57		688,000

																				62.5		695,900

																				54		1,011,400

																				46.5		1,069,200

																				53		1,060,000

																				53		1,079,500

																				53		934,800

																				50		1,080,600

																				47		1,158,000

																				49.5		1,111,400

																				55.5		944,700

																				52.5		1,082,600

																				47.5		1,117,900

																				56		860,000

																				57.5		774,800

																				64.5		716,100

																				59.5		835,200

																				58.5		842,800

																				52		1,354,600

																				44.5		1,367,000

																				51		972,300

																				58.5		921,300

																				45		1,334,700

																				41.5		1,412,700

																				50		944,900

																				63		795,100

																				50		1,405,300

																				41.5		1,174,800

																				50		1,109,600

																				50.5		1,158,400

																				42.5		1,514,800

																				37.5		1,709,400

																				38.5		1,627,500

																				39.5		1,326,900

																				51		1,054,800

																				59		791,000

																				58		866,600

																				54.5		943,800

																				58		858,600

																				61		781,900

																				54		934,900

																				56.5		732,300

																				54.5		1,020,100

																				47.5		1,354,400

																				41.5		1,708,800

																				34		1,966,400

																				29.5		2,028,900

																				38.5		1,660,800

																				44.5		1,250,000

																				53		1,032,300

																				54		964,500

																				54.5		1,133,500

																				45		1,538,900

																				42		1,528,800

																				44.5		1,420,200

																				48.5		1,372,000

																				41.5		1,539,000

																				40.5		1,635,300

																				38.5		1,581,000

																				42		1,595,900

																				44		1,406,700

																				44		1,631,400

																				38		1,629,400

																				38		1,584,900

																				36.5		1,670,200

																				46		1,469,700

																				43.5		1,672,000

																				35.5		1,858,500

																				33.5		1,850,900

																				25.5		2,038,600

																				24		1,959,400

																				28.5		1,904,400

																				32		2,023,800

																				24.5		2,053,300

																				32		1,883,900

																				42		1,514,200

																				37		1,599,400

																				40.5		1,417,500

																				49		1,057,600

																				57.5		1,005,100

																				58		1,193,600

																				38.5		1,945,500

																				34		1,785,000

																				41.5		1,697,900

																				34		1,586,500

																				43		1,320,200

																				51.5		1,388,200

																				45.5		1,572,400

																				42.5		1,572,300

																				29		2,073,800

																				18		2,170,800

																				22		1,838,100

																				35		1,902,300

																				14.5		2,404,900

																				12.5		2,239,500

																				21.5		2,013,400

																				26		2,048,200

																				16		2,351,700

																				14		2,126,800

																				23.5		1,945,600

																				32.5		1,882,900

																				27		2,172,800

																				27		2,054,600

																				17.5		2,262,600

																				18		2,189,300

																				26		1,964,800

																				28.5		1,876,900

																				33		1,989,300

																				31.5		2,143,000

																				26		2,206,200

																				27.5		2,038,000

																				28.5		1,970,100

																				30.5		1,907,600

																				32		1,912,700

																				35		1,993,600

																				26		2,160,100

																				34.5		1,780,600

																				41		1,504,400

																				40		1,777,600

																				28		2,038,100

																				31.5		1,704,700

																				46.5		1,597,600

																				38		1,845,700

																				42.5		1,689,000

																				33.5		1,991,900

																				32.5		1,949,800

																				32		1,824,600

																				35		1,783,600

																				36.5		1,806,600

																				41		1,625,000

																				45		1,368,000

																				54.5		1,093,500

																				48		1,355,300

																				42.5		1,359,300

																				49.5		1,191,900

																				49.5		1,565,000

																				45.5		1,504,200

																				41.5		1,436,200

																				42.5		1,705,600

																				42		1,620,200

																				44		1,277,700

																				50.5		1,308,900

																				46.5		1,398,100

																				50.5		1,056,200

																				57.5		1,018,100

																				60.5		885,200

																				53.5		1,127,600

																				42		1,408,800

																				42.5		1,623,500

																				40		1,558,600

																				46.5		1,363,900

																				53.5		1,087,100

																				58		1,077,200

																				40.5		1,915,500

																				30		1,669,000

																				35.5		1,562,400

																				40.5		1,579,100

																				41.5		1,695,400

																				45.5		1,493,900

																				50.5		1,077,300

																				57.5		910,900

																				58		799,900

																				58.5		1,043,000

																				49		1,018,100

																				53.5		1,119,100

																				50		1,290,100

																				50.5		1,228,700

																				49.5		1,156,500

																				52.5		842,300

																				57		825,100

																				63		822,300

																				57.5		1,047,700

																				43.5		1,474,000

																				54.5		963,700

																				58		869,500

																				64		854,400

																				40.5		1,511,600

																				46		1,343,200

																				41.5		1,425,100

																				46.5		1,432,800

																				43.5		1,374,600

																				45		1,046,700

																				54		810,000

																				64.5		791,300

																				47.5		1,440,400

																				43.5		1,469,500

																				52.5		1,062,100

																				55.5		937,900

																				48		1,189,700

																				48		1,100,400

																				49		1,161,300

																				57		944,600

																				52.5		1,185,500

																				44.5		1,318,100

																				45.5		1,227,600

																				53.5		1,032,700

																				55.5		761,000

																				57.5		908,100

																				56		851,500

																				61.5		887,700

																				56.5		863,800

																				60.5		775,900

																				73.5		692,400

																				76.5		603,100

																				80.5		633,900

																				81		717,800

																				83		717,800

																				66.5		804,600

																				65		749,900

																				63		708,400

																				65		615,300

																				64.5		663,700

																				59.5		801,000

																				60.5		757,900

																				64.5		713,800

																				71		698,300

																				56.5		811,500

																				49.5		856,400

																				54		826,400

																				55		889,800

																				58.5		766,200

																				69		693,900

																				68		708,700

																				68		691,500

																				62		644,400

																				62		603,100

																				60		715,700

																				58.5		826,200

																				61		755,100

																				73		721,200

																				81.5		680,400

																				68		619,700

																				65		650,100

																				65		760,000

																				56		876,900

																				63		756,800

																				69.5		733,200

																				78		685,600

																				82.5		651,400

																				84		670,700

																				66.5		746,300

																				59.5		778,900

																				58.5		783,000

																				67		743,500

																				78		680,100

																				82		643,800

																				69.5		684,700

																				67.5		741,800

																				72.5		733,500

																				75		722,200

																				78		724,900

																				74.5		696,900

																				75		638,900

																				82		651,700

																				83		714,500

																				81		692,400

																				74.5		719,600

																				70.5		713,500

																				73		668,900

																				75.5		619,800

																				76.5		632,100

																				79.5		616,000

																				79.5		623,900

																				79		668,800

																				72		678,300

																				72.5		673,700

																				71		645,600

																				73.5		655,200

																				82.5		687,700

																				77		692,200





PSE&G Model

		



Fit

Data

Tavg

Load (bcf)

PSE&G Fit (GS Data)



Data LILCO

		



Fit

Data

Tavg

Load

Figure 3 Daily Load Data



PSE&G Data

		LILCO TOTAL SENDOUT

				Load		Tavg		WSS		WS-NYCP

		10/1/96		92,497		61		18.49		4.3

		10/2/96		86,253		63		39.69		6.3

		10/3/96		125,616		53		92.16		9.6

		10/4/96		173,398		46		81		9

		10/5/96		159,284		47.5		46.24		6.8

		10/6/96		147,002		49.5		25		5

		10/7/96		110,536		54.5		9		3

		10/8/96		127,692		57.5		86.49		9.3

		10/9/96		106,225		61		29.16		5.4

		10/10/96		138,459		55		49		7

		10/11/96		185,084		49.5		50.41		7.1

		10/12/96		163,178		47		10.24		3.2

		10/13/96		118,301		56		32.49		5.7

		10/14/96		120,630		63.5		88.36		9.4

		10/15/96		164,429		51.5		50.41		7.1

		10/16/96		111,033		59		51.84		7.2

		10/17/96		94,677		67		7.29		2.7

		10/18/96		123,622		58		104.04		10.2

		10/19/96		143,627		53		148.84		12.2

		10/20/96		139,718		50.5		16.81		4.1

		10/21/96		164,367		52.5		14.44		3.8

		10/22/96		152,377		55		18.49		4.3

		10/23/96		111,460		60.5		36		6

		10/24/96		118,871		58		65.61		8.1

		10/25/96		127,061		57.5		23.04		4.8

		10/26/96		141,080		54.5		22.09		4.7

		10/27/96		105,358		58		18.49		4.3

		10/28/96		147,115		57		84.64		9.2

		10/29/96		169,603		52		38.44		6.2

		10/30/96		154,497		57.5		36		6

		10/31/96		170,476		53.5		84.64		9.2

		11/1/96		251,418		43.5		49		7

		11/2/96		261,270		43.5		64		8

		11/3/96		258,913		40.5		64		8

		11/4/96		223,966		42.5		36		6

		11/5/96		168,572		49.5		16		4

		11/6/96		145,750		55.5		49		7

		11/7/96		107,663		62.5		81		9

		11/8/96		100,005		66.5		144		12

		11/9/96		179,846		55		49		7

		11/10/96		252,730		42		36		6

		11/11/96		300,271		37		49		7

		11/12/96		331,326		37.5		49		7

		11/13/96		326,378		34.5		25		5

		11/14/96		358,294		33		49		7

		11/15/96		370,900		31.5		49		7

		11/16/96		336,971		33.5		4		2

		11/17/96		266,852		41.5		4		2

		11/18/96		233,128		46		9		3

		11/19/96		270,662		44.5		36		6

		11/20/96		322,685		38		64		8

		11/21/96		328,938		37.5		64		8

		11/22/96		307,537		40.5		49		7

		11/23/96		263,008		40.5		25		5

		11/24/96		263,258		41.5		16		4

		11/25/96		194,729		47		16		4

		11/26/96		258,696		45.5		100		10

		11/27/96		406,015		29.5		81		9

		11/28/96		388,767		26.5		36		6

		11/29/96		353,247		33		16		4

		11/30/96		266,022		36.5		49		7

		12/1/96		194,050		53		121		11

		12/2/96		280,165		47		49		7

		12/3/96		293,724		39.5		36		6

		12/4/96		297,446		43		25		5

		12/5/96		286,105		38.5		81		9

		12/6/96		333,283		40		49		7

		12/7/96		314,164		39.5		49		7

		12/8/96		309,415		40.5		25		5

		12/9/96		348,716		35.5		49		7

		12/10/96		317,207		36		36		6

		12/11/96		261,756		40.5		64		8

		12/12/96		275,565		46.5		169		13

		12/13/96		293,146		42.5		144		12

		12/14/96		306,182		40		121		11

		12/15/96		292,914		41		64		8

		12/16/96		265,233		43		49		7

		12/17/96		211,182		51		25		5

		12/18/96		200,038		50		16		4

		12/19/96		321,533		39		81		9

		12/20/96		455,035		26		121		11

		12/21/96		412,653		25.5		36		6

		12/22/96		351,504		30		25		5

		12/23/96		285,934		39.5		25		5

		12/24/96		243,663		50.5		121		11

		12/25/96		358,238		36		64		8

		12/26/96		345,062		31.5		4		2

		12/27/96		282,253		42.5		25		5

		12/28/96		249,428		41		36		6

		12/29/96		214,916		50		81		9

		12/30/96		296,015		41.5		81		9

		12/31/96		467,404		25		81		9

		1/1/97		443,274		20		25		5

		1/2/97		320,849		34.5		36		6

		1/3/97		208,078		51		25		5

		1/4/97		238,228		46		36		6

		1/5/97		225,750		48.5		49		7

		1/6/97		311,464		43		144		12

		1/7/97		418,588		32		196		14

		1/8/97		420,033		31.5		100		10

		1/9/97		391,730		30.5		36		6

		1/10/97		355,965		34.5		81		9

		1/11/97		443,189		26		121		11

		1/12/97		475,206		22		100		10

		1/13/97		448,271		25		100		10

		1/14/97		435,377		25.5		64		8

		1/15/97		377,465		28.5		49		7

		1/16/97		375,831		34.5		169		13

		1/17/97		531,578		17.5		144		12

		1/18/97		547,294		12.5		100		10

		1/19/97		503,270		12		64		8

		1/20/97		406,032		24		81		9

		1/21/97		399,602		33		36		6

		1/22/97		295,263		38.5		49		7

		1/23/97		317,578		40		121		11

		1/24/97		373,347		32		100		10

		1/25/97		312,338		41.5		121		11

		1/26/97		434,476		29		64		8

		1/27/97		406,169		29		81		9

		1/28/97		390,013		38.5		100		10

		1/29/97		454,436		26.5		49		7

		1/30/97		432,900		25		100		10

		1/31/97		355,869		32.5		9		3

		2/1/97		295,272		43.5		49		7

		2/2/97		290,539		39.5		16		4

		2/3/97		319,124		41		49		7

		2/4/97		357,543		34		100		10

		2/5/97		288,120		44.5		100		10

		2/6/97		343,306		37.5		81		9

		2/7/97		347,098		36		25		5

		2/8/97		407,988		30		100		10

		2/9/97		392,441		31		36		6

		2/10/97		401,745		29		64		8

		2/11/97		363,276		33		16		4

		2/12/97		389,752		32.5		100		10

		2/13/97		392,513		28.5		64		8

		2/14/97		309,856		36		36		6

		2/15/97		326,127		40.5		81		9

		2/16/97		347,465		31.5		36		6

		2/17/97		390,029		29		81		9

		2/18/97		283,419		45		100		10

		2/19/97		204,763		56		144		12

		2/20/97		265,632		44		64		8

		2/21/97		212,261		49.5		64		8

		2/22/97		242,118		54		121		11

		2/23/97		298,705		40		64		8

		2/24/97		344,951		37		169		13

		2/25/97		405,753		26		64		8

		2/26/97		255,546		42		64		8

		2/27/97		170,988		60		121		11

		2/28/97		244,570		51		16		4

		3/1/97		275,552		42		9		3

		3/2/97		235,426		51.5		49		7

		3/3/97		351,796		37.5		121		11

		3/4/97		343,822		34.5		25		5

		3/5/97		288,433		41		64		8

		3/6/97		334,822		42		256		16

		3/7/97		352,502		36.5		64		8

		3/8/97		317,898		42.5		121		11

		3/9/97		346,097		30		64		8

		3/10/97		264,789		42		36		6

		3/11/97		309,132		43.5		121		11

		3/12/97		343,854		38		144		12

		3/13/97		354,999		33		64		8

		3/14/97		309,416		42.5		100		10

		3/15/97		331,795		40		144		12

		3/16/97		396,784		30.5		64		8

		3/17/97		324,859		35.5		81		9

		3/18/97		280,863		42.5		64		8

		3/19/97		333,733		37		64		8

		3/20/97		333,495		41.5		49		7

		3/21/97		247,022		43		49		7

		3/22/97		282,530		45.5		144		12

		3/23/97		353,391		33.5		81		9

		3/24/97		323,060		36		36		6

		3/25/97		275,499		44.5		121		11

		3/26/97		268,136		51		121		11

		3/27/97		179,833		51.5		25		5

		3/28/97		159,421		55		36		6

		3/29/97		179,997		49		36		6

		3/30/97		138,055		58		81		9

		3/31/97		342,781		44		196		14

		4/1/97		345,001		41.5		100		10

		4/2/97		239,959		49		100		10

		4/3/97		188,066		51.5		25		5

		4/4/97		138,013		59.5		81		9

		4/5/97		171,303		51		36		6

		4/6/97		168,573		55		25		5

		4/7/97		136,209		62.5		121		11

		4/8/97		214,417		49.5		144		12

		4/9/97		341,574		36.5		144		12

		4/10/97		288,742		39		49		7

		4/11/97		235,172		44.5		36		6

		4/12/97		204,576		46		49		7

		4/13/97		157,103		57.5		121		11

		4/14/97		217,070		49		81		9

		4/15/97		215,682		46		25		5

		4/16/97		168,130		52		64		8

		4/17/97		199,890		51		25		5

		4/18/97		327,933		41		169		13

		4/19/97		246,177		46.5		81		9

		4/20/97		186,398		49		36		6

		4/21/97		182,122		50		36		6

		4/22/97		156,512		52		25		5

		4/23/97		167,677		53.5		36		6

		4/24/97		215,002		50.5		64		8

		4/25/97		157,225		52.5		25		5

		4/26/97		135,995		58		25		5

		4/27/97		138,281		54.5		81		9

		4/28/97		162,501		56		64		8

		4/29/97		129,716		59.5		25		5

		4/30/97		119,575		61		64		8

		5/1/97		133,369		63.5		100		10

		5/2/97		131,234		57.5		64		8

		5/3/97		151,010		61		64		8

		5/4/97		151,256		57		36		6

		5/5/97		139,632		55.5		49		7

		5/6/97		167,443		59		100		10

		5/7/97		194,976		50		144		12

		5/8/97		144,442		52		49		7

		5/9/97		141,072		53.5		16		4

		5/10/97		139,450		57		100		10

		5/11/97		119,327		58		64		8

		5/12/97		107,625		65.5		49		7

		5/13/97		123,637		57		25		5

		5/14/97		115,030		56.5		49		7

		5/15/97		104,594		64		81		9

		5/16/97		131,336		56.5		100		10

		5/17/97		122,013		57		64		8

		5/18/97		113,300		56.5		25		5

		5/19/97		94,733		69		16		4

		5/20/97		102,649		62		64		8

		5/21/97		122,438		57		100		10

		5/22/97		128,056		56.5		100		10

		5/23/97		103,638		60		36		6

		5/24/97		93,172		64.5		16		4

		5/25/97		95,486		61.5		9		3

		5/26/97		101,189		63.5		121		11

		5/27/97		119,695		56.5		36		6

		5/28/97		103,632		60		16		4

		5/29/97		103,080		59		25		5

		5/30/97		95,907		63		16		4

		5/31/97		94,134		66		25		5

		6/1/97		89,939		69.5		169		13

		6/2/97		122,553		57.5		169		13

		6/3/97		127,096		56		100		10

		6/4/97		109,746		59.5		36		6

		6/5/97		102,787		61.5		16		4

		6/6/97		102,512		59		36		6

		6/7/97		103,676		59.5		25		5

		6/8/97		104,869		60.5		25		5

		6/9/97		97,854		63		25		5

		6/10/97		89,156		74		16		4

		6/11/97		88,885		79.5		25		5

		6/12/97		86,592		79		36		6

		6/13/97		86,198		73.5		25		5

		6/14/97		85,233		73		25		5

		6/15/97		91,484		64.5		25		5

		6/16/97		86,359		63.5		16		4

		6/17/97		88,915		63.5		16		4

		6/18/97		94,212		66		16		4

		6/19/97		85,834		74.5		4		2

		6/20/97		83,582		76.5		16		4

		6/21/97		85,232		82		49		7

		6/22/97		83,793		83.5		25		5

		6/23/97		83,835		78		16		4

		6/24/97		84,671		75		4		2

		6/25/97		84,335		83.5		25		5

		6/26/97		84,400		83		25		5

		6/27/97		82,284		78		16		4

		6/28/97		76,838		75.5		16		4

		6/29/97		79,165		77.5		36		6

		6/30/97		80,310		77.5		25		5

		7/1/97		82,149		77.5		16		4

		7/2/97		80,761		73		16		4

		7/3/97		76,940		81		49		7

		7/4/97		74,719		79.5		81		9

		7/5/97		73,139		73.5		9		3

		7/6/97		78,112		72		36		6

		7/7/97		80,105		75		16		4

		7/8/97		81,012		76.5		25		5

		7/9/97		84,211		80.5		25		5

		7/10/97		81,277		73.5		16		4

		7/11/97		75,220		74.5		1		1

		7/12/97		77,395		78		9		3

		7/13/97		76,608		82		4		2

		7/14/97		83,460		84		25		5

		7/15/97		80,093		88.5		16		4

		7/16/97		82,708		83		4		2

		7/17/97		82,396		87		25		5

		7/18/97		78,974		82		25		5

		7/19/97		74,445		75		64		8

		7/20/97		78,151		70		16		4

		7/21/97		79,644		75		36		6

		7/22/97		81,088		72		9		3

		7/23/97		82,775		72.5		144		12

		7/24/97		85,629		63.5		144		12

		7/25/97		82,555		70.5		4		2

		7/26/97		78,029		75.5		4		2

		7/27/97		83,109		82.5		9		3

		7/28/97		84,407		81.5		36		6

		7/29/97		82,491		75.5		16		4

		7/30/97		86,299		71		16		4

		7/31/97		82,791		75.5		16		4

		8/1/97		83,166		78		36		6

		8/2/97		75,763		80.5		36		6

		8/3/97		79,389		79.5		9		3

		8/4/97		82,695		72.5		25		5

		8/5/97		82,477		71		25		5

		8/6/97		82,679		70.5		25		5

		8/7/97		85,352		71.5		9		3

		8/8/97		80,420		71.5		9		3

		8/9/97		78,130		76		25		5

		8/10/97		81,876		75.5		49		7

		8/11/97		80,614		76		49		7

		8/12/97		80,352		76		25		5

		8/13/97		87,172		77.5		25		5

		8/14/97		85,030		78.5		9		3

		8/15/97		79,765		75.5		36		6

		8/16/97		75,489		85.5		25		5

		8/17/97		74,041		83		36		6

		8/18/97		81,095		71		25		5

		8/19/97		81,412		67.5		25		5

		8/20/97		84,805		67		81		9

		8/21/97		81,292		69.5		9		3

		8/22/97		80,289		71		36		6

		8/23/97		79,367		67.5		25		5

		8/24/97		79,530		67.5		9		3

		8/25/97		82,317		71.5		4		2

		8/26/97		83,851		72		25		5

		8/27/97		85,273		71.5		36		6

		8/28/97		81,220		69.5		4		2

		8/29/97		83,821		73.5		16		4

		8/30/97		78,216		72.5		9		3

		8/31/97		69,932		72.5		16		4

		9/1/97		79,842		76		1		1

		9/2/97		85,758		77.5		49		7

		9/3/97		86,875		66		64		8

		9/4/97		84,666		61.5		36		6

		9/5/97		81,820		64		16		4

		9/6/97		78,286		68.5		25		5

		9/7/97		82,718		71.5		9		3

		9/8/97		85,244		69		49		7

		9/9/97		86,454		67.5		81		9

		9/10/97		83,307		66		64		8

		9/11/97		83,385		72		25		5

		9/12/97		78,232		74		9		3

		9/13/97		80,805		71		25		5

		9/14/97		82,975		71		9		3

		9/15/97		81,266		70.5		16		4

		9/16/97		82,377		71.5		36		6

		9/17/97		82,148		68		16		4

		9/18/97		82,571		73		4		2

		9/19/97		79,026		71		36		6

		9/20/97		80,215		71.5		64		8

		9/21/97		95,363		58.5		36		6

		9/22/97		89,677		56.5		36		6

		9/23/97		94,610		60		36		6

		9/24/97		115,231		55.5		36		6

		9/25/97		93,797		56.5		36		6

		9/26/97		90,191		64		36		6

		9/27/97		91,176		58		36		6

		9/28/97		85,657		61.5		100		10

		9/29/97		82,195		68.5		100		10

		9/30/97		90,779		67		81		9

		10/1/97		126,895		53.5		64		8

		10/2/97		118,305		50.5		25		5

		10/3/97		102,598		58		16		4

		10/4/97		85,518		65.5		36		6

		10/5/97		85,277		71		1		1

		10/6/97		86,936		74		16		4

		10/7/97		89,277		71		16		4

		10/8/97		88,039		66.5		9		3

		10/9/97		87,313		68		36		6

		10/10/97		84,016		73.5		64		8

		10/11/97		101,453		59		16		4

		10/12/97		109,666		57.5		4		2

		10/13/97		109,604		59.5		9		3

		10/14/97		90,925		65.5		36		6

		10/15/97		120,088		57.5		64		8

		10/16/97		155,694		53.5		49		7

		10/17/97		154,074		53		25		5

		10/18/97		135,764		54.5		25		5

		10/19/97		164,870		51		64		8

		10/20/97		145,880		55.5		49		7

		10/21/97		174,423		50.5		64		8

		10/22/97		228,241		46.5		81		9

		10/23/97		228,128		55.5		36		6

		10/24/97		151,442		50.5		25		5

		10/25/97		213,996		46		64		8

		10/26/97		176,965		44.5		36		6

		10/27/97		184,791		55.5		121		11

		10/28/97		256,279		48.5		64		8

		10/29/97		218,823		46		25		5

		10/30/97		181,785		51.5		4		2

		10/31/97		89,104		52		36		6

		11/1/97		109,685		60.5		64		8

		11/2/97		165,316		52.5		49		7

		11/3/97		147,907		53		36		6

		11/4/97		192,849		51.5		64		8

		11/5/97		219,587		46		25		5

		11/6/97		195,125		46.5		169		13

		11/7/97		198,418		51.5		289		17

		11/8/97		220,515		48		144		12

		11/9/97		222,354		48		49		7

		11/10/97		228,646		48		64		8

		11/11/97		259,064		46		36		6

		11/12/97		304,574		42.5		64		8

		11/13/97		307,722		36		121		11

		11/14/97		341,367		35		81		9

		11/15/97		326,764		35.5		64		8

		11/16/97		369,188		35.5		100		10

		11/17/97		357,946		35		49		7

		11/18/97		344,011		35		9		3

		11/19/97		302,281		37.5		36		6

		11/20/97		297,119		42.5		4		2

		11/21/97		211,043		46		49		7

		11/22/97		275,237		43		49		7

		11/23/97		302,127		41		36		6

		11/24/97		382,825		35.5		121		11

		11/25/97		327,671		34		81		9

		11/26/97		244,662		46		144		12

		11/27/97		283,053		44.5		64		8

		11/28/97		259,312		42.5		36		6

		11/29/97		256,315		47		4		2

		11/30/97		256,467		43		64		8

		12/1/97		360,059		40.5		225		15

		12/2/97		348,105		39		81		9

		12/3/97		268,336		41		25		5

		12/4/97		239,947		45.5		9		3

		12/5/97		325,880		41		49		7

		12/6/97		365,055		34		64		8

		12/7/97		339,145		35.5		100		10

		12/8/97		335,771		37		25		5

		12/9/97		325,754		33.5		1		1

		12/10/97		343,316		37		100		10

		12/11/97		362,574		33		25		5

		12/12/97		339,403		35.5		25		5

		12/13/97		331,791		35.5		64		8

		12/14/97		387,864		36		64		8

		12/15/97		357,478		33.5		25		5

		12/16/97		289,933		43		4		2

		12/17/97		291,555		44		4		2

		12/18/97		319,184		39.5		9		3

		12/19/97		259,764		42.5		9		3

		12/20/97		301,414		43.5		16		4

		12/21/97		395,766		32		9		3

		12/22/97		373,909		29.5		36		6

		12/23/97		344,941		38		49		7

		12/24/97		287,623		39.5		36		6

		12/25/97		237,322		45.5		49		7

		12/26/97		287,452		43.5		36		6

		12/27/97		350,703		35.5		49		7

		12/28/97		370,372		35		16		4

		12/29/97		329,796		34.5		169		13

		12/30/97		400,863		35.5		144		12

		12/31/97		487,263		26		121		11

		1/1/98		441,597		21.5		100		10

		1/2/98		299,176		38.5		81		9

		1/3/98		216,946		52.5		64		8

		1/4/98		200,566		55		49		7

		1/5/98		240,649		47		9		3

		1/6/98		185,971		51		25		5

		1/7/98		236,669		52		100		10

		1/8/98		179,224		56.5		64		8

		1/9/98		230,820		56.5		64		8

		1/10/98		282,417		43		36		6

		1/11/98		313,953		42		49		7

		1/12/98		319,036		34		49		7

		1/13/98		357,644		40.5		121		11

		1/14/98		419,204		29		36		6

		1/15/98		361,657		32		169		13

		1/16/98		396,233		36.5		169		13

		1/17/98		334,824		37		64		8

		1/18/98		361,752		33.5		36		6

		1/19/98		371,458		35		25		5

		1/20/98		388,464		35.5		100		10

		1/21/98		372,769		34		36		6

		1/22/98		368,592		33		81		9

		1/23/98		309,257		39.5		64		8

		1/24/98		308,393		40		121		11

		1/25/98		368,397		36.5		64		8

		1/26/98		355,586		36.5		36		6

		1/27/98		367,165		35		256		16

		1/28/98		394,895		35.5		169		13

		1/29/98		296,406		43		16		4

		1/30/98		301,148		42.5		81		9

		1/31/98		335,197		39		36		6

		2/1/98		340,492		37.5		4		2

		2/2/98		284,421		39.5		16		4

		2/3/98		296,878		44		100		10

		2/4/98		375,395		39.5		361		19

		2/5/98		407,954		35.5		144		12

		2/6/98		336,137		38.5		36		6

		2/7/98		344,055		36.5		196		14

		2/8/98		374,475		36		49		7

		2/9/98		337,958		37.5		9		3

		2/10/98		298,577		41		25		5

		2/11/98		241,037		39		49		7

		2/12/98		273,642		49		121		11

		2/13/98		337,527		40		81		9

		2/14/98		412,885		31.5		64		8

		2/15/98		423,058		25.5		16		4

		2/16/98		354,746		30		64		8

		2/17/98		321,860		42.5		289		17

		2/18/98		293,077		44		36		6

		2/19/98		265,082		46		36		6

		2/20/98		261,109		48		64		8

		2/21/98		281,636		44.5		100		10

		2/22/98		262,024		45.5		36		6

		2/23/98		333,481		41		324		18

		2/24/98		356,776		39.5		144		12

		2/25/98		294,250		43.5		169		13

		2/26/98		245,075		50.5		49		7

		2/27/98		222,135		47		9		3

		2/28/98		229,827		47.5		64		8

		3/1/98		267,100		46		4		2

		3/2/98		248,414		47.5		16		4

		3/3/98		275,270		46.5		25		5

		3/4/98		271,196		45.5		36		6

		3/5/98		295,364		42		36		6

		3/6/98		273,684		40.5		36		6

		3/7/98		257,506		44.5		81		9

		3/8/98		298,322		43.5		196		14

		3/9/98		224,326		51		100		10

		3/10/98		381,505		43.5		169		13

		3/11/98		465,676		27		121		11

		3/12/98		464,303		26		64		8

		3/13/98		381,358		30.5		81		9

		3/14/98		350,205		39		100		10

		3/15/98		351,660		38.5		49		7

		3/16/98		346,584		35.5		49		7

		3/17/98		304,532		36		49		7

		3/18/98		331,403		37.5		100		10

		3/19/98		319,607		40.5		64		8

		3/20/98		297,234		43.5		121		11

		3/21/98		376,249		37.5		169		13

		3/22/98		373,428		33.5		49		7

		3/23/98		299,288		40		36		6

		3/24/98		291,178		41.5		16		4

		3/25/98		280,444		39		64		8

		3/26/98		201,011		52.5		64		8

		3/27/98		110,064		67.5		81		9

		3/28/98		128,263		70.5		81		9

		3/29/98		98,669		70		36		6

		3/30/98		99,367		71		49		7

		3/31/98		103,382		74		64		8

		4/1/98		143,136		63		46.24		6.8

		4/2/98		176,061		56.5		28.09		5.3

		4/3/98		178,590		51.5		56.25		7.5

		4/4/98		252,445		43.5		146.41		12.1

		4/5/98		237,271		45.5		102.01		10.1

		4/6/98		205,131		50		57.76		7.6

		4/7/98		166,738		55		30.25		5.5

		4/8/98		187,705		55		62.41		7.9

		4/9/98		272,595		45.5		171.61		13.1

		4/10/98		225,780		47		46.24		6.8

		4/11/98		200,528		49.5		25		5

		4/12/98		193,000		49		30.25		5.5

		4/13/98		150,558		55.5		32.49		5.7

		4/14/98		150,473		57		53.29		7.3

		4/15/98		173,330		56.5		10.24		3.2

		4/16/98		161,129		52		50.41		7.1

		4/17/98		157,436		63.5		22.09		4.7

		4/18/98		136,270		56.5		28.09		5.3

		4/19/98		196,097		53		44.89		6.7

		4/20/98		176,832		53		49		7

		4/21/98		145,895		58		10.89		3.3

		4/22/98		142,455		57.5		33.64		5.8

		4/23/98		238,956		51.5		65.61		8.1

		4/24/98		128,220		60.5		32.49		5.7

		4/25/98		141,517		59		72.25		8.5

		4/26/98		229,968		48.5		46.24		6.8

		4/27/98		204,751		48.5		31.36		5.6

		4/28/98		172,310		52		37.21		6.1

		4/29/98		124,113		58		36		6

		4/30/98		109,989		64		28.09		5.3

		5/1/98		121,679		60		39.69		6.3

		5/2/98		111,892		62		36		6

		5/3/98		112,086		62.5		22.09		4.7

		5/4/98		121,110		58.5		40.96		6.4

		5/5/98		116,904		58		39.69		6.3

		5/6/98		108,632		61		29.16		5.4

		5/7/98		112,364		62.5		5.29		2.3

		5/8/98		127,476		57		123.21		11.1

		5/9/98		135,036		58		136.89		11.7

		5/10/98		162,753		56		146.41		12.1

		5/11/98		186,693		55		174.24		13.2

		5/12/98		173,145		58		225		15

		5/13/98		160,489		54.5		56.25		7.5

		5/14/98		132,610		58		13.69		3.7

		5/15/98		102,210		68		10.24		3.2

		5/16/98		92,849		73.5		34.81		5.9

		5/17/98		117,299		61.5		34.81		5.9

		5/18/98		98,828		70		23.04		4.8

		5/19/98		92,553		75.5		39.69		6.3

		5/20/98		92,946		69.5		24.01		4.9

		5/21/98		91,130		71.5		60.84		7.8

		5/22/98		102,765		62		79.21		8.9

		5/23/98		93,525		64		40.96		6.4

		5/24/98		83,122		68.5		25		5

		5/25/98		94,965		65		16		4

		5/26/98		90,941		70		15.21		3.9

		5/27/98		88,802		68		15.21		3.9

		5/28/98		89,880		73		28.09		5.3

		5/29/98		89,341		76		50.41		7.1

		5/30/98		84,418		76.5		19.36		4.4

		5/31/98		86,079		77		27.3877777778		5.2333333333

		6/1/98		93,103		68.5		36.8044444444		6.0666666667

		6/2/98		91,732		63.5		47.61		6.9

		6/3/98		96,562		64		114.49		10.7

		6/4/98		95,913		61		75.69		8.7

		6/5/98		93,309		62.5		84.64		9.2

		6/6/98		90,202		64		53.29		7.3

		6/7/98		98,320		62		53.29		7.3

		6/8/98		96,823		60		65.61		8.1

		6/9/98		95,426		61.5		26.01		5.1

		6/10/98		91,696		65		25		5

		6/11/98		92,974		65.5		44.89		6.7

		6/12/98		88,254		63		47.61		6.9

		6/13/98		86,128		68		16.81		4.1

		6/14/98		85,946		68.5		26.01		5.1

		6/15/98		87,529		68		21.16		4.6

		6/16/98		86,470		75		22.09		4.7

		6/17/98		89,831		74		39.69		6.3

		6/18/98		89,818		76		30.25		5.5

		6/19/98		88,435		77		18.49		4.3

		6/20/98		81,908		78.5		16		4

		6/21/98		82,261		74.5		34.81		5.9

		6/22/98		88,302		69.5		17.64		4.2

		6/23/98		83,688		71		17.64		4.2

		6/24/98		93,528		78.5		13.69		3.7

		6/25/98		84,356		82.5		23.04		4.8

		6/26/98		86,247		84		51.84		7.2

		6/27/98		81,652		79.5		72.25		8.5

		6/28/98		79,560		71.5		33.64		5.8

		6/29/98		86,001		71.5		67.24		8.2

		6/30/98		85,503		75		40.96		6.4

		7/1/98		87,631		72		90.25		9.5

		7/2/98		80,019		73.5		24.01		4.9

		7/3/98		82,540		77		21.16		4.6

		7/4/98		69,851		75.5		12.96		3.6

		7/5/98		81,408		75.5		56.25		7.5

		7/6/98		83,718		71		30.25		5.5

		7/7/98		81,261		71.5		19.36		4.4

		7/8/98		86,691		67		20.25		4.5

		7/9/98		86,418		73		16		4

		7/10/98		84,872		77		43.56		6.6

		7/11/98		75,593		73.5		62.41		7.9

		7/12/98		86,945		76		15.21		3.9

		7/13/98		96,470		76.5		37.21		6.1

		7/14/98		85,828		78.5		53.29		7.3

		7/15/98		85,597		79.5		38.44		6.2

		7/16/98		87,759		81.5		14.44		3.8

		7/17/98		79,093		81		7.29		2.7

		7/18/98		82,574		81.5		19.36		4.4

		7/19/98		76,895		78		38.44		6.2

		7/20/98		86,388		83		42.25		6.5

		7/21/98		84,467		83.5		12.96		3.6

		7/22/98		81,485		87.5		46.24		6.8

		7/23/98		85,749		85		25		5

		7/24/98		84,334		80.5		32.49		5.7

		7/25/98		77,732		75		14.44		3.8

		7/26/98		79,181		77.5		30.25		5.5

		7/27/98		85,137		76.5		46.24		6.8

		7/28/98		81,672		81		56.25		7.5

		7/29/98		83,156		83.5		38.44		6.2

		7/30/98		88,521		79		12.96		3.6

		7/31/98		81,849		74		17.2225		4.15

		8/1/98		78,869		72.5		22.09		4.7

		8/2/98		82,799		72.5		20.25		4.5

		8/3/98		82,723		74.5		21.16		4.6

		8/4/98		86,011		78.5		19.36		4.4

		8/5/98		83,105		76		10.24		3.2

		8/6/98		84,297		79		14.44		3.8

		8/7/98		83,895		74		33.64		5.8

		8/8/98		75,708		74.5		36		6

		8/9/98		78,862		79		29.16		5.4

		8/10/98		81,435		79.5		47.61		6.9

		8/11/98		85,286		81.5		21.16		4.6

		8/12/98		82,551		78		51.84		7.2

		8/13/98		82,288		74		47.61		6.9

		8/14/98		83,968		73		43.56		6.6

		8/15/98		81,621		77		24.01		4.9

		8/16/98		76,397		78.5		8.41		2.9

		8/17/98		84,468		78		25		5

		8/18/98		85,220		77.5		36		6

		8/19/98		84,994		67		72.25		8.5

		8/20/98		85,949		69		17.64		4.2

		8/21/98		83,419		74		12.25		3.5

		8/22/98		80,189		75		31.36		5.6

		8/23/98		79,877		78		29.16		5.4

		8/24/98		80,382		83.5		68.89		8.3

		8/25/98		85,462		84.5		32.49		5.7

		8/26/98		87,946		82		18.49		4.3

		8/27/98		88,246		79		47.61		6.9

		8/28/98		79,955		78		132.25		11.5

		8/29/98		80,661		81		31.36		5.6

		8/30/98		80,254		79		16		4

		8/31/98		85,915		79		26.01		5.1

		9/1/98		87,365		72.5		26.01		5.1

		9/2/98		83,572		71.5		25		5

		9/3/98		85,525		71		8.41		2.9

		9/4/98		80,977		73		24.01		4.9

		9/5/98		79,255		72		49		7

		9/6/98		78,957		76.5		50.41		7.1

		9/7/98		81,294		78.5		34.81		5.9

		9/8/98		88,612		66.5		44.89		6.7

		9/9/98		86,888		62		68.89		8.3

		9/10/98		89,423		63.5		57.76		7.6

		9/11/98		82,481		67		34.81		5.9

		9/12/98		78,825		74		24.01		4.9

		9/13/98		82,642		74.5		27.04		5.2

		9/14/98		85,681		75		28.09		5.3

		9/15/98		86,751		77.5		49		7

		9/16/98		84,511		79.5		39.69		6.3

		9/17/98		93,855		70.5		25		5

		9/18/98		84,722		67.5		64		8

		9/19/98		84,469		68.5		12.96		3.6

		9/20/98		81,419		74.5		18.49		4.3

		9/21/98		87,404		77.5		23.04		4.8

		9/22/98		88,708		68.5		42.25		6.5

		9/23/98		102,623		60.5		42.25		6.5

		9/24/98		95,951		57.5		18.49		4.3

		9/25/98		81,991		64		32.49		5.7

		9/26/98		80,106		70.5		16.81		4.1

		9/27/98		85,734		80		47.61		6.9

		9/28/98		87,210		69		56.25		7.5

		9/29/98		87,097		62.5		20.25		4.5

		9/30/98		84,699		64		31.36		5.6

		10/1/98		97,783		65.5		44.89		6.7

		10/2/98		104,020		56.5		60.84		7.8

		10/3/98		106,426		54		21.16		4.6

		10/4/98		118,356		54		6.76		2.6

		10/5/98		109,163		61.5		27.04		5.2

		10/6/98		140,921		54		68.89		8.3

		10/7/98		109,555		57		21.16		4.6

		10/8/98		92,860		67		40.96		6.4

		10/9/98		93,646		61		108.16		10.4

		10/10/98		94,775		61		32.49		5.7

		10/11/98		89,148		66		46.24		6.8

		10/12/98		106,601		60		27.04		5.2

		10/13/98		108,287		60		46.24		6.8

		10/14/98		117,759		59.5		56.25		7.5

		10/15/98		131,680		55		34.81		5.9

		10/16/98		130,854		56.5		16		4

		10/17/98		109,809		56.5		19.36		4.4

		10/18/98		95,569		64.5		65.61		8.1

		10/19/98		108,153		65		36		6

		10/20/98		130,293		57.5		34.81		5.9

		10/21/98		172,609		51.5		43.56		6.6

		10/22/98		206,667		47.5		46.24		6.8

		10/23/98		160,117		52		50.41		7.1

		10/24/98		121,305		60.5		39.69		6.3

		10/25/98		120,211		59.5		20.25		4.5

		10/26/98		138,982		56.5		53.29		7.3

		10/27/98		176,240		55		25		5

		10/28/98		137,286		56.5		25		5

		10/29/98		201,684		51.5		60.84		7.8

		10/30/98		194,781		51		81		9

		10/31/98		182,644		51		50.41		7.1

		11/1/98		182,818		52		27.04		5.2

		11/2/98		219,280		49		79.21		8.9

		11/3/98		243,143		44.5		33.64		5.8

		11/4/98		275,320		44.5		54.76		7.4

		11/5/98		261,038		42		16		4

		11/6/98		277,391		41.5		44.89		6.7

		11/7/98		239,675		42		40.96		6.4

		11/8/98		247,684		46.5		38.44		6.2

		11/9/98		244,698		48.5		15.21		3.9

		11/10/98		196,808		47		56.25		7.5

		11/11/98		207,902		57		73.96		8.6

		11/12/98		238,912		47		51.84		7.2

		11/13/98		230,002		46.5		34.81		5.9

		11/14/98		168,826		49.5		38.44		6.2

		11/15/98		209,459		54.5		73.96		8.6

		11/16/98		212,614		45		29.16		5.4

		11/17/98		247,345		48		44.89		6.7

		11/18/98		287,803		43		28.09		5.3

		11/19/98		210,545		42		22.09		4.7

		11/20/98		183,613		54.5		22.09		4.7

		11/21/98		262,559		45.5		81		9

		11/22/98		265,229		42.5		42.25		6.5

		11/23/98		201,115		47.5		86.49		9.3

		11/24/98		235,320		52		102.01		10.1

		11/25/98		233,689		43		30.25		5.5

		11/26/98		222,548		49		94.09		9.7

		11/27/98		263,768		45.5		121		11

		11/28/98		196,889		49.5		43.56		6.6

		11/29/98		181,488		53.5		16		4

		11/30/98		172,161		53.5		28.09		5.3

		12/1/98		210,457		55		81		9

		12/2/98		190,028		56.5		73.96		8.6

		12/3/98		144,451		61.5		60.84		7.8

		12/4/98		125,157		66		38.44		6.2

		12/5/98		176,189		56.5		31.36		5.6

		12/6/98		150,339		58.5		16		4

		12/7/98		148,712		61.5		73.96		8.6

		12/8/98		248,563		49		44.89		6.7

		12/9/98		298,744		45		42.25		6.5

		12/10/98		280,906		45.5		42.25		6.5

		12/11/98		309,869		43		79.21		8.9

		12/12/98		291,165		42		51.84		7.2

		12/13/98		299,989		43.5		34.81		5.9

		12/14/98		350,822		39.5		73.96		8.6

		12/15/98		294,763		43		53.29		7.3

		12/16/98		301,199		46		12.25		3.5

		12/17/98		327,941		42		47.61		6.9

		12/18/98		358,325		37		90.25		9.5

		12/19/98		256,832		43.5		68.89		8.3

		12/20/98		249,317		48		38.44		6.2

		12/21/98		216,354		48.5		44.89		6.7

		12/22/98		387,766		43.5		153.76		12.4

		12/23/98		431,537		25		34.81		5.9

		12/24/98		425,539		29		30.25		5.5

		12/25/98		410,232		29.5		34.81		5.9

		12/26/98		427,079		30.5		13.69		3.7

		12/27/98		355,314		35.5		28.09		5.3

		12/28/98		318,629		41.5		31.36		5.6

		12/29/98		316,230		39.5		65.61		8.1

		12/30/98		529,758		29.5		156.25		12.5

		12/31/98		484,096		22.5		53.29		7.3

		1/1/99		527,568		20		108.16		10.4

		1/2/99		483,530		18		43.56		6.6

		1/3/99		354,883		37.5		114.49		10.7

		1/4/99		498,544		26.5		84.64		9.2

		1/5/99		509,958		23		56.25		7.5

		1/6/99		455,677		27		68.89		8.3

		1/7/99		467,966		30		96.04		9.8

		1/8/99		407,139		29.5		51.84		7.2

		1/9/99		374,961		38		64		8

		1/10/99		460,050		26.5		49		7

		1/11/99		472,860		24.5		79.21		8.9

		1/12/99		309,760		38		47.61		6.9

		1/13/99		413,834		35.5		94.09		9.7

		1/14/99		528,032		20		256		16

		1/15/99		413,720		31		84.64		9.2

		1/16/99		353,798		34.5		56.25		7.5

		1/17/99		292,645		43		23.04		4.8

		1/18/99		296,202		46		49		7

		1/19/99		313,981		44		51.84		7.2

		1/20/99		346,976		42		30.25		5.5

		1/21/99		298,893		38		34.81		5.9

		1/22/99		311,401		40		151.29		12.3

		1/23/99		231,751		47.5		94.09		9.7

		1/24/99		275,733		49		62.41		7.9

		1/25/99		401,924		37.5		59.29		7.7

		1/26/99		387,276		36.5		47.61		6.9

		1/27/99		321,979		40		17.64		4.2

		1/28/99		358,572		36		65.61		8.1

		1/29/99		428,025		32		50.41		7.1

		1/30/99		458,301		30		50.41		7.1

		1/31/99		489,831		23.5		68.89		8.3

		2/1/99		368,070		34.5		32.49		5.7

		2/2/99		274,336		44.5		56.25		7.5

		2/3/99		283,245		46		30.25		5.5

		2/4/99		325,333		42		38.44		6.2

		2/5/99		357,278		39		110.25		10.5

		2/6/99		348,344		38		43.56		6.6

		2/7/99		364,488		37.5		43.56		6.6

		2/8/99		425,871		34.5		43.56		6.6

		2/9/99		363,696		37		43.56		6.6

		2/10/99		322,437		43		106.09		10.3

		2/11/99		271,515		42		33.64		5.8

		2/12/99		268,870		47.5		64		8

		2/13/99		384,269		34.5		79.21		8.9

		2/14/99		451,484		27.5		84.64		9.2

		2/15/99		364,577		35.5		28.09		5.3

		2/16/99		286,545		42.5		19.36		4.4

		2/17/99		263,861		40		75.69		8.7

		2/18/99		351,501		39.5		25		5

		2/19/99		339,678		38		54.76		7.4

		2/20/99		364,775		35		64		8

		2/21/99		453,479		30.5		65.61		8.1

		2/22/99		526,314		21.5		148.84		12.2

		2/23/99		425,116		21		36		6

		2/24/99		369,314		30.5		144		12

		2/25/99		395,994		32.5		73.96		8.6

		2/26/99		351,648		39		77.44		8.8

		2/27/99		296,894		42		26.01		5.1

		2/28/99		301,651		45.5		43.56		6.6

		3/1/99		316,713		41.5		65.61		8.1

		3/2/99		315,813		42		82.81		9.1

		3/3/99		263,471		48		75.69		8.7

		3/4/99		405,537		43.5		184.96		13.6

		3/5/99		337,401		36.5		53.29		7.3

		3/6/99		335,822		42		65.61		8.1

		3/7/99		498,284		29.5		148.84		12.2

		3/8/99		480,950		26.5		86.49		9.3

		3/9/99		412,631		29		40.96		6.4

		3/10/99		397,302		34		65.61		8.1

		3/11/99		410,765		33.5		151.29		12.3

		3/12/99		430,019		31.5		132.25		11.5

		3/13/99		323,337		38.5		64		8

		3/14/99		348,919		36		44.89		6.7

		3/15/99		408,046		36.5		136.89		11.7

		3/16/99		330,206		42		118.81		10.9

		3/17/99		218,616		54		43.56		6.6

		3/18/99		227,538		56		151.29		12.3

		3/19/99		315,360		41.5		136.89		11.7

		3/20/99		285,574		43		49		7

		3/21/99		274,071		44.5		82.81		9.1

		3/22/99		326,346		45.5		132.25		11.5

		3/23/99		268,285		45		50.41		7.1

		3/24/99		239,146		50		21.16		4.6

		3/25/99		287,701		43.5		62.41		7.9

		3/26/99		291,684		41		57.76		7.6

		3/27/99		267,507		44.5		136.89		11.7

		3/28/99		261,884		45		139.24		11.8

		3/29/99		174,735		55.5		75.69		8.7

		3/30/99		200,140		53.5		84.64		9.2

		3/31/99		146,879		62		88.36		9.4

		4/1/99		161,704		58.5		47.61		6.9

		4/2/99		170,443		54		46.24		6.8

		4/3/99		177,674		50.5		23.04		4.8

		4/4/99		228,883		51		110.25		10.5

		4/5/99		221,117		47		49		7

		4/6/99		176,777		52.5		26.01		5.1

		4/7/99		132,431		58.5		39.69		6.3

		4/8/99		111,278		65.5		56.25		7.5

		4/9/99		224,804		51.5		141.61		11.9

		4/10/99		200,216		50		88.36		9.4

		4/11/99		276,516		42		94.575625		9.725

		4/12/99		232,909		47		101.0025		10.05

		4/13/99		210,490		50.5		107.640625		10.375

		4/14/99		177,053		55		114.49		10.7

		4/15/99		150,561		58.5		44.89		6.7

		4/16/99		221,455		50.5		44.89		6.7

		4/17/99		185,820		51		72.25		8.5

		4/18/99		171,547		54		57.76		7.6

		4/19/99		185,948		53		36		6

		4/20/99		256,979		48		30.25		5.5

		4/21/99		176,500		53		40.96		6.4

		4/22/99		172,757		53		21.16		4.6

		4/23/99		219,952		49		68.89		8.3

		4/24/99		198,651		50		65.61		8.1

		4/25/99		173,396		52.5		44.89		6.7

		4/26/99		140,702		62		81		9

		4/27/99		154,423		54.5		94.09		9.7

		4/28/99		155,968		53		43.56		6.6

		4/29/99		154,380		57.5		92.16		9.6

		4/30/99		158,272		55		50.41		7.1

		5/1/99		142,189		56		57.76		7.6

		5/2/99		125,495		56		136.89		11.7

		5/3/99		156,909		57		184.96		13.6

		5/4/99		125,377		56.5		17.64		4.2

		5/5/99		109,012		65		10.89		3.3

		5/6/99		114,694		61		28.09		5.3

		5/7/99		119,535		57		42.25		6.5

		5/8/99		121,712		58		24.01		4.9

		5/9/99		101,478		63.5		17.64		4.2

		5/10/99		104,952		63.5		43.56		6.6

		5/11/99		117,295		60		43.56		6.6

		5/12/99		108,850		63.5		27.04		5.2

		5/13/99		126,712		59.5		49		7

		5/14/99		127,254		56		43.56		6.6

		5/15/99		120,564		59		25		5

		5/16/99		111,286		59		46.24		6.8

		5/17/99		100,063		62.5		29.16		5.4

		5/18/99		99,708		60.5		54.76		7.4

		5/19/99		96,998		62		24.01		4.9

		5/20/99		107,058		65		50.41		7.1

		5/21/99		91,086		67		11.56		3.4

		5/22/99		91,589		69		27.04		5.2

		5/23/99		97,083		62		33.64		5.8

		5/24/99		107,169		62.5		24.01		4.9

		5/25/99		97,074		63		60.84		7.8

		5/26/99		100,836		66.5		79.21		8.9

		5/27/99		99,798		64		40.96		6.4

		5/28/99		96,240		70.5		12.25		3.5

		5/29/99		90,695		75.5		25		5

		5/30/99		84,061		76		7.84		2.8

		5/31/99		89,315		75.5		10.24		3.2

		6/1/99		98,235		75.5		25		5

		6/2/99		91,305		81.5		30.25		5.5

		6/3/99		92,060		75.5		60.84		7.8

		6/4/99		94,314		69.5		56.25		7.5

		6/5/99		86,550		69.5		23.04		4.8

		6/6/99		91,317		70		32.49		5.7

		6/7/99		90,577		84.5		33.64		5.8

		6/8/99		89,333		85		54.76		7.4

		6/9/99		91,400		74		64		8

		6/10/99		96,191		66.5		77.44		8.8

		6/11/99		84,521		65		42.25		6.5

		6/12/99		78,284		65.5		81		9

		6/13/99		81,821		72.5		59.29		7.7

		6/14/99		91,382		74		39.69		6.3

		6/15/99		91,959		72.5		47.61		6.9

		6/16/99		87,065		65.5		82.81		9.1

		6/17/99		90,556		64		32.49		5.7

		6/18/99		92,454		67.5		31.36		5.6

		6/19/99		97,059		70.5		25		5

		6/20/99		92,208		67.5		23.04		4.8

		6/21/99		100,097		64		29.16		5.4

		6/22/99		90,009		73		12.25		3.5

		6/23/99		94,267		80		24.01		4.9

		6/24/99		93,167		78.5		51.84		7.2

		6/25/99		90,803		75		47.61		6.9

		6/26/99		85,948		84		23.04		4.8

		6/27/99		87,598		83		20.25		4.5

		6/28/99		89,322		83.5		51.84		7.2

		6/29/99		89,883		83		51.84		7.2

		6/30/99		88,986		74.5		29.16		5.4

		7/1/99		93,312		74		28.09		5.3

		7/2/99		91,944		81		82.81		9.1

		7/3/99		84,834		82		20.25		4.5

		7/4/99		73,413		88.5		33.64		5.8

		7/5/99		82,904		93		47.61		6.9

		7/6/99		82,270		92.5		57.76		7.6

		7/7/99		88,183		85		49		7

		7/8/99		86,953		81		42.25		6.5

		7/9/99		85,281		79		22.09		4.7

		7/10/99		84,711		76.5		67.24		8.2

		7/11/99		87,790		73		42.25		6.5

		7/12/99		85,991		72		40.96		6.4

		7/13/99		86,691		71		54.76		7.4

		7/14/99		90,791		71.5		6.25		2.5

		7/15/99		88,216		78		11.56		3.4

		7/16/99		88,483		86		50.41		7.1

		7/17/99		78,884		88		28.09		5.3

		7/18/99		82,063		88		28.09		5.3

		7/19/99		84,963		86		15.21		3.9

		7/20/99		90,088		79		36		6

		7/21/99		88,748		76		36		6

		7/22/99		87,938		77		18.49		4.3

		7/23/99		86,928		82		14.44		3.8

		7/24/99		80,246		86.5		37.21		6.1

		7/25/99		80,168		88		21.16		4.6

		7/26/99		87,210		83.5		25		5

		7/27/99		86,731		86		18.49		4.3

		7/28/99		85,738		87		33.64		5.8

		7/29/99		89,732		82.5		16		4

		7/30/99		87,336		82.5		26.01		5.1

		7/31/99		81,478		81		26.01		5.1

		8/1/99		81,405		89		39.69		6.3

		8/2/99		84,959		81.5		51.84		7.2

		8/3/99		80,449		78.5		37.21		6.1

		8/4/99		84,056		79.5		26.01		5.1

		8/5/99		88,241		80		20.25		4.5

		8/6/99		82,580		81		36		6

		8/7/99		78,580		78.5		38.44		6.2

		8/8/99		82,426		78		44.89		6.7

		8/9/99		87,326		73.5		56.25		7.5

		8/10/99		83,674		72		16		4

		8/11/99		86,110		79		31.36		5.6

		8/12/99		82,854		81		26.01		5.1

		8/13/99		82,444		80.5		43.56		6.6

		8/14/99		84,109		78.5		18.49		4.3

		8/15/99		83,999		74.5		27.3877777778		5.2333333333

		8/16/99		89,824		76.5		38.0277777778		6.1666666667

		8/17/99		87,907		79.5		50.41		7.1

		8/18/99		90,351		79.5		33.64		5.8

		8/19/99		84,406		75		51.84		7.2

		8/20/99		91,582		69.5		102.01		10.1

		8/21/99		83,018		62		84.64		9.2

		8/22/99		84,809		66.5		15.21		3.9

		8/23/99		88,433		74.5		10.24		3.2

		8/24/99		90,986		78.5		16.81		4.1

		8/25/99		86,493		76		36		6

		8/26/99		91,700		73.5		65.61		8.1

		8/27/99		87,312		75.5		18.49		4.3

		8/28/99		83,879		80.5		30.25		5.5

		8/29/99		85,389		76.5		53.29		7.3

		8/30/99		89,307		66		129.96		11.4

		8/31/99		93,802		69		86.49		9.3





PSE&G Data

		



10/96-9/97

10/97-9/98

10/98-8/99

Temp (F)

LILCO Load (GS Data)



		Date		Load		Avg Temp		WS^2		Wind Speed

		8/1/97		632,942		78		73.96		8.6

		8/2/97		575,885		80.5		141.61		11.9

		8/3/97		603,430		79.5		92.16		9.6

		8/4/97		693,011		72.5		47.61		6.9

		8/5/97		688,152		71		60.84		7.8

		8/6/97		688,152		70.5		56.25		7.5

		8/7/97		698,422		71.5		51.84		7.2

		8/8/97		648,474		71.5		31.36		5.6

		8/9/97		566,465		76		57.76		7.6

		8/10/97		597,499		75.5		98.01		9.9

		8/11/97		695,074		76		90.25		9.5

		8/12/97		694,125		76		100.00		10

		8/13/97		693,661		77.5		67.24		8.2

		8/14/97		682,255		78.5		81.00		9

		8/15/97		577,302		75.5		65.61		8.1

		8/16/97		564,240		85.5		112.36		10.6

		8/17/97		617,995		83		59.29		7.7

		8/18/97		691,786		71		158.76		12.6

		8/19/97		689,970		67.5		54.76		7.4

		8/20/97		707,900		67		81.00		9

		8/21/97		697,972		69.5		123.21		11.1

		8/22/97		648,117		71		59.29		7.7

		8/23/97		559,625		67.5		92.16		9.6

		8/24/97		599,843		67.5		46.24		6.8

		8/25/97		709,103		71.5		21.16		4.6

		8/26/97		704,924		72		31.36		5.6

		8/27/97		702,611		71.5		62.41		7.9

		8/28/97		689,664		69.5		9.00		3

		8/30/97		558,378		72.5		25.00		5

		8/31/97		548,875		72.5		49.00		7

		9/1/97		587,438		76		23.04		4.8

		9/2/97		672,880		77.5		59.29		7.7

		9/3/97		681,095		66		265.69		16.3

		9/4/97		685,462		61.5		210.25		14.5

		9/5/97		631,879		64		77.44		8.8

		9/6/97		573,718		68.5		59.29		7.7

		9/7/97		604,641		71.5		54.76		7.4

		9/8/97		712,067		69		86.49		9.3

		9/9/97		714,975		67.5		90.25		9.5

		9/10/97		708,882		66		129.96		11.4

		9/11/97		716,300		72		139.24		11.8

		9/12/97		637,100		74		51.84		7.2

		9/13/97		655,383		71		49.00		7

		9/14/97		612,952		71		50.41		7.1

		9/15/97		698,076		70.5		64.00		8

		9/16/97		717,320		71.5		65.61		8.1

		9/17/97		689,501		68		57.76		7.6

		9/18/97		706,244		73		49.00		7

		9/19/97		670,322		71		44.89		6.7

		9/20/97		620,967		71.5		207.36		14.4

		9/21/97		680,823		58.5		174.24		13.2

		9/22/97		740,322		56.5		144.00		12

		9/23/97		767,868		60		116.64		10.8

		9/24/97		858,348		55.5		70.56		8.4

		9/25/97		770,608		56.5		49.00		7

		9/26/97		716,418		64		153.76		12.4

		9/27/97		641,079		58		43.56		6.6

		9/28/97		626,381		61.5		123.21		11.1

		9/29/97		718,620		68.5		268.96		16.4

		9/30/97		743,655		67		313.29		17.7

		10/1/97		919,325		53.5		182.25		13.5

		10/2/97		880,520		50.5		65.61		8.1

		10/3/97		721,477		58		67.24		8.2

		10/4/97		616,377		65.5		29.16		5.4

		10/5/97		613,758		71		22.09		4.7

		10/6/97		621,330		74		77.44		8.8

		10/7/97		642,361		71		25.00		5

		10/8/97		651,829		66.5		21.16		4.6

		10/9/97		630,217		68		32.49		5.7

		10/10/97		609,925		73.5		144.00		12

		10/11/97		640,284		59		108.16		10.4

		10/12/97		665,434		57.5		21.16		4.6

		10/13/97		678,943		59.5		24.01		4.9

		10/14/97		657,958		65.5		42.25		6.5

		10/15/97		820,392		57.5		176.89		13.3

		10/16/97		905,316		53.5		118.81		10.9

		10/17/97		841,373		53		88.36		9.4

		10/18/97		789,101		54.5		62.41		7.9

		10/19/97		929,750		51		153.76		12.4

		10/20/97		880,388		55.5		144.00		12

		10/21/97		999,193		50.5		102.01		10.1

		10/22/97		1,218,219		46.5		169.00		13

		10/23/97		1,229,374		55.5		98.01		9.9

		10/24/97		931,496		50.5		40.96		6.4

		10/25/97		1,152,333		46		141.61		11.9

		10/26/97		1,064,534		44.5		68.89		8.3

		10/27/97		1,095,268		55.5		123.21		11.1

		10/28/97		1,335,533		48.5		282.24		16.8

		10/29/97		1,208,708		46		77.44		8.8

		10/30/97		1,082,337		51.5		29.16		5.4

		10/31/97		792,340		52		26.01		5.1

		11/1/97		733,732		60.5		106.09		10.3

		11/2/97		1,007,689		52.5		132.25		11.5

		11/3/97		955,603		53		50.41		7.1

		11/4/97		1,148,945		51.5		110.25		10.5

		11/5/97		1,191,826		46		33.64		5.8

		11/6/97		1,116,822		46.5		127.69		11.3

		11/7/97		1,109,878		51.5		353.44		18.8

		11/8/97		1,125,425		48		299.29		17.3

		11/9/97		1,160,446		48		163.84		12.8

		11/10/97		1,289,200		48		123.21		11.1

		11/11/97		1,352,111		46		118.81		10.9

		11/12/97		1,544,114		42.5		100.00		10

		11/13/97		1,564,678		36		81.00		9

		11/14/97		1,672,555		35		282.24		16.8

		11/15/97		1,570,795		35.5		96.04		9.8

		11/16/97		1,725,644		35.5		182.25		13.5

		11/17/97		1,793,062		35		163.84		12.8

		11/18/97		1,733,962		35		38.44		6.2

		11/19/97		1,576,400		37.5		25.00		5

		11/20/97		1,514,838		42.5		60.84		7.8

		11/21/97		1,573,544		46		31.36		5.6

		11/22/97		1,369,617		43		104.04		10.2

		11/23/97		1,477,113		41		37.21		6.1

		11/24/97		1,842,309		35.5		313.29		17.7

		11/25/97		1,644,536		34		146.41		12.1

		11/26/97		1,327,414		46		169.00		13

		11/27/97		1,392,243		44.5		432.64		20.8

		11/28/97		1,335,509		42.5		54.76		7.4

		11/29/97		1,224,241		47		46.24		6.8

		11/30/97		1,363,610		43		19.36		4.4

		12/1/97		1,779,556		40.5		428.49		20.7

		12/2/97		1,724,597		39		320.41		17.9

		12/3/97		1,428,825		41		49.00		7

		12/4/97		1,286,303		45.5		31.36		5.6

		12/5/97		1,656,082		41		110.25		10.5

		12/6/97		1,730,178		34		225.00		15

		12/7/97		1,602,656		35.5		207.36		14.4

		12/8/97		1,698,537		37		151.29		12.3

		12/9/97		1,624,241		33.5		21.16		4.6

		12/10/97		1,715,003		37		56.25		7.5

		12/11/97		1,788,697		33		96.04		9.8

		12/12/97		1,676,695		35.5		60.84		7.8

		12/13/97		1,609,396		35.5		110.25		10.5

		12/14/97		1,801,718		36		234.09		15.3

		12/15/97		1,754,759		33.5		81.00		9

		12/16/97		1,527,159		43		37.21		6.1

		12/17/97		1,541,826		44		75.69		8.7

		12/18/97		1,599,589		39.5		42.25		6.5

		12/19/97		1,436,395		42.5		123.21		11.1

		12/20/97		1,474,724		43.5		57.76		7.6

		12/21/97		1,807,344		32		114.49		10.7

		12/22/97		1,804,733		29.5		67.24		8.2

		12/23/97		1,618,011		38		141.61		11.9

		12/24/97		1,434,938		39.5		56.25		7.5

		12/25/97		1,236,199		45.5		73.96		8.6

		12/26/97		1,428,257		43.5		156.25		12.5

		12/27/97		1,656,821		35.5		70.56		8.4

		12/28/97		1,800,797		35		108.16		10.4

		12/29/97		1,685,012		34.5		108.16		10.4

		12/30/97		1,888,912		35.5		327.61		18.1

		12/31/97		2,168,355		26		342.25		18.5

		1/1/98		2,017,971		21.5		193.21		13.9

		1/2/98		1,492,475		38.5		102.01		10.1

		1/3/98		1,156,591		52.5		136.89		11.7

		1/4/98		1,125,172		55		36.00		6

		1/5/98		1,332,934		47		22.09		4.7

		1/6/98		1,035,253		51		15.21		3.9

		1/7/98		1,025,178		52		57.76		7.6

		1/8/98		901,547		56.5		125.44		11.2

		1/9/98		1,143,432		56.5		182.25		13.5

		1/10/98		1,402,312		43		72.25		8.5

		1/11/98		1,541,509		42		79.21		8.9

		1/12/98		1,605,583		34		65.61		8.1

		1/13/98		1,767,377		40.5		141.61		11.9

		1/14/98		2,004,989		29		118.81		10.9

		1/15/98		1,810,341		32		108.16		10.4

		1/16/98		1,784,966		36.5		342.25		18.5

		1/17/98		1,605,002		37		106.09		10.3

		1/18/98		1,604,039		33.5		43.56		6.6

		1/19/98		1,753,477		35		28.09		5.3

		1/20/98		1,915,444		35.5		187.69		13.7

		1/21/98		1,855,039		34		121.00		11

		1/22/98		1,805,819		33		75.69		8.7

		1/23/98		1,602,518		39.5		171.61		13.1

		1/24/98		1,507,565		40		169.00		13

		1/25/98		1,773,374		36.5		231.04		15.2

		1/26/98		1,784,404		36.5		25.00		5

		1/27/98		1,823,518		35		104.04		10.2

		1/28/98		1,892,166		35.5		445.21		21.1

		1/29/98		1,487,499		43		68.89		8.3

		1/30/98		1,545,672		42.5		70.56		8.4

		1/31/98		1,612,910		39		184.96		13.6

		2/1/98		1,585,412		37.5		26.01		5.1

		2/2/98		1,468,269		39.5		23.04		4.8

		2/3/98		1,538,497		44		79.21		8.9

		2/4/98		1,785,740		39.5		384.16		19.6

		2/5/98		1,855,063		35.5		457.96		21.4

		2/6/98		1,633,075		38.5		136.89		11.7

		2/7/98		1,602,716		36.5		127.69		11.3

		2/8/98		1,687,807		36		116.64		10.8

		2/9/98		1,627,657		37.5		21.16		4.6

		2/10/98		1,539,054		41		28.09		5.3

		2/11/98		1,326,233		39		16.00		4

		2/12/98		1,450,858		49		262.44		16.2

		2/13/98		1,655,599		40		225.00		15

		2/14/98		1,872,234		31.5		201.64		14.2

		2/15/98		1,903,469		25.5		50.41		7.1

		2/16/98		1,713,225		30		36.00		6

		2/17/98		1,614,678		42.5		158.76		12.6

		2/18/98		1,669,894		44		153.76		12.4

		2/19/98		1,449,452		46		79.21		8.9

		2/20/98		1,360,709		48		46.24		6.8

		2/21/98		1,358,440		44.5		210.25		14.5

		2/22/98		1,333,786		45.5		94.09		9.7

		2/23/98		1,656,159		41		252.81		15.9

		2/24/98		1,759,403		39.5		376.36		19.4

		2/25/98		1,541,042		43.5		529.00		23

		2/26/98		1,357,249		50.5		225.00		15

		2/27/98		1,129,148		47		36.00		6

		2/28/98		1,181,109		47.5		33.64		5.8

		3/1/98		1,253,166		46		21.16		4.6

		3/2/98		1,266,364		47.5		14.44		3.8

		3/3/98		1,427,064		46.5		68.89		8.3

		3/4/98		1,454,777		45.5		108.16		10.4

		3/5/98		1,580,281		42		112.36		10.6

		3/6/98		1,399,394		40.5		42.25		6.5

		3/7/98		1,225,461		44.5		49.00		7

		3/8/98		1,467,349		43.5		166.41		12.9

		3/9/98		1,111,780		51		129.96		11.4

		3/10/98		1,856,899		43.5		396.01		19.9

		3/11/98		2,147,955		27		324.00		18

		3/12/98		2,085,523		26		259.21		16.1

		3/13/98		1,756,236		30.5		104.04		10.2

		3/14/98		1,611,774		39		246.49		15.7

		3/15/98		1,620,648		38.5		182.25		13.5

		3/16/98		1,698,873		35.5		100.00		10

		3/17/98		1,497,042		36		50.41		7.1

		3/18/98		1,584,353		37.5		49.00		7

		3/19/98		1,525,080		40.5		88.36		9.4

		3/20/98		1,425,222		43.5		59.29		7.7

		3/21/98		1,662,159		37.5		324.00		18

		3/22/98		1,649,443		33.5		148.84		12.2

		3/23/98		1,579,104		40		123.21		11.1

		3/24/98		1,528,310		41.5		65.61		8.1

		3/25/98		1,420,067		39		54.76		7.4

		3/26/98		953,512		52.5		144.00		12

		3/27/98		673,957		67.5		187.69		13.7

		3/28/98		603,249		70.5		278.89		16.7

		3/29/98		660,449		70		151.29		12.3

		3/30/98		690,886		71		67.24		8.2

		3/31/98		697,040		74		153.76		12.4

		4/1/98		753,888		63		94.09		9.7

		4/2/98		825,563		56.5		54.76		7.4

		4/3/98		885,068		51.5		136.89		11.7

		4/4/98		1,105,167		43.5		256.00		16

		4/5/98		1,182,573		45.5		289.00		17

		4/6/98		1,147,696		50		187.69		13.7

		4/7/98		945,662		55		64.00		8

		4/8/98		1,016,461		55		50.41		7.1

		4/9/98		1,344,413		45.5		234.09		15.3

		4/10/98		1,114,213		47		193.21		13.9

		4/11/98		990,676		49.5		47.61		6.9

		4/12/98		975,355		49		43.56		6.6

		4/13/98		898,979		55.5		53.29		7.3

		4/14/98		843,606		57		50.41		7.1

		4/15/98		906,773		56.5		26.01		5.1

		4/16/98		872,679		52		47.61		6.9

		4/17/98		802,710		63.5		65.61		8.1

		4/18/98		739,262		56.5		104.04		10.2

		4/19/98		983,489		53		75.69		8.7

		4/20/98		1,024,803		53		136.89		11.7

		4/21/98		859,723		58		31.36		5.6

		4/22/98		850,198		57.5		44.89		6.7

		4/23/98		1,080,180		51.5		161.29		12.7

		4/24/98		784,266		60.5		114.49		10.7

		4/25/98		772,470		59		187.69		13.7

		4/26/98		1,140,739		48.5		94.09		9.7

		4/27/98		1,087,923		48.5		171.61		13.1

		4/28/98		971,230		52		123.21		11.1

		4/29/98		744,112		58		118.81		10.9

		4/30/98		712,316		64		46.24		6.8

		5/1/98		724,027		60		15.21		3.9

		5/2/98		624,862		62		2.89		1.7

		5/3/98		631,589		62.5		12.96		3.6

		5/4/98		744,940		58.5		18.49		4.3

		5/5/98		752,658		58		11.56		3.4

		5/6/98		722,780		61		12.25		3.5

		5/7/98		737,571		62.5		5.29		2.3

		5/8/98		777,773		57		88.36		9.4

		5/9/98		738,622		58		445.21		21.1

		5/10/98		829,436		56		193.21		13.9

		5/11/98		992,970		55		231.04		15.2

		5/12/98		970,873		58		268.96		16.4

		5/13/98		924,025		54.5		44.89		6.7

		5/14/98		788,791		58		5.76		2.4

		5/15/98		672,163		68		1.21		1.1

		5/16/98		613,619		73.5		15.21		3.9

		5/17/98		676,779		61.5		12.25		3.5

		5/18/98		706,949		70		56.25		7.5

		5/19/98		674,592		75.5		51.84		7.2

		5/20/98		704,471		69.5		11.56		3.4

		5/21/98		719,262		71.5		161.29		12.7

		5/22/98		699,582		62		222.01		14.9

		5/23/98		605,809		64		70.56		8.4

		5/24/98		573,950		68.5		16.81		4.1

		5/25/98		634,142		65		1.21		1.1

		5/26/98		706,641		70		60.84		7.8

		5/27/98		714,268		68		6.76		2.6

		5/28/98		693,973		73		39.69		6.3

		5/29/98		663,717		76		127.69		11.3

		5/30/98		594,659		76.5		3.61		1.9

		5/31/98		610,245		77		46.24		6.8

		6/1/98		708,668		68.5		132.25		11.5

		6/2/98		692,994		63.5		123.21		11.1

		6/3/98		724,066		64		237.16		15.4

		6/4/98		731,011		61		169.00		13

		6/5/98		685,128		62.5		171.61		13.1

		6/6/98		612,207		64		166.41		12.9

		6/7/98		680,243		62		144.00		12

		6/8/98		753,722		60		184.96		13.6

		6/9/98		741,102		61.5		59.29		7.7

		6/10/98		731,809		65		44.89		6.7

		6/11/98		738,682		65.5		68.89		8.3

		6/12/98		669,740		63		82.81		9.1

		6/13/98		585,206		68		43.56		6.6

		6/14/98		669,173		68.5		65.61		8.1

		6/15/98		702,400		68		32.49		5.7

		6/16/98		722,732		75		73.96		8.6

		6/17/98		720,100		74		146.41		12.1

		6/18/98		705,097		76		92.16		9.6

		6/19/98		654,800		77		43.56		6.6

		6/20/98		588,184		78.5		36.00		6

		6/21/98		613,452		74.5		57.76		7.6

		6/22/98		700,695		69.5		31.36		5.6

		6/23/98		711,284		71		23.04		4.8

		6/24/98		708,259		78.5		27.04		5.2

		6/25/98		692,673		82.5		81.00		9

		6/26/98		656,060		84		193.21		13.9

		6/27/98		586,694		79.5		201.64		14.2

		6/28/98		593,878		71.5		102.01		10.1

		6/29/98		685,314		71.5		132.25		11.5

		6/30/98		704,957		75		141.61		11.9

		7/1/98		691,184		72		201.64		14.2

		7/2/98		645,189		73.5		60.84		7.8

		7/3/98		571,269		77		32.49		5.7

		7/4/98		524,135		75.5		36.00		6

		7/5/98		551,662		75.5		139.24		11.8

		7/6/98		662,727		71		67.24		8.2

		7/7/98		661,537		71.5		37.21		6.1

		7/8/98		663,866		67		30.25		5.5

		7/9/98		666,792		73		72.25		8.5

		7/10/98		609,920		77		166.41		12.9

		7/11/98		547,840		73.5		171.61		13.1

		7/12/98		569,242		76		81.00		9

		7/13/98		654,331		76.5		73.96		8.6

		7/14/98		691,115		78.5		102.01		10.1

		7/15/98		666,706		79.5		88.36		9.4

		7/16/98		674,084		81.5		43.56		6.6

		7/17/98		622,946		81		34.81		5.9

		7/18/98		565,384		81.5		84.64		9.2

		7/19/98		596,645		78		70.56		8.4

		7/20/98		694,179		83		123.21		11.1

		7/21/98		690,073		83.5		57.76		7.6

		7/22/98		676,339		87.5		132.25		11.5

		7/23/98		672,238		85		100.00		10

		7/24/98		624,114		80.5		100.00		10

		7/25/98		561,616		75		53.29		7.3

		7/26/98		587,435		77.5		57.76		7.6

		7/27/98		668,793		76.5		114.49		10.7

		7/28/98		685,290		81		129.96		11.4

		7/29/98		707,798		83.5		123.21		11.1

		7/30/98		672,684		79		44.89		6.7

		7/31/98		635,675		74		98.01		9.9

		8/1/98		574,990		72.5		92.16		9.6

		8/2/98		603,643		72.5		53.29		7.3

		8/3/98		691,455		74.5		47.61		6.9

		8/4/98		678,701		78.5		33.64		5.8

		8/5/98		715,295		76		30.25		5.5

		8/6/98		681,665		79		33.64		5.8

		8/7/98		650,297		74		51.84		7.2

		8/8/98		587,051		74.5		65.61		8.1

		8/9/98		532,917		79		62.41		7.9

		8/10/98		691,206		79.5		82.81		9.1

		8/11/98		686,976		81.5		86.49		9.3

		8/12/98		682,094		78		98.01		9.9

		8/13/98		691,645		74		68.89		8.3

		8/14/98		624,969		73		86.49		9.3

		8/15/98		530,605		77		56.25		7.5

		8/16/98		575,557		78.5		24.01		4.9

		8/19/98		701,369		67		198.81		14.1

		8/20/98		689,631		69		68.89		8.3

		8/21/98		631,424		74		62.41		7.9

		8/22/98		565,924		75		54.76		7.4

		8/23/98		583,951		78		44.89		6.7

		8/24/98		688,189		83.5		201.64		14.2

		8/25/98		692,684		84.5		129.96		11.4

		8/26/98		683,214		82		75.69		8.7

		8/27/98		694,386		79		67.24		8.2

		8/28/98		636,132		78		171.61		13.1

		8/29/98		571,833		81		90.25		9.5

		8/30/98		608,846		79		60.84		7.8

		8/31/98		709,594		79		75.69		8.7

		9/1/98		695,597		72.5		47.61		6.9

		9/2/98		702,356		71.5		53.29		7.3

		9/3/98		689,346		71		24.01		4.9

		9/4/98		637,494		73		50.41		7.1

		9/5/98		564,664		72		123.21		11.1

		9/6/98		542,484		76.5		153.76		12.4

		9/8/98		684,241		66.5		169.00		13

		9/9/98		701,807		62		243.36		15.6

		9/10/98		660,133		63.5		139.24		11.8

		9/11/98		610,972		67		92.16		9.6

		9/12/98		573,274		74		70.56		8.4

		9/13/98		614,455		74.5		56.25		7.5

		9/14/98		681,453		75		51.84		7.2

		9/15/98		693,969		77.5		136.89		11.7

		9/16/98		697,686		79.5		139.24		11.8

		9/17/98		695,308		70.5		59.29		7.7

		9/18/98		630,832		67.5		82.81		9.1

		9/19/98		575,526		68.5		33.64		5.8

		9/20/98		597,646		74.5		38.44		6.2

		9/21/98		683,094		77.5		62.41		7.9

		9/22/98		703,322		68.5		94.09		9.7

		9/23/98		749,826		60.5		174.24		13.2

		9/24/98		722,599		57.5		43.56		6.6

		9/25/98		634,602		64		36.00		6

		9/26/98		541,233		70.5		36.00		6

		9/27/98		642,268		80		139.24		11.8

		9/28/98		712,886		69		171.61		13.1

		9/29/98		697,002		62.5		42.25		6.5

		9/30/98		682,263		64		31.36		5.6

		10/1/98		761,262		65.5		216.09		14.7

		10/2/98		730,869		56.5		139.24		11.8

		10/3/98		742,682		54		65.61		8.1

		10/4/98		774,128		54		32.49		5.7

		10/5/98		826,578		61.5		44.89		6.7

		10/6/98		861,777		54		70.56		8.4

		10/7/98		786,492		57		36.00		6

		10/8/98		742,080		67		57.76		7.6

		10/9/98		714,855		61		198.81		14.1

		10/10/98		667,294		61		144.00		12

		10/11/98		663,456		66		174.24		13.2

		10/12/98		673,977		60		59.29		7.7

		10/13/98		767,144		60		68.89		8.3

		10/14/98		852,111		59.5		116.64		10.8

		10/15/98		906,751		55		100.00		10

		10/16/98		826,469		56.5		36.00		6

		10/17/98		679,033		56.5		37.21		6.1

		10/18/98		629,888		64.5		136.89		11.7

		10/19/98		781,881		65		121.00		11

		10/20/98		881,552		57.5		92.16		9.6

		10/21/98		1,075,598		51.5		96.04		9.8

		10/22/98		1,216,386		47.5		193.21		13.9

		10/23/98		968,520		52		123.21		11.1

		10/24/98		793,583		60.5		86.49		9.3

		10/25/98		771,028		59.5		49.00		7

		10/26/98		852,019		56.5		81.00		9

		10/27/98		894,923		55		28.09		5.3

		10/28/98		850,398		56.5		67.24		8.2

		10/29/98		1,079,548		51.5		243.36		15.6

		10/30/98		1,036,615		51		174.24		13.2

		10/31/98		938,295		51		153.76		12.4

		11/1/98		961,780		52		123.21		11.1

		11/2/98		1,192,497		49		139.24		11.8

		11/3/98		1,317,673		44.5		121.00		11

		11/4/98		1,454,854		44.5		132.25		11.5

		11/5/98		1,418,463		42		57.76		7.6

		11/6/98		1,429,676		41.5		136.89		11.7

		11/7/98		1,143,944		42		141.61		11.9

		11/8/98		1,209,095		46.5		79.21		8.9

		11/9/98		1,293,149		48.5		50.41		7.1

		11/10/98		1,083,225		47		79.21		8.9

		11/11/98		1,119,202		57		196.00		14

		11/12/98		1,274,289		47		116.64		10.8

		11/13/98		1,225,566		46.5		84.64		9.2

		11/14/98		956,739		49.5		27.04		5.2

		11/15/98		1,129,039		54.5		151.29		12.3

		11/16/98		1,164,892		45		44.89		6.7

		11/18/98		1,440,771		43		57.76		7.6

		11/19/98		1,187,011		42		44.89		6.7

		11/20/98		1,097,275		54.5		42.25		6.5

		11/21/98		1,308,228		45.5		161.29		12.7

		11/22/98		1,340,581		42.5		64.00		8

		11/23/98		1,127,103		47.5		134.56		11.6

		11/24/98		1,243,735		52		182.25		13.5

		11/25/98		1,220,305		43		36.00		6

		11/26/98		1,083,971		49		163.84		12.8

		11/27/98		1,256,426		45.5		234.09		15.3

		11/28/98		1,008,903		49.5		84.64		9.2

		11/29/98		966,965		53.5		13.69		3.7

		11/30/98		1,045,094		53.5		31.36		5.6

		12/1/98		1,196,276		53.5		182.25		13.5

		12/2/98		1,074,027		53.5		184.96		13.6

		12/3/98		889,709		58		108.16		10.4

		12/4/98		791,190		64		55.50		7.45

		12/5/98		907,911		56		20.25		4.5

		12/6/98		813,305		59.5		25.00		5

		12/7/98		921,948		62		174.24		13.2

		12/8/98		1,273,591		47		67.24		8.2

		12/9/98		1,475,709		44.5		144.00		12

		12/10/98		1,453,581		38.5		77.44		8.8

		12/11/98		1,519,201		40.5		153.76		12.4

		12/12/98		1,390,461		37.5		84.64		9.2

		12/13/98		1,459,143		40.5		42.25		6.5

		12/14/98		1,708,884		36.5		169.00		13

		12/15/98		1,547,526		38		106.09		10.3

		12/16/98		1,494,601		41		28.09		5.3

		12/17/98		1,632,105		39		84.64		9.2

		12/18/98		1,682,275		37		108.16		10.4

		12/19/98		1,298,247		41.5		81.00		9

		12/20/98		1,241,258		47.5		43.56		6.6

		12/21/98		1,109,789		50.5		27.04		5.2

		12/22/98		1,897,309		43.5		542.89		23.3

		12/23/98		2,064,770		23.5		47.61		6.9

		12/24/98		1,940,840		27		88.36		9.4

		12/25/98		1,887,480		28		39.69		6.3

		12/26/98		1,971,731		26		31.36		5.6

		12/27/98		1,724,898		30		33.64		5.8

		12/28/98		1,606,383		38.5		40.96		6.4

		12/29/98		1,668,811		38.5		77.44		8.8

		12/30/98		2,232,511		28		372.49		19.3

		12/31/98		2,072,167		21.5		108.16		10.4

		1/1/99		2,201,100		20		292.41		17

		1/2/99		2,033,100		18		65.61		8

		1/3/99		1,732,700		38.5		193.21		14

		1/4/99		2,282,500		25		278.89		17

		1/5/99		2,142,900		22.5		108.16		10

		1/6/99		2,142,300		23		96.04		10

		1/7/99		2,188,300		28		171.61		13

		1/8/99		2,014,900		27.5		47.61		7

		1/9/99		1,891,100		35.5		106.09		10

		1/10/99		2,111,300		26		104.04		10

		1/11/99		2,246,400		22		153.76		12

		1/12/99		1,609,800		37.5		51.84		7

		1/13/99		1,963,000		35		166.41		13

		1/14/99		2,400,700		18		380.25		20

		1/15/99		2,056,600		30.5		179.56		13

		1/16/99		1,662,600		33		106.09		10

		1/17/99		1,436,000		43.5		32.49		6

		1/18/99		1,493,000		45.5		104.04		10

		1/19/99		1,606,700		42.5		148.84		12

		1/20/99		1,689,500		42		53.29		7

		1/21/99		1,568,100		39.5		46.24		7

		1/22/99		1,516,000		42.5		92.16		10

		1/23/99		1,130,400		50.5		59.29		8

		1/24/99		1,366,200		51.5		153.76		12

		1/25/99		1,868,800		36.5		86.49		9

		1/26/99		1,826,500		35.5		60.84		8

		1/27/99		1,596,400		36.5		17.64		4

		1/28/99		1,605,800		38.5		47.61		7

		1/29/99		1,831,700		33		108.16		10

		1/30/99		1,936,000		30.5		94.09		10

		1/31/99		2,122,300		23		127.69		11

		2/1/99		1,749,200		29.5		50.41		7

		2/2/99		1,335,500		46		34.81		6

		2/3/99		1,445,200		48		47.61		7

		2/4/99		1,611,700		43.5		30.25		6

		2/5/99		1,699,100		39.5		285.61		17

		2/6/99		1,592,700		38.5		49.00		7

		2/7/99		1,673,500		37.5		72.25		9

		2/8/99		1,901,600		33.5		82.81		9

		2/9/99		1,693,400		36.5		64.00		8

		2/10/99		1,554,400		43.5		184.96		14

		2/11/99		1,345,100		43		31.36		6

		2/12/99		1,306,100		54		96.04		10

		2/13/99		1,842,100		34.5		196.00		14

		2/14/99		1,960,700		27.5		265.69		16

		2/15/99		1,642,400		35		37.21		6

		2/16/99		1,424,000		44		17.64		4

		2/17/99		1,426,600		43		59.29		8

		2/18/99		1,629,200		41		112.36		11

		2/19/99		1,654,100		37.5		125.44		11

		2/20/99		1,709,000		35.5		184.96		14

		2/21/99		2,009,900		30		210.25		15

		2/22/99		2,131,900		24		302.76		17

		2/23/99		2,028,700		21		47.61		7

		2/24/99		1,921,200		30		102.01		10

		2/25/99		1,743,500		34		141.61		12

		2/26/99		1,621,400		40		219.04		15

		2/27/99		1,357,500		42.5		67.24		8

		2/28/99		1,420,900		45		65.61		8

		3/1/99		1,634,300		42		259.21		16

		3/2/99		1,541,500		42		166.41		13

		3/3/99		1,288,500		45.5		161.29		13

		3/4/99		1,910,200		42.5		524.41		23

		3/5/99		1,622,500		37		79.21		9

		3/6/99		1,583,300		42.5		77.44		9

		3/7/99		2,196,900		29.5		462.25		22

		3/8/99		2,130,000		27		289.00		17

		3/9/99		1,946,300		29		86.49		9

		3/10/99		1,852,100		35.5		169.00		13

		3/11/99		1,941,700		34		334.89		18

		3/12/99		1,957,300		32.5		432.64		21

		3/13/99		1,497,500		39		182.25		14

		3/14/99		1,684,100		37.5		65.61		8

		3/15/99		1,860,800		37.5		338.56		18

		3/16/99		1,537,200		41		259.21		16

		3/17/99		1,061,700		51		100.00		10

		3/18/99		1,223,100		56.5		272.25		17

		3/19/99		1,487,800		43.5		338.56		18

		3/20/99		1,338,000		44		90.25		10

		3/21/99		1,345,900		43		114.49		11

		3/22/99		1,613,300		44.5		420.25		21

		3/23/99		1,319,800		44		134.56		12

		3/24/99		1,180,900		51.5		29.16		5

		3/25/99		1,436,100		44		196.00		14

		3/26/99		1,359,200		41		79.21		9

		3/27/99		1,151,400		44.5		148.84		12

		3/28/99		1,200,300		46		338.56		18

		3/29/99		1,001,600		57		187.69		14

		3/30/99		1,080,400		55.5		222.01		15

		3/31/99		875,200		58.5		228.01		15

		4/1/99		860,200		56.5		96.04		10

		4/2/99		848,900		55.5		60.84		8

		4/3/99		814,300		50.5		29.16		5

		4/4/99		1,076,100		53		213.16		15

		4/5/99		1,133,600		47		86.49		9

		4/6/99		978,900		50.5		68.89		8

		4/7/99		845,300		60		88.36		9

		4/8/99		764,900		66.5		158.76		13

		4/9/99		1,150,700		53		153.76		12

		4/10/99		1,012,100		51.5		240.25		16

		4/11/99		1,335,900		41.5		100.00		10

		4/12/99		1,261,700		47.5		265.69		16

		4/13/99		1,166,700		52		292.41		17

		4/14/99		1,027,700		56		234.09		15

		4/15/99		884,100		57.5		125.44		11

		4/16/99		1,151,000		48.5		43.56		7

		4/17/99		1,031,200		50		184.96		14

		4/18/99		995,000		52		174.24		13

		4/19/99		1,077,000		50		92.16		10

		4/20/99		1,270,100		47.5		64.00		8

		4/21/99		1,037,300		51.5		67.24		8

		4/22/99		944,800		53.5		24.01		5

		4/23/99		1,162,600		50.5		82.81		9

		4/24/99		1,058,500		50		196.00		14

		4/25/99		899,100		51		106.09		10

		4/26/99		827,100		61.5		327.61		18

		4/27/99		872,200		55.5		182.25		14

		4/28/99		859,600		54		68.89		8

		4/29/99		855,300		58		136.89		12

		4/30/99		858,700		55		72.25		9

		5/1/99		787,300		54		67.24		8

		5/2/99		767,500		57		184.96		14

		5/3/99		885,700		56		309.76		18

		5/4/99		791,800		56.5		54.76		7

		5/5/99		729,400		65.5		31.36		6

		5/6/99		766,300		60.5		33.64		6

		5/7/99		774,800		57.5		50.41		7

		5/8/99		701,900		60		36.00		6

		5/9/99		670,800		66		72.25		9

		5/10/99		740,300		64		151.29		12

		5/11/99		742,000		60.5		94.09		10

		5/12/99		706,200		62.5		44.89		7

		5/13/99		780,100		60.5		92.16		10

		5/14/99		745,100		57.5		70.56		8

		5/15/99		657,400		60.5		34.81		6

		5/16/99		656,700		58		68.89		8

		5/17/99		699,000		60.5		65.61		8

		5/18/99		678,200		62.5		56.25		8

		5/19/99		724,000		62.5		50.41		7

		5/20/99		717,900		66.5		268.96		16

		5/21/99		652,100		65		37.21		6

		5/22/99		618,200		67		44.89		7

		5/23/99		647,800		62.5		39.69		6

		5/24/99		722,800		60.5		57.76		8

		5/25/99		726,300		62.5		219.04		15

		5/26/99		720,600		65.5		207.36		14

		5/27/99		718,600		65		156.25		13

		5/28/99		651,000		69		70.56		8

		5/29/99		584,600		76		64.00		8

		5/30/99		551,900		76.5		26.01		5

		5/31/99		600,200		77		26.01		5

		6/1/99		683,400		78.5		108.16		10

		6/2/99		684,300		81		104.04		10

		6/3/99		692,200		76		187.69		14

		6/4/99		647,600		71		110.25		11

		6/5/99		602,900		69		75.69		9

		6/6/99		624,700		70		81.00		9

		6/7/99		700,200		84.5		116.64		11

		6/8/99		697,800		86		146.41		12

		6/9/99		728,100		75.5		106.09		10

		6/10/99		721,300		67		72.25		9

		6/11/99		658,800		64.5		51.84		7

		6/12/99		581,600		67		94.09		10

		6/13/99		612,700		74.5		90.25		10

		6/14/99		708,900		76		72.25		9

		6/15/99		700,900		74		141.61		12

		6/16/99		705,300		68		94.09		10

		6/17/99		719,000		62.5		88.36		9

		6/18/99		665,400		67		82.81		9

		6/19/99		582,600		68		37.21		6

		6/20/99		605,400		67.5		40.96		6

		6/21/99		708,000		64.5		57.76		8

		6/22/99		687,600		71.5		38.44		6

		6/23/99		701,200		76		60.84		8

		6/24/99		706,300		76.5		108.16		10

		6/25/99		629,500		73.5		106.09		10

		6/26/99		558,000		83.5		82.81		9

		6/27/99		636,100		83		72.25		9

		6/28/99		684,000		85		179.56		13

		6/29/99		679,800		84.5		144.00		12

		6/30/99		661,900		75		73.96		9

		7/1/99		667,400		76.5		47.61		7

		7/2/99		615,400		83		252.81		16

		7/3/99		532,400		80.5		50.41		7

		7/4/99		530,300		89		121.00		11

		7/5/99		629,900		92		136.89		12

		7/6/99		650,300		92		171.61		13

		7/7/99		679,500		83.5		169.00		13

		7/8/99		681,500		79.5		151.29		12

		7/9/99		610,500		76		65.61		8

		7/10/99		554,300		75		246.49		16

		7/11/99		592,000		69.5		134.56		12

		7/12/99		665,100		67		53.29		7

		7/13/99		674,600		68		73.96		9

		7/14/99		677,300		66.5		21.16		5

		7/15/99		669,600		73		50.41		7

		7/16/99		653,500		81		123.21		11

		7/17/99		610,900		82.5		108.16		10

		7/18/99		641,900		82.5		70.56		8

		7/19/99		659,500		85.5		65.61		8

		7/20/99		670,000		79.5		73.96		9

		7/21/99		684,300		77		60.84		8

		7/22/99		685,900		78.5		47.61		7

		7/23/99		656,200		83		59.29		8

		7/24/99		617,800		87.5		112.36		11

		7/25/99		638,700		88.5		84.64		9

		7/26/99		688,800		85		70.56		8

		7/27/99		681,300		87.5		100.00		10

		7/28/99		680,700		88		84.64		9

		7/29/99		683,900		82		38.44		6

		7/30/99		659,100		82		53.29		7

		7/31/99		631,900		81.5		47.61		7

		8/1/99		648,500		89		148.84		12

		8/2/99		690,100		81.5		98.01		10

		8/3/99		679,900		80		106.09		10

		8/4/99		679,000		77.5		70.56		8

		8/5/99		680,100		80		51.84		7

		8/6/99		645,900		79.5		102.01		10

		8/7/99		561,700		79.5		104.04		10

		8/8/99		623,300		78		156.25		13

		8/9/99		674,400		73.5		182.25		14

		8/10/99		670,800		70.5		60.84		8

		8/11/99		686,100		78.5		70.56		8

		8/12/99		679,400		81		65.61		8

		8/13/99		662,100		80.5		98.01		10

		8/14/99		583,600		80.5		31.36		6

		8/15/99		601,800		74.5		72.25		9

		8/16/99		680,400		76.5		38.44		6

		8/17/99		686,900		80.5		129.96		11

		8/18/99		688,700		80.5		127.69		11

		8/19/99		683,900		74.5		90.25		10

		8/20/99		634,600		69.5		118.81		11

		8/21/99		565,000		62.5		144.00		12

		8/22/99		602,500		67		57.76		8

		8/23/99		686,100		72.5		34.81		6

		8/24/99		706,400		76		57.76		8

		8/25/99		689,100		74.5		50.41		7

		8/26/99		682,400		75.5		92.16		10

		8/27/99		670,500		76.5		40.96		6

		8/28/99		593,400		78.5		100.00		10

		8/29/99		599,200		76		174.24		13

		8/30/99		696,800		65		285.61		17

		8/31/99		687,000		68.5		144.00		12

		9/1/99		693,800		71		158.76		12.6

		9/2/99		694,000		73.5		85.56		9.25

		9/3/99		651,600		73.5		34.81		5.9

		9/4/99		595,600		74.5		72.25		8.5

		9/5/99		544,000		75		136.89		11.7

		9/6/99		582,400		78.5		84.64		9.2

		9/7/99		669,500		78		81.00		9

		9/8/99		694,900		77.5		42.25		6.5

		9/9/99		683,000		77		33.64		5.8

		9/10/99		645,300		73		30.25		5.5

		9/11/99		587,500		72.5		70.56		8.4

		9/12/99		624,100		69.5		36.00		6

		9/13/99		698,300		70		30.25		5.5

		9/14/99		692,700		68.5		29.16		5.4

		9/15/99		692,400		69.5		140.42		11.85

		9/16/99		677,500		67.5		334.89		18.3

		9/17/99		635,200		65.5		416.16		20.4

		9/18/99		600,900		64.5		84.64		9.2

		9/19/99		615,600		64.5		50.41		7.1

		9/20/99		663,200		66.5		43.56		6.6

		9/21/99		712,900		60.5		116.64		10.8

		9/22/99		820,100		55		275.56		16.6

		9/23/99		729,500		61		114.49		10.7

		9/24/99		646,300		65.5		106.09		10.3

		9/25/99		598,700		67		94.09		9.7

		9/26/99		648,112		61		43.56		6.6

		9/27/99		686,000		64.5		38.44		6.2

		9/28/99		676,200		71.5		33.64		5.8

		9/29/99		675,000		71.5		90.25		9.5

		9/30/99		723,500		64		182.25		13.5

		10/1/99		684,600		59.5		102.01		10.1

		10/2/99		606,500		62.5		73.96		8.6

		10/3/99		610,700		67.5		70.56		8.4

		10/4/99		734,300		59		139.24		11.8

		10/5/99		978,900		50		125.44		11.2

		10/6/99		934,600		54.5		171.61		13.1

		10/7/99		1,097,600		46.5		70.56		8.4

		10/8/99		808,900		51		81.00		9

		10/9/99		603,700		63.5		108.16		10.4

		10/10/99		618,900		64		90.25		9.5

		10/11/99		773,400		63.5		116.64		10.8

		10/12/99		825,800		56.5		39.69		6.3

		10/13/99		722,500		60.5		90.25		9.5

		10/14/99		1,038,700		54		364.81		19.1

		10/15/99		942,900		48		29.16		5.4

		10/16/99		688,000		57		28.09		5.3

		10/17/99		695,900		62.5		20.25		4.5

		10/18/99		1,011,400		54		342.25		18.5

		10/19/99		1,069,200		46.5		47.61		6.9

		10/20/99		1,060,000		53		51.84		7.2

		10/21/99		1,079,500		53		46.24		6.8

		10/22/99		934,800		53		57.76		7.6

		10/23/99		1,080,600		50		163.84		12.8

		10/24/99		1,158,000		47		116.64		10.8

		10/25/99		1,111,400		49.5		92.16		9.6

		10/26/99		944,700		55.5		148.84		12.2

		10/27/99		1,082,600		52.5		132.25		11.5

		10/28/99		1,117,900		47.5		57.76		7.6

		10/29/99		860,000		56		26.01		5.1

		10/30/99		774,800		57.5		29.16		5.4

		10/31/99		716,100		64.5		116.64		10.8

		11/1/99		835,200		59.5		29.16		5.4

		11/2/99		842,800		58.5		169.00		13

		11/3/99		1,354,600		52		285.61		16.9

		11/4/99		1,367,000		44.5		222.01		14.9

		11/5/99		972,300		51		153.76		12.4

		11/6/99		921,300		58.5		151.29		12.3

		11/7/99		1,334,700		45		259.21		16.1

		11/8/99		1,412,700		41.5		62.41		7.9

		11/9/99		944,900		50		104.04		10.2

		11/10/99		795,100		63		222.01		14.9

		11/11/99		1,405,300		50		268.96		16.4

		11/12/99		1,174,800		41.5		158.76		12.6

		11/13/99		1,109,600		50		77.44		8.8

		11/14/99		1,158,400		50.5		100.00		10

		11/15/99		1,514,800		42.5		302.76		17.4

		11/16/99		1,709,400		37.5		388.09		19.7

		11/17/99		1,627,500		38.5		187.69		13.7

		11/18/99		1,326,900		39.5		50.41		7.1

		11/19/99		1,054,800		51		29.16		5.4

		11/20/99		791,000		59		50.41		7.1

		11/21/99		866,600		58		13.69		3.7

		11/22/99		943,800		54.5		8.41		2.9

		11/23/99		858,600		58		3.61		1.9

		11/24/99		781,900		61		77.44		8.8

		11/25/99		934,900		54		108.16		10.4

		11/26/99		732,300		56.5		82.81		9.1

		11/27/99		1,020,100		54.5		94.09		9.7

		11/28/99		1,354,400		47.5		169.00		13

		11/29/99		1,708,800		41.5		96.04		9.8

		11/30/99		1,966,400		34		262.44		16.2

		12/1/99		2,028,900		29.5		313.29		17.7

		12/2/99		1,660,800		38.5		79.21		8.9

		12/3/99		1,250,000		44.5		47.61		6.9

		12/4/99		1,032,300		53		73.96		8.6

		12/5/99		964,500		54		32.49		5.7

		12/6/99		1,133,500		54.5		28.09		5.3

		12/7/99		1,538,900		45		262.44		16.2

		12/8/99		1,528,800		42		42.25		6.5

		12/9/99		1,420,200		44.5		12.25		3.5

		12/10/99		1,372,000		48.5		73.96		8.6

		12/11/99		1,539,000		41.5		457.96		21.4

		12/12/99		1,635,300		40.5		77.44		8.8

		12/13/99		1,581,000		38.5		51.84		7.2

		12/14/99		1,595,900		42		240.25		15.5

		12/15/99		1,406,700		44		65.61		8.1

		12/16/99		1,631,400		44		182.25		13.5

		12/17/99		1,629,400		38		108.16		10.4

		12/18/99		1,584,900		38		47.61		6.9

		12/19/99		1,670,200		36.5		125.44		11.2

		12/20/99		1,469,700		46		114.49		10.7

		12/21/99		1,672,000		43.5		112.36		10.6

		12/22/99		1,858,500		35.5		77.44		8.8

		12/23/99		1,850,900		33.5		116.64		10.8

		12/24/99		2,038,600		25.5		176.89		13.3

		12/25/99		1,959,400		24		90.25		9.5

		12/26/99		1,904,400		28.5		198.81		14.1

		12/27/99		2,023,800		32		184.96		13.6

		12/28/99		2,053,300		24.5		84.64		9.2

		12/29/99		1,883,900		32		182.25		13.5

		12/30/99		1,514,200		42		151.29		12.3

		12/31/99		1,599,400		37		32.49		5.7

		1/1/00		1,417,500		40.5		33.64		5.8

		1/2/00		1,057,600		49		33.64		5.8

		1/3/00		1,005,100		57.5		64.00		8

		1/4/00		1,193,600		58		139.24		11.8

		1/5/00		1,945,500		38.5		237.16		15.4

		1/6/00		1,785,000		34		43.56		6.6

		1/7/00		1,697,900		41.5		96.04		9.8

		1/8/00		1,586,500		34		68.89		8.3

		1/9/00		1,320,200		43		31.36		5.6

		1/10/00		1,388,200		51.5		123.21		11.1

		1/11/00		1,572,400		45.5		345.96		18.6

		1/12/00		1,572,300		42.5		148.84		12.2

		1/13/00		2,073,800		29		187.69		13.7

		1/14/00		2,170,800		18		432.64		20.8

		1/15/00		1,838,100		22		51.84		7.2

		1/16/00		1,902,300		35		252.81		15.9

		1/17/00		2,404,900		14.5		571.21		23.9

		1/18/00		2,239,500		12.5		96.04		9.8

		1/19/00		2,013,400		21.5		49.00		7

		1/20/00		2,048,200		26		106.09		10.3

		1/21/00		2,351,700		16		492.84		22.2

		1/22/00		2,126,800		14		169.00		13

		1/23/00		1,945,600		23.5		24.01		4.9

		1/24/00		1,882,900		32.5		37.21		6.1

		1/25/00		2,172,800		27		470.89		21.7

		1/26/00		2,054,600		27		231.04		15.2

		1/27/00		2,262,600		17.5		331.24		18.2

		1/28/00		2,189,300		18		285.61		16.9

		1/29/00		1,964,800		26		47.61		6.9

		1/30/00		1,876,900		28.5		9.00		3

		1/31/00		1,989,300		33		246.49		15.7

		2/1/00		2,143,000		31.5		219.04		14.8

		2/2/00		2,206,200		26		295.84		17.2

		2/3/00		2,038,000		27.5		43.56		6.6

		2/4/00		1,970,100		28.5		25.00		5

		2/5/00		1,907,600		30.5		153.76		12.4

		2/6/00		1,912,700		32		213.16		14.6

		2/7/00		1,993,600		35		259.21		16.1

		2/8/00		2,160,100		26		67.24		8.2

		2/9/00		1,780,600		34.5		100.00		10

		2/10/00		1,504,400		41		18.49		4.3

		2/11/00		1,777,600		40		84.64		9.2

		2/12/00		2,038,100		28		37.21		6.1

		2/13/00		1,704,700		31.5		14.44		3.8

		2/14/00		1,597,600		46.5		129.96		11.4

		2/15/00		1,845,700		38		190.44		13.8

		2/16/00		1,689,000		42.5		100.00		10

		2/17/00		1,991,900		33.5		132.25		11.5

		2/18/00		1,949,800		32.5		94.09		9.7

		2/19/00		1,824,600		32		70.56		8.4

		2/20/00		1,783,600		35		139.24		11.8

		2/21/00		1,806,600		36.5		70.56		8.4

		2/22/00		1,625,000		41		23.04		4.8

		2/23/00		1,368,000		45		49.00		7

		2/24/00		1,093,500		54.5		30.25		5.5

		2/25/00		1,355,300		48		84.64		9.2

		2/26/00		1,359,300		42.5		88.36		9.4

		2/27/00		1,191,900		49.5		13.69		3.7

		2/28/00		1,565,000		49.5		285.61		16.9

		2/29/00		1,504,200		45.5		216.09		14.7

		3/1/00		1,436,200		41.5		16.00		4

		3/2/00		1,705,600		42.5		259.21		16.1

		3/3/00		1,620,200		42		338.56		18.4

		3/4/00		1,277,700		44		121.00		11

		3/5/00		1,308,900		50.5		176.89		13.3

		3/6/00		1,398,100		46.5		187.69		13.7

		3/7/00		1,056,200		50.5		81.00		9

		3/8/00		1,018,100		57.5		28.09		5.3

		3/9/00		885,200		60.5		47.61		6.9

		3/10/00		1,127,600		53.5		99.00		9.95

		3/11/00		1,408,800		42		169.00		13

		3/12/00		1,623,500		42.5		187.69		13.7

		3/13/00		1,558,600		40		88.36		9.4

		3/14/00		1,363,900		46.5		72.25		8.5

		3/15/00		1,087,100		53.5		127.69		11.3

		3/16/00		1,077,200		58		108.16		10.4

		3/17/00		1,915,500		40.5		334.89		18.3

		3/18/00		1,669,000		30		98.01		9.9

		3/19/00		1,562,400		35.5		31.36		5.6

		3/20/00		1,579,100		40.5		73.96		8.6

		3/21/00		1,695,400		41.5		252.81		15.9

		3/22/00		1,493,900		45.5		136.89		11.7

		3/23/00		1,077,300		50.5		10.24		3.2

		3/24/00		910,900		57.5		53.29		7.3

		3/25/00		799,900		58		59.29		7.7

		3/26/00		1,043,000		58.5		136.89		11.7

		3/27/00		1,018,100		49		64.00		8

		3/28/00		1,119,100		53.5		231.04		15.2

		3/29/00		1,290,100		50		338.56		18.4

		3/30/00		1,228,700		50.5		139.24		11.8

		3/31/00		1,156,500		49.5		127.69		11.3

		4/1/00		842,300		52.5		33.64		5.8

		4/2/00		825,100		57		139.24		11.8

		4/3/00		822,300		63		31.36		5.6

		4/4/00		1,047,700		57.5		231.04		15.2

		4/5/00		1,474,000		43.5		249.64		15.8

		4/6/00		963,700		54.5		132.25		11.5

		4/7/00		869,500		58		64.00		8

		4/8/00		854,400		64		207.36		14.4

		4/9/00		1,511,600		40.5		424.36		20.6

		4/10/00		1,343,200		46		174.24		13.2

		4/11/00		1,425,100		41.5		46.24		6.8

		4/12/00		1,432,800		46.5		210.25		14.5

		4/13/00		1,374,600		43.5		77.44		8.8

		4/14/00		1,046,700		45		34.81		5.9

		4/15/00		810,000		54		1.44		1.2

		4/16/00		791,300		64.5		50.41		7.1

		4/17/00		1,440,400		47.5		141.61		11.9

		4/18/00		1,469,500		43.5		320.41		17.9

		4/19/00		1,062,100		52.5		153.76		12.4

		4/20/00		937,900		55.5		33.64		5.8

		4/21/00		1,189,700		48		198.81		14.1

		4/22/00		1,100,400		48		171.61		13.1

		4/23/00		1,161,300		49		141.61		11.9

		4/24/00		944,600		57		156.25		12.5

		4/25/00		1,185,500		52.5		127.69		11.3

		4/26/00		1,318,100		44.5		110.25		10.5

		4/27/00		1,227,600		45.5		40.96		6.4

		4/28/00		1,032,700		53.5		44.89		6.7

		4/29/00		761,000		55.5		39.69		6.3

		4/30/00		908,100		57.5		252.81		15.9

		5/1/00		851,500		56		68.89		8.3

		5/2/00		887,700		61.5		141.61		11.9

		5/3/00		863,800		56.5		73.96		8.6

		5/4/00		775,900		60.5		94.09		9.7

		5/5/00		692,400		73.5		73.96		8.6

		5/6/00		603,100		76.5		44.89		6.7

		5/7/00		633,900		80.5		77.44		8.8

		5/8/00		717,800		81		38.44		6.2

		5/9/00		717,800		83		182.25		13.5

		5/10/00		804,600		66.5		94.09		9.7

		5/11/00		749,900		65		104.04		10.2

		5/12/00		708,400		63		59.29		7.7

		5/13/00		615,300		65		49.00		7

		5/14/00		663,700		64.5		146.41		12.1

		5/15/00		801,000		59.5		77.44		8.8

		5/16/00		757,900		60.5		68.89		8.3

		5/17/00		713,800		64.5		84.64		9.2

		5/18/00		698,300		71		163.84		12.8

		5/19/00		811,500		56.5		98.01		9.9

		5/20/00		856,400		49.5		37.21		6.1

		5/21/00		826,400		54		16.81		4.1

		5/22/00		889,800		55		27.04		5.2

		5/23/00		766,200		58.5		44.89		6.7

		5/24/00		693,900		69		88.36		9.4

		5/25/00		708,700		68		148.84		12.2

		5/26/00		691,500		68		136.89		11.7

		5/27/00		644,400		62		60.84		7.8

		5/28/00		603,100		62		67.24		8.2

		5/29/00		715,700		60		82.81		9.1

		5/30/00		826,200		58.5		90.25		9.5

		5/31/00		755,100		61		9.61		3.1

		6/1/00		721,200		73		31.73		5.6333333333

		6/2/00		680,400		81.5		66.69		8.1666666667

		6/3/00		619,700		68		114.49		10.7

		6/4/00		650,100		65		17.64		4.2

		6/5/00		760,000		65		90.25		9.5

		6/6/00		876,900		56		331.24		18.2

		6/7/00		756,800		63		132.25		11.5

		6/8/00		733,200		69.5		88.36		9.4

		6/9/00		685,600		78		124.32		11.15

		6/10/00		651,400		82.5		166.41		12.9

		6/11/00		670,700		84		179.56		13.4

		6/12/00		746,300		66.5		67.24		8.2

		6/13/00		778,900		59.5		65.61		8.1

		6/14/00		783,000		58.5		57.76		7.6

		6/15/00		743,500		67		16.00		4

		6/16/00		680,100		78		127.69		11.3

		6/17/00		643,800		82		169.00		13

		6/18/00		684,700		69.5		38.44		6.2

		6/19/00		741,800		67.5		73.96		8.6

		6/20/00		733,500		72.5		43.56		6.6

		6/21/00		722,200		75		182.25		13.5

		6/22/00		724,900		78		136.89		11.7

		6/23/00		696,900		74.5		96.04		9.8

		6/24/00		638,900		75		53.29		7.3

		6/25/00		651,700		82		166.41		12.9

		6/26/00		714,500		83		92.16		9.6

		6/27/00		692,400		81		134.56		11.6

		6/28/00		719,600		74.5		44.89		6.7

		6/29/00		713,500		70.5		26.01		5.1

		6/30/00		668,900		73		92.16		9.6

		7/1/00		619,800		75.5		44.89		6.7

		7/2/00		632,100		76.5		70.56		8.4

		7/3/00		616,000		79.5		68.89		8.3

		7/4/00		623,900		79.5		62.41		7.9

		7/5/00		668,800		79		123.21		11.1

		7/6/00		678,300		72		106.09		10.3

		7/7/00		673,700		72.5		116.64		10.8

		7/8/00		645,600		71		127.69		11.3

		7/9/00		655,200		73.5		136.89		11.7

		7/10/00		687,700		82.5		127.69		11.3

		7/11/00		692,200		77		118.81		10.9





		



8/97-7/98

8/98-7/99

8/99-7/00

Temp (F)

PSE&G Load (GS Data)




