Docket No. 23220

Technical Conference

January 19, 2001

Additional PUC Staff Selected Questions

The following includes some of the questions raised by Dr. Oren regarding the ERCOT Protocols:

1. Clarify the mechanisms that will discourage QSEs from balancing their schedule by submitting fictitious load.

2. In section 4.4.10 QSEs have an incentive to create congestion or capacity shortage so as to allow schedule updates.  Is there mechanism in place to discourage such behavior?

3. Are there restrictions on schedule updates at 13:00 so that CSC or capacity shortages are not worsen?

4. Are there two settlement for before and during adjustment periods or do MCPC apply to the entire quantity?

5. In section 4.5.9. Is there a separate settlement for additional offers?

6. Are the called RMR units counted in the balanced schedules of the QSE?

7. Can we think of uncommitted capacity of operating resources as uncompensated replacement reserves capacity?

8. Section 6.3.1. (5). In the sequential dispatch is it possible that an offer that was not accepted for up-reg (because of high price) will receive an even higher price in a subsequent round (e.g. responsive reserves)?

9. Why not substitute one ancillary service for another? Please explain why avoiding such substitution will not results in inequitable treatment of bids.

10. Section 6.4.1 (5). Why ERCOT cannot decrease AS requirement (create asymmetric risk)?

11. Section 6.5.2 (7) Please provide example where Merit order of bids and ramp rate may yield a different dispatch than expected MCPE.

12. Referring to Balancing Energy Up and Balancing Energy Down bids, please explain Section 6.5.2 (9) with an example.

13. In section 6.5.3 (5) Is there a duration requirement on the resources providing RGS or only a start time requirement?

14. Section 6.6.1 (5). Referring to the possibility of one QSE to provide AS on behalf of another QSE, doesn’t this reduce market liquidity? [Since ERCOT cannot substitute but QSE can, there may be incentives to bypass market to the detriment of those who buy from market (cream skimming).]

15. Section 6.6.3.1. What monitoring criteria have been established to identify price reversals? What will trigger action by ERCOT Board to activate software option?

16. Referring to the ERCOT Responses to selected questions raised by the Commission Staff, Question A 3, ERCOT selects QSE 1 based on the calculated offer price of $4/MW.  (The original offer for this bid was $6/MW Capacity plus $2 per MW hourly, for total of 3 hours.)  However, the actual cost of procuring reserves is based on the whole unit, thus the total cost form selecting QSE 1 is $4/MW  x 120 MW = $480.  Had QSE 2 been selected instead, the total cost would have been $4.25/MW x 100 MW = $425. (The original offer by QSE 2 was $4.50/MW Capacity plus $2.75 per MW hourly, for total of 3 hours.)  Which indicates that replacement reserves costs have not been minimized. Should the algorithm take into account the fact that a whole unit is taken in the minimization of the cost of replacement reserves? 
17. Section 6.6.3.2.1. (3) Why not allowing hourly offers for capacity?  (Shouldn't managing this type of risk be left to the suppliers of resources?)

18. What means are being used to monitor or prevent market participants from profiting by solving local congestion problems that they create through over scheduling?

19. Section 6.8.1.1 (1) Explain what is meant by “the highest MCPC of all the procurement processes for that service for Operating Hour.”

20. Section 6.8.1.2. Are day ahead and hour ahead prices based on the same bids? Is a multi settlement system being used or is there a single settlement for both day ahead and hour ahead?

21. Why are multi round auctions recommended? Instead, why can't we use portfolio bids with simple LP based selection and prices based on shadow prices in LP?

22. Who covers difference between actual and commercial cost of congestion?

23. Who insures power transfer dispatch factor (PTDF or shift factor) changes? Is real time congestion charges based on commercial or actual PTDFs?

24. Are there any measures taken to prevent overuse of balancing market (for example one can assign capacity component of replacement reserves cost only to imbalances)?

25. Section 6.8.1.12. Why not pay capacity payment to interruptible load even when not dispatched (call option premium) to make it symmetric with unused but chosen replacement reserves?

26. Section 6.10.5.2. Is there a mechanism to monitor or prevent “overscheduling” with the intention to profit from manufactured congestion?

27. Section 7.5.4.3. Is there any interim mechanism to hedge congestion if zonal prices are activated before TCRs are introduced?


2

