TERM SHEET OUTLINE FOR

UNIT CONTINGENT PPA’s

Project:
-     Number of turbines?

· Fuel type?

· Simple or combined cycle?

· Cogeneration?

Buyer:
____________________________________________




Seller:
____________________________________________








Term/Extension Options:
____________________________________________



Contract Capacity:
- How frequently determined?

- Correction factors (Ambient Conditions/OEM

  Standards/Measurement tolerances)

- Which party pays for tests?



Base Capacity Charge:
[The amount paid for right to call for energy]




Energy Charge:

Heat Rate:


[The amount paid for each scheduled MWh that is delivered]

[Ratio of Fuel Consumed to Energy Generated]

- Will Seller Guaranty?

- Will Buyer assume the risk?



Variable O&M
[Charge payable to cover operation and maintenance expenses – typically charged as a specified amount for each unit of energy scheduled and delivered to Buyer  (including energy delivered during ramp up and ramp down periods).



Start-Up Charge:
[Charge payable for each start of each Project turbine (often times the start charge will escalate along with the number of start to act as a disincentive to numerous starts)]

- Maximum Number of Starts?



Heat Rate Bonus/Rebate:


· If Seller is to be responsible for guaranteeing a particular    Heat Rate, will there be a bonus for attaining an average heat rate which is lower, or a penalty for having a heat rate that is higher, than the guaranteed rate?

· If the Heat Rate is too high does it trigger an event of default?

· What is the guaranteed or targeted Heat Rate?



Point of Delivery:
This is a critical point and must be described with great specificity.  Consult with Elizabeth Sager and/or Kevin Presto.



Fuel Supply:
· Which Party is responsible for fuel supply?

· What is the point of delivery for fuel?

· What results from a failure to deliver fuel?

· Any minimum pressure level required?




Fuel Procurement and Transportation:
· Which party is responsible for arranging for the procurement (including any imbalance costs) and transportation (including all demand charges) of fuel to the fuel delivery point?

· Which party is responsible for the costs associated with construction and maintenance associated with interconnecting the Project with the fuel supplier?




Reserve Capacity/Ancillary

Services/Exclusivity
Will Seller have the ability to sell reserve capacity, ancillary services or energy from the project to other parties?




Performance Requirements:


· What is the required level of facility availability?

· How is Availability calculated?  Method of calculation can dramatically affect bonus/damages payable.

· Typically a failure to deliver energy because of the following events is an excused failure and does not affect the Project “availability”:

(i)    Force Majeure;

(ii)   Loss of firm transport or transmission;

(iii)  Default of Buyer are excused failures; and

(iv)  Failure of Buyer to provide fuel (assuming Buyer is responsible for same).

· Does the required “availability” vary for each month peaking plants, for example, typically value the summer months winter months which are typically used for maintenance and repair)?

· If “availability” is too low, does it trigger an event of default?

Capacity Bonus/Penalty:
- If the Project’s “availability” is above or below the required threshold, is there a corresponding bonus/penalty payable to/from Seller (as the case may be)?

- Bonus/Damage multiplier?

- How frequently is availability calculated

(monthly/annually)?

- Bonus/Damage Cap?

Scheduling and Dispatch:

Maintenance:

Force Majeure:

Taxes:

Replacement Power:

Excess Energy:

Change in Law:

Metering:


· Required notification?

· Minimum energy block size?

· Minimum increments?

· Maximum number of run hours (usually limited by the air permit)?

· Ramp Rate during starts and stop?

· Minimum number of hours?

· Minimum interval of idle time between starts?

· On-Peak vs. Off-Peak hours?

-     When will major and routine maintenance take place?

This section is particularly important.  Force Majeure should include:

1. Acts of God (including lightning, fires, earthquake, landslide, tornado and floods)

2. Civil Disturbance,

3. Sabotage,

4. Explosion,

5. Riot,

6. War,

7. Insurrection,

8. Action or Restraint by count order or public or governmental authority (so long as seller has not applied for or assisted in the application for),

9. Strikes, labor disputes, labor or material shortages or other force majeure events effecting the Project operator, fuel supplier and/or the transmission provider.

- Which party is responsible for existing taxes on fuel and energy?

- If the responsibility is shared where is the dividing line (Typically the point of delivery)?

- What about taxes on the Project?

- Which party bears the risk of new taxes?

Do the parties want Seller to have the right/obligation to supply from the market?

· How is excess energy treated?

· Which party bears the financial risk associated with any change in law which has an impact on how the Project is operated and maintained?

· Which party is responsible for fuel metering/energy metering?

· Which party is responsible for maintenance, testing and calibration of the meters?

· Check meters permitted/required?

\\Ect\houston\common\Legal\Szisman\Misc\Term Sheet Outline for Unit Contingent PPA's.doc

