DATA REPORTING FOR UNSCHEDULED FLOW MITIGATION PLAN DUES ASSESSMENT

Dues calculation for the WSCC Unscheduled Flow Mitigation Plan requires six categories of data. This document defines those data and describes how to determine the data category for various types of generation and interchange.

Definitions
In the definitions, member refers to a WSCC Full Member; nonmember refers to WSCC Affiliate members and nonmember organizations including nonmember Independent Power Producers (IPPs), marketers, and brokers.  The term control area refers only to a control area.  System may refer to a control area or to a WSCC member located in another member’s control area.  Note that these data reflect your system load obligations to your own customers plus the load of nonmembers that you serve, and may not correlate with your control area or system loads.  Shared output refers to situations where, although only one party owns the generating facility, some of that facility’s energy contractually belongs to another party.

Generation (G)
ADVANCE \d7
Report all energy generated within your system including that from plants solely or jointly owned by others, excluding nonmember generation serving nonmember loads within your system.

Imports (I)
ADVANCE \d7
Report energy imports from any member or nonmember for your own use, plus imports for nonmembers within your system.  Note that Remote Generation Imports are reported separately.  Do not include transactions that flow through your system or are delivered to another member or member’s load (e.g., fringe accounts) within your system.  Refer to the special instructions for same-bus transactions below. 

Remote Generation Imports (RGI)
ADVANCE \d7
Report the energy imports into your system from solely owned generation and shares of jointly owned or shared output generation located in another member’s system.  Include imports from remote generation owned by nonmembers within your system.

Exports (E)
ADVANCE \d7
Report energy exports from your system, including deliveries to other members within your control area, but excluding deliveries to nonmembers within your system.  Do not include transactions that flow through your system, unless they originate with a nonmember within your system.  (Do not report transactions between nonmembers located within your system.)  Note that Remote Generation Exports are reported separately.  Refer to the special instructions for same-bus transactions below.

Remote Generation Exports (RGE)
ADVANCE \d7
Report the energy exports from your system generated by a power plant(s) located within your system, for which the energy belongs to (is not sold to) another system and is exported from your system.  For example, when energy from joint ownership plants, or from plants where the output is shared under long term contract (such as the Mid-Columbia plants) leaves the host’s system, it is reported as Generation and RGE by the host WSCC member.  RGE does not apply to firm sales, contingent firm sales, economy sales, or emergency sales.

Energy Load (L)
ADVANCE \d7
Report energy load.  L should equal G + I + RGI - E - RGE.

All WSCC Full Members are required to submit these data.  Independent Power Producers (IPPs), marketers, or other nontraditional members should report just as any other Full Member.  However, they should report only those activities taking place within WSCC boundaries.  If they are located in more than one WSCC Control Area, they should aggregate their data.

Calculation Guidelines
The following table and diagram illustrate, in a generic way, how data should be reported for different types of ownership, WSCC membership status, and organization.  The table and diagram present examples to help you better understand the above definitions.

Use the following steps to guide you in your data calculations.

1.
Locate your type of organization in the table and diagram (following page).

2.
Determine all Generation, Imports, Remote Generation Imports, Exports, and Remote Generation Exports.

3.
Enter the data, along with energy Load data, on the Data Request form(s) as appropriate and return them to WSCC.

If you have no joint ownership/shared output or remote generation units, use only the first table. If you have such units you must use both tables.
 FOR MEMBERS WITHOUT JOINT OWNERSHIP/SHARED OUTPUT OR REMOTE GENERATION

Generation From
Energy goes to 
Report Energy as

1
A or E or F
A 
Generation for A

2
A or E or F
B or G
Generation & Export for A

Import for B

3
A or E or F
C 
Generation & Export for A

Import for C

4
A or E or F
D 
Generation & Export for A

Import for D

5
A
E or F
Generation for A

6
B or G
A or E or F
Generation & Export for B

Import for A

7
C
A or E or F
Generation & Export for C

Import for A

8
D
A or E or F
Generation & Export for D

Import for A

 9
E or F
E or F
Not reported

 FOR MEMBERS WITH JOINT OWNERSHIP/SHARED OUTPUT OR REMOTE GENERATION
Generation From
Energy goes to
Report Energy as
Then go to

A’s share
A or E or F 
Generation for A
Lines 1-5 and continue

B or G’s share
B or G
Generation & Remote Generation Export for A

Remote Generation Import for B
Line 6 and continue

C’s share
C
Generation & Remote Generation Export for A

Remote Generation Import for C
Line 7 and continue

F’s share
A
Generation for A
Lines 1-5 and continue

F or G’s share
E or F
Not reported
   

[image: image1.wmf]Control Area  A  

WSCC Member

C

WSCC Member

Control Area  B  

WSCC Member

B

F

C

Jointly Owned or

 Shared Output

Plant

share

share

share

Non-

member

G

WSCC Member

D

Non-

member

E

share

A

Non-

member

F

G

share








1

