[image: image1.wmf]DISCUSSION DRAFT


UNINSTRUCTED DEVIATION CHARGE DISCUSSION PAPER

INTRODUCTION

As part of the long-term target price development, the CAISO must develop a strategy to minimize potential Uninstructed Deviations by generators scheduling and selling energy into the real-time market.  To do this, an ISO cross-functional team was assembled.  As design details were developed, the ISO shared details with market participants at Market Issues Forum meetings in order to gather comments from the stakeholders that would be considered as final policy decisions were being deliberated.  Based on discussions thus far between the ISO and stakeholders, the ISO believes there is a need to focus on several specific components of the uninstructed deviation proposal with stakeholders groups prior to finalizing the Uninstructed Deviation proposal and submitting this to FERC for incorporation into the ISO tariff.

BACKGROUND

The CAISO operates a real-time energy market for matching resources and loads in real time.  This is an incremental market for deviations from forward market schedules.  The original design of the real-time market assumed that the trading volume in this market would be small compared to that of the forward markets.  The objective of this market is to manage small deviations from schedules due to various factors including load forecast errors, unforeseen generation and transmission outages and scheduling decisions.  In such a market structure, the volume of uninstructed deviations may be, and have been, a concern.  Large uninstructed deviations could be the result of arbitrage across markets to reduce the overall procurement cost.  They could even take place if the energy price is much higher in real time.  

Since the inception of the California Market, the ISO has struggled with adequate real-time dispatch performance by generators.  When the ISO first became operational, the ISO had a single ex-post price that was being set every 10 minutes.   During this time, the ISO observed price-chasing behavior.  Price chasing is the practice of generators deviating from pre-scheduled and instructed energy instructions in response to the 10 minute ex-post prices or the hourly ex-post price.   

As of September 1, 2000, the ISO modified its real-time market in two significant ways to decrease and the incidence of real-time energy deviations and make scheduling coordinators accountable for their uninstructed deviations.  First, the introduction of the 10-minute settlements  resulted in two separate prices, an incremental and decremental price, every ten minutes.  Any positive uninstructed deviations within a 10-minute interval were paid the interval decremental price and any negative uninstructed deviations were charged the interval incremental price.    With 10-minute settlements, uninstructed deviations were settled on a net scheduling coordinator basis. One of the goals of 10-minute settlements was to provide operational discipline such that resources that are instructed to deliver energy do so in the interval it was asked and not over an hour. At the time, several scheduling coordinators objected to the netting because it caused some scheduling coordinators issues when allocating uninstructed deviation charges to their participants.   

The other change was in generator communications.  The ISO also presently communicates incremental dispatch instructions as deviations from hour-ahead schedules plus previous instructions.  The result of this practice can lead to confusion regarding the target dispatch expected after all the instructions have accumulated.  

Although uninstructed deviation behavior has changed since introducing 10-minute settlements, the current level of uninstructed deviations is unacceptable, and threatens system reliability.  Table 1, on the following page, summarizes the average level of positive and negative uninstructed deviations from generation since June 2000.  

Figure 1, below, provides some insight into the range of deviation that occurs for thermal resources in the CAISO control area.   We highlight thermal resources since they represent a large portion of the dispatchable resources available in real-time for dispatch.  These data indicate that a large distribution of the uninstructed deviations fall between ±3%.  The data also shows that negative deviations occur more frequently than positive deviations, for the period from June 2001 to August 2001.

[image: image2.wmf]Figure 1: Thermal Resource Uninstructed Deviation Range

(June 2001-August 2001)

[image: image3.emf]Thermal Generators

0

20000

40000

60000

80000

100000

120000

140000

160000

<-50-50 - -40 -40 - -30-30 - -20-20 - -10 -10 - 6-6 - -3 -3 - 00 - 3 3 - 66 - 10 10 - 2020 - 3030 - 40 40 - 50>50

Range

Count of Resource-Hours


Table 1

Average Monthly Positive and Negative

Uninstructed Deviations

Period
Average Net Positive Deviation from Generation 

Average Net Negative Deviation from Generation

Jun - Aug 2000
959.9 MW
557.0 MW

June
895.0
632.8

July
882.8
564.4

August
1099.8
476.2

Sept – Nov 2000
479.1
620.1

September
569.3
591.1

October
362.5
609.8

November
509.6
659.6

Dec 2000 – Feb 2001
659.9
829.7

December
721.7
659.7

January
531.6
866.8

February
729.0
978.3

Mar – May 2001
297.1
808.9

March
298.4
720.2

April
287.8
859.7

May
304.7
848.7

Jun – Aug 2001
382.6
981.2

June
549.9
1087.2

July
322.0
974.5

August
278.1
882.1

The ISO filed an emergency filing (Amendment 33) with FERC on December 8, 2000 which, in part, included a request to apply a penalty to generators that fail to perform in response to Dispatch Instructions during system emergencies.  The motion was granted the same day.   Based on Amendment 33, the ISO currently charges twice the highest price paid for energy in the hour to resources that fail to perform in response to Dispatch Instructions.  If firm load- shedding occurred during the hour, an additional $1,000/MWh charge is applied.  The CAISO Compliance Department has assessed more than $120 million
 in penalties against Scheduling Coordinators who have failed to respond to Dispatch Instructions during System Emergencies.

At the September 2001 CAISO Board Meeting, the board approved proposed changes for eliminating the real-time price overlap by doing away with the target price and clearing the overlap by dispatching bids in the overlap.   As a result of this change, the ISO will move away from the incremental / decremental pricing system and move to a single clearing price.  As a result of the single clearing price and the need to discourage uninstructed deviations, the ISO Staff proposed, and the Board approved, putting the proper incentives in place to discourage uninstructed deviations.

OTHER ISO’S

The California ISO is not unique in having to deal with uninstructed deviations in the real-time market.   Other ISOs have had to address the uninstructed deviation issue in various ways.   Table 2, on the following page, summarizes the practices of other Independent System Operators operating in the United States.  

Table 2

Uninstructed Generation Policies Among ISOs


Dead-band for Energy
Penalty within Dead-band
Over-generation Charges
Under-generation Charges
Notes

ERCOT
±1.5% of QSE Schedules + instructions

±5.0 MW of expected interval generation
N/A
Graduated up to 100%, depending on system conditions
Graduated up to 100%, depending on system conditions
Dead-band may be reduced to ±1%, ±3% day ahead if ERCOT sees that “price chasing” exists.

PJM
No Dead-band
N/A
N/A for network service
N/A for network service
Penalty for schedules point-to-point MWh deviations, ±1.5% (±2 MW) band

ISO - NE
(Under-generation only)

2.5% of claimed capacity or any deviation > 10 MW 

Also must be > 1 MW 
N/A
Sanctions
Forfeit of all TMSR, TMNSR and TMOR payments for deviation period
Failure to provide services in real-time: Admin. Penalty = $1000/event; + Formula penalty = 50% of ECP

NYISO
Lesser of ±3% of unit upper operating limit or three times unit response rate
N/A

Paid / Charged LBMP
100%

(No payment for gen above dead-band.  No charge during reserve deficiencies)
MCPreg x under-generated MW
NYISO reserves the right to change dead-band as needed

PJM has the least amount of additional charge to discourage uninstructed deviations.   For network service customers there are no additional charges beyond the replacement cost of energy as is determined by the locational market-clearing price.    

For all the other ISOs (ERCOT, ISO-NE, and NYISO) there are some additional charges that assessed for generators undertaking uninstructed deviations.   ERCOT measures deviations on the net Qualified Scheduling Entity (QSE) basis, which would be similar to a Scheduling Coordinator at the ISO.     ISO-NE and NYISO assess the uninstructed deviation charges on a resource specific basis.   

ERCOT attempted to only assess deviation charges when uninstructed deviations caused or contributed to problematic system conditions by looking at the aggregate deviation from schedule on the resources providing regulation.  NYISO does something a similar by relaxing positive deviation charges when there is a system reserve deficiency.

All of the ISOs have a tolerance bandwidth for uninstructed deviations.   The tolerances range from ±1.5% on a net QSE basis for ERCOT to ±3% on an individual resource basis.   Most of the ISOs make accommodation for resources that are on regulation, or are constrained.  

ISO PROPOSAL

The ISO proposal regarding Uninstructed Deviations are summarized in the table 3, below:

Table 3

CAISO Proposal

Issue
Recommendation

Market Clearing Price
A single market clearing price

ISO Dispatch Instructions
The ISO will issue unit-specific “go-to” instructions

Settlement Interval
10-minutes

Dead-band
The greater of ±3% of the instruction or ±3 MW from the instruction.

Payment for deviations within the dead-band
Over-generation will be paid 100% of the market-clearing price.  Under-generation will be charged 100% of the market-clearing price.  No penalties will be assessed.  

Settlement of Deviations
Unit Specific

Positive Deviations
Generation above instructions and outside the dead-band will not be paid.

Negative Deviations
Generation below instruction and outside the dead-band will be paid at 75% of the market-clearing price.

Accommodation of regulation and constrained resources
Units “constrained on” or providing regulation will be accommodated.

Accommodation of Metered Sub-Systems and self-served loads
To be determined as part of ongoing market participant discussions

487 Charges
These charges are offset if the unit’s physical incapability to deliver status is reported to the ISO, and the SC has bids in the ISO market equal to the negative deviation MW.   

DISCUSSION OF PROPOSAL

The ISO is responsible for assuring reliability of the high voltage network.  The ISO has difficulty satisfying its responsibility for reliability because of a high degree of deviations from the ISO’s dispatch instructions.  The purpose of the Uninstructed Deviation charge is to assist the ISO in assuring reliability by improving the ISO’s control by providing an incentive to generators to comply with dispatch instructions.  

In developing the proposal the ISO wanted to design a system that allowed generator required flexibility to meet realistic operational requirements, provided appropriate incentives for compliance with schedules, and is consistent with the practices of other ISOs presently in operation.   While there is no exact match between the CAISO  and other ISO’s market design, the ISO wanted to insure  that its approach was in line with other market designs.

The ISO has proposed that compliance with dispatch instructions include an acceptable bandwidth, also known as a dead-band, in which charges for deviation will not be assessed.  Several methods for establishing the dead-band were considered.  Among these were the controllability of various types of generators, the accuracy of meters and telemetry, and a margin in which settlements are made easier.  Ultimately, it was determined that generators should be able to comply with dispatch instructions within ±3% of the instruction, or within ±3 MW, whichever is greater.  

For generation above instructed levels and outside the dead-band, no compensation will be provided by the ISO.  Generators providing energy that is neither required nor requested will not be rewarded for this deviation..  For generation below instructed levels and outside the dead-band, there will be compensation, but a penalty in the amount of 25% of the hourly Market Clearing Price will be assessed on the energy that was delivered.  The 25% surcharge is believed to be an appropriate incentive for generators to comply with scheduled and instructed dispatches.  While this may seem onerous to some, the CAISO is also proposing a method whereby generators unable to deliver expected energy in real-time may avoid this charge. Together, these charges should provide the incentive to follow dispatch instructions as closely as possible.   One concern expressed is that this structure does not appear to be symmetric, and may discourage positive deviations more than negative deviations.   There were two reasons for this design.  First, positive deviations could be more easily controlled in contrast to negative deviations, which are more subject to unit performance.  Second, negative deviations are also exposed to above market cost that get allocated to an SC’s net negative deviations when allocating charge type 487. 

The treatment of over- and under-generation among the ISOs in the U. S. are mixed.  This particular proposal for over- and under generation by the California ISO most closely matches the methodology of the New York ISO.  

The ISO’s recommendation is to implement a policy that is unit-specific instead of portfolio-based.  The purpose for this is to increase the ISO’s control with regard to mitigating potential congestion.  Furthermore, the ISO believes that the unit-specific approach will provide more incentive for participants to bid available generation into the BEEP stack.   By allowing portfolio-based uninstructed deviations, the grid would be more vulnerable to congestion that was not anticipated, requiring further ISO intervention.  Other than ERCOT, other ISOs evaluate uninstructed deviations on a unit specific basis.  

Just as other ISOs have developed exclusions from uninstructed deviation charges, the ISO is also considering the accommodations that are necessary for the ISO that will exempt may certain resources from uninstructed charges.   Furthermore, the ISO is considering system conditions that might warrant relaxation of uninstructed deviation charges.

Understanding these issues will be one of the goals coming out of the focus group meetings.

Stakeholder Comments

Uninstructed Deviation Pricing

October 2, 2001 Stakeholder Meeting 

1. Consider implementing a portfolio approach for deviations (Williams, FPL Energy, AWEA). This could also include If you choose to move forward with this intolerant approach to real time imbalances, consider allowing an ex-post deviation-trading period in which deviants are allowed to trade imbalances -- thereby gaining value for their generation and allowing some mitigation of risk.

2. Consider graduating "incentives" (Williams, FPL Energy).    Consider increasing the incentive as you move further from the instructed point.  For example, the ISO could:

Implement a +/- 10% tolerance band.  (CAWEA suggests that this tolerance band be +/- 100% for wind generators);

Pay positive deviations outside the band 80% of MCP between 10-20% deviation, 70% of MCP between 20-30% deviation etc.

Charge negative deviations outside the band 1.2 x MCP between 10%-20% deviation, 1.3 x MCP between 20-30% deviation etc.

3. Allow special considerations (exemptions?) for forced outages and derates (Williams, FPL Energy). 

4. Explain how this proposal would affect the negotiated monthly netting with wind generators (NWEA, CalWEA, FPL Energy)  There is considerable concern that if the ISO implements the continuous clearing proposal, it would undo the arrangement negotiated through the wind generators.
5. Quantify the increased instructions that continuous clearing would create (FPL Energy). Bid strategies may change as a result of the "continuous clearing" market.  Nonetheless, there is no data that would explain the changes in dispatch orders that this new process would drive.  
6. Define "dispatchable resources" as it applies to deviation penalties (FPL Energy, CAWEA, NWEA).   The documents indicate that the tolerance band applies to "dispatchable resources".  Please clarify that intermittent resources will be treated differently, including exemptions from the uninstructed deviation incentives for intermittent resources that remain in the imbalance market, and define intermittent resources as wind, solar and run-of-river hydro.
7. Clarify the intent of the "incentives" - is this the best approach (FPL Energy, AWEA).   That is, please state clearly the problem that you are trying to address.  Is it non-compliance with supplemental orders?  If so, let's address that with a rifle, not a shotgun. (I'm not sure what this means - BBW.)
8. Assessing extremely onerous penalties for all failure to follow “dispatch instructions” is counterproductive (NWEA).  Such penalties would force all market participants to withhold reserves from the market just in case they might be needed to balance an impending or potential “uninstructed deviation.”  Some deviations are “good,” some are “bad.” Some deviations are “intentional,” some are “unavoidable.” Some deviations cause harm to the “system” or shift costs onto others, some are inconsequential. Any proposal to police the market must make these distinctions—no matter how difficult it may seem.  
9. Define the treatment for load deviations (FPL Energy).    Would the ISO allow the current 10-minute settlement approach of netting generation and load deviations?  If load faces dissimilar "incentives", what are the potential unintended consequences?  And how are positive (negative) uninstructed load deviations compensated (charged) if there is no complementary generation deviation settlement?  At first blush, it seems like lots of pressure on neutrality.
10. Consider specialized penalties such as:
imbalance changes that penalize habitual offenders, not occasional or unavoidable deviants (FPL Energy, AWEA).   Consider some type of increasing "incentive" if deviations (other than unavoidable ones) occur repeatedly.  For instance, if supplemental energy is instructed and accepted, but not delivered, say on 3 occasions in a month, penalize beginning the next failed instruction. 
"incentives" only when deviants are moving in undesirable directions (FPL Energy).    That is, if the ISO is inc-ing, enforce incentives for those below the instructed point and visa-versa.

11. Consider asymmetric bands (FPL Energy).     If you move forward with bands, consider a wider band on the dec side.  By the nature of generation operations, all else the same, a plant is more likely to be short than to be long.  This is supported by the asymmetric distribution of CUF described by Phil Pettingill.
October 11 Market Issues Forum

Current ISO Thinking on Certain Design Elements

· leaning toward a portfolio approach for deviations, but recognize the question as to how we could ensure unit-specific movement when necessary.  

· considering a tighter dead band (perhaps 3%) if we adopt a portfolio approach.

· if an SC is outside of the deviation band, all deviations would be subject to the penalty.

Stakeholder Comments

· Implement a tiered approach to penalties outside of the dead band.  This  will help to mitigate the risk and resulting prices.  Otherwise, sellers may tie all offers to the mitigated price to compensate for risk.  (Mirant)

· Implement a wider dead band for units, but tighter band for portfolios (NCPA)

· Implement an hourly market for settling energy (NCPA)

· SCs should get paid for deviations within the band (NCPA, SCPPA, Phoenix Consulting, Mirant).  Otherwise, 

GMMs could jerk you into not getting paid;

SCs with only one unit (no portfolio) would get slammed.

· Any penalties:

should be based on a portfolio approach, rather than unit-specific  (Enron, SCD Energy Solutions, NCPA).

should be applied to OOM transactions, as well as BEEP (once the ISO gets all OOM into BEEP) (Enron).

· Included force majeure protection for units that break (SCD Energy Solutions).

· I have heard the following good ideas so far (Unidentified Stakeholder):

Apply penalties on a portfolio basis proportional to the size of the portfolio;

Increase the dead band;

Allow deviation sharing;

Allow for force majeure exemptions from penalties;

Allow both a percentage and an absolute MW limit to the dead band;

Implement a longer settlement period;

Implement a tiered approach to penalties; and

Pay for all energy within the dead band.

Feedback on July, 2000 CMR Proposal (Real Time Market)

· Respondents generally supported using optimal dispatch in real time, based on locational effectiveness.

· Responses were divided on whether the ISO should maintain the 10-minute dispatch and settlement model, although there was minimal response in this area.  Two respondents suggested that the ISO fix or eliminate its Target Price methodology.

· Individual stakeholders suggested a few specific changes to real time operations, but none received broad support.

June 7, 2000 MIF Meeting

(Presentation by Nancy Traweek)

Stakeholder Comments

· Support for (immediately) not allowing infeasible bids to set Target Price

· Support for holding open the threat that bids may actually be taken.

· Disagreement about whether Regulation should be taken out of the imbalance market.

Comments from April 18, 2000 Conference Call

· Support for continuous clearing. (Southern)

· Either abandon MCP in favor of "pay as bid" for its real time energy or produce a white paper explaining MCPs benefits that exceed these costs. (MZA Grid Services)

· The inc and dec markets should be resolved simultaneously, which means do not split the BEEP stack when prices are determined. (Eric Woycheck)

· The effectiveness factors for intra-zonal (currently used first) and the effectiveness factors for inter-zonal used later (sequentially after intra-zonal) should be combined with a single BEEP stack, which includes incs and decs, to determine the desired real-time price. (Eric Woycheck)

· Ensure that only bids that are physically deliverable are used in determining the Target Price (eliminate infeasible bids).  (PG&E, Southern, Enron)

· We cannot support Option 2 (separate prices for instructed and uninstructed deviations, with target price used only for uninstructed deviations).  Elimination of price overlap by economic re-dispatch is a more appropriate long-term solution.  (PG&E)

· Provide a means to distinguish whether a posted zero in the DEC price column represents the target price or an actual DEC call at $0/mwh). (Calpine)

· Why is a continuous monotonic bidding curve necessary and consequently a target price has to be calculated? (PG&E, Enron, SCEM (Mirant)

· Given the many changes that took place (or will take place) since the original tariff was developed, we recommend to revisit the need for a target price. (PG&E)
· We recognize that the ISO changed the target price methodology in order to thwart a target price “gaming” behavior that existed under the old methodology.  This new methodology is riddled with significant gaming opportunity as well.  The games appear to be limited to circumstances when the ISO is “decing”.  We need to find a policy that will preserve the price signals on the “inc” side and remedy the “dec” problem.  At this time, we don’t have a definitive solution to this problem.  (Enron)

· Can we have different target prices for “incs” and “decs”?  Leave the “inc” process the way it works now and set the “dec” target price at a level different level.  Surely there is a more reasonable number than $0.00 for 45% of the hours in a year.  Perhaps an hourly day-ahead price from a PX, APX, or Dow Jones index could work.  We could also use the previous day’s ex post price as the target.  (Enron)

· The approach with which the target price was modified is unacceptable.  This change materially affected both the ISO markets and the surrounding markets which respond to prices in CA.  That the ISO can make such a change without notice or review is not tolerable. (Reliant, Calpine)
· Secondly, we cannot reasonably do business in California if we have no sense of how the market is behaving.  We must be able to evaluate and mitigate our risks.  We need a near-real time mechanism to understand when the target price is in affect and when not.  (Reliant)



� EMBED Excel.Sheet.8  ���








�	Net deviations are shown because Scheduling Coordinators (SC) are allowed to offset positive deviations from some of their resources with negative deviations from other resources, in real time.  The net positive deviations are averaged for intervals in which individual SCs have positive values, and net negative deviations are averaged for intervals in which individual SCs have negative values.  Because the output of resources that are providing Regulation will vary within a time period, the results reported here exclude resources for which Regulation bids have been accepted during the specific interval.  Although generators that are providing Regulation are included in the overall calculation of uninstructed deviations for settlements purposes, Automatic Generation Control (AGC) equipment will attempt to keep a generator's output within its regulating range, and will vary its output within the regulating range in response to system conditions.  Thus, only deviations outside the regulating range would be truly uninstructed from an operational perspective, without a review of plant-specific operations that would be beyond the scope of this report.  Such deviations have initially decreased since the implementation of ten-minute markets, but are small compared to the uninstructed deviations of generators that are not providing Regulation due to the effectiveness of AGC, as shown in the following table (showing the sum of plant-specific uninstructed deviations rather than netting deviations across each SC's portfolio):





Month


(Year 2000)�
Average


Positive Deviation Outside Regulating Range�
Average


Negative Deviations Outside Regulating Range�
�
June�
35.8 MW�
44.7�
�
July�
30.8�
36.3�
�
August�
41.5�
40.4�
�
September�
31.4�
27.0�
�
October�
12.0�
20.8�
�
November�
5.8�
18.4�
�



� Note the amount of penalties assessed under Amendment 33 authority is subject to change as a result of the on-going refund case





MrktOpts-FM-MAR

11/21/01


[image: image4.png]E CALIFORNIA ISO



_1067840620.xls
Chart1

		





Sheet1

		SC Group		PctDev		CountOfTRADE_HR		SumOfExpectedQty		SumOfACTL_QTY		AvgOfPctDev_

		Big5				311718		-40.4200000763		46824.2436743341

		Big5		-104		1		0.2416999936		0		-1.0343401432

		Big5		-101		99		2143.2487008274		0		-1.0009979154

		Big5		-100		4530		86919.5842024655		5.3573000615		-0.9998905953

		Big5		-99		60		994.2300060391		13.3639998692		-0.9848931511

		Big5		-98		67		955.7199970782		22.7700000796		-0.9742538635

		Big5		-97		66		1138.7800127268		39.2700002436		-0.9651980436

		Big5		-96		73		2602.7000585794		116.2299993113		-0.95480311

		Big5		-95		55		2014.3500216007		112.4600002617		-0.9448474234

		Big5		-94		35		1063.1800208688		69.4599997289		-0.9356373191

		Big5		-93		45		1888.1683436632		143.4200027883		-0.9233939621

		Big5		-92		51		2125.5317626		183.9500006437		-0.9148586287

		Big5		-91		44		1752.7400331497		163.4700002372		-0.9057724638

		Big5		-90		51		2105.7399942875		167.3000011444		-0.8948736647

		Big5		-89		71		2518.4400348663		293.7199987769		-0.8853789207

		Big5		-88		91		3054.1500011683		388.8499996811		-0.8754915484

		Big5		-87		81		2961.9900398254		406.6100017428		-0.8638395704

		Big5		-86		200		9744.8602371216		1403.349999845		-0.8555798069

		Big5		-85		72		2391.4300246835		370.0200006962		-0.8449581861

		Big5		-84		87		2975.4600427151		492.3499981761		-0.8347947282

		Big5		-83		243		7312.1300067902		1307.6599978954		-0.8239737651

		Big5		-82		421		11572.9500415921		2185.3300040066		-0.8154093074

		Big5		-81		516		13418.1399831772		2661.7700059414		-0.8052111165

		Big5		-80		363		9553.790017128		1993.5199992657		-0.7951584696

		Big5		-79		240		7802.1100858748		1695.9799998552		-0.7845019872

		Big5		-78		276		8257.1300666332		1865.7499930263		-0.7753734081

		Big5		-77		257		7758.0500546694		1850.7399946451		-0.764781005

		Big5		-76		285		9160.8858397007		2268.7199936211		-0.7554599118

		Big5		-75		275		8553.6600832939		2202.4099981487		-0.7453610134

		Big5		-74		304		8596.4742898941		2307.0499926806		-0.7346785131

		Big5		-73		310		9121.9200367928		2538.8100047409		-0.7250434078

		Big5		-72		348		11415.680038929		3291.4899930358		-0.7143374289

		Big5		-71		382		13694.0601522923		4094.1799857616		-0.7049115547

		Big5		-70		480		18882.2102463245		5824.6699997187		-0.6949374076

		Big5		-69		529		20381.800244838		6497.9999706633		-0.6857934051

		Big5		-68		413		13496.8901449442		4426.7099980116		-0.6749649429

		Big5		-67		504		15255.9101198912		5172.0800021887		-0.6642258925

		Big5		-66		421		13631.5601636171		4752.7000084519		-0.6549966665

		Big5		-65		386		12725.5201637745		4545.6599934101		-0.6445509521

		Big5		-64		573		17597.6401524544		6494.7200116813		-0.6350933996

		Big5		-63		572		18779.3501909077		7095.4899793826		-0.6253325022

		Big5		-62		470		14234.6901426911		5553.7299794555		-0.6145877222

		Big5		-61		733		24141.6702097654		9590.4299764037		-0.6050335592

		Big5		-60		574		16998.3301126957		6930.0699942112		-0.5952570961

		Big5		-59		546		17776.4801988602		7487.9100003243		-0.5849114065

		Big5		-58		758		24030.0902810693		10383.9399827272		-0.575201824

		Big5		-57		766		24210.3703176975		10699.8099921942		-0.5649126785

		Big5		-56		766		25758.8002103567		11627.3599997535		-0.5545254661

		Big5		-55		825		26219.7401641309		12079.570011735		-0.5448827017

		Big5		-54		1088		36397.3805505037		17231.2700362206		-0.5348738948

		Big5		-53		1063		37613.9820370674		18095.3000388145		-0.5256944985

		Big5		-52		774		22741.1884874403		11173.0800044239		-0.5150518163

		Big5		-51		938		27881.4401542544		13996.6899959743		-0.5050050084

		Big5		-50		977		28188.2802679539		14415.5099881887		-0.4951761402

		Big5		-49		828		25739.2203538418		13466.7400254607		-0.4848666793

		Big5		-48		819		24819.3959735632		13238.6099944115		-0.4748250158

		Big5		-47		893		26510.3745071888		14371.0599901676		-0.4650940914

		Big5		-46		849		22364.9201948047		12300.3100075126		-0.4551908828

		Big5		-45		843		25479.6303024292		14362.4600210786		-0.4451273412

		Big5		-44		837		22387.1601712704		12869.5999818742		-0.4352725908

		Big5		-43		1044		26910.2501883209		15726.0200070143		-0.4248435309

		Big5		-42		1010		28757.3602513075		17099.7600064874		-0.4152039634

		Big5		-41		970		27568.118480444		16690.6100131273		-0.404935245

		Big5		-40		1190		29992.6307120025		18431.660000369		-0.3946567283

		Big5		-39		938		27119.9807167649		16930.3899866343		-0.3851540796

		Big5		-38		1029		28187.4432182312		17961.6999843121		-0.3747430052

		Big5		-37		1281		28572.8685099483		18478.7399895787		-0.3646333383

		Big5		-36		972		27268.6802442074		17839.9200253487		-0.3551885624

		Big5		-35		944		27583.413117528		18365.2800082564		-0.3449553987

		Big5		-34		1175		30107.5715548396		20322.0299957842		-0.3347885815

		Big5		-33		1122		33134.5091285706		22750.5100284815		-0.3251591291

		Big5		-32		1146		32053.5702987909		22344.349978447		-0.3150754814

		Big5		-31		1350		37216.829020679		26375.8900360465		-0.304853078

		Big5		-30		1303		40965.650367409		29370.8400060534		-0.2949907054

		Big5		-29		1364		39341.9902695417		28573.2700147331		-0.2850233275

		Big5		-28		1568		40771.599891603		30092.7999912202		-0.2747171488

		Big5		-27		1500		47403.9408015907		35480.7299338132		-0.2649854185

		Big5		-26		1627		51560.0418596268		38992.3299781978		-0.2550950598

		Big5		-25		1714		49306.8639842272		37911.3700087816		-0.2446247053

		Big5		-24		1758		52656.201697737		41004.0500370115		-0.234868489

		Big5		-23		1784		55737.9379663765		43917.5599795729		-0.2249350716

		Big5		-22		2123		66498.4353381991		53109.4200495332		-0.2149581111

		Big5		-21		2057		68110.0321686268		55109.9499915838		-0.2051013556

		Big5		-20		2215		75848.4934030771		62107.1999983191		-0.1950296176

		Big5		-19		2236		74683.8284266591		61856.5900255367		-0.1848876149

		Big5		-18		2444		81548.3121529818		68454.8500281423		-0.174938708

		Big5		-17		2611		88605.0943951607		75258.129873395		-0.1650254797

		Big5		-16		3093		102901.091610432		88445.1500630826		-0.1550050971

		Big5		-15		3259		103768.014374971		90259.459954381		-0.1450017583

		Big5		-14		3620		114274.278564692		100580.87998569		-0.1349263875

		Big5		-13		4259		137001.346306264		122073.560008064		-0.124741347

		Big5		-12		4283		145707.810780048		131251.220039368		-0.1149309652

		Big5		-11		4860		161803.18022418		147238.200008869		-0.1050030636

		Big5		-10		5798		199535.741248727		184412.599965684		-0.0948629489

		Big5		-9		6600		237029.996927738		221708.809994221		-0.0846965396

		Big5		-8		8956		312330.081195831		295598.569644153		-0.0747988039

		Big5		-7		11604		387427.712975591		370944.719975084		-0.0646702147

		Big5		-6		14512		504965.440594077		488253.929994643		-0.0547676217

		Big5		-5		21295		774415.106141627		757887.81033197		-0.0446484219

		Big5		-4		30433		1093249.97918868		1078566.85987487		-0.0346366483

		Big5		-3		38114		1623187.72017181		1613174.26995343		-0.0245965127

		Big5		-2		49441		2311231.03787136		2306507.2598455		-0.0148970244

		Big5		-1		46898		2470423.67448902		2477960.08042508		-0.0051678513

		Big5		0		75931		3064081.31716397		3057593.41391753		0.0017281521

		Big5		1		18150		629637.903076202		645365.830236316		0.0147252112

		Big5		2		13456		371322.397218168		386480.190286294		0.0246978928

		Big5		3		11352		319125.800766736		336566.969900995		0.0348222485

		Big5		4		9305		252181.643478632		268278.270174205		0.0448265606

		Big5		5		8193		199765.373574078		214657.180014729		0.0549484393

		Big5		6		7663		162395.263792634		176144.919922411		0.064708973

		Big5		7		7499		140104.376805902		153552.310028493		0.0749551094

		Big5		8		5976		135043.67160213		149476.649953365		0.0847071855

		Big5		9		5355		110062.545178562		123038.339986324		0.0946238276

		Big5		10		5039		94860.1908049583		106979.369966745		0.1045895113

		Big5		11		3968		77736.928512454		88632.139919281		0.115081546

		Big5		12		3945		76273.3611709327		87732.5199355185		0.1249741881

		Big5		13		3234		67568.6379686594		78344.1999646425		0.1350240668

		Big5		14		2933		65030.9039179832		75965.8400403708		0.1443806812

		Big5		15		2873		61840.9829814136		72970.3600265384		0.1546956538

		Big5		16		2124		45871.9643770456		54653.5499670506		0.1648555713

		Big5		17		1941		43222.7528550625		51923.8200283051		0.1747003303

		Big5		18		2226		38006.8273197114		46041.4800560623		0.1851146738

		Big5		19		1748		37926.3445604593		46334.8799873441		0.1949550477

		Big5		20		1534		34214.5257180929		42188.7399523258		0.2047561322

		Big5		21		1459		31160.2121158242		38821.3399900198		0.2150648931

		Big5		22		1417		32665.5543754101		40929.7300918102		0.2251225376

		Big5		23		1284		28580.6651954651		36051.5399706364		0.2349069179

		Big5		24		1119		23232.7443739772		29529.0500090122		0.2446525701

		Big5		25		1635		20771.9745777845		26578.42999053		0.2534084556

		Big5		26		977		19456.9063679576		25085.1000374556		0.2648065718

		Big5		27		1062		20695.9114100337		26918.8299838305		0.2748237485

		Big5		28		928		18177.3617966771		23844.3500154018		0.2845868138

		Big5		29		786		14798.0021585971		19570.2900008261		0.294823603

		Big5		30		823		15109.2984081507		20154.8200039268		0.304691025

		Big5		31		1832		15341.0479099751		20595.630027473		0.3138278443

		Big5		32		745		13332.6717199087		18047.6300270557		0.3250114338

		Big5		33		766		13465.142914772		18388.5999977589		0.3349522787

		Big5		34		711		11708.2613053918		16118.5600315332		0.3448555887

		Big5		35		635		11555.7887169123		15996.6199907064		0.3549481595

		Big5		36		677		11489.6679436564		16024.7899927497		0.364594986

		Big5		37		2418		9996.7300018072		14049.6299872994		0.3750872925

		Big5		38		548		9096.8357832432		12923.9500112534		0.384818396

		Big5		39		562		8636.2199770212		12322.5200054646		0.3950988007

		Big5		40		555		8482.9300062656		12202.7800232768		0.4048149049

		Big5		41		548		8338.3900202513		12062.0199861526		0.4152203937

		Big5		42		597		8961.7733960152		13062.3900101185		0.4253126198

		Big5		43		1969		8942.1382790804		13125.5699630976		0.4367085153

		Big5		44		565		8141.5233840346		12019.5199927092		0.4448378672

		Big5		45		638		11167.7670786977		16614.4499765038		0.4552677738

		Big5		46		471		6754.7883052826		10091.099997282		0.4654025589

		Big5		47		450		6862.5191938877		10324.500010848		0.4748097985

		Big5		48		502		6706.4107797444		10174.2900118828		0.4847396658

		Big5		49		428		5719.9799830913		8721.3100128174		0.4949388216

		Big5		50		584		5528.4220943749		8502.219966799		0.5033599093

		Big5		51		412		5658.1640987694		8756.1099838615		0.5147816526

		Big5		52		307		4426.1813085079		6895.169987917		0.5251494497

		Big5		53		340		4961.2600026131		7784.8700069189		0.5347562327

		Big5		54		345		4878.2099815607		7674.4899904728		0.5447942471

		Big5		55		329		4255.6841781139		6785.0700058937		0.5551090282

		Big5		56		441		5318.4399943352		8514.2499699295		0.5644974827

		Big5		57		316		4215.4700085223		6795.2699989677		0.5749568575

		Big5		58		274		3553.6299957633		5729.5300096869		0.5852727279

		Big5		59		276		3534.0512926578		5737.6699906588		0.5947668246

		Big5		60		339		4628.4499858022		7598.1099778414		0.6049804244

		Big5		61		297		3824.7400089502		6300.680003643		0.615468086

		Big5		62		335		3895.6482898891		6467.0899959803		0.6244782886

		Big5		63		387		4548.8199833334		7590.6699901223		0.6351217694

		Big5		64		294		3754.5899920464		6309.339974165		0.6449740851

		Big5		65		245		3149.4186939299		5320.3799971938		0.6544153428

		Big5		66		306		3667.8286886513		6228.5400099158		0.665511941

		Big5		67		272		3277.2099874318		5629.4999789596		0.6746062365

		Big5		68		372		2983.8199894428		5156.629989624		0.6854158656

		Big5		69		279		2564.849994123		4459.4899903536		0.6958527176

		Big5		70		280		3638.6241925955		6320.8099844456		0.7044228151

		Big5		71		243		3339.0199953914		5842.890006423		0.714958263

		Big5		72		255		3329.9400059581		5842.26001513		0.7250589597

		Big5		73		263		3111.4199886322		5526.5599980354		0.7352036528

		Big5		74		214		2652.5741934776		4725.1300010681		0.7452682661

		Big5		75		391		2563.0199798048		4601.299988538		0.752498106

		Big5		76		172		2353.4912976026		4275.6599998474		0.7649804215

		Big5		77		222		2765.9966876507		4995.5699942112		0.7749612753

		Big5		78		243		2389.5986840129		4362.7100121975		0.785252902

		Big5		79		192		2653.3782988787		4859.6899895668		0.7947896458

		Big5		80		168		2134.061696291		3913.3800113201		0.8045366353

		Big5		81		286		2650.8999910951		4910.8899939656		0.8144365799

		Big5		82		160		2003.1599873304		3738.3000178337		0.8257145286

		Big5		83		183		2008.6199901104		3761.9899976254		0.8354728228

		Big5		84		178		2112.2999880314		3967.3400064707		0.8450691951

		Big5		85		166		1996.6899974942		3790.9299733639		0.8548650882

		Big5		86		160		1963.8016982973		3718.5299991667		0.8652367525

		Big5		87		189		1744.1299901009		3351.2199819088		0.8753396295

		Big5		88		163		1937.4699906111		3711.400015831		0.8849827746

		Big5		89		144		1675.3799914122		3242.7500007153		0.8944909937

		Big5		90		176		2007.9499920607		3940.059987545		0.9049095969

		Big5		91		192		2144.3599990606		4224.1799911857		0.9148452419

		Big5		92		158		1687.2699902654		3329.7799967527		0.925393664

		Big5		93		201		1639.5999888778		3254.3999921084		0.9354835331

		Big5		94		130		1294.7900008559		2570.3800007105		0.9453394298

		Big5		95		185		1634.4699846506		3269.9999859333		0.9549843911

		Big5		96		169		1373.5557894111		2745.0899986029		0.9651897931

		Big5		97		135		1422.669995904		2858.4000039101		0.975250913

		Big5		98		179		1629.3799879551		3295.1000049114		0.985719477

		Big5		99		132		1355.9799970388		2747.2700097561		0.9947503444

		Big5		100		171		1469.2799903452		2996.289986372		1.0039753307

		Big5		101		146		1437.1195887327		2960.200001955		1.0149589271

		Big5		102		130		1150.0703920126		2379.9399826527		1.0248384054

		Big5		103		174		1339.0200033486		2780.9499768615		1.0336211557

		Big5		104		129		1165.3399927467		2429.7800078392		1.0447849913

		Big5		105		104		1070.8999944925		2243.1199989319		1.0543935563

		Big5		106		152		1051.4299973846		2214.3099906146		1.0636825985

		Big5		107		109		1090.7499972582		2311.6599910259		1.0752000513

		Big5		108		105		1021.0399913788		2177.3299894333		1.0852221716

		Big5		109		104		990.7899894118		2114.1499940157		1.0950625092

		Big5		110		109		936.7699932456		2009.2199962139		1.1049842638

		Big5		111		127		1285.4999884367		2768.7299993038		1.114953608

		Big5		112		166		1574.6712956429		3425.3600075543		1.1248868934

		Big5		113		123		1464.0903928876		3184.0500098467		1.134567568

		Big5		114		88		986.1499918699		2167.5500044823		1.1448195766

		Big5		115		108		960.9800008833		2157.6700029373		1.1546799673

		Big5		116		103		894.6999938488		1979.8699939251		1.1643835596

		Big5		117		97		824.9799888432		1824.5799869895		1.1746155859

		Big5		118		98		834.2899924219		1852.5999962091		1.1850908508

		Big5		119		138		1245.4899936914		2784.7400007248		1.195494295

		Big5		120		98		883.209992528		1989.5899991989		1.2045299995

		Big5		121		129		1135.5999901295		2575.4400007725		1.2146580718

		Big5		122		78		785.3699945807		1785.2000027895		1.2242610776

		Big5		123		102		968.2899959087		2213.5999891758		1.2348035387

		Big5		124		87		707.8199892044		1623.7600035667		1.2441197319

		Big5		125		85		763.0699909925		1753.1699957848		1.2544610486

		Big5		126		70		672.1499947309		1546.600007534		1.2645331962

		Big5		127		79		740.0103911161		1714.8299927712		1.2746481473

		Big5		128		77		739.7899995446		1723.720004797		1.2852351542

		Big5		129		70		668.9199951887		1572.3999977112		1.2946813277

		Big5		130		81		752.3799958229		1769.2500088215		1.304799258

		Big5		131		101		840.9016892016		1987.9700089693		1.3158249123

		Big5		132		67		714.9495966434		1693.9700045586		1.3246553531

		Big5		133		84		672.1899955869		1594.640001297		1.3350085034

		Big5		134		76		639.9499937296		1529.6799998283		1.344944314

		Big5		135		64		482.8199959993		1154.1100006103		1.354488235

		Big5		136		73		534.3099929988		1287.5200109482		1.3652452622

		Big5		137		75		668.8999963999		1622.6399912834		1.3756069072

		Big5		138		82		789.5699952841		1910.8800034523		1.385615093

		Big5		139		78		812.7782941461		1981.8699994087		1.3958587494

		Big5		140		90		712.1099922061		1752.7700023651		1.4048931042

		Big5		141		115		921.37999475		2260.4000086784		1.4147023616

		Big5		142		97		769.4799925089		1899.9600019455		1.4247811971

		Big5		143		95		867.7782915831		2151.5200014114		1.4354517887

		Big5		144		67		742.989992857		1851.6800060272		1.4447782751

		Big5		145		77		678.7699941397		1696.4000060558		1.4545930221

		Big5		146		56		486.189997673		1219.0199978352		1.4653935624

		Big5		147		67		486.1699945927		1228.719992876		1.4742358567

		Big5		148		80		683.0599951744		1727.0099945068		1.4852305919

		Big5		149		54		392.8099979162		1001.509991169		1.4954961075

		Big5		150		73		501.6699957252		1276.3400022984		1.5045602142

		Big5		151		68		425.059994936		1086.6400067806		1.515405448

		Big5		152		67		453.6199929714		1178.749992609		1.5252565555

		Big5		153		71		509.1916959882		1316.9800038338		1.5339323114

		Big5		154		81		594.5899971724		1539.1700041294		1.5451240186

		Big5		155		71		451.7299951911		1171.5600073338		1.554823909

		Big5		156		86		554.8099980354		1450.3800086975		1.5653688104

		Big5		157		77		473.0186949968		1240.3700011969		1.5744811591

		Big5		158		56		380.3999984264		1001.860004425		1.5847608639

		Big5		159		59		415.3099969625		1103.8499953747		1.5944562261

		Big5		160		55		457.58999753		1218.7500038147		1.605567219

		Big5		161		56		385.8599982262		1026.4499920607		1.6136884945

		Big5		162		61		325.0399932265		869.3099997044		1.6246550982

		Big5		163		56		360.9999938011		974.9999978542		1.6348984433

		Big5		164		52		455.0112972856		1220.7200040817		1.6456726079

		Big5		165		68		468.6399945021		1268.1000027657		1.6543238461

		Big5		166		54		337.4399944544		916.1299972534		1.6648088164

		Big5		167		48		304.2299958467		825.9800076485		1.6744581933

		Big5		168		58		420.2999947071		1150.8699893951		1.6852310464

		Big5		169		38		242.3699972034		662.2699997425		1.69423423

		Big5		170		45		337.1499978304		929.9899981022		1.7051614046

		Big5		171		44		234.3599963188		650.6000006199		1.7150050646

		Big5		172		48		365.9516982734		1014.730001092		1.7250328014

		Big5		173		33		191.8099981546		535.1999974251		1.7349302046

		Big5		174		53		447.2399930954		1244.2400066853		1.7445679003

		Big5		175		33		222.2799959183		621.5999979973		1.7554575313

		Big5		176		30		216.6882990599		613.0399999619		1.7651239475

		Big5		177		26		170.9699987173		482.1599998474		1.7754951624

		Big5		178		45		319.2099978924		903.3099981546		1.7855840524

		Big5		179		28		220.3999986053		624.4899942875		1.7945461358

		Big5		180		39		273.6199966669		776.6399958134		1.8051384443

		Big5		181		40		260.5199967623		751.7200021744		1.8141652733

		Big5		182		50		376.9516957998		1077.6199967861		1.825266974

		Big5		183		22		208.4899983406		596.6400072575		1.8344372294

		Big5		184		37		289.1199972034		838.2999916077		1.8443321666

		Big5		185		50		357.9199978113		1041.2900073528		1.8550892019

		Big5		186		43		275.5199984312		805.8200025558		1.8636625977

		Big5		187		58		319.0999954939		933.9400002956		1.8747410692

		Big5		188		39		288.4699971676		861.259996891		1.8846717889

		Big5		189		32		223.5299999118		657.6800069809		1.8958537728

		Big5		190		35		174.1899971962		516.6600046158		1.9045893363

		Big5		191		34		294.4699978828		873.7899980545		1.9144556768

		Big5		192		43		342.9999974966		1018.849998951		1.9255197325

		Big5		193		42		303.5299959183		906.6400015354		1.9343273555

		Big5		194		16		90.3199996948		268.8200037479		1.9439176917

		Big5		195		31		221.8499985933		669.6699986458		1.9552116048

		Big5		196		35		260.2399976254		785.5899991989		1.9651344163

		Big5		197		20		153.0899984837		462.7799978256		1.9742464602

		Big5		198		30		228.3399972916		699.5800018311		1.9850674709

		Big5		199		27		163.6799975634		502.4199976921		1.9937885426

		Big5		200		28		153.3999986146		468.5900037661		2.0041918925

		Big5		201		26		202.6199985743		618.9299988747		2.0145465227

		Big5		202		31		224.2399989367		694.2499985695		2.0258844668

		Big5		203		25		201.0999976397		627.9500012398		2.0343493748

		Big5		204		22		137.6586979628		428.0600013733		2.0458902771

		Big5		205		24		148.0499995947		476.7099995613		2.0551623801

		Big5		206		23		173.919998765		541.9800019264		2.0643095037

		Big5		207		21		126.5299991965		397.5399947166		2.0754758517

		Big5		208		16		110.1099991798		346.139995575		2.0862873942

		Big5		209		24		167.2099993229		526.2300001383		2.0954710543

		Big5		210		19		151.8299982548		480.6099977493		2.106263098

		Big5		211		14		110.449999094		350.9599962234		2.1137949569

		Big5		212		22		128.6199986935		409.1599998474		2.1231530038

		Big5		213		25		138.2399978638		442.4899983406		2.1348845959

		Big5		214		24		155.929998517		501.490003109		2.1447814306

		Big5		215		34		276.3599976301		890.7099924088		2.1541387754

		Big5		216		17		112.3599989414		363.2500038147		2.1653784724

		Big5		217		20		134.1857994795		431.5099973679		2.1756052136

		Big5		218		22		149.9499983788		486.2900018692		2.1853429729

		Big5		219		23		150.6499997973		492.1300008297		2.1952401659

		Big5		220		33		272.859998703		892.7600049973		2.2047983805

		Big5		221		36		322.3899991512		1057.8800020218		2.2145925363

		Big5		222		24		151.2882988453		500.1599979401		2.2246998052

		Big5		223		25		166.2699985504		543.1199960709		2.2352173233

		Big5		224		23		157.9099982977		524.0500068665		2.2455518246

		Big5		225		25		172.6999974847		568.5899991989		2.2550096607

		Big5		226		43		369.6312961578		1223.7099943161		2.2644376755

		Big5		227		26		177.0099989176		584.9099965096		2.2744375376

		Big5		228		33		208.6799983978		698.1499996185		2.2855620167

		Big5		229		20		159.0786982775		535.8500080109		2.2943677902

		Big5		230		27		252.8399983644		852.9199905396		2.3052430418

		Big5		231		19		142.8041985333		482.1699975133		2.3150649447

		Big5		232		19		133.6599984169		453.7200040817		2.3250296367

		Big5		233		22		163.6099988967		552.0599958301		2.336013989

		Big5		234		35		238.5299975872		815.5799994469		2.3461179188

		Big5		235		19		112.7699981928		382.8500020504		2.3545086384

		Big5		236		49		327.2599937916		1129.0999908447		2.367107294

		Big5		237		25		161.3399974108		554.4399986267		2.3747880173

		Big5		238		22		137.2999984026		469.9399967194		2.3850605054

		Big5		239		52		349.069994092		1207.6499919891		2.3938205426

		Big5		240		35		360.739998579		1260.090007782		2.4051037107

		Big5		241		18		97.0199979544		338.2900013924		2.414736867

		Big5		242		34		217.4899975061		758.6500005722		2.4256030952

		Big5		243		14		70.3299992085		243.0599985123		2.4357243095

		Big5		244		19		81.2299983501		285.2899990082		2.444027587

		Big5		245		27		105.5499978662		373.2599992752		2.4546728664

		Big5		246		29		114.6699976921		405.2900018692		2.4654018797

		Big5		247		33		152.1799981594		540.3200016022		2.4748784557

		Big5		248		41		213.3999977112		761.6500020027		2.4862780978

		Big5		249		26		169.4899986982		607.5400009155		2.4945490819

		Big5		250		43		143.9599986263		511.5999973491		2.5033737726

		Big5		251		35		159.3399980068		569.9699983597		2.5151069573

		Big5		252		17		132.0199985504		476.1700019836		2.5249816951

		Big5		253		18		102.2099993527		367.9700021744		2.5358510282

		Big5		254		28		144.8099988699		529.2900018692		2.5450592893

		Big5		255		23		138.4799981117		497.8099966049		2.5556358565

		Big5		256		19		87.3399986029		315.8200011253		2.5642592154

		Big5		257		28		161.889998734		591.6199986935		2.575076282

		Big5		258		31		167.1799973249		613.3300027847		2.5854942183

		Big5		259		31		162.2099970579		590.4200043678		2.5941337924

		Big5		260		29		135.5899981111		496.8799985051		2.6047398469

		Big5		261		15		62.0999991894		227.0399982929		2.6146190008

		Big5		262		22		124.1599982381		458.0899987221		2.6248023943

		Big5		263		32		133.2399981618		493.549998045		2.6353959516

		Big5		264		17		108.2199975252		402.7099990845		2.6442267053

		Big5		265		23		135.9199984372		505.2799949646		2.655684212

		Big5		266		25		147.2699984312		548.1899967194		2.6650288582

		Big5		267		25		131.3799983263		495.2699999809		2.6753483677

		Big5		268		19		93.389998734		352.6499946117		2.6842169762

		Big5		269		23		73.8999990225		279.8300004005		2.6940012911

		Big5		270		18		87.2199988365		329.680000782		2.7058048513

		Big5		271		30		108.0699983239		410.4200072289		2.7140128374

		Big5		272		36		153.7699987292		583.5999979973		2.7258106801

		Big5		273		21		77.4599987864		294.25999856		2.7358717691

		Big5		274		18		69.5899990797		267.5800018311		2.7443850968

		Big5		275		38		142.8399981856		546.8600013256		2.7549204764

		Big5		276		20		67.9499988556		261.9900021553		2.7655252695

		Big5		277		21		85.989998579		328.4900012016		2.7748367559

		Big5		278		21		77.1799992025		297.5800017118		2.7856371289

		Big5		279		17		78.8899989128		301.970000267		2.7951663382

		Big5		280		18		89.3699993491		342.9500014782		2.8050612874

		Big5		281		27		132.5899982452		514.7200064659		2.8149419714

		Big5		282		16		65.9599991143		255.1399966478		2.82592915

		Big5		283		23		95.7299993038		374.6899962425		2.8338282834

		Big5		284		15		57.6499996185		228.2700018883		2.8439650536

		Big5		285		21		123.289998889		486.0300021172		2.8545813788

		Big5		286		15		76.82999897		302.5099973679		2.8645451228

		Big5		287		20		101.6999990344		400.5200028419		2.8752183557

		Big5		288		25		104.7399981022		413.9199991226		2.8845744228

		Big5		289		16		68.2099995613		268.3500037193		2.8943956345

		Big5		290		17		88.9299988747		356.6799974442		2.9062047145

		Big5		291		18		65.3299993575		261.1999987364		2.9152817594

		Big5		292		15		59.3399995863		239.0900000334		2.9245787303

		Big5		293		20		116.5999988317		468.1999993324		2.9353272557

		Big5		294		26		146.2399983406		587.9000003338		2.9444126716

		Big5		295		20		70.1299991012		282.9000017643		2.9549307346

		Big5		296		27		93.2499987483		377.1899995804		2.9661767041

		Big5		297		16		71.5799995065		290.5099956989		2.9755544066

		Big5		298		23		95.0199995041		387.1700000763		2.9853646963

		Big5		299		7		27.2699995041		111.7499980927		2.9936064311

		Big5		300		20		86.0499992669		351.6400020123		3.0036262393

		Big5		301		7		41.5899995565		169.5099945068		3.0134090015

		Big5		302		15		75.4699985981		309.6299996376		3.0242382685

		Big5		303		15		76.5099993944		311.5199995041		3.0330008666

		Big5		304		16		73.5399992466		303.1700005531		3.0450875163

		Big5		305		17		62.1699995995		257.3800020218		3.0537933462

		Big5		306		6		35.0599998236		146.6200017929		3.0673270623

		Big5		307		14		44.509999752		184.0499987602		3.0744366816

		Big5		308		9		45.3699994087		190.1599969864		3.0840000047

		Big5		309		10		48.5499993563		201.1999988556		3.0948300123

		Big5		310		18		63.7099993825		265.7699985504		3.1050933732

		Big5		311		9		42.5899999142		176.6200008392		3.1133913994

		Big5		312		16		64.4399992526		270.1100026965		3.1238644421

		Big5		313		8		41		171.1099977493		3.1363826692

		Big5		314		14		57.3299995661		239.8499979973		3.1447243009

		Big5		315		11		67.4099991322		284.7199997902		3.1519693461

		Big5		316		9		37.6799994111		159.2099993229		3.1661684248

		Big5		317		13		53.3299995661		225.3499999046		3.1739031718

		Big5		318		22		97.1299985647		418.7499990463		3.1842796911

		Big5		319		10		41.9699994624		177.8700017929		3.196287179

		Big5		320		7		39.0299999118		167.7800030708		3.2022196906

		Big5		321		10		49.2599995434		216.0599987507		3.2156976938

		Big5		322		13		53.9099993706		231.6700000763		3.2257649348

		Big5		323		10		57.9299994707		253.5300011635		3.2350422621

		Big5		324		27		63.6099989414		274.2599976659		3.2466986444

		Big5		325		19		93.9199986458		402.7699971199		3.2559173233

		Big5		326		17		96.9399995208		415.6700072289		3.2644739992

		Big5		327		12		71.6299994588		310.3300049305		3.2737513185

		Big5		328		11		53.0299993753		230.4699964523		3.2854773348

		Big5		329		17		110.389998436		477.7300071716		3.2942703612

		Big5		330		17		95.4699994326		417.3100066185		3.30513065

		Big5		331		41		196.0499978364		857.0099939108		3.3138909165

		Big5		332		18		134.2799987793		595.4999980927		3.3244029681

		Big5		333		18		89.1299988627		392.9600055218		3.3346198532

		Big5		334		11		36.0799998641		163.2299985886		3.3440332846

		Big5		335		10		57.2899990082		255.5299978256		3.3563105822

		Big5		336		15		91.9200005829		407.3900045156		3.3647596995

		Big5		337		56		122.2699996829		544.0700032711		3.374831272

		Big5		338		7		26.0299996138		116.060000658		3.384691579

		Big5		339		15		57.2799989283		257.3799971342		3.3949523131

		Big5		340		11		50.0699996948		223.2100009918		3.4052447622

		Big5		341		7		37.8399996758		168.7199983597		3.41529056

		Big5		342		6		22.2699998915		100.859998703		3.4248233239

		Big5		343		126		124.1199981272		560.350004673		3.4374940017

		Big5		344		28		246.6799966693		1113.9699995518		3.4453959295

		Big5		345		17		131.669998467		595.8000025749		3.4539295505

		Big5		346		5		25.4899997711		114.7500009537		3.4655594826

		Big5		347		8		26.9999991208		122.9700009227		3.4735271037

		Big5		348		15		55.3599988222		253.7299990654		3.4838473638

		Big5		349		15		77.1599990129		354.3300008774		3.4940908432

		Big5		350		93		52.1499995291		239.720001936		3.5004621808

		Big5		351		6		34.8099994659		161.2400026321		3.5149615208

		Big5		352		10		74.1299997568		340.8800005913		3.5253974676

		Big5		353		9		41.1199997962		187.4800020456		3.5357171959

		Big5		354		12		49.6399993896		227.8699977398		3.5433568358

		Big5		355		6		33.5100002289		154.3200016022		3.5556635062

		Big5		356		46		62.7999988794		293.2000007629		3.5628842582

		Big5		357		18		102.2499992251		476.2500042915		3.5747460127

		Big5		358		6		28.3299999237		133.6599979401		3.5864314636

		Big5		359		11		51.1999995708		238.3300008774		3.5942411423

		Big5		360		16		81.9199991822		385.5199978352		3.6045850664

		Big5		361		14		83.6299979687		394.3700017929		3.6145256077

		Big5		362		8		33.3300003409		156.9799983501		3.624424696

		Big5		363		7		32.0000002384		151.7199997902		3.6350649084

		Big5		364		6		34.0399993658		161.109995842		3.646158735

		Big5		365		11		63.8099994659		299.2800045013		3.6546163992

		Big5		366		7		31.6499997377		150.1600008011		3.666350535

		Big5		367		15		81.4699993134		385.8400030136		3.6767649015

		Big5		368		6		36.0899993479		172.1700048447		3.6839853128

		Big5		369		15		73.3099995852		347.5200004578		3.6955499649

		Big5		370		12		57.1099998057		271.209997654		3.7051241795

		Big5		371		10		53.3299999237		252.6599979401		3.7149485826

		Big5		372		19		96.0399991274		457.0000004768		3.7243869681

		Big5		373		21		124.7399994135		596.779999733		3.7355428764

		Big5		374		24		131.4799998999		626.4400043488		3.7438632349

		Big5		375		18		99.3799994588		478.5199995041		3.7542502085

		Big5		376		11		87.9699991941		429.3499999046		3.7671573812

		Big5		377		5		34.9199995995		169.2800045013		3.7750865936

		Big5		378		9		56.2299993038		273.7000017166		3.7846095297

		Big5		379		9		53.0199994147		260.3700013161		3.7970372306

		Big5		380		9		44.2599994242		218.0499982834		3.8058860832

		Big5		381		10		68.7999992371		336.1600074768		3.816003418

		Big5		382		4		19.9999997616		98.4499988556		3.8240416646

		Big5		383		3		14.9899997711		74.2800006866		3.8368693988

		Big5		384		7		46.7299995422		229.8499937057		3.8463195392

		Big5		385		13		80.9999989271		402.1100006104		3.8554052206

		Big5		386		7		44.2999995947		219.610004425		3.864232472

		Big5		387		2		16.6599998474		82.8499984741		3.8781512976

		Big5		388		10		80.4699993134		402.1700057983		3.8846421957

		Big5		389		3		19.9899997711		100.3599967957		3.8969380061

		Big5		390		6		42.0699996948		208.9600009918		3.9046198527

		Big5		391		4		28.3199996948		142.3100032806		3.9137024283

		Big5		392		9		28.4799996912		142.9599990845		3.9254645507

		Big5		393		6		31.8599994183		162.5500040054		3.9350137313

		Big5		394		4		28.3199996948		143.0699996948		3.9444698095

		Big5		395		3		17.0100002289		87.3099994659		3.9544934432

		Big5		396		3		24.1599998474		121.8299980164		3.963634491

		Big5		397		8		44.5599994659		225.1899962425		3.9742677808

		Big5		398		12		55.2499998808		280.8900051117		3.9862997532

		Big5		399		10		50.9800002575		258.3199977875		3.9952690125

		Big5		400		10		44.5299999118		227.0599994659		4.0019469261

		Big5		401		6		38.6599995494		196.5200047493		4.0148010254

		Big5		402		7		66.3899993896		340.8800086975		4.025652613

		Big5		403		8		59.1399993896		301.9699993134		4.0364932418

		Big5		404		8		47.0499995053		241.1899995804		4.0457356572

		Big5		405		4		22.1499998569		114.0400009155		4.0554499626

		Big5		406		6		39.1499996185		200.3899993896		4.0630443096

		Big5		407		6		34.2499995232		176.6099977493		4.076230526

		Big5		408		6		29.249599576		150.0600039959		4.0840253035

		Big5		409		7		37.0599997044		190.9400024414		4.0935701643

		Big5		410		7		37.6799995899		195.1700003147		4.1037246159

		Big5		411		3		16.1899995804		83.280002594		4.1165628433

		Big5		412		5		28.8299998045		150.5999984741		4.1271715164

		Big5		413		4		25.3499999046		132.6999979019		4.1358981133

		Big5		414		1		1.6599999666		8.8100004196		4.1445784569

		Big5		415		5		18.319999814		95.3600006104		4.1530489922

		Big5		416		4		11.6499998569		61.7699995041		4.1658734083

		Big5		417		6		16.6099995673		86.2200005054		4.1743618647

		Big5		418		2		14.5899996758		77.530002594		4.1844885349

		Big5		419		5		29.7699997425		158.9500002861		4.1958454132

		Big5		420		2		9.0000001192		48.2699985504		4.2045893669

		Big5		421		5		27.7699995041		145.2599964142		4.2132572174

		Big5		422		3		12.6499996185		66.0899982452		4.2281510035

		Big5		423		6		40.7499992847		217.3699989319		4.2331944307

		Big5		424		5		39.1499996185		211.4400005341		4.244204998

		Big5		425		1		8.3299999237		44.3600006104		4.2545018196

		Big5		426		2		11.6599998474		63.3699989319		4.2680873871

		Big5		427		3		13.319999814		71.2599983215		4.2750911713

		Big5		428		2		3.3199999332		17.8900003433		4.286144495

		Big5		429		2		12.4899997711		67.1900005341		4.2954969406

		Big5		430		6		39.3799996376		211.4400005341		4.3051953316

		Big5		431		2		6.2099997699		33.370000124		4.3172402382

		Big5		432		4		10.5699997544		57.5199999809		4.326641202

		Big5		433		1		0.0299999993		0.150000006		4.3333334923

		Big5		434		6		25.8200001419		138.8000032902		4.3456320763

		Big5		435		3		15.0599994659		82.5500011444		4.3560775121

		Big5		436		2		9.4899998903		51.5700001717		4.3623070717

		Big5		437		1		6.6599998474		36.9599990845		4.3798799515

		Big5		438		1		7.5		39.9199981689		4.3880000114

		Big5		439		3		12.1399995387		66.8099994659		4.3927691778

		Big5		440		3		8.3799997568		46.7500009537		4.4029261271

		Big5		441		2		10.6900000572		57.6700000763		4.4113292694

		Big5		442		2		7.9899997711		43.2800006866		4.4248025417

		Big5		443		2		9.1599999666		49.4399986267		4.4392130375

		Big5		444		5		20.3699995279		112.5300006866		4.4456670761

		Big5		445		1		3.6099998951		20.1900005341		4.4515237808

		Big5		446		5		27.9299995899		152.5299978256		4.4647623062

		Big5		447		1		0.6499999762		3.6800000668		4.4769234657

		Big5		449		4		13.6399997473		77.1900014877		4.4967619181

		Big5		450		2		8.3300001621		47.7799992561		4.5056784153

		Big5		451		3		14.9899997711		84.5399990082		4.5126099586

		Big5		452		1		7.5		40.8400001526		4.5279998779

		Big5		453		1		3.3199999332		18.7099990845		4.5391564369

		Big5		454		2		2.3199999332		13.1499998569		4.5468239784

		Big5		455		2		11.8400000334		67.9399986267		4.5537042618

		Big5		456		1		0.6499999762		3.7400000095		4.5692310333

		Big5		457		5		17.8200000525		100.4999995232		4.5761993408

		Big5		458		7		28.1999998093		160.0799999237		4.5846434321

		Big5		459		3		10.1699999571		58.0499992371		4.5946089427

		Big5		460		12		46.4499999285		266.409999609		4.6045760711

		Big5		461		6		30.0499999523		172.1700000763		4.6145378749

		Big5		462		6		21.5200000107		122.2299989462		4.6228830814

		Big5		463		3		4.629999876		26.7199997902		4.6307231585

		Big5		464		3		7.9699999094		45.8599991798		4.6429862976

		Big5		465		1		1.6599999666		9.5		4.6566267014

		Big5		466		2		11.6599998474		68.2999992371		4.6685683727

		Big5		467		5		23.32039994		136.4499995708		4.6740774155

		Big5		468		3		4.5699999034		26.6300001144		4.6837851206

		Big5		469		1		8.3299999237		47.9500007629		4.6902761459

		Big5		470		3		30.9299998283		182.1199998856		4.7064916293

		Big5		471		4		20.5499993563		118.8499984741		4.7143830061

		Big5		472		5		15.4199997783		90.2899990082		4.7228190422

		Big5		473		1		3.3299999237		19.7399997711		4.7357358932

		Big5		474		6		28.3799994588		166.07999897		4.74558568

		Big5		475		1		0.4099999964		2.4600000381		4.7560977936

		Big5		476		4		21.6499997377		127.1999979019		4.7658102512

		Big5		477		2		2.2399999499		13.3299999237		4.7734732628

		Big5		478		3		7.7099997997		46.4799985886		4.7823344866

		Big5		479		1		19.5299987793		116.8799972534		4.7982592583

		Big5		480		3		11.6399997473		69.9400005341		4.8057238261

		Big5		481		3		14.9199995995		88.9100017548		4.8140794436

		Big5		482		2		6.6599998474		39.2200012207		4.8258256912

		Big5		483		4		16.9300000072		99.610001564		4.832983613

		Big5		484		4		7.6699998379		45.8599991798		4.8464441299

		Big5		485		6		7.9100000858		47.5700001717		4.8545323213

		Big5		486		16		44.0799993277		262.7500038147		4.8648654521

		Big5		487		5		18.7299996614		113.0600013733		4.8749550819

		Big5		488		1		4.1599998474		24.7800006866		4.8822116852

		Big5		489		1		1.8499999046		11.3100004196		4.8918924332

		Big5		490		4		27.2099997997		161.8499984741		4.9014903307

		Big5		491		2		5.0299998522		30.1700000763		4.9189047813

		Big5		492		1		3.3299999237		20.3199996948		4.92192173

		Big5		493		1		3.3299999237		20.3400001526		4.9309310913

		Big5		494		2		5.9099998474		35.9299993515		4.9458413124

		Big5		495		2		7.4899997711		45.4700012207		4.9558432102

		Big5		496		1		3.3299999237		20.3999996185		4.9669675827

		Big5		497		4		11.9799996018		72.5999994278		4.9754546881

		Big5		498		3		22.3199996948		137.2600002289		4.9863527616

		Big5		499		2		7.4399996996		45.4099998474		4.9952580929

		Big5		500		2		11.6599998474		72.1700000763		5

		Big5		501		3		12.4899998903		75.3200016022		5.0149170558

		Big5		502		5		15.4899996519		94.8200025558		5.0248402596

		Big5		503		5		18.3099998236		111.1699991226		5.0337925911

		Big5		504		3		20.9299997091		129.5600013733		5.0437726974

		Big5		505		3		17.9199995995		111.1199970245		5.0557190577

		Big5		506		4		10.8099997044		66.8400001526		5.0645186901

		Big5		507		14		46.6199989319		291.8800067902		5.077005727

		Big5		508		12		39.9599990845		250.2099914551		5.085085392

		Big5		509		7		37.5499992371		233.3400001526		5.0941786766

		Big5		511		4		8.5299999714		53.3000011444		5.1143081188

		Big5		514		1		1.6599999666		10.3800001144		5.1445784569

		Big5		516		1		7.5		45.9099998474		5.1600003242

		Big5		517		2		4.7899999619		30.2799987793		5.1776297092

		Big5		518		2		9.9899998903		62.8300008774		5.1858105659

		Big5		519		1		3.3299999237		21.0699996948		5.1921925545

		Big5		520		1		1.6599999666		10.4799995422		5.2048196793

		Big5		521		1		3.3299999237		21.3999996185		5.2192192078

		Big5		524		1		1.3099999428		8.3500003815		5.2442750931

		Big5		526		1		2.1199998856		13.6199998856		5.2641510963

		Big5		527		2		7.9300000072		50.0900018215		5.2775347233

		Big5		528		4		15.2200006247		97.92000103		5.2827141285

		Big5		529		1		7.5		47.4500007629		5.2919998169

		Big5		530		3		15.8199996948		100.0899982452		5.3036133448

		Big5		531		2		15		94.6900024414		5.3159997463

		Big5		533		4		15.819999814		101.0699987412		5.3368389606

		Big5		534		3		18.7099999189		122.500002861		5.3447877566

		Big5		536		1		8.3299999237		54.75		5.3673467636

		Big5		539		2		6.7399999201		44.2899985313		5.3949639797

		Big5		541		1		1.6599999666		10.9300003052		5.4156627655

		Big5		542		1		7.5		47.6300010681		5.4293336868

		Big5		543		3		14.1599998474		92.5199985504		5.4347349803

		Big5		544		3		15.4899998903		100.8099975586		5.445373853

		Big5		545		3		15.0200000703		99.8500003815		5.4551377296

		Big5		546		3		19.009999752		126.1799964905		5.4639673233

		Big5		547		4		19.0100002289		125.9299983978		5.477712512

		Big5		548		3		14.319999814		95.2499990463		5.484925429

		Big5		549		1		1.7400000095		11.4899997711		5.4942531586

		Big5		550		1		3.3299999237		22.1599998474		5.5045046806

		Big5		551		1		1.6599999666		11.1599998474		5.5180721283

		Big5		552		1		7.5		48.2200012207		5.5213332176

		Big5		553		1		7.5		48.4199981689		5.5373330116

		Big5		555		1		3.3299999237		22.5699996948		5.5585589409

		Big5		556		3		11.6499998569		77.7800016403		5.5647850037

		Big5		557		3		5.9999998808		40.6700005531		5.5773835182

		Big5		558		2		6.6899996996		44.8499994278		5.5854096413

		Big5		560		2		4.7799998522		32.0399999619		5.6054992676

		Big5		563		1		0.8299999833		5.6599998474		5.6385540962

		Big5		564		2		15.8299999237		106.9599990845		5.6451947689

		Big5		566		3		5.0899998508		34.560000807		5.6650123596

		Big5		568		4		19.1499998569		130.0100002289		5.6835695505

		Big5		569		1		1.6999999285		11.6499996185		5.6999998093

		Big5		570		2		10.1799998283		68.0400009155		5.7034130096

		Big5		571		1		1.6599999666		11.5799999237		5.7108430862

		Big5		572		2		2.4099999666		16.509999752		5.722069025

		Big5		573		3		14.9899997711		101.4000015259		5.7361032168

		Big5		574		1		7.5		49.8699989319		5.7453331947

		Big5		575		1		3.3299999237		23.2000007629		5.7507505417

		Big5		578		2		15.8299999237		108.5999984741		5.7845568657

		Big5		579		2		12.4899997711		86.9900016785		5.7981982231

		Big5		580		1		8.3299999237		57.4000015259		5.8019208908

		Big5		581		2		6.6599998474		46.5799999237		5.8183186054

		Big5		582		3		14.9899997711		102.5000019073		5.8242249489

		Big5		583		2		8.3299999237		58.0599994659		5.8354175091

		Big5		584		1		4.1599998474		29.1200008392		5.8485579491

		Big5		585		1		1.2400000095		8.5799999237		5.8548388481

		Big5		586		2		9.7899999619		68.5700006485		5.8665039539

		Big5		587		4		21.9199997187		154.4299993515		5.8724595308

		Big5		588		2		6.8299999237		48.0200004578		5.8858733177

		Big5		589		3		13.4599999189		94.4000005722		5.8953466415

		Big5		590		1		1.75		12.3500003815		5.9028573036

		Big5		592		2		3.3199999332		23.7999992371		5.92771101

		Big5		593		1		12.5		87.8000030518		5.9335999489

		Big5		595		1		7.5		52.1599998474		5.9559998512

		Big5		596		1		3.3299999237		23.7099990845		5.9609613419

		Big5		597		1		8.3299999237		58.9099998474		5.9723892212

		Big5		598		1		1.6599999666		11.7700004578		5.9879517555

		Big5		600		2		11.6599998474		83.0299987793		6.0039026737

		Big5		602		4		20.0900003016		142.1200008392		6.0253515244

		Big5		603		3		16.6399998665		120.8700008392		6.0340412458

		Big5		604		4		12.1099996567		87.4400005341		6.0451478958

		Big5		605		1		5.7899999619		41.4000015259		6.0518136024

		Big5		606		2		11.6599998474		84.0399990082		6.0642457008

		Big5		608		3		25.6699986458		186.4800024033		6.0832262039

		Big5		609		1		7.5		52.9099998474		6.0920000076

		Big5		611		1		3.3299999237		24.2000007629		6.1141142845

		Big5		612		1		4.1599998474		30.0100002289		6.125

		Big5		615		2		21.6599998474		159.2599983215		6.1576263905

		Big5		616		1		2.9500000477		21.5499992371		6.1627120972

		Big5		618		1		4.6599998474		34.1199989319		6.1802573204

		Big5		619		1		3.3299999237		24.7600002289		6.1981983185

		Big5		620		1		3.3299999237		24.7199993134		6.2072072029

		Big5		621		4		6.5699998438		48.5299999714		6.2149665356

		Big5		623		2		16.6599998474		122.5699996948		6.2346942425

		Big5		624		1		0.4099999964		3.0899999142		6.2439022064

		Big5		625		2		10.2999999523		75.8899993896		6.255491972

		Big5		626		3		18.5404000282		135.3899993896		6.2655768394

		Big5		628		1		8.3299999237		62.6599998474		6.2881155014

		Big5		630		2		7.4899997711		56.1199989319		6.3060970306

		Big5		631		1		3.3299999237		25.1700000763		6.3153157234

		Big5		633		1		2.2899999619		17.1299991608		6.3362445831

		Big5		636		3		15.8199996948		118.7199993134		6.3659660021

		Big5		639		2		3.939999938		29.75		6.3919167519

		Big5		640		2		7.2300001383		54.8500022888		6.4058964252

		Big5		642		2		4.9899998903		37.7199993134		6.4255671501

		Big5		644		1		8.3299999237		62.8800010681		6.4417767525

		Big5		645		1		8.3299999237		64.0899963379		6.4549822807

		Big5		646		1		0.4099999964		3.1800000668		6.4634151459

		Big5		651		1		11.0500001907		85.6900024414		6.5131220818

		Big5		652		1		1.6599999666		12.779999733		6.524096489

		Big5		656		2		7.4899997711		57.4799995422		6.5635323524

		Big5		657		1		2.1016998291		16.0400009155		6.5756297112

		Big5		658		1		2.7000000477		20.8400001526		6.5851855278

		Big5		660		1		1.2300000191		9.1599998474		6.6097559929

		Big5		667		2		6.0599998236		47.5300016403		6.6784162521

		Big5		669		2		9.5299999714		74.4300003052		6.6975390911

		Big5		670		1		3.3299999237		26.4400005341		6.7087087631

		Big5		671		2		5.4099998474		42.6100006104		6.7170324326

		Big5		672		3		5.4699998945		43.2500003576		6.7268792788

		Big5		673		1		1.6599999666		13.1400003433		6.734940052

		Big5		674		2		6.2399998307		49.1600017548		6.7459526062

		Big5		675		2		11.6599998474		93.4400043488		6.7562305927

		Big5		677		2		7.4899997711		59.4600009918		6.7759082317

		Big5		679		1		0.2899999917		2.3099999428		6.7931036949

		Big5		681		1		1.6599999666		13.1999998093		6.8132534027

		Big5		682		1		4.1599998474		32.8800010681		6.8221154213

		Big5		685		2		4.129999876		32.8999996185		6.8547141552

		Big5		688		1		8.3299999237		66.8199996948		6.888355732

		Big5		689		6		8.4999998361		68.650000453		6.8979918162

		Big5		690		8		19.9499996901		161.0600004196		6.9069702029

		Big5		691		2		3.3199999332		26.8599996567		6.9156622887

		Big5		692		4		6.6399998665		53.7499990463		6.9262049198

		Big5		694		1		2.6700000763		21.8500003815		6.9400749207

		Big5		695		2		1.9799999893		15.8199999332		6.9555444717

		Big5		696		1		0.2899999917		2.3399999142		6.9655175209

		Big5		697		1		3.3299999237		27.3600006104		6.9759759903

		Big5		699		1		0.200000003		1.6499999762		7

		Big5		700		1		3.3299999237		27.4400005341		7.0030031204

		Big5		702		1		4.1900000572		34.2799987793		7.0214796066

		Big5		704		1		1.6599999666		13.6899995804		7.0421686172

		Big5		706		1		1.6599999666		13.6800003052		7.0662651062

		Big5		707		1		2.9700000286		24.2299995422		7.0707068443

		Big5		708		3		15.8199996948		130.0199985504		7.0820825895

		Big5		712		1		1.1599999666		9.5799999237		7.1293110847

		Big5		714		1		2.5299999714		21.3899993896		7.1462450027

		Big5		716		1		2.4200000763		20.0900001526		7.1611566544

		Big5		718		2		9.9899998903		83.1499977112		7.1809978485

		Big5		719		2		3.3199999332		28.0399999619		7.1957831383

		Big5		720		2		2.0999999344		17.590000391		7.2056581974

		Big5		721		1		11.6599998474		98.8399963379		7.2126927376

		Big5		724		1		8.3299999237		70.0100021362		7.2436976433

		Big5		727		1		4.7899999619		41.0099983215		7.2755737305

		Big5		728		1		8.3299999237		71.2200012207		7.2833132744

		Big5		730		2		3.3199999332		28.5100002289		7.3042168617

		Big5		739		2		8.3199996948		70.0600013733		7.3954329491

		Big5		741		1		1.6599999666		14.2899999619		7.4156632423

		Big5		743		1		4.1599998474		35.5		7.4302887917

		Big5		750		1		3.3299999237		28.7199993134		7.5045046806

		Big5		752		1		3.3299999237		28.9599990845		7.5285286903

		Big5		755		1		3.3299999237		29.4699993134		7.5585589409

		Big5		757		1		3.3299999237		29.2399997711		7.5765767097

		Big5		759		1		0.3199999928		2.7999999523		7.5937504768

		Big5		761		1		0.2099999934		1.8600000143		7.6190481186

		Big5		762		1		0.2899999917		2.5399999619		7.6206898689

		Big5		770		1		3.3299999237		30.0599994659		7.7027029991

		Big5		773		1		3.3299999237		29.9699993134		7.7327327728

		Big5		775		1		4.4899997711		40.5800018311		7.7550115585

		Big5		778		1		0.5		4.5		7.7800002098

		Big5		780		1		3.3299999237		30.2099990845		7.8078079224

		Big5		787		1		1.7099999189		15.6800003052		7.87134552

		Big5		789		1		3.4099998474		31.3299999237		7.8914957047

		Big5		793		7		2.3100000918		21.2499997616		7.9393930435

		Big5		794		1		3.3299999237		30.7900009155		7.9489488602

		Big5		795		2		5.819999814		52.9699993134		7.9554712772

		Big5		796		4		1.5900000632		14.6399998665		7.9689394236

		Big5		798		3		4.6699999571		42.8699998856		7.9850447973

		Big5		802		2		1.3400000334		12.4399995804		8.0298509598

		Big5		803		1		1.0099999905		9.279999733		8.039604187

		Big5		804		2		2.3299999833		21.509999752		8.04347229

		Big5		805		1		8.3299999237		77.8899993896		8.0588235855

		Big5		812		1		12.529999733		118.0699996948		8.1292896271

		Big5		815		1		3.3299999237		31.6299991608		8.1591596603

		Big5		818		1		3.3299999237		31.6399993896		8.1891899109

		Big5		828		1		1.6599999666		15.9300003052		8.2891569138

		Big5		832		1		3.3299999237		31.6599998474		8.3243246078

		Big5		833		1		8.3299999237		80.2399978638		8.3325338364

		Big5		837		1		3.3299999237		32.1800003052		8.3783788681

		Big5		838		1		3.3299999237		31.8799991608		8.3873872757

		Big5		846		1		3.3299999237		32.1500015259		8.4684686661

		Big5		847		1		8.3299999237		80.2699966431		8.4765911102

		Big5		851		3		3.7299999297		36.5900001526		8.5141057968

		Big5		854		2		3.5500000715		34.5499992371		8.5492105484

		Big5		856		1		2.2200000286		21.6000003815		8.5675678253

		Big5		858		1		2.2200000286		21.6399993896		8.5855855942

		Big5		861		1		3.3299999237		33.2200012207		8.6186189651

		Big5		863		2		12.2200000286		121.1899986267		8.6338152885

		Big5		865		2		3.3199999332		33.2399997711		8.653614521

		Big5		869		1		3.3299999237		33.4500007629		8.6936941147

		Big5		873		1		1.2100000381		12		8.7355365753

		Big5		877		1		3.4399998188		34.2999992371		8.7790708542

		Big5		878		1		3.3299999237		33.5600013733		8.7807807922

		Big5		879		1		3.3299999237		33.6199989319		8.7957963943

		Big5		881		1		0.8299999833		8.3400001526		8.8192777634

		Big5		882		1		1.4400000572		14.470000267		8.8263883591

		Big5		883		1		0.3100000024		3.1700000763		8.8387098312

		Big5		889		1		3.3299999237		33.5999984741		8.8948955536

		Big5		891		1		8.3299999237		84.1800003052		8.9123649597

		Big5		893		1		2.1400001049		21.3500003815		8.9392518997

		Big5		896		1		3.3299999237		33.8400001526		8.9639644623

		Big5		900		1		0.25		2.5299999714		9

		Big5		901		1		1.6599999666		16.8500003815		9.0120487213

		Big5		905		1		0.3400000036		3.4900000095		9.0588235855

		Big5		907		2		0.5		5.0999999046		9.0799999237

		Big5		910		1		3.3299999237		34.2999992371		9.1021022797

		Big5		913		2		6.6599998474		68.8400001526		9.1366372108

		Big5		915		1		3.3299999237		34.5		9.1591596603

		Big5		919		1		3.3299999237		34.5999984741		9.1921930313

		Big5		921		2		4.9899998903		51.9699993134		9.216542244

		Big5		924		1		3.3299999237		34.7700004578		9.2402410507

		Big5		927		2		4.9899998903		52.1899986267		9.2766923904

		Big5		929		2		1.2599999681		13.1600000858		9.2965517044

		Big5		930		1		1.6599999666		17.75		9.3072290421

		Big5		931		1		3.3299999237		35.4099998474		9.3123121262

		Big5		933		1		3.3299999237		35.1100006104		9.3393392563

		Big5		935		1		8.3299999237		89.0400009155		9.3565425873

		Big5		937		1		3.3299999237		35.2200012207		9.3723726273

		Big5		938		2		7.4899997711		79.5699996948		9.388405323

		Big5		940		1		3.3299999237		35.2200012207		9.4054059982

		Big5		941		2		6.6599998474		70.5		9.4144144058

		Big5		942		1		4.1599998474		44.5699996948		9.4278850555

		Big5		943		1		1.6599999666		17.9799995422		9.4397592545

		Big5		946		2		2.6800000072		28.5500001907		9.4673724174

		Big5		947		1		4.1599998474		44.7900009155		9.4783658981

		Big5		950		1		4.1599998474		44.9199981689		9.5096158981

		Big5		951		1		3.3299999237		35.7000007629		9.5135135651

		Big5		956		1		0.4099999964		4.4099998474		9.5609760284

		Big5		962		1		3.3299999237		36.0900001526		9.6276283264

		Big5		964		1		3.3299999237		36.1399993896		9.6426429749

		Big5		968		1		2.9100000858		31.6900005341		9.683848381

		Big5		971		1		1.6599999666		18.4599990845		9.7168674469

		Big5		992		1		1.6599999666		18.8199996948		9.9277105331

		Big5		1001		1		1.8700000048		20.7099990845		10.0160427094

		Big5		1021		1		0.8300000429		9.8800001144		10.2168664932

		Big5		1022		1		1.8700000048		20.8600006104		10.2245988846

		Big5		1029		1		3.3299999237		38.3600006104		10.2972974777

		Big5		1030		1		1.0399999619		11.9499998093		10.3076925278

		Big5		1031		1		3.3299999237		39.0600013733		10.3123121262

		Big5		1040		2		1.9799999595		23.3499994278		10.4079446793

		Big5		1053		1		1.6599999666		19.8700008392		10.5361442566

		Big5		1054		1		1.8300000429		21.7900009155		10.5409841537

		Big5		1061		1		1.7699999809		20.7800006866		10.615819931

		Big5		1063		1		3.3299999237		39.3800010681		10.636636734

		Big5		1065		1		0.75		8.9099998474		10.6533327103

		Big5		1066		1		4.3699998856		51.1100006104		10.6613273621

		Big5		1073		1		3.3299999237		40.2700004578		10.7357358932

		Big5		1077		1		0.7900000215		9.5600004196		10.772151947

		Big5		1080		1		1.6599999666		19.8700008392		10.8012056351

		Big5		1081		1		1.6599999666		20.3400001526		10.8132534027

		Big5		1082		1		1.6599999666		19.9099998474		10.8253011703

		Big5		1088		1		0.5199999809		6.3400001526		10.8846158981

		Big5		1091		1		1.6599999666		20.5200004578		10.9156637192

		Big5		1092		1		2.0799999237		25.0200004578		10.9278850555

		Big5		1103		1		1.6599999666		20.7099990845		11.0301208496

		Big5		1118		1		1.6599999666		20.8600006104		11.1807231903

		Big5		1119		1		0.4099999964		5.1599998474		11.1951227188

		Big5		1120		1		1.6599999666		21.0200004578		11.2048196793

		Big5		1122		1		8.3299999237		105.1299972534		11.2280912399

		Big5		1124		1		0.4099999964		5.1799998283		11.2439031601

		Big5		1127		1		0.7103999853		8.8900003433		11.2753381729

		Big5		1128		1		1.6599999666		21.1499996185		11.2831325531

		Big5		1131		1		1.6599999666		21.2199993134		11.3192777634

		Big5		1134		1		1.6599999666		21.2600002289		11.3433732986

		Big5		1142		1		1.6599999666		21.3999996185		11.4277105331

		Big5		1150		1		1.9500000477		24.0200004578		11.507692337

		Big5		1160		1		3.3299999237		43.5299987793		11.6096096039

		Big5		1162		1		1.6599999666		21.7399997711		11.6265058517

		Big5		1163		1		3.3299999237		43.3499984741		11.6336345673

		Big5		1177		1		1.6599999666		21.9899997711		11.7710847855

		Big5		1181		1		1.6599999666		22.0699996948		11.8192777634

		Big5		1215		1		0.1899999976		2.5299999714		12.1578941345

		Big5		1231		1		0.6700000167		8.8900003433		12.3134326935

		Big5		1245		1		0.1099999994		1.5199999809		12.4545459747

		Big5		1261		1		0.6700000167		8.9200000763		12.6119394302

		Big5		1265		1		0.6700000167		9.3699998856		12.6567153931

		Big5		1266		1		3.3299999237		46.9300003052		12.6666669846

		Big5		1267		1		0.6700000167		8.9600000381		12.6716413498

		Big5		1274		1		0.6700000167		9.0100002289		12.7462682724

		Big5		1276		1		0.6700000167		9.0100002289		12.7611942291

		Big5		1280		1		0.6700000167		9.0399999619		12.805970192

		Big5		1281		1		0.9700000286		13.6300001144		12.8144330978

		Big5		1287		1		0.3100000024		4.3400001526		12.870967865

		Big5		1288		1		3.1199998856		44.5200004578		12.8846158981

		Big5		1293		1		3.6599998474		52.8899993896		12.9398918152

		Big5		1294		1		2.2899999619		33.1199989319		12.9432315826

		Big5		1310		1		3.3299999237		48.7200012207		13.1081085205

		Big5		1358		1		0.4099999964		6.1100001335		13.5853662491

		Big5		1368		1		0.2899999917		4.3400001526		13.689655304

		Big5		1383		1		0.0599999987		0.9100000262		13.8333330154

		Big5		1389		1		0.1000000015		1.5		13.8999996185

		Big5		1415		1		0.5299999714		8.220000267		14.1509437561

		Big5		1441		1		3.3299999237		53.2200012207		14.4114122391

		Big5		1448		1		0.4099999964		6.5		14.4878053665

		Big5		1454		1		1.3200000525		20.9500007629		14.5454549789

		Big5		1458		1		3.3299999237		53.5299987793		14.5885896683

		Big5		1686		1		0.4499999881		8.220000267		16.8666667938

		Big5		1700		2		0.2599999979		4.7699999809		17

		Big5		1706		1		0.150000006		2.7899999619		17.0666656494

		Big5		1726		1		1.1599999666		21.3400001526		17.2672424316

		Big5		1743		1		0.1599999964		3.0399999619		17.4375

		Big5		1874		1		1.1599999666		22.6599998474		18.7413787842

		Big5		1940		1		0.8000000119		16.8400001526		19.3999996185

		Big5		1958		1		0.4600000083		9.7399997711		19.5869560242

		Big5		2127		1		0.2199999988		4.9800000191		21.272726059

		Big5		2160		1		0.1000000015		2.3299999237		21.6000003815

		Big5		2212		1		0.0799999982		1.9099999666		22.125

		Big5		2265		1		0.9200000167		22.1100006104		22.652173996

		Big5		2269		1		0.1000000015		2.4400000572		22.6999988556

		Big5		2296		1		0.2700000107		6.6300001144		22.9629611969

		Big5		2308		1		0.1199999973		2.8900001049		23.0833339691

		Big5		2369		1		0.1000000015		2.4900000095		23.6999988556

		Big5		2395		1		0.25		6.4099998474		23.9599990845

		Big5		2408		1		0.1199999973		3.0499999523		24.0833339691

		Big5		2499		1		1.5800000429		42.1699981689		24.9936714172

		Big5		2542		1		0.1899999976		5.0999999046		25.4210529327

		Big5		2553		1		0.6299999952		16.9799995422		25.5396823883

		Big5		2562		2		0.1599999964		4.3600001335		25.625

		Big5		2574		1		0.0799999982		2.1800000668		25.75

		Big5		2578		1		0.3199999928		8.6999998093		25.78125

		Big5		2587		2		0.1599999964		4.3800001144		25.875

		Big5		2600		1		0.2800000012		7.6500000954		26

		Big5		2609		1		0.6100000143		17.0599994659		26.0983600616

		Big5		2612		5		0.3999999911		11.0800001621		26.125

		Big5		2614		1		0.0700000003		1.9199999571		26.1428585052

		Big5		2859		1		0.1000000015		2.9800000191		28.5999984741

		Big5		2900		1		0.0500000007		1.5199999809		29

		Big5		2959		1		0.1000000015		3.0999999046		29.6000003815

		Big5		3222		1		0.1800000072		6.1399998665		32.2222213745

		Big5		3266		1		0.0599999987		2.0499999523		32.6666679382

		Big5		3295		1		0.2300000042		7.9600000381		32.9565200806

		Big5		3442		1		0.4199999869		15.220000267		34.4285736084

		Big5		3469		1		0.5199999809		18.8500003815		34.6923103333

		Big5		3499		1		0.3700000048		13.5399999619		35

		Big5		3754		1		0.5500000119		21.5499992371		37.5454521179

		Big5		4036		1		1.0399999619		44.25		40.3653869629

		Big5		4083		1		0.0599999987		2.5399999619		40.8333358765

		Big5		4357		1		0.1899999976		8.6599998474		43.5789451599

		Big5		5325		1		0.0399999991		2.2100000381		53.2500038147

		Big5		5575		1		0.0799999982		4.5700001717		55.75

		Big5		5692		1		0.1400000006		8.1700000763		56.9285697937

		Big5		5766		1		0.0299999993		1.7999999523		57.6666679382

		Big5		5925		1		0.1199999973		7.2300000191		59.2500038147

		Big5		6135		1		0.1400000006		8.7899999619		61.3571434021

		Big5		7100		1		0.0299999993		2.2100000381		71.0000076294

		Big5		7133		1		0.0299999993		2.2200000286		71.3333358765

		Big5		7550		1		0.0399999991		3.1800000668		75.5

		Big5		9090		2		0.200000003		18.5100002289		90.9000015259

		Big5		9109		2		0.200000003		18.5599994659		91.0999984741

		Big5		9180		1		0.1000000015		9.3599996567		91.8000030518

		Big5		9209		2		0.200000003		18.7600002289		92.0999984741

		Big5		9357		1		0.0700000003		6.7699999809		93.571434021

		Big5		9577		1		0.2199999988		21.2800006866		95.7727279663

		Big5		12352		1		0.0017		0.2199999988		123.5294036865

		Big5		13085		1		0.0700000003		9.3000001907		130.8571472168

		Big5		13099		1		0.0199999996		2.6700000763		131

		Big5		13724		1		0.0799999982		11.0500001907		137.25

		Big5		14099		1		0.150000006		21.9500007629		140.9999847412

		Big5		14899		1		0.0599999987		9.1700000763		149

		Big5		15025		1		0.0399999991		6.2100000381		150.2500152588

		Big5		19327		1		0.1099999994		21.7299995422		193.2727355957

		Big5		19700		1		0.0099999998		2.0099999905		197

		Big5		20899		1		0.0500000007		10.6400003433		209

		Big5		21300		1		0.0199999996		4.3800001144		213.0000152588

		Big5		29400		1		0.0099999998		3.0399999619		294

		Big5		30999		2		0.0299999993		9.5499999523		310

		Big5		31500		1		0.0099999998		3.0899999142		315.0000305176

		Big5		56470		1		0.0017		0.9599999785		564.705871582

		Big5		67650		1		0.0599999987		41.7900009155		676.5

		Big5		92100		1		0.0099999998		9.2899999619		921

		Big5		325294		1		0.0017		5.6500000954		3252.9411621094

		Big5		344117		1		0.0017		5.9800000191		3441.1762695313

		Big5		384117		1		0.0017		6.5799999237		3841.1765136719

		Big5		450588		1		0.0017		7.8299999237		4505.8823242188

		Big5		512352		1		0.0017		8.8900003433		5123.529296875

		Big5		599230		1		0.0013		7.9600000381		5992.3076171875

		Big5		670000		1		0.0013		8.8900003433		6700

		Other				177332		0		250149.895996126

		Other		-101		22		104.7199954987		0		-1.0022098693

		Other		-100		18901		82891.7244512459		26.0490997038		-0.9998142537

		Other		-99		1425		12512.1298877597		192.9007986654		-0.9843775724

		Other		-98		1573		13237.5498710275		328.2799983975		-0.9753572212

		Other		-97		1180		9206.3499171138		316.2336006993		-0.9657116157

		Other		-96		566		4291.779974103		193.8262998476		-0.9553389348

		Other		-95		353		2088.5599784851		110.7800000161		-0.9459773645

		Other		-94		378		1605.6599807143		103.1529998383		-0.9359878497

		Other		-93		208		928.5899883211		69.7700001784		-0.9253501978

		Other		-92		180		727.8499928713		61.9900001325		-0.9150495387

		Other		-91		195		482.4099963903		44.7910997327		-0.9063382607

		Other		-90		137		449.6199931502		47.4799998924		-0.8947980735

		Other		-89		132		615.4799977243		71.1000000481		-0.8862274574

		Other		-88		203		624.8999957442		77.8800001219		-0.8759517899

		Other		-87		168		701.0599979162		94.6499993131		-0.8654127813

		Other		-86		185		771.1899928451		112.4500009939		-0.8546682155

		Other		-85		167		587.2299938798		91.8500000238		-0.8457031418

		Other		-84		126		429.0499959588		71.0199999064		-0.8354475829

		Other		-83		69		210.9099973142		36.7399997711		-0.8264731324

		Other		-82		155		360.7899966985		66.8299994767		-0.8153824837

		Other		-81		109		337.0899975002		65.9199993685		-0.8047228767

		Other		-80		119		531.3199983984		110.720000064		-0.7938852641

		Other		-79		93		480.5000033975		103.5200006664		-0.7846762749

		Other		-78		80		311.4099987149		70.5600000732		-0.774622041

		Other		-77		78		388.2899987698		92.919999823		-0.7653211523

		Other		-76		126		702.0700110793		173.6299997233		-0.7565049874

		Other		-75		106		305.5100038052		77.6399983186		-0.7457839633

		Other		-74		106		336.4099960327		89.999999851		-0.7338506579

		Other		-73		247		853.4000007957		234.5299986806		-0.7267933543

		Other		-72		335		1341.1600112915		389.970007509		-0.7124927421

		Other		-71		689		2576.1200408936		773.0700117946		-0.7056833955

		Other		-70		828		2811.8000390679		876.7299920954		-0.6954576678

		Other		-69		698		2298.4700328708		734.6099883318		-0.685540844

		Other		-68		218		833.6400031447		273.2899960876		-0.6742661923

		Other		-67		185		767.8500011861		259.8299996816		-0.6645510077

		Other		-66		118		491.280000329		169.5900008827		-0.6537213725

		Other		-65		68		246.6999995708		87.7899995148		-0.6457236567

		Other		-64		141		513.3999970555		188.1300004162		-0.6358836281

		Other		-63		134		868.4600105882		331.480001837		-0.6251885188

		Other		-62		100		498.240000248		193.2299984656		-0.615187943

		Other		-61		177		523.2699961662		207.4600003138		-0.6050819943

		Other		-60		167		669.4128977954		273.750002712		-0.5957353012

		Other		-59		137		613.4687946439		255.4900014102		-0.585399907

		Other		-58		199		1054.0782988369		447.9400008172		-0.5762075039

		Other		-57		196		659.1999971271		288.2099989429		-0.5646260131

		Other		-56		128		581.5499992073		259.2700007241		-0.55451165

		Other		-55		153		820.5800025016		374.7900001034		-0.5442208017

		Other		-54		160		399.6800000072		186.5799992085		-0.5344881218

		Other		-53		121		562.8800069094		270.819999218		-0.5259420872

		Other		-52		204		530.7899980545		259.1900010556		-0.515801932

		Other		-51		259		3447.6399939656		1744.4399993122		-0.5063470416

		Other		-50		257		2963.4599945396		1525.2699988931		-0.4963178237

		Other		-49		239		1329.9500209093		697.6100031435		-0.4845923124

		Other		-48		107		855.7700077295		456.3899998367		-0.4750925704

		Other		-47		181		884.7500106394		479.0900010616		-0.4656658071

		Other		-46		212		1378.9999956191		766.120000802		-0.4549807365

		Other		-45		214		1573.5299945772		896.289998509		-0.4460867575

		Other		-44		488		1326.4775084853		764.830006972		-0.4368127301

		Other		-43		213		2165.122518599		1253.1000075042		-0.4242022397

		Other		-42		530		2278.910051167		1351.9800179452		-0.4147514793

		Other		-41		362		2652.6900445819		1586.7200034857		-0.4057305917

		Other		-40		321		1177.6500033885		717.1000074148		-0.3950284954

		Other		-39		195		908.9499975443		565.5899989009		-0.3861463849

		Other		-38		411		1585.9399882257		1017.5899899676		-0.3750013002

		Other		-37		663		2781.1799835116		1817.7499912977		-0.3643361937

		Other		-36		605		5654.6500376463		3770.7500095964		-0.3537863676

		Other		-35		1250		6539.9699578881		4427.4499779046		-0.3446040272

		Other		-34		794		4897.409981221		3348.9599896371		-0.3342527519

		Other		-33		590		3699.1699912548		2545.9700065851		-0.3261610322

		Other		-32		1719		3475.6199686825		2438.3000098392		-0.3158359347

		Other		-31		649		3429.9399764538		2441.0899915844		-0.3035258605

		Other		-30		832		2051.7799827307		1464.9100007415		-0.2937152965

		Other		-29		356		1407.4799821377		1032.4799986482		-0.2857370525

		Other		-28		631		2343.5499794781		1738.760007374		-0.2751627185

		Other		-27		268		1050.2999896705		783.0399994552		-0.2657594313

		Other		-26		511		2045.9199889898		1550.8599993586		-0.2559517301

		Other		-25		775		2397.6382797658		1842.2099912986		-0.2441568699

		Other		-24		290		1678.5920849443		1305.1699962914		-0.2347227092

		Other		-23		433		1815.7899842262		1427.2599906996		-0.2254079836

		Other		-22		613		2019.1278883219		1603.39000687		-0.2142501894

		Other		-21		474		1471.8916846514		1186.1200011671		-0.2049230502

		Other		-20		459		1989.1478911191		1622.8700045943		-0.1952877722

		Other		-19		1116		3563.6203795224		2954.8899902403		-0.1839189273

		Other		-18		539		2722.4799737632		2286.5699987859		-0.1746203933

		Other		-17		662		4137.0099613592		3506.3199843988		-0.1653731595

		Other		-16		1395		4633.9499931633		3965.2500078678		-0.1535368389

		Other		-15		781		4335.2299836427		3760.410008356		-0.1451569869

		Other		-14		959		5090.3799452484		4484.1499912143		-0.1357135696

		Other		-13		1717		6317.4032564908		5620.7000021637		-0.1238699395

		Other		-12		1041		5618.8982631266		5047.9099974185		-0.1139701946

		Other		-11		1349		7061.9516978413		6406.1500009447		-0.1046652151

		Other		-10		1971		10494.1582555473		9640.5599637479		-0.0940124436

		Other		-9		1758		8469.8571161479		7907.5400024131		-0.0850191428

		Other		-8		2338		11281.2826810926		10618.2100370377		-0.0753862879

		Other		-7		4028		17728.6040633023		16917.4800165668		-0.0641806701

		Other		-6		3286		20947.0533202291		20206.4099958241		-0.0545415907

		Other		-5		4300		27236.5098457932		26600.8000304252		-0.0445706899

		Other		-4		8164		77600.6097827554		76694.4101009965		-0.0343520538

		Other		-3		18345		401372.007350817		401450.269376859		-0.0242387761

		Other		-2		30420		565822.537844494		568146.08705502		-0.0148938709

		Other		-1		50526		574231.794121161		580153.719998099		-0.0047109995

		Other		0		74765		666351.871874083		682200.279891875		0.0043877442

		Other		1		51015		375940.522779062		387931.700120457		0.014970053

		Other		2		36473		230230.86488362		239388.250423361		0.0244130489

		Other		3		28658		146215.926199302		153277.220134802		0.0341448772

		Other		4		15836		84861.7588356286		89785.7400526181		0.0445123817

		Other		5		11253		57268.4910330772		61188.229956463		0.0540232873

		Other		6		11407		42424.2463019267		45779.890030764		0.0636513658

		Other		7		6161		27345.0182811022		29711.8299975917		0.0753666386

		Other		8		4092		17316.6603870317		19000.3500443995		0.0848556394

		Other		9		5418		12910.4487350583		14314.8099857792		0.0930269214

		Other		10		3138		10263.6507959068		11489.0600198358		0.1044396814

		Other		11		2397		8900.0538384467		10038.709991008		0.115742454

		Other		12		6123		9624.2779457867		10964.0999977291		0.1228051591

		Other		13		1768		5642.8225601427		6502.7800192051		0.1353575045

		Other		14		1912		5121.993653547		5949.9299928062		0.1441146008

		Other		15		4343		5130.7574857175		6005.5199881196		0.1551390959

		Other		16		1072		3187.786978703		3764.4599959515		0.1658050038

		Other		17		821		3508.4682888389		4171.2200019807		0.1736210847

		Other		18		3847		4762.5133083761		5704.3599888086		0.1836910481

		Other		19		847		2319.80208534		2808.930002287		0.1953116853

		Other		20		1605		2386.1116926074		2902.1500068605		0.202618808

		Other		21		2005		2357.2417098582		2899.789989084		0.2140893743

		Other		22		842		2399.7416952252		2976.5099886358		0.2254745915

		Other		23		986		2250.064891845		2828.2799963057		0.2370263301

		Other		24		1510		2478.0345959514		3134.0000112802		0.2429809526

		Other		25		1836		2207.2016777992		2825.0699952692		0.2530147559

		Other		26		458		1522.9733873606		1962.0500025302		0.2649569036

		Other		27		1865		2234.2400026023		2889.0299838483		0.2734705374

		Other		28		855		1673.6099915802		2179.6999975443		0.2827047667

		Other		29		401		1255.4878902137		1643.2199989557		0.2946409922

		Other		30		1230		1368.1733055264		1799.0300103128		0.3029707227

		Other		31		1582		1367.7803872377		1825.279997766		0.3143182782

		Other		32		362		990.0616924465		1322.7899978906		0.3254544814

		Other		33		1649		1351.5600110535		1826.5599881783		0.3335978551

		Other		34		492		1086.1611933857		1474.7999970913		0.3449386788

		Other		35		282		777.6699916422		1062.3999961168		0.35453904

		Other		36		1300		1353.9230061472		1857.199990809		0.3635553517

		Other		37		1171		1155.2886922955		1602.3300032914		0.3755036932

		Other		38		246		965.2300153375		1340.5399955511		0.3853413919

		Other		39		973		1020.9300102145		1438.8700067401		0.3945156248

		Other		40		321		716.1204043627		1012.3899980784		0.405639188

		Other		41		243		588.8616957292		838.1399951279		0.4156328139

		Other		42		1515		899.5692149103		1291.3099898398		0.4241415752

		Other		43		1379		572.1999900937		833.4799978137		0.4371224625

		Other		44		193		459.0482953638		664.6099989414		0.4458189516

		Other		45		522		726.1579014957		1063.0900022388		0.4550163762

		Other		46		231		648.2516990453		959.0200017691		0.4651535417

		Other		47		202		1047.8282978684		1557.1400074959		0.4754947785

		Other		48		545		1306.3783014119		1966.669996053		0.484442374

		Other		49		170		531.220098272		805.9499988556		0.4939059147

		Other		50		913		1052.3994930685		1615.8800023906		0.5013886958

		Other		51		549		1012.3999973536		1558.5299849212		0.5155149374

		Other		52		154		539.3899962753		828.9800001085		0.5257962857

		Other		53		171		569.5699944198		882.1499957591		0.5338316424

		Other		54		531		661.5116960853		1027.8099961281		0.5447652818

		Other		55		185		720.3999941349		1127.5099925399		0.5549064507

		Other		56		746		478.1704922765		761.7499974072		0.5630688453

		Other		57		506		630.9883026183		1000.0799920559		0.5759182486

		Other		58		158		292.4212960377		465.1999997944		0.5863423472

		Other		59		146		388.8801972289		623.3099953122		0.594722104

		Other		60		542		684.450002104		1100.1899866462		0.6050448417

		Other		61		144		524.5816960335		844.8600019515		0.6136031002

		Other		62		1211		472.6412949413		772.3099992275		0.6248270011

		Other		63		513		423.7400036454		698.1700109243		0.6363402882

		Other		64		79		215.4900006056		355.190005064		0.6463462982

		Other		65		97		202.9782967865		336.0899998844		0.6546261759

		Other		66		723		514.2567099184		864.4700067639		0.6663081266

		Other		67		63		173.2000005245		289.4800008535		0.6750580593

		Other		68		549		297.4995960891		505.4000000656		0.6866900856

		Other		69		594		364.9600058645		623.6699980497		0.6968288465

		Other		70		80		192.3399985433		326.4599969387		0.7047088824

		Other		71		71		244.3970983326		418.9500006139		0.7144617657

		Other		72		459		266.0100051165		461.5899949074		0.7266920013

		Other		73		53		114.4233992696		198.6099984646		0.7343000905

		Other		74		56		150.1599984169		260.0599981546		0.7435010618

		Other		75		1271		444.120001018		789.3099915385		0.7531558609

		Other		76		51		153.8732986301		270.3799960315		0.7661947631

		Other		77		61		114.5782985538		202.1799989641		0.7755734715

		Other		78		351		248.9283032119		443.0699958205		0.7872870923

		Other		79		55		116.9099987373		209.6699979305		0.7958329548

		Other		80		50		139.4299970865		255.1000000834		0.8040199721

		Other		81		446		178.9632988721		326.9400008619		0.8139491524

		Other		82		35		78.6899987757		142.3399990797		0.8268584984

		Other		83		52		87.0399989784		160.0100016892		0.8350104025

		Other		84		145		121.2200003862		224.3600006104		0.8476923219

		Other		85		22		48.1399992108		90.1800003052		0.8546466448

		Other		86		42		164.0999979377		307.3500053883		0.8634439593

		Other		87		293		148.4399978518		284.1200010777		0.8754065558

		Other		88		39		138.4999973178		261.5899990797		0.8851326933

		Other		89		56		217.3665947318		415.9199966192		0.8952799237

		Other		90		48		95.8399985507		181.6199992299		0.9052221465

		Other		91		27		79.8399990126		153.6499980539		0.9158666597

		Other		92		59		571.2399951816		1124.1500059962		0.9256752588

		Other		93		722		743.4799953699		1475.3600126505		0.9373717003

		Other		94		34		406.1399988234		810.3400005698		0.9456450466

		Other		95		40		437.1099986285		875.4899968505		0.9553317755

		Other		96		66		361.1599977612		724.3100003004		0.9653891199

		Other		97		32		344.9699990749		698.9099994898		0.975702269

		Other		98		61		614.369997859		1247.2500053644		0.9849834129

		Other		99		27		263.2499989271		536.449999094		0.9940142742

		Other		100		361		206.6999975406		419.750001587		1.000456562

		Other		101		53		281.5182988048		576.0799942315		1.0152716749

		Other		102		48		185.6899989247		377.8500014544		1.0259683083

		Other		103		83		365.7499987781		753.5400000215		1.0346425413

		Other		104		21		105.4699991047		219.3500040174		1.0446537109

		Other		105		12		54.4999997616		113.6800012588		1.0544249515

		Other		106		263		95.8399983346		201.5200016201		1.0625834442

		Other		107		14		30.778299504		64.7399997804		1.0736911808

		Other		108		14		24.6699998155		50.7000006139		1.083261592

		Other		109		24		28.689999789		60.3200001121		1.0927672038

		Other		110		17		38.5599994659		81.2199993134		1.1060785756

		Other		111		8		16.1399995685		34.1199995279		1.1146187633

		Other		112		275		66.7999987304		144.4399995208		1.1249300692

		Other		113		13		28.7699998021		60.6400003433		1.1360549377

		Other		114		11		27.6499997973		58.970000267		1.1452299465

		Other		115		14		24.9099996835		53.1300005317		1.1543686645

		Other		116		12		26.9199995995		58.1199998856		1.1646477381

		Other		117		12		26.8899997473		58.0100004673		1.1750409504

		Other		118		274		115.4217003286		256.0600000918		1.1873391819

		Other		119		22		95.2100008875		211.0000010431		1.1954842156

		Other		120		26		211.4498065319		468.0199989006		1.2042223307

		Other		121		16		38.0299993455		84.9100002646		1.2150451615

		Other		122		19		42.1299993992		92.9499994516		1.2241554072

		Other		123		9		35.2399998009		79.4100012183		1.2346909311

		Other		124		13		25.9599995613		57.5200004578		1.2434707788

		Other		125		234		62.2099990249		141.8500005007		1.25028201

		Other		126		15		31.0699997544		69.5900009871		1.2641376336

		Other		127		10		19.2699997723		43.2800003886		1.2758527398

		Other		128		14		42.4299991429		95.8999999762		1.2851652333

		Other		129		10		22.9799994826		52.1900001764		1.2952440619

		Other		130		17		49.3899996579		113.8999994993		1.3041614925

		Other		131		187		36.939999342		87.4599983692		1.3125561495

		Other		132		10		16.8999997973		39.4199998379		1.3237626672

		Other		133		14		26.4600001182		60.9599999562		1.3352629968

		Other		134		10		27.1499998569		64.0500006676		1.3469686508

		Other		135		12		29.8299998045		69.5000007153		1.3543843528

		Other		136		21		40.9299998879		95.9100000858		1.3639783859

		Other		137		248		107.6499991417		255.9099979699		1.3749901633

		Other		138		12		31.2099997401		73.2299997211		1.3838545183

		Other		139		10		23.1499997377		55.2099990845		1.394580555

		Other		140		6		14.4199998975		34.4899997711		1.4042445024

		Other		141		9		15.5499998257		37.6800001264		1.4184786081

		Other		142		5		6.649999924		15.9600002617		1.4271623611

		Other		143		210		42.1999992132		105.2000004053		1.4374713932

		Other		144		8		10.9399999082		26.6000003368		1.4421607852

		Other		145		11		17.6399998516		42.880000025		1.4540857077

		Other		146		13		55.8700014353		139.0600008368		1.4633331757

		Other		147		7		79.0000035167		198.0600068569		1.4744249582

		Other		148		13		52.2000015974		130.5799962878		1.4831723892

		Other		149		3		67.8200036287		172.2699964046		1.4966264168

		Other		150		220		44.3399992138		113.6799986921		1.500072728

		Other		151		16		63.8199996948		164.9000003338		1.5189222768

		Other		152		6		27.5899999142		70.7299996614		1.5265947183

		Other		153		20		49.469999671		126.6800011396		1.5361714005

		Other		154		5		9.4899999797		23.9600006342		1.5439245701

		Other		155		21		35.9899998903		93.4700006247		1.558305905

		Other		156		173		45.0699993074		117.6499992311		1.5625368433

		Other		157		3		4.4899999797		11.560000062		1.5753569206

		Other		158		18		14.4600000232		37.7000003159		1.581444482

		Other		159		2		5		12.8200001717		1.5920000076

		Other		160		23		25.6999999881		67.0100005865		1.6017463104

		Other		161		6		7.7899999321		20.240000248		1.6166135867

		Other		162		147		38.3399994075		102.569999814		1.6248409043

		Other		163		16		33.4899998903		90.2299995422		1.6383429915

		Other		164		7		13.909999907		36.8000006676		1.6458892311

		Other		165		8		11.1599999666		29.7300007343		1.6568252742

		Other		166		11		24.4899999797		64.729999423		1.6633924788

		Other		167		11		19.3199999332		51.3299996853		1.6763723764

		Other		168		154		37.8399994373		103.3899984956		1.6874075625

		Other		169		6		13.2600001097		35.2499995232		1.6944098075

		Other		170		4		6.5999999642		17.5900001526		1.7051114142

		Other		171		8		19.1599999666		51.3599996567		1.7136085033

		Other		172		1		2.5		6.6599998474		1.7200000286

		Other		173		2		3.0699999928		8.3300001621		1.7384210825

		Other		174		6		12.609999828		34.2600000799		1.7475800912

		Other		175		203		100.3999990821		278.889996469		1.7504402517

		Other		176		3		18.5		50.7500009537		1.7651110888

		Other		177		5		19.6600000858		54.6099982262		1.7770970106

		Other		178		4		17.1299999654		47.3500012159		1.7850677967

		Other		179		2		1.6599999666		4.6799998283		1.7951807976

		Other		180		7		4.8099999204		13.5599994957		1.8056737355

		Other		181		232		45.5799989998		130.8299997747		1.8127262608

		Other		182		2		3.8299999237		10.740000248		1.8244144917

		Other		183		4		5.049999889		14.5400001258		1.8319539428

		Other		184		7		5.629999876		16.1200004816		1.8437707424

		Other		185		3		5.1999999285		15.080000639		1.8546502193

		Other		186		1		0.8299999833		2.4000000954		1.8674699068

		Other		187		218		36.3899992108		107.3699994981		1.875058943

		Other		188		2		1.3400000036		3.9900000393		1.8884443641

		Other		189		6		24.6199998856		72.5200012922		1.8929131031

		Other		190		8		9.0899999142		26.580000639		1.9041708112

		Other		191		2		0.9499999806		2.7900000811		1.9161647558

		Other		192		4		5.9599999189		17.5600001812		1.9277999401

		Other		193		219		37.5399991572		112.739998877		1.9375353377

		Other		194		1		0.5899999738		1.7300000191		1.9491525888

		Other		195		6		4.8499999046		14.3200000525		1.9526034594

		Other		196		7		5.2799999118		15.7200001478		1.9639330762

		Other		197		3		2.4899999499		7.4400000572		1.9759036303

		Other		198		4		6.4099998474		19.5199997425		1.9837281108

		Other		200		282		48.1399990078		147.7500014286		2.000063323

		Other		201		1		0.8299999833		2.5		2.0120482445

		Other		202		2		2.8100000024		8.4800000191		2.0246744156

		Other		203		1		0.8299999833		2.5199999809		2.0361447334

		Other		205		1		29.1599998474		89.3300018311		2.0589849949

		Other		206		271		75.9099988341		235.5700005293		2.0625154127

		Other		207		4		34.9399996996		107.5900033712		2.0745928288

		Other		208		2		58.3199996948		180.1299972534		2.0841906071

		Other		209		1		29.1599998474		90.2699966431		2.0912208557

		Other		210		2		1.3999999762		4.3599998951		2.1068484783

		Other		211		3		4.8199998736		14.9299998283		2.115260601

		Other		212		164		30.0799994767		95.9199981689		2.124917356

		Other		213		2		1.1799999475		3.6800000668		2.1355934143

		Other		215		1		3.3299999237		10.3199996948		2.1531531811

		Other		216		2		1.1799999475		3.7000000477		2.1694915295

		Other		217		1		1.2300000191		3.9600000381		2.1707317829

		Other		218		96		17.8699995875		57.8999987841		2.1874860997

		Other		219		1		0.5600000024		1.7899999619		2.1964285374

		Other		220		2		3.9199998975		12.7899998426		2.203797102

		Other		221		5		8.3599998951		27.3600003719		2.213237524

		Other		222		2		1.1599999666		3.7200000286		2.2242046595

		Other		223		2		6.6599998474		21.4200000763		2.2342342138

		Other		224		1		0.3300000131		1.1000000238		2.2424242496

		Other		225		65		17.2399997935		56.7799990177		2.2502902948

		Other		226		2		1.2300000191		4.0000001192		2.2682569027

		Other		227		3		6.3699999452		20.8600001335		2.2770170371

		Other		228		1		0.5600000024		1.8300000429		2.2857141495

		Other		229		3		5.650000155		18.9000002146		2.2950907548

		Other		230		2		2.6799998879		8.7399998903		2.3050876856

		Other		231		50		9.9599997103		33.4099998474		2.3125707579

		Other		232		1		2.0999999046		6.9600000381		2.328571558

		Other		233		2		2.9299998879		9.7400000095		2.3377223015

		Other		236		2		2.5799999237		8.6200000048		2.3678839207

		Other		237		40		6.6199998856		23.0600000322		2.3748842537

		Other		239		2		0.1500000022		0.4900000095		2.3999998569

		Other		240		14		2.4895999841		8.5499997921		2.4086128133

		Other		241		1		0.4600000083		1.5599999428		2.413043499

		Other		242		3		4.1099999249		14.469999671		2.425298055

		Other		243		27		4.3199999034		15.0700001121		2.4375

		Other		245		2		5.3699998856		18.7600002289		2.4531664848

		Other		248		1		0.5		1.7400000095		2.4800000191

		Other		249		2		0.200000003		0.6999999881		2.5

		Other		250		38		8.1199998371		28.9999996275		2.5000000063

		Other		252		1		3.3299999237		11.8299999237		2.5255255699

		Other		254		3		5.6099999845		20.0100004673		2.5459051927

		Other		255		1		2.1199998856		7.7699999809		2.551886797

		Other		256		19		5.4199998975		19.9099997878		2.5627331106

		Other		258		3		7.2899999619		25.9500007629		2.5847666264

		Other		259		3		4.0600000396		14.5300002992		2.5973062515

		Other		260		2		5.3099999428		19.2300000191		2.6063336134

		Other		261		2		3.0199999809		10.9499998093		2.615773201

		Other		262		29		5.6399998665		20.7000000477		2.6251486334

		Other		264		1		2.5		8.9600000381		2.6440000534

		Other		266		2		0.6299999878		2.3100000024		2.6666667461

		Other		267		2		4.3700000048		15.8699998856		2.6768983603

		Other		268		38		6.0799998641		23.0399996042		2.6875

		Other		269		5		4.2000000477		15.8400002718		2.6964394093

		Other		270		1		0.3400000036		1.25		2.7058823109

		Other		271		1		1.6599999666		6.3499999046		2.7108433247

		Other		273		1		1.0399999619		3.9500000477		2.7307691574

		Other		274		2		4.7899999619		17.8800001144		2.7451790571

		Other		275		14		4.409999907		16.819999814		2.7511569091

		Other		277		1		1.1200000048		4.3200001717		2.7767856121

		Other		278		4		2.7600000352		10.4899998903		2.7847786546

		Other		279		3		3.3700000048		13.1000003815		2.7954577605

		Other		280		1		1.0399999619		4.0799999237		2.8076925278

		Other		281		16		10.2399998009		39.1999994516		2.8136151284

		Other		283		3		3.3799999319		12.7900004238		2.836010774

		Other		284		4		6.3599998653		24.8800003529		2.8477208018

		Other		285		3		2.149999924		8.5099999905		2.856227239

		Other		286		5		8.5199998617		32.5399999619		2.8635445118

		Other		287		18		10.0599998832		38.7099998593		2.8764516777

		Other		288		3		5.4099998474		21.4899997711		2.8850389322

		Other		289		3		3.0799999237		12.0799996853		2.8935114543

		Other		290		1		1.0399999619		4.1900000572		2.9038462639

		Other		291		4		3.2399998829		12.9200000465		2.9142629504

		Other		292		4		6.6099998951		26.5		2.9232268929

		Other		293		14		17.4599996805		70.0299995542		2.9368226698

		Other		294		6		9.1199998856		36.7600007057		2.9431538582

		Other		295		10		12.7999998331		51.6699991226		2.9530237913

		Other		296		4		8.0299998224		32.3099995852		2.9662924409

		Other		297		8		6.9999997616		28.2899999619		2.9717865586

		Other		298		7		7.319999814		29.7000002861		2.980870894

		Other		299		3		5.4099998474		21.8000001907		2.9905867577

		Other		300		15		7.3899997864		30.4100000635		3.0016173681

		Other		301		5		5.7799999118		23.4100000858		3.0162411213

		Other		302		2		2.1599999666		8.8800001144		3.0278160572

		Other		303		3		3.2399998903		13.2600002289		3.0371353626

		Other		304		9		11.7299996614		48.6900010109		3.0470249918

		Other		305		4		4.2799998522		17.6500005722		3.0562004447

		Other		306		14		4.8799998462		20.3300004601		3.0635304621

		Other		307		10		12.8899997473		53.8499999046		3.075851512

		Other		308		4		3.709999904		15.3799998164		3.0863942504

		Other		309		7		7.7199998796		32.0599995852		3.0953347683

		Other		310		3		3.1199998856		12.970000267		3.1057693958

		Other		311		5		3.5016998808		14.5771996947		3.1151740551

		Other		312		15		5.0399998426		21.3499996662		3.125

		Other		313		3		1.4799999595		6.1600000858		3.1357809703

		Other		314		3		4.3600000143		18.2999997139		3.1462635994

		Other		316		2		0.1199999973		0.5		3.1666667461

		Other		317		1		1.0399999619		4.3899998665		3.1730771065

		Other		318		12		1.9799999595		8.6500000358		3.1870265206

		Other		319		1		3.3299999237		13.7600002289		3.1921923161

		Other		320		1		0.349999994		1.4700000286		3.2000000477

		Other		321		2		1.4500000179		6.1500002146		3.213203311

		Other		324		10		2.7399999648		11.7800001353		3.2484444857

		Other		327		2		2.7199999988		11.4699997306		3.2763637304

		Other		328		1		2.5		10.529999733		3.2839999199

		Other		330		2		0.200000003		0.8399999738		3.3000001907

		Other		331		4		0.6399999857		2.8800000548		3.3125

		Other		336		1		0.3300000131		1.4800000191		3.3636362553

		Other		337		4		0.6399999857		2.8600000143		3.3750002384

		Other		343		7		1.119999975		5.1200000048		3.4375002384

		Other		344		1		3.3299999237		14.5900001526		3.4414415359

		Other		345		1		0.5299999714		2.3399999142		3.4528305531

		Other		348		1		3.3299999237		14.6999998093		3.4804806709

		Other		349		1		0.1000000015		0.4499999881		3.5

		Other		350		1		0.0399999991		0.1800000072		3.5

		Other		352		1		1.5700000525		7.0900001526		3.5222930908

		Other		353		2		1.319999963		6.0300002098		3.5370880365

		Other		354		4		5.7500001192		26.1799998283		3.5430701375

		Other		355		1		2.5		11.2100000381		3.5599999428

		Other		356		7		1.369999975		6.4499999285		3.5622822557

		Other		357		3		2.7399999499		12.8600001335		3.5745433172

		Other		359		1		1.5700000525		7.2100000381		3.5987260342

		Other		361		9		1.6163999513		7.4799998403		3.6150019699

		Other		362		7		1.0399999768		4.9099999666		3.625

		Other		363		1		0.3300000131		1.5700000525		3.6363637447

		Other		364		2		3.0999999046		14.3999996185		3.6451613903

		Other		367		1		0.4300000072		2.0699999332		3.6744186878

		Other		368		8		1.3099999726		6.2899998426		3.6870888174

		Other		369		2		2.8300000131		13.1400002241		3.6964848042

		Other		370		1		2.5		11.5600004196		3.7000000477

		Other		373		1		3.3299999237		15.5399999619		3.7327330112

		Other		374		1		2.5		12.1300001144		3.740000248

		Other		375		7		4.6399998963		21.8299998045		3.7526853085

		Other		376		1		0.4300000072		2.0999999046		3.7674417496

		Other		377		1		3.3299999237		15.6700000763		3.7747747898

		Other		379		2		1.2599999905		6.0499999523		3.7929391861

		Other		381		3		0.4799999893		2.4000000358		3.8125002384

		Other		383		2		6.6599998474		31.7100000381		3.8333334923

		Other		384		6		4.4799999297		21.4400001764		3.8442254066

		Other		385		1		0.8299999833		3.9700000286		3.8554217815

		Other		387		7		4.3799999207		21.2299999595		3.8753802436

		Other		389		1		3.3299999237		16.0599994659		3.8918919563

		Other		393		6		1.1299999952		5.7399999499		3.9378155867

		Other		397		1		1.4400000572		7.1599998474		3.9791665077

		Other		398		1		1.0399999619		5.3400001526		3.9807691574

		Other		400		2		0.3199999928		1.6299999952		4

		Other		402		1		1.3999999762		6.9099998474		4.0214285851

		Other		403		1		0.25		1.2599999905		4.0399999619

		Other		406		4		0.6399999857		3.3299999237		4.0625

		Other		407		1		3.3299999237		16.6499996185		4.072072506

		Other		410		1		1.3700000048		6.9600000381		4.1021895409

		Other		412		6		0.8799999803		4.6099999249		4.1250004768

		Other		415		1		0.3300000131		1.7400000095		4.151515007

		Other		416		1		3.3299999237		16.9599990845		4.1681680679

		Other		417		1		3.3299999237		17		4.1771774292

		Other		418		8		2.4500000179		13.0300000906		4.1875587106

		Other		423		1		1.3500000238		7.0300002098		4.237036705

		Other		424		1		0.3300000131		1.7799999714		4.2424240112

		Other		425		8		1.3099999875		7.019999966		4.2507267594

		Other		426		1		3.3299999237		17.2800006866		4.2672672272

		Other		427		1		0.3300000131		1.7899999619		4.2727270126

		Other		430		1		0.3300000131		1.7999999523		4.303030014

		Other		431		6		1.0199999809		5.5199999809		4.3134469986

		Other		433		1		0.0900000036		0.4799999893		4.3333330154

		Other		434		2		2.9300000072		15.5099995136		4.3484187126

		Other		436		1		0.3300000131		1.8099999428		4.3636364937

		Other		437		6		1.2299999893		6.7499998808		4.374515454

		Other		439		1		3.3299999237		17.7000007629		4.3933935165

		Other		440		1		2.5		13.3000001907		4.4079999924

		Other		442		1		0.0700000003		0.3700000048		4.4285712242

		Other		443		13		2.0799999535		11.569999814		4.4375

		Other		445		1		0.4199999869		2.25		4.452381134

		Other		446		1		2.5		13.4399995804		4.4639997482

		Other		450		11		1.4399999678		8.1099999845		4.5000004768

		Other		451		3		3.9900001287		22.279999733		4.5162906647

		Other		452		1		1.3300000429		7.4499998093		4.5263156891

		Other		453		2		0.9599999785		5.2699999213		4.534291029

		Other		455		1		2.5		13.6800003052		4.5599999428

		Other		456		13		3.25		18.3899998069		4.5626084254

		Other		458		1		0.2899999917		1.6299999952		4.5862073898

		Other		460		1		0.0500000007		0.2800000012		4.5999999046

		Other		462		9		1.3599999696		7.7900001407		4.625

		Other		465		1		0.349999994		1.9700000286		4.657143116

		Other		468		6		0.9599999785		5.5700000525		4.6875

		Other		475		8		1.1999999732		7.0199999809		4.75

		Other		481		30		3.6508999756		21.1500003748		4.8178125858

		Other		483		1		2.5		14.3599996567		4.8359999657

		Other		484		1		0.3300000131		1.9800000191		4.8484845161

		Other		485		1		3.3299999237		19.2199993134		4.8588590622

		Other		486		1		4.1599998474		24.2299995422		4.8653845787

		Other		487		7		1.2099999934		7.2800000608		4.8755410739

		Other		488		2		6.6599998474		38.7899990082		4.8875095844

		Other		491		1		3.3299999237		19.4099998474		4.9159164429

		Other		493		5		0.9699999988		5.9000000358		4.9378790855

		Other		496		1		0.3300000131		2.0199999809		4.9696965218

		Other		499		2		0.6600000262		4.0599999428		4.9999995232

		Other		500		6		0.5499999877		3.3800000511		5.0000001589

		Other		501		1		1.1599999666		6.9299998283		5.017241478

		Other		504		1		2.5		14.8699998856		5.0439996719

		Other		506		6		1.1299999952		7.0199999809		5.0621842543

		Other		507		2		0.9599999785		5.7400000095		5.0746064186

		Other		509		1		3.3299999237		20		5.0960960388

		Other		512		3		0.650000006		4.0699999332		5.1237373352

		Other		513		1		0.2899999917		1.7999999523		5.1379313469

		Other		518		2		0.3199999928		2.0299999714		5.1875

		Other		519		1		4.1599998474		25.5900001526		5.1947116852

		Other		522		1		1.1299999952		6.9800000191		5.22123909

		Other		524		8		2.8400000483		17.9399995804		5.2450959086

		Other		527		2		0.6600000262		4.2800002098		5.2727270126

		Other		530		2		0.6600000262		4.2800002098		5.303030014

		Other		531		2		0.3199999928		2.0599999428		5.3125004768

		Other		533		5		5.2399998903		33.2000005841		5.3344548225

		Other		536		3		0.9900000393		6.5000002384		5.3636360168

		Other		537		2		0.3199999928		2.0899999142		5.375

		Other		539		5		1.6500000656		10.840000391		5.3939390182

		Other		542		2		0.6600000262		4.3400001526		5.4242420197

		Other		545		5		1.6500000656		10.9800002575		5.4545450211

		Other		548		1		0.3300000131		2.2100000381		5.4848480225

		Other		550		3		0.2399999946		1.5799999237		5.5

		Other		551		5		1.6500000656		11.120000124		5.5151515007

		Other		552		1		1.1000000238		7.1799998283		5.5272727013

		Other		554		4		3.6300000846		23.8399994373		5.5454545021

		Other		556		4		4.6399998367		30.3500007391		5.563100934

		Other		557		3		0.9900000393		6.75		5.5757575035

		Other		558		2		5.2599998713		34.4399991035		5.5841784477

		Other		560		4		1.3200000525		8.9900000095		5.6060605049

		Other		562		3		0.4799999893		3.2700001001		5.625

		Other		563		3		1.6200000048		10.9400000572		5.6360478401

		Other		566		4		1.3200000525		9.0799999237		5.6666665077

		Other		568		3		0.4799999893		3.3000000715		5.6875004768

		Other		569		3		0.9900000393		6.8399999142		5.6969695091

		Other		572		4		1.3200000525		9.1799998283		5.7272725105

		Other		575		4		0.9800000191		6.8199999332		5.753787756

		Other		578		2		0.6600000262		4.6399998665		5.7878785133

		Other		581		5		1.1400000155		8.0199998617		5.8147726059

		Other		587		9		4.6099998951		31.8200001717		5.8755422168

		Other		592		3		4.4999998808		30.890000701		5.9236930211

		Other		593		7		1.4600000083		10.469999671		5.9380411421

		Other		596		1		0.3300000131		2.3800001144		5.9696969986

		Other		597		1		3.3299999237		22.7800006866		5.9789791107

		Other		598		1		3.3299999237		22.7900009155		5.9819822311

		Other		600		4		0.5599999875		4.0399999022		6

		Other		601		1		3.3299999237		22.8899993896		6.0150151253

		Other		602		32		0.2655999959		1.8899999633		6.024096489

		Other		603		1		0.3300000131		2.4000000954		6.0303030014

		Other		605		1		3.3299999237		23.2299995422		6.0510511398

		Other		606		10		8.1099998355		57.2799988985		6.062423563

		Other		607		1		3.3299999237		23.3799991608		6.0720720291

		Other		609		1		0.3300000131		2.4200000763		6.0909090042

		Other		610		1		3.3299999237		23.6200008392		6.1081085205

		Other		611		3		9.9899997711		70.8099994659		6.1141142845

		Other		612		6		1.1299999952		8.2799998522		6.124369065

		Other		613		1		3.3299999237		23.4899997711		6.1351351738

		Other		617		1		3.3299999237		23.4099998474		6.1711711884

		Other		618		10		5.7199999094		41.0699988604		6.187237215

		Other		619		1		3.3299999237		23.8299999237		6.1981983185

		Other		620		1		3.3299999237		23.9300003052		6.2012014389

		Other		622		1		3.3299999237		23.8999996185		6.2282280922

		Other		623		1		3.3299999237		23.9099998474		6.2312312126

		Other		624		2		3.6599999368		26.4100005627		6.2458367348

		Other		625		6		0.8799999803		6.5500002503		6.25

		Other		627		1		3.3299999237		24.2000007629		6.279279232

		Other		628		1		0.6299999952		4.5700001717		6.2857146263

		Other		629		1		0.9900000095		7.2100000381		6.2929291725

		Other		631		11		1.7599999607		13.2400004864		6.3125

		Other		632		2		6.6599998474		48.3299999237		6.3258256912

		Other		633		1		3.3299999237		24.3799991608		6.3333334923

		Other		634		2		4.2399999499		30.8799991608		6.3415009975

		Other		636		3		9.9899997711		72.9000015259		6.3633634249

		Other		637		8		7.5399998277		55.1899994016		6.3750938177

		Other		639		1		3.3299999237		24.3199996948		6.390390873

		Other		640		3		9.9899997711		73.4400005341		6.4064065615

		Other		643		8		1.2799999714		9.8200001717		6.4375

		Other		648		1		3.3299999237		24.7999992371		6.4894900322

		Other		649		8		4.3299999014		32.2700009942		6.499812305

		Other		651		2		6.6599998474		49.640001297		6.5150151253

		Other		652		1		3.3299999237		24.6399993896		6.5255255699

		Other		655		1		3.3299999237		24.9899997711		6.5555558205

		Other		656		6		4.1299999058		31.3499994278		6.5628441175

		Other		657		1		3.3299999237		25.1800003052		6.5765767097

		Other		658		1		3.3299999237		24.9599990845		6.5855855942

		Other		659		1		3.3299999237		25.0699996948		6.591591835

		Other		661		1		3.3299999237		25.25		6.6186189651

		Other		662		8		1.2799999714		10.0699999332		6.625

		Other		663		1		3.3299999237		25.2000007629		6.6396398544

		Other		664		1		3.3299999237		25.2700004578		6.6426429749

		Other		665		2		6.6599998474		50.6399993896		6.6516518593

		Other		666		1		3.3299999237		25.2299995422		6.6666669846

		Other		667		1		3.3299999237		25.25		6.6726727486

		Other		668		5		0.7999999821		6.3399999142		6.6875004768

		Other		669		3		9.9899997711		76.5		6.6966969172

		Other		670		1		3.3299999237		25.6100006104		6.7027029991

		Other		671		1		3.3299999237		25.5400009155		6.7117118835

		Other		672		1		3.3299999237		25.1399993896		6.7237238884

		Other		673		1		3.3299999237		25.7000007629		6.7327327728

		Other		674		1		3.3299999237		25.5499992371		6.7447447777

		Other		675		10		4.5299998969		35.2800006866		6.7506761074

		Other		679		2		3.4299999252		26.4299998283		6.7993993759

		Other		680		1		3.3299999237		25.9400005341		6.8048048019

		Other		681		4		3.809999913		29.7999992371		6.8128288984

		Other		684		1		3.3299999237		26.0900001526		6.8498497009

		Other		687		3		9.9899997711		77.890001297		6.8738737106

		Other		689		2		6.6599998474		52.2100009918		6.8948950768

		Other		690		2		6.6599998474		52.1900005341		6.9054055214

		Other		691		3		9.9899997711		78.2399997711		6.916917483

		Other		693		5		3.9699999094		31.0599999428		6.937988472

		Other		696		1		3.3299999237		26.3099994659		6.9669675827

		Other		697		4		13.3199996948		105.2300014496		6.9774775505

		Other		698		1		3.3299999237		26.0799999237		6.987988472

		Other		700		3		0.4799999893		3.9500000477		7

		Other		702		1		0.8999999762		7.2100000381		7.0222225189

		Other		706		5		3.9699999094		32.0200006962		7.0638138771

		Other		707		1		3.3299999237		26.4799995422		7.0750751495

		Other		709		1		3.3299999237		26.8799991608		7.0900902748

		Other		713		1		3.3299999237		26.7999992371		7.1351351738

		Other		715		2		6.6599998474		53.4499988556		7.1561563015

		Other		716		1		3.3299999237		27.1399993896		7.1651654243

		Other		718		9		7.7799998224		63.6800013781		7.1868743896

		Other		719		1		3.3299999237		26.9699993134		7.1981983185

		Other		720		1		3.3299999237		27.2700004578		7.2072072029

		Other		721		2		6.6599998474		54.0399990082		7.214715004

		Other		722		51		13.7100996887		111.3899993971		7.2286262606

		Other		724		7		4.2899999022		35.3999993801		7.2490348135

		Other		725		1		3.3299999237		27.0400009155		7.2582583427

		Other		726		3		9.9899997711		81.8600025177		7.2632635434

		Other		727		2		6.6599998474		54.8999996185		7.2717719078

		Other		729		1		3.3299999237		27.3899993896		7.2972970009

		Other		731		3		0.4799999893		4.1100000143		7.3125

		Other		732		3		7.5199998617		62.1599998474		7.3267453512

		Other		738		1		3.3299999237		27.6200008392		7.3873877525

		Other		739		1		3.3299999237		27.5		7.3993992805

		Other		744		1		3.3299999237		27.8500003815		7.4414420128

		Other		747		1		3.3299999237		27.6700000763		7.4774775505

		Other		748		1		3.3299999237		28.0900001526		7.4804806709

		Other		749		1		3.3299999237		27.9699993134		7.4954953194

		Other		750		5		0.5599999875		4.8999999166		7.5000004768

		Other		753		1		3.3299999237		28.0300006866		7.5375380516

		Other		755		1		3.3299999237		28.3199996948		7.5525527

		Other		756		1		3.3299999237		28.3299999237		7.5645647049

		Other		758		1		3.3299999237		28.1599998474		7.5885887146

		Other		759		4		10.8199997544		91.8999996185		7.5927857161

		Other		760		1		3.3299999237		28.2399997711		7.6006007195

		Other		762		2		6.6599998474		56.6599998474		7.6276278496

		Other		768		1		0.1599999964		1.4400000572		7.6875004768

		Other		775		1		0.1599999964		1.4400000572		7.75

		Other		776		1		0.8100000024		7.0500001907		7.765431881

		Other		777		2		1.6599999666		14.8199996948		7.7710843086

		Other		778		1		0.8299999833		7.4200000763		7.7831325531

		Other		782		1		0.8100000024		7.1399998665		7.8271608353

		Other		787		1		3.3299999237		28.8999996185		7.8798799515

		Other		800		6		1.2199999746		11.0699998438		8

		Other		812		1		0.1599999964		1.5099999905		8.125

		Other		818		1		0.1599999964		1.5199999809		8.1875

		Other		820		2		3.3299999833		30.4800004959		8.2044100761

		Other		825		2		2.5399999991		23.3000000715		8.2550005913

		Other		827		2		3.3299999833		30.6100006104		8.2745542526

		Other		833		1		0.8299999833		7.7300000191		8.3373498917

		Other		834		2		1.6599999666		15.4599995613		8.3493976593

		Other		836		5		4.1499999166		38.7199993134		8.3614463806

		Other		837		1		0.8299999833		7.7600002289		8.3734941483

		Other		838		2		1.6599999666		15.5		8.3855419159

		Other		839		1		0.8299999833		7.7600002289		8.3975906372

		Other		840		2		3.3299999833		31.1400003433		8.4048190117

		Other		842		1		0.8299999833		7.7800002098		8.4216861725

		Other		843		78		1.4690999733		13.780000098		8.4337348938

		Other		844		1		0.8299999833		7.8000001907		8.4457836151

		Other		845		2		1.6599999666		15.6500000954		8.4578313828

		Other		848		2		3.3299999833		31.319999218		8.4809641838

		Other		849		2		1.6599999666		15.7100000381		8.493976593

		Other		850		3		1.0099999793		9.6099998355		8.5020081202

		Other		851		2		1.6599999666		15.740000248		8.518073082

		Other		852		3		5.7400000095		54.2699999809		8.526342392

		Other		853		1		0.8299999833		7.8899998665		8.5301208496

		Other		854		3		2.4899999499		23.6800003052		8.5421686172

		Other		855		2		3.3299999833		31.5900001526		8.5551085472

		Other		856		2		1.6599999666		15.8400001526		8.5662651062

		Other		857		1		0.3300000131		3.2200000286		8.5757570267

		Other		859		1		0.8299999833		7.9099998474		8.5903615952

		Other		860		1		0.8299999833		7.9400000572		8.6024093628

		Other		861		3		4.1599999666		39.6900005341		8.6149721146

		Other		862		2		1.6599999666		15.8800001144		8.6265058517

		Other		863		5		5.8199999332		55.6299996376		8.6380435944

		Other		864		1		2.5		23.9599990845		8.6440000534

		Other		865		1		0.8299999833		7.9499998093		8.6506023407

		Other		866		3		2.4899999499		23.9099993706		8.662651062

		Other		867		1		2.5		23.9599990845		8.6760005951

		Other		868		1		0.1599999964		1.6000000238		8.6875

		Other		873		1		2.5		24.1100006104		8.732000351

		Other		875		3		0.2399999946		2.400000006		8.75

		Other		876		1		2.5		24.1800003052		8.767999649

		Other		878		2		5		48.4399986267		8.7839994431

		Other		881		3		2.8199999928		27.5299992561		8.8149998983

		Other		886		2		5		48.8199996948		8.8640003204

		Other		888		1		2.5		24.2700004578		8.8879995346

		Other		893		2		5		49.1700000763		8.9340000153

		Other		898		1		0.6000000238		5.9800000191		8.983332634

		Other		900		2		0.1999999955		2.0499999821		9.0000009537

		Other		902		1		2.5		24.6200008392		9.0279998779

		Other		903		1		2.5		24.5499992371		9.0360002518

		Other		904		1		2.5		24.9799995422		9.0480003357

		Other		906		1		0.1599999964		1.6599999666		9.0625009537

		Other		907		1		2.5		24.9099998474		9.0720005035

		Other		908		1		2.5		24.9699993134		9.0879993439

		Other		910		2		5		50.1599998474		9.1059999466

		Other		913		1		2.5		25.1900005341		9.1319999695

		Other		914		1		0.6899999976		6.9400000572		9.1449270248

		Other		915		2		5		50.1399993896		9.1559996605

		Other		918		1		0.1599999964		1.6799999475		9.1875

		Other		920		1		2.5		25.2299995422		9.1999998093

		Other		921		1		2.5		25.2999992371		9.2160005569

		Other		923		1		0.6800000072		6.9299998283		9.235294342

		Other		924		2		5		50.6900005341		9.2399997711

		Other		925		2		2.6599999964		27.12999928		9.2509999275

		Other		926		1		0.6800000072		6.9400000572		9.264705658

		Other		927		4		10		101.7800006866		9.2750000954

		Other		928		1		2.5		25.1100006104		9.2800006866

		Other		929		1		2.5		25.4400005341		9.2919998169

		Other		931		4		5.3199999928		54.5599999428		9.3132500648

		Other		932		1		2.5		25.6800003052		9.3280000687

		Other		933		1		2.5		25.2900009155		9.3360004425

		Other		934		1		2.5		25.6000003815		9.3400001526

		Other		935		1		2.5		25.7399997711		9.3519992828

		Other		936		2		5		51.2000007629		9.3680000305

		Other		937		2		0.3199999928		3.4200000763		9.375

		Other		938		1		2.5		25.6800003052		9.3800001144

		Other		941		2		5		51.3199996948		9.4140005112

		Other		942		1		2.5		25.5		9.4239997864

		Other		943		1		2.5		25.9500007629		9.4359998703

		Other		949		1		2.5		25.9899997711		9.4960002899

		Other		950		1		2.5		25.7000007629		9.5080003738

		Other		951		2		5		52.0400009155		9.5160007477

		Other		953		3		7.5		78.0400009155		9.5360002518

		Other		956		1		2.5		26.1599998474		9.5679998398

		Other		958		1		2.5		25.8899993896		9.5839996338

		Other		960		2		5		52.1599998474		9.6020002365

		Other		962		3		0.4799999893		5.25		9.625

		Other		963		84		0.6971999891		7.4600002319		9.6385545731

		Other		964		2		5		52.5999984741		9.6460003853

		Other		966		1		0.0599999987		0.6299999952		9.6666669846

		Other		967		1		2.5		26.5400009155		9.6760005951

		Other		970		2		5		52.3400001526		9.7060003281

		Other		972		1		2.5		26.6599998474		9.7279996872

		Other		974		2		0.3199999928		3.5399999619		9.75

		Other		975		1		2.5		26.6399993896		9.7600002289

		Other		976		1		2.5		26.6299991608		9.763999939

		Other		984		1		2.5		26.8600006104		9.8439998627

		Other		987		1		0.1599999964		1.7899999619		9.8750009537

		Other		989		1		2.5		27.0699996948		9.8959999084

		Other		993		1		0.1599999964		1.7999999523		9.9375

		Other		995		1		2.5		26.8099994659		9.9600000381

		Other		996		2		5		53.6499996185		9.9660000801

		Other		1000		2		0.1699999962		1.9300000519		10

		Other		1001		1		2.5		26.9500007629		10.0160007477

		Other		1006		2		0.3199999928		3.6400001049		10.0625

		Other		1008		1		2.5		27.4400005341		10.0799999237

		Other		1013		1		2.5		27.2000007629		10.1359996796

		Other		1015		2		1.2599999905		13.9600000381		10.1587305069

		Other		1017		1		0.6299999952		7		10.1746034622

		Other		1018		1		2.5		27.5200004578		10.1840000153

		Other		1020		2		5		54.8999996185		10.2080001831

		Other		1021		1		2.5		27.3899993896		10.2160005569

		Other		1022		1		2.5		27.4699993134		10.2279996872

		Other		1028		1		2.5		27.5900001526		10.2880001068

		Other		1031		1		0.1599999964		1.8600000143		10.3125

		Other		1033		1		2.5		27.8999996185		10.3360004425

		Other		1035		1		2.5		27.7600002289		10.3559999466

		Other		1037		3		0.4799999893		5.6200000048		10.375

		Other		1041		3		7.5		84.3700008392		10.4133338928

		Other		1042		1		2.5		27.9300003052		10.4239997864

		Other		1044		2		5		56.2999992371		10.4440002441

		Other		1045		1		2.5		28.0100002289		10.4600000381

		Other		1048		1		2.5		28.4400005341		10.4879999161

		Other		1055		1		2.5		28.25		10.5599994659

		Other		1056		2		2.6599999964		30.5599995852		10.5652503967

		Other		1057		1		0.6100000143		7.0199999809		10.5737695694

		Other		1061		1		2.5		28.5200004578		10.6160001755

		Other		1062		2		0.3199999928		3.8199999332		10.6250009537

		Other		1063		1		2.5		28.5599994659		10.6319999695

		Other		1065		1		2.5		28.6000003815		10.6519994736

		Other		1070		1		2.5		28.7000007629		10.6999998093

		Other		1074		2		5		57.6900005341		10.7399997711

		Other		1076		1		2.5		28.8600006104		10.767999649

		Other		1078		1		2.5		28.8899993896		10.7800006866

		Other		1079		1		2.5		28.9599990845		10.795999527

		Other		1080		1		2.5		28.9799995422		10.8039999008

		Other		1081		4		2.9799999893		34.810000062		10.8133749962

		Other		1083		1		2.5		29.0200004578		10.8319997787

		Other		1084		96		0.7967999876		9.6000001431		10.8433742523

		Other		1085		1		2.5		29.0799999237		10.8559999466

		Other		1100		2		0.0599999987		0.7300000042		11

		Other		1124		1		0.1599999964		2.0299999714		11.25

		Other		1129		1		0.5699999928		6.9800000191		11.29824543

		Other		1131		1		0.1599999964		2.0299999714		11.3125

		Other		1137		1		0.1599999964		2.0399999619		11.3750009537

		Other		1143		1		0.1599999964		2.0699999332		11.4375009537

		Other		1150		1		0.1599999964		2.0599999428		11.5

		Other		1156		2		0.3199999928		4.1499998569		11.5625

		Other		1162		1		0.1599999964		2.0699999332		11.625

		Other		1168		1		0.1599999964		2.0799999237		11.6875

		Other		1173		1		0.5600000024		7		11.7321434021

		Other		1175		1		0.1599999964		2.0999999046		11.75

		Other		1187		2		0.3199999928		4.2399997711		11.875

		Other		1194		1		0.5400000215		6.9600000381		11.9444437027

		Other		1200		2		0.1699999962		2.2700001001		12

		Other		1204		65		0.5394999916		7.0799999759		12.0481929779

		Other		1206		1		0.1599999964		2.1500000954		12.0625

		Other		1212		1		0.1599999964		2.1600000858		12.1250009537

		Other		1218		2		0.3199999928		4.3200001717		12.1875009537

		Other		1225		2		0.3199999928		4.3600001335		12.2500009537

		Other		1227		1		0.3300000131		4.4600000381		12.2727270126

		Other		1231		1		0.1599999964		2.1900000572		12.3125

		Other		1250		1		0.1599999964		2.2200000286		12.5

		Other		1262		1		0.1599999964		2.25		12.625

		Other		1293		1		0.1599999964		2.3099999428		12.9375

		Other		1299		1		0.0099999998		0.1400000006		13

		Other		1306		1		0.1599999964		2.3299999237		13.0625

		Other		1325		25		0.2074999968		2.989999935		13.2530126572

		Other		1350		1		0.0599999987		0.8700000048		13.5

		Other		1351		1		0.4900000095		7.0700001717		13.5102033615

		Other		1423		1		0.4699999988		7.1599998474		14.2340431213

		Other		1445		9		0.0746999988		1.1799999624		14.4578313828

		Other		1518		1		0.3700000048		5.9699997902		15.1891889572

		Other		1538		1		0.1299999952		2.1199998856		15.3846158981

		Other		1566		4		0.0331999995		0.5600000024		15.6626501083

		Other		1600		3		0.0299999993		0.5100000054		16

		Other		1602		1		0.4199999869		7.1399998665		16.023809433

		Other		1650		1		0.0199999996		0.349999994		16.5000019073

		Other		1700		1		0.0099999998		0.1800000072		17

		Other		1800		1		0.0099999998		0.1899999976		18.0000019073

		Other		1927		1		0.3300000131		6.8099999428		19.272726059

		Other		1961		1		0.2099999934		4.2899999619		19.6190471649

		Other		2030		2		0.6600000262		13.9200000763		20.3030281067

		Other		2087		1		0.3300000131		7.3499999046		20.878786087

		Other		2096		1		0.0061999997		0.1400000006		20.9677429199

		Other		2200		1		0.0099999998		0.2199999988		22

		Other		2286		1		0.3000000119		7.1999998093		22.8666667938

		Other		2300		1		0.0700000003		1.6599999666		23

		Other		2555		1		0.2700000107		7.0300002098		25.5555553436

		Other		2599		1		0.0099999998		0.2700000107		26

		Other		2825		1		0.2399999946		6.9600000381		28.2500019073

		Other		2847		1		0.25		7.3400001526		28.4799995422

		Other		2941		2		0.2416999947		7.3900001533		29.4142160416

		Other		3200		1		0.0299999993		0.9800000191		32

		Other		3309		1		0.2099999934		7.1199998856		33.0952377319

		Other		3529		1		0.0017		0.0700000003		35.2941169739

		Other		3610		1		0.1899999976		7.0199999809		36.1052627563

		Other		3844		1		0.1800000072		7.0500001907		38.444442749

		Other		4275		2		0.3199999928		14.1500000954		42.7500038147

		Other		4281		3		0.4799999893		21.25		42.8125

		Other		4300		1		0.1599999964		7.1100001335		43

		Other		4306		1		0.1599999964		6.9800000191		43.0625

		Other		4350		3		0.4799999893		21.6099996567		43.5

		Other		4450		1		0.1599999964		7.3600001335		44.5

		Other		4481		1		0.1599999964		7.4200000763		44.8125

		Other		4487		1		0.1599999964		7.4200000763		44.875

		Other		4686		1		0.150000006		7.1599998474		46.8666648865

		Other		4761		1		0.0020999999		0.1099999994		47.6190490723

		Other		4985		1		0.1400000006		7.0900001526		49.8571434021

		Other		6025		1		0.1199999973		7.4000000954		60.25

		Other		6959		1		0.1000000015		7.0199999809		69.5999984741

		Other		7110		1		0.1000000015		7.2300000191		71.0999984741

		Other		7149		1		0.1000000015		7.2699999809		71.5

		Other		10300		1		0.0700000003		7.3099999428		103

		Other		13529		12		0.0204000003		2.8799999356		135.2941131592

		Other		13919		1		0.0500000007		6.9299998283		139.1999969482

		Other		14117		6		0.0102000001		1.5		141.1764678955

		Other		14600		1		0.0099999998		1.5199999809		146

		Other		14705		6		0.0102000001		1.5		147.0588226318

		Other		14800		1		0.0099999998		1.5399999619		148

		Other		14900		2		0.0199999996		3.0999999046		149

		Other		16325		1		0.0399999991		6.4800000191		163.2500152588

		Other		16800		1		0.0299999993		5.1500000954		168

		Other		21300		1		0.0099999998		2.1300001144		213.0000152588

		Other		25882		6		0.0102000001		2.7600000501		258.8235168457

		Other		35294		6		0.0102000001		3.7200000286		352.941192627

		Other		35882		6		0.0102000001		3.7799999714		358.8235473633

		Other		36250		1		0.0199999996		7.3299999237		362.5

		Other		71000		1		0.0099999998		7.0500001907		710

		PG&E				1260861		-207.0709264129		364614.819469947

		PG&E		-3096		1		0.0041999817		0		-30.9525146484

		PG&E		-2858		1		0.0041999817		0		-28.5715522766

		PG&E		-1400		1		0.0100002289		0		-13.9996795654

		PG&E		-1326		1		0.0082998276		0		-13.2532873154

		PG&E		-700		1		0.0200004578		0		-6.9998397827

		PG&E		-267		1		0.0599994659		0		-2.6666903496

		PG&E		-226		4		0.3199996948		0		-2.2500021458

		PG&E		-179		2		0.0083999634		0		-1.7857220173

		PG&E		-173		1		0.0057999999		0		-1.7241379023

		PG&E		-160		1		0.3000001907		0		-1.599998951

		PG&E		-110		6		12.3683013357		0		-1.0964543025

		PG&E		-107		1		3.3000001907		0		-1.0666666031

		PG&E		-106		4		0.7599989623		0		-1.0527060926

		PG&E		-105		4		5.1583000645		0		-1.044036448

		PG&E		-104		5		1.1815999746		0		-1.034439683

		PG&E		-103		9		6.4416001588		0		-1.0226148234

		PG&E		-102		13		7.6850996614		0		-1.0150288802

		PG&E		-101		895		1194.0762667954		0.8292999926		-1.0004414652

		PG&E		-100		140768		228123.169427106		65.5916998286		-0.9998537863

		PG&E		-99		3269		6429.4550093338		79.3630993124		-0.9848421598

		PG&E		-98		2485		5836.2769144811		135.1272993512		-0.9748097566

		PG&E		-97		2642		6468.8875138797		215.8879994306		-0.9655834821

		PG&E		-96		2703		7105.5459183417		309.5537010987		-0.9550728767

		PG&E		-95		2083		4741.3765010461		250.8409004431		-0.9455733476

		PG&E		-94		2876		4497.7775110006		282.3506995722		-0.9358278399

		PG&E		-93		2177		3768.2858126648		276.3733000737		-0.9240672401

		PG&E		-92		1445		3819.9120053016		320.7465998232		-0.9144125589

		PG&E		-91		2513		4250.3738093078		394.7453000374		-0.9061399072

		PG&E		-90		1596		3703.5954106078		385.758599611		-0.8953790085

		PG&E		-89		1905		4597.4258084782		528.4356989376		-0.8856590723

		PG&E		-88		2936		5045.608707659		623.5778971538		-0.8754602685

		PG&E		-87		1949		4939.6634062044		665.1386004165		-0.8645181545

		PG&E		-86		2145		4879.5015985332		702.9645980224		-0.8550924403

		PG&E		-85		2055		5310.4959182143		810.7200013231		-0.8460172367

		PG&E		-84		2941		4861.0258061551		804.4512990811		-0.8344638818

		PG&E		-83		2009		5844.382831838		1019.7603990193		-0.8243103224

		PG&E		-82		3563		5867.3870974779		1086.7102020793		-0.8145617848

		PG&E		-81		2524		6349.9158012718		1241.9017994292		-0.8034408917

		PG&E		-80		2986		6899.1576151736		1402.4033989977		-0.7971559812

		PG&E		-79		3101		7012.6209252924		1518.4254008513		-0.7867564435

		PG&E		-78		2975		7892.9901273139		1781.8292025011		-0.7747349083

		PG&E		-77		2482		7933.049984362		1869.2392053045		-0.7647808652

		PG&E		-76		1989		6142.0642175078		1500.0400023852		-0.75551112

		PG&E		-75		3930		6731.2699219994		1717.1529958751		-0.7465779538

		PG&E		-74		2307		6068.194223024		1605.9776019882		-0.7353592169

		PG&E		-73		3444		6250.4742260985		1724.2904003169		-0.7249545991

		PG&E		-72		3866		6748.7233537398		1941.6534007806		-0.7131708741

		PG&E		-71		1717		5097.9735123105		1508.549795419		-0.7044850886

		PG&E		-70		5123		7165.8585627489		2184.1059988886		-0.6956493885

		PG&E		-69		3765		7413.0671944171		2346.5286033731		-0.6846679571

		PG&E		-68		1755		6188.7016919255		2026.0199960694		-0.6750459897

		PG&E		-67		6629		6547.7017745618		2204.0002964246		-0.6661933528

		PG&E		-66		2395		5932.2659049444		2056.2782006338		-0.6539870579

		PG&E		-65		1789		6232.8742085248		2227.5099964663		-0.6454690763

		PG&E		-64		2841		6666.1017046236		2448.3399954308		-0.6355872843

		PG&E		-63		4208		6849.5498800427		2589.3400010019		-0.6246051648

		PG&E		-62		2360		5909.8303959295		2298.3599992599		-0.6148195893

		PG&E		-61		2870		6771.6768045053		2702.750001369		-0.6048943278

		PG&E		-60		4871		5573.7383947149		2268.8699952643		-0.598158479

		PG&E		-59		1740		5603.6767932512		2384.6999936718		-0.5842048836

		PG&E		-58		2754		6907.9340054505		3024.9399939813		-0.5745096408

		PG&E		-57		3599		18094.1728793085		8116.8199555688		-0.5638332101

		PG&E		-56		2310		11990.2012991197		5451.170011064		-0.5548780777

		PG&E		-55		3650		7428.1796944961		3430.7899935134		-0.5458719933

		PG&E		-54		2488		6786.157392472		3211.7700046431		-0.5352739187

		PG&E		-53		2949		8018.6142052263		3911.1100135557		-0.5245111072

		PG&E		-52		2497		7777.6570961699		3864.4300125167		-0.5152463476

		PG&E		-51		1908		7689.9133995473		3852.1300037187		-0.505913147

		PG&E		-50		9665		9964.0299828425		5063.9783969324		-0.498888071

		PG&E		-49		2602		8753.7479818501		4597.0200007092		-0.4851257305

		PG&E		-48		2747		9875.1671072729		5253.1600107662		-0.4749547993

		PG&E		-47		5280		9704.612902049		5263.4599919952		-0.4636491167

		PG&E		-46		3289		10645.2667006487		5883.9245880474		-0.4541196816

		PG&E		-45		3851		11305.534806259		6350.9899935275		-0.444858681

		PG&E		-44		4488		9990.0161018781		5729.6599979792		-0.4361443306

		PG&E		-43		2781		10102.7261997238		5900.8600073159		-0.4251224572

		PG&E		-42		2545		10090.7063845508		6029.2699949443		-0.4155879602

		PG&E		-41		2318		9847.279172264		5939.0999964662		-0.4045181424

		PG&E		-40		7454		10831.7832015343		6606.4100043252		-0.3978710607

		PG&E		-39		4855		11766.0847653188		7335.9500263296		-0.3858668105

		PG&E		-38		6533		12152.2796896473		7690.76001288		-0.3751756893

		PG&E		-37		4644		13623.6973383687		8821.7700478937		-0.3642034562

		PG&E		-36		2436		11289.4982777908		7405.1900047045		-0.3548370137

		PG&E		-35		4000		15784.1435891818		10562.939994432		-0.3453697436

		PG&E		-34		12372		19361.2402979378		13125.9999588896		-0.3337552858

		PG&E		-33		3529		16523.0864483025		11412.2199844643		-0.3246872272

		PG&E		-32		5398		16445.6061457172		11491.3299922012		-0.3144698711

		PG&E		-31		6279		17562.9037521482		12413.3800035194		-0.3047204367

		PG&E		-30		5616		18340.5941057354		13209.6499562245		-0.2964448387

		PG&E		-29		4447		16534.0846677572		12019.5100285448		-0.285029764

		PG&E		-28		9259		22764.0901807416		16866.4400418289		-0.2740959898

		PG&E		-27		5563		18348.5272826292		13764.1600529365		-0.2656081411

		PG&E		-26		5032		19651.3063797317		14898.320009008		-0.2560894129

		PG&E		-25		12331		22843.2972964067		17430.1199926026		-0.2467211899

		PG&E		-24		7440		23441.5720463917		18247.9700216111		-0.2343427917

		PG&E		-23		6362		28116.4014543518		22171.640026547		-0.2247123769

		PG&E		-22		9786		26649.827813236		21266.6800108701		-0.2144209257

		PG&E		-21		6816		26716.7104506828		21683.1900305245		-0.2042261487

		PG&E		-20		19493		30080.5281005558		24571.1900256407		-0.1978819932

		PG&E		-19		19101		35855.9222044852		29836.7199179977		-0.1839249078

		PG&E		-18		9617		36846.5436970126		31321.0100161899		-0.1746199417

		PG&E		-17		23177		37621.2883285973		32388.870010715		-0.1657029917

		PG&E		-16		20696		45756.2527546939		39574.640047878		-0.1543250603

		PG&E		-15		18129		49337.5247168057		43352.9400570244		-0.1450861225

		PG&E		-14		21093		59377.0093851201		52892.269997105		-0.1345592101

		PG&E		-13		29951		73392.817303801		66112.4799628686		-0.1240707631

		PG&E		-12		22699		82093.99411745		75111.6499492079		-0.1149217189

		PG&E		-11		25542		98600.710980095		91161.0299742036		-0.1049194579

		PG&E		-10		50569		122866.598358471		114431.230074916		-0.0945793863

		PG&E		-9		35063		145497.748432027		137642.660123048		-0.0848957091

		PG&E		-8		62158		236725.878334211		227487.53977328		-0.0751631038

		PG&E		-7		78134		296712.879018368		287135.709810806		-0.064281991

		PG&E		-6		74361		350718.14263344		342289.199895175		-0.0546882707

		PG&E		-5		117044		533121.901601927		524606.129396515		-0.0450058237

		PG&E		-4		159964		735775.048696503		730294.319791678		-0.0347707155

		PG&E		-3		160839		937133.154626401		937962.179386878		-0.0249280808

		PG&E		-2		173853		1539253.5042147		1557206.64262694		-0.0150463422

		PG&E		-1		180571		3211771.70900464		3269942.00280578		-0.0051962027

		PG&E		0		144290		2058694.65728445		2103661.90048188		0.0043928421

		PG&E		1		86929		399205.881723324		410623.380209016		0.014534409

		PG&E		2		56499		213303.1245688		220918.300042229		0.0247136033

		PG&E		3		57275		175372.004953647		183107.610106124		0.0343975239

		PG&E		4		43231		140152.170025541		148121.140032465		0.0453299429

		PG&E		5		28234		94036.6904095504		99921.9901221599		0.0548740699

		PG&E		6		42905		79639.2783975676		85630.4600449353		0.0634420638

		PG&E		7		23234		62382.1196864806		67843.2900263891		0.0753542032

		PG&E		8		16095		51265.5779226888		56208.3400089126		0.0849367537

		PG&E		9		28563		50054.0378201567		55490.1799306162		0.0953479855

		PG&E		10		12087		37833.5233328976		42265.6699744426		0.1046509625

		PG&E		11		12376		34944.2036156431		39478.1000417545		0.1148866435

		PG&E		12		27238		36499.8464739472		41540.6399857365		0.1245831875

		PG&E		13		11247		29745.2227001376		34183.0600347221		0.1345789275

		PG&E		14		8841		27142.6558421254		31402.5199765004		0.1450354742

		PG&E		15		12713		26791.2269834969		31229.6599585377		0.1547291123

		PG&E		16		14214		27111.5459668729		31978.0399939232		0.1657935507

		PG&E		17		6424		24502.677867176		29063.3799395375		0.1747132335

		PG&E		18		19742		26370.7454567757		31631.7900136597		0.1851457319

		PG&E		19		16044		27217.323312901		32850.979938671		0.1979629098

		PG&E		20		6209		24255.0034821592		29418.1900403854		0.2040377028

		PG&E		21		8057		24279.9794783182		29732.6100058816		0.2149062148

		PG&E		22		5272		18915.2451700699		23332.8099717237		0.2248873122

		PG&E		23		8089		19472.8932472169		23975.5600015149		0.2344879488

		PG&E		24		6095		17634.2240718734		21859.7499571964		0.2436209707

		PG&E		25		18818		20983.7236489262		26432.7099514417		0.2514639307

		PG&E		26		4744		17322.7273974884		22017.999984324		0.265092575

		PG&E		27		5765		14575.9272789638		18726.7000110559		0.2743206502

		PG&E		28		4149		11818.0215326101		15471.5099015683		0.2850425796

		PG&E		29		4941		9016.4387273621		11872.0399825312		0.2966549697

		PG&E		30		4577		9440.7145067938		12441.4399983697		0.3041614196

		PG&E		31		7201		8459.0195763521		11274.9499743618		0.3136945668

		PG&E		32		3140		8699.2083881125		11691.8499937505		0.3245310467

		PG&E		33		10051		9098.5410952493		12314.8799730055		0.3337169229

		PG&E		34		3169		8716.0011028238		11857.0400211811		0.3454745197

		PG&E		35		2422		7088.169015076		9717.3000018969		0.3548611796

		PG&E		36		3795		8976.3353974037		12409.0399894118		0.3641718583

		PG&E		37		6551		7896.522220049		10991.5300001949		0.3750999838

		PG&E		38		2572		7311.8855925389		10225.1300143078		0.3844072041

		PG&E		39		7649		7866.0102893561		11111.849954959		0.398106006

		PG&E		40		1933		6347.3737959415		9003.2200092599		0.4043672543

		PG&E		41		2029		4917.9225975834		7024.2100073583		0.4156320932

		PG&E		42		2299		5032.0004154593		7249.5699885786		0.4248996012

		PG&E		43		5212		5753.698594898		8364.359995395		0.4367540351

		PG&E		44		1616		4410.6203999557		6434.9599935338		0.4451627836

		PG&E		45		2663		4815.9284047186		7095.3300288618		0.4544200411

		PG&E		46		2353		4729.9902047329		6986.2399981543		0.4646058987

		PG&E		47		1708		3941.3865952939		5874.1399803609		0.4763129963

		PG&E		48		1719		4489.1078950353		6738.2599900737		0.4848900099

		PG&E		49		1430		4584.2628876083		6923.7600104734		0.4933890306

		PG&E		50		8353		6667.0423847288		10173.2599718627		0.5008959623

		PG&E		51		2158		6112.1332130954		9351.7799441069		0.5157049731

		PG&E		52		1754		4717.9166275598		7268.9899497405		0.5248241691

		PG&E		53		1699		4653.8570079655		7214.3199643642		0.5348028627

		PG&E		54		1941		4903.4969008043		7652.6599547565		0.5443971381

		PG&E		55		1293		5239.6258088276		8239.1699592322		0.5548476698

		PG&E		56		3016		4939.8023809195		7812.3400200307		0.5637474299

		PG&E		57		1467		3640.0783023834		5801.1399761178		0.5757323934

		PG&E		58		1197		3231.48189307		5168.0100084841		0.5846917682

		PG&E		59		2607		3455.0297105387		5574.3700032681		0.5978654675

		PG&E		60		1648		3393.5149029382		5501.3100070879		0.6038117938

		PG&E		61		1462		3746.2987934276		6104.4400120676		0.6145633537

		PG&E		62		2883		2919.6109046303		4810.1799965948		0.6247130633

		PG&E		63		1492		3388.6650044769		5593.0499983877		0.6355119597

		PG&E		64		1470		3150.7324043289		5232.6900014728		0.6466064211

		PG&E		65		983		2739.9842055291		4591.4799803793		0.6547497436

		PG&E		66		4482		3023.1529002357		5101.0699850135		0.6662046439

		PG&E		67		895		3013.8773988783		5083.4599818885		0.67514448

		PG&E		68		2037		2709.5566892102		4614.8000077903		0.6862210698

		PG&E		69		1383		2663.5248978324		4566.4699924067		0.6960892022

		PG&E		70		789		2460.0999099314		4250.0000189543		0.7053792162

		PG&E		71		872		2625.5530094132		4552.9199793041		0.7143692443

		PG&E		72		1049		2635.929995548		4605.7199986353		0.7250970672

		PG&E		73		864		2525.8093046211		4435.6499805227		0.7348675946

		PG&E		74		981		2363.1659200601		4163.2900088653		0.7443649582

		PG&E		75		2484		2215.4200016893		3943.2999893576		0.7521245596

		PG&E		76		984		2663.9175002091		4750.1000171676		0.7656648337

		PG&E		77		805		2227.949608542		3990.9300045744		0.7755754416

		PG&E		78		971		2448.7790074088		4413.8499998823		0.7856156261

		PG&E		79		1834		2134.9483937621		3870.7600383312		0.7983612679

		PG&E		80		965		2266.9425042495		4122.1399867088		0.8040353305

		PG&E		81		1713		2091.7399926037		3829.5899907649		0.8143996726

		PG&E		82		760		2002.2683179602		3690.1099845618		0.8246757794

		PG&E		83		2009		2031.0634004176		3773.8600025028		0.8342144176

		PG&E		84		917		2267.7551106662		4229.7099850029		0.8459774214

		PG&E		85		660		1954.802605398		3658.1300010234		0.8549838994

		PG&E		86		747		1778.8125093318		3342.7600093558		0.86408644

		PG&E		87		1597		1757.0046010539		3327.0500072017		0.8754498556

		PG&E		88		658		1565.0816017054		2986.1999905631		0.8854319152

		PG&E		89		582		1578.3273925371		3031.189995192		0.8953223618

		PG&E		90		871		1926.1299982071		3716.4099940807		0.9048401424

		PG&E		91		599		1547.3399991952		2990.8300067559		0.914624917

		PG&E		92		701		1789.3624945506		3497.6799949296		0.9243431057

		PG&E		93		1557		2079.5857912078		4077.1199954301		0.9362712716

		PG&E		94		538		1437.2974977605		2827.0300038904		0.9450729533

		PG&E		95		669		1665.1157931387		3295.9000038505		0.9554572252

		PG&E		96		533		1250.9551002532		2490.1299871281		0.9651739913

		PG&E		97		589		1727.7957953773		3446.7999916002		0.9753945281

		PG&E		98		673		1934.1841853112		3877.3899884522		0.9843758201

		PG&E		99		345		1241.0412967093		2500.4199873582		0.9932327222

		PG&E		100		5828		1903.1841963474		3880.8300029933		1.0003103804

		PG&E		101		529		1602.3041977584		3256.2100089788		1.0152178473

		PG&E		102		484		1502.3946028613		3069.4100188464		1.0243395434

		PG&E		103		627		1368.7199985087		2813.5499927402		1.0349821075

		PG&E		104		566		1547.1045989096		3193.8900145292		1.0455345935

		PG&E		105		404		1206.1799944043		2503.3299882859		1.0549240351

		PG&E		106		1068		1393.0970030725		2906.5000037551		1.0634627551

		PG&E		107		460		1281.8641994447		2685.5700022578		1.0749835605

		PG&E		108		554		1258.7740984783		2648.3900047392		1.0847979577

		PG&E		109		750		1042.8291045763		2207.3400022015		1.0941023547

		PG&E		110		676		1428.9100087509		3029.6500032321		1.1040386041

		PG&E		111		767		1461.3700070381		3118.2100041509		1.1158857158

		PG&E		112		1650		1278.9159064293		2744.6799874604		1.1245913943

		PG&E		113		695		1111.1916029155		2393.2299894392		1.1339421192

		PG&E		114		773		1319.800007239		2856.9200111032		1.1460946408

		PG&E		115		682		1312.4017025605		2853.5099959076		1.1543602961

		PG&E		116		1164		1512.5117072463		3298.7500084415		1.16473966

		PG&E		117		599		1266.1742011011		2771.6999964118		1.175873356

		PG&E		118		941		1242.7300108522		2733.0199994594		1.1851677815

		PG&E		119		1618		1565.4883114733		3459.6300058439		1.1975382464

		PG&E		120		717		1294.1225080602		2882.3499772847		1.2042657175

		PG&E		121		600		1498.9713108838		3342.4199977294		1.214302274

		PG&E		122		560		1383.4500029087		3111.4699802697		1.2243582953

		PG&E		123		428		1038.3200046122		2339.0000160932		1.2354054019

		PG&E		124		481		999.8442047685		2262.0599957406		1.2448305251

		PG&E		125		954		937.0599985272		2126.1700026244		1.2519551732

		PG&E		126		539		1303.9800070822		2969.6700031757		1.2655756374

		PG&E		127		625		1298.3955118805		2967.349989444		1.2746792677

		PG&E		128		283		760.3258047551		1747.039998889		1.2850733498

		PG&E		129		936		1051.0742085576		2425.5800173879		1.2983644019

		PG&E		130		438		970.6344971657		2247.5500050262		1.3044506377

		PG&E		131		683		849.5658022165		1985.1300065815		1.3136550153

		PG&E		132		343		844.1478979886		1971.5000097603		1.3250998498

		PG&E		133		884		728.6283006091		1718.6599957012		1.3338978482

		PG&E		134		336		737.4699991941		1736.7200006247		1.3446442517

		PG&E		135		272		625.7470979244		1482.640014708		1.3549759195

		PG&E		136		371		829.2425005883		1970.3299894631		1.364201431

		PG&E		137		656		760.1824990325		1823.2799915671		1.3753085046

		PG&E		138		422		1003.5499964952		2402.5399929583		1.3852364992

		PG&E		139		984		785.1042041667		1892.0400108993		1.3983599352

		PG&E		140		237		618.7991954684		1498.3199987114		1.4055022162

		PG&E		141		310		887.3357994109		2162.709990561		1.4157019277

		PG&E		142		378		977.094206512		2379.1700112224		1.4246741382

		PG&E		143		445		632.3557986319		1550.1599923372		1.43560189

		PG&E		144		399		828.0739981979		2040.2900161594		1.4443333702

		PG&E		145		313		718.5616017133		1774.3900149763		1.455098234

		PG&E		146		382		918.7842011154		2285.7600166798		1.4648330773

		PG&E		147		329		721.7124043703		1798.169998914		1.475716796

		PG&E		148		356		627.1789031327		1572.8300139904		1.4843604002

		PG&E		149		270		589.0784059465		1477.02000314		1.4947169441

		PG&E		150		1050		1070.62000072		2705.2000050396		1.5017117143

		PG&E		151		392		1225.4917012751		3117.1299858689		1.5158555587

		PG&E		152		347		678.1042022854		1725.2000076473		1.5242174486

		PG&E		153		348		558.3778936267		1420.8099977076		1.5356047578

		PG&E		154		327		575.610800907		1468.5800048709		1.5455955303

		PG&E		155		269		525.8441992402		1351.9600027353		1.5560058005

		PG&E		156		372		632.9732021913		1634.659997493		1.5647926231

		PG&E		157		234		523.9100034237		1365.8299955726		1.5741445336

		PG&E		158		201		443.7899996787		1158.1099997759		1.5845627061

		PG&E		159		554		532.2141996734		1392.8299944401		1.5976094173

		PG&E		160		327		622.5699974298		1630.8699991107		1.6038028826

		PG&E		161		246		407.8999997675		1070.9999963343		1.6147748891

		PG&E		162		454		550.6842004806		1456.0200019032		1.6252255813

		PG&E		163		262		564.7899995297		1493.9900084734		1.6348934465

		PG&E		164		193		439.6100004613		1169.8800082207		1.6456427889

		PG&E		165		226		503.0157989264		1342.7800013423		1.6551900807

		PG&E		166		809		387.5900002513		1047.9199964032		1.6660126188

		PG&E		167		212		473.6399993896		1272.1500085592		1.6753722845

		PG&E		168		450		560.1799973547		1512.4600064754		1.6867994414

		PG&E		169		421		485.9199995399		1316.7800020576		1.6969063477

		PG&E		170		138		301.2099984288		817.1400026083		1.7048761871

		PG&E		171		200		440.5994995385		1202.7200093269		1.71387802

		PG&E		172		308		520.5999990404		1427.2799977064		1.7243082999

		PG&E		173		207		462.1000017524		1271.8300237954		1.7347660957

		PG&E		174		252		545.8728036731		1503.6499902904		1.7453673397

		PG&E		175		577		608.9900026917		1687.8100004643		1.7528631086

		PG&E		176		270		485.5717001557		1352.9499937296		1.7651224807

		PG&E		177		203		382.449998796		1070.3200075626		1.7747979458

		PG&E		178		223		408.0946039259		1140.6300006509		1.7859056579

		PG&E		179		159		430.139998436		1209.5000060797		1.7958494515

		PG&E		180		585		467.2700040974		1323.040002808		1.8015279576

		PG&E		181		347		516.6399995983		1458.1300048232		1.8141982741

		PG&E		182		122		319.8900020942		910.1699960083		1.824807513

		PG&E		183		250		377.2099959031		1075.1999951303		1.8348184719

		PG&E		184		305		401.6300053298		1150.4699940682		1.8468445094

		PG&E		185		169		438.9700017571		1262.5800037682		1.8554741765

		PG&E		186		173		332.2700015604		957.8200112879		1.8653348567

		PG&E		187		409		470.3599958718		1365.4499914348		1.8754612744

		PG&E		188		126		301.7300001383		877.8100018501		1.8858745098

		PG&E		189		311		527.6400031149		1540.950001657		1.8971696161

		PG&E		190		178		440.6599970311		1288.0199795067		1.9047538337

		PG&E		191		145		250.820001483		736.1499952078		1.9168223907

		PG&E		192		166		438.8300021142		1291.0800101459		1.9251922347

		PG&E		193		225		204.3700013161		603.4199995995		1.9362821404

		PG&E		194		138		313.9582997784		932.0100004673		1.944537631

		PG&E		195		154		269.349998042		797.5199982524		1.9543186163

		PG&E		196		233		421.0274991691		1254.4799983501		1.9645588168

		PG&E		197		154		276.5199974775		832.4500100613		1.9746636779

		PG&E		198		157		352.025796175		1056.0700074434		1.9845016192

		PG&E		199		113		399.8058024645		1207.0599839687		1.9934496658

		PG&E		200		2426		329.1999966018		1008.579997791		2.0001688856

		PG&E		201		174		367.1183988899		1110.5399950147		2.0147949813

		PG&E		202		131		285.2400013208		870.0799971819		2.0243683808

		PG&E		203		239		349.930000484		1066.300003767		2.0355640505

		PG&E		204		143		220.9100008011		677.3500006795		2.0468291503

		PG&E		205		175		374.3600004315		1150.7899862528		2.0558688477

		PG&E		206		209		279.2500002682		864.4599967301		2.0649852844

		PG&E		207		195		406.0699996352		1257.8399962783		2.076066752

		PG&E		208		159		297.8183017075		925.4300005063		2.0849507845

		PG&E		209		253		335.7516980842		1042.2099948525		2.0968996414

		PG&E		210		85		145.7499989867		457.5900050402		2.1059898797

		PG&E		211		154		302.8400017619		950.1899964213		2.1145040617

		PG&E		212		232		366.0599978715		1150.3600028455		2.1250377575

		PG&E		213		184		275.1300008297		867.6199920475		2.1339922573

		PG&E		214		122		203.5300008059		640.4699987769		2.1442939238

		PG&E		215		117		192.6800000817		612.5499962568		2.154096094

		PG&E		216		186		205.6016993895		657.1899960637		2.1646723324

		PG&E		217		113		323.2199991941		1031.9999974966		2.175245764

		PG&E		218		162		261.5600003004		839.46999529		2.1844328863

		PG&E		219		383		335.3700013123		1083.2100011706		2.1986783254

		PG&E		220		133		228.0958020687		741.3999998271		2.2038872475

		PG&E		221		138		222.4800003618		720.1400003135		2.2139925317

		PG&E		222		138		295.9400002956		964.619998455		2.2251815744

		PG&E		223		69		157.1241974533		511.7299993038		2.2341627902

		PG&E		224		167		254.0237003714		832.7000065446		2.2452465588

		PG&E		225		245		243.7200013325		801.489997685		2.2522168218

		PG&E		226		100		173.7199992239		570.8299954534		2.2656556344

		PG&E		227		217		401.829997912		1327.4600082636		2.2764919925

		PG&E		228		99		230.91000247		761.4900039434		2.2855707539

		PG&E		229		108		158.715801239		526.8199988604		2.2943136339

		PG&E		230		238		184.9616996981		614.3000021726		2.3018820426

		PG&E		231		193		261.8399989605		873.6100175381		2.3137878272

		PG&E		232		77		122.5500023365		411.8099992275		2.3252394261

		PG&E		233		434		197.7399997786		660.020005241		2.3335331547

		PG&E		234		75		117.999999702		397.3299928904		2.346241684

		PG&E		235		123		208.9000017643		703.3400046825		2.3569736946

		PG&E		236		123		180.8600007743		614.3299934864		2.3647486059

		PG&E		237		125		151.3657996506		513.1000019014		2.3746154289

		PG&E		238		128		225.4800020158		771.7399976254		2.3838861305

		PG&E		239		347		164.5600012019		565.4100090861		2.3987282717

		PG&E		240		171		282.0499998033		970.2899829745		2.4035597001

		PG&E		241		148		279.9399987087		957.7099981308		2.4163319146

		PG&E		242		81		139.6200002953		480.010005191		2.4247525621

		PG&E		243		108		116.5141987801		401.6900015473		2.4361983229

		PG&E		244		99		158.4700007439		547.5899949074		2.4435408477

		PG&E		245		75		104.327900067		364.080001682		2.4540620867

		PG&E		246		193		299.604201436		1046.3300081491		2.4646937847

		PG&E		247		79		118.4742010832		414.5500013828		2.475052906

		PG&E		248		105		175.0200014114		614.6500067711		2.4861962477

		PG&E		249		221		348.2799993455		1220.2899981439		2.4984269099

		PG&E		250		232		193.4699992128		681.8399958238		2.5016242471

		PG&E		251		63		103.8500000536		367.2000075579		2.5160695598

		PG&E		252		85		117.2999998331		417.8300011158		2.5245104229

		PG&E		253		182		212.0900005698		755.2300015688		2.5352879514

		PG&E		254		115		190.499997735		681.6199995875		2.5465942051

		PG&E		255		94		102.4378994405		366.3399967849		2.5546427762

		PG&E		256		114		120.0699996352		430.6099948883		2.5645395622

		PG&E		257		117		212.6599988714		763.0300114155		2.5746370727

		PG&E		258		112		206.8700009286		743.3400046825		2.5853208112

		PG&E		259		310		184.4399987273		667.1700007319		2.5987308371

		PG&E		260		80		97.5320986286		352.2000008523		2.6052083284

		PG&E		261		118		140.2200017273		509.7899983525		2.6129339853

		PG&E		262		113		158.3500007242		577.8599992692		2.6247131424

		PG&E		263		116		173.610000506		635.5200003088		2.6354215289

		PG&E		264		111		331.1800015122		1222.8700197935		2.6444777347

		PG&E		265		67		132.4678988755		486.2199987173		2.6544386166

		PG&E		266		464		148.3099994734		549.0000013709		2.6663781682

		PG&E		267		78		165.3300008178		610.1400036812		2.6757883445

		PG&E		268		147		190.1399973333		704.1099897623		2.685422547

		PG&E		269		91		124.4499996006		462.1499947309		2.6952342018

		PG&E		270		145		102.3399994597		378.3799981475		2.7016775065

		PG&E		271		60		98.8541996479		369.1400006413		2.7136428754

		PG&E		272		91		130.1999979913		487.6200060248		2.7239266333

		PG&E		273		238		145.1699989438		543.3000004292		2.7340949654

		PG&E		274		99		133.5100002885		505.8900004625		2.7449032104

		PG&E		275		170		199.4399972185		753.0599985421		2.7529912654

		PG&E		276		54		92.0899997056		348.3299977779		2.7647566045

		PG&E		277		86		112.099999547		425.4300024509		2.7750525863

		PG&E		278		84		109.3774001114		417.9500027597		2.7856334306

		PG&E		279		357		120.9100003913		463.6299934536		2.7994145312

		PG&E		280		114		192.1799973547		737.9000002146		2.8050783852

		PG&E		281		208		198.0800015479		759.4200033247		2.8151860764

		PG&E		282		49		94.7520992234		364.9700044394		2.825812622

		PG&E		283		260		94.3000005558		365.1300019026		2.8343436525

		PG&E		284		96		178.8500006348		691.4199974537		2.8451492364

		PG&E		285		80		154.1899999455		599.3299982846		2.8551056176

		PG&E		286		348		220.2600007653		852.7999914885		2.8663512777

		PG&E		287		219		161.2099995911		629.7400020361		2.8753143859

		PG&E		288		77		107.5600001216		419.8499957323		2.8847559954

		PG&E		289		165		133.6800006554		523.9000009894		2.8973005902

		PG&E		290		81		129.0499987304		507.4100010395		2.9049312627

		PG&E		291		89		151.8600004166		600.7399994135		2.9147876863

		PG&E		292		57		96.3800008595		381.9200035334		2.9243763413

		PG&E		293		413		301.690002352		1197.0600044727		2.9352989566

		PG&E		294		44		41.6999991089		165.9199984074		2.9452785254

		PG&E		295		62		136.8800029755		544.3999979496		2.9553199199

		PG&E		296		95		115.2699984014		462.5500091314		2.9650424757

		PG&E		297		75		102.9199997187		410.8900010586		2.9748345439

		PG&E		298		63		97.9799989462		391.6500053406		2.9836970662

		PG&E		299		268		211.2700020671		849.2199829817		2.9992114225

		PG&E		300		1448		185.5199999176		754.059996739		3.0001647276

		PG&E		301		49		69.9899997711		282.3799974918		3.0146941166

		PG&E		302		40		43.2900007069		177.2900016308		3.0252331436

		PG&E		303		82		100.2199999392		406.2399960756		3.034891021

		PG&E		304		55		60.5500004292		246.4800004959		3.0449389544

		PG&E		305		50		140.1899981648		574.9300006032		3.0544755554

		PG&E		306		318		202.079998672		824.1899966598		3.0648360882

		PG&E		307		70		124.0199974775		510.0999994278		3.0754733767

		PG&E		308		51		83.1499994844		339.6000030041		3.0860586634

		PG&E		309		116		145.6900016069		601.309990406		3.0974937924

		PG&E		310		42		85.9400005937		356.7899980545		3.1048628262

		PG&E		311		31		63.9500007629		264.3299977779		3.1143358138

		PG&E		312		225		96.399999693		402.9600073993		3.1248385885

		PG&E		313		108		71.3700004816		296.9000046253		3.1341145855

		PG&E		314		40		59.6800018102		257.4300053716		3.145508796

		PG&E		315		56		66.1300007105		276.7200005054		3.1533461085

		PG&E		316		55		54.7000000291		227.619997859		3.1658806541

		PG&E		317		81		186.2299973071		780.3100066185		3.1745814041

		PG&E		318		212		81.9300006181		346.4100033343		3.1870115917

		PG&E		319		203		43.1400004961		182.8299995363		3.1995504877

		PG&E		320		62		114.2100001276		482.7400012016		3.2041323531

		PG&E		321		47		58.510001123		247.6500025988		3.2146486932

		PG&E		322		55		81.5899991989		346.3000017405		3.2243321419

		PG&E		323		39		107.0500003099		455.7000088692		3.2327580635

		PG&E		324		341		133.2499982417		571.029995054		3.2488984789

		PG&E		325		55		55.6100001931		236.1799999475		3.2536664573

		PG&E		326		129		109.1199994385		465.5799989104		3.2663628667

		PG&E		327		57		89.5799999088		379.6199977696		3.2762997025

		PG&E		328		70		87.9100009277		379.330000937		3.2849965266

		PG&E		329		34		51.1699990034		220.5200035572		3.2960173593

		PG&E		330		101		107.610001035		463.1800069213		3.3027457742

		PG&E		331		312		128.0499991179		555.7399926186		3.3128789419

		PG&E		332		57		117.7486999035		512.5600030422		3.3250737567

		PG&E		333		223		88.6999994963		388.6500025392		3.333449971

		PG&E		334		26		51.8013000488		222.1899968386		3.3466035219

		PG&E		335		46		65.299999848		288.2600029707		3.3568298247

		PG&E		336		29		44.7500002384		194.6700069308		3.3652794279

		PG&E		337		219		136.2299987823		598.5099921227		3.374903606

		PG&E		338		58		63.8899995089		282.5400032997		3.3847923238

		PG&E		339		306		104.4000027142		463.6399987936		3.3989642118

		PG&E		340		36		92.4799993634		411.1399962902		3.4058080779

		PG&E		341		33		38.3099999279		170.2300000787		3.4140212175

		PG&E		342		45		66.070000127		292.5500048399		3.4249438339

		PG&E		343		126		129.7199980617		575.7499919534		3.43671597

		PG&E		344		51		75.0199998915		332.3300065994		3.4443549642

		PG&E		345		32		58.7100002468		263.1999955177		3.4549447596

		PG&E		346		144		72.919999361		329.0599995852		3.4652703239

		PG&E		347		31		80.2600005865		362.0599980354		3.4771230144

		PG&E		348		53		99.0887005329		447.8600049019		3.4827319541

		PG&E		349		99		76.0999994725		345.3600027263		3.4975795674

		PG&E		350		117		75.0099997818		338.9600033015		3.501075875

		PG&E		351		56		224.9599986374		1027.2900021076		3.5167319689

		PG&E		352		48		82.4400011301		375.0599963665		3.5235018432

		PG&E		353		145		61.1400012672		279.2699943185		3.5335109744

		PG&E		354		33		69.1900002658		316.6899971962		3.5446351441

		PG&E		355		76		81.8900001645		375.9399929047		3.5558441501

		PG&E		356		106		45.9599998295		211.0100035667		3.56308431

		PG&E		357		66		90.4500008225		413.6600039005		3.5764007352

		PG&E		358		27		41.6700000465		194.1100012064		3.5851026288

		PG&E		359		13		21.3099998832		98.1200003624		3.5975520244

		PG&E		360		212		72.8899999		339.1099959165		3.6016173689

		PG&E		361		21		45.2699996233		209.6100010872		3.6150406656

		PG&E		362		140		115.2399973571		538.0600047112		3.6249716946

		PG&E		363		35		58.1199988127		271.769998908		3.6339249066

		PG&E		364		23		57.6100009978		269.0899949074		3.6460474781

		PG&E		365		69		107.0499989986		502.9600055218		3.6543944539

		PG&E		366		212		149.4799984265		703.5399990678		3.6660055698

		PG&E		367		41		109.5099985003		516.4900050163		3.6763635263

		PG&E		368		94		91.6699989736		433.3800010681		3.6862506638

		PG&E		369		40		25.1000001132		118.7000029087		3.6980697691

		PG&E		370		21		48.9099987149		229.8799996376		3.7035086041

		PG&E		371		13		8.0299999118		38.0400004387		3.7151930699

		PG&E		372		51		55.9500005841		265.0300021172		3.7224706435

		PG&E		373		25		13.0399999022		62.7800006866		3.7327067947

		PG&E		374		37		32.0300003141		153.2999987006		3.7454448713

		PG&E		375		85		94.0826010928		452.4200018942		3.7532215848

		PG&E		376		45		40.8799993396		195.9400007725		3.7665314992

		PG&E		377		47		55.0799996555		263.4499998093		3.7743087069

		PG&E		378		25		37.009999752		178.6500022411		3.7872216129

		PG&E		379		75		17.8299999088		86.4499999285		3.799472545

		PG&E		380		26		29.6200003624		143.6900017262		3.8043935391

		PG&E		381		53		20.9199995995		101.379999876		3.8144300929

		PG&E		382		32		43.8799994588		210.82999897		3.823673524

		PG&E		383		62		41.3300012276		200.9599999785		3.834231692

		PG&E		384		78		74.3999989182		364.4499957561		3.8452663391

		PG&E		385		46		83.0899984837		404.1299946308		3.8560635266

		PG&E		386		60		55.2000006437		268.8600018024		3.8657398224

		PG&E		387		82		57.4199993312		283.219997406		3.8753681125

		PG&E		388		19		8.6000001431		42.2099988461		3.8841778103

		PG&E		389		19		43.3100003004		212.8999991417		3.8969573724

		PG&E		390		48		61.1199989915		302.7200015783		3.9050722569

		PG&E		391		21		20.9800001234		104.3500010371		3.9147871222

		PG&E		392		179		63.3362992406		316.7800073624		3.9232614253

		PG&E		393		73		69.6900012493		345.1699968576		3.9351183878

		PG&E		394		15		20.5499994755		101.5000021458		3.945837148

		PG&E		395		53		43.8200004399		218.010001421		3.9544250965

		PG&E		396		49		67.070002079		333.7699997425		3.9650381585

		PG&E		397		33		59.5100004673		296.9199972153		3.975547162

		PG&E		398		38		25.3099995255		126.6500034332		3.9823538316

		PG&E		399		9		18.3399999142		92.7100000381		3.9934958087

		PG&E		400		645		54.0999993272		279.2200026512		4

		PG&E		401		12		7.184199959		36.4599997997		4.0160585244

		PG&E		402		13		7.7899999619		39.6800003052		4.0250437076

		PG&E		403		45		31.4899993241		159.9899977446		4.0349993494

		PG&E		404		35		44.3900000602		226.4500026703		4.0446617535

		PG&E		405		1		0.5		2.5		4.0599999428

		PG&E		406		53		24.6299998462		125.8300010562		4.065682942

		PG&E		407		173		176.2995985448		908.6200140119		4.0763346418

		PG&E		408		34		32.3600002602		166.740000248		4.0881063798

		PG&E		409		15		2.5000000596		12.839999795		4.098572731

		PG&E		410		15		18.2800002098		93.349998951		4.1032881737

		PG&E		411		50		73.3399995565		377.0700036287		4.115902853

		PG&E		412		57		47.2000012398		243.3599976301		4.1251592803

		PG&E		413		27		20.0099999905		103.139998436		4.1341695609

		PG&E		414		12		26.1600000858		135.7800035477		4.1420040131

		PG&E		415		68		18.659999609		97.5900000334		4.1545203714

		PG&E		416		44		16.7399998233		87.3400021791		4.1660715558

		PG&E		417		39		46.5000003576		241.1899945736		4.1758329318

		PG&E		418		48		25.1499996632		131.3500006199		4.1869896948

		PG&E		419		150		56.1000004411		294.2399981618		4.1992708111

		PG&E		420		29		69.1800000072		360.4900057316		4.2034685201

		PG&E		421		28		22.6699997187		118.7099997997		4.2156591245

		PG&E		422		16		17.6000000834		91.9199991226		4.2280463278

		PG&E		423		20		35.0199990273		181.8699973822		4.2351169109

		PG&E		424		29		60.7899982333		317.2900018692		4.24403064

		PG&E		425		66		23.1099997014		123.1999999434		4.2510887276

		PG&E		426		52		37.1399998665		195.9199999571		4.2652521042

		PG&E		427		26		30.1800009012		159.7399988174		4.2738383733

		PG&E		428		31		33.7699993253		181.3100004196		4.2847685199

		PG&E		429		13		12.630000174		66.9300003052		4.2944712272

		PG&E		430		50		39.779998675		212.4299987555		4.3058256912

		PG&E		431		47		36.7416999303		194.7800020427		4.314289509

		PG&E		432		36		41.0099996924		218.2499995232		4.3253903257

		PG&E		433		195		27.48999965		150.2499996275		4.3335915908

		PG&E		434		33		46.0199988484		247.6200056076		4.3418907686

		PG&E		435		20		16.0299998522		86.3600006104		4.3560798407

		PG&E		436		8		4.3299999833		23.1300003529		4.3601808548

		PG&E		437		54		38.4699993134		207.8900012374		4.374611104

		PG&E		438		15		10.9999997616		60.4600000381		4.3833186467

		PG&E		439		241		18.9300002009		103.990000844		4.3994685031

		PG&E		440		39		32.159999609		175.8999996185		4.4031362167

		PG&E		441		15		20.6400000378		112.2499998808		4.417013518

		PG&E		442		26		11.8200000226		64.5199990273		4.4254362033

		PG&E		443		19		6.0100000203		32.8400005102		4.4357017969

		PG&E		444		8		9.0299998522		49.2499983311		4.4435905218

		PG&E		445		49		31.9700003266		175.6200020313		4.4547351136

		PG&E		446		40		17.1599997282		94.7499989271		4.463833189

		PG&E		447		14		88.3599995375		491.5200133324		4.4724989278

		PG&E		448		38		45.0300000906		250.4700031281		4.4857059278

		PG&E		449		33		17.1000003219		95.0400009155		4.496907581

		PG&E		450		74		35.8599993475		200.1199970543		4.5003896855

		PG&E		451		13		112.4899999201		629.8300110102		4.5147051811

		PG&E		452		22		36.7600000799		205.0399959087		4.5269623886

		PG&E		453		109		54.2099999785		303.8100017905		4.5368393977

		PG&E		454		8		3.7700000405		21.2600001097		4.5443859696

		PG&E		455		32		20.5137998089		115.5100015104		4.5569899529

		PG&E		456		33		31.4699998945		177.2400026917		4.5653586243

		PG&E		457		20		19.6200003922		111.479999423		4.5766283989

		PG&E		458		13		9.8400000259		56.5500010252		4.585164767

		PG&E		459		32		19.9800003767		114.5100026131		4.5997062922

		PG&E		460		192		73.5500017218		421.1399968565		4.6015010327

		PG&E		461		68		62.3399999142		356.0599982738		4.6159034266

		PG&E		462		49		48.3499994874		276.3000035286		4.6244947764

		PG&E		463		37		16.1200002134		92.359999299		4.6386994671

		PG&E		464		13		3.3700000346		19.5599994659		4.6473947672

		PG&E		465		26		31.0299987495		176.870002985		4.6572639759

		PG&E		466		75		19.1900001951		109.8299994469		4.6661495527

		PG&E		467		47		40.8699998856		233.6699979305		4.6772585017

		PG&E		468		43		54.699998945		313.5999990106		4.6863487377

		PG&E		469		47		31.0799992979		178.3900024891		4.6933035952

		PG&E		470		18		31.439999342		180.1199970245		4.7025966644

		PG&E		471		1		3.4500000477		19.3799991608		4.715941906

		PG&E		472		10		5.760000065		33.2600001097		4.7228198051

		PG&E		473		43		34.6799998581		199.9000034332		4.7335008022

		PG&E		474		29		36.1399998665		211.2399935722		4.7481083706

		PG&E		475		34		8.5799999312		49.0199997276		4.7505446041

		PG&E		476		86		46.7199994028		272.0899977684		4.7655582982

		PG&E		477		3		3.8000001013		22.5400004387		4.7732316653

		PG&E		478		28		42.9199998975		250.2800028324		4.7860208069

		PG&E		479		55		45.0999995992		263.1500017941		4.7984545534

		PG&E		480		31		26.7999995351		158.0699964762		4.8039232839

		PG&E		481		50		22.4499996603		132.8800003529		4.815441885

		PG&E		482		17		7.5800000131		43.189999342		4.8227447341

		PG&E		483		34		6.6000001803		39.7000002265		4.8333333801

		PG&E		484		101		31.3299990892		185.2599986792		4.8451386112

		PG&E		485		7		2.0300000012		11.9899995327		4.8507744925

		PG&E		486		16		15.7500002384		93.9400005341		4.8671685457

		PG&E		487		21		5.5499999225		33.369999826		4.8758258593

		PG&E		488		14		16.8599995375		100.9500005245		4.8832477161

		PG&E		489		34		33.5700002909		198.3099994659		4.8935960321

		PG&E		490		19		7.7499999404		46.5700010061		4.9047553163

		PG&E		491		15		19.3799992502		114.369997263		4.915088431

		PG&E		492		43		12.9199998677		77.4300011396		4.9232646033

		PG&E		493		41		33.629999876		200.490000248		4.935097392

		PG&E		494		20		14.9599998891		90.0300014019		4.948029542

		PG&E		495		19		7.7299997807		46.2999997139		4.954365655

		PG&E		496		26		16.2599996328		97.3100004196		4.9632825118

		PG&E		497		24		33.8999998569		206.0999965668		4.9755301476

		PG&E		498		25		28.5099993348		172.3999993801		4.9826252174

		PG&E		499		29		51.4299995676		313.6200056672		4.9997515843

		PG&E		500		428		29.9799995571		184.4899994284		5.0000002228

		PG&E		501		4		3.3199999332		20.4200000763		5.0120482445

		PG&E		502		26		32.7999999523		200.9300026894		5.0286910717

		PG&E		503		14		7.2999999523		44.8100004196		5.0344646318

		PG&E		504		6		6.1799998283		37.5600013733		5.0485434532

		PG&E		505		8		6.7599998713		41.6400003433		5.0540626049

		PG&E		506		26		10.0199998617		61.3999994993		5.0618106035

		PG&E		507		17		16.4199997783		100.8300001621		5.0781634836

		PG&E		508		15		16.909999609		103.6300017834		5.0855284691

		PG&E		509		19		7.2900000811		44.9499994516		5.0945453393

		PG&E		510		15		15.0299997926		93.0100007057		5.1050281207

		PG&E		511		17		10.1999998093		62.3300008774		5.1184949875

		PG&E		512		40		24.0100003034		149.070001781		5.1243902326

		PG&E		513		11		7.2004001141		44.7499992847		5.1362455541

		PG&E		514		17		9.0000000596		55.9099986553		5.1482888671

		PG&E		515		15		15.8200000823		97.4300014973		5.1564453761

		PG&E		516		31		26.7000003979		165.7200007439		5.165008145

		PG&E		517		7		19.1599993706		117.700003624		5.1717870576

		PG&E		518		18		10.6300002337		67.1400010586		5.1850423283

		PG&E		519		48		11.9100001231		74.7099993825		5.1995899677

		PG&E		520		26		35.3199986219		222.9299988747		5.2051133743

		PG&E		521		28		24.9599999487		156.5700016022		5.2141360385

		PG&E		522		7		5.3299999833		33.7099986076		5.2269882475

		PG&E		523		20		9.8900000453		62.1399993896		5.2373191833

		PG&E		524		23		10.2799997926		64.1600000858		5.2492777368

		PG&E		525		13		100.8999998569		641.6199913025		5.2575756953

		PG&E		526		48		28.1399998963		178.1999999285		5.2650380731

		PG&E		527		15		10.749999851		68.4599995613		5.2745653152

		PG&E		528		18		11.3999997675		72.1200013161		5.2850389481

		PG&E		529		22		103.8457997665		664.1300188303		5.2964118177

		PG&E		530		17		19.6499996483		124.8899981976		5.3034840472

		PG&E		531		15		8.779999882		56.7000007629		5.3142172496

		PG&E		532		7		11.68999964		74.5299983025		5.3258721488

		PG&E		533		312		20.259999603		131.9300018251		5.3334779969

		PG&E		534		18		20.4600001574		131.3999977112		5.3482840856

		PG&E		535		12		12.2399997711		79.5		5.3573191166

		PG&E		536		43		26.6100003123		171.1000013351		5.3628805404

		PG&E		537		20		14.7900000513		94.1900019646		5.3760609627

		PG&E		538		13		14.2399994135		91.2900011539		5.3858962426

		PG&E		539		16		16.5999994278		107.8000006676		5.3986091018

		PG&E		540		16		2.7500000261		17.6599999666		5.4000000954

		PG&E		541		2		9.4899998829		61.2100017071		5.4180450439

		PG&E		542		21		13.3699997067		86.99000144		5.4232090995

		PG&E		543		41		32.2100000083		209.3499937057		5.4360884806

		PG&E		544		21		17.8499993682		116.9600019455		5.445221197

		PG&E		545		23		9.3999999464		60.9100012779		5.4549959017

		PG&E		546		39		42.7200006247		278.070002079		5.4640461359

		PG&E		547		13		31.1399998665		204.0599994659		5.4763472264

		PG&E		548		22		20.4799998403		134.0599966049		5.486535159

		PG&E		549		13		15.0900005102		99.3299980164		5.4936362046

		PG&E		550		53		86.1399999633		569.5400218964		5.5027697761

		PG&E		551		35		31.7999996543		207.9600012302		5.5172087397

		PG&E		552		30		35.3999998569		232.7999982834		5.524994278

		PG&E		553		22		19.0699999332		124.849998951		5.5343016061

		PG&E		554		68		12.3399999738		82.4100003242		5.5452398833

		PG&E		555		21		21.2099998593		141.2900006771		5.5585771288

		PG&E		556		12		4.0700000226		26.910000205		5.5648969014

		PG&E		557		9		4.5299999118		29.75		5.5783311526

		PG&E		558		7		12.7799993679		84.090000689		5.587057318

		PG&E		559		55		10.5600003041		70.5400006175		5.5990080573

		PG&E		560		11		5.9099999666		39.7099997997		5.6058824279

		PG&E		561		40		33.6799997091		223.4099931717		5.6183163643

		PG&E		562		34		25.6399992257		171.2300025225		5.6257312438

		PG&E		563		79		16.2500001192		109.7600021362		5.6371000085

		PG&E		564		3		0.8799999952		5.9700000286		5.6486112277

		PG&E		565		22		67.1499988437		453.6499893665		5.6559472734

		PG&E		566		71		39.6299993545		266.5299987793		5.6658111022

		PG&E		567		21		23.7199995518		161.470001936		5.6750674248

		PG&E		568		28		23.1399998963		155.5900021791		5.6860296045

		PG&E		569		26		5.405800119		37.069999814		5.6989716933

		PG&E		570		5		4.2100000083		28.919999361		5.7078368187

		PG&E		571		16		25.6099999547		173.4599981308		5.7158211768

		PG&E		572		82		32.2399996817		220.6900010109		5.7262617495

		PG&E		573		19		10.96999982		75.0299998522		5.7340227177

		PG&E		574		13		9.5899998546		66.2100009918		5.7465465619

		PG&E		575		20		19.4899995402		133.5199976563		5.7529915571

		PG&E		576		10		3.7600000799		25.0899996758		5.7640868664

		PG&E		577		14		6.589999944		44.9199998379		5.7726368904

		PG&E		578		8		8.3400001228		56.3699979782		5.7806921601

		PG&E		579		9		2.7300000452		18.4700005352		5.7937982877

		PG&E		580		3		2.099999994		14.2699999809		5.803788503

		PG&E		581		18		14.3900000453		98.5599988699		5.8147530821

		PG&E		582		14		11.4695999622		78.6100010872		5.8220505033

		PG&E		583		20		3.5699999258		24.7299998403		5.8334338903

		PG&E		584		20		10.3199997544		71.5400004387		5.8445775032

		PG&E		585		4		3.1199999452		21.7000002861		5.8558522463

		PG&E		586		14		16.2599993646		111.549998045		5.8674536433

		PG&E		587		28		13.9800001681		97.9299986362		5.8745134558

		PG&E		588		16		21.8699990511		151.2700028419		5.8865881264

		PG&E		589		1		2.0299999714		14.3599996567		5.8965520859

		PG&E		590		27		6.9299998283		48.4000005722		5.9055965741

		PG&E		591		19		7.6799998507		54		5.9128608955

		PG&E		592		14		8.9499998689		62.5299992561		5.9283289569

		PG&E		593		29		7.7499997914		54.9700014591		5.9377642993

		PG&E		594		13		16.8799993992		117.5999987125		5.9439176046

		PG&E		595		1		0.8299999833		5.8899998665		5.9518074989

		PG&E		596		13		12.4100000262		86.8400001526		5.9635742261

		PG&E		597		8		3.969999969		27.5900006294		5.9743441939

		PG&E		598		14		10.0999999642		70.7800006866		5.9852099078

		PG&E		599		9		8.279999733		58.720001936		5.9943504333

		PG&E		600		182		15.5099997651		111.1099994108		6.0000001336

		PG&E		601		20		60.349999547		429.6299991608		6.0148432732

		PG&E		602		1		0.8299999833		5.9699997902		6.024096489

		PG&E		603		15		8.2699999809		58.5299999714		6.0360864639

		PG&E		604		18		10.6200002432		74.9999978542		6.0454033216

		PG&E		605		13		7.7599999458		55.4700013399		6.0548681112

		PG&E		606		41		12.1499997675		87.4899997711		6.0627973952

		PG&E		607		14		62.8599996567		450.3800034523		6.0755731038

		PG&E		608		1		0.1199999973		0.8100000024		6.0833334923

		PG&E		609		23		12.8600002527		92.060000658		6.0959585853

		PG&E		610		19		24.3499993682		174.8600006104		6.1046760208

		PG&E		611		6		7.0799996853		50.7600002289		6.1186442375

		PG&E		612		37		87.8800001591		641.0199999213		6.1243783203

		PG&E		613		8		14.9799995422		108.2400050163		6.138004303

		PG&E		614		12		6.6600000858		48.4799995422		6.1441557407

		PG&E		615		5		1.8200000525		13.1099998951		6.1532119751

		PG&E		616		7		3.4200000688		24.2200006247		6.1640691757

		PG&E		617		7		13.1599993706		94.0200026035		6.1719570841

		PG&E		618		18		6.3299999386		45.5799992681		6.1862166193

		PG&E		619		39		31.9799999259		233.2400016785		6.1976945828

		PG&E		620		8		4.3599998951		32.0499997139		6.2012051344

		PG&E		621		28		24.3599993587		177.32999897		6.2169688089

		PG&E		623		7		0.9899999648		7.189999938		6.2318161556

		PG&E		624		3		2.819999963		20.5700001717		6.2434585889

		PG&E		625		14		3.6399999186		26.4200000763		6.25

		PG&E		626		7		7.9099996686		58.4100003242		6.2630474227

		PG&E		627		7		11.5099998116		84.4400024414		6.2755420549

		PG&E		628		9		4.2599999309		31.279999733		6.2858445379

		PG&E		629		1		2.0799999237		15.0900001526		6.2932696342

		PG&E		630		14		5.5200000405		40.3000006676		6.3075111934

		PG&E		631		17		4.059999913		30.740000844		6.3125885795

		PG&E		632		8		8.8599996567		65.8500013351		6.3261835575

		PG&E		633		47		7.130000025		53.1600015163		6.3334189171

		PG&E		634		9		6		44.5999996662		6.3444445928

		PG&E		635		19		52.0499985218		389.1900033951		6.3566246284

		PG&E		636		15		12.2400000095		90.2200021744		6.3627800941

		PG&E		637		79		7.3099998385		54.6500013471		6.3749809386

		PG&E		638		6		3.7799999714		28.3199987411		6.3809523582

		PG&E		639		36		14.4399997294		108.8100004196		6.3991949823

		PG&E		641		20		14.3099995777		106.2299996614		6.4155252457

		PG&E		642		12		5.2600000799		39.6099998951		6.4241769314

		PG&E		643		3		1.1499999762		9.4499998093		6.4362451235

		PG&E		644		7		7.2799999714		53.929997921		6.4421241624

		PG&E		645		4		3.1699999869		24.0399997234		6.4543892145

		PG&E		646		16		8.3000001907		61.7200009823		6.4656508565

		PG&E		647		12		6.659999907		50.2199993134		6.4776785374

		PG&E		648		10		4.469999969		34.1699995995		6.4859226227

		PG&E		649		94		14.6499999091		110.6700005531		6.4993101384

		PG&E		650		10		9.439999938		70.8400015831		6.5038596153

		PG&E		651		6		4.7999999523		36.1200003624		6.5181066195

		PG&E		652		13		7.2899999917		55.8399987221		6.5223543094

		PG&E		653		22		15.9200001955		121.5000035763		6.538031448

		PG&E		654		16		7.6400001049		58.0299999714		6.5482504964

		PG&E		655		3		2.1599999666		16.4800000191		6.5561445554

		PG&E		656		21		7.4599999487		57.1500003338		6.5640491758

		PG&E		657		3		1.4900000095		11.4199998379		6.5766094526

		PG&E		658		1		0.1199999973		0.9200000167		6.5833334923

		PG&E		659		13		4.1300000548		31.7999994755		6.5992584595

		PG&E		660		41		13.6900000907		104.4800001383		6.6026585044

		PG&E		661		14		9.1300000548		69.6100006104		6.6159676484

		PG&E		662		43		6.6599998623		51.4200006723		6.6253420586

		PG&E		663		2		1.3299999833		10.3100001812		6.6392772198

		PG&E		664		12		9.7799999714		74.8800001144		6.6438634396

		PG&E		665		21		11.8899999261		92.2599983215		6.6530750138

		PG&E		666		44		3.2689999845		25.5200000033		6.6665756486

		PG&E		667		3		1.8299999833		14.1899998188		6.6782328288

		PG&E		668		15		8.4799998701		66.1799988747		6.6860840162

		PG&E		669		1		0.5		3.8199999332		6.6999998093

		PG&E		671		1		0.8299999833		6.5300002098		6.7108435631

		PG&E		672		20		19.9999995828		156.0500044823		6.7239735126

		PG&E		673		3		1.4799999893		11.5799998045		6.736090978

		PG&E		674		14		17.6199997663		136.7899980545		6.7446244104

		PG&E		675		33		3.6099999845		28.3400001526		6.7502299367

		PG&E		676		13		6.7500000596		53.2099981308		6.767965867

		PG&E		677		19		17.3899995685		135.8899965286		6.7783306774

		PG&E		678		2		1.3299999833		10.4899997711		6.7815666199

		PG&E		679		9		2.1099999882		16.7100000381		6.7987592485

		PG&E		680		8		4.0900000334		32.2199993134		6.8041646481

		PG&E		681		16		11.7600001991		91.7499997616		6.8167692423

		PG&E		682		1		0.8100000024		6.5199999809		6.8271608353

		PG&E		683		4		1.6199999899		12.7099998593		6.8335889578

		PG&E		684		13		5.2400001287		41.4299998283		6.8475279441

		PG&E		685		15		5.9099999368		46.8899996281		6.8551427205

		PG&E		686		16		7.0999998748		56.699999094		6.8662541509

		PG&E		687		39		5.9899999052		47.7799999714		6.8752840605

		PG&E		688		13		68.4899994731		548.9799847603		6.8861836287

		PG&E		689		7		1.4299999923		11.4700001478		6.8987952641

		PG&E		690		3		1.4100000262		11.3000001907		6.9082824389

		PG&E		691		2		1.6399999857		13.25		6.9146211147

		PG&E		692		10		10.7699998021		86.5400009155		6.9217843056

		PG&E		693		14		3.0799999535		24.990000248		6.9377970355

		PG&E		695		7		4.4900000691		35.7200007439		6.9509602274

		PG&E		696		1		0.5		4.0500001907		6.9600000381

		PG&E		697		13		9.2900001407		74.2999982834		6.9719266891

		PG&E		698		1		0.5		3.9400000572		6.9800000191

		PG&E		699		42		3.2900000568		26.9199999869		6.9999999319

		PG&E		700		196		18.5099997353		150.7000013739		7.0002429534

		PG&E		701		4		2.9899999499		24.1800003052		7.0140365362

		PG&E		702		8		4.1199999452		33.1199994087		7.0243171453

		PG&E		703		8		2.3899999559		19.3999993801		7.0376344323

		PG&E		704		1		0.6299999952		5.1500000954		7.0476193428

		PG&E		706		8		1.6200000048		13.0899999142		7.0620263815

		PG&E		707		10		8.6599999666		69.4999997616		7.0796823978

		PG&E		708		14		12.0499997661		98.5099992156		7.0868065698

		PG&E		709		7		3.9300000221		32.3499996662		7.0936888286

		PG&E		710		1		0.75		6.1900000572		7.1066665649

		PG&E		711		8		3.4500000477		27.8400001526		7.1130388975

		PG&E		712		49		7.0899999142		58.1400001049		7.1253917071

		PG&E		713		2		1.2599999905		10.470000267		7.1345682144

		PG&E		714		1		0.8299999833		6.7699999809		7.1445784569

		PG&E		715		12		8.2599999905		67.5400009155		7.1561547915

		PG&E		716		10		1.5600000322		12.8099999428		7.1666664124

		PG&E		717		6		4.8000000715		39.9000005722		7.1749997139

		PG&E		718		3		1.1499999762		9.4900000095		7.1852410634

		PG&E		719		3		1.8499999642		15.7100000381		7.1950262388

		PG&E		720		6		1.2299999893		10.1799999475		7.2008035183

		PG&E		721		2		1.1599999964		9.5900001526		7.2144944668

		PG&E		722		1		0.8299999833		6.9000000954		7.2289156914

		PG&E		723		1		0.5		4.0799999237		7.2399997711

		PG&E		724		30		9.4299999326		77.8000027537		7.2493049781

		PG&E		725		5		1.3099999726		10.5500001907		7.2506024361

		PG&E		726		8		4.6899999976		39.0700006485		7.2665257454

		PG&E		727		14		4.4300000966		37.2899992466		7.2776098251

		PG&E		728		4		2		16.470000267		7.2800002098

		PG&E		729		1		2.4700000286		20.9400005341		7.2914981842

		PG&E		730		7		6.580000259		55.1400011182		7.3047617504

		PG&E		731		5		1.469999969		12.3499999046		7.3126506805

		PG&E		732		3		2.1599999666		17.9800000191		7.3235341708

		PG&E		733		57		10.4399997555		88.2200015187		7.3333334923

		PG&E		734		6		5.5800000429		47.57999897		7.3440856934

		PG&E		735		7		3.1300000548		26.319999218		7.3508804866

		PG&E		736		3		2.1900000572		18.6599993706		7.3698630333

		PG&E		737		25		3.6999999285		31.2900004387		7.3741428375

		PG&E		738		12		7.8599996567		67.0200026035		7.3829858303

		PG&E		739		34		7.5500001349		63.5699998438		7.4000000112

		PG&E		741		2		0.7499999925		6.3600000739		7.4146826267

		PG&E		742		9		9.1499999464		78.2299981117		7.4227995872

		PG&E		743		7		7.1199997962		61.0599988699		7.4319582667

		PG&E		744		1		0.8299999833		7.0199999809		7.4457831383

		PG&E		745		6		4.5		38.3399991989		7.4533333778

		PG&E		746		15		103.5299999118		890.1499929428		7.4669617017

		PG&E		747		19		12.069999963		103.3299994469		7.4767082365

		PG&E		749		1		0.8299999833		7.1199998856		7.4939756393

		PG&E		750		36		5.0299999118		43.2099995613		7.5001677805

		PG&E		751		8		5.0800000429		43.8099989891		7.5160295963

		PG&E		752		6		4.0800000429		34.6199998856		7.5294113159

		PG&E		753		8		4.8099998832		41.0500006676		7.5346273184

		PG&E		754		7		12.8299999833		109.3500013351		7.5445956503

		PG&E		755		12		8.1599997282		69.8400027752		7.5574388504

		PG&E		756		12		11.3399997354		98.0400009155		7.5613920689

		PG&E		757		17		11.2999996245		97.4900004864		7.5750553468

		PG&E		758		6		6.9399999604		60.1600000262		7.5841822624

		PG&E		759		27		11.2000001818		97.7699992657		7.599999781

		PG&E		760		12		8.2200002074		71.5200004578		7.6065454483

		PG&E		761		13		7.089999795		62.5200002193		7.6157117257

		PG&E		762		24		4.3999999017		38.0499994159		7.6250004768

		PG&E		763		12		1.3199999928		11.5800000429		7.6363635063

		PG&E		764		7		5.1999999285		44.6400003433		7.6438099997

		PG&E		765		14		6.0100000799		52.1600012779		7.6536367961

		PG&E		766		19		0.5699999873		5.0099999607		7.6666669846

		PG&E		767		14		5.9800000787		52.3299999237		7.6754649026

		PG&E		768		13		43.6099999547		384.170003891		7.681172701

		PG&E		769		10		15.719999373		138.7499957085		7.6978079796

		PG&E		771		8		13.9899993539		123.5700006485		7.7120313644

		PG&E		772		1		0.8299999833		7.3099999428		7.7228913307

		PG&E		773		18		14.1800001562		125.3499999046		7.7358797126

		PG&E		774		13		15.2099995613		134.220000267		7.7446958835

		PG&E		775		37		16.8999998569		149.5200003386		7.7508054166

		PG&E		776		7		4.5800000429		40.7100009918		7.7640338625

		PG&E		778		1		0.8299999833		7.3800001144		7.7831325531

		PG&E		779		10		4.2800000459		37.3199989796		7.7964706421

		PG&E		780		2		1.3299999833		11.7199997902		7.8036146164

		PG&E		781		13		3.0999999642		27.6900006533		7.8166407805

		PG&E		782		3		1.5		13.0499997139		7.8200001717

		PG&E		783		9		11.2399996519		99.1399974823		7.8308558994

		PG&E		784		15		9.3899999261		84.2299993038		7.8465095838

		PG&E		785		13		3.7699999511		34.3899991512		7.8570105479

		PG&E		786		15		8.0099999905		71.3099997044		7.864618969

		PG&E		787		28		8.7999999821		78.0899979472		7.8756890638

		PG&E		788		6		1.0800000429		9.8399999142		7.8888883591

		PG&E		790		14		41.4399995208		374.1200003624		7.905310767

		PG&E		791		14		7.8399999738		71.2400007248		7.9134020124

		PG&E		792		22		11.4200000167		102.9799971581		7.924803387

		PG&E		793		13		3.6499999762		32.8600001335		7.9367432961

		PG&E		794		8		6.8200001717		68.1800003052		7.9469314218

		PG&E		795		1		0.8299999833		8		7.9518074989

		PG&E		796		3		2.1599999666		19.4499998093		7.9625705083

		PG&E		797		13		7.1899999976		65.5599989891		7.9724260477

		PG&E		798		1		0.5		4.4200000763		7.9800000191

		PG&E		800		100		6.9000000414		63.0199991316		8

		PG&E		801		7		5.9900000691		54.2699999809		8.011687415

		PG&E		804		1		0.8299999833		7.5999999046		8.0481929779

		PG&E		805		12		13.0799996853		118.6799983978		8.050424099

		PG&E		806		12		3.4299999475		31.9200000763		8.0619656245

		PG&E		807		7		7.5799996853		68.6199975014		8.0768037524

		PG&E		809		16		10.9999996275		102.9600030184		8.0965538025

		PG&E		810		4		3.3199999332		32.319999218		8.1084337234

		PG&E		811		19		10.4600001574		96.1600012779		8.114081182

		PG&E		812		32		5.2299999148		49.0800001621		8.124866426

		PG&E		813		7		33.6399995089		306.7499990463		8.1315035139

		PG&E		814		7		7.5799996853		69.1899986267		8.1434867041

		PG&E		815		2		1		9.0900001526		8.1599998474

		PG&E		816		2		1.6599999666		15.3800001144		8.1686754227

		PG&E		817		6		4.0800000429		37.1400003433		8.1764707565

		PG&E		818		19		16.2199993134		150.9800024033		8.1852420506

		PG&E		819		4		2.3299999721		21.6700002551		8.1988279819

		PG&E		821		8		5.8499999344		54.7200007439		8.2121771574

		PG&E		822		1		0.8299999833		7.7600002289		8.2289161682

		PG&E		823		13		8.8399996459		82.0599989891		8.2378694094

		PG&E		824		1		1.2799999714		12.1400003433		8.2421875

		PG&E		825		31		4.1799999177		39.0599999428		8.2503581816

		PG&E		826		1		1.6599999666		15.1199998856		8.2650604248

		PG&E		827		2		1.3299999833		12.3699998856		8.2785539627

		PG&E		828		13		17.0499994159		160.4199972153		8.2833858637

		PG&E		829		8		1.0100003928		14.1900002956		8.2987856865

		PG&E		830		3		2.8899999857		26.8199996948		8.3034261068

		PG&E		831		13		8.5399996638		79.4300017357		8.3135663546

		PG&E		833		13		0.870000001		8.3199999928		8.3333338958

		PG&E		834		11		5.0800000429		48.1500000954		8.344820196

		PG&E		835		6		3		28.319999218		8.3599996567

		PG&E		836		8		3.9199999571		36.5		8.3652063608

		PG&E		837		25		3.9499999136		37.1599998474		8.3749397659

		PG&E		838		8		5.8000000715		54.8399991989		8.3856248856

		PG&E		839		6		3		28.5		8.3999996185

		PG&E		840		7		13.4899993539		128.8099989891		8.4078768321

		PG&E		842		7		5.5		51.6699995995		8.4211428506

		PG&E		843		6		1.6399999857		15.4299998283		8.4383331935

		PG&E		846		3		1.8299999833		17.3399996758		8.4632933935

		PG&E		847		2		2.1299999952		19.7399997711		8.4792633057

		PG&E		848		9		3.5700000823		33.9400012493		8.4871972402

		PG&E		849		7		13.4299994111		127.0100007057		8.4950580597

		PG&E		850		42		6.2599998973		59.9899993092		8.5002868743

		PG&E		851		7		2.1900000274		21.120000124		8.5159897123

		PG&E		854		3		0.9900000393		9.5800001621		8.5454540253

		PG&E		856		9		1.4399999678		13.779999733		8.5625

		PG&E		857		3		1.6599999964		16.0600004196		8.5780232747

		PG&E		858		6		4.3800001144		42.8399991989		8.5890407562

		PG&E		859		7		1.7300000191		16.6600008011		8.5986225946

		PG&E		860		5		0.700000003		6.6599997282		8.6000003815

		PG&E		861		2		1.6599999666		16.1400003433		8.6144580841

		PG&E		862		28		9.4699997455		92.7099992037		8.6232067857

		PG&E		863		9		8.398699671		80.9299991131		8.6356798808

		PG&E		864		3		2.8000000119		27.1599993706		8.643397967

		PG&E		865		2		2.1599999666		20.759999752		8.6583132744

		PG&E		866		18		0.5399999879		5.4000002146		8.6666669846

		PG&E		867		1		0.8299999833		8.1000003815		8.6746988297

		PG&E		868		8		2.6099999547		25.1899994612		8.686468482

		PG&E		869		10		3.8400000334		37.2799992561		8.6970664978

		PG&E		872		8		3.310000062		32.2900009155		8.7258162498

		PG&E		873		1		0.5		4.8099999428		8.7399997711

		PG&E		874		2		0.9912999868		9.7899997234		8.7442317009

		PG&E		875		17		2.0799999535		20.2999999523		8.75

		PG&E		876		11		6.6299999952		64.9399995804		8.7608393756

		PG&E		877		1		0.8299999833		8.1400003433		8.7710847855

		PG&E		878		12		8.7599996924		86.1000022888		8.786924839

		PG&E		879		3		0.3000000045		2.9500000477		8.8000001907

		PG&E		880		6		3.3299999833		32.8599996567		8.8012049993

		PG&E		881		13		3.0941999704		30.5499994755		8.8147856639

		PG&E		882		1		0.8295999765		8.1800003052		8.8235301971

		PG&E		883		1		0.8299999833		8.3299999237		8.831325531

		PG&E		884		14		5.0199999511		50.1199996471		8.8436832428

		PG&E		885		3		1.8299999833		18.2999997139		8.8584737778

		PG&E		886		2		1.4799999595		14.759999752		8.8645043373

		PG&E		887		13		3.1899999529		31.4399994016		8.8759865394

		PG&E		888		2		0.6700000018		6.7400000095		8.8811764717

		PG&E		889		3		2.6399999857		25.720000267		8.898780187

		PG&E		890		7		3.2899999619		32.6499996185		8.9026069641

		PG&E		891		2		0.9757999778		9.8800001144		8.9157762527

		PG&E		892		14		6.0699999332		61.0499982834		8.9239288739

		PG&E		893		14		3.0899999738		30.8200007677		8.9379923684

		PG&E		896		4		1.4900000393		14.9299998283		8.9672727585

		PG&E		897		7		6.2599998713		63.0099992752		8.9792859214

		PG&E		898		12		14.1600004435		143.0999994278		8.9865412712

		PG&E		899		5		1.3099999987		13.4099998474		9

		PG&E		900		131		4.3499999233		44.3400003612		9.0000008954

		PG&E		901		1		0.8299999833		8.4099998474		9.0120487213

		PG&E		902		1		0.5		4.9899997711		9.0200004578

		PG&E		903		3		1.8299999833		18.3899998665		9.0387150447

		PG&E		904		1		0.4842000008		4.9699997902		9.0458488464

		PG&E		906		7		2.9599999487		29.7099989653		9.0626814706

		PG&E		907		8		1.4099999666		14.3500003815		9.0773079395

		PG&E		908		1		0.8299999833		8.3800001144		9.0843372345

		PG&E		909		6		0.6599999964		6.7200000286		9.0909090042

		PG&E		910		1		1.6599999666		16.6499996185		9.1084337234

		PG&E		912		20		4.1599999964		42.3500009775		9.125

		PG&E		913		8		3.939999938		40.3599996567		9.1318171024

		PG&E		914		8		4.2800000608		44.5500011444		9.1448199749

		PG&E		915		17		13.0899998248		133.8599972725		9.1521793814

		PG&E		916		1		0.4799999893		4.9899997711		9.1666669846

		PG&E		918		16		6.3900001347		65.5199996233		9.1845453978

		PG&E		919		8		1.9000000358		19.3199996948		9.1999998093

		PG&E		920		7		1.1299999878		11.6699995995		9.2006883621

		PG&E		921		13		12.3999997377		128.9900016785		9.215321174

		PG&E		922		1		0.5		5.0599999428		9.220000267

		PG&E		923		5		1.1100000143		11.3200001717		9.2320735931

		PG&E		924		13		9.5699997842		98.1999998093		9.2474611723

		PG&E		925		24		2.3999999464		24.7099997997		9.25

		PG&E		926		6		7.0799996853		73.9199981689		9.2627124786

		PG&E		927		5		1.9900000393		20.470000267		9.2756361008

		PG&E		929		12		3.0000000447		30.6600008011		9.3000001907

		PG&E		930		14		4.1400000751		42.9600003958		9.3053446497

		PG&E		931		6		3.8899999857		40.07999897		9.3150954247

		PG&E		932		6		5.1000001431		52.6799983978		9.3294115067

		PG&E		933		19		1.049999997		11.129999876		9.3333339189

		PG&E		934		1		0.8299999833		8.5900001526		9.3493976593

		PG&E		935		10		8.8899996877		93.1100003719		9.3570431709

		PG&E		936		9		1.9500000179		20.2699999809		9.3637964461

		PG&E		937		19		2.3499999493		24.340000093		9.3749207446

		PG&E		938		4		0.8799999952		9.1700000763		9.3858566284

		PG&E		939		23		3.9800000452		41.6899995804		9.3997361142

		PG&E		940		1		0.8299999833		8.7100000381		9.4096384048

		PG&E		941		1		0.3100000024		3.2400000095		9.4193553925

		PG&E		942		1		0.5		5.1700000763		9.4200000763

		PG&E		943		18		10.0099996328		105.5700016022		9.4356644419

		PG&E		944		6		33		350.8200073242		9.4418182373

		PG&E		945		8		7.7399997115		82.1899998188		9.4568567276

		PG&E		946		4		1.2599999905		13.0499999523		9.4607696533

		PG&E		947		12		8.3399996459		88.8000025749		9.4753837585

		PG&E		948		9		12.2699997127		130.5500006676		9.4871088664

		PG&E		949		6		0.6000000089		6.3599996567		9.5

		PG&E		950		13		3.2699999511		34.4000003338		9.5004634124

		PG&E		952		2		1		10.5		9.5200004578

		PG&E		953		16		3.2899999917		34.9800002575		9.5357926488

		PG&E		954		7		2.3100000918		24.5999999046		9.5454540253

		PG&E		955		7		2.9900000691		31.9199995995		9.5553640638

		PG&E		956		12		6.9700000286		74.6999989748		9.5623423258

		PG&E		957		2		0.8300000131		8.7699999809		9.5778784752

		PG&E		959		4		0.200000003		2.1099998951		9.5999994278

		PG&E		960		3		1.1600000262		12.3599996567		9.6040401459

		PG&E		961		13		3.0600000024		32.7199999094		9.6136959516

		PG&E		962		10		5.1200000644		55.230001986		9.625

		PG&E		966		40		4.2200000603		45.2700006664		9.6665665388

		PG&E		967		6		1.6800000072		17.8200001717		9.678571701

		PG&E		968		4		1.9799999595		21.2099995613		9.6871237755

		PG&E		969		19		5.6599999964		61.650000453		9.6960825167

		PG&E		972		2		0.8300000131		8.9500000477		9.7236361504

		PG&E		973		7		2.7799999714		30.1399993896		9.7372932434

		PG&E		974		25		4.6600000262		50.6300010681		9.7496551895

		PG&E		975		8		3.060000062		33.4199991226		9.7518937588

		PG&E		976		3		0.3899999857		4.2199999094		9.7692308426

		PG&E		978		9		6.4699999094		69.6399972439		9.784187105

		PG&E		980		8		3.1000000015		34.0199986696		9.8000001907

		PG&E		981		9		2.4499999881		26.6699995995		9.8145160675

		PG&E		984		4		1.0900000036		11.8199999332		9.8451981544

		PG&E		985		8		2.589999944		28.2499995232		9.8572845459

		PG&E		987		7		0.9599999785		10.4800000191		9.8750009537

		PG&E		988		1		0.5		5.3800001144		9.8800001144

		PG&E		989		2		1		10.8699998856		9.8999996185

		PG&E		990		1		0.3300000131		3.6500000954		9.9090900421

		PG&E		992		4		1.9199999571		21.250000596		9.9253935814

		PG&E		993		7		1.4599999785		16.0699996948		9.9378570829

		PG&E		996		2		1.1499999762		12.9000005722		9.9663028717

		PG&E		997		2		1.3299999833		14.7399997711		9.9779515266

		PG&E		999		8		2.5000000373		27.919998765		10

		PG&E		1000		104		6.8599999137		76.7799981833		10.00000011

		PG&E		1001		2		1.6599999666		18.470000267		10.0120487213

		PG&E		1002		6		2.2799999714		24.7800006866		10.0263156891

		PG&E		1003		3		1.4900000095		16.6099998951		10.0322494507

		PG&E		1004		6		2.8799999356		32.0400009155		10.0416669846

		PG&E		1006		6		1.6299999654		18.1899998188		10.0621236165

		PG&E		1007		15		7.7700001001		86.6100031137		10.0751987457

		PG&E		1010		1		0.5		5.5999999046		10.1000003815

		PG&E		1012		15		1.519999966		16.9599999785		10.125

		PG&E		1013		6		2.1600000858		24.3000011444		10.1388883591

		PG&E		1014		1		0.5		5.4899997711		10.1400003433

		PG&E		1015		5		1.4200000167		15.9200000763		10.1541442871

		PG&E		1018		1		0.1599999964		1.8099999428		10.1875

		PG&E		1019		13		0.9500000142		10.7599999309		10.1999998093

		PG&E		1021		2		0.6600000262		7.4200000763		10.2121200562

		PG&E		1022		1		0.5		5.6599998474		10.220000267

		PG&E		1023		5		1.5199999809		17.0800001621		10.2340810776

		PG&E		1024		1		0.200000003		2.2100000381		10.25

		PG&E		1025		18		2.9799999446		33.3300002217		10.2503878276

		PG&E		1027		8		2.8299999833		32.3400006294		10.2796382904

		PG&E		1028		2		1.6599999666		18.8699998856		10.2891569138

		PG&E		1029		12		3.6599999517		41.6399996281		10.2970585823

		PG&E		1030		9		1.369999975		15.6400001049		10.3071744707

		PG&E		1031		2		0.3199999928		3.6500000954		10.3125

		PG&E		1033		38		2.4000000283		27.9399998188		10.3333337683

		PG&E		1034		2		0.700000003		8.0199997425		10.3449997902

		PG&E		1035		6		75		865.2600402832		10.350399971

		PG&E		1036		8		3.1400000751		36.0999994278		10.3633623123

		PG&E		1037		12		1.2799999714		14.9899999499		10.375

		PG&E		1038		6		0.9599999785		11.0199999809		10.3850293159

		PG&E		1039		9		2.3800000139		27.5400002599		10.3993262185

		PG&E		1040		7		2.9299999475		33.2700004578		10.4013775417

		PG&E		1042		1		0.8299999833		9.5399999619		10.4216861725

		PG&E		1043		8		1.9499999583		22.6000005007		10.4370293617

		PG&E		1044		1		0.8299999833		9.6899995804		10.4457836151

		PG&E		1046		11		2.3299999833		26.6400003433		10.4630374041

		PG&E		1048		1		0.8299999833		9.6199998856		10.4819278717

		PG&E		1049		2		0.179999996		2.0900000185		10.5

		PG&E		1050		2		1		11.470000267		10.5

		PG&E		1051		1		0.8299999833		9.6899995804		10.5180721283

		PG&E		1052		6		1.2599999607		14.7600002289		10.5238103867

		PG&E		1053		10		1.9999999404		23.2800002098		10.5376276016

		PG&E		1055		1		0.8299999833		9.779999733		10.5542173386

		PG&E		1056		7		2.6300000548		30.8300004005		10.5666093826

		PG&E		1057		6		1.2599999607		16.7999997139		10.5714292526

		PG&E		1059		11		2.8899999559		33.7000000477		10.597370928

		PG&E		1060		8		2.7599999905		32.0000009537		10.6015152931

		PG&E		1061		21		2.7299998999		32.0099995136		10.6153850555

		PG&E		1062		18		4.2199998051		50.1100001931		10.6242148081

		PG&E		1064		1		0.5		5.7600002289		10.6400003433

		PG&E		1066		6		0.359999992		4.3200001717		10.6666669846

		PG&E		1067		1		0.8299999833		9.8599996567		10.6746988297

		PG&E		1068		2		0.6599999964		7.6499999762		10.6837506294

		PG&E		1069		21		4.1699998975		49.2500002384		10.6933498383

		PG&E		1070		6		7.9800002575		94.9799995422		10.7067661285

		PG&E		1072		3		1.8099999726		21.5		10.724413236

		PG&E		1073		15		7.4899997115		88.7800002098		10.7342725118

		PG&E		1075		8		1.4700000286		17.7400006056		10.7528406382

		PG&E		1076		9		1.9099999666		22.5699994564		10.7671795951

		PG&E		1077		2		1		11.8699998856		10.779999733

		PG&E		1078		13		5.2900001109		63.490000248		10.7871479621

		PG&E		1080		7		2.1500000022		25.5899998546		10.8000001907

		PG&E		1081		9		3.4799999893		41.4699989557		10.8174997965

		PG&E		1084		13		3.0899999142		36.8199994564		10.84572638

		PG&E		1086		6		1.380000025		16.3200001717		10.8695650101

		PG&E		1087		7		1.1299999952		13.6200000048		10.8755410058

		PG&E		1088		8		5.9300000668		71.4299988747		10.8867360353

		PG&E		1089		4		2		23.8200001717		10.8999996185

		PG&E		1090		8		1.8199999928		21.9900000095		10.9084063768

		PG&E		1092		8		1.9265999869		22.9199995697		10.9233942032

		PG&E		1093		7		2.1400000155		25.7200000286		10.9387550354

		PG&E		1095		1		0.8299999833		9.9899997711		10.9518079758

		PG&E		1096		12		4.9600000679		59.650001049		10.9644624392

		PG&E		1097		3		1.5		17.7999997139		10.9799995422

		PG&E		1098		2		1.5299999714		18.5700006485		10.9868335724

		PG&E		1099		3		1.3600000143		16.4999997616		11

		PG&E		1100		113		7.7399999164		93.499998346		11.0000001013

		PG&E		1101		6		9.9599997997		117.6600036621		11.0120487213

		PG&E		1102		1		0.5		5.9800000191		11.0200004578

		PG&E		1103		10		8.0599999428		98.1599984169		11.0397619247

		PG&E		1104		1		0.8299999833		10.029999733		11.0481929779

		PG&E		1106		6		1.9799999893		23.7700001001		11.0612502098

		PG&E		1107		5		2.8499999642		34.5500001907		11.0776702881

		PG&E		1108		1		0.8299999833		10.0900001526		11.0843372345

		PG&E		1110		8		4.8599999547		58.7199997902		11.1021089554

		PG&E		1111		3		1.5		17.9800000191		11.1199998856

		PG&E		1112		16		1.9999999553		24.5500003695		11.125

		PG&E		1114		3		1.200000003		14.4199995995		11.1433334351

		PG&E		1115		4		2.6599999666		32.2500004768		11.1583132744

		PG&E		1116		12		50.3399995342		622.6799798012		11.1673669815

		PG&E		1117		6		2.0999999642		25.4399986267		11.1714286804

		PG&E		1118		3		0.8199999928		9.9700000286		11.1850001017

		PG&E		1119		13		3.9500000738		47.7400006056		11.1999993691

		PG&E		1120		1		0.8299999833		10.1899995804		11.2048196793

		PG&E		1121		1		0.4957999885		5.9499998093		11.2141990662

		PG&E		1122		3		1.8299999833		22.25		11.2229719162

		PG&E		1123		7		2.3000000715		28.4200000763		11.2342850821

		PG&E		1124		19		1.519999966		19.259999752		11.25

		PG&E		1128		1		0.8299999833		10.2600002289		11.2891569138

		PG&E		1130		1		0.8299999833		10.279999733		11.3012056351

		PG&E		1131		2		0.9899999797		12.2499997616		11.3128767014

		PG&E		1133		12		0.5399999879		6.8399999142		11.3333339691

		PG&E		1134		2		1.6599999666		20.8400001526		11.3493976593

		PG&E		1137		14		7.4099998921		92.9799990654		11.3765850067

		PG&E		1138		2		1		12.2300000191		11.3800001144

		PG&E		1139		15		0.7500000112		9.3500000238		11.3999996185

		PG&E		1142		1		0.5		6.1399998665		11.4200000763

		PG&E		1143		13		36.7799995244		465.139985323		11.4370437769

		PG&E		1144		1		0.8299999833		10.529999733		11.4457836151

		PG&E		1146		8		4.5842001438		56.9699997902		11.4652754068

		PG&E		1147		1		0.0183000006		0.2399999946		11.4754095078

		PG&E		1148		2		1.119999975		14.1399998665		11.4823431969

		PG&E		1149		12		4.680000186		58.7399997711		11.4999995232

		PG&E		1150		26		1.7199999616		21.9299995899		11.5

		PG&E		1152		1		0.5		6.1999998093		11.5200004578

		PG&E		1153		6		0.7799999714		9.8999998569		11.5384616852

		PG&E		1156		7		47.8099995255		616.6599798203		11.5636543546

		PG&E		1157		7		2.4800000787		31.220000267		11.5763631548

		PG&E		1158		1		0.4799999893		5.9499998093		11.5833330154

		PG&E		1159		11		0.5500000082		6.9099999666		11.5999994278

		PG&E		1160		2		1.1099999845		14.1100001335		11.6047763824

		PG&E		1162		5		0.4799999893		6.0899999142		11.625

		PG&E		1163		7		4.4300001264		56.1000013351		11.6340791157

		PG&E		1165		1		0.8299999833		10.6199998856		11.6506023407

		PG&E		1166		25		3.2700000945		42.2099994421		11.6666665268

		PG&E		1167		1		0.8299999833		10.6199998856		11.6746988297

		PG&E		1168		2		0.9899999797		12.7699999809		11.6871232986

		PG&E		1170		6		1.8600000143		23.5200004578		11.7096776962

		PG&E		1171		2		1.2199999988		15.5799999237		11.7143964767

		PG&E		1175		8		0.7199999839		9.2299997807		11.75

		PG&E		1177		1		0.8299999833		10.6599998474		11.7710847855

		PG&E		1179		10		0.5000000075		6.3899998665		11.7999992371

		PG&E		1181		3		1.3199999928		17.0400002003		11.8149998983

		PG&E		1183		2		1.6599999666		21.3400001526		11.831325531

		PG&E		1184		1		0.8299999833		10.6800003052		11.8433732986

		PG&E		1185		1		0.4799999893		6.0799999237		11.8541669846

		PG&E		1186		1		0.8299999833		10.8500003815		11.8674707413

		PG&E		1187		6		1.1299999803		14.5399997234		11.8755081495

		PG&E		1190		1		0.4099999964		5.1900000572		11.9024391174

		PG&E		1193		2		1.6599999666		21.5900001526		11.9397592545

		PG&E		1195		7		3.4100000262		45.3199987411		11.953247479

		PG&E		1199		6		0.9000000358		12.0599999428		11.9999990463

		PG&E		1200		78		2.9899999648		39.7899997234		12.0000001467

		PG&E		1202		1		0.8299999833		11		12.024096489

		PG&E		1203		1		0.8299999833		10.9300003052		12.0361442566

		PG&E		1206		6		0.9599999785		12.9000005722		12.0625

		PG&E		1207		12		2.3399999142		30.7800006866		12.076924324

		PG&E		1209		6		1.2599999607		16.7999997139		12.0952386856

		PG&E		1210		7		1.4299999923		18.7199997902		12.1012052808

		PG&E		1211		1		0.6299999952		8.0200004578		12.1111116409

		PG&E		1212		28		3.5499999225		47.5700006485		12.1248395784

		PG&E		1213		1		0.8299999833		10.970000267		12.1325302124

		PG&E		1215		1		0.8299999833		11.029999733		12.1566267014

		PG&E		1216		7		2.6899999976		35.5699996948		12.162345205

		PG&E		1218		8		1.6499999762		21.9000000954		12.1823922396

		PG&E		1219		6		1.2599999607		16.6199998856		12.1904764175

		PG&E		1220		23		1.9299999997		25.6899998188		12.2002093688

		PG&E		1222		6		1.8600000143		25.0200004578		12.2258062363

		PG&E		1225		19		3.0599999875		40.6900013685		12.2525472641

		PG&E		1226		6		1.8000000715		24.2399997711		12.2666664124

		PG&E		1227		1		0.3300000131		4.5		12.2727270126

		PG&E		1228		1		0.8299999833		11.0900001526		12.2891569138

		PG&E		1231		2		0.3199999928		4.2899999619		12.3125

		PG&E		1232		1		0.8299999833		11.2899999619		12.3253011703

		PG&E		1233		6		0.179999996		2.5199999213		12.3333339691

		PG&E		1234		2		1.0299999863		13.7900004387		12.3496990204

		PG&E		1235		6		3.1799998283		42.8399991989		12.3584918976

		PG&E		1237		18		2.3999999464		34.3200008869		12.375

		PG&E		1239		15		1.0300000235		13.9200004339		12.3995955785

		PG&E		1242		1		0.8299999833		11.3100004196		12.4216871262

		PG&E		1243		7		1.119999975		15.4000003338		12.4375

		PG&E		1246		1		0.8299999833		11.2299995422		12.4698801041

		PG&E		1248		2		1.1599999964		15.740000248		12.4833879471

		PG&E		1250		21		1.6799999624		22.9800002575		12.5

		PG&E		1256		2		0.3199999928		4.3400001526		12.5625

		PG&E		1259		13		0.6500000097		8.969999969		12.5999994278

		PG&E		1260		1		0.8299999833		11.4600000381		12.6024103165

		PG&E		1262		22		3.4199999273		46.8700006008		12.6251368956

		PG&E		1263		1		0.8299999833		11.3800001144		12.6385545731

		PG&E		1265		1		0.8299999833		11.4799995422		12.6506023407

		PG&E		1267		3		2.4899999499		34.1799993515		12.6746997833

		PG&E		1268		2		0.3199999928		4.3600001335		12.6875

		PG&E		1269		1		0.3300000131		4.6599998474		12.6969690323

		PG&E		1275		5		1.2299999744		16.969999671		12.7518074036

		PG&E		1277		1		0.8299999833		11.5500001907		12.7710847855

		PG&E		1279		2		0.1000000015		1.3799999952		12.7999992371

		PG&E		1280		1		0.8299999833		11.4799995422		12.8072290421

		PG&E		1281		2		0.3199999928		4.4000000954		12.8125

		PG&E		1286		7		1.7300000191		24.0799994469		12.866780826

		PG&E		1287		4		0.5599999875		7.7000001669		12.875

		PG&E		1290		2		1.6599999666		23.2300004959		12.9036149979

		PG&E		1292		1		0.8299999833		11.6300001144		12.9277105331

		PG&E		1293		2		0.9899999797		13.9300000668		12.9386296272

		PG&E		1295		1		0.8299999833		11.7299995422		12.9518070221

		PG&E		1297		1		0.8299999833		11.7899999619		12.9759044647

		PG&E		1299		160		2.2699999511		33.3900005519		12.999999994

		PG&E		1300		1		0.8299999833		11.7899999619		13

		PG&E		1303		1		0.8299999833		11.7899999619		13.0361442566

		PG&E		1306		3		0.650000006		9.1599998474		13.0618683497

		PG&E		1309		1		0.3300000131		4.6199998856		13.0909090042

		PG&E		1312		3		0.3999999911		5.6200000048		13.125

		PG&E		1314		1		0.8299999833		11.9200000763		13.14457798

		PG&E		1315		2		1.1599999964		16.509999752		13.1540708542

		PG&E		1316		1		0.8299999833		11.8999996185		13.1686754227

		PG&E		1318		7		3.8000000715		54.9100003242		13.1815583365

		PG&E		1319		1		0.8299999833		11.8800001144		13.1927709579

		PG&E		1320		2		0.8799999841		12.5599996448		13.2024102211

		PG&E		1322		1		0.8299999833		11.9399995804		13.2289152145

		PG&E		1324		3		0.7400000244		10.560000062		13.244948705

		PG&E		1327		1		0.3300000131		4.7600002289		13.2727270126

		PG&E		1330		8		2.219999969		31.9499998093		13.3065266609

		PG&E		1331		2		0.9899999797		14.2100002766		13.3128771782

		PG&E		1333		8		1.5199999884		21.9200003147		13.333835721

		PG&E		1334		1		0.8299999833		11.9799995422		13.3493976593

		PG&E		1336		4		1.3200000525		19.5799999237		13.3636350632

		PG&E		1337		7		0.5599999875		7.8400000334		13.3750009537

		PG&E		1339		4		1.3200000525		19.5999999046		13.3939390182

		PG&E		1340		1		0.0500000007		0.7300000191		13.4000005722

		PG&E		1342		4		1.4900000393		21.9499998093		13.4231808186

		PG&E		1343		2		0.9899999797		14.490000248		13.4356179237

		PG&E		1344		1		0.8299999833		12.2399997711		13.4457836151

		PG&E		1346		12		3.1199998856		44.8800001144		13.4615392685

		PG&E		1348		1		0.8299999833		12.0900001526		13.4819278717

		PG&E		1349		1		0.8299999833		12.1899995804		13.4939756393

		PG&E		1350		5		0.6599999852		9.6299996674		13.5000009537

		PG&E		1351		1		0.3300000131		4.8600001335		13.5151510239

		PG&E		1353		6		1.6800000072		24.3000011444		13.5357141495

		PG&E		1356		5		1.469999969		21.5699996948		13.5632539749

		PG&E		1357		13		3.569999963		52.6299986839		13.5742974648

		PG&E		1359		8		1.5758000202		23.0300004482		13.5996626616

		PG&E		1360		1		0.3300000131		4.9400000572		13.6060590744

		PG&E		1361		2		1.6599999666		24.529999733		13.6144580841

		PG&E		1362		8		0.7999999821		11.6799995899		13.6250009537

		PG&E		1363		3		0.9900000393		14.6300001144		13.6363630295

		PG&E		1366		5		1.850000022		27.569999665		13.6658638

		PG&E		1368		3		1.4899999797		22.0199995041		13.6847492854

		PG&E		1369		1		0.3300000131		4.9600000381		13.6969690323

		PG&E		1372		7		1.8300000131		27.220000267		13.7210392271

		PG&E		1373		6		1.5599999428		23.2199993134		13.7307691574

		PG&E		1374		3		2.4899999499		37.0799999237		13.7469882965

		PG&E		1375		4		0.4799999893		7.0900000334		13.7500009537

		PG&E		1377		7		57.8299999833		868.4399814606		13.7778237207

		PG&E		1378		3		1.4900000095		22.2300000191		13.7862968445

		PG&E		1379		1		0.8299999833		12.3400001526		13.7951803207

		PG&E		1380		9		3.7199999094		55.5700006485		13.8067348268

		PG&E		1381		4		1.8158000112		27.3800001144		13.8169486523

		PG&E		1383		1		0.0599999987		0.9800000191		13.8333330154

		PG&E		1387		3		0.2399999946		3.5900000334		13.8750009537

		PG&E		1388		6		1.5599999428		23.460000515		13.8846158981

		PG&E		1390		1		0.8299999833		12.470000267		13.9036149979

		PG&E		1391		3		2.4899999499		37.4200000763		13.9156627655

		PG&E		1393		4		2.4899999797		37.3299999237		13.9397277832

		PG&E		1396		1		0.8299999833		12.4899997711		13.9638557434

		PG&E		1398		1		0.8299999833		12.6000003815		13.9879512787

		PG&E		1399		2		0.1000000015		1.5		14

		PG&E		1400		135		1.7199999616		27.2199999094		14

		PG&E		1401		2		1.3999999762		21.2100000381		14.014796257

		PG&E		1402		3		2.4899999499		37.8299999237		14.0240974426

		PG&E		1403		8		2.8899999261		43.6500000954		14.0383650064

		PG&E		1406		3		0.650000006		9.6900000572		14.0618683497

		PG&E		1408		1		0.8299999833		12.5900001526		14.0843372345

		PG&E		1409		1		0.3300000131		4.9000000954		14.0909090042

		PG&E		1410		1		0.8299999833		12.7600002289		14.1084337234

		PG&E		1412		2		0.2399999946		3.6700000763		14.125

		PG&E		1413		1		0.8299999833		12.6800003052		14.1325302124

		PG&E		1415		2		0.6600000262		9.8400001526		14.151515007

		PG&E		1416		7		0.6742000058		10.6299997568		14.1661363329

		PG&E		1418		3		0.4799999893		7.3400001526		14.1875

		PG&E		1419		19		4.1299999878		63.5199990273		14.1996193434

		PG&E		1425		13		2.2241999805		36.0800001621		14.2512690471

		PG&E		1427		6		1.0800000429		16.5		14.2777767181

		PG&E		1429		1		0.3100000024		4.9000000954		14.2903223038

		PG&E		1431		3		0.4799999893		7.3600001335		14.3125

		PG&E		1432		3		1.4499999881		22.5900001526		14.3234875997

		PG&E		1433		7		1.1899999753		18.7000002861		14.3339075361

		PG&E		1434		1		0.8299999833		12.970000267		14.3493976593

		PG&E		1436		2		1.6599999666		25.75		14.3614463806

		PG&E		1437		12		1.2799999714		19.6600003242		14.375

		PG&E		1438		10		3.6200000048		57.3099989891		14.3869409561

		PG&E		1439		6		1.5		23.460000515		14.3999996185

		PG&E		1440		8		1.1799999885		18.3699998856		14.4012054205

		PG&E		1441		1		0.3100000024		4.9000000954		14.4193544388

		PG&E		1442		6		1.5599999428		24.0600013733		14.4230775833

		PG&E		1443		5		0.9399999976		14.7099997997		14.4366664886

		PG&E		1444		7		1.9100000262		29.6899995804		14.4446351188

		PG&E		1445		3		1.4499999881		22.7300004959		14.4536854426

		PG&E		1446		6		1.5599999428		24.2399997711		14.4615392685

		PG&E		1448		5		1.5500000119		24.6499991417		14.4838705063

		PG&E		1449		10		1.7099999636		26.4200005531		14.4993975639

		PG&E		1451		3		0.9300000072		14.7999997139		14.51612854

		PG&E		1454		3		1.4499999881		22.8899993896		14.5463145574

		PG&E		1455		2		1.0299999863		16.2500004768		14.5521087646

		PG&E		1456		2		0.3199999928		4.9800000191		14.5625

		PG&E		1458		2		0.6200000048		9.9200000763		14.5806446075

		PG&E		1460		7		0.3500000052		5.6299999952		14.6000003815

		PG&E		1462		11		1.4399999678		22.3800001144		14.625

		PG&E		1463		2		1.1599999964		18.2699995041		14.6374583244

		PG&E		1464		6		1.5		23.5200004578		14.6400003433

		PG&E		1465		1		0.8299999833		13.1800003052		14.6506023407

		PG&E		1466		6		0.179999996		2.9400000572		14.6666669846

		PG&E		1467		2		1.6599999666		26.3000001907		14.6746997833

		PG&E		1468		1		0.1599999964		2.4700000286		14.6875

		PG&E		1469		12		8.7600002289		137.2199993134		14.6961536407

		PG&E		1471		1		0.8299999833		13.1499996185		14.7108440399

		PG&E		1474		4		1.2299999744		19.5799999237		14.7492470741

		PG&E		1476		12		3.0599999428		48.4799995422		14.7646155357

		PG&E		1477		1		0.8299999833		13.1800003052		14.7710847855

		PG&E		1478		7		2.2100000083		35.1000008583		14.7826839175

		PG&E		1479		11		0.9500000179		15.3599998951		14.800000104

		PG&E		1480		18		5.4599999785		87.3599996567		14.8016262054

		PG&E		1481		3		0.4799999893		7.4700000286		14.8125

		PG&E		1483		1		0.8299999833		13.1400003433		14.8313264847

		PG&E		1484		1		0.8299999833		13.1999998093		14.8433732986

		PG&E		1486		13		3.5900000334		57.4700012207		14.8694039125

		PG&E		1487		4		0.4799999893		7.6899998188		14.8750009537

		PG&E		1490		1		0.8299999833		13.3800001144		14.9036149979

		PG&E		1491		6		1.380000025		22.0800004005		14.9130430222

		PG&E		1493		1		0.8299999833		13.3400001526		14.9397592545

		PG&E		1498		3		4.3141999096		67.1100010872		14.9844935735

		PG&E		1500		183		4.3799999356		72.4000018537		15.0000009224

		PG&E		1502		2		1.6599999666		26.9499998093		15.0240974426

		PG&E		1503		1		0.8299999833		13.3400001526		15.0361442566

		PG&E		1504		1		0.8299999833		13.4099998474		15.0481929779

		PG&E		1507		6		1.5		24.1199998856		15.0799999237

		PG&E		1509		13		2.0899999887		34.8900005817		15.0955258883

		PG&E		1511		1		0.5		8.0100002289		15.1199998856

		PG&E		1512		19		1.8499999791		30.3299992085		15.1248014852

		PG&E		1513		1		0.8299999833		13.5799999237		15.1325311661

		PG&E		1514		3		1.4699999839		23.779999733		15.1424783071

		PG&E		1516		6		0.359999992		6.0599999428		15.1666669846

		PG&E		1517		1		0.1542000026		2.5		15.1750965118

		PG&E		1518		3		0.4799999893		7.9200003147		15.1875009537

		PG&E		1519		6		0.3000000045		4.9799998999		15.1999998093

		PG&E		1520		1		0.8299999833		13.470000267		15.2048196793

		PG&E		1522		1		0.8299999833		13.470000267		15.2289161682

		PG&E		1524		7		2.810000062		46.07999897		15.242215429

		PG&E		1525		12		1.2799999714		20.8899997473		15.2500009537

		PG&E		1527		2		1.1599999964		19.3000001907		15.2749180794

		PG&E		1528		1		0.8299999833		13.6999998093		15.2891559601

		PG&E		1530		1		0.3300000131		5.5599999428		15.303030014

		PG&E		1531		3		0.4799999893		7.8199999332		15.3125009537

		PG&E		1533		1		0.8299999833		13.6099996567		15.337348938

		PG&E		1534		6		2.5800000429		43.07999897		15.3488368988

		PG&E		1537		6		0.6399999857		10.4299999475		15.3750009537

		PG&E		1539		13		0.9500000142		15.8799999356		15.3999996185

		PG&E		1541		1		1.8799999952		31.0400009155		15.4148931503

		PG&E		1542		5		1.8699999452		31.0699996948		15.4228002548

		PG&E		1545		2		1.6599999666		27.5699996948		15.4578313828

		PG&E		1549		6		3.9600001574		66.4799995422		15.4999990463

		PG&E		1550		16		1.1599999741		19.7799999714		15.5

		PG&E		1552		12		2.880000025		47.57999897		15.5208697319

		PG&E		1555		1		0.8299999833		13.7899999619		15.5542173386

		PG&E		1556		1		0.1599999964		2.6199998856		15.5625

		PG&E		1557		1		0.8299999833		13.7399997711		15.5783138275

		PG&E		1559		10		2.8399999551		47.2599999309		15.597108078

		PG&E		1560		1		0.5		8.3699998856		15.6000003815

		PG&E		1562		1		0.1599999964		2.6800000668		15.625

		PG&E		1569		6		1.380000025		23.0999994278		15.6956510544

		PG&E		1578		6		1.380000025		23.2199993134		15.7826089859

		PG&E		1583		6		1.8000000715		30.2399997711		15.8333330154

		PG&E		1600		144		1.7399999611		31.1400005221		16

		PG&E		1606		3		0.650000006		11.2899999619		16.0618686676

		PG&E		1607		7		1.2799999714		23.25		16.077362878

		PG&E		1608		6		1.380000025		23.9400000572		16.0869560242

		PG&E		1609		6		1.2599999607		21.7800006866		16.0952396393

		PG&E		1612		1		0.3300000131		5.6700000763		16.1212120056

		PG&E		1613		1		0.5		8.6400003433		16.1399993896

		PG&E		1617		6		1.380000025		23.8800001144		16.1739120483

		PG&E		1619		6		0.3000000045		5.3999998569		16.1999988556

		PG&E		1621		2		0.7900000215		13.6199998856		16.214756012

		PG&E		1624		2		0.3599999994		6.3099999428		16.25

		PG&E		1626		6		1.380000025		23.8200001717		16.2608699799

		PG&E		1633		6		1.2599999607		21.960000515		16.3333339691

		PG&E		1637		10		0.8799999803		15.3999997377		16.375

		PG&E		1639		1		0.0500000007		0.8600000143		16.3999996185

		PG&E		1642		3		1.1600000262		20.2700004578		16.4228280385

		PG&E		1644		6		1.2000000179		20.8800001144		16.4499988556

		PG&E		1645		1		0.3300000131		5.8499999046		16.4545440674

		PG&E		1648		2		0.6600000262		11.720000267		16.4848480225

		PG&E		1649		1		0.200000003		3.5499999523		16.5

		PG&E		1650		13		1.1999999732		21.2300009727		16.5

		PG&E		1652		6		1.5		26.2199993134		16.5200004578

		PG&E		1654		1		0.3300000131		5.8099999428		16.5454540253

		PG&E		1656		4		0.6399999857		11.2099997997		16.5625019073

		PG&E		1659		1		0.0500000007		0.8799999952		16.5999984741

		PG&E		1662		2		0.3199999928		5.5799999237		16.625

		PG&E		1666		1		0.3300000131		5.8499999046		16.6666660309

		PG&E		1668		3		0.4799999893		8.5599999428		16.6875

		PG&E		1672		1		0.3300000131		5.9000000954		16.7272720337

		PG&E		1674		6		43.9799995422		794.6400146484		16.7476139069

		PG&E		1675		1		0.3300000131		5.8000001907		16.7575759888

		PG&E		1678		6		1.380000025		24.5400009155		16.7826080322

		PG&E		1684		5		1.6500000656		29.8000001907		16.8484840393

		PG&E		1687		1		0.1599999964		2.8900001049		16.875

		PG&E		1690		6		1.8500000685		33.4300003052		16.9075749715

		PG&E		1693		2		0.4900000095		8.7999999523		16.9384469986

		PG&E		1695		1		0.25		4.6399998665		16.9599990845

		PG&E		1700		193		2.1999999508		41.5500001609		17

		PG&E		1704		6		1.2599999607		23.0999994278		17.047618866

		PG&E		1706		3		0.4799999893		8.7900002003		17.0625

		PG&E		1709		6		1.2599999607		22.9199995995		17.0952377319

		PG&E		1712		4		0.5599999875		10.0899996758		17.125

		PG&E		1714		6		1.2599999607		23.0999994278		17.1428565979

		PG&E		1718		9		3.0600000322		56.57999897		17.1865310669

		PG&E		1724		1		0.3300000131		5.9600000381		17.2424240112

		PG&E		1725		1		0.1599999964		2.9500000477		17.25

		PG&E		1731		1		0.1599999964		2.9600000381		17.3125

		PG&E		1733		1		0.3300000131		6.1199998856		17.3333320618

		PG&E		1737		6		1.8999999464		35.5100002289		17.3747065862

		PG&E		1742		7		3.1999999285		58.6900014877		17.4219047001

		PG&E		1743		1		0.1599999964		2.9900000095		17.4375

		PG&E		1745		1		0.3300000131		6.1599998474		17.4545459747

		PG&E		1747		6		1.2599999607		24.1800012589		17.476190567

		PG&E		1749		6		1.2000000179		22.5		17.5

		PG&E		1750		1		0.5		9.1199998856		17.5

		PG&E		1756		1		0.1599999964		3.0099999905		17.5625

		PG&E		1757		4		1.4199999869		26.5199999809		17.575715065

		PG&E		1759		2		0.1000000015		1.8500000238		17.6000003815

		PG&E		1761		3		0.6299999803		11.9300000668		17.6190490723

		PG&E		1762		5		0.3999999911		7.2500002384		17.625

		PG&E		1768		2		0.3199999928		6.0299999714		17.6875

		PG&E		1771		7		1.4699999541		27.5800004005		17.7142868042

		PG&E		1772		6		0.6599999964		12.539999485		17.727273941

		PG&E		1774		2		0.1199999973		2.2100000381		17.75

		PG&E		1779		15		0.7500000112		14.5100002885		17.7999992371

		PG&E		1786		1		0.5		9.5100002289		17.8600006104

		PG&E		1793		2		0.3199999928		5.9600000381		17.9375

		PG&E		1795		2		0.75		14.4500002861		17.9599990845

		PG&E		1799		6		1.2000000179		23.0999994278		18

		PG&E		1800		98		1.3499999642		26.4400000274		18.0000018879

		PG&E		1804		18		3.779999882		71.9400029182		18.047618866

		PG&E		1806		1		0.1599999964		3.0999999046		18.0625019073

		PG&E		1809		12		2.5199999213		48.4799995422		18.0952377319

		PG&E		1812		2		0.3199999928		6.2000000477		18.1250019073

		PG&E		1813		1		0.5		9.6499996185		18.1399993896

		PG&E		1814		6		1.2599999607		24.2399997711		18.1428565979

		PG&E		1816		6		0.359999992		6.9599997997		18.1666679382

		PG&E		1818		2		0.6599999964		12.6899998188		18.1837501526

		PG&E		1823		6		1.2599999607		24.2399997711		18.2380962372

		PG&E		1825		1		0.1599999964		3.1400001049		18.25

		PG&E		1837		1		0.1599999964		3.1600000858		18.375

		PG&E		1840		12		0.770000007		15.0400000811		18.4007573128

		PG&E		1842		6		1.2599999607		24.4799995422		18.428571701

		PG&E		1843		4		0.6399999857		12.4199998379		18.4375

		PG&E		1845		6		1.2000000179		23.3400006294		18.4500007629

		PG&E		1850		5		0.7199999839		14.0299999714		18.5

		PG&E		1852		6		2.2799999714		44.6999988556		18.5263156891

		PG&E		1853		6		0.9000000358		17.4000005722		18.5333328247

		PG&E		1856		2		0.3199999928		6.370000124		18.5625

		PG&E		1857		6		1.2599999607		24.7199993134		18.5714302063

		PG&E		1859		4		0.200000003		3.9100000858		18.6000003815

		PG&E		1862		3		0.4799999893		9.6800000668		18.625

		PG&E		1866		7		1.5899999738		31.1799993515		18.6666676658

		PG&E		1868		2		0.3199999928		6.4500000477		18.6875

		PG&E		1873		1		0.5		9.7899999619		18.7399997711

		PG&E		1874		6		1.2000000179		23.7600002289		18.75

		PG&E		1875		4		0.6399999857		12.8600001335		18.75

		PG&E		1876		12		2.5199999213		49.9799995422		18.7619056702

		PG&E		1878		1		0.3300000131		6.5999999046		18.7878780365

		PG&E		1879		9		0.650000006		13.1900000572		18.7999992371

		PG&E		1881		2		0.3199999928		6.4100000858		18.8125

		PG&E		1884		6		1.2000000179		23.8200001717		18.8500003815

		PG&E		1886		1		0.5		10.0100002289		18.8600006104

		PG&E		1887		2		0.3199999928		6.4400000572		18.875

		PG&E		1890		12		1.9199999571		39.4800009727		18.9069261551

		PG&E		1893		7		1.119999975		22.7400000095		18.9375

		PG&E		1894		18		3.6000000536		72.1800012589		18.9499988556

		PG&E		1899		9		0.4500000067		9.2199997902		19

		PG&E		1900		82		1.5399999656		32.0499997139		19

		PG&E		1904		7		1.7000000179		34.1099996567		19.0485709054

		PG&E		1906		3		0.4799999893		9.7400000095		19.0625

		PG&E		1907		1		0.5		10.1199998856		19.0799999237

		PG&E		1912		3		0.4799999893		9.7400000095		19.125

		PG&E		1913		6		0.9000000358		17.8200001717		19.1333312988

		PG&E		1914		6		1.2000000179		24.5999994278		19.1499996185

		PG&E		1918		1		0.1599999964		3.2699999809		19.1875

		PG&E		1919		8		1.3000000194		26.2499997616		19.1999988556

		PG&E		1924		13		2.2399999946		45.7699993849		19.25

		PG&E		1926		7		2.3000000715		47.5900001526		19.2657141004

		PG&E		1928		6		1.2599999607		25.4399986267		19.2857151031

		PG&E		1931		6		0.9599999785		19.7099997997		19.3125

		PG&E		1933		6		0.179999996		3.7200000286		19.3333339691

		PG&E		1934		6		1.2000000179		24.4799995422		19.3499984741

		PG&E		1937		3		0.8199999928		16.6299996376		19.3766663869

		PG&E		1939		1		0.5		10.1199998856		19.3999996185

		PG&E		1940		3		0.1500000022		3.0399999619		19.3999996185

		PG&E		1942		1		0.5		10.3000001907		19.4200000763

		PG&E		1943		2		0.3199999928		6.5499999523		19.4375

		PG&E		1944		1		0.5		10.3100004196		19.4400005341

		PG&E		1945		6		1.2000000179		24.5999994278		19.4500007629

		PG&E		1949		6		0.8399999812		17.2499998212		19.5

		PG&E		1950		6		1.2000000179		24.5999994278		19.5

		PG&E		1956		4		0.6399999857		13.1799998283		19.5625019073

		PG&E		1957		6		3		61.3200016022		19.5799999237

		PG&E		1960		4		0.200000003		4.0999999046		19.6000003815

		PG&E		1962		5		0.7999999821		16.4799997807		19.6250019073

		PG&E		1965		6		1.2000000179		25.1999988556		19.6499996185

		PG&E		1968		3		0.4799999893		9.8699998856		19.6875019073

		PG&E		1975		3		0.4799999893		10.0799999237		19.7500019073

		PG&E		1979		2		0.1000000015		2.0799999237		19.7999992371

		PG&E		1980		6		1.2599999607		26.1600008011		19.8095245361

		PG&E		1981		4		0.6399999857		13.4200000763		19.8125

		PG&E		1987		6		0.9599999785		19.9799997807		19.875

		PG&E		1993		6		1.1299999952		23.6700000763		19.9378153483

		PG&E		1999		8		0.400000006		8.3899996281		20

		PG&E		2000		49		2.1299999636		44.5699999332		20

		PG&E		2006		8		4.4500001669		95.2100007534		20.0608410835

		PG&E		2010		1		0.5		10.4600000381		20.1000003815

		PG&E		2012		4		0.6399999857		13.5499999523		20.125

		PG&E		2015		6		1.2000000179		25.7399997711		20.1500015259

		PG&E		2018		4		0.6399999857		13.529999733		20.1875

		PG&E		2019		9		0.4500000067		9.8299999237		20.1999988556

		PG&E		2020		2		1		21.0200004578		20.2000007629

		PG&E		2025		4		0.6399999857		13.5899999142		20.25

		PG&E		2026		1		0.150000006		3.2100000381		20.2666664124

		PG&E		2031		1		0.1599999964		3.3599998951		20.3125

		PG&E		2033		7		1.9500000775		42.5100011826		20.3333320618

		PG&E		2035		6		1.2000000179		25.9799995422		20.3500003815

		PG&E		2037		1		0.1599999964		3.4200000763		20.375

		PG&E		2039		13		1.0500000305		22.6900002956		20.3999996185

		PG&E		2044		1		0.5		10.6499996185		20.4400005341

		PG&E		2046		1		0.150000006		3.2300000191		20.4666652679

		PG&E		2057		6		1.5599999428		34.6199998856		20.5769233704

		PG&E		2059		4		0.3000000082		6.4900001287		20.5999984741

		PG&E		2062		12		0.9599999785		21.3599996567		20.625

		PG&E		2065		6		1.5599999428		34.7399997711		20.6538467407

		PG&E		2072		6		1.0800000429		23.5200004578		20.7222213745

		PG&E		2075		1		0.0799999982		1.7300000191		20.75

		PG&E		2079		2		0.1000000015		2.1800000668		20.7999992371

		PG&E		2081		2		0.3199999928		7.129999876		20.8125

		PG&E		2083		6		1.0800000429		23.7600002289		20.8333320618

		PG&E		2085		4		0.8000000119		17.7199993134		20.8500003815

		PG&E		2094		1		0.5		11.0600004196		20.9400005341

		PG&E		2099		147		1.9399999715		44.4300004244		20.9999998962

		PG&E		2102		1		0.5		10.9300003052		21.0200004578

		PG&E		2104		1		0.5		11.1099996567		21.0400009155

		PG&E		2105		6		1.0800000429		23.7600002289		21.0555553436

		PG&E		2111		6		1.0800000429		24.0600013733		21.1111106873

		PG&E		2113		1		0.5		11.1599998474		21.1399993896

		PG&E		2115		1		0.5		11.1700000763		21.1599998474

		PG&E		2118		1		0.1599999964		3.6500000954		21.1875019073

		PG&E		2119		4		0.200000003		4.4100000858		21.1999988556

		PG&E		2120		1		0.5		11.1899995804		21.2000007629

		PG&E		2125		2		0.3199999928		7.3400001526		21.2500019073

		PG&E		2134		1		0.200000003		4.5100002289		21.3500003815

		PG&E		2140		10		0.8000000119		19.2300002575		21.4000015259

		PG&E		2143		2		0.3199999928		7.2300000191		21.4375

		PG&E		2144		7		1.5800000429		35.4899997711		21.4438081469

		PG&E		2149		6		1.0800000429		24.3000011444		21.4999980927

		PG&E		2150		6		0.6000000089		13.6799998283		21.5

		PG&E		2155		1		0.5		11.1899995804		21.5599994659

		PG&E		2157		1		0.5		11.1800003052		21.5799999237

		PG&E		2160		3		0.1500000022		3.3899999857		21.6000003815

		PG&E		2161		12		2.1600000858		48.7200021744		21.6111106873

		PG&E		2163		6		0.6599999964		15.1199998856		21.6363639832

		PG&E		2171		1		0.5		11.279999733		21.7199993134

		PG&E		2177		6		1.0800000429		24.3599996567		21.7777767181

		PG&E		2180		4		0.200000003		4.5399999619		21.8000011444

		PG&E		2186		1		0.5		11.3500003815		21.8600006104

		PG&E		2190		6		0.6000000089		15.4199995995		21.8999996185

		PG&E		2200		232		2.9799999613		71.0499985963		22

		PG&E		2219		2		0.1000000015		2.3099999428		22.2000007629

		PG&E		2225		1		0.1599999964		3.7899999619		22.25

		PG&E		2227		6		1.0800000429		25.3199987411		22.2777786255

		PG&E		2233		6		0.179999996		4.2599998713		22.3333339691

		PG&E		2238		6		1.0800000429		25.6800012589		22.3888893127

		PG&E		2247		1		0.5		11.6199998856		22.4799995422

		PG&E		2266		18		1.4400000349		34.7999997139		22.6666673024

		PG&E		2275		1		0.1599999964		3.8499999046		22.7500019073

		PG&E		2279		6		0.3000000045		7.1400003433		22.7999992371

		PG&E		2282		6		15		363.2999954224		22.827999115

		PG&E		2283		6		1.0800000429		26.1600008011		22.8333339691

		PG&E		2286		6		0.9000000358		21.7199993134		22.8666667938

		PG&E		2300		127		1.3899999689		34.6399997324		23

		PG&E		2306		6		0.9599999785		23.4000005722		23.0625

		PG&E		2312		7		0.6399999857		15.8000001907		23.125

		PG&E		2325		1		0.1599999964		3.9000000954		23.25

		PG&E		2327		1		0.1800000072		4.4299998283		23.2777767181

		PG&E		2333		12		0.359999992		8.9400000572		23.3333339691

		PG&E		2343		1		0.1599999964		4.0500001907		23.4375

		PG&E		2356		6		1.380000025		34.0200004578		23.5652179718

		PG&E		2366		6		0.179999996		4.5599999428		23.6666660309

		PG&E		2368		6		0.9599999785		23.5800004005		23.6875

		PG&E		2374		6		33.9599990845		854.0399780273		23.7420501709

		PG&E		2375		6		0.9599999785		23.7600002289		23.75

		PG&E		2393		8		1.2799999714		32.0900015831		23.9375

		PG&E		2394		1		0.200000003		4.8499999046		23.9499988556

		PG&E		2400		103		1.2699999716		33.0299995542		24.0000002222

		PG&E		2406		12		1.8600000143		46.9800009727		24.0645828247

		PG&E		2412		2		0.3199999928		8.1599998474		24.125

		PG&E		2418		12		1.9199999571		48.4799995422		24.1875

		PG&E		2425		1		0.1599999964		4.0300002098		24.2500019073

		PG&E		2430		6		0.7799999714		20.039999485		24.3076934814

		PG&E		2431		18		2.8799999356		73.4399986267		24.3125019073

		PG&E		2433		12		0.359999992		9.4199999571		24.3333339691

		PG&E		2437		1		0.1599999964		4.1300001144		24.3750019073

		PG&E		2439		1		0.5		12.6199998856		24.3999996185

		PG&E		2443		7		1.119999975		28.6100010872		24.4375019073

		PG&E		2450		1		0.1599999964		4.1399998665		24.5000019073

		PG&E		2452		2		1		25.3699998856		24.5200004578

		PG&E		2453		6		0.9000000358		23.2800006866		24.5333328247

		PG&E		2456		1		0.1599999964		4.0300002098		24.5625019073

		PG&E		2462		9		1.4399999678		37.2400007248		24.625

		PG&E		2463		6		0.6599999964		17.039999485		24.6363639832

		PG&E		2465		1		0.5		12.7600002289		24.6599998474

		PG&E		2466		6		0.179999996		4.7400001287		24.6666679382

		PG&E		2468		1		0.1599999964		4.0900001526		24.6875

		PG&E		2481		15		2.3999999464		62.3899993896		24.8125

		PG&E		2483		6		3.8999998569		102.1800041199		24.8307685852

		PG&E		2499		6		0.9000000358		23.5200004578		24.9999980927

		PG&E		2500		99		2.6099999305		69.5200001001		25

		PG&E		2506		6		0.9599999785		25.5		25.0625019073

		PG&E		2512		2		0.3199999928		8.4199995995		25.125

		PG&E		2526		6		0.9000000358		24.4799995422		25.266664505

		PG&E		2533		18		1.2600000277		33.5400002003		25.3333333333

		PG&E		2537		13		2.0799999535		55.2999982834		25.375

		PG&E		2539		7		1.1000000089		29.1000008583		25.3999996185

		PG&E		2543		2		0.3199999928		8.5600004196		25.4375019073

		PG&E		2550		1		0.0799999982		2.0599999428		25.5

		PG&E		2556		1		0.1599999964		4.2300000191		25.5625019073

		PG&E		2559		6		0.9000000358		24.0600013733		25.5999984741

		PG&E		2562		1		0.1599999964		4.3200001717		25.625

		PG&E		2566		12		1.0800000317		28.9799998999		25.6666650772

		PG&E		2568		14		2.2399999499		59.610001564		25.6875019073

		PG&E		2573		12		1.8000000715		48.1799998283		25.7333316803

		PG&E		2574		1		0.0799999982		2.1900000572		25.75

		PG&E		2579		6		0.9000000358		24.2399997711		25.7999973297

		PG&E		2581		9		1.4399999678		38.9900007248		25.8125019073

		PG&E		2586		6		0.9000000358		24.0600013733		25.8666667938

		PG&E		2587		9		0.9599999785		25.7300004959		25.875

		PG&E		2599		126		3.4000000358		93.5900004208		26

		PG&E		2606		2		0.3199999928		8.7300000191		26.0625019073

		PG&E		2613		24		3.6000001431		97.5600013733		26.1333332062

		PG&E		2618		2		0.3199999928		8.6400003433		26.1875

		PG&E		2619		6		0.9000000358		24.42000103		26.1999988556

		PG&E		2626		7		1.4700000286		40.4100008011		26.2661653246

		PG&E		2633		20		1.3200000264		36.3200010061		26.3333333969

		PG&E		2652		1		0.5		13.5900001526		26.5200004578

		PG&E		2666		12		1.8000000715		50.6399974823		26.6666660309

		PG&E		2673		12		1.8000000715		49.7999982834		26.7333335876

		PG&E		2676		6		0.7799999714		21.960000515		26.7692317963

		PG&E		2681		2		0.3199999928		8.8699998856		26.8125

		PG&E		2700		93		1.169999985		34.0399999619		27.0000017843

		PG&E		2707		1		0.5		13.8999996185		27.0799999237

		PG&E		2716		6		0.359999992		10.5		27.1666679382

		PG&E		2718		1		0.1599999964		4.4699997902		27.1875

		PG&E		2719		6		0.9000000358		25.8000011444		27.1999988556

		PG&E		2726		6		0.9000000358		25.5		27.2666664124

		PG&E		2731		1		0.1599999964		4.5900001526		27.3125

		PG&E		2737		2		0.1599999964		4.6599998474		27.3750019073

		PG&E		2739		6		0.9000000358		25.5600013733		27.3999996185

		PG&E		2743		1		0.1599999964		4.6199998856		27.4375

		PG&E		2750		4		0.3199999928		9.3999996185		27.5000019073

		PG&E		2759		17		2.5500001013		72.8400006294		27.5999984741

		PG&E		2769		6		0.7799999714		22.5599999428		27.6923084259

		PG&E		2773		5		0.7500000298		21.7499995232		27.7333316803

		PG&E		2785		1		0.200000003		5.8000001907		27.8500003815

		PG&E		2787		1		0.1599999964		4.6199998856		27.875

		PG&E		2800		102		1.0899999756		32.520000875		28

		PG&E		2806		6		0.9000000358		26.2800006866		28.0666656494

		PG&E		2825		1		0.0799999982		2.3599998951		28.25

		PG&E		2837		1		0.1599999964		4.6999998093		28.375

		PG&E		2839		7		1.5258000344		45.1799998283		28.391840526

		PG&E		2862		2		0.1599999964		4.6099998951		28.625

		PG&E		2869		12		1.5599999428		46.8000011444		28.6923084259

		PG&E		2872		1		0.2899999917		8.7100000381		28.7241382599

		PG&E		2881		1		0.1599999964		4.8499999046		28.8125019073

		PG&E		2893		1		0.1599999964		4.8699998856		28.9375019073

		PG&E		2899		114		1.2999999709		40.3500003219		29

		PG&E		2900		12		0.359999992		11.0400002003		29

		PG&E		2906		1		0.1341999918		4.0500001907		29.0611057281

		PG&E		2924		1		0.1599999964		4.9000000954		29.25

		PG&E		2925		1		0.0799999237		5.3699998856		29.2500267029

		PG&E		2931		1		0.1599999964		4.9099998474		29.3125019073

		PG&E		2933		24		0.7199999839		22.3200001717		29.3333339691

		PG&E		2938		6		0.7799999714		23.7000002861		29.3846168518

		PG&E		2943		1		0.1599999964		4.8499999046		29.4375

		PG&E		2946		12		1.5599999428		47.460000515		29.4615383148

		PG&E		2949		1		0.1599999964		4.9499998093		29.5

		PG&E		2961		6		0.7799999714		24.0600013733		29.6153850555

		PG&E		2962		1		0.1599999964		4.8099999428		29.625

		PG&E		2966		6		0.179999996		5.6999999285		29.6666660309

		PG&E		2968		2		0.3199999928		9.779999733		29.6875

		PG&E		2969		12		1.5599999428		47.8800001144		29.6923084259

		PG&E		2970		1		0.5		15.1499996185		29.7000007629

		PG&E		2981		6		0.9599999785		29.9399986267		29.8125

		PG&E		2984		12		1.5599999428		47.7600002289		29.8461551666

		PG&E		2992		24		3.1199998856		96.3599996567		29.923078537

		PG&E		2993		1		0.1599999964		4.9099998474		29.9375

		PG&E		2999		1		0.1400000006		4.3800001144		29.9999980927

		PG&E		3000		72		2.0699999351		64.9000020027		30.0000019073

		PG&E		3005		1		0.200000003		6.3600001335		30.0500011444

		PG&E		3006		2		0.3199999928		9.8799996376		30.0625

		PG&E		3007		6		0.7799999714		24.3000011444		30.0769252777

		PG&E		3012		1		0.1599999964		4.9400000572		30.1250019073

		PG&E		3015		1		0.5		15.3900003433		30.1599998474

		PG&E		3023		6		0.7799999714		24.42000103		30.2307701111

		PG&E		3025		1		0.1599999964		4.9800000191		30.2500019073

		PG&E		3030		12		1.5599999428		48.8399991989		30.3076934814

		PG&E		3031		1		0.1599999964		4.9600000381		30.3125

		PG&E		3033		18		0.5399999879		17.5800004005		30.3333339691

		PG&E		3037		1		0.1599999964		5		30.3750019073

		PG&E		3038		6		0.7799999714		24.8399991989		30.3846168518

		PG&E		3050		2		0.3199999928		10		30.5000019073

		PG&E		3062		1		0.1599999964		5.0199999809		30.6250019073

		PG&E		3066		6		0.179999996		5.7599998713		30.6666679382

		PG&E		3069		12		1.5599999428		49.4399986267		30.6923084259

		PG&E		3070		1		0.5		15.6599998474		30.7000007629

		PG&E		3075		19		1.5999999642		51.0599989891		30.7500019073

		PG&E		3076		6		0.7799999714		24.9000005722		30.7692317963

		PG&E		3086		1		0.5		15.7399997711		30.8600006104

		PG&E		3087		7		0.9799999893		31.0999994278		30.8757158007

		PG&E		3089		1		0.5		15.7600002289		30.8999996185

		PG&E		3092		6		0.7799999714		24.7199993134		30.923078537

		PG&E		3100		92		1.1599999741		38.5100005269		31

		PG&E		3108		1		0.1257999986		4.0500001907		31.0810813904

		PG&E		3112		7		0.6399999857		20.7999997139		31.125

		PG&E		3115		6		0.7799999714		25.5		31.1538486481

		PG&E		3123		6		0.7799999714		24.9599990845		31.2307701111

		PG&E		3130		13		1.7599999458		57.2600002289		31.3071035238

		PG&E		3133		6		0.179999996		5.8200001717		31.3333339691

		PG&E		3137		6		0.5599999875		18.6100006104		31.375

		PG&E		3140		1		0.0500000007		1.6499999762		31.4000015259

		PG&E		3150		6		0.6000000089		19.2000002861		31.5

		PG&E		3153		12		1.5599999428		51.1799983978		31.5384616852

		PG&E		3161		18		2.6399999857		86.3999977112		31.6139615377

		PG&E		3166		6		0.179999996		6.1199998856		31.6666660309

		PG&E		3169		6		0.7799999714		25.3199987411		31.6923084259

		PG&E		3176		13		2.5399999321		84.6099996567		31.765141267

		PG&E		3184		6		0.7799999714		25.7399997711		31.8461532593

		PG&E		3190		6		1.2599999607		42.6600008011		31.9047622681

		PG&E		3192		1		0.5		16.2999992371		31.9200000763

		PG&E		3200		19		1.6599999964		54.4500007629		32

		PG&E		3202		2		1		32.5999984741		32.0200004578

		PG&E		3233		6		0.179999996		6.1799998283		32.3333358765

		PG&E		3237		1		0.1599999964		5.3000001907		32.375

		PG&E		3238		7		0.9099999666		30.3799996376		32.3846168518

		PG&E		3245		6		0.6599999964		22.3800001144		32.4545440674

		PG&E		3263		6		0.6599999964		22.3200001717		32.6363639832

		PG&E		3266		6		0.179999996		6.2999997139		32.6666679382

		PG&E		3279		6		0.3000000045		10.5		32.7999992371

		PG&E		3287		1		0.1599999964		5.6100001335		32.8750038147

		PG&E		3300		29		0.4099999908		14.2699998617		33.0000030254

		PG&E		3309		6		0.6599999964		22.5599999428		33.0909118652

		PG&E		3333		25		0.8399999812		29.6199998856		33.3333358765

		PG&E		3337		1		0.1599999964		5.6999998093		33.375

		PG&E		3343		1		0.1599999964		5.4400000572		33.4375

		PG&E		3350		1		0.1599999964		5.7199997902		33.5

		PG&E		3356		1		0.1599999964		5.6700000763		33.5625

		PG&E		3362		2		0.3199999928		11.4099998474		33.625

		PG&E		3366		6		0.179999996		6.5400002003		33.6666679382

		PG&E		3375		1		0.1599999964		5.6999998093		33.75

		PG&E		3381		1		0.1599999964		5.5		33.8125

		PG&E		3387		2		0.3199999928		11.5		33.875

		PG&E		3400		26		0.2599999942		9.4400002956		34

		PG&E		3406		3		0.4341999888		15.4800000191		34.0626831055

		PG&E		3412		1		0.1599999964		5.5300002098		34.125

		PG&E		3418		9		1.1399999857		40.6700005531		34.1837132772

		PG&E		3431		1		0.1599999964		5.7899999619		34.3125

		PG&E		3436		6		0.6599999964		23.5800004005		34.3636360168

		PG&E		3437		1		0.1599999964		5.6100001335		34.375

		PG&E		3450		1		0.1599999964		5.8200001717		34.5

		PG&E		3456		2		0.3199999928		11.6599998474		34.5625038147

		PG&E		3466		6		0.179999996		6.7200000286		34.6666679382

		PG&E		3487		1		0.3199999928		11.6199998856		34.875

		PG&E		3490		12		1.3199999928		47.460000515		34.9090919495

		PG&E		3500		24		0.2399999946		9.0399999619		35

		PG&E		3509		24		2.6399999857		95.5200004578		35.0909080505

		PG&E		3527		12		1.3199999928		48.1799998283		35.2727279663

		PG&E		3533		6		0.179999996		6.5400002003		35.3333320618

		PG&E		3537		3		0.4799999893		17.1599993706		35.375

		PG&E		3543		1		0.1599999964		5.7300000191		35.4375

		PG&E		3545		23		2.5299999863		93.1100029945		35.4545478821

		PG&E		3549		1		0.1599999964		5.7399997711		35.5

		PG&E		3554		6		0.6599999964		24.1199998856		35.5454559326

		PG&E		3563		12		1.3199999928		48.42000103		35.6363639832

		PG&E		3572		12		1.3199999928		48.3000011444		35.7272720337

		PG&E		3590		6		0.6599999964		24.3599996567		35.9090919495

		PG&E		3600		18		0.2299999949		8.8799997568		36.0000038147

		PG&E		3609		12		1.3199999928		49.0200004578		36.0909080505

		PG&E		3618		6		0.6599999964		24.4799995422		36.1818199158

		PG&E		3627		6		0.6599999964		25.5600013733		36.2727279663

		PG&E		3629		6		19.9799995422		758.5800018311		36.2942962646

		PG&E		3631		1		0.1599999964		5.8899998665		36.3125

		PG&E		3633		7		0.2399999946		9.3699996471		36.3333358765

		PG&E		3636		6		0.6599999964		25.07999897		36.3636360168

		PG&E		3637		1		0.1599999964		6.0399999619		36.375

		PG&E		3650		8		0.4799999893		18.8799991608		36.5

		PG&E		3663		12		1.3199999928		49.7399997711		36.6363639832

		PG&E		3666		6		0.179999996		7.0799996853		36.6666679382

		PG&E		3679		6		0.9000000358		34.5600013733		36.7999992371

		PG&E		3700		17		0.8899999689		34.019998759		37

		PG&E		3709		12		1.3199999928		50.2799978256		37.0909080505

		PG&E		3736		6		0.6599999964		25.7399997711		37.3636360168

		PG&E		3739		6		0.3000000045		11.8200001717		37.3999977112

		PG&E		3745		6		0.6599999964		25.8000011444		37.4545440674

		PG&E		3754		18		1.9799999893		76.8000011444		37.5454559326

		PG&E		3768		1		0.1599999964		6.1900000572		37.6875038147

		PG&E		3772		6		0.6599999964		25.4399986267		37.7272720337

		PG&E		3781		6		0.6599999964		26.0400009155		37.8181800842

		PG&E		3787		6		0.4799999893		18.9000005722		37.875

		PG&E		3789		7		0.8000000119		31.3100004196		37.8999977112

		PG&E		3800		11		1.0099999774		39.4599986374		38

		PG&E		3815		6		0.7799999714		30.5400009155		38.1538467407

		PG&E		3818		5		0.549999997		21.6499996185		38.1818161011

		PG&E		3839		12		1.2000000179		47.2800006866		38.3999977112

		PG&E		3845		4		0.4399999976		17.6000003815		38.4545440674

		PG&E		3890		6		0.6000000089		24.1199998856		38.9000015259

		PG&E		3899		20		0.6199999861		25.0100001693		39

		PG&E		3920		6		0.6000000089		24		39.2000007629

		PG&E		3950		1		0.1599999964		6.7100000381		39.5000038147

		PG&E		3965		1		0.0057999999		0.2399999946		39.6551742554

		PG&E		3966		6		0.9000000358		36.7199993134		39.6666641235

		PG&E		3975		1		0.1599999964		6.5		39.75

		PG&E		3979		6		0.3000000045		12.5999994278		39.7999992371

		PG&E		3989		6		0.6000000089		24.6600008011		39.8999977112

		PG&E		3999		18		1.8000000268		74.0999994278		40

		PG&E		4000		13		0.1299999971		5.4699998498		40

		PG&E		4010		6		0.6000000089		24.5400009155		40.1000022888

		PG&E		4012		6		0.9599999785		40.7399997711		40.125

		PG&E		4037		6		0.4799999893		19.9799995422		40.375

		PG&E		4039		12		1.2000000179		49.4399986267		40.3999977112

		PG&E		4050		6		0.9599999785		41.0999994278		40.5

		PG&E		4070		6		0.6000000089		25.07999897		40.7000007629

		PG&E		4081		1		0.1599999964		6.5799999237		40.8125038147

		PG&E		4090		6		0.6000000089		25.1999988556		40.9000015259

		PG&E		4099		6		0.6000000089		24.9599990845		41

		PG&E		4100		12		1.1699999738		49.5599996448		41

		PG&E		4110		6		0.6000000089		25.6800012589		41.1000022888

		PG&E		4125		1		0.1599999964		6.6500000954		41.25

		PG&E		4130		6		0.6000000089		25.7399997711		41.2999992371

		PG&E		4156		1		0.1599999964		6.6999998093		41.5625

		PG&E		4162		2		0.3199999928		13.4200000763		41.625

		PG&E		4170		6		0.6000000089		25.9799995422		41.7000007629

		PG&E		4189		6		0.6000000089		26.0999994278		41.9000015259

		PG&E		4199		7		0.3100000042		14.8400005698		41.9999967303

		PG&E		4239		4		0.400000006		17.5200004578		42.3999977112

		PG&E		4300		1		0.049999997		2.2999999523		43.0000038147

		PG&E		4345		6		18.960000515		856.7399597168		43.45885849

		PG&E		4462		6		0.4799999893		22.1400003433		44.625

		PG&E		4466		6		0.359999992		16.4400000572		44.6666679382

		PG&E		4479		6		0.3000000045		13.9799995422		44.7999992371

		PG&E		4499		6		0.0599999987		2.8799999356		45

		PG&E		4600		1		0.0099999998		0.4900000095		46

		PG&E		4659		6		0.9000000358		43.6199998856		46.5999984741

		PG&E		4706		1		0.1599999964		7.5799999237		47.0625038147

		PG&E		4718		1		0.1599999964		7.6100001335		47.1875038147

		PG&E		4733		1		0.0900000036		4.3800001144		47.3333358765

		PG&E		4787		6		0.4799999893		23.7600002289		47.875

		PG&E		4812		6		0.4799999893		23.7600002289		48.125

		PG&E		4824		6		0.4799999893		23.5200004578		48.25

		PG&E		4837		6		0.4799999893		23.7600002289		48.375

		PG&E		4850		6		0.4799999893		23.5800004005		48.5000038147

		PG&E		4860		6		0.3000000045		16.7399997711		48.6000022888

		PG&E		4862		6		0.4799999893		23.7600002289		48.6250038147

		PG&E		4875		12		0.9599999785		47.7600016594		48.7500038147

		PG&E		4887		5		0.3999999911		20.1999998093		48.8750038147

		PG&E		4900		24		1.9199999571		96.4800038338		49.0000038147

		PG&E		4912		6		0.4799999893		24.1199998856		49.1250038147

		PG&E		4925		6		0.4799999893		23.9400000572		49.25

		PG&E		4937		6		0.4799999893		24.2399997711		49.375

		PG&E		4950		6		0.4799999893		24.1199998856		49.5

		PG&E		4953		6		0.7799999714		40.07999897		49.5384635925

		PG&E		4962		12		0.9599999785		48.6600008011		49.625

		PG&E		4979		1		0.1000000015		5.1999998093		49.7999992371

		PG&E		5000		6		0.4799999893		24.5999994278		50

		PG&E		5012		18		1.4399999678		73.3800001144		50.1250038147

		PG&E		5037		17		1.3599999696		70.319999218		50.3750038147

		PG&E		5066		6		0.9000000358		47.4599990845		50.6666641235

		PG&E		5075		6		0.4799999893		24.9000005722		50.75

		PG&E		5087		6		0.4799999893		24.7199993134		50.8750038147

		PG&E		5099		6		0.6000000089		31.3199987411		51

		PG&E		5106		1		0.1599999964		8.4200000763		51.0625

		PG&E		5112		6		0.4799999893		24.9599990845		51.1250038147

		PG&E		5124		12		0.9599999785		49.8599996567		51.25

		PG&E		5137		6		0.4799999893		25.1999988556		51.3750038147

		PG&E		5149		6		0.4799999893		25.07999897		51.5

		PG&E		5199		12		0.9599999785		51.1799983978		52

		PG&E		5212		18		1.4399999678		76.7399997711		52.1250038147

		PG&E		5224		6		0.4799999893		25.4399986267		52.25

		PG&E		5283		12		0.7199999839		38.3400006294		52.8333358765

		PG&E		5299		6		0.0599999987		3.4199999571		53

		PG&E		5387		6		0.4799999893		26.57999897		53.875

		PG&E		5439		6		0.3000000045		16.9799995422		54.4000015259

		PG&E		5479		6		0.3000000045		17.2800006866		54.7999992371

		PG&E		5483		6		0.359999992		20.4000005722		54.8333320618

		PG&E		5500		7		0.0699999984		4.1099998355		55.0000038147

		PG&E		5556		1		0.1599999964		9.029999733		55.5625038147

		PG&E		5564		1		0.200000003		11.3500003815		55.6500015259

		PG&E		5612		2		0.3199999928		18.4400005341		56.125

		PG&E		5618		1		0.1599999964		9.220000267		56.1875

		PG&E		5625		1		0.1599999964		9.2399997711		56.25

		PG&E		5659		6		0.3000000045		17.6400003433		56.5999984741

		PG&E		5666		6		0.359999992		21.0599999428		56.6666679382

		PG&E		5700		11		0.8099999819		47.5899980664		57

		PG&E		5712		5		0.3999999911		23.3999991417		57.1250038147

		PG&E		5824		1		0.0399999991		2.4400000572		58.25

		PG&E		5861		6		0.7799999714		47.4000005722		58.6153869629

		PG&E		5883		6		0.359999992		21.8400006294		58.8333358765

		PG&E		5899		6		0.0599999987		3.7200000286		59

		PG&E		5979		6		0.3000000045		18.7199993134		59.7999992371

		PG&E		5985		1		0.200000003		12.1899995804		59.8500022888

		PG&E		6005		1		0.200000003		12.3299999237		60.0499992371

		PG&E		6037		1		0.0799999982		4.9899997711		60.375

		PG&E		6056		6		0.9599999785		58.8000011444		60.5625

		PG&E		6090		1		0.1000000015		6.2600002289		60.9000015259

		PG&E		6235		1		0.200000003		12.8299999237		62.3500022888

		PG&E		6263		6		0.6599999964		42.6600008011		62.6363639832

		PG&E		6333		6		0.359999992		23.5200004578		63.3333320618

		PG&E		6407		6		0.7799999714		49.6799983978		64.0769271851

		PG&E		6533		6		0.179999996		12.2399997711		65.3333358765

		PG&E		6750		6		0.359999992		24.5999994278		67.5000076294

		PG&E		6800		12		0.7199999839		49.4400014877		68

		PG&E		6816		6		0.359999992		24.7800006866		68.1666717529

		PG&E		6866		6		0.359999992		25.1400003433		68.6666641235

		PG&E		6899		6		0.359999992		25.07999897		69

		PG&E		6933		6		0.359999992		25.1999988556		69.3333358765

		PG&E		6936		6		0.6599999964		47.4599990845		69.3636398315

		PG&E		6945		6		0.6599999964		47.5200004578		69.4545440674

		PG&E		7050		4		0.2399999946		17.5200004578		70.5

		PG&E		7125		6		6		441.3599853516		71.25

		PG&E		7232		1		0.6200000048		45.7200012207		72.3225784302

		PG&E		7260		6		0.3000000045		22.2600002289		72.5999984741

		PG&E		7300		6		0.0599999987		4.5		73

		PG&E		7320		12		0.6000000089		45		73.1999969482

		PG&E		7400		18		0.179999996		13.6799998283		74

		PG&E		7525		6		0.4799999893		37.8599996567		75.25

		PG&E		7600		6		0.0599999987		4.6799998283		76

		PG&E		7699		6		0.0599999987		4.8000000715		77

		PG&E		7719		6		0.3000000045		23.6400003433		77.1999969482

		PG&E		7799		12		0.1199999973		9.6600000858		78

		PG&E		7800		6		0.3000000045		24.1199998856		78

		PG&E		7862		6		0.4799999893		39.5400009155		78.625

		PG&E		7879		6		0.3000000045		23.7600002289		78.8000030518

		PG&E		7939		12		0.6000000089		47.8800001144		79.4000015259

		PG&E		7999		6		0.3000000045		24.1199998856		80

		PG&E		8060		6		0.3000000045		24.7199993134		80.6000061035

		PG&E		8100		12		0.6000000089		49.0200004578		81

		PG&E		8159		6		0.3000000045		25.0200004578		81.5999984741

		PG&E		8180		12		0.6000000089		49.5		81.8000030518

		PG&E		8185		6		6.9599997997		587.0399780273		81.8534469604

		PG&E		8199		6		0.3000000045		24.7199993134		82

		PG&E		8200		6		0.0599999987		5.0399998426		82

		PG&E		8333		1		0.0041999999		0.3600000143		83.3333358765

		PG&E		8359		6		0.3000000045		25.1999988556		83.5999984741

		PG&E		8379		6		0.3000000045		25.3800001144		83.8000030518

		PG&E		8399		18		0.4200000018		36.539999485		83.9999974569

		PG&E		8480		1		0.049999997		4.3800001144		84.8000030518

		PG&E		8550		6		0.359999992		31.6800012589		85.5000076294

		PG&E		8600		6		0.0599999987		5.2200000286		86

		PG&E		8625		6		0.9599999785		85.0200004578		86.25

		PG&E		8700		12		0.1199999973		10.7400001287		87

		PG&E		9100		6		0.0599999987		5.6399999857		91.0000076294

		PG&E		9200		6		0.0599999987		5.5800000429		92

		PG&E		9300		6		0.0599999987		5.8200001717		93

		PG&E		9700		6		0.0599999987		6.1199998856		97.0000076294

		PG&E		10050		1		0.0399999991		4.0900001526		100.5

		PG&E		10100		6		0.0599999987		6.4200003147		101

		PG&E		10399		6		0.0599999987		6.5400002003		104

		PG&E		10534		6		4.9799998999		539.2200164795		105.3494033813

		PG&E		10666		6		0.179999996		19.3200001717		106.6666717529

		PG&E		11000		6		0.0599999987		6.7200000286		110.0000076294

		PG&E		11200		6		0.0599999987		6.8399999142		112

		PG&E		11500		12		0.1199999973		14.2799999714		115

		PG&E		13100		5		0.1499999966		19.9500000477		131

		PG&E		13266		6		0.179999996		24.2399997711		132.6666717529

		PG&E		13433		17		0.5099999886		68.7500019073		134.3333435059

		PG&E		13733		6		0.179999996		24.8399991989		137.3333282471

		PG&E		14000		6		0.0599999987		8.7600002289		140

		PG&E		14300		4		0.1199999973		17.3600006104		143

		PG&E		14400		6		0.0599999987		8.7600002289		144.0000152588

		PG&E		15232		1		0.025799999		3.9900000095		152.325592041

		PG&E		16666		1		0.025799999		4.3400001526		166.6666870117

		PG&E		16699		6		0.0599999987		10.3800001144		167

		PG&E		17500		6		0.0599999987		10.7999997139		175

		PG&E		18700		6		0.0599999987		11.6400003433		187

		PG&E		20845		2		0.0284000002		5.9800000191		208.4506988525

		PG&E		21500		2		0.0299999993		6.6500000954		215.0000152588

		PG&E		24400		6		0.0599999987		14.7000002861		244.0000152588

		PG&E		25850		6		0.359999992		93		258.5

		PG&E		26099		6		0.0599999987		15.960000515		261

		PG&E		27800		1		0.0099999998		2.8199999332		278

		PG&E		28900		6		0.0599999987		17.8800001144		289.0000305176

		PG&E		29600		4		0.0399999991		11.9600000381		296

		PG&E		29700		6		0.0599999987		18		297

		PG&E		30000		6		0.0599999987		18.3599996567		300

		PG&E		34400		6		0.0599999987		20.9400000572		344

		PG&E		36500		6		0.0599999987		21.9000005722		365.0000305176

		PG&E		38800		6		0.0599999987		24.2399997711		388.0000305176

		PG&E		39100		12		0.1199999973		47.5200004578		391.0000305176

		PG&E		39500		6		0.0599999987		24.1800012589		395

		PG&E		40500		6		0.0599999987		24.2399997711		405.0000305176

		PG&E		40900		6		0.0599999987		24.7199993134		409.0000305176

		PG&E		41100		6		0.0599999987		24.5999994278		411.0000305176

		PG&E		41199		6		0.0599999987		24.5999994278		412

		PG&E		41399		6		0.0599999987		25.1400003433		414

		PG&E		41900		6		0.0599999987		25.6199998856		419

		PG&E		42199		6		0.0599999987		25.3199987411		422

		PG&E		43100		4		0.0399999991		17.5200004578		431

		PG&E		46199		6		0.0599999987		27.1199998856		462

		PG&E		49999		1		0.001		0.5099999905		499.9999694824

		PG&E		71400		6		0.0599999987		43.6199998856		714

		Public				234788		-6.9000000954		21523.5329856174

		Public		-101		34		208.3230965137		0		-1.001346213

		Public		-100		5082		49682.5569312163		16.1597000235		-0.9998653696

		Public		-99		190		6406.1896277666		105.8830002709		-0.9841505659

		Public		-98		273		10622.5499677062		274.7499993239		-0.9747417971

		Public		-97		226		8733.3400416374		313.5899996161		-0.9643561431

		Public		-96		197		7506.1000137329		337.1299998146		-0.9553334335

		Public		-95		204		6812.1400117427		380.2131023461		-0.9446829286

		Public		-94		232		7186.0299942493		469.1800014786		-0.9353128649

		Public		-93		192		6476.4999542236		492.859999299		-0.9245401255

		Public		-92		164		5398.089966774		469.6199961305		-0.9145601951

		Public		-91		201		6408.6099335253		614.4800073989		-0.9053727222

		Public		-90		263		9699.5899794102		1024.3200003561		-0.8956368881

		Public		-89		247		8438.4900224805		982.7900043167		-0.8849129496

		Public		-88		289		10151.0300520211		1284.8100001011		-0.8750702167

		Public		-87		307		10633.2999967337		1453.5500015914		-0.8653012734

		Public		-86		234		8300.339972809		1216.6399998944		-0.8558060937

		Public		-85		241		8519.9200526476		1334.7499925345		-0.8455560801

		Public		-84		183		5281.8700270653		887.2699974924		-0.8348759631

		Public		-83		212		5872.9099879265		1040.779995352		-0.8248138214

		Public		-82		196		6512.5499955416		1216.6499885619		-0.8156618369

		Public		-81		226		6675.3300363123		1314.3899991587		-0.8052212393

		Public		-80		184		5235.6499866545		1086.2899975032		-0.7951035665

		Public		-79		170		4232.5399773717		924.5699997395		-0.7851357365

		Public		-78		185		5184.4199962616		1185.5900051296		-0.774968202

		Public		-77		269		6733.7600154877		1612.9800054878		-0.7641647505

		Public		-76		134		3092.5499866009		768.1200076044		-0.7555630465

		Public		-75		270		6501.269995451		1682.2500025854		-0.7451904213

		Public		-74		222		5098.6000058651		1363.4400014952		-0.7352168122

		Public		-73		191		3841.2800067067		1074.2200044096		-0.7244786305

		Public		-72		169		3375.8999866545		972.8400040194		-0.7153385638

		Public		-71		186		4291.1499896049		1278.9600023031		-0.706058838

		Public		-70		233		5330.3199950755		1654.5700056031		-0.6943277681

		Public		-69		230		5692.0299836397		1823.2900033593		-0.6851173862

		Public		-68		179		4189.1300271749		1384.2199983299		-0.6740335393

		Public		-67		209		4403.1300103627		1497.4599881694		-0.6651612426

		Public		-66		172		3357.6899971962		1181.1200054288		-0.6548264661

		Public		-65		269		5212.4900200814		1887.3400060423		-0.6447161208

		Public		-64		193		3149.349576056		1170.8899996877		-0.6350298024

		Public		-63		248		4272.6000158787		1634.5700088441		-0.6250273768

		Public		-62		360		3836.2699784189		1497.590008229		-0.6144120309

		Public		-61		193		3714.2400014997		1497.4400013536		-0.6045674895

		Public		-60		290		4881.8199874163		2018.3500078321		-0.5957005491

		Public		-59		244		3755.0899754763		1589.7399842143		-0.5848520493

		Public		-58		201		3145.7599835843		1365.8200052828		-0.5746338548

		Public		-57		268		4119.549973011		1833.5299811661		-0.564242401

		Public		-56		241		3599.3399921656		1629.8300082088		-0.5547518896

		Public		-55		258		3202.0999929905		1482.4999937117		-0.5452803602

		Public		-54		242		2940.4599887133		1393.4799918011		-0.5346342584

		Public		-53		263		2880.9999984503		1391.0899960995		-0.5244875954

		Public		-52		229		2998.5899991989		1478.999997884		-0.5148726251

		Public		-51		280		3404.800011754		1708.8400062323		-0.5059378624

		Public		-50		260		3144.3900019526		1614.3200134859		-0.4951966149

		Public		-49		271		3317.9299901724		1735.5999982953		-0.4847514398

		Public		-48		203		2856.7599980831		1518.6800051033		-0.4750391544

		Public		-47		165		1858.7799960971		1009.2499914244		-0.4653293696

		Public		-46		239		2635.0099980235		1459.8000019789		-0.4547319447

		Public		-45		179		3004.3600292206		1692.3799939156		-0.4458162417

		Public		-44		229		3169.3999935389		1812.5800150633		-0.4351751737

		Public		-43		192		2422.9199936986		1411.2900140286		-0.4252834173

		Public		-42		235		1914.6699806452		1134.8200089037		-0.4154896878

		Public		-41		207		2430.439989686		1472.1400098503		-0.4050160469

		Public		-40		188		1412.9499872327		866.1500014365		-0.3954700385

		Public		-39		220		3038.4299823046		1895.2000152469		-0.3848456362

		Public		-38		235		1274.1799970269		803.1300006658		-0.3746128238

		Public		-37		281		2509.1903882623		1605.4500133395		-0.3641190131

		Public		-36		188		1687.019995451		1096.8799893558		-0.355046706

		Public		-35		316		2298.2499980927		1521.1500020921		-0.3450535274

		Public		-34		220		2186.4899837971		1474.6899898648		-0.3339588409

		Public		-33		206		2222.7699785232		1520.8500151634		-0.3251527156

		Public		-32		300		3043.3799732029		2117.8000170588		-0.3153608698

		Public		-31		490		7182.2299450636		5048.2800450921		-0.3054134418

		Public		-30		377		6131.9504408687		4369.4499757886		-0.2951612439

		Public		-29		387		5156.2500070929		3731.5499456823		-0.2849517279

		Public		-28		493		6413.3900739551		4709.9300032854		-0.2745650908

		Public		-27		498		8849.9300481081		6595.4600522518		-0.2650912243

		Public		-26		503		6243.4999987483		4721.8099952936		-0.2552452967

		Public		-25		603		8502.810001269		6520.1200041138		-0.2457025896

		Public		-24		543		10026.7600172162		7760.9199908972		-0.2344428982

		Public		-23		771		27678.5106531978		21697.8901161551		-0.2249286335

		Public		-22		841		20781.3701031804		16507.930010885		-0.2150302946

		Public		-21		721		16807.4817091227		13529.1000824571		-0.2041599296

		Public		-20		869		28384.7282831445		23140.230113335		-0.1953890915

		Public		-19		1068		32173.8801069856		26544.17992419		-0.1849094359

		Public		-18		1432		41714.1299462914		34850.199981004		-0.1752144319

		Public		-17		1230		38550.6400199346		32511.5501258895		-0.1649013139

		Public		-16		1626		42517.1101366803		36338.9601546302		-0.1549634133

		Public		-15		1730		44109.3099765331		38154.0600121915		-0.1445661234

		Public		-14		1619		51337.1701027751		44913.3299227357		-0.135017924

		Public		-13		1776		62213.8200558685		55111.860042233		-0.1245919807

		Public		-12		1947		58487.900285434		52369.1301842369		-0.115360003

		Public		-11		2828		82878.9004086517		75121.8502095453		-0.1052002981

		Public		-10		2864		95876.1212938875		87841.4001796842		-0.0948145017

		Public		-9		3129		125864.540543266		116450.820379533		-0.0850401925

		Public		-8		4329		127220.848538287		119056.140421957		-0.0751737953

		Public		-7		5131		137026.052035745		129737.280529279		-0.06442619

		Public		-6		6920		149193.842211373		143001.54999999		-0.0543726663

		Public		-5		10380		213887.947438173		208727.8203495		-0.0446949347

		Public		-4		18022		256982.024438147		253034.430419076		-0.0348738227

		Public		-3		22045		344658.127625085		342054.590259477		-0.0247114909

		Public		-2		27603		362249.475015007		361795.859460071		-0.0153185496

		Public		-1		29099		448895.343674645		449816.769371942		-0.0043990431

		Public		0		29149		961111.00003862		970149.668553455		0.0033368077

		Public		1		10238		188436.467952617		193163.189907186		0.0147487722

		Public		2		7374		177501.909393683		183721.729927797		0.024623422

		Public		3		9383		122184.380531799		127668.729922168		0.034469287

		Public		4		4525		91159.5507026836		96269.9999233074		0.0456672229

		Public		5		2303		67232.2605711482		71607.8700055294		0.0547594013

		Public		6		4499		51939.8204363585		55919.7101725489		0.0629436384

		Public		7		2829		40974.5214368142		44520.1401241943		0.0762920356

		Public		8		1763		34460.9603303261		37793.4700052515		0.0851811319

		Public		9		5420		27270.8703092076		30190.9800467864		0.0961527342

		Public		10		1383		17909.9701424651		20012.5699668899		0.1052068459

		Public		11		2365		11426.6413237825		12913.3200152367		0.1154599269

		Public		12		2321		11127.5916895159		12678.7200470716		0.1248978151

		Public		13		913		9958.7771950476		11480.1600552574		0.1348055373

		Public		14		2645		8230.7700295187		9553.6099957302		0.1472209868

		Public		15		1803		8242.7500815615		9656.8699909896		0.1552336844

		Public		16		4087		6398.3200165033		7589.6100100949		0.1662897548

		Public		17		357		5942.5800793469		7081.0600139499		0.1750373449

		Public		18		418		5319.350050211		6404.3599619865		0.1843006081

		Public		19		3220		5806.5400266349		7036.8500040322		0.1945371185

		Public		20		547		4651.5000132918		5685.0200327337		0.2034405398

		Public		21		409		3418.7700152993		4226.4499897361		0.213995766

		Public		22		380		4821.929977119		6002.2099434137		0.225281853

		Public		23		1169		4065.4600047022		5094.6099946797		0.2352876902

		Public		24		319		3770.0399951935		4773.4499992728		0.2443644516

		Public		25		1440		3223.749967739		4102.6200138181		0.2509983779

		Public		26		400		3460.0854181051		4444.2800098062		0.2665705062

		Public		27		228		2024.7799814939		2628.4600000382		0.2747805085

		Public		28		444		1990.8399945944		2600.4999986514		0.2853397783

		Public		29		640		2922.2500000745		3838.750015825		0.2964656124

		Public		30		321		2349.4199821353		3112.2299757004		0.3052467423

		Public		31		268		1189.8399872184		1592.2500033677		0.3150621531

		Public		32		169		1387.7100043297		1866.960000515		0.3254909669

		Public		33		3341		1617.7500008158		2207.7800066322		0.3334027477

		Public		34		240		1386.3699935824		1886.9900043011		0.345349645

		Public		35		188		1299.170006454		1785.4100022316		0.3550252816

		Public		36		185		1462.5900254846		2022.1800142527		0.3640693494

		Public		37		358		1343.2100112587		1876.1999980062		0.3748782098

		Public		38		177		1524.1917141676		2127.82000494		0.384982329

		Public		39		130		1049.1683068573		1482.0100001097		0.3952030157

		Public		40		195		910.1400096416		1291.0700042248		0.4023798365

		Public		41		141		1264.3600009084		1812.1899843216		0.4152389203

		Public		42		142		894.6700171158		1287.0499970391		0.4250544585

		Public		43		137		923.7300115675		1345.220000416		0.4353684085

		Public		44		118		1035.6400049925		1520.8700146675		0.4438607789

		Public		45		130		907.4999987632		1337.5399962962		0.4543698934

		Public		46		97		685.4299997091		1019.6999990344		0.4651883887

		Public		47		55		368.2216991186		549.3100020885		0.4747098782

		Public		48		99		760.2482925653		1144.5900057554		0.4839873455

		Public		49		63		463.7999926806		702.8200015426		0.4951065878

		Public		50		1752		908.7199924663		1392.9999945089		0.5002716553

		Public		51		101		792.9899939895		1219.8300062418		0.514534369

		Public		52		144		1223.1499974281		1903.2400005758		0.5241781597

		Public		53		79		526.0699916482		817.1899895668		0.5338276677

		Public		54		86		492.8899997771		771.6599935293		0.545269718

		Public		55		79		861.9599896669		1360.3800106049		0.5547984816

		Public		56		56		309.2399976254		492.2699948549		0.5642785834

		Public		57		109		753.9499918967		1207.199991554		0.5756863733

		Public		58		75		608.1100071669		974.5999951363		0.5860338076

		Public		59		74		406.0399945825		659.0999988914		0.5954840522

		Public		60		108		441.9099957943		716.2399945259		0.6054609688

		Public		61		83		521.530002594		857.0299985111		0.6142140469

		Public		62		83		596.0299969316		977.5200184584		0.6239616088

		Public		63		109		818.0799944401		1359.3600088358		0.6359450402

		Public		64		97		611.0199937522		1021.7399944365		0.6446902408

		Public		65		52		376.769996047		635.1800086498		0.6547382543

		Public		66		488		647.2100023441		1093.7700014114		0.666250411

		Public		67		44		302.1900018454		515.4899904728		0.6746697033

		Public		68		52		212.3199993372		365.1700003147		0.6848484209

		Public		69		70		492.5399958491		842.1199990511		0.6964754488

		Public		70		37		263.8600008488		456.4099905491		0.7063403033

		Public		71		74		504.9000015259		882.040014267		0.7160643565

		Public		72		70		451.2800075114		786.4500024021		0.7253530979

		Public		73		76		470.630002141		831.1499993801		0.7351275643

		Public		74		52		283.1000022888		503.0700027943		0.7450074324

		Public		75		59		359.5100028068		639.5800038725		0.7537823461

		Public		76		61		315.2599997967		566.6100014448		0.7651680552

		Public		77		52		264.5499982834		478.0000027418		0.7756729275

		Public		78		30		150.6300004125		276.8899986744		0.7866316299

		Public		79		54		322.3599990606		584.3200051785		0.794994724

		Public		80		134		208.2400006652		379.5000009537		0.8060728463

		Public		81		50		310.0499968529		571.2700006962		0.8146455824

		Public		82		40		253.9799996614		467.3300023079		0.8245682493

		Public		83		55		181.8900004923		340.0499963462		0.8349809798

		Public		84		21		122.5699985027		229.8500020504		0.8429058847

		Public		85		44		312.3800048828		587.8399908543		0.8538987406

		Public		86		28		146.9399989843		280.1100006104		0.8646315421

		Public		87		39		239.0099942684		455.8000000715		0.8744902351

		Public		88		80		545.2699980736		1039.3599925041		0.8855305657

		Public		89		36		222.7999982834		426.2100023031		0.8963291844

		Public		90		26		87.1199999452		169.2700020075		0.9041543993

		Public		91		34		214.2199991941		415.3200017214		0.913760038

		Public		92		59		283.6300009489		556.5399928093		0.9234519439

		Public		93		72		324.5700023174		639.5400076509		0.936834938

		Public		94		37		226.609995842		448.1200010777		0.9463309662

		Public		95		42		197.9999985099		393.1799954176		0.9540154309

		Public		96		31		210.5999970436		421.0900030136		0.9664702146

		Public		97		40		170.1299999952		340.3799974918		0.9764808506

		Public		98		65		296.7099993229		598.0799977779		0.9857677506

		Public		99		39		248.6299973726		502.9799966812		0.9944795171

		Public		100		113		411.9300023913		840.4900079966		1.0035254839

		Public		101		29		147.4800038338		301.7700066566		1.0150545959

		Public		102		28		142.740000248		292.6600003242		1.025429236

		Public		103		84		113.4000021815		235.009999752		1.0325898344

		Public		104		29		99.0300006419		206.5499972403		1.0467429038

		Public		105		34		180.7600001693		377.1599987745		1.0558646216

		Public		106		202		362.0000020266		758.3900046349		1.0645944087

		Public		107		36		216.260004282		455.5199999809		1.0751776563

		Public		108		28		157.8900004625		334.4299943447		1.0829607333

		Public		109		56		291.9299990982		624.8999974728		1.0950037603

		Public		110		20		106.3099980354		228.9999973774		1.1037898064

		Public		111		21		109.2200007439		234.9200022221		1.117365224

		Public		112		25		102.6299999952		221.0800023079		1.1241667509

		Public		113		29		124.9900009632		269.5499992371		1.1338254789

		Public		114		28		153.28000319		334.2400043011		1.1431982134

		Public		115		46		255.3599964976		559.8999922276		1.1558182861

		Public		116		20		109.1599999666		239.3000001907		1.1666157305

		Public		117		20		106.0900012255		234.8599989414		1.1717945039

		Public		118		30		150.0899997354		333.8299987316		1.183451275

		Public		119		17		73.1200013161		161.0699970722		1.1936929577

		Public		120		26		98.599997282		222.3200058937		1.2074459516

		Public		121		44		171.5000008345		386.7999975681		1.2142841193

		Public		122		49		238.0499941111		539.6000037193		1.2239389395

		Public		123		13		109.0899991989		246.4600009918		1.2347655755

		Public		124		63		280.0800085068		646.4999899864		1.2442270934

		Public		125		28		124.7400000095		286.9899988174		1.25409449

		Public		126		27		115.1300005913		264.0199956894		1.264356675

		Public		127		104		557.7400189638		1306.2099900246		1.2765837037

		Public		128		165		861.0200266242		2028.0299828053		1.2850394863

		Public		129		193		989.1000351459		2337.9299985766		1.2957938329

		Public		130		166		889.8100261688		2100.1700043678		1.3046630011

		Public		131		128		673.7600214481		1588.9300086498		1.3125212993

		Public		132		131		685.4900263548		1605.6499884129		1.3240803289

		Public		133		70		353.5700138174		836.2800096571		1.3361261896

		Public		134		81		418.9900144339		988.4199953079		1.3449603775

		Public		135		91		476.8600188494		1129.1000027657		1.355678895

		Public		136		31		160.0600062609		380.8300025463		1.3635656411

		Public		137		33		147.4100027084		350.4600069523		1.374402906

		Public		138		656		325.5400055647		791.0200015306		1.384632492

		Public		139		23		115.6799993962		278.2999991477		1.3967166258

		Public		140		12		33.6599993706		80.6400003433		1.4030802846

		Public		141		21		87.4600025415		212.6199960709		1.4145154272

		Public		142		9		34.9599993229		85.2200005054		1.4243768983

		Public		143		8		29.3800013661		73.9799991846		1.4384092689

		Public		144		8		70.1699991226		172.5200023651		1.4424848557

		Public		145		8		69.5499974489		171.4099955559		1.4560877085

		Public		146		740		135.9199967384		344.1900099516		1.4615763408

		Public		147		2		4.7799999714		12.0700001717		1.4769755602

		Public		148		11		90.9799985886		226.9099985361		1.4828285304

		Public		149		4		11.6400003433		29.8899998665		1.4957290888

		Public		150		16		66.0899994522		166.5500003844		1.507507883

		Public		151		9		38.2000008821		98.5900001526		1.5157335202

		Public		152		2		3.3199999332		8.4899997711		1.5240963697

		Public		153		63		14.8699997663		38.6099997759		1.5383585862

		Public		154		1		0.400000006		1.0399999619		1.5499999523

		Public		155		6		12.4799995422		32.0400009155		1.5528846979

		Public		156		1		16.8299999237		43.9500007629		1.562091589

		Public		157		4		10.9699999094		28.6500005722		1.5749991536

		Public		158		7		23.3399994373		60.3499979973		1.5827986683

		Public		159		11		48.9100001454		128.130004406		1.5944490216

		Public		160		7		49.8999977112		130.6900036335		1.6000000238

		Public		161		1		1.9199999571		5.0900001526		1.6145833731

		Public		162		1		22.25		59.5400009155		1.6251685619

		Public		163		2		3.3199999332		8.8899998665		1.6355422139

		Public		165		9		26.8199991137		71.7800006866		1.6570487817

		Public		166		1		14.8299999237		40.2799987793		1.6641942263

		Public		167		3		9.1499996185		24.4899994731		1.6772916714

		Public		168		9		54.9599993229		148.6799988747		1.683333079

		Public		170		7		29.8299999237		81.8200025558		1.7077144214

		Public		171		7		18.5800004005		49.9299993515		1.715763058

		Public		172		7		17.3499994278		47.8799993396		1.7284210409

		Public		173		3		7.5699999332		20.9899992943		1.7360532284

		Public		174		2		5.9800001383		16.6199998856		1.7420097589

		Public		175		6		45.3000011444		125.7000045776		1.7589403391

		Public		176		9		10.6099999547		29.6999998093		1.7692756918

		Public		177		7		41.8000003099		116.9999957085		1.7759738479

		Public		178		12		27.1799998283		75.8400006294		1.7865615487

		Public		179		8		15.7499996722		44.0600004792		1.7920137942

		Public		180		6		17.0999994278		47.3399991989		1.8000000715

		Public		181		7		33.0299988985		91.539999485		1.8143488509

		Public		183		1		0.1199999973		0.349999994		1.8333333731

		Public		184		13		36.6799995452		103.760001719		1.8460343159

		Public		185		6		17.460000515		50.2800006866		1.8556700945

		Public		187		3		3.5199999362		10.2400002331		1.876974225

		Public		188		6		46.6800012589		135.0600013733		1.8881746531

		Public		189		1		0.1000000015		0.2899999917		1.8999999762

		Public		190		2		3.5699999332		10.5199999809		1.9046868682

		Public		191		1		0.7400000095		2.1700000763		1.918918848

		Public		192		13		61.3399996758		180.030002594		1.9241252129

		Public		194		6		25.6800012589		75.6000022888		1.9439250231

		Public		195		1		1.5800000429		4.7899999619		1.955696106

		Public		196		14		29.0099998116		86.4599974155		1.9649711336

		Public		198		8		18.9300000072		57.1600027084		1.9880231917

		Public		199		1		1.9099999666		5.8299999237		1.9947644472

		Public		200		8		9.7599997371		29.7900002003		2.0009305477

		Public		201		2		5.659999907		17.2100000381		2.0143057108

		Public		202		6		29.4000005722		89.8200016022		2.0285713673

		Public		203		4		6.6999999881		20.4199998379		2.0353677273

		Public		204		4		4.9799998999		15.4299998283		2.0481929779

		Public		205		8		25.4399995804		78.1299972534		2.0542170107

		Public		207		7		3.2899999619		10.2199997902		2.0730449472

		Public		208		1		0.8299999833		2.6099998951		2.0843374729

		Public		209		3		4.3199999034		13.5799999237		2.0953356425

		Public		210		10		38.1600000262		118.7600011826		2.1078284502

		Public		212		23		42.7299998105		134.5600001812		2.1250108221

		Public		213		7		35.6400003433		112.8099999428		2.138053315

		Public		214		12		28.9799995422		91.5599999428		2.1438999176

		Public		215		1		3.5		11.2899999619		2.1600000858

		Public		216		6		15.2999997139		48.8400020599		2.160784483

		Public		217		8		18.1599999666		58.3100028038		2.1763374507

		Public		220		6		15		48.0600013733		2.2079999447

		Public		222		7		17		55.5799975395		2.2275715555

		Public		223		2		2.2899999619		7.4800000191		2.2365175486

		Public		224		2		1.9099999666		6.3499999642		2.2404819727

		Public		225		25		48.1400007904		158.1000008583		2.2543034649

		Public		227		6		17.7600002289		58.1999988556		2.2702701092

		Public		228		2		2.3199999928		7.6800000668		2.2885177135

		Public		229		14		30.2200003564		99.8099981546		2.2934770754

		Public		230		1		0.200000003		0.6899999976		2.2999999523

		Public		233		2		3.3199999332		11.2600002289		2.3373494148

		Public		234		6		15		50.1000022888		2.3480000496

		Public		236		7		6.0500000715		20.4300000668		2.3636362553

		Public		237		7		27.5199985504		93.439997673		2.37027015

		Public		238		13		31.4499994516		106.1599960327		2.381768355

		Public		239		1		0.4099999964		1.4099999666		2.3902440071

		Public		240		14		46.1799988747		158.7100009918		2.4055885758

		Public		242		6		12.539999485		43.3199987411		2.4258375168

		Public		244		1		1.6599999666		5.8099999428		2.4457831383

		Public		245		1		1.0199999809		3.4100000858		2.4509804249

		Public		246		5		16.0799999237		57.0100002289		2.4635548592

		Public		247		6		45.5400009155		158.1000022888		2.4795782566

		Public		248		7		36.4899998903		127.9100022316		2.4866789409

		Public		249		6		13.2600002289		45.7199993134		2.4977374077

		Public		250		12		28.2600002289		99.6000022888		2.5033936501

		Public		251		1		1.6599999666		5.9099998474		2.5180721283

		Public		252		6		13.3800001144		47.6400003433		2.5246636868

		Public		253		7		29.4400006533		104.5800032616		2.538551603

		Public		255		7		30.2199993134		107.9399995804		2.5538108689

		Public		256		1		1.9900000095		7.1700000763		2.5678391457

		Public		257		6		13.0800004005		47.3399991989		2.573394537

		Public		258		6		8.0400002003		28.6199998856		2.5895521641

		Public		259		7		41.75		150.5599975586		2.5989583901

		Public		260		1		1.5800000429		5.7800002098		2.6012659073

		Public		261		1		2.5		9.1000003815		2.6159999371

		Public		262		1		1.6599999666		6.0900001526		2.6204819679

		Public		263		7		4.1199999452		15.2300000191		2.6347761495

		Public		264		1		1.0299999714		3.75		2.6407768726

		Public		265		2		2.7400000095		10.1600000858		2.6570168734

		Public		266		1		2.3199999332		8.6899995804		2.6681034565

		Public		268		6		15		55.6200027466		2.6840000153

		Public		269		1		2		7.6100001335		2.6949999332

		Public		270		6		19.2600002289		71.6399974823		2.7040498257

		Public		272		6		12.4199995995		46.07999897		2.7294688225

		Public		274		1		0.5		1.8999999762		2.7400000095

		Public		275		2		1.819999963		6.9500001669		2.7545180321

		Public		282		7		12.0199997425		46.17000103		2.8281994547

		Public		283		14		27.6499997377		106.1900029182		2.8355201823

		Public		285		1		2.0799999237		8.2700004578		2.8509614468

		Public		286		3		2.1600000262		8.4900000095		2.8637421131

		Public		287		17		29.25		114.6300010681		2.8778778104

		Public		288		4		3.1599999666		12.5699999332		2.8818329573

		Public		290		1		1.25		5.0100002289		2.9040000439

		Public		292		8		15.0599995852		59.8300004005		2.9259839058

		Public		293		12		27.2999997139		107.9399986267		2.9362927675

		Public		294		9		20.2599999458		81.0000007749		2.9426064226

		Public		296		4		5.7399997711		23.0200002193		2.9657231569

		Public		297		6		8.8399999142		35.7999992371		2.9757883151

		Public		300		1		0.200000003		0.8299999833		3

		Public		302		2		0.7400000095		2.9700000286		3.0270268917

		Public		303		1		0.75		2.8800001144		3.0399999619

		Public		304		2		0.8199999928		3.3600000143		3.0487804413

		Public		307		12		16.5		67.1400003433		3.0726667643

		Public		308		1		0.9800000191		3.9800000191		3.0816326141

		Public		309		2		3.4799998999		14.5300002098		3.0948960781

		Public		310		6		20.5800004005		83.0400009155		3.1078715324

		Public		311		2		2.4099999666		9.8899998665		3.1172288656

		Public		313		1		1.6599999666		6.9400000572		3.132529974

		Public		315		1		2.9200000763		12.4200000763		3.1506848335

		Public		316		8		12.6100003123		52.9099988937		3.1639102399

		Public		320		2		4.620000124		19.8000001907		3.2034972906

		Public		323		2		2.3599998951		10.3299999237		3.2372882366

		Public		324		7		2.8299999833		12.0900000334		3.2438084739

		Public		325		2		2.3599998951		10.3599996567		3.2542374134

		Public		327		10		16.5699999928		71.2000001669		3.2733699322

		Public		329		1		0.5		2.1700000763		3.2999999523

		Public		330		1		0.9100000262		3.8299999237		3.3076922894

		Public		331		6		15		64.9799995422		3.3119997978

		Public		332		8		4.6100000739		20.0900000334		3.3249852657

		Public		333		7		16.3600002527		71.57999897		3.3342127119

		Public		334		12		41.5200013518		181.2600030899		3.3427747488

		Public		335		2		0.7400000095		3.2799999714		3.3513512611

		Public		336		2		1.8400000334		8.0399999619		3.3695650101

		Public		337		8		15.2100002319		66.1999988258		3.3746602237

		Public		338		1		0.9100000262		3.9700000286		3.3846151829

		Public		339		2		1.8200000525		7.9600000381		3.3956041336

		Public		340		7		6.5499997139		29.0799990892		3.4081634113

		Public		341		2		4.5900000334		20.5999999046		3.4159733057

		Public		342		1		0.2800000012		1.2599999905		3.4285712242

		Public		343		2		2.5699999928		11.4800000191		3.4396597147

		Public		344		9		29.2300005555		130.1300046444		3.4455171691

		Public		345		4		2.0200000405		9.0700001717		3.4572318196

		Public		347		6		22.3200001717		100.3199958801		3.4784944057

		Public		348		7		16.75		75.7200018167		3.4862337794

		Public		351		1		0.25		1.1599999666		3.5199999809

		Public		352		6		15		68.0400009155		3.5199999809

		Public		354		2		0.7400000095		3.4400000572		3.5405404568

		Public		355		1		0.25		1.1599999666		3.5599999428

		Public		358		6		35.2800006866		162.4799995422		3.5816323757

		Public		359		1		0.5		2.2400000095		3.5999999046

		Public		362		1		0.3700000048		1.6699999571		3.6216216087

		Public		363		1		1.6599999666		7.8299999237		3.6325302124

		Public		364		1		0.4499999881		2.0899999142		3.6444444656

		Public		365		2		2.700000003		12.6999997497		3.6549999714

		Public		366		6		28.6800012589		133.6200027466		3.6694560051

		Public		368		2		0.6599999964		3.1000000238		3.68146348

		Public		375		3		0.9900000095		4.6400001049		3.7578378518

		Public		378		6		4.9799998999		23.7600002289		3.7831327915

		Public		382		7		21.4599996805		103.9300012588		3.824393613

		Public		384		6		15		72.8400020599		3.8400001526

		Public		385		1		0.8199999928		3.9800000191		3.8536586761

		Public		387		6		15		73.2600002289		3.879999876

		Public		388		7		10.6399997473		52.2799973488		3.8812193189

		Public		393		1		0.3000000119		1.4800000191		3.9333329201

		Public		395		6		9.7799999714		47.8800001144		3.9509203434

		Public		398		1		2		10.0799999237		3.9849998951

		Public		400		1		3.8900001049		19.9899997711		4.0051412582

		Public		402		6		9.7200000286		49.3200016022		4.0246911049

		Public		403		1		0.5400000215		2.6900000572		4.0370368958

		Public		413		6		9.1799998283		47.6999988556		4.137254715

		Public		414		1		1.6599999666		8.6400003433		4.1445784569

		Public		417		6		22.2600002289		115.3199958801		4.1752018929

		Public		419		6		6.2999997139		32.57999897		4.1904764175

		Public		423		6		13.3800001144		68.8200016022		4.2331838608

		Public		424		1		1.6599999666		8.8599996567		4.2409639359

		Public		426		6		2.4599999785		13.0200004578		4.2682929039

		Public		430		1		0.200000003		1.0900000334		4.3000001907

		Public		432		6		16.0800004005		85.7399997711		4.3283581734

		Public		435		1		0.3700000048		1.9900000095		4.3513512611

		Public		437		6		27.9000005722		150.7200050354		4.3741936684

		Public		440		7		23.4500002861		127.4700021744		4.4000000954

		Public		443		6		4.9799998999		26.8800001144		4.4337348938

		Public		450		1		0.0799999982		0.4399999976		4.5000004768

		Public		456		6		9.9599997997		55.6200027466		4.5662651062

		Public		458		1		0.1700000018		0.9700000286		4.5882349014

		Public		460		12		38.6400003433		217.6799926758		4.6037197113

		Public		464		1		2.5		14.2100000381		4.6440000534

		Public		468		12		28.0199997425		160.3799972534		4.6852998734

		Public		475		1		0.3700000048		2.1900000572		4.7567567825

		Public		481		1		0.3300000131		1.9299999475		4.8181815147

		Public		493		6		7.8599996567		46.1400003433		4.9312977791

		Public		499		6		2.4599999785		14.8800001144		5

		Public		500		1		4.4099998474		26.3799991608		5

		Public		510		1		1.6599999666		10.3299999237		5.1084337234

		Public		512		2		0.7299999744		4.4800000191		5.1240384579

		Public		517		6		19.9799995422		126.7200050354		5.1771774292

		Public		529		6		15.2999997139		96.4799995422		5.2901959419

		Public		533		6		7.5		48		5.3359999657

		Public		552		6		7.5		49.3799972534		5.5279998779

		Public		555		1		4.1599998474		27.2199993134		5.5528850555

		Public		586		6		7.0799996853		49.0800018311		5.8644070625

		Public		589		1		0.3899999857		2.6900000572		5.897436142

		Public		595		1		1.7400000095		12.4200000763		5.9597702026

		Public		596		1		0.6600000262		4.6199998856		5.9696969986

		Public		612		1		1.0199999809		7.4400000572		6.127450943

		Public		622		1		1.0399999619		7.6599998474		6.2211537361

		Public		623		1		1.0399999619		7.6700000763		6.2307696342

		Public		635		6		5.1000001431		37.4399986267		6.3529410362

		Public		636		1		3.3399999142		25.0900001526		6.3682637215

		Public		637		1		0.0799999982		0.6100000143		6.375

		Public		648		1		1		7.6199998856		6.4800000191

		Public		649		1		0.0799999982		0.6100000143		6.5

		Public		650		1		1		7.6700000763		6.5

		Public		653		2		1.4900000095		11.3399999142		6.5303061008

		Public		654		6		7.5		57		6.5440001488

		Public		659		1		1		7.7300000191		6.5900001526

		Public		660		6		3.0599999428		23.0999994278		6.6078429222

		Public		679		6		4.9799998999		38.6999988556		6.7951807976

		Public		689		6		11.1600000858		88.0800018311		6.8978495598

		Public		701		1		0.75		6.1100001335		7.0133337975

		Public		714		7		3.9200000316		31.7100013494		7.1458523614

		Public		718		1		2.8699998856		23.9500007629		7.1881532669

		Public		730		7		9.9999998584		83.3199999928		7.3077923911

		Public		738		6		5.8200001717		49.2600002289		7.3814430237

		Public		743		1		0.9499999881		8.2700004578		7.431579113

		Public		775		6		6.6000001431		58.1399974823		7.7545452118

		Public		783		6		5.3999998569		48.2399997711		7.8333339691

		Public		786		6		5.2799999714		47.3399991989		7.8636364937

		Public		790		7		7.0300000906		62.4899988174		7.9060038839

		Public		791		7		8.3299999833		74.5399990082		7.912523474

		Public		793		1		1.9299999475		17.1900005341		7.9326429367

		Public		796		1		0.25		2.2400000095		7.9600000381

		Public		798		1		1.9299999475		17.2800006866		7.9844560623

		Public		802		6		5.3999998569		49.1999988556		8.0222225189

		Public		806		1		0.6399999857		5.8899998665		8.0625

		Public		811		1		1.9299999475		17.5300006866		8.11398983

		Public		820		1		0.4300000072		3.9800000191		8.2093019485

		Public		823		6		10.1400003433		94.3200016022		8.2307691574

		Public		831		6		9		84.3000011444		8.3199996948

		Public		838		1		2.5799999237		24.4799995422		8.3837203979

		Public		846		6		5.1600000858		49.3799972534		8.4651165009

		Public		850		6		4.9799998999		47.2199993134		8.5060243607

		Public		851		6		2.4599999785		23.2199993134		8.5121955872

		Public		871		6		4.9799998999		48.8400020599		8.7108440399

		Public		872		1		0.3300000131		3.1500000954		8.7272729874

		Public		874		6		4.9799998999		48.3600025177		8.7469882965

		Public		897		1		0.349999994		3.4600000381		8.9714288712

		Public		915		6		4.7400001287		48.6000022888		9.1518983841

		Public		925		6		4.7400001287		49.0200004578		9.2531642914

		Public		933		6		4.5		47.0400009155		9.3333330154

		Public		935		4		3.4800000191		36.4000015259		9.3563222885

		Public		943		3		3.4799998999		37.2600002289		9.439655304

		Public		945		1		1.1599999666		12.4300003052		9.4568967819

		Public		991		6		6.7200000286		73.0800018311		9.9196424484

		Public		1038		6		4.9799998999		55.6799983978		10.3855419159

		Public		1039		6		3.1799998283		35.6400003433		10.3962278366

		Public		1046		1		0.1299999952		1.4900000095		10.4615392685

		Public		1053		1		0.1299999952		1.4900000095		10.5384616852

		Public		1055		6		4.9799998999		56.8799972534		10.5542173386

		Public		1057		1		0.9100000262		10.4899997711		10.571428299

		Public		1061		2		0.2599999905		3.0599999428		10.6153850555

		Public		1073		1		0.2300000042		2.6700000763		10.7391300201

		Public		1078		2		0.4600000083		5.3500001431		10.7826089859

		Public		1082		1		0.2300000042		2.6800000668		10.826086998

		Public		1089		1		0.6600000262		7.9200000763		10.8939390182

		Public		1092		1		0.1299999952		1.5499999523		10.9230766296

		Public		1095		1		0.200000003		2.4400000572		10.9499998093

		Public		1339		6		3.3000000715		47.4000005722		13.3999996185

		Public		1388		6		3.1199998856		46.8599996567		13.8846158981

		Public		1421		6		3.1199998856		47.9399986267		14.2115383148

		Public		1484		6		3		47.0400009155		14.8400001526

		Public		1495		12		7.3799999356		116.57999897		14.9512195587

		Public		1557		6		2.8199999928		47.3399991989		15.5744686127

		Public		1558		6		2.8799999356		48.2399997711		15.5833339691

		Public		1607		1		0.4199999869		7.3000001907		16.071428299

		Public		1749		6		2.6399999857		49.3200016022		17.5

		Public		1923		6		2.3399999142		47.8800001144		19.2307701111

		Public		1933		1		0.4499999881		9.1400003433		19.3333339691

		Public		1975		1		0.0799999982		1.6900000572		19.7500019073

		Public		2005		1		0.1800000072		3.7599999905		20.0555534363

		Public		2096		6		4.5		99.3599967957		20.9600009918

		Public		2182		1		0.1700000018		3.8499999046		21.8235301971

		Public		2285		6		3.2400001287		77.6399974823		22.8518505096

		Public		2337		1		0.1599999964		3.8299999237		23.375

		Public		2354		1		0.1099999994		2.7100000381		23.5454540253

		Public		2586		6		1.7399999499		47.2800006866		25.8620700836

		Public		3123		6		1.5		48.8400020599		31.2399997711

		Public		3619		1		0.150000006		5.6999998093		36.1999969482

		Public		4594		6		1.0200000107		48.4199981689		45.9411773682

		Public		5233		6		0.9000000358		48.6000022888		52.3333320618

		Public		5984		6		0.7799999714		48		59.846157074

		Public		6007		6		0.7799999714		48.2399997711		60.0769233704

		Public		7070		1		0.1000000015		7.4000000954		70.6999969482

		Public		7760		6		0.6000000089		47.6999988556		77.5999984741

		Public		14904		6		3.9600001574		604.2599945068		149.0454559326

		Public		18500		1		0.0099999998		1.8999999762		185

		Public		25466		6		0.179999996		46.5		254.6666717529

		Public		29844		1		0.0900000036		27.4699993134		298.4444274902

		SCE				66300		-1601.4099972993		23555.6915087494

		SCE		-173		1		0.0057999999		0		-1.7241379023

		SCE		-101		1		15.3599996567		0		-1.0006510019

		SCE		-100		130512		120521.781812669		81.3274000025		-0.999942223

		SCE		-99		1102		7841.5899849441		110.876999865		-0.984660925

		SCE		-98		931		6494.6500144582		158.0341992809		-0.9750330977

		SCE		-97		1115		7861.9100334663		279.1776989749		-0.9644060268

		SCE		-96		1603		6834.5200308263		304.6203997834		-0.9553654865

		SCE		-95		1317		6525.9618055138		359.4813003095		-0.9447396225

		SCE		-94		1791		6664.1300378926		434.7438015169		-0.9351521085

		SCE		-93		3752		11829.090270048		892.8002060988		-0.9243498345

		SCE		-92		3204		9140.100173872		768.2094021316		-0.9152443819

		SCE		-91		1879		5492.6900571585		514.7699975222		-0.9058926835

		SCE		-90		1434		4021.0500489716		426.6089974613		-0.8934885817

		SCE		-89		5180		4617.3698250155		531.6250000295		-0.8832817073

		SCE		-88		1606		4639.0700362176		585.0720017748		-0.8757908504

		SCE		-87		1387		4506.3900208753		616.8442002083		-0.8653496177

		SCE		-86		510		3889.8000153266		575.4690022138		-0.8548570177

		SCE		-85		1076		3808.3700000942		597.1899976246		-0.8470359474

		SCE		-84		3084		5026.8600242324		836.6156003098		-0.8341106296

		SCE		-83		1189		3212.9312045057		568.2907972003		-0.8245212079

		SCE		-82		517		3288.3000196665		620.9488026621		-0.8152404509

		SCE		-81		987		3561.200013129		704.9060035527		-0.8068404044

		SCE		-80		2277		3657.8000109159		754.4143981106		-0.797454599

		SCE		-79		1283		4985.3600422181		1091.4377935552		-0.7832484405

		SCE		-78		646		4235.4400160052		967.1081937738		-0.775261118

		SCE		-77		782		3734.3299974296		895.9687999003		-0.76592237

		SCE		-76		1100		3597.5497970339		899.2920031198		-0.7543024045

		SCE		-75		913		4750.560010327		1237.238497633		-0.7465265771

		SCE		-74		1401		4816.5700215995		1301.6600028835		-0.7361368823

		SCE		-73		775		3750.400014814		1052.4373986456		-0.7257415552

		SCE		-72		1146		5247.7800181005		1527.0697002374		-0.71463028

		SCE		-71		1025		5545.6902482826		1669.0410028352		-0.7054223894

		SCE		-70		3153		6391.0200442523		1983.2800176684		-0.6939520676

		SCE		-69		1502		7850.2800960839		2515.9600051232		-0.684730821

		SCE		-68		1737		10350.1901046038		3427.0899951309		-0.6742631235

		SCE		-67		3678		10832.9401333872		3679.5134007661		-0.6655686728

		SCE		-66		2646		12555.4701355174		4390.4198974762		-0.6545560401

		SCE		-65		3864		10582.4201110601		3804.139990136		-0.643861456

		SCE		-64		2284		9230.3300781641		3432.892761834		-0.6346672274

		SCE		-63		1445		6562.7600204013		2500.8513789037		-0.6251251191

		SCE		-62		1179		5036.709992066		1983.6300195251		-0.6152933725

		SCE		-61		1167		4609.7899839841		1854.0826052954		-0.6068702621

		SCE		-60		1556		5027.5900033079		2071.0752004655		-0.5977970128

		SCE		-59		734		4182.6999961436		1778.7699921429		-0.5856411439

		SCE		-58		1053		4116.0699978564		1779.5600021426		-0.5732381235

		SCE		-57		1581		5391.5000091791		2384.250008449		-0.5655265738

		SCE		-56		447		3828.7299955487		1745.9399963058		-0.5551511568

		SCE		-55		846		3420.1400068551		1593.7800030224		-0.5444518624

		SCE		-54		1314		5556.6000282764		2665.9500139877		-0.5345126869

		SCE		-53		852		5753.8200742658		2860.2388123125		-0.523606088

		SCE		-52		966		5312.179997284		2657.4000026025		-0.5137915361

		SCE		-51		467		3973.9900046587		2029.9399912357		-0.5055826066

		SCE		-50		3099		7095.4000222534		3688.6017960279		-0.4988804217

		SCE		-49		823		5696.6400147825		3017.560015358		-0.4845902473

		SCE		-48		1155		5724.3800173271		3091.2500087004		-0.4751802322

		SCE		-47		1907		5604.4700188357		3096.7791962642		-0.4653293769

		SCE		-46		988		5911.319997251		3309.5199958608		-0.4548289661

		SCE		-45		672		7620.900031643		4371.4599952083		-0.4454744435

		SCE		-44		1466		6808.6858088374		3962.679980848		-0.4344933384

		SCE		-43		1269		6658.2800106928		3935.779999746		-0.424101258

		SCE		-42		1439		6369.4936403627		3830.6027907427		-0.4144883284

		SCE		-41		1288		6015.4300215337		3672.2300034855		-0.4049590541

		SCE		-40		2445		7547.3600237519		4708.4999995772		-0.3971156994

		SCE		-39		1481		9407.2900383864		5926.1399699766		-0.3850285218

		SCE		-38		1362		7666.4599838201		4906.5600204449		-0.3752653945

		SCE		-37		3688		8573.4296537489		5591.8099848069		-0.3657835506

		SCE		-36		2080		10054.8400545567		6647.6199950129		-0.3546396666

		SCE		-35		2065		12304.51005169		8266.0500036404		-0.3451754771

		SCE		-34		4160		9887.890061358		6748.9299870785		-0.3339349076

		SCE		-33		1674		10711.2100408617		7453.9700277261		-0.324933417

		SCE		-32		3136		11514.6000870056		8137.6000047512		-0.3159697375

		SCE		-31		2663		12722.3300388064		9083.8499954343		-0.304923463

		SCE		-30		9503		14509.6752558022		10519.999750827		-0.2943868232

		SCE		-29		2924		15432.9500433207		11383.8499249928		-0.2847099804

		SCE		-28		3310		15873.7804490663		11828.7199274637		-0.2745345152

		SCE		-27		4178		16525.1500720941		12462.7827806175		-0.2648100454

		SCE		-26		2766		15146.1301065236		11596.1000199541		-0.2551548259

		SCE		-25		3271		18674.0500073284		14481.9900118336		-0.2455532484

		SCE		-24		3551		19821.9400332551		15566.7300368845		-0.2343440873

		SCE		-23		3510		17863.8400514722		14284.7799943984		-0.2251156416

		SCE		-22		4058		16432.4400550593		13350.4100147001		-0.2136031102

		SCE		-21		3509		24792.1000724174		20454.0199817885		-0.2048055921

		SCE		-20		5065		24475.3801285718		20796.9600236472		-0.1963748841

		SCE		-19		4333		32222.9802237321		28288.3299826831		-0.1851458831

		SCE		-18		4707		31466.2376633473		27938.9800726902		-0.1745020981

		SCE		-17		6791		35476.9501000904		31419.2900351956		-0.1654792437

		SCE		-16		7230		46510.8344474304		42005.612240376		-0.1549979056

		SCE		-15		8011		61107.0907567069		55898.9299829323		-0.1445566135

		SCE		-14		9074		70651.21337175		64812.5364256743		-0.1346750188

		SCE		-13		10322		97144.7016778979		90398.1001303196		-0.1247368981

		SCE		-12		11698		210061.609475443		201809.130333368		-0.1149000902

		SCE		-11		14517		363982.872119736		355559.230151549		-0.1052279639

		SCE		-10		14812		281788.391360031		274105.769908687		-0.0948222568

		SCE		-9		16783		210583.433392705		204571.71989036		-0.0846621333

		SCE		-8		23584		290137.29838476		283731.876316106		-0.0750751136

		SCE		-7		26265		366674.054659491		359941.029475177		-0.0650995428

		SCE		-6		28619		428879.740079533		423364.357353933		-0.0547347951

		SCE		-5		33694		737577.730456868		733907.690011883		-0.0448603493

		SCE		-4		44992		1323884.4396493		1325579.42740925		-0.0347950473

		SCE		-3		51652		2123240.26465451		2135587.77988038		-0.0251327098

		SCE		-2		61571		1689469.41215269		1711997.00042259		-0.0152156742

		SCE		-1		61927		1627363.68890452		1665900.00037604		-0.0050659518

		SCE		0		51219		1073374.01019788		1111666.25964795		0.0045260813

		SCE		1		31970		464869.531915715		486003.320371877		0.015080456

		SCE		2		26883		308174.92924686		326913.74024283		0.0252077259

		SCE		3		23481		243568.58792913		259810.930423129		0.0350383638

		SCE		4		18581		188342.30097818		202942.909800269		0.0449771373

		SCE		5		15518		157220.435734369		170667.590349481		0.0546011439

		SCE		6		14625		105934.198325938		115714.219859192		0.0648205077

		SCE		7		10406		63412.3578277528		70051.3300382979		0.0749853059

		SCE		8		6397		43374.9973230157		48648.7500572931		0.0846508733

		SCE		9		9345		32276.2789013479		36706.0300538037		0.0962547716

		SCE		10		5249		30009.0156241301		34370.5501152668		0.1045367165

		SCE		11		7589		30975.7599882483		35756.6300271936		0.1136768282

		SCE		12		9233		25271.8541713133		29571.3899722323		0.1245041848

		SCE		13		8724		26151.3849298768		30818.7400735766		0.1345006295

		SCE		14		7207		22419.394278774		26672.7599111851		0.1446847825

		SCE		15		7142		19033.9917278178		22840.790004205		0.1546298257

		SCE		16		6090		16780.6371395681		20303.9199673925		0.1660108237

		SCE		17		2796		14043.1358481608		17143.0700310525		0.1742539942

		SCE		18		6971		16027.5850820933		19781.4760297835		0.1850691292

		SCE		19		7358		12313.9060173761		15269.5600122754		0.1974455333

		SCE		20		3356		11166.4354318101		13913.2299524229		0.2046744215

		SCE		21		2720		10816.688427195		13602.9299837369		0.214735449

		SCE		22		5285		10380.8554892633		13175.2000406552		0.2238664827

		SCE		23		4103		11194.6525519211		14348.9300128948		0.2337740195

		SCE		24		2775		10417.9658351205		13417.8100299779		0.2434040392

		SCE		25		4319		9672.3196619693		12654.2300415803		0.2522900402

		SCE		26		2478		12232.8736299202		15987.1899397969		0.2653683541

		SCE		27		3016		8856.8075114153		11684.510014439		0.2752048473

		SCE		28		2238		11679.3058286738		15424.8999970928		0.2840539707

		SCE		29		3560		9745.1842284128		13041.4500126541		0.2969353321

		SCE		30		2864		9329.7676035445		12529.7899182215		0.3037533635

		SCE		31		4016		8330.2530382108		11276.9800085761		0.3148851418

		SCE		32		1674		8789.64083758		11992.0299533606		0.3245248688

		SCE		33		5261		8621.5001359023		11823.5499460381		0.3337685981

		SCE		34		1439		6415.0712295286		8856.8800057583		0.3447212406

		SCE		35		1725		6728.460020341		9357.1999820843		0.354830485

		SCE		36		2886		4966.2242448591		6994.7400036491		0.3639373477

		SCE		37		1269		5320.810008239		7482.3199994601		0.3748040099

		SCE		38		1360		4667.7804384362		6651.6300097629		0.3850041238

		SCE		39		2443		5228.5095967911		7461.3000039011		0.3979620145

		SCE		40		937		4450.5199813656		6420.2099466734		0.4045667332

		SCE		41		749		4501.2699715011		6522.5100005381		0.4151320463

		SCE		42		818		3238.2700059414		4721.2899939269		0.4266543128

		SCE		43		1388		4798.6599930562		7115.5200373717		0.4364649889

		SCE		44		517		3538.4903873801		5225.0000036433		0.4448645304

		SCE		45		544		3297.0800034702		4910.3300280422		0.4548680712

		SCE		46		1083		2467.3741688263		3707.699984692		0.4640900477

		SCE		47		567		2610.2441956215		3951.1299847364		0.4763274135

		SCE		48		430		3554.9800280593		5391.3299826048		0.4849236707

		SCE		49		365		2164.6743970141		3316.4300019033		0.4934849218

		SCE		50		3795		2723.0268888362		4207.1400119625		0.5005558096

		SCE		51		591		1856.3883032855		2880.9900104143		0.5138525719

		SCE		52		539		2474.3658000566		3853.0999942869		0.52470165

		SCE		53		922		3311.2499954998		5175.8599690944		0.5360437306

		SCE		54		467		2088.0800004825		3289.2000043839		0.543001861

		SCE		55		390		2673.889991615		4251.4599828012		0.5548376259

		SCE		56		635		2382.860009104		3806.640013814		0.5642610532

		SCE		57		471		2757.2299978509		4423.4100103825		0.5752500161

		SCE		58		568		3047.9499997068		4940.9299732298		0.5850578803

		SCE		59		932		3448.1600073353		5612.5099876746		0.5971225757

		SCE		60		635		2350.949998036		3851.5199781358		0.60393549

		SCE		61		451		3275.3600030579		5387.0199943408		0.6142536921

		SCE		62		544		2565.5242028795		4260.9600139372		0.6243004766

		SCE		63		553		2599.4700130709		4329.2299919911		0.6349338334

		SCE		64		347		2193.1800074428		3683.7599880397		0.6446316161

		SCE		65		451		2120.1073855162		3574.8099930882		0.6547669237

		SCE		66		3791		1879.2599902563		3218.700016588		0.6665229502

		SCE		67		253		2129.4282960966		3652.7999619693		0.6744593019

		SCE		68		506		2914.2400105782		5011.3900023289		0.6839006301

		SCE		69		721		2368.4599900339		4109.0600084104		0.696495081

		SCE		70		282		1833.9600051381		3184.9600102045		0.7046569514

		SCE		71		592		2019.8400060758		3544.6699890867		0.7144073204

		SCE		72		390		1996.1099880598		3520.2100383304		0.7240867894

		SCE		73		387		2080.0300141126		3686.7700042576		0.7337892567

		SCE		74		349		1550.1299831327		2771.4299912788		0.7439651756

		SCE		75		1437		2477.3200031295		4493.9400052205		0.7567221496

		SCE		76		389		1803.6400002204		3248.4299920537		0.7646813831

		SCE		77		542		2522.8158151098		4579.1899812594		0.7746088332

		SCE		78		417		1437.3283079378		2622.3600033633		0.7854374278

		SCE		79		1128		3169.2300006524		5810.4199636206		0.7980165056

		SCE		80		930		1368.3699930497		2546.0000149198		0.8015968841

		SCE		81		430		2462.980018232		4562.499972973		0.8147154728

		SCE		82		429		1621.7800045684		3020.3100341335		0.8239903399

		SCE		83		2196		1398.6600113809		2645.119971253		0.8335007559

		SCE		84		628		1302.5800158382		2487.9300282001		0.8469864836

		SCE		85		1019		1215.1799919754		2308.019987449		0.8561654327

		SCE		86		344		1727.119593326		3289.5999974497		0.8647659899

		SCE		87		1504		2247.7141862493		4367.9899826199		0.8765787461

		SCE		88		331		1993.0999880731		3841.4999856539		0.8848654552

		SCE		89		373		1888.4600020535		3669.6099579819		0.8959150279

		SCE		90		498		998.3400040269		1957.8700025827		0.9024979956

		SCE		91		331		2137.6599877104		4183.310037069		0.914002107

		SCE		92		383		1607.5099964067		3166.9600061104		0.924185058

		SCE		93		384		1025.0599980671		2035.8199715726		0.9349804961

		SCE		94		424		1414.7699944768		2808.2399948575		0.9467328409

		SCE		95		293		1242.3199923039		2484.0400056839		0.9550535563

		SCE		96		406		1087.2000030354		2191.0000047237		0.9655603611

		SCE		97		367		814.0299965069		1650.0700009912		0.9748637241

		SCE		98		315		1235.5600011125		2501.7500116378		0.9841260842

		SCE		99		161		939.7699946184		1911.2300319709		0.9940594279

		SCE		100		4696		1658.7700010147		3413.5699983873		1.0002184534

		SCE		101		264		876.7400007844		1818.6199977398		1.0170808006

		SCE		102		304		1041.9199995995		2147.5100082159		1.0252246147

		SCE		103		364		871.5299936831		1822.4200037122		1.0352385647

		SCE		104		326		814.7199887633		1708.6499940157		1.045821832

		SCE		105		182		478.1299941838		1006.020001173		1.0540848813

		SCE		106		377		808.6200085878		1714.129986763		1.0642163497

		SCE		107		207		888.6958012357		1879.0900170803		1.0750968433

		SCE		108		156		720.3400018811		1531.8999937773		1.0845081157

		SCE		109		266		679.0600037426		1454.4900040329		1.0949962843

		SCE		110		283		483.079998821		1046.4500038475		1.1026083901

		SCE		111		129		867.5999969542		1867.8900021315		1.1145009597

		SCE		112		321		637.1800071746		1378.860009864		1.1248466701

		SCE		113		336		1015.9100089073		2209.2200128436		1.1341494034

		SCE		114		239		590.6399923563		1291.5299911499		1.145141823

		SCE		115		198		728.8003938682		1600.57000947		1.1549148006

		SCE		116		575		721.4884119444		1593.4000191465		1.1663890383

		SCE		117		268		628.3400000036		1398.4699815512		1.175890012

		SCE		118		221		388.6199974418		874.0799964368		1.186086673

		SCE		119		255		681.860001564		1526.0399960875		1.1973086259

		SCE		120		193		356.7200009227		803.3600074053		1.203763955

		SCE		121		72		255.8600013256		577.9000021219		1.2133290983

		SCE		122		103		416.5900001526		948.8600001037		1.2253215325

		SCE		123		272		723.5200008154		1657.9400037527		1.2331276944

		SCE		124		93		367.2600007653		840.670014739		1.2451948568

		SCE		125		151		165.3799976483		387.3599971682		1.2551619525

		SCE		126		237		324.3800024986		751.0500097275		1.2659062062

		SCE		127		134		412.3499951959		952.8900046349		1.2755856185

		SCE		128		167		519.6033022478		1211.8400174938		1.2850536543

		SCE		129		103		321.8542016819		754.3499971628		1.2956285511

		SCE		130		156		333.6199977994		783.4000022411		1.3050873853

		SCE		131		108		393.6000019312		925.3899987936		1.3148472574

		SCE		132		128		380.2600002289		897.3500080109		1.3245291272

		SCE		133		1399		237.7200003769		570.7200050801		1.3334193431

		SCE		134		217		455.8800016642		1100.1899864674		1.3432411214

		SCE		135		89		261.8999984264		629.0399999619		1.3535968775

		SCE		136		368		507.7599973679		1236.2299890518		1.3648493996

		SCE		137		453		744.0599958152		1814.0200005621		1.3750096423

		SCE		138		144		520.2016958334		1263.4299905784		1.3850810503

		SCE		139		630		413.7100024		1023.2300034463		1.3978861792

		SCE		140		130		370.2999960184		913.3599967957		1.4044966404

		SCE		141		171		311.999999553		774.249992609		1.4158892673

		SCE		142		157		792.4499959946		1958.9500105381		1.4242571919

		SCE		143		213		932.3000011444		2313.3299924135		1.4342540167

		SCE		144		258		1109.5999991894		2763.8300228119		1.4447433916

		SCE		145		155		1095.4400065839		2739.1100049019		1.4549859747

		SCE		146		248		528.8400003314		1335.5499764681		1.4660315922

		SCE		147		144		651.9399999976		1646.4899971485		1.473899256

		SCE		148		82		335.4400017262		854.6699934006		1.4842102818

		SCE		149		255		633.9800030887		1616.0899782181		1.4975010133

		SCE		150		220		433.8899981715		1107.8799883649		1.5013250167

		SCE		151		67		478.7199988961		1231.0300104618		1.5155223377

		SCE		152		102		608.5599942505		1565.9400007725		1.5258471744

		SCE		153		254		345.9799992442		900.5799949169		1.5341177137

		SCE		154		61		263.6700034738		690.0800044537		1.5440356985

		SCE		155		451		506.8399986029		1313.6999829411		1.5555700928

		SCE		156		163		115.740001142		307.7700036764		1.5647285533

		SCE		157		85		185.9900007844		489.8400036097		1.575877163

		SCE		158		113		156.800000608		418.500000596		1.5862277904

		SCE		159		279		166.0500026047		441.7499966547		1.5990936692

		SCE		160		68		195.0099968165		519.0399936438		1.6050374771

		SCE		161		1121		281.7000080347		752.7199930549		1.6112593697

		SCE		162		719		323.280001834		880.9599982351		1.6250181233

		SCE		163		205		529.5200008154		1423.9200117588		1.6351765888

		SCE		164		113		82.8799997866		225.3200021386		1.6463546057

		SCE		165		52		161.9600020647		438.6100010872		1.6546132587

		SCE		166		907		195.5999987349		539.3599981368		1.6665713059

		SCE		167		56		213.7800030708		582.7999973297		1.6757803921

		SCE		168		37		152.9800015688		418.6000006199		1.6850202986

		SCE		169		175		130.0300011635		361.1300004721		1.6987218741

		SCE		170		321		149.5600011945		415.5500034094		1.7057588936

		SCE		171		60		269.3200003356		747.6299986541		1.7137821833

		SCE		172		33		25.6100000143		73.4100003839		1.7216939276

		SCE		173		196		88.2000014782		246.9600013494		1.7334760823

		SCE		174		63		187.9400033355		525.4900007248		1.7442278919

		SCE		175		394		151.8199988008		432.3600039333		1.7508471402

		SCE		176		440		274.3000027537		781.6599947214		1.7657110995

		SCE		177		50		195.4800024629		551.869998455		1.7741455722

		SCE		178		36		150.1200011373		427.9800095558		1.7833413482

		SCE		179		16		62.2767014205		176.5100005157		1.7935302034

		SCE		180		433		205.0900048278		591.1299947947		1.8002627623

		SCE		181		113		149.6999983788		435.9799987078		1.8132831913

		SCE		182		29		19.1399999261		58.1399998665		1.8264173064

		SCE		183		195		117.8000044599		339.879999429		1.833591537

		SCE		184		108		71.3599993531		225.0099974163		1.8439592278

		SCE		185		34		52.2799997032		151.8299981356		1.8550615837

		SCE		186		265		147.7400001884		451.189994812		1.8650551931

		SCE		187		450		180.5599965304		555.0199997723		1.8760594477

		SCE		188		75		260.8000035882		768.8299924731		1.8837525781

		SCE		189		269		174.1399992704		541.1200017929		1.8979125236

		SCE		190		43		240.7600008249		709.9599905014		1.9065421875

		SCE		191		66		174.879998982		529.9099974632		1.9145279292

		SCE		192		36		63.6400004625		188.8600003719		1.9246824682

		SCE		193		788		251.0500049591		765.3800050616		1.934269208

		SCE		194		52		170.9599994421		513.6999878883		1.9455503661

		SCE		195		18		21.8200003356		65.6600010991		1.9540773564

		SCE		196		317		202.8700033426		624.8000000715		1.966270079

		SCE		197		25		75.5600017309		232.6499946117		1.9774706745

		SCE		198		96		89.8199986815		282.9099980593		1.9832227392

		SCE		199		16		77.2600008249		236.9400000572		1.9951408282

		SCE		200		988		291.7099972963		899.7400155514		2.0002157558

		SCE		201		30		128.600001514		391.8300062418		2.0145852725

		SCE		202		24		24.6900002956		75.5900006294		2.0275504192

		SCE		203		414		163.0200043321		509.7900059223		2.033751114

		SCE		204		14		35.1200003624		108.3599991798		2.0438748598

		SCE		205		48		120.5200007558		378.7499915957		2.0538500299

		SCE		206		148		78.6100006998		256.7799990177		2.0657640083

		SCE		207		39		129.0199996233		404.0899953246		2.0748391396

		SCE		208		72		54.8999991417		178.0599968433		2.0855467916

		SCE		209		374		361.6600036621		1141.8400162458		2.0993900274

		SCE		210		59		143.8399993181		461.4299949408		2.1048754797

		SCE		211		27		34.554200558		110.5500019081		2.1162261963

		SCE		212		180		181.5499989986		592.73000139		2.1245022217

		SCE		213		225		214.6400027275		691.2899910212		2.1335487737

		SCE		214		19		18.0199998319		60.18000108		2.1446177959

		SCE		215		39		91.3800011873		296.5800013542		2.1545502039

		SCE		216		186		71.870001208		235.5999996215		2.1665830189

		SCE		217		7		6.3800001144		20.3299994469		2.1776419027

		SCE		218		106		105.9099998176		350.0599951744		2.1868348684

		SCE		219		81		176.3400013819		572.7000079453		2.1981470143

		SCE		220		176		101.5200021267		340.0900001526		2.2014774084

		SCE		221		39		112.6500000656		375.3299939632		2.2150573792

		SCE		222		37		103.6599999666		341.0399968624		2.2243940766

		SCE		223		91		51.2200006247		167.5300011635		2.2335567134

		SCE		224		39		38.4300006628		128.7300004363		2.2463154243

		SCE		225		192		58.5599992722		202.1400021911		2.2508100954

		SCE		226		48		41.1000001431		140.9400029182		2.266195327

		SCE		227		52		83.3800010681		282.7600021362		2.274737193

		SCE		228		41		162.8899995685		542.7399983406		2.2862865169

		SCE		229		19		26.7399996519		93.1000003815		2.2968802452

		SCE		230		18		46.0800004005		155.3599982262		2.3027246793

		SCE		231		87		45.2999997139		156.8000001907		2.3139143511

		SCE		232		31		35.5600005388		122.3800008297		2.3260191025

		SCE		233		463		54.1900001075		189.0000045523		2.3333100789

		SCE		234		35		97.3800007105		328.3100008965		2.3477002416

		SCE		235		50		49.8500000238		174.9200012684		2.3567965412

		SCE		236		17		27.7699996233		95.6700003147		2.3634592225

		SCE		237		288		102.909997046		360.6500052214		2.3750772203

		SCE		238		21		48.8799991608		167.2399964333		2.385668641

		SCE		239		96		70.399998907		239.8399986178		2.3973077039

		SCE		240		186		219.309797829		749.9700032361		2.4026779231

		SCE		241		48		73.3799996674		255.2999989986		2.4151008427

		SCE		242		63		100.0099999607		348.7199931145		2.4238782686

		SCE		243		49		29.5599994659		103.5699987412		2.4361635228

		SCE		244		6		2.5800000429		9.0599999428		2.441860199

		SCE		245		19		25.8100004196		91.7899975777		2.4560213214

		SCE		246		145		107.800003171		383.4999918938		2.4666877023

		SCE		247		1		2		6.7699999809		2.4749999046

		SCE		248		12		15.2399997711		54.6600008011		2.4843597412

		SCE		249		127		39.8000014126		144.1400001049		2.4999212599

		SCE		250		126		53.0999987125		192.0200041234		2.5007253223

		SCE		251		12		64.6800012589		232.5		2.5167011023

		SCE		252		13		28.2899999619		103.1300001144		2.5239845239

		SCE		253		138		40.5000016093		149.700001359		2.5333333015

		SCE		254		6		8.8800001144		32.2199993134		2.5405404568

		SCE		255		1		1.5		5.1999998093		2.5533332825

		SCE		256		234		126.0600045919		465.4199995995		2.566373495

		SCE		257		12		9.3000000715		34.4400000572		2.5751880407

		SCE		259		100		45.4400005117		168.0499995798		2.5991431427

		SCE		260		12		4.5600001216		16.6800005436		2.6053558588

		SCE		261		6		4.5		16.6199998856		2.6133334637

		SCE		262		9		23.3599998802		85.280000627		2.625

		SCE		263		85		32.3217010424		118.1900026053		2.6335140116

		SCE		264		261		106.6800004244		427.7899904251		2.6401887972

		SCE		265		25		23.9000002146		89.4399986267		2.6544536304

		SCE		266		468		44.1800009795		170.5199963003		2.6666631327

		SCE		268		14		25.930001229		97.2900027633		2.6839960643

		SCE		269		84		29.5200008154		115.5599963665		2.6970979146

		SCE		270		12		14.3999994993		54.9599990845		2.7065132856

		SCE		272		25		20.5799994022		78.5499991775		2.7266089058

		SCE		273		12		17.5199993849		67.6200027466		2.7334986925

		SCE		274		31		73.7799987793		284.6199986935		2.7435066008

		SCE		275		6		0.2399999946		0.9599999785		2.75

		SCE		276		12		15.1199995279		58.7400019169		2.7664961815

		SCE		277		42		97.5599985123		376.5000064373		2.7744213513

		SCE		278		13		80.8400006294		315.4299945831		2.7849779496

		SCE		279		83		73.6899995022		288.9999990314		2.7995141644

		SCE		280		19		73.0399996042		279.6099990606		2.8049936796

		SCE		281		28		8.0800000429		32.6799993515		2.8136314324

		SCE		282		24		70.4400013983		276.3000050783		2.8233820796

		SCE		283		40		45.9400000162		178.7499952167		2.8334040225

		SCE		284		25		24.6999992728		97.9099974632		2.846442852

		SCE		285		7		55.9600009918		219.0900039673		2.8594235693

		SCE		286		102		73.6800009012		293.8199987412		2.8663369768

		SCE		287		65		65.5399997532		261.6200037599		2.8748312657

		SCE		289		7		12.879999876		51.2399992943		2.8921925681

		SCE		290		49		47.8999998569		191.8599972725		2.9054814942

		SCE		291		6		3.3600000143		13.4400000572		2.9107141495

		SCE		292		20		27.3599997759		109.1100001335		2.9259956241

		SCE		293		6		5.2200000286		20.9400000572		2.9310343266

		SCE		294		6		17.2800006866		69.1799983978		2.9409720898

		SCE		295		7		13.119999826		52.9700005054		2.9516216006

		SCE		296		18		26.5200004578		108.7800021172		2.966666619

		SCE		297		18		19.9199999571		82.1999988556		2.9758971532

		SCE		298		8		15.1234001331		73.6800027452		2.9889756739

		SCE		299		24		27.4800007045		113.5800007582		2.9974359274

		SCE		300		425		15.9699997343		67.6199982353		3.0000001986

		SCE		301		19		15.4599996805		63.4500007629		3.0131777462

		SCE		302		19		27.4399996996		112.9900007248		3.0242598308

		SCE		303		24		28.6397998855		118.6800027452		3.032292366

		SCE		304		19		17.439999938		72.6900005341		3.0459962268

		SCE		305		12		9.2999997139		39.2399997711		3.0566880703

		SCE		306		30		60.7799999714		252.3600025177		3.0637424946

		SCE		307		43		82.8399990797		348.6800003052		3.0752467943

		SCE		308		12		5.6399999857		23.4000005722		3.0851066113

		SCE		309		12		8.8799998462		37.6200006008		3.0948631763

		SCE		310		1		1.6599999666		7.2100000381		3.1024098396

		SCE		312		13		66.3200001717		279.0300064087		3.1260845478

		SCE		313		25		31.9500000477		136.6200013161		3.1343462944

		SCE		314		12		14.9400000572		64.3199987411		3.1485735178

		SCE		315		24		24.8999998569		106.6799983978		3.1566177607

		SCE		316		17		7.7399996705		33.4399993718		3.1646727814

		SCE		317		7		19.8200001717		85.0100021362		3.1725694793

		SCE		318		38		20.6999994814		92.0400004983		3.1873685122

		SCE		319		35		19.9599999636		85.8000009656		3.199591807

		SCE		320		6		4.0200001001		17.2199993134		3.2089552879

		SCE		321		7		19.5799996853		84.8799972534		3.2118838515

		SCE		322		6		7.0799996853		30.8399991989		3.2203390598

		SCE		323		6		1.2599999607		5.3999998569		3.2380952835

		SCE		324		12		1.7399999946		7.6200002432		3.2450000048

		SCE		325		13		18.3600000143		89.2099986076		3.2528330179

		SCE		327		6		7.3200001717		32.2199993134		3.2786884308

		SCE		328		6		4.9799998999		21.8400006294		3.2891566753

		SCE		329		12		37.1400003433		162.1199941635		3.2959479094

		SCE		330		12		14.6400003433		65.4000005722		3.3032786846

		SCE		331		12		7.6200000644		34.0200001001		3.3139076233

		SCE		333		288		8.9399998002		41.5900001228		3.3333334923

		SCE		334		6		1.9199999571		8.5199997425		3.3437502384

		SCE		335		24		32.219999671		142.9799981117		3.3569180369

		SCE		336		12		41.9400014877		187.2599945068		3.3662413359

		SCE		337		12		12.0599999428		54.3599996567		3.3742287159

		SCE		339		25		1.2500000186		5.599999994		3.4000000954

		SCE		341		12		8.5199996531		39.0599992275		3.4159606695

		SCE		342		12		12.1799998283		56.0400009155		3.4236291647

		SCE		343		12		11.2200000286		51.1799998283		3.4375433922

		SCE		344		12		12.0599995852		55.4999985695		3.4474680424

		SCE		345		12		7.7399996817		35.7599987984		3.4560863972

		SCE		346		6		0.9000000358		4.1399999857		3.46666646

		SCE		348		6		2.5800000429		11.7600002289		3.4883720875

		SCE		349		46		57.9599992186		265.7399929762		3.4976034268

		SCE		350		24		8.1599996835		38.2799997032		3.5000000596

		SCE		351		12		4.0800000429		18.8999998569		3.5158139467

		SCE		352		12		13.7399997711		64.3800001144		3.5239731073

		SCE		353		7		16.0399997234		74.529999733		3.5343174253

		SCE		354		12		29.0400002003		135.7200050354		3.5468927622

		SCE		357		6		6.6600000858		31.6800012589		3.5765764713

		SCE		359		6		50.5800018311		238.0800018311		3.596678257

		SCE		360		21		1.6500000469		7.7599998713		3.6000000749

		SCE		361		12		4.1999999285		19.7400004864		3.6147099733

		SCE		363		12		13.3200001717		63.7800006866		3.6351351738

		SCE		364		6		0.8400000036		3.9600001574		3.6428570747

		SCE		365		12		11.340000093		54.0599999428		3.6569709778

		SCE		366		893		27.1199993938		145.9000024945		3.6666667461

		SCE		367		12		13.3200001717		64.5599985123		3.6756756306

		SCE		369		12		41.7600002289		196.7400026321		3.6930925846

		SCE		373		6		6.6600000858		32.6400003433		3.7387387753

		SCE		374		6		1.6800000072		8.2799999714		3.7499997616

		SCE		375		13		9.4000000134		45.6800009757		3.7563336629

		SCE		377		6		6.6600000858		33.0600013733		3.7747747898

		SCE		378		18		33.8400007188		164.8199955225		3.7837247054

		SCE		379		18		3.5190000646		17.2700005472		3.7982562383

		SCE		381		7		2.4399999678		12.0700000525		3.8153197765

		SCE		382		6		5.8800001144		29.4599990845		3.8265304565

		SCE		383		11		1.7999999933		8.940000087		3.8369697224

		SCE		385		6		0.8400000036		4.2599998713		3.8571429253

		SCE		386		6		0.9000000358		4.3800001144		3.866666317

		SCE		387		8		28.2020003423		137.6799963415		3.8765906096

		SCE		388		6		2.1600000858		10.8599996567		3.8888885975

		SCE		389		6		8.8800001144		44.8800001144		3.8986485004

		SCE		393		6		0.9000000358		4.5		3.9333329201

		SCE		394		1		0.0557999983		0.2800000012		3.9426524639

		SCE		400		1664		65.8499989025		360.9800027497		4.0000243634

		SCE		404		6		6.2999997139		32.6999988556		4.0476193428

		SCE		408		6		8.8800001144		46.5		4.0810809135

		SCE		409		6		0.6599999964		3.4799998999		4.0909090042

		SCE		410		25		82.7500002384		434.9400067329		4.1061336327

		SCE		411		12		2.0400000215		10.6199998856		4.117647171

		SCE		413		1		0.0289999992		0.1700000018		4.1379308701

		SCE		414		6		8.8800001144		46.8599996567		4.1486487389

		SCE		416		9		9.0600001104		48.1799993217		4.1636635462

		SCE		418		1		0.1599999964		0.9100000262		4.1875

		SCE		419		12		5.2799999043		28.5399986506		4.1963853836

		SCE		420		6		4.6799998283		25.1999988556		4.2051281929

		SCE		422		12		17.7600002289		95.4000005722		4.2297296524

		SCE		423		6		8.8800001144		47.6400003433		4.2364864349

		SCE		424		13		39.1742002442		205.419996053		4.2432998877

		SCE		426		6		5.8800001144		32.2199993134		4.2653059959

		SCE		427		12		41.4599990845		225.2999954224		4.2738728523

		SCE		428		7		6.8800001144		37.5200004578		4.2863264084

		SCE		433		323		40.499998983		223.960003525		4.3334115637

		SCE		434		6		5.8800001144		32.4599990845		4.3469390869

		SCE		435		6		8.8800001144		48.7800006866		4.3513512611

		SCE		437		6		5.8800001144		32.6400003433		4.3775510788

		SCE		438		12		10.1400000751		56.2199985981		4.383043766

		SCE		439		26		52.6599994078		292.9800086617		4.3959471262

		SCE		444		6		5.8800001144		33.1800012589		4.4489798546

		SCE		445		6		32.6999988556		182.2200050354		4.4550461769

		SCE		450		6		0.1199999973		0.7199999839		4.5000004768

		SCE		453		12		37.4999994636		214.3199937344		4.53469944

		SCE		454		6		5.8800001144		34.1999988556		4.5408158302

		SCE		459		6		5.8800001144		33.9000005722		4.5918364525

		SCE		460		8		0.400000006		2.2799999714		4.5999999046

		SCE		465		7		3.025799999		17.149999544		4.6587374551

		SCE		466		228		6.8399998471		40.8000014126		4.6666669846

		SCE		467		6		4.9799998999		29.1600008011		4.6746988297

		SCE		468		6		4.9799998999		28.7399997711		4.6867470741

		SCE		469		6		1.8000000715		10.5		4.6999998093

		SCE		471		6		0.8400000036		4.9199999571		4.7142858505

		SCE		472		12		1.7400000393		10.1399996281		4.7247474194

		SCE		474		6		4.9799998999		29.0400009155		4.7469882965

		SCE		475		24		2.8799999356		16.9199995995		4.75

		SCE		476		1		2		11.2399997711		4.7699999809

		SCE		478		6		4.9799998999		29.2199993134		4.7831325531

		SCE		479		14		6.2799999192		36.8899990022		4.797934464

		SCE		481		6		0.6599999964		3.9600001574		4.8181815147

		SCE		490		6		1.2599999607		7.6799998283		4.9047617912

		SCE		493		19		11.0799997747		68.480001092		4.9389270732

		SCE		499		2		0.1000000015		0.6000000238		5

		SCE		500		193		28.7399993576		176.839999795		5.0002010005

		SCE		504		6		4.9799998999		30.5400009155		5.0481929779

		SCE		507		6		4.9799998999		30.5999994278		5.0722894669

		SCE		509		6		0.6599999964		4.1999999285		5.0909090042

		SCE		518		4		0.6399999857		4.5599999428		5.1875

		SCE		522		6		4.9799998999		31.3199987411		5.2289161682

		SCE		524		8		1.2799999714		9.0899999142		5.25

		SCE		525		6		4.9799998999		32.4000005722		5.2530121803

		SCE		526		6		4.9799998999		31.5600013733		5.2650604248

		SCE		530		12		9.9599997997		65.1600008011		5.3012051582

		SCE		533		265		18.4799996763		121.9499995708		5.3335153346

		SCE		537		20		4.6999998987		32.3499993086		5.3752259254

		SCE		540		13		5.3299999051		35.5499998629		5.4044485459

		SCE		543		6		0.9599999785		6.8899998665		5.4375

		SCE		544		6		4.9799998999		33.1199998856		5.4457831383

		SCE		545		6		4.9799998999		33.1800012589		5.4578318596

		SCE		546		12		9.3599996567		61.5600013733		5.4615387917

		SCE		548		12		25.2000002861		166.3199987411		5.4877419472

		SCE		550		12		1.8199999593		13.0399997532		5.5000000397

		SCE		553		6		4.6799998283		31.2600002289		5.538462162

		SCE		554		6		0.6599999964		4.4400000572		5.5454545021

		SCE		555		6		4.6799998283		31.1999988556		5.551281929

		SCE		557		6		1.1399999857		7.7399997711		5.5789470673

		SCE		559		2		0.1000000015		0.6899999976		5.5999999046

		SCE		560		6		4.6799998283		31.4399986267		5.6025643349

		SCE		561		12		4.0799999535		27.3600003719		5.6180346012

		SCE		563		6		0.6599999964		4.5		5.6363635063

		SCE		564		30		19.5599993169		132.1800026894		5.641392231

		SCE		565		6		4.6799998283		31.6199998856		5.6538462639

		SCE		566		187		5.6399998739		39.8399989605		5.6666669846

		SCE		567		6		4.6799998283		31.6800012589		5.6794872284

		SCE		569		6		4.6799998283		31.9799995422		5.6923079491

		SCE		570		6		4.6799998283		31.8000011444		5.7051281929

		SCE		574		6		4.6799998283		31.9799995422		5.7435898781

		SCE		575		6		26.6400003433		184.1400032043		5.75

		SCE		578		6		4.6799998283		32.2800006866		5.7820515633

		SCE		579		3		0.1500000022		1.0499999821		5.7999997139

		SCE		580		6		4.6799998283		32.4000005722		5.8076930046

		SCE		582		12		9.3599996567		64.7399997711		5.8205127716

		SCE		583		6		4.6799998283		32.57999897		5.8333339691

		SCE		584		18		11.6999995708		82.07999897		5.846154213

		SCE		585		18		14.039999485		98.5800018311		5.8589749336

		SCE		587		12		9.3599996567		66.1199998856		5.8717951775

		SCE		588		12		4.6901998285		32.8800002262		5.8834843636

		SCE		589		42		33.9599993974		239.6999934912		5.8985225814

		SCE		590		12		1.9799999893		14.1000001431		5.909090519

		SCE		591		6		4.6799998283		32.8199987411		5.9102568626

		SCE		592		18		13.4999996424		95.8200016022		5.9245635668

		SCE		593		12		9.3599996567		66.2399997711		5.9358978271

		SCE		594		18		13.4999996424		96.6599979401		5.9464883804

		SCE		595		6		4.1399999857		29.4000005722		5.9565219879

		SCE		596		18		27.9599990845		197.8799972534		5.9636065165

		SCE		597		33		18.2402994689		129.8100025244		5.9726028876

		SCE		598		24		18.1799994707		129.3000011444		5.9867616892

		SCE		600		181		38.2699989453		274.7400001287		6.0000864472

		SCE		601		18		14.039999485		101.0400009155		6.0128207207

		SCE		602		7		4.6882998282		33.5900009163		6.0254203251

		SCE		603		24		18.7199993134		133.8000011444		6.0384616852

		SCE		604		6		1.4399999678		10.3200001717		6.0416669846

		SCE		605		24		18.7199993134		135.2400026321		6.051281929

		SCE		606		18		14.039999485		101.4599990845		6.0641026497

		SCE		607		42		32.2199989557		233.1600008011		6.0762859072

		SCE		608		18		13.4999996424		97.8599996567		6.0888145765

		SCE		610		30		18.7799994797		137.2199993134		6.1018287659

		SCE		611		48		40.7999997139		296.9400014877		6.1152105927

		SCE		612		12		9.3599996567		68.3399991989		6.1282057762

		SCE		613		18		12.4199999571		90.7199993134		6.1304349899

		SCE		614		42		30.0599995852		220.0800046921		6.143812452

		SCE		615		30		21.2399997711		155.7600002289		6.1583057404

		SCE		616		48		33.8399988413		248.099994421		6.166666925

		SCE		617		36		26.9999992847		198.4800024033		6.1776296298

		SCE		618		18		9.2399999499		67.8000011444		6.1881039937

		SCE		620		48		33.6599997282		247.7400054932		6.2031776905

		SCE		621		90		65.3399988413		481.3200016022		6.21761446

		SCE		623		36		26.9999992847		199.5		6.2311412493

		SCE		624		48		35.8199990988		264.2400026321		6.2446348667

		SCE		625		42		32.7599987984		243.0600013733		6.2564105988

		SCE		626		84		60.6599990129		449.2800092697		6.2638560023

		SCE		627		12		8.2799999714		61.1400003433		6.2753620148

		SCE		628		42		23.9999994636		178.2600016594		6.285327707

		SCE		629		30		23.3999991417		174.6000022888		6.2948718071

		SCE		630		67		53.7699987888		400.2200012207		6.3058910583

		SCE		631		36		25.4400000572		189.7799978256		6.3184433778

		SCE		632		36		28.07999897		210.42000103		6.3205127716

		SCE		633		192		35.6399991699		266.9400005043		6.3333334476

		SCE		634		42		31.6799991131		237.6000022888		6.3466316632

		SCE		635		6		4.6799998283		35.1600008011		6.3589744568

		SCE		637		36		28.1399992704		212.8800001144		6.37311999

		SCE		638		6		4.6799998283		35.3399991989		6.3846154213

		SCE		639		24		18.7799996138		141.4799995422		6.3961780071

		SCE		640		30		21.3000000715		159.7199964523		6.4056502342

		SCE		641		30		23.4599994421		177.6599979401		6.4117498398

		SCE		642		36		23.5799994171		177.9599997997		6.423063914

		SCE		643		30		22.9799998999		174.6599979401		6.4334673882

		SCE		644		6		4.7400001287		36.1199998856		6.4430379868

		SCE		645		30		23.7000006437		180.6600036621		6.455696106

		SCE		646		54		38.5200001001		294.7800006866		6.4653250906

		SCE		647		30		39.1199998856		297.2400026321		6.4736052513

		SCE		648		36		28.1399992704		215.7000017166		6.4861518542

		SCE		649		360		16.4400001019		128.3399995565		6.4997890313

		SCE		650		24		18.7799996138		144.2999982834		6.5015825033

		SCE		651		12		9.4199999571		72.3599996567		6.5159039497

		SCE		652		24		18.7199993134		144.2399969101		6.5256414413

		SCE		653		36		28.1999995708		217.500002861		6.5361895561

		SCE		654		30		23.7000006437		181.5		6.544303894

		SCE		655		30		23.5800000429		181.9799995422		6.5546898842

		SCE		656		24		18.8399999142		144.7199993134		6.5668613911

		SCE		657		18		14.039999485		109.0200033188		6.5769233704

		SCE		658		42		33.0600003004		255.1800041199		6.5844112124

		SCE		659		24		18.960000515		145.5		6.5949363708

		SCE		660		36		28.3200001717		218.7600030899		6.6059177717

		SCE		661		18		14.039999485		110.1599979401		6.6153845787

		SCE		662		18		14.1600000858		109.1400032043		6.6229038239

		SCE		663		12		9.4800002575		72.42000103		6.6329107285

		SCE		664		24		18.5399998426		145.6199970245		6.6440672874

		SCE		665		30		23.5800000429		184.5600013733		6.6564752579

		SCE		666		108		3.2399999276		26.2199995816		6.6666669846

		SCE		667		12		9.4199999571		73.0800018311		6.6751868725

		SCE		668		24		18.960000515		147.000002861		6.6835441589

		SCE		670		12		5.6999998391		45.0000007153		6.7055053711

		SCE		671		6		4.6799998283		37.0200004578		6.7179484367

		SCE		672		12		5.8200001717		46.07999897		6.7218704224

		SCE		673		30		19.8000002503		155.3999977112		6.7333268166

		SCE		674		6		4.6799998283		37.07999897		6.7435903549

		SCE		675		31		25.5199997425		200.6899957657		6.7575586073

		SCE		676		12		9.3599996567		74.57999897		6.7692313194

		SCE		678		12		9.4199999571		75		6.7834308147

		SCE		679		1		0.0500000007		0.4099999964		6.8000001907

		SCE		681		6		0.6599999964		5.3999998569		6.8181819916

		SCE		682		12		9.3599996567		74.6399974823		6.8205132484

		SCE		683		24		14.4599997774		114.599999249		6.8338608742

		SCE		687		6		0.4799999893		3.8999998569		6.8750004768

		SCE		688		6		4.6799998283		37.6800012589		6.8846154213

		SCE		692		12		9.3599996567		75.2999982834		6.9230771065

		SCE		693		6		4.4400000572		36.0600013733		6.9324326515

		SCE		694		12		9.180000186		74.6999988556		6.9476561546

		SCE		695		6		4.4400000572		36.0600013733		6.9594593048

		SCE		696		6		4.6799998283		38.0999994278		6.9615383148

		SCE		698		30		22.4400000572		183.1200027466		6.9866250038

		SCE		699		141		13.7300000638		112.87999928		6.9999999391

		SCE		700		18		0.359999992		2.9399999678		7

		SCE		701		12		8.8800001144		72.8400020599		7.0135135651

		SCE		702		18		13.3200001717		109.7999982834		7.0270266533

		SCE		704		12		8.8800001144		73.1400003433		7.0405406952

		SCE		706		12		8.8800001144		72.9599990845		7.0675673485

		SCE		707		6		0.8400000036		6.9599997997		7.0714287758

		SCE		708		12		8.8800001144		73.0200004578		7.0810809135

		SCE		709		24		17.7600002289		146.8200016022		7.0945944786

		SCE		710		6		4.4400000572		36.42000103		7.1081085205

		SCE		712		12		8.8800001144		73.6199998856		7.1216216087

		SCE		713		24		17.7600002289		146.4000034332		7.1351351738

		SCE		716		18		13.3200001717		110.2799978256		7.1621623039

		SCE		718		18		9.5400001109		79.5000010729		7.1867324511

		SCE		720		6		4.4400000572		37.0200004578		7.2027025223

		SCE		721		12		8.8800001144		73.9799995422		7.2162165642

		SCE		724		24		13.8000001609		115.7999979258		7.2449324131

		SCE		725		12		8.8800001144		74.7600002289		7.2567563057

		SCE		727		12		5.1000000536		43.2599998713		7.2714989185

		SCE		729		12		8.8800001144		74.9400014877		7.2972974777

		SCE		731		6		0.9599999785		8.2200000286		7.3125

		SCE		732		6		4.4400000572		37.3800001144		7.324324131

		SCE		733		132		3.9599999115		34.6799994707		7.3333334923

		SCE		736		6		4.4400000572		38.0400009155		7.3648643494

		SCE		737		6		4.4400000572		37.92000103		7.3783783913

		SCE		739		1		0.0500000007		0.4199999869		7.4000000954

		SCE		741		6		4.4400000572		38.0400009155		7.4189186096

		SCE		743		6		4.4400000572		38.1600008011		7.4324321747

		SCE		746		172		1.1523999646		9.779999882		7.4626870155

		SCE		748		6		4.4400000572		37.9799995422		7.4864864349

		SCE		750		6		0.1199999973		1.0800000429		7.5000004768

		SCE		764		6		1.8600000143		16.4400000572		7.645160675

		SCE		766		132		18.66000003		165.300003469		7.6664225838

		SCE		770		6		15.1799998283		135		7.7035574913

		SCE		779		1		0.0500000007		0.4499999881		7.7999997139

		SCE		795		6		1.2599999607		11.4599997997		7.952381134

		SCE		800		79		2.2299999502		20.9799999371		8

		SCE		804		1		4.7899999619		44.5600013733		8.043841362

		SCE		807		6		0.8400000036		7.6799998283		8.071428299

		SCE		821		1		2		17.9500007629		8.2100000381

		SCE		827		6		0.6599999964		6.2999997139		8.2727279663

		SCE		833		18		0.5399999879		5.2799999714		8.3333339691

		SCE		842		6		0.8400000036		8.1600000858		8.4285707474

		SCE		850		18		0.359999992		3.6000000536		8.5

		SCE		856		2		0.4600000083		5.1199998856		8.5652170181

		SCE		860		4		0.9200000167		10.2699997425		8.6086959839

		SCE		865		30		6.9000001252		77.2799978256		8.652173996

		SCE		866		36		1.0799999759		10.680000186		8.6666669846

		SCE		869		18		4.1400000751		46.5899984837		8.6956520081

		SCE		873		2		0.4600000083		5.2199997902		8.7391300201

		SCE		876		6		1.0200000107		10.2000002861		8.764705658

		SCE		878		29		15.2499998957		160.189999342		8.7839629732

		SCE		879		6		0.6000000089		6		8.8000001907

		SCE		882		2		0.4600000083		5.25		8.826086998

		SCE		883		6		0.359999992		3.6000001431		8.8333330154

		SCE		886		1		0.2300000042		2.6400001049		8.8695650101

		SCE		892		6		0.8400000036		8.6400003433		8.928571701

		SCE		895		131		0.8776999731		8.8199999817		8.9552240372

		SCE		897		1		2		19.4500007629		8.9799995422

		SCE		898		1		2		19.4599990845		8.9849996567

		SCE		900		74		1.9999999553		20.6800001115		9.0000009537

		SCE		909		186		17.5139995962		177.0000021346		9.0911793863

		SCE		914		6		0.8400000036		8.8800001144		9.1428565979

		SCE		915		1		0.0142000001		0.1700000018		9.1549291611

		SCE		920		8		0.400000006		4.1499998569		9.1999998093

		SCE		928		6		0.8400000036		8.9400000572		9.2857141495

		SCE		933		18		0.5399999879		5.7599998713		9.3333339691

		SCE		936		12		1.3199999928		14.039999485		9.3636360168

		SCE		937		50		12.8099997342		145.8899978399		9.374538784

		SCE		938		1		3.8299999237		40.5299987793		9.386423111

		SCE		943		7		1.119999975		13.6400003433		9.4375

		SCE		945		1		3.8299999237		40.7900009155		9.4543085098

		SCE		948		1		3.8299999237		40.8899993896		9.4804182053

		SCE		950		41		4.8799998909		59.4000011683		9.5

		SCE		951		1		2		20.5		9.5150003433

		SCE		952		6		11.5199997425		124.2000045776		9.5260419846

		SCE		954		6		0.6599999964		7.1400003433		9.5454540253

		SCE		956		60		13.5900002271		154.8699939251		9.5650811672

		SCE		959		1		0.0500000007		0.5400000215		9.5999994278

		SCE		960		3		0.6900000125		7.8599996567		9.6086959839

		SCE		961		1		0.5		5.1799998283		9.6199998856

		SCE		962		6		1.4399999678		15.5999994278		9.625

		SCE		966		60		2.5199999996		27.7200005651		9.6666669846

		SCE		973		6		11.5199997425		125.7599945068		9.7395839691

		SCE		978		6		0.8400000036		9.3599996567		9.7857141495

		SCE		981		1		2		21.0599994659		9.8100004196

		SCE		988		6		0.5400000215		6		9.8888883591

		SCE		990		6		0.6599999964		7.3800001144		9.9090909958

		SCE		996		6		3.8399999142		42.7199993134		9.96875

		SCE		1000		111		2.639999941		30.1200003326		10.0000004639

		SCE		1006		1		2		21.5499992371		10.0600004196

		SCE		1014		6		0.8400000036		9.6600000858		10.1428565979

		SCE		1017		6		2.6999999285		31.0200004578		10.177778244

		SCE		1018		6		0.9599999785		10.9800002575		10.1875

		SCE		1032		1		2		22.0799999237		10.3299999237

		SCE		1033		24		0.7199999839		8.4599999785		10.3333339691

		SCE		1034		1		2		22.1100006104		10.345000267

		SCE		1036		2		4		44.3099994659		10.3674998283

		SCE		1037		60		9.5999997854		117.6000022888		10.375

		SCE		1039		6		13.0200004578		150		10.3963127136

		SCE		1044		118		0.7905999757		8.5699999705		10.4477615356

		SCE		1049		6		0.1199999973		1.4399999678		10.5

		SCE		1055		1		2		22.5100002289		10.5500001907

		SCE		1057		1		2		22.5699996948		10.5799999237

		SCE		1059		1		0.0500000007		0.5899999738		10.5999994278

		SCE		1066		36		1.0799999759		13.0200004578		10.6666669846

		SCE		1083		1		0.0599999987		0.7099999785		10.8333330154

		SCE		1100		62		1.519999966		18.9200000763		11.0000005537

		SCE		1106		6		0.9000000358		11.1600000858		11.0666656494

		SCE		1114		6		0.8400000036		10.5		11.1428565979

		SCE		1116		1		0.0599999987		0.7400000095		11.1666669846

		SCE		1127		6		0.6599999964		8.3399999142		11.2727270126

		SCE		1128		6		1.2599999607		15.960000515		11.2857141495

		SCE		1129		6		0.6000000089		7.6199998856		11.3000001907

		SCE		1133		24		0.7199999839		9.0599999428		11.3333339691

		SCE		1136		6		4.4400000572		56.2199993134		11.3648643494

		SCE		1142		6		0.8400000036		10.7399997711		11.428571701

		SCE		1150		12		0.2399999946		3.1199998856		11.5

		SCE		1166		36		1.4400000013		18.6599995494		11.6666668256

		SCE		1171		6		1.2599999607		16.0200004578		11.7142858505

		SCE		1172		6		0.6599999964		8.6400003433		11.7272720337

		SCE		1178		6		0.8400000036		11.0400002003		11.7857141495

		SCE		1179		6		0.3000000045		3.9600001574		11.7999992371

		SCE		1194		6		0.0401999988		0.5400000215		11.9402990341

		SCE		1200		69		1.2299999725		16.7300001681		12.0000003317

		SCE		1211		6		1.5		20.2199993134		12.1199998856

		SCE		1212		972		3.2075999826		43.0199998096		12.1212120056

		SCE		1220		7		10.0099998005		135.6800000072		12.2041311264

		SCE		1233		18		0.5399999879		7.3799999356		12.3333339691

		SCE		1250		6		0.1199999973		1.7399999499		12.5

		SCE		1266		24		0.7199999839		10.1399998069		12.6666669846

		SCE		1280		6		9		126.2999954224		12.8000001907

		SCE		1299		182		3.3799999245		51.7600004822		13

		SCE		1302		1		2.879999876		41.1300010681		13.0208339691

		SCE		1316		6		0.359999992		5.1600000858		13.1666669846

		SCE		1320		1		0.0500000007		0.7400000095		13.2000007629

		SCE		1333		36		1.0799999759		15.7799999714		13.3333339691

		SCE		1339		6		10.0799996853		146.8199958801		13.3988103867

		SCE		1350		19		1.8599999361		27.4599996805		13.5000006023

		SCE		1357		6		0.8400000036		12.6599993706		13.571428299

		SCE		1361		6		1.2599999607		18.7800006866		13.6190471649

		SCE		1366		18		0.5399999879		8.159999907		13.6666669846

		SCE		1394		6		1.2000000179		18.4799995422		13.9499998093

		SCE		1399		6		0.179999996		2.7600000501		14

		SCE		1400		76		1.8399999812		28.7700006217		14

		SCE		1409		6		0.6599999964		10.2600002289		14.0909090042

		SCE		1425		6		1.4399999678		22.5		14.2500009537

		SCE		1427		6		0.6599999964		10.3200001717		14.2727279663

		SCE		1433		30		0.8999999799		14.0999999642		14.3333339691

		SCE		1442		6		0.8400000036		13.2600002289		14.428571701

		SCE		1449		12		0.9600000009		15.3600000143		14.5

		SCE		1457		6		0.4200000018		6.7200000286		14.571428299

		SCE		1463		6		0.6599999964		10.5599999428		14.6363639832

		SCE		1466		6		0.179999996		2.8799999356		14.6666669846

		SCE		1472		6		0.6599999964		10.6199998856		14.7272729874

		SCE		1474		6		0.2399999946		3.8399999142		14.75

		SCE		1490		6		1.2599999607		20.5800004005		14.9047632217

		SCE		1492		6		0.8400000036		13.7999997139		14.9285707474

		SCE		1499		18		1.0199999884		16.7399997711		15

		SCE		1500		42		0.5999999866		10.0700002164		15.0000009537

		SCE		1514		6		1.2599999607		20.5800004005		15.1428575516

		SCE		1528		7		2.4999999702		41.8099999428		15.2853463037

		SCE		1533		54		1.6199999638		27.1199998856		15.3333339691

		SCE		1550		18		0.359999992		6.2399999499		15.5

		SCE		1559		1		0.0500000007		0.8600000143		15.5999994278

		SCE		1563		6		1.3199999928		22.5599999428		15.6363639832

		SCE		1566		12		0.359999992		6.1199998856		15.6666669846

		SCE		1576		6		2.2799999714		38.3399991989		15.7631578445

		SCE		1596		6		7.7999997139		135.1800041199		15.9692316055

		SCE		1600		74		1.519999966		26.6499996036		16

		SCE		1604		6		1.3199999928		23.2800006866		16.0454540253

		SCE		1619		6		6.2999997139		111.1800041199		16.1904773712

		SCE		1633		19		0.5999999866		10.6299997568		16.3333339691

		SCE		1649		6		0.6000000089		10.7999997139		16.5

		SCE		1650		6		0.1199999973		2.2200000286		16.5000019073

		SCE		1666		30		1.6200000197		29.1600008011		16.6666675568

		SCE		1679		6		0.9000000358		16.2000002861		16.7999992371

		SCE		1692		6		0.8400000036		15.5999994278		16.9285697937

		SCE		1700		36		0.7799999826		14.5100001097		17

		SCE		1715		6		0.7799999714		14.4000005722		17.1538467407

		SCE		1721		6		7.2600002289		135.4199981689		17.2148761749

		SCE		1724		6		1.2000000179		22.4400000572		17.25

		SCE		1733		37		1.1399999745		21.5299998522		17.3333339691

		SCE		1766		30		0.8999999799		17.1599997282		17.6666660309

		SCE		1790		6		0.6599999964		12.8400006294		17.9090919495

		SCE		1800		50		1.0999999754		21.5199992657		18.0000019073

		SCE		1833		12		0.359999992		7.0799996853		18.3333339691

		SCE		1850		6		0.1199999973		2.4000000358		18.5

		SCE		1857		6		1.2599999607		25.4399986267		18.5714302063

		SCE		1899		1		0.0500000007		1.0399999619		19

		SCE		1900		7		0.1299999971		2.7299999148		19

		SCE		1904		6		1.5		30.3000011444		19.0400009155

		SCE		1933		6		0.179999996		3.7799999714		19.3333339691

		SCE		1949		12		0.2399999946		5.0999999642		19.5

		SCE		1966		6		0.179999996		3.7799999714		19.6666660309

		SCE		2000		6		0.1199999973		2.5800000429		20

		SCE		2004		12		2.5199999213		54.4799995422		20.0476207733

		SCE		2014		6		1.2599999607		27.5400009155		20.1428585052

		SCE		2019		6		1.2599999607		27.3000011444		20.1904754639

		SCE		2028		6		1.2599999607		27.6600008011		20.2857151031

		SCE		2033		6		0.9000000358		19.6799998283		20.3333320618

		SCE		2038		6		1.2599999607		27.8399991989		20.3809547424

		SCE		2042		6		1.2599999607		27.9000005722		20.428571701

		SCE		2050		24		0.4799999893		10.7399997711		20.5

		SCE		2052		6		1.2599999607		28.0200004578		20.523809433

		SCE		2096		1		0.0061999997		0.1700000018		20.9677429199

		SCE		2099		78		1.5599999651		35.7600004077		21

		SCE		2106		6		0.9599999785		21.539999485		21.0625

		SCE		2150		912		18.2399995923		425.7000017166		21.5

		SCE		2166		6		0.179999996		4.1999999285		21.6666660309

		SCE		2200		3054		60.9899986368		1456.5599743277		22

		SCE		2244		6		0.5400000215		12.9000005722		22.444442749

		SCE		2249		4626		92.519997932		2232.9599760175		22.5

		SCE		2300		360		7.1999998391		176.4000034332		23

		SCE		2361		6		1.2599999607		31.3800001144		23.6190490723

		SCE		2400		18		1.4999999553		38.0400009155		24

		SCE		2424		6		0.0197999999		0.5400000215		24.2424240112

		SCE		2433		12		2.5199999213		64.3200016022		24.3333339691

		SCE		2438		6		1.2599999607		32.2199993134		24.3809528351

		SCE		2442		6		1.2599999607		32.3399991989		24.4285736084

		SCE		2452		6		1.2599999607		32.4599990845		24.5238113403

		SCE		2457		6		1.2599999607		32.7600002289		24.571428299

		SCE		2461		6		1.2599999607		32.8800001144		24.6190490723

		SCE		2471		12		2.5199999213		65.2199993134		24.7142868042

		SCE		2476		12		2.5199999213		65.2199993134		24.7619037628

		SCE		2485		12		2.5199999213		65.6399974823		24.8571434021

		SCE		2495		30		6.2999998033		164.8800001144		24.952381134

		SCE		2500		24		3.8999998793		102.3600039482		25

		SCE		2504		18		3.779999882		99.5400037766		25.0476207733

		SCE		2514		12		2.5199999213		66.42000103		25.1428585052

		SCE		2519		18		3.779999882		100.3800001144		25.1904773712

		SCE		2533		6		1.2599999607		33.7199993134		25.3333358765

		SCE		2538		12		2.5199999213		67.3800001144		25.3809528351

		SCE		2545		1		0.0055		0.1700000018		25.4545459747

		SCE		2547		12		2.5199999213		67.6799983978		25.476190567

		SCE		2552		24		5.0399998426		135.4799995422		25.5238113403

		SCE		2557		18		3.779999882		102		25.571428299

		SCE		2561		6		1.2599999607		34.1400003433		25.6190490723

		SCE		2566		18		3.779999882		102.3599967957		25.6666660309

		SCE		2571		6		1.2599999607		34.1999988556		25.7142868042

		SCE		2576		24		5.0399998426		136.1400003433		25.7619056702

		SCE		2580		12		2.5199999213		68.8199987411		25.8095245361

		SCE		2585		6		1.2599999607		33.9000005722		25.8571434021

		SCE		2589		6		1.2000000179		32.7600002289		25.8999996185

		SCE		2590		6		1.2599999607		34.4399986267		25.9047622681

		SCE		2595		6		1.2599999607		34.0200004578		25.952381134

		SCE		2600		6		1.2599999607		34.2600002289		26.0000019073

		SCE		2604		18		3.779999882		103.8599996567		26.047618866

		SCE		2609		6		1.2599999607		34.2600002289		26.0952396393

		SCE		2614		6		1.2599999607		34.6199998856		26.1428565979

		SCE		2633		1		0.0599999987		1.6799999475		26.3333339691

		SCE		2642		12		2.5199999213		70.3800001144		26.4285736084

		SCE		2649		6		0.1199999973		3.4799998999		26.5

		SCE		2666		6		1.2599999607		35.5200004578		26.6666679382

		SCE		2680		6		1.2599999607		35.57999897		26.8095245361

		SCE		2690		6		1.2599999607		35.8199987411		26.9047622681

		SCE		2700		6		1.2599999607		35.9399986267		27.0000019073

		SCE		2709		6		1.2599999607		36		27.0952396393

		SCE		2714		6		1.2599999607		36.1199998856		27.1428565979

		SCE		2719		12		2.5199999213		71.8800001144		27.1904773712

		SCE		2723		12		2.5199999213		72.4800024033		27.2380943298

		SCE		2728		6		1.2599999607		36.0600013733		27.2857151031

		SCE		2733		18		3.779999882		108.5999994278		27.3333339691

		SCE		2734		6		1.2000000179		34.6800012589		27.3499984741

		SCE		2738		6		1.2599999607		36.1199998856		27.3809528351

		SCE		2742		12		2.5199999213		72.7800006866		27.4285736084

		SCE		2747		12		2.5199999213		73.07999897		27.476190567

		SCE		2752		6		1.2599999607		36.6600008011		27.5238113403

		SCE		2757		6		1.2599999607		36.0600013733		27.571428299

		SCE		2761		6		1.2599999607		36.2399997711		27.6190490723

		SCE		2766		12		1.4399999566		41.4000012875		27.6666669846

		SCE		2776		24		5.0399998426		146.0400037766		27.7619056702

		SCE		2779		6		0.3000000045		8.8800001144		27.7999992371

		SCE		2785		6		1.2599999607		36.5400009155		27.8571434021

		SCE		2790		12		2.5199999213		73.1400003433		27.9047641754

		SCE		2795		6		1.2599999607		36.5999994278		27.952381134

		SCE		2800		18		3.779999882		110.2199993134		28.0000019073

		SCE		2804		30		6.2999998033		183.6000022888		28.047618866

		SCE		2814		18		3.779999882		110.7000017166		28.1428565979

		SCE		2823		12		2.5199999213		73.9799995422		28.2380962372

		SCE		2826		6		0.9000000358		26.5200004578		28.266664505

		SCE		2828		6		1.2599999607		37.1400003433		28.2857151031

		SCE		2833		6		1.2599999607		37.5600013733		28.3333339691

		SCE		2850		6		0.9599999785		28.5600013733		28.5

		SCE		2875		6		0.2399999946		7.3200001717		28.75

		SCE		2876		6		1.2599999607		37.92000103		28.7619056702

		SCE		2923		6		1.5		45.42000103		29.2399997711

		SCE		3125		6		0.4799999893		15.7800006866		31.25

		SCE		3200		6		0.9000000358		29.9399986267		32

		SCE		3300		6		0.0599999987		2.0999999642		33.0000038147

		SCE		3350		24		0.4799999893		16.9799995422		33.5

		SCE		3400		24		0.4799999893		17.039999485		34

		SCE		3487		6		1.4399999678		51.5400009155		34.875

		SCE		3549		6		0.1199999973		4.6199998856		35.5

		SCE		3556		6		0.9599999785		35.4599990845		35.5625

		SCE		3606		18		2.8199999928		105.2399997711		36.0638885498

		SCE		3612		18		2.8799999356		108.1199998856		36.1250038147

		SCE		3625		6		0.9599999785		36.3000011444		36.2500038147

		SCE		3637		6		0.9599999785		36.1800012589		36.375

		SCE		3639		6		0.9000000358		33.9000005722		36.3999977112

		SCE		3643		6		0.9599999785		36.3599996567		36.4375

		SCE		3650		6		0.9599999785		36.0600013733		36.5

		SCE		3668		6		0.9599999785		36.42000103		36.6875

		SCE		3681		6		0.9599999785		36.4799995422		36.8125

		SCE		3687		18		2.8799999356		109.9799995422		36.875

		SCE		3693		6		0.9599999785		36.7199993134		36.9375

		SCE		3699		6		0.9000000358		34.92000103		37

		SCE		3706		12		1.9199999571		73.5600013733		37.0625

		SCE		3725		6		0.9599999785		36.9599990845		37.25

		SCE		3731		6		0.9599999785		37.07999897		37.3125

		SCE		3737		6		0.9599999785		37.2600002289		37.375

		SCE		3775		6		0.9599999785		37.6800012589		37.75

		SCE		3800		7		0.1199999973		4.7400000095		38

		SCE		3846		6		0.9000000358		35.6999988556		38.4666633606

		SCE		3858		1		0.9499999881		38.3199996948		38.5894737244

		SCE		3919		6		0.9000000358		36.9599990845		39.2000007629

		SCE		4053		6		0.9000000358		38.2199993134		40.5333328247

		SCE		4242		6		0.0197999999		0.9000000358		42.424243927

		SCE		4268		6		0.9599999785		42.8399991989		42.6875

		SCE		4281		6		0.9599999785		42.9599990845		42.8125

		SCE		4293		6		0.9599999785		43.07999897		42.9375

		SCE		4300		12		1.9199999571		86.2800006866		43

		SCE		4318		12		1.9199999571		86.2799978256		43.1875

		SCE		4325		6		0.9599999785		43.1400003433		43.25

		SCE		4547		6		1.5		69.9599990845		45.4799995422

		SCE		4800		6		0.0599999987		3		48

		SCE		4860		6		0.3000000045		15.1199998856		48.6000022888

		SCE		5479		6		0.3000000045		16.9799995422		54.7999992371

		SCE		5500		6		0.1199999973		7.0199997425		55.0000038147

		SCE		5741		6		1.4399999678		83.8200016022		57.4166679382

		SCE		5780		6		0.3000000045		18.1199998856		57.8000030518

		SCE		5800		6		0.3000000045		18.1799998283		58

		SCE		5900		6		0.3000000045		18.539999485		59

		SCE		6119		6		0.3000000045		19.1400003433		61.1999969482

		SCE		6239		6		0.3000000045		19.5599999428		62.3999977112

		SCE		6260		6		0.3000000045		19.6199998856		62.6000022888

		SCE		6280		36		1.8000000268		117.8399991989		62.8000030518

		SCE		6300		6		0.3000000045		19.7399997711		63

		SCE		6320		6		0.3000000045		19.7399997711		63.2000007629

		SCE		6340		12		0.6000000089		39.5999994278		63.4000015259

		SCE		6549		6		0.1199999973		8.2799999714		65.5

		SCE		6600		12		0.179999996		12.3600000143		66.0000076294

		SCE		6700		6		0.1199999973		8.3999998569		67

		SCE		6950		6		0.1199999973		8.7600002289		69.5

		SCE		7699		6		0.1199999973		9.7200000286		77

		SCE		7749		6		0.1199999973		9.7799999714		77.5

		SCE		8100		6		0.1199999973		10.2000002861		81

		SCE		8250		6		0.1199999973		10.4400000572		82.5

		SCE		8500		6		0.1199999973		10.7399997711		85.0000076294

		SCE		8823		142		0.2414000032		24.1400002539		88.2352981567

		SCE		9179		6		1.4399999678		133.0200004578		91.7916717529

		SCE		9999		6		0.0102000001		1.0200000107		100

		SCE		10200		6		0.1199999973		12.8400006294		102

		SCE		10249		6		0.1199999973		12.9000005722		102.5

		SCE		10399		6		0.1199999973		13.0800004005		104

		SCE		10588		12		0.0204000003		2.2200000286		105.8823547363

		SCE		11000		6		0.1199999973		13.8599996567		110.0000076294

		SCE		12020		6		1.4399999678		173.5200004578		120.2083358765

		SCE		12450		6		0.1199999973		15.6599993706		124.5

		SCE		12849		6		0.1199999973		16.1400003433		128.5

		SCE		12899		6		0.1199999973		16.2000002861		129

		SCE		13200		6		0.1199999973		16.5599999428		132.0000152588

		SCE		14117		6		0.0102000001		1.5		141.1764678955

		SCE		14850		6		0.1199999973		18.5999994278		148.5

		SCE		16470		6		0.0102000001		1.6800000072		164.7058868408

		SCE		22352		6		0.0102000001		2.3399999142		223.5294036865

		SCE		22941		6		0.0102000001		2.4000000358		229.4117584229

		SCE		25882		6		0.0102000001		2.6999999285		258.8235168457

		SCE		27647		6		0.0102000001		2.8199999928		276.4705810547

		SCE		36470		6		0.0102000001		3.8399999142		364.705871582

		SCE		38181		6		0.0197999999		7.5		381.8181762695

		SCE		41764		6		0.0102000001		4.3800001144		417.6470336914

		SCE		58823		6		0.0102000001		6.2399997711		588.2352905273

		SCE		82352		6		0.0102000001		8.5199997425		823.5293579102

		SCE		88235		6		0.0102000001		9.3599996567		882.3529052734

		SCE		89411		6		0.0102000001		9.4200003147		894.1176147461

		SCE		111176		12		0.0204000003		23.1000001431		1111.7646484375

		SCE		111764		6		0.0102000001		11.8200001717		1117.6469726563

		SCE		152941		6		0.0102000001		16.0200004578		1529.4117431641

		SCE		160588		6		0.0102000001		16.9199995995		1605.8823242188

		SCE		168235		6		0.0102000001		17.5800004005		1682.3529052734

		SCE		172352		6		0.0102000001		18.1799998283		1723.5294189453

		SCE		187647		6		0.0102000001		19.7399997711		1876.4705810547

		SCE		196470		6		0.0102000001		20.8200001717		1964.7058105469

		SCE		203529		6		0.0102000001		21.4199995995		2035.2940673828

		SCE		205294		6		0.0102000001		21.4799995422		2052.9411621094

		SCE		207058		6		0.0102000001		21.7199993134		2070.5881347656

		SCE		208823		6		0.0102000001		21.9000005722		2088.2353515625

		SCE		210588		6		0.0102000001		22.0200004578		2105.8823242188

		SCE		211176		6		0.0102000001		22.3800001144		2111.7646484375

		SCE		215294		6		0.0102000001		22.5599999428		2152.9411621094

		SCE		221176		6		0.0102000001		23.1599993706		2211.7646484375

		SCE		222352		6		0.0102000001		23.5800004005		2223.529296875

		SCE		223529		6		0.0102000001		23.460000515		2235.2939453125

		SCE		227058		12		0.0204000003		47.6400003433		2270.5881347656

		SCE		227647		12		0.0204000003		47.7000002861		2276.4704589844

		SCE		229411		6		0.0102000001		24.0600013733		2294.1176757813

		SCE		232941		12		0.0204000003		48.9600019455		2329.4118652344

		SCE		237058		6		0.0102000001		24.9000005722		2370.5883789063

		SCE		241764		6		0.0102000001		25.3800001144		2417.6472167969

		SCE		243529		6		0.0102000001		25.8000011444		2435.2939453125

		SCE		254705		6		0.0102000001		26.3399991989		2547.0588378906

		SCE		260000		6		0.0102000001		26.8800001144		2600

		SCE		260588		24		0.0408000005		107.579996109		2605.8823242188

		SCE		261176		6		0.0102000001		26.8199987411		2611.7646484375

		SCE		261764		6		0.0102000001		26.8800001144		2617.6469726563

		SCE		262941		24		0.0408000005		108		2629.4116210938

		SCE		263529		6		0.0102000001		27.1199998856		2635.2941894531

		SCE		264117		12		0.0204000003		54.42000103		2641.1762695313

		SCE		264705		18		0.0306000004		81.6000022888		2647.0588378906

		SCE		265294		18		0.0306000004		81.8400020599		2652.9411621094

		SCE		267647		6		0.0102000001		27.4799995422		2676.470703125

		SCE		268235		12		0.0204000003		55.0800018311		2682.3527832031

		SCE		268823		6		0.0102000001		27.5999994278		2688.2353515625

		SCE		269411		6		0.0102000001		27.6600008011		2694.1176757813

		SCE		274117		6		0.0102000001		28.6800012589		2741.1762695313

		SCE		294117		6		0.0102000001		30.7199993134		2941.1765136719

		SCE		301764		6		0.0102000001		31.9799995422		3017.6469726563

		SCE		309999		6		0.0102000001		32.8199987411		3100

		SCE		312352		6		0.0102000001		33.1199998856		3123.529296875

		SCE		330588		6		0.0102000001		35.0400009155		3305.8823242188

		SCE		368823		6		0.0102000001		39.0600013733		3688.2353515625

		SCE		372941		6		0.0102000001		39.42000103		3729.4118652344

		SCE		374705		6		0.0102000001		39.7199993134		3747.05859375

		SCE		388235		12		0.0204000003		82.1999988556		3882.3527832031

		SCE		399411		6		0.0102000001		42.2399997711		3994.1176757813

		SCE		422941		6		0.0102000001		44.7600002289		4229.4116210938

		SCE		427647		6		0.0102000001		45.3000011444		4276.470703125

		SCE		431176		6		0.0102000001		45.5999994278		4311.7646484375

		SCE		444117		6		0.0102000001		47.0400009155		4441.1767578125

		SCE		450588		6		0.0102000001		47.6999988556		4505.8823242188

		SCE		460588		6		0.0102000001		48.8400020599		4605.8823242188

		SCE		462941		6		0.0102000001		49.0800018311		4629.4116210938

		SCE		471176		6		0.0102000001		49.9199981689		4711.7646484375

		SCE		485882		6		0.0102000001		51.8400020599		4858.8237304688

		SCE		487647		6		0.0102000001		51.6599979401		4876.470703125

		SCE		495294		6		0.0102000001		52.5		4952.9409179688

		SCE		497058		6		0.0102000001		52.6200027466		4970.587890625

		SCE		500588		6		0.0102000001		53.0400009155		5005.8823242188

		SCE		501764		6		0.0102000001		53.1599979401		5017.6469726563

		SCE		504705		6		0.0102000001		53.5200004578		5047.05859375

		SCE		512941		6		0.0102000001		54.3600025177		5129.4116210938

		SCE		519411		6		0.0102000001		54.9599990845		5194.1176757813

		SCE		520000		6		0.0102000001		55.0800018311		5200

		SCE		524705		6		0.0102000001		55.6200027466		5247.05859375

		SCE		525294		6		0.0102000001		55.5600013733		5252.94140625

		SCE		528235		6		0.0102000001		55.9799995422		5282.3525390625

		SCE		533529		6		0.0102000001		56.1599979401		5335.2939453125

		SCE		540000		6		0.0102000001		57.1799983978		5400

		SCE		545882		6		0.0102000001		57.2399997711		5458.8232421875

		SCE		550588		6		0.0102000001		57.7199993134		5505.8818359375

		SCE		552352		6		0.0102000001		57.8999977112		5523.529296875

		SCE		554117		6		0.0102000001		58.5		5541.1762695313

		SCE		555882		6		0.0102000001		58.5600013733		5558.8232421875

		SCE		559411		6		0.0102000001		58.8600025177		5594.1176757813

		SCE		560588		6		0.0102000001		59.0400009155		5605.8823242188

		SCE		562941		6		0.0102000001		59.1000022888		5629.4116210938

		SCE		564117		6		0.0102000001		58.9799995422		5641.1762695313

		SCE		566470		6		0.0102000001		59.2800006866		5664.7060546875

		SCE		567058		6		0.0102000001		60.4799995422		5670.5883789063

		SCE		569999		6		0.0102000001		59.7600002289		5699.9995117188

		SCE		572352		12		0.0204000003		120.3600025177		5723.529296875

		SCE		579411		6		0.0102000001		61.0800018311		5794.1176757813

		SCE		584117		6		0.0102000001		61.1999988556		5841.1767578125

		SDG&E				16386		0		14365.8562571797

		SDG&E		-100		8400		8366.699908644		2.9952000017		-0.999962783

		SDG&E		-99		30		14.8200002275		0.274199998		-0.982989347

		SDG&E		-98		12		15.0599999987		0.3432000037		-0.9730000198

		SDG&E		-97		54		13.3800000362		0.4379999936		-0.9634959035

		SDG&E		-96		24		44.1599991918		2.1599999964		-0.9525630921

		SDG&E		-95		60		9.7200001404		0.3905999966		-0.9499999881

		SDG&E		-94		36		13.1999999844		0.6449999856		-0.9349112014

		SDG&E		-93		72		16.9199997112		1.1807999806		-0.9219536086

		SDG&E		-92		36		59.0999995396		4.8323999494		-0.9150758485

		SDG&E		-91		96		34.2000001073		2.8199999593		-0.9031105861

		SDG&E		-90		6		0.0599999987		0.0480000023		-0.8999999762

		SDG&E		-89		36		100.5600000545		11.9736001343		-0.884667625

		SDG&E		-88		60		75.6599999629		9.4986001002		-0.872977376

		SDG&E		-87		18		40.0199990831		5.449200036		-0.8636602958

		SDG&E		-86		36		12.5999999866		1.7777999975		-0.8539813161

		SDG&E		-85		54		39.2999998927		5.7599998824		-0.8464316858

		SDG&E		-84		108		23.2800002061		3.7350000367		-0.8361015949

		SDG&E		-83		6		0.0599999987		0.0497999992		-0.8199999928

		SDG&E		-82		54		7.1400000639		1.3565999866		-0.8156201839

		SDG&E		-81		78		22.5000001118		4.183799956		-0.8056953962

		SDG&E		-80		12		4.3799999803		0.83999997		-0.7968253791

		SDG&E		-79		30		64.0799990818		13.9668003693		-0.7855971813

		SDG&E		-78		102		26.5800000764		6.1403999962		-0.7752344889

		SDG&E		-77		18		3.6000000201		0.835199995		-0.7633667986

		SDG&E		-76		12		16.2000000179		3.9000000805		-0.7529999912

		SDG&E		-75		72		19.8000000045		5.0327998996		-0.7453063726

		SDG&E		-74		60		12.5999995396		3.1739999615		-0.7306154251

		SDG&E		-73		54		65.7599995695		18.1787999645		-0.725723962

		SDG&E		-72		18		3.8999999687		1.1958000418		-0.7114285827

		SDG&E		-71		54		61.2599996254		18.0000004694		-0.7073719766

		SDG&E		-70		60		24.1200000085		7.2455999348		-0.6948372602

		SDG&E		-69		42		40.1999997385		12.7668002341		-0.6833122117

		SDG&E		-68		108		84.2999997139		27.2999999374		-0.6760335035

		SDG&E		-67		114		131.6399971358		44.7912002988		-0.6658528604

		SDG&E		-66		36		91.1399989687		31.5000005923		-0.6561153928

		SDG&E		-65		234		130.9799987376		44.8799998462		-0.6486624953

		SDG&E		-64		108		40.6799990572		15.0600002781		-0.6345243553

		SDG&E		-63		36		80.5799982548		30.5399997532		-0.625233978

		SDG&E		-62		366		131.0399966799		49.9199997671		-0.618009751

		SDG&E		-61		60		155.2199977599		61.9199999236		-0.6053486764

		SDG&E		-60		690		258.2400000393		98.8799989522		-0.5995885243

		SDG&E		-59		84		131.8799977787		55.2600003965		-0.5823751049

		SDG&E		-58		84		80.1599993706		34.0199999213		-0.5733896877

		SDG&E		-57		30		106.9199981689		47.3399999142		-0.563922286

		SDG&E		-56		120		267.3599982038		120.4199996665		-0.5545702815

		SDG&E		-55		342		129.4199995659		56.6999996267		-0.548884351

		SDG&E		-54		30		31.3199994564		14.6399998292		-0.5367730856

		SDG&E		-53		138		197.1599973254		95.4588016905		-0.5249003923

		SDG&E		-52		96		106.0799978971		51.9000000358		-0.5162995458

		SDG&E		-51		222		159.4199988842		78.240000844		-0.5076727094

		SDG&E		-50		174		69.7800007202		35.1000005454		-0.4945060025

		SDG&E		-49		72		30.8399996683		16.3800000474		-0.4829604675

		SDG&E		-48		276		247.7999959476		131.5200016983		-0.4755454426

		SDG&E		-47		156		208.9799941666		112.8599996455		-0.4628473131

		SDG&E		-46		222		242.4599971175		133.3799995109		-0.4542372718

		SDG&E		-45		144		169.2599979602		95.2799998932		-0.4437842568

		SDG&E		-44		90		154.6199975498		88.6200000532		-0.4341287871

		SDG&E		-43		558		401.2799978256		231.6000068486		-0.4280764348

		SDG&E		-42		294		134.0400004126		78.6600019075		-0.4152508159

		SDG&E		-41		156		162.2399991676		97.0200007483		-0.4076117312

		SDG&E		-40		144		75.9600003809		46.1999999955		-0.3946521878

		SDG&E		-39		198		120.1799974814		74.6399988458		-0.3846751975

		SDG&E		-38		72		88.6199989244		55.6199995503		-0.3752445305

		SDG&E		-37		210		150.7200007327		97.0200001784		-0.3665619356

		SDG&E		-36		204		62.4600004368		40.6199999861		-0.3538051966

		SDG&E		-35		414		255.8999985941		168.23999824		-0.3482930185

		SDG&E		-34		756		493.0199949481		328.5599931478		-0.3334277267

		SDG&E		-33		450		216.7200041413		147.6599968672		-0.3257207672

		SDG&E		-32		234		125.8800012879		86.2199985199		-0.3138256295

		SDG&E		-31		132		42.7200000174		29.7599999495		-0.3047201606

		SDG&E		-30		444		165.9599994868		115.7999995351		-0.2950633378

		SDG&E		-29		114		79.6799992807		57.5400017425		-0.2848719876

		SDG&E		-28		72		69.2999994121		50.699998375		-0.2751063084

		SDG&E		-27		186		118.0799995959		86.9400001802		-0.2640996191

		SDG&E		-26		228		238.4399986267		179.8200016916		-0.2573752717

		SDG&E		-25		204		102.1799994148		77.2200001739		-0.2480277393

		SDG&E		-24		276		138.0599985793		105.5399995856		-0.2363438435

		SDG&E		-23		198		214.2599985525		167.5199985132		-0.2253488099

		SDG&E		-22		144		43.8000000715		34.7400004864		-0.2135823456

		SDG&E		-21		42		6.120000165		4.9199998789		-0.204715154

		SDG&E		-20		1206		537.9599960223		433.4400015101		-0.1952088416

		SDG&E		-19		90		12.4200001359		10.2599999942		-0.1813366423

		SDG&E		-18		102		61.1999994032		50.9999986701		-0.1717876932

		SDG&E		-17		126		162.3599986844		137.5799998865		-0.1627164533

		SDG&E		-16		204		129.3599988967		111.0600005239		-0.1543509724

		SDG&E		-15		2496		678.3599900901		576.4200080037		-0.1458353258

		SDG&E		-14		60		8.5200001337		7.4400000907		-0.1340404481

		SDG&E		-13		216		308.6999956593		272.6399979964		-0.1262273021

		SDG&E		-12		96		308.6999968775		274.7399974354		-0.1138520334

		SDG&E		-11		396		886.6199967787		810.8999971971		-0.1046196114

		SDG&E		-10		5082		8042.3399902917		7376.2199792303		-0.0975215702

		SDG&E		-9		1428		10386.1799914911		9664.7999947295		-0.0842278806

		SDG&E		-8		1638		11560.5599879622		10836.4800023139		-0.0751581005

		SDG&E		-7		1872		11736.959975861		11078.1599850878		-0.0649894235

		SDG&E		-6		1464		8762.8799798079		8313.240009103		-0.0544596195

		SDG&E		-5		8370		7956.719995413		7557.0600233115		-0.0482256794

		SDG&E		-4		3228		10046.4599133432		9934.199877128		-0.033832821

		SDG&E		-3		4356		14594.339877829		14500.2597516775		-0.0246551436

		SDG&E		-2		5964		28182.4796842709		28137.3596190736		-0.0156446712

		SDG&E		-1		6306		29062.7996560782		29137.4398380965		-0.0046150532

		SDG&E		0		4836		21417.3597069047		21524.0397773646		0.004323681

		SDG&E		1		3168		11304.1798361801		11439.8400004171		0.0152119756

		SDG&E		2		3546		12352.7998119146		12646.6200264841		0.024530851

		SDG&E		3		3408		12156.0597591028		12572.2200950459		0.0338599897

		SDG&E		4		3504		13535.3996661231		14276.0399245843		0.0449337038

		SDG&E		5		1578		7185.8998068832		7607.3999835513		0.0544096961

		SDG&E		6		3582		9416.2797702514		10005.2999608554		0.0646792378

		SDG&E		7		2916		7449.8998046145		7941.6599699333		0.0759558442

		SDG&E		8		1914		3361.7999287695		3625.2599847168		0.0854930154

		SDG&E		9		3612		3147.9599414505		3495.1799915917		0.0954990601

		SDG&E		10		2106		1667.9999870583		1877.7599593923		0.107963155

		SDG&E		11		3324		2792.0999597199		3169.3200390525		0.111891039

		SDG&E		12		2994		2681.759943109		3051.0000341199		0.1256262529

		SDG&E		13		6276		3811.5600224622		4434.7800755091		0.1309924942

		SDG&E		14		2124		1913.7599771395		2223.3000256866		0.1461176434

		SDG&E		15		5910		3612.2399959825		4246.9200988077		0.1525800466

		SDG&E		16		1128		915.0599857494		1084.6800041646		0.1631466654

		SDG&E		17		3786		2186.4600024037		2589.4800430946		0.1733273537

		SDG&E		18		936		1295.9999617226		1555.7399781235		0.1835197353

		SDG&E		19		2664		1504.259986259		1822.1999877915		0.195316688

		SDG&E		20		462		675.7199805044		825.7799933217		0.2045373328

		SDG&E		21		1074		1566.2999625206		1941.3599721193		0.2175578291

		SDG&E		22		1032		944.8799824677		1180.2599862926		0.2256247743

		SDG&E		23		522		426.4799875505		529.139998097		0.2321493845

		SDG&E		24		756		672.7199866734		847.5599867664		0.2437108141

		SDG&E		25		1044		404.9999983907		520.5000003688		0.256923334

		SDG&E		26		438		248.2199962065		317.3999942467		0.2673031716

		SDG&E		27		444		151.7399969548		197.640002355		0.2729877685

		SDG&E		28		24		56.9399986267		74.9999985695		0.2855193391

		SDG&E		29		1980		664.7400009781		879.4799908251		0.2918773118

		SDG&E		30		294		84.8399978019		114.0000025593		0.3068815476

		SDG&E		31		246		305.9999946132		413.2200008333		0.3169456604

		SDG&E		32		3414		1140.6600063443		1555.9199899435		0.3226057227

		SDG&E		33		240		144.4799984135		199.1400011368		0.3331618056

		SDG&E		34		144		70.0199998878		95.940001443		0.3431876289

		SDG&E		35		3366		1052.9400073215		1451.6399993151		0.3548386607

		SDG&E		36		426		142.3799970523		199.259997502		0.3637599534

		SDG&E		37		216		137.7599975243		193.2599998713		0.374038688

		SDG&E		38		1314		520.7399981841		733.9800003022		0.3866987188

		SDG&E		39		372		115.1999990344		163.0200001895		0.3984249162

		SDG&E		40		90		218.8199963495		311.8199978918		0.4041169683

		SDG&E		41		660		583.5599954501		847.0199996978		0.4182676578

		SDG&E		42		78		183.2399972677		265.7399997711		0.4245271201

		SDG&E		43		132		304.559994746		442.1999974027		0.4349133426

		SDG&E		44		144		245.5199943446		356.4600031301		0.445613013

		SDG&E		45		576		299.4599970281		439.3199999034		0.4528764083

		SDG&E		46		330		100.1399991363		148.8600018919		0.462300882

		SDG&E		47		78		90.4199999906		133.3800022714		0.4712307591

		SDG&E		48		384		165.6000007242		248.5200012624		0.4835725473

		SDG&E		49		30		14.8200003952		22.3800005615		0.4907654405

		SDG&E		50		474		51.5400005244		78.9000010416		0.5

		SDG&E		51		414		128.2800012678		198.3599986732		0.5156732884

		SDG&E		52		48		0.4799999893		0.9599999785		0.5225000232

		SDG&E		53		288		43.7999989986		69.5999986231		0.5381216258

		SDG&E		54		456		105.5400009714		167.6400017068		0.5466834667

		SDG&E		55		108		4.5600001328		7.5600000545		0.5559876495

		SDG&E		56		18		9.4200003147		14.939999342		0.5604040424

		SDG&E		57		72		15.4200003482		25.08000011		0.5725932419

		SDG&E		58		186		46.8600003496		75.3600003272		0.5805203222

		SDG&E		59		186		18.1800003536		29.4000000134		0.5974486605

		SDG&E		60		42		8.220000308		13.6200004444		0.6017316069

		SDG&E		61		252		41.2199992351		68.2199988887		0.6142118829

		SDG&E		62		144		19.8600002937		32.8800005838		0.6234848425

		SDG&E		63		210		30.5400002003		52.2599999607		0.6364675181

		SDG&E		64		144		44.6400003433		74.4599980116		0.6451612711

		SDG&E		65		36		11.160000287		18.9000000805		0.6517294447

		SDG&E		66		324		25.5600000881		44.2800002173		0.6664814949

		SDG&E		67		120		37.2000002861		62.6399978399		0.6774193048

		SDG&E		68		54		11.220000308		19.0199999437		0.6804040339

		SDG&E		69		348		39.9599997997		69.1200006902		0.6963403492

		SDG&E		70		78		15.1800001077		26.2199995145		0.7059553403

		SDG&E		71		30		0.2999999933		0.5999999866		0.7100000381

		SDG&E		72		246		29.6400000304		53.340000093		0.7262083975

		SDG&E		73		36		4.3200000711		7.5600000992		0.7345652282

		SDG&E		74		156		44.1600008346		78.1800023988		0.7414895938

		SDG&E		75		192		50.8199998364		91.2600008994		0.7511581238

		SDG&E		76		78		7.2599997371		13.319999814		0.7663905575

		SDG&E		77		126		31.6200005226		56.7600006089		0.7748253459

		SDG&E		78		66		13.6800004877		25.1400005892		0.788749516

		SDG&E		79		198		20.6400002539		37.620000869		0.7997474291

		SDG&E		80		132		35.2200008892		64.5600009486		0.8030347662

		SDG&E		81		150		17.4000000805		32.9999994636		0.8168727803

		SDG&E		82		54		9.7800001726		18.0599998087		0.8247342838

		SDG&E		83		438		53.2800002173		100.4399989396		0.8343541238

		SDG&E		84		24		15.8400006294		30.0599999428		0.8484848142

		SDG&E		85		24		0.2399999946		0.4799999893		0.8500000834

		SDG&E		86		24		5.4600001797		10.200000152		0.8633004129

		SDG&E		87		204		38.4600004368		72.959998928		0.8734129685

		SDG&E		88		90		16.320000004		30.2399994358		0.8859259129

		SDG&E		89		24		4.1400001533		7.9799998775		0.8984848112

		SDG&E		90		336		56.8800005615		109.9799985588		0.9031614895

		SDG&E		91		30		0.2999999933		0.5999999866		0.9100000858

		SDG&E		92		24		4.8600001261		9.419999823		0.9218298495

		SDG&E		93		114		30.4200004153		59.5800009593		0.9342181275

		SDG&E		94		54		0.5399999879		1.0799999759		0.9422222177

		SDG&E		95		6		3.9600001574		7.8599996567		0.9545454383

		SDG&E		96		90		17.4000002481		34.5000000671		0.964259398

		SDG&E		97		12		0.1199999973		0.2399999946		0.9700000286

		SDG&E		98		36		8.1600003093		16.4999997318		0.9816161394

		SDG&E		99		6		0.0599999987		0.1199999973		0.9900000095

		SDG&E		100		2754		90.7199994698		198.3599980921		1

		SDG&E		101		18		11.8800004721		24.3600003719		1.0151515007

		SDG&E		102		6		16.9799995422		34.1999988556		1.0247350931

		SDG&E		103		90		29.7000002861		60.9599994421		1.0325412671

		SDG&E		104		54		24.7800008655		52.0799993277		1.0467500687

		SDG&E		106		132		40.9200003147		84.8399977684		1.0645161867

		SDG&E		107		6		6		12.7800006866		1.0700000525

		SDG&E		109		150		34.8000007421		73.9199985266		1.0965513468

		SDG&E		110		6		3.9600001574		8.5799996853		1.1060606241

		SDG&E		111		18		12.5400000215		27.3000008762		1.1103703578

		SDG&E		112		138		33.1200000644		71.4000015557		1.1273212277

		SDG&E		113		12		7.380000025		16.2600002289		1.1352173686

		SDG&E		115		24		14.2799999714		31.6800003648		1.1584615409

		SDG&E		116		426		42.0599996746		93.6600002646		1.1658337922

		SDG&E		118		18		8.5800003111		19.0200003684		1.1818181276

		SDG&E		119		108		30.060000211		66.6000002325		1.1955018044

		SDG&E		121		18		8.7600000501		19.9799995422		1.2149275144

		SDG&E		122		84		30.9600003362		69.5999995172		1.2252404349

		SDG&E		124		6		6		13.8599996567		1.2400000095

		SDG&E		125		114		25.6800000966		58.3799990416		1.2550933738

		SDG&E		126		72		16.5600003004		38.3399988413		1.260869503

		SDG&E		127		6		1.0800000429		2.4599999785		1.277777791

		SDG&E		129		90		27.9000002146		64.1399996281		1.2903225422

		SDG&E		130		216		49.6800009012		115.9200006723		1.3043478727

		SDG&E		131		6		3.9600001574		9.2999997139		1.3181817532

		SDG&E		132		138		42.780000329		99.5400034189		1.3225805759

		SDG&E		133		306		17.6399996057		43.3800011873		1.3333333731

		SDG&E		134		186		42.7800007761		100.7400029898		1.3478261232

		SDG&E		135		48		14.8800001144		35.1000008583		1.3548386097

		SDG&E		137		36		2.8799999356		7.0200000107		1.375

		SDG&E		138		48		14.8800001144		35.460000515		1.3870967627

		SDG&E		139		48		9.9000002146		23.5800006688		1.3945651352

		SDG&E		141		18		5.5800000429		13.4400000572		1.4193547964

		SDG&E		150		342		21.1199995279		55.1999996603		1.5000001088

		SDG&E		160		6		3.9600001574		10.6199998856		1.6060605049

		SDG&E		162		42		3.3599999249		8.9999998212		1.625

		SDG&E		163		6		3.9600001574		10.4400000572		1.6363636255

		SDG&E		165		6		6		16.4400000572		1.6599999666

		SDG&E		166		258		14.5799996741		40.8000001609		1.6666667461

		SDG&E		172		6		3.9600001574		11.0400002003		1.7272726297

		SDG&E		175		12		0.9599999785		2.7000000179		1.75

		SDG&E		176		6		0.7799999714		2.2799999714		1.7692308426

		SDG&E		180		18		2.7000001073		7.6800000072		1.7999999523

		SDG&E		183		258		15.479999654		46.0200014412		1.8333333731

		SDG&E		187		12		4.4400001466		13.0199996531		1.8768939972

		SDG&E		192		6		3.9600001574		11.5799996853		1.9242423773

		SDG&E		200		1500		29.1599993594		97.7399989665		2

		SDG&E		204		6		3.9600001574		12.0599999428		2.0454545021

		SDG&E		206		6		9.9599997997		31.4399986267		2.0662651062

		SDG&E		207		6		6		19.0200004578		2.0799999237

		SDG&E		209		12		12		38.2800006866		2.0999999046

		SDG&E		210		6		6		19.2000002861		2.1099998951

		SDG&E		213		6		3.9600001574		12.3599996567		2.1363635063

		SDG&E		216		102		6.1199998632		20.1600001752		2.1666667461

		SDG&E		219		12		9.9600001574		32.5200004578		2.1934849024

		SDG&E		225		12		9.9600001574		33.2999997139		2.2587878704

		SDG&E		226		12		12		39.8399991989		2.2699999809

		SDG&E		227		6		6		19.9799995422		2.2799999714

		SDG&E		228		6		6		19.9799995422		2.2899999619

		SDG&E		230		6		3.9600001574		13.3200001717		2.3030302525

		SDG&E		231		18		11.8800004721		40.0200004578		2.3181817532

		SDG&E		233		120		6.1199998632		20.9999998659		2.3333334923

		SDG&E		234		24		17.8800004721		60.7200007439		2.3488635421

		SDG&E		235		6		9.9599997997		33.8399991989		2.3554217815

		SDG&E		237		6		3.9600001574		13.7999997139		2.378787756

		SDG&E		239		12		4.5600001663		15.9599996209		2.3969695568

		SDG&E		240		12		9.9000002146		34.4400000572		2.4065656662

		SDG&E		242		18		11.8800004721		41.1599993706		2.4242422581

		SDG&E		243		6		3.9600001574		13.7999997139		2.4393937588

		SDG&E		245		6		3.9600001574		14.1599993706		2.4545452595

		SDG&E		246		6		3.9600001574		13.9799995422		2.4696967602

		SDG&E		248		18		11.8800004721		42.2399983406		2.4848482609

		SDG&E		249		30		19.8000007868		70.7399997711		2.4999997616

		SDG&E		250		60		3.5999999195		12.9599997997		2.5000002384

		SDG&E		251		12		7.9200003147		28.5		2.5151512623

		SDG&E		253		12		7.9200003147		28.8000011444		2.530302763

		SDG&E		256		18		11.8800004721		43.4400014877		2.5606060028

		SDG&E		260		12		7.9200003147		28.5		2.6060605049

		SDG&E		263		6		3.9600001574		14.8200001717		2.6363635063

		SDG&E		265		12		7.9200003147		29.8200001717		2.651515007

		SDG&E		266		24		0.8999999799		3.4200000018		2.6666667461

		SDG&E		269		6		3.9600001574		14.8200001717		2.6969695091

		SDG&E		271		12		7.9200003147		30.2999997139		2.7121210098

		SDG&E		272		24		15.8400006294		60.0599999428		2.7272725105

		SDG&E		274		6		3.9600001574		15		2.7424240112

		SDG&E		275		24		12.3600004613		47.219999671		2.7556818128

		SDG&E		277		24		15.8400006294		61.3799986839		2.7727272511

		SDG&E		278		18		11.8800004721		45.6599993706		2.7878787518

		SDG&E		280		18		11.8800004721		46.1399989128		2.8030302525

		SDG&E		281		12		7.9200003147		30.7799992561		2.8181817532

		SDG&E		283		24		15.8400006294		60.7199993134		2.8333332539

		SDG&E		284		6		3.9600001574		15.4199995995		2.8484847546

		SDG&E		286		6		3.9600001574		15.2399997711		2.8636362553

		SDG&E		287		6		3.9600001574		15.539999485		2.878787756

		SDG&E		289		18		11.8800004721		47.3400006294		2.8939392567

		SDG&E		290		6		3.9600001574		15.539999485		2.9090907574

		SDG&E		292		30		19.8000007868		78.1799983978		2.9242422581

		SDG&E		293		12		7.9200003147		31.8600010872		2.9393939972

		SDG&E		296		18		11.8800004721		47.5200004578		2.9696969986

		SDG&E		298		18		11.8800004721		47.2199993134		2.9848484993

		SDG&E		299		18		11.8800004721		47.0999994278		3

		SDG&E		300		1002		10.4999997653		49.6800002754		3.0000000057

		SDG&E		301		18		11.8800004721		47.880001545		3.0151515007

		SDG&E		304		12		7.9200003147		31.9800009727		3.0454545021

		SDG&E		310		18		11.8800004721		48.5400009155		3.1060605049

		SDG&E		313		12		7.9200003147		32.7600002289		3.1363635063

		SDG&E		316		6		0.359999992		1.5599999428		3.1666667461

		SDG&E		318		6		3.9600001574		16.2600002289		3.1818180084

		SDG&E		319		6		3.9600001574		16.2000002861		3.1969695091

		SDG&E		325		6		3.9600001574		17.0999994278		3.2575757504

		SDG&E		333		42		1.2599999718		5.7599999607		3.3333334923

		SDG&E		366		12		0.359999992		1.6800000072		3.6666667461

		SDG&E		384		6		3.9600001574		19.7999997139		3.8484847546

		SDG&E		389		6		3.9600001574		19.9799995422		3.8939392567

		SDG&E		390		18		11.8800004721		59.5199990273		3.9090907574

		SDG&E		392		12		7.9200003147		39.8999991417		3.9242420197

		SDG&E		393		12		7.9200003147		40.0199990273		3.9393935204

		SDG&E		396		12		7.9200003147		39.9000005722		3.9696965218

		SDG&E		398		12		7.9200003147		40.07999897		3.9848484993

		SDG&E		400		1008		10.3199997693		58.1399993598		4

		SDG&E		401		6		3.9600001574		20.2199993134		4.0151515007

		SDG&E		500		474		4.8599998914		32.6999999285		5.000000006

		SDG&E		566		6		0.179999996		1.2599999607		5.6666669846

		SDG&E		600		252		2.5199999437		19.4399996996		6

		SDG&E		700		396		3.9599999115		34.9800010622		7

		SDG&E		800		612		6.1199998632		60.6600010246		8

		SDG&E		900		258		2.5799999423		28.0199999213		9.0000009537

		SDG&E		1000		102		1.0199999772		12.059999764		10

		SDG&E		1100		36		0.359999992		4.7999998927		11

		SDG&E		1200		72		0.7199999839		10.0800000429		12

		SDG&E		1299		66		0.6599999852		9.6600002646		13

		SDG&E		1400		6		0.0599999987		0.9599999785		14

		SDG&E		1500		42		0.4199999906		7.1400000751		15.0000009537

		SDG&E		1600		12		0.1199999973		2.2200000286		16

		SDG&E		1700		12		0.1199999973		2.2799999714		17

		SDG&E		2000		48		0.4799999893		10.5599999428		20

		SDG&E		2099		24		0.2399999946		5.5200001001		21





Sheet2

		SC Group		PctDev		CountOfTRADE_HR		SumOfExpectedQty		SumOfACTL_QTY

		Big5				311718		-40		46824

		Big5		<-50		23178		684323		214315

		Big5		-50 - -40		9070		258725		144541

		Big5		-40 - -30		11147		301237		199800

		Big5		-30 - -20		16798		512353		393562

		Big5		-20 - -10		32880		1086141		947525

		Big5		-10 - 6		32958		1136324		1072665

		Big5		-6 - -3		66240		2372631		2324709

		Big5		-3 - 0		134453		6404842		6397642

		Big5		0 - 3		107537		4065042		4089439

		Big5		3 - 6		28850		771073		819502

		Big5		6 - 10		26493		547606		602212

		Big5		10 - 20		30031		608339		709578

		Big5		20 - 30		12201		243754		309517

		Big5		30 - 40		9717		119732		164623

		Big5		40 - 50		6723		80078		118398

		Big5		>50		24813		232473		502838





Sheet2

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



Range

Count of Resource-Hours

Big5 Generators




