	Date:         06.05.2002
Originator: C.Wöste

Revision:    1.00

Page: 1/7
	VisuPro Park Version
	[image: image1.png]




	
	SQL Interface
	Enron Wind GmbH

Enron Wind Service GmbH





General overview of the interface

[image: image1.png][image: image2.wmf] 

VisuPro Park Version

 

 

ADO

 

OLE DB

 

ODBC Provider

 

ODBC

 

driver for

 

MS SQL

-

Server

 

 

Table VISU_STATDATA



Data from VisuPro

SITE_ID

varchar



not assigned

must not be NULL  

ID


numeric


SystemNumber

DTTM


datetime


Date + Time

PLANT_NDX

numeric


not assigned

must not be NULL
TIMEOFFSET
numeric


TimeOffset


KW_HRS

numeric


PROD

CON


numeric


CON


OTT


numeric


OTT

SOTT


numeric


SOTT

DTT


numeric


DTT

LOTT


numeric


LOTT

WOTT


numeric


WOTT

ESTT


numeric


ESTT

MTT


numeric


MTT

RTT


numeric


RTT

PRODULM

numeric


PRODULM

CONULM

numeric


CONULM

OTULM

numeric


OTULM

SOTULM

numeric


SOTULM

DTULM

numeric


DTULM

LOTULM

numeric


LOTULM

WOTULM

numeric


WOTULM

ESTULM

numeric


ESTULM

MTULM

numeric


MTULM

RTULM

numeric


RTULM

List of supported databases:

VISU_STATDATA,

VISU_ERRDEV,

VISU_MINANAMAIN,

VISU_MINANAEXT.

Annotation:

Must be defined    

Not to be filled by VisuPro, internal use by TEC ?
Must be checked if right values is used
At the moment not available in the ParkPC, can be used if  Plant Version is changed
Table VISU_ERRDEV



Data from VisuPro

SITE_ID

varchar



not assigned 

must not be NULL
ID


numeric


SystemNumber

DTTM


datetime


Date + Time

TRBN_ROW_OTM
varchar



not assigned

must not be NULL

PLANT_NDX

numeric


not assigned

must not be NULL
CYCLE

numeric


Not available on Park PC
FAULT_NBR

numeric


StatusNumber

FAULT_DESCR
varchar



StatusText

KW


numeric


P_ACT

WIND_SPEED
numeric


VWIN

GEN_RPM

numeric


NGEN1

FLASH_FILE

varchar



Not available on Park PC


FIRST_FAULT
varchar



not assigned


CRE_USERID
varchar



not assigned

CRE_DATE

datetime


not assigned

MDFD_USERID
varchar



not assigned

MDFD_DATE
datetime


not assigned


DEL_FLAG

varchar



not assigned
TIMEOFFSET
numeric


TimeOffset

Table VISU_MINANAMAIN



Data from VisuPro

SITE_ID



varchar


not assigned 
must not be NULL 

ID




numeric

SystemNumber

DTTM




datetime

Date + Time

TRBN_ROW_OTM


varchar


not assigned 
must not be NULL

PLANT_NDX



numeric

not assigned 
must not be NULL
KW




numeric

Channel 1

COS_PHI



numeric

Channel 3

VOLT_PHASE_A


numeric

Channel 5

VOLT_PHASE_B


numeric

Channel 6

VOLT_PHASE_C


numeric

Channel 7

CURRENT_PHASE_A

numeric

Channel 8

CURRENT_PHASE_B

numeric

Channel 9

CURRENT_PHASE_C

numeric

Channel 10

GEN_RPM



numeric

Channel 11

ROTOR_RPM


numeric

Channel 12

ACTUAL_ANGLE_BLADE_1
numeric

Channel 13

WIND_SPEED


numeric

Channel 14

NACELLE_POSITION

numeric

Channel 15

TRAN_OIL_PRSS


numeric

Channel 18

ACTUAL_ANGLE_BLADE_2
numeric

Channel 19

ACTUAL_ANGLE_BLADE_3
numeric

Channel 20

SET_ANGLE_BLADE_1

numeric

Channel 21

SET_ANGLE_COS_PHI

numeric

Channel 24

OPERATING_STATE

numeric

Channel 29

WIND_DEVIATION


numeric

Channel 31

GEN_1_TEMP


numeric

Channel 32

GEN_2_TEMP


numeric

Channel 33

BEARING_A_TEMP


numeric

Channel 34

BEARING_B_TEMP


numeric

Channel 35

TRAN_TEMP



numeric

Channel 36

AMBIENT_TEMP


numeric

not assigned
TRAN_BEARING_A_TEMP
numeric

Channel 40

TRAN_BEARING_B_TEMP
numeric

Channel 41

TRAN_RETURN_TEMP

numeric

Channel 49

WIND_DEVIATION_ONE_SEC
numeric

not assigned

APPARENT_KW


numeric

not assigned 

ERROR_NUMBER


numeric

not assigned

CRE_USERID


varchar


not assigned


CRE_DATE



datetime

not assigned

MDFD_USERID


varchar


not assigned

MDFD_DATE


datetime

not assigned

DEL_FLAG



varchar


not assigned
Table VISU_MINANAEXT




Data from VisuPro

SITE_ID



varchar


not assigned
must not be NULL
ID




numeric

SystemNumber

DTTM




datetime

Date + Time

TRBN_ROW_OTM


varchar


not assigned 
must not be NULL

PLANT_NDX



numeric

not assigned 
must not be NULL
TOWER_VIBRATION_TIME
numeric

Channel 2

REACTIVE_POWER_KVAR
numeric

Channel 4

NACELLE_REVOLUTION

numeric

Channel 16

GEN_TRAN_RPM


numeric

Channel 17

SET_ANGLE_BLADE_2

numeric

Channel 22

SET_ANGLE_BLADE_3

numeric

Channel 23

N_SET_1_RPM


numeric

Channel 25

N_SET_2_RPM


numeric

Channel 26

TORQUE_ACTUAL


numeric

Channel 27

TORQUE_SET


numeric

Channel 28

CHANNEL_30


numeric

Channel 30

NACELLE_TEMP


numeric

Channel 38

GEN_COOLING_AIR_TEMP
numeric

Channel 39

SHAFT_BEARING_TEMP

numeric

Channel 41

HIGH_SPEED_NBR


numeric

Channel 42

DIGITAL_1



numeric

Channel 43

DIGITAL_2



numeric

Channel 44

PARK_KW



numeric

Channel 45

TOWER_ACCELERATION

numeric

Channel 46

DRIVETRAIN_ACCELERATION
numeric

Channel 47

CONTAINER_TEMP


numeric

Channel 50

FU_TEMP



numeric

Channel 51

RESERVE4



numeric

Channel 52

RESERVE5



numeric

Channel 53

RESERVE6



numeric

Channel 54

RESERVE7



numeric

Channel 55

RESERVE8



numeric

Channel 56

RESERVE9



numeric

Channel 57

RESERVE10



numeric

Channel 58

RESERVE11



numeric

Channel 59

RESERVE12



numeric

Channel 60

DL1_MAIN



numeric

not assigned
Not available 

DL2_MAIN



numeric

not assigned
Not available

DL1_TOP



numeric

not assigned
Not available

DL2_TOP



numeric

not assigned
Not available

DL3_TOP



numeric

not assigned
Not available

DL4_TOP



numeric

not assigned
Not available

DO1_MAIN



numeric

not assigned
Not available

DO2_MAIN



numeric

not assigned
Not available

DO1_TOP



numeric

not assigned
Not available

DO2_TOP



numeric

not assigned
Not available
ERROR_NUMBER


numeric

not assigned

CRE_USERID


varchar


not assigned

CRE_DATE



datetime

not assigned
MDFD_USERID


varchar


not assigned


MDFD_DATE


datetime

not assigned

DEL_FLAG



varchar


not assigned
TIMEOFFSET


varchar


TimeOffset

CHAN_041



numeric

not assigned

CHAN_43



numeric

not assigned









Database





�





Database PC with Windows 2000 and Microsoft SQL-Server 2000











