3-A-V. Wheatland Plant - Knox County, Indiana 
ECAR Region

[image: image1.png]ONTARIO
\ HYDRO

i
Aubry ol &

DETED
Harbor Beach @

DETROIT

CLEVELAND
ELECTRIC
ILLUMINATING

PENN
ELECTRIC
fome.

S

e »@‘;_a\' P,
|

%

VIRGINIA
ELECTRIC
PowER

apFALKCHIAN
POWER

X" Fast Central Area Reliability Council %=
e ECAR) Transmission Lines by Prime Fuel ‘ &

. Other Fossil

Nuclear o
500 kv Hydro
kY Other o w

20k 10U SERVICE DUPC  Duke Power Co. Edison Co.

Under 230kv  TERRITORIES | Boc R o s RESOURCE I 2
El Substations &

| < Sub-NERC Boundary® NERC Boundary | et sty L Paremprann Encte . R Do et 5 447788





Overview – Wheatland Plant

Description: 
508 MW (nominal) natural gas-fired, simple cycle power generation facility (the “Wheatland Plant”) owned by West Fork Land Development Company, L.L.C., an indirect wholly owned subsidiary of Enron North America. The Wheatland Plant consists of four Westinghouse Model 501 D5A gas turbines, each rated at approximately 127 MW (nominal).

Location:
The Wheatland Plant is located on an approximate 60-acre tract of land at 480 North Hall Road in Wheatland, Indiana.

Constructor:
NEPCO, an indirect wholly owned subsidiary of Enron Corp.

NERC Region:
Southern ECAR

Control Area:
ENWI and ENWC. The Wheatland Plant has been designated as two control areas in accordance with NERC policy. Additionally, the Wheatland Plant has an interconnect agreement with both Cinergy Services Inc. (“Cinergy”). and Indianapolis Power & Light (“IPL”). Both Cinergy and IPL allow scheduling of energy into and out of each control area, giving the Wheatland Plant the option of generating power or filling the scheduled energy delivery from the market when market economics warrant. This added flexibility ensures that the plant is reserved for operation only during periods of economic dispatch.

Power Purchase Agreement:
None

Transmission:
The Wheatland Plant is interconnected into two 345 kV lines, one of which is owned by Cinergy and the other is owned by IPL.  With the dual interconnect, the plant has the option of dispatching into the Cinergy or IPL systems.

Fuel:
The Wheatland Plant is permitted to use natural gas as its fuel source. The plant is interconnected to Midwestern Gas Transmission Company (“Midwestern Gas”), a natural gas pipeline system owned by Tennessee Gas Pipeline Company.  Midwestern Gas and West Fork Land Development Company, L.L.C. each own, operate and maintain specified portions of the interconnection facilities as defined in the facilities agreement. Midwestern Gas may terminate the facilities agreement upon sixty days notice to West Fork Land Development Company, L.L.C. if: 

· gas has not flowed through the interconnection facilities during the previous twelve months; or 

· West Fork Land Development Company, L.L.C. has caused the interconnection facilities to be disconnected or removed.

Midwestern Gas transports and delivers natural gas to the Wheatland Plant pursuant to an interruptible gas transportation agreement.  The term of the interruptible gas transportation agreement and associated transportation rate began on April 1, 2000, continues through March 31, 2008 and will continue on a month-to-month basis until terminated upon thirty days notice by either party.

Zoning:
To develop the Wheatland Plant, the site was re-zoned as industrial.

Air Permit:
The Wheatland Plant received its non-PSD air permit in October 1999.

Baseload Emission Information

NOx Cap (Per Unit):

< 25 PPM

CO (Per Unit):


< 25 PPM

Commercial Ops:
June 2000

Ops Hours:
The Wheatland Plant is permitted to operate for approximately 902 hours per year at full load.

Heat Rate:
At 90 degrees Fahrenheit and at full operation, the Wheatland Plant is able to achieve a net heat rate of approximately 11,500 Btu/kWh (HHV).

Peaking Capacity:
At 90 degrees Fahrenheit and at full operation, the capacity of the plant is approximately 480 MW.

Expansion Potential:
The Wheatland Plant has been designed to facilitate a future expansion or conversion to combined-cycle.

Water Usage:
Approximately 450 gpm during operation.

Water Supply:
Owned lake, adjacent to site.


























































































































B





B





345 kV





Petersburg





DP&L





Breed





AEP





Qualitech





CINERGY





Gibson





CINERGY





B





B





B





B





B





B





Bus 1





B





GSU = Generator Step-up Unit





B = Breaker





Tenn., 500 Leg / Chicago LDC's





Gas Daily Index:





Tennessee





Gas Transporter:





134





127





120





Unit MW Rating:





Winter





Nominal





Summer





Bus 2





GSU T2





GSU T1





B





B





B





G4





G1





G2





G3





ENWI / ENWC





WHEATLAND







































































































































































